BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BHUBANESHWAR

CASE No. 75 of 2022

| IN THE MATTER OF | Petition for determination of Tariff for IB TPS Units 1 & 2 for FY 2023-24 |
| --- | --- |
|  | ### AND |
| IN THE MATTER OF THE APPLICANT | Odisha Power Generation Corporation Ltd. (OPGC Ltd.), Zone-A, 7th Floor, Fortune Towers, Chandrasekharpur, Bhubaneswar-751023, Odisha, India……. Petitioner |
|  | AND |
| IN THE MATTER OF | Submission of information in response to the comments of Shri. Ramesh Ch. Satpathy |

ODISHA POWER GENERATION CORPORATION LIMITED (“The Petitioner”) RESPECTFULLY SUBMITS AS FOLLOWS:

## Odisha Power Generation Corporation Limited (herein after referred as “OPGC” or “the Petitioner”) filed the Petition for determination of tariff for FY 2023-24, before the Hon’ble Odisha Electricity Regulatory Commission (“OERC” or “Commission”) on November 30, 2022 which have been registered as Case No. 75 of 2022. Shri. Ramesh Ch. Satpathy vide Affidavit dated January 19, 2023 submitted objections/suggestions with the following prayer:

“Under the above circumstances the objector pray before the Hon’ble Commission to kindly direct the OPGC to produce the status report of all points raised by the objector before the hearing of the cases and terrific hike should not be allowed for the inefficiency of OPGC, being a Govt. of Odisha Company.”

## The Petitioner specifically denies every averment, allegation and assertion made by the stakeholders save where expressly stated otherwise or insofar as they pertain to matters of record. Further, it is submitted that nothing in the instant submission ought to be construed as an admission on the part of the Petitioner unless expressly so stated. The Petitioner reiterates and affirms the contents of the captioned Petition and the same may be read as part and parcel of the instant submissions. The Petitioner craves leave to make additional submissions in response to objections raised by any of the Stakeholders, should the need arise.

The replies to the comments of the Stakeholder are being submitted below:

Stakeholder’s comment: “1. That, the OPGC being a generating unit of the state Govt. The Govt. of Odisha being the owner of 100% share of OPGC. The Hon’ble Commission should direct the OPGC authorities to conduct the audit through CAG”

OPGC’s reply: OPGC submits that the accounts of OPGC are regularly audited from time to time as per the statutory provisions as applicable including CAG.

Stakeholder’s comment: “2. That, the OPGC has proposed PLF reduction i.e., 81.46%, but in all the thermal Power Station of the State such as IPPs & Central Sector NTPC are now generating more than 85 to 90% PLF. As such, the Hon’ble Commission should pass order directing OPGC to be functional with more than 85% PLF.”

OPGC’s reply: It is humbly submitted that OPGC has projected the PLF of 81.8% for FY 2023-24 and not 81.46% as stated by the stakeholder. OPGC humbly submits that the actual PLF of the plant depends on scheduled maintenance outages and other operating conditions beyond the control of OPGC during a given year. Accordingly, the PLF varies from year to year. Even, OPGC in FY 2016-17 achieved PLF of 87.92% ranking first among the thermal generating stations in State sector. The target export of Power to GRIDCO for the FY 2023-24 is 2731.657 MU, which corresponds to the PLF of 81.8%.

Stakeholder’s comment: “3. That, the OPGC in all of their ARR application before the OERC have mentioned their functioning as per the PPA signed between GRIDCO & OPGC knowing full well PPA is a separate & tariff hearing is separate matter. At present the Govt. is the owner of 100% share of OPGC, the calculation of PPA as per direction of the Hon’ble Supreme Court should be stopped”

OPGC’s reply: OPGC humbly submits that the instant Petition for approval of Generation Tariff for FY 2023-24 has been filed in accordance with the approved Amended PPA pursuant to the Hon’ble Supreme Court’s Order dated April 19, 2018 in Civil Appeal No. 9485 of 2017 and the Hon’ble Commission’s Orders dated March 28, 2019 in Case No. 33 of 2018 and subsequent tariff orders issued for the years till FY 2022-23. Irrespective of ownership of the Company, the basic principles of tariff determination cannot change and tariff needs to be determined as per the provisions of the PPA in compliance with the Hon’ble Supreme Court Judgment. Hence, the stakeholder’s statements for not complying with the Orders of the Supreme Court are unwarranted.

Stakeholder’s comment: “4. That, the applicant OPGC have proposes 9.5% auxiliary consumption whereas, the central thermal power station like NTPC are 5.5% auxiliary consumption. As such, the auxiliary calculation should be made as per the regulation.”

OPGC’s reply: The normative auxiliary consumption claimed by OPGC is 9.5% in accordance with the approved Amended PPA even though the actual auxiliary consumption has remained above 10% since COD of the station. The Hon’ble Commission had approved the auxiliary consumption of 9.5% for Units 1&2 in the tariff determination for the years till FY 2022-23. The reference to auxiliary consumption of central generating stations is misplaced as they are different for different unit configuration as per Tariff Regulations of the Hon’ble Central Electricity Regulatory Commission.

Stakeholder’s comment: “5. That, the applicant OPGC may be directed to produce the no. of force outage & reason for such outage from the year 2016 till today.”

OPGC’s reply: OPGC humbly submits that the information sought by the stakeholder is not relevant for tariff determination and hence does not warrant any reply.

Stakeholder’s comment: “6. That, the OPGC has to submit the month wise cash flow statement showing sources of inflow & outflow of cash from the FY 2010-11 to FY 2021-22.”

OPGC’s reply: OPGC submits that the audited annual accounts for FY 2021-22 have been submitted to the Hon’ble Commission alongwith the Tariff Petition and the information sought by the stakeholder is not relevant for tariff determination. The annual reports of OPGC are published on the website of OPGC and the stakeholder may refer to the same.

Stakeholder’s comment: “7. That, the OPGC has to produce the detail action plan they have prepared for development of mini Hydro Projects under their disposal…”

OPGC’s reply: OPGC submits that the information sought by the stakeholder is not relevant for tariff determination of OPGC Unit 1 and 2 and hence does not deserve any reply.

Stakeholder’s comment: “8. That, the OPGC has to produce the no. of cases pending before different courts & amount paid for legal expenses of the said cases from 2015-16, 2016-17, 2017-18, 2018-19, 2019-20, 2020-21 & 2021-22 all the cases should be dropped considering the merit.”

OPGC’s reply: OPGC submits that the information sought by the stakeholder is not relevant as Petitioner has claimed only normative O&M expenses and has not separately sought any compensation for legal expenses.

Stakeholder’s comment: “9. That, it has come to our notice, the Govt. of Odisha, Dept. of Energy…”

“10. That, the Govt. of Odisha, being the owner of OPGC…”

OPGC’s reply: OPGC submits that the submissions of the stakeholder are irrelevant to the present tariff proceedings before the Hon’ble Commission.

Stakeholder’s comment: “11. That, the OPGC have 51% share of OCPL & managing the entire OCPL as a subsidiary company of OPGC & now incurring profit more than Rs. 600 Crs. If it is a fact, the amount for 51% OPGC share should be added as a non-tariff income of the Company & tariff claim of OPGC should be reduced accordingly”

OPGC’s reply: OPGC submits that the stakeholder’s submissions are unfounded and irrelevant. OPGC submits that OCPL is a separate legal entity and the finances of OCPL does not have any bearing whatsoever on the present tariff proceedings before the Hon’ble Commission.

Deponent

Bhubaneswar

January 27, 2023