BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BHUBANESHWAR

File No. 3(B)

Case No. 104/2021

| IN THE MATTER OF | Petition for determination of Tariff for IB TPS Units 1 & 2 for FY 2022-23 |
| --- | --- |
| IN THE MATTER OF THE APPLICANT | Odisha Power Generation Corporation Ltd. (OPGC Ltd.), Zone-A, 7th Floor, Fortune Towers, Chandrasekharpur, Bhubaneswar-751023, Odisha, India…………. Petitioner |
| IN THE MATTER OF | Submission of information in response to the comments of Shri Ramesh Ch. Satpathy |

I, Haresh Kumar Satapathy, son of Shri Kailash Chandra Satapathy, aged about 53 years, do solemnly affirm and say as follows:

  - That I am the Deputy General Manager (R&C) of Odisha Power Generation Corporation Limited, the Petitioner in the above matter and am duly authorised by the said Petitioner to make this affidavit on its behalf.

  - The replies made in the foregoing paragraphs in response to comments of Shri Ramesh Ch. Satpathy on OPGC’s Petition for tariff determination for FY 2022-23 in Case No. 104 of 2021 are based on information provided to me and I believe them to be true to the best of my knowledge.

Deponent

Bhubaneswar

January 27, 2022

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BHUBANESHWAR

CASE No. 104 of 2021

| IN THE MATTER OF | Petition for determination of Tariff for IB TPS Units 1 & 2 for FY 2022-23 |
| --- | --- |
|  | ### AND |
| IN THE MATTER OF THE APPLICANT | Odisha Power Generation Corporation Ltd. (OPGC Ltd.), Zone-A, 7th Floor, Fortune Towers, Chandrasekharpur, Bhubaneswar-751023, Odisha, India……. Petitioner |
|  | AND |
| IN THE MATTER OF | Submission of information in response to the comments of Shri. Ramesh Ch. Satpathy |

ODISHA POWER GENERATION CORPORATION LIMITED (“The Petitioner”) RESPECTFULLY SUBMITS AS FOLLOWS:

## Odisha Power Generation Corporation Limited (herein after referred as “OPGC” or “the Petitioner”) filed the Petition for determination of tariff for FY 2022-23, before the Hon’ble Odisha Electricity Regulatory Commission (“OERC” or “Commission”) on November 30, 2021 which have been registered as Case No. 104 of 2021.Shri. Ramesh Ch. Satpathy vide Affidavit dated January 15, 2022 submitted objections/suggestions with the following prayer:

“Under the above circumstances the objector pray before the Hon’ble Commission to kindly direct the OPGC to produce the status report of all points raised by the objector before the hearing of the cases and terrific hike should not be allowed for the inefficiency of OPGC, being a Govt. of Odisha Company.”

## The Petitioner specifically denies every averment, allegation and assertion made by the stakeholder save where expressly stated otherwise or insofar as they pertain to matters of record. Further, it is submitted that nothing in the instant submission ought to be construed as an admission on the part of the Petitioner unless expressly so stated. The Petitioner reiterates and affirms the contents of the captioned Petition and the same may be read as part and parcel of the instant submissions. The Petitioner craves leave to make additional submissions in response to objections raised by the Stakeholder, should the need arise.

The para wise replies to the comments of the Stakeholder are being submitted below:

Stakeholder’s comment: “1. That, the OPGC being a generating unit of the state & Govt. of Odisha being the owner of 100% share of OPGC. The Hon’ble Commission should direct the OPGC authorities to conduct the audit through CAG”

OPGC’s reply:OPGC submits that it being a Government Company, the accounts of OPGC are audited by the Comptroller and Auditor General of India (CAG) under the provisions of the Companies Act..

Stakeholder’s comment: “2. That, the OPGC has proposed PLF reduction i.e., 81.46%, but in all the thermal Power Station of the State such as IPPs & Central Sector NTPC are now generating more than 85 to 90% PLF. As such, the Hon’able Commission should pass order directing OPGC to be functional with more than 85% PLF.”

OPGC’s reply:It is humbly submitted that OPGC has projected the PLF of 78.03% for FY 2021-22 and not 81.46% as stated by the stakeholder. OPGC humbly submits that the actual PLF of the plant depends on scheduled maintenance outages and other operating conditions beyond the control of OPGC during a given year. Accordingly, the PLF varies from year to year. Even, OPGC in FY 2016-17 achieved PLF of 87.92% ranking first among the thermal generating stations in State sector. The target export of Power to GRIDCO for the FY 2022-23 is 2597.987 MU, which is equivalent to a PLF of 78.03%.

Stakeholder’s comment: “3. That, the OPGC in all of their ARR application before the OERC have mentioned their functioning as per the PPA signed between GRIDCO & OPGC knowing fully well PPA is a separate & tariff hearing is separate matter. At present the Govt. is the owner of 100% share of OPGC, the calculation of PPA as per direction of the Hon’ble Supreme Court should be stopped”

OPGC’s reply: OPGC humbly submits that the instant Petition for approval of Generation Tariff for FY 2022-23 has been filed in accordance with the approved Amended PPA pursuant to the Hon’ble Supreme Court’s Order dated April 19, 2018 in Civil Appeal No. 9485 of 2017 and the Hon’ble Commission’s Orders dated March 28, 2019, March 29, 2019,April 22, 2020, March 26, 2021 and May 21, 2021in Case Nos. 33 of 2018,70 of 2018, 69 of 2019, 71 of 2020 and 54 of 2018 respectively. Irrespective of ownership of the Company, the basic principles of tariff determination cannot change and tariff needs to be determined as per the provisions of the PPA in compliance with the Hon’ble Supreme Court Judgment. Hence, the stakeholder’s statements for not complying with the Orders of the Supreme Court are unwarranted.

Stakeholder’s comment: “4. That, the applicant OPGC have proposed9.5% auxiliary consumption whereas, the central thermal power station like NTPC are 5.5% auxiliary consumption. As such, the auxiliary calculation should be made as per the regulation.”

OPGC’s reply:The normative auxiliary consumption claimed by OPGC of 9.5% is in accordance with the approved Amended PPA even though the actual auxiliary consumption has remained above 10% since COD of the station. The reference to auxiliary consumption of central generating stations is misplaced as they are governed by Tariff Regulations of the Hon’ble Central Electricity Regulatory Commission. Further, the auxiliary consumption of 5.5% mentioned is for super critical units with capacity of 660 MW and above and not for Units with capacity of 210 MW. Moreover, the auxiliary consumption as per CERC Tariff Regulations, 2019, for 200 MW unit series with induced draft cooling towers is 9.0%.Stakeholder’s comment: “5. That, the applicant OPGC may be directed to produce the no. of force outage & reason for such outage from the year FY 2016-17 till today.”

OPGC’s reply: OPGC humbly submits that the information sought by the stakeholder is not relevant for tariff determination and hence does not deserve any reply.

Stakeholder’s comment: “6. That, the OPGC has to submit the month wise cash flow statement showing sources of inflow & outflow of cash from the FY 2010-11 to FY 2021-22.”

OPGC’s reply: OPGC submits that the audited annual accounts for FY 2020-21 have been submitted to the Hon’ble Commission along with the Tariff Petition on dated November 30, 2021 and the information sought by the stakeholder is not relevant for tariff determination.

Stakeholder’s comment: “7. That, the OPGC has to produce the detail action plan they have prepared for development of mini Hydro Projects under their disposal…”

OPGC’s reply: OPGC submits that the information sought by the stakeholder is not relevant for tariff determination and hence does not deserve any reply.

Stakeholder’s comment: “8. That, the OPGC has to produce the no. of cases pending before different courts & amount paid for legal expenses of the said cases from 2015-16, 2016-17, 2017-18, 2018-19, 2019-20&2020-21 all the cases should be dropped considering the merit.”

OPGC’s reply: OPGC submits that the information sought by the stakeholder is not relevant as Petitioner has not sought any compensation for legal expenses separately.

Deponent

Bhubaneswar

January 27, 2022