BEFORE THE

ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESHWAR

File No. 2

Case No. 82/2024

| IN THE MATTER OF | Petition for determination of Tariff for IB TPS Units 1&2 for FY 2025-26 |
| --- | --- |
| IN THE MATTER OF THE APPLICANT | Odisha Power Generation Corporation Ltd. (OPGC Ltd.), Zone-A, 7th Floor, Fortune Towers, Chandrasekharpur, Bhubaneswar – 751023, Odisha, India (Petitioner) |
| IN THE MATTER OF | Submission of information in response to the Commission’s Letter dated 26.12.2024 |

I, Haresh Kumar Satapathy, son of Shri Kailash Chandra Satapathy, aged about 55 years, do solemnly affirm and say as follows:

  - That I am the Additional General Manager (C&RA) of Odisha Power Generation Corporation Limited, the Petitioner in the above matter and am duly authorised by the said Petitioner to make this affidavit on its behalf.

  - The responses provided in the subsequent section addressing Query No. 1 to Query No. 14 raised by this Hon’ble Commission vide letter dated 26.12.2024, with respect to OPGC’s Petition for approval of Generation Tariff for FY 2025-26 are based on information provided to me and I believe them to be true to the best of my knowledge.

Deponent

Bhubaneswar

17.01.2025

BEFORE THE

ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESHWAR

File No. 2

Case No. 82/2024

| IN THE MATTER OF | Petition for determination of Tariff for IB TPS Units 1&2 for FY 2025-26 |
| --- | --- |
| IN THE MATTER OF THE APPLICANT | Odisha Power Generation Corporation Ltd. (OPGC Ltd.), Zone-A, 7th Floor, Fortune Towers, Chandrasekharpur, Bhubaneswar – 751023, Odisha, India (Petitioner) |
| IN THE MATTER OF | Submission of information in response to the Commission’s Letter dated 26.12.2024 |

ODISHA POWER GENERATION CORPORATION LIMITED MOST RESPECTFULLY SHEWETH:

Odisha Power Generation Corporation Limited (hereinafter referred as “OPGC” or “the Petitioner”) filed the Petition for approval of Generation Tariff for Units 1&2 (2 x 210 MW) of its IB Thermal Power Station for FY 2025-26 before the Hon’ble Odisha Electricity Regulatory Commission (hereinafter referred as “OERC” or “the Commission”) on 25.11.2024. The Petition has been registered as Case No. 82 of 2024. The Hon’ble Commission vide its letter no. 1551 dated 26.12.2024, sought additional information for the purpose of determination of Generation Tariff for FY 2025-26.

The responses to the queries and the additional information sought by the Hon’ble Commission are outlined in the following paragraphs.

- OPGC to submit the audited O&M Expenses incurred under major head (i.e. Employees, Administration, and Repairs & Maintenance etc.) during last financial year 2023-24 and actual data of the same for the current FY 2024-25 till 31st December, 2024.

OPGC’s submissions: The actual audited O&M expenses incurred during the last financial year 2023-24 and actual data for the current FY 2024-25 up to 31st December, 2024 are as under:

Table 1: Actual O&M expenses (Rs. Crore)

| Particulars | FY 2023-24 | FY 2024-25 (up to 31st Dec’ 24) |
| --- | --- | --- |
| Employee expenses | 82.96 | 50.70 |
| Administration expenses | 31.34 | 18.06 |
| Repairs & Maintenance expenses | 122.60 | 95.30 |
| Total O&M expenses | 236.90 | 164.06 |

- OPGC to submit the month wise audited information showing grade, quantity, rate and GCV of coal actual procured and consumed during FY 2023-24 and actual information of the same for the current FY 2024-25 till 31st December, 2024.

OPGC’s submissions: The audited information for FY 2023-24 and provisional unaudited information for FY 2024-25 till 31st December 2024 pertaining to coal procurement and consumption on a monthly basis, encompassing details such as grade, quantity, rate and Gross Calorific Value (GCV) is provided below.

Table 2: Details of quantum, GCV and price of coal

| Month | Grade of Coal as per the FSA | Quantum of coal procured (MT) | Weighted average price of coal procured* (Rs/MT) | Quantum of coal consumed (MT) | Weighted average landed price of coal for the month# (Rs/MT) | As fired GCV (TM Basis) of coal (kcal/kg) | "As Delivered GCV" (TM Basis) of Coal (As per OERC Order dtd. 28.10.2020 in Case No. 43/2017) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FY 2023-24 |  |  |  |  |  |  |  |  |
| Apr-23 | G14 | 2,21,193.40 | 1,608.63 | 2,23,579.95 | 1,738.77 | 2961 | 3226 |
| May-23 | G14 | 2,38,270.30 | 1,608.63 | 2,29,411.62 | 1,669.20 | 3010 | 3131 |
| Jun-23 | G14 | 2,02,184.80 | 1,608.63 | 2,12,466.35 | 1,652.85 | 2903 | 3158 |
| Jul-23 | G14 | 1,74,574.10 | 1,608.63 | 2,25,809.69 | 1,648.75 | 2591 | 2971 |
| Aug-23 | G14 | 1,79,566.10 | 1,608.63 | 1,86,966.18 | 1,667.81 | 2532 | 2948 |
| Sept-23 | G14 | 1,63,802.10 | 1,608.63 | 1,52,089.77 | 1,585.91 | 2705 | 3036 |
| Oct-23 | G14 | 2,31,568.20 | 1,608.63 | 2,39,092.82 | 1,614.61 | 2858 | 3206 |
| Nov-23 | G14 | 2,43,813.30 | 1,690.18 | 2,10,479.86 | 1,704.15 | 3053 | 3401 |
| Dec-23 | G14 | 1,71,599.80 | 1,780.31 | 1,04,096.64 | 1,784.44 | 2951 | 3343 |
| Jan-24 | G14 | 1,91,179.40 | 1,780.31 | 1,85,040.12 | 1,755.57 | 2812 | 3069 |
| Feb-24 | G14 | 1,90,644.10 | 1,780.31 | 2,03,326.16 | 1,689.88 | 2836 | 3165 |
| Mar-24 | G14 | 1,18,048.13 | 1,778.56 | 1,08,513.00 | 1,620.34 | 2845 | 3123 |
| FY 2024-25 |  |  |  |  |  |  |  |  |
| Apr-24 | G14 | 1,02,813.60 | 1,780.31 | 1,25,351.38 | 1,657.00 | 2747 | 3203 |
| May-24 | G14 | 1,99,889.10 | 1,667.45 | 2,50,987.87 | 1,656.28 | 2805 | 3251 |
| Jun-24 | G14 | 2,40,760.00 | 1,640.67 | 2,31,100.19 | 1,685.26 | 2823 | 3226 |
| Jul-24 | G14 | 2,51,383.00 | 1,686.16 | 2,46,965.66 | 1,682.06 | 2832 | 3110 |
| Aug-24 | G14 | 2,40,932.39 | 1,708.14 | 2,27,985.12 | 1,715.91 | 2965 | 3148 |
| Sept-24 | G14 | 2,43,157.30 | 1,705.96 | 2,16,926.94 | 1,774.56 | 3107 | 3339 |
| Oct-24 | G14 | 2,13,785.40 | 1,697.82 | 2,09,361.79 | 1,740.31 | 3063 | 3351 |
| Nov-24 | G14 | 1,67,085.20 | 1,692.05 | 2,25,609.75 | 1,725.19 | 2995 | 3208 |
| Dec-24 | G14 | 2,28,451.40 | 1,700.26 | 2,13,718.36 | 1,749.38 | 3068 | 3253 |

*Includes Incentives and without considering Debit /Credit Notes

#Considering Debt & Credit Notes, Transportation Cost and adjustments

- OPGC to submit the actual audited information of Coal of Last three years as per format given below:

OPGC’s submissions: The information sought by the Hon’ble Commission is as under:

Table 3: Audited Information of Coal of Last 3 years

| Particulars | Unit | FY 2022-23 (Audited) | FY 2023-24 (Audited) | FY 2024-25 (Actual upto 31st Dec, 2024) |
| --- | --- | --- | --- | --- |
| Grade of Coal | No | G14 | G14 | G14 |
| Base Price of Coal | Rs/MT | 758 | 758 | 758 |
| Total Cost of Coal | Rs/MT | 1681 | 1654 | 1751 |
| Standard range of GCV of Coal | kcal/kg | 3101-3400 | 3101-3400 | 3101-3400 |
| Actual GCV of Coal | kcal/kg | 2901 | 2840 | 2938 |
| Gross Generation | MU | 2,782.51 | 2,506.48 | 2,216.36 |
| Coal Consumption | MT | 24,71,637 | 22,78,961 | 19,48,007 |

- OPGC to submit the month wise audited information showing secondary fuel oil (both FO & LDO) mix ratio, quantity, rate and GCV of each combined secondary fuel oil mix actual procured and consumed during FY 2023-24 and actual for the current FY 2024-25 till 31st December, 2024.

OPGC’s submissions: The month wise audited information for FY 2023-24 and provisional information till 31st December, 2024 for secondary fuel oil mix ratio, quantity, rate and combined fuel oil mix actual procured and consumed is as under:

Table 4: Details of quantum and price of secondary fuel oil

| Month | Secondary Fuel Oil procured and consumed | Quantum of oil procured (kL) | Weighted average price oil procured (Rs/kL) | Quantum of oil consumed (kL) | Weighted average price oil for the month (Rs/kL) |
| --- | --- | --- | --- | --- | --- |
| FY 2023-24 |  |  |  |  |  |
| Apr-23 | LDO | 149.587 | 77,925.23 | 42.208 | 85,999 |
| May-23 | LDO | - |  | 33.073 | 85,999 |
| Jun-23 | LDO | - |  | 138.763 | 85,999 |
| Jul-23 | LDO | 149.689 | 73,665.43 | 77.812 | 83,204 |
| Aug-23 | LDO | - |  | 57.630 | 83,204 |
| Sept-23 | LDO | 149.847 | 90,126.43 | 134.204 | 84,741 |
| Oct-23 | LDO | 134.795 | 91,743.03 | 31.537 | 86,138 |
| Nov-23 | LDO | - |  | 108.377 | 86,138 |
| Dec-23 | LDO | 144.800 | 78,882.03 | 13.330 | 84,581 |
| Jan-24 | LDO | - |  | 181.973 | 84,581 |
| Feb-24 | LDO | 149.641 | 79,400.24 | 83.898 | 83,360 |
| Mar-24 | LDO | 149.825 | 80,037.43 | 70.614 | 82,650 |
| FY 2024-25 |  |  |  |  |  |
| Apr-24 | LDO | 234.951 | 83,176.23 | 226.696 | 82,793 |
| May-24 | LDO | - |  | 8.920 | 82,793 |
| Jun-24 | LDO | 199.912 | 75,858.93 | 208.399 | 81,121 |
| Jul-24 | LDO | - |  | - | 81,121 |
| Aug-24 | LDO | - |  | 89.824 | 81,121 |
| Sept-24 | LDO | 186.563 | 74,078.94 | 32.590 | 79,291 |
| Oct-24 | LDO |  |  | 113.560 | 79,291 |
| Nov-24 | LDO |  |  | 65.115 | 79,291 |
| Dec-24 | LDO | 208.961 | 73,485.86 | 72.890 | 77,595 |

Note: There is no arrangement for use of HFO in OPGC 1&2. However, in the Petition, the mix of HFO and LDO has been taken in the ratio of 90:10 as per mutual agreement between OPGC and GRIDCO in the PPA.

- OPGC to submit the latest notification on standard Gross Calorific Value (GCV) and their corresponding cost of coal notified by appropriate authority (Coal India/ MCL). Also, OPGC to submit declared GCV (month-wise for FY 2024-25 till 31st December 2024) for the mines from which coal is being procured.

OPGC’s submissions: The following notifications are attached as Annexure 1 (Colly) to this submission.

- MCL Notification dated 09.11.2023 on standard of GCV for FY 2023-24 applicable till 12th May 2024.

- MCL Notification dated 11.05.2024 on standard of GCV for FY 2024-25 applicable from 12th May 2024 onwards.

- Price Notification of Coal India Limited dated 30.05.2023 for Pit head Run of Mine (RoM) prices of non-coking coal produced by coal companies of Coal India Limited.

- Notification dated 31.08.2017 for applicable sizing charges

- Notification dated 31.07.2021 for Evacuation Facility Charges

- Notification dated 01.08.2022 for Surface Transportation Charges

- MCL Notification dated 31.07.2024 for revision of Surface transport charges (STC).

- Notification dated 10.05.2012 for Royalty on Coal

- Ministry of Coal Notification dated 01.10.2024 regarding Reserve price applicable in the OCPL coal cost.

- Mines and Minerals (Development and Regulation) Amendment Act, 2015 dated 26.03.2015 regarding contribution to National Mineral Exploration Trust (NMET) Fund

- Ministry of Coal Notification dated 20.10.2015: Mines and Minerals (Contribution to District Mineral Foundation) Rules, 2015

- Ministry of Finance Notification No.1/2017-Compensation Cess (Rate) dated 28.06.2017

Table 5: Details of month-wise declared GCV of Coal

| Source | Apr-24 | May-24 | Jun-24 | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24 | Dec-24 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MCL | G-12 | G-12 | G-14 | G-14 | G-14 | G-14 | G-14 | G-14 | G-14 |
| OCPL | - | - | G-14 | G-14 | G-14 | G-14 | G-14 | G-14 | G-14 |

- OPGC to submit breakup of estimated cost of Coal showing base price and other charges amounting to Rs. 1697.31/MT as proposed in its tariff application for FY 2025-26. Further OPGC to explain about the grade of coal to be used during FY 2025-26.

OPGC’s submissions: It is submitted that the coal price of Rs. 1697.31/MT proposed in the tariff application for FY 2025-26 is the weighted average of the actual landed price of coal for the months of April to September, 2024 as submitted in the Table 3-6 of the Main Petition. The copy of the Half Yearly Fuel Price Adjustment Bill for the period April to September 2024, has been enclosed at Annexure-10 of the main Petition, which is certified by the Auditor and submitted to GRIDCO on 11.11.2024. The indicative break-up of the landed price of coal considering the applicable base price and other charges is as shown in table below:

Table 6: Indicative landed price of coal

| Particulars | Units | Legend | MCL |  |  | OCPL |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | G-12 (01.04.24 to 11.05.24) | G-14 (12.05.24 to 31.07.24) | G-14 (01.08.24 onwards) | G-14 (01.06.24 to 31.07.24) | G-14 (01.08.24 onwards) |
| Basic Price | Rs/MT | A | 896.00 | 758.00 | 758.00 | 758.00 | 758.00 |
| Sizing charges | Rs/MT | B | 87.00 | 87.00 | 87.00 | 87.00 | 87.00 |
| Royalty | Rs/MT | C=14%xA | 125.44 | 106.12 | 106.12 | 106.12 | 106.12 |
| NMET Fund | Rs/MT | D=2%xC | 2.51 | 2.12 | 2.12 | 2.12 | 2.12 |
| DMF | Rs/MT | E=30%xC (for MCL) E=10%xC (for OCPL) | 37.63 | 31.84 | 31.84 | 10.61 | 10.61 |
| Surface Transportation Charges | Rs/MT | F | 106.00 | 106.00 | 107.00 | 106.00 | 107.00 |
| Evacuation facility charges | Rs/MT | G | 60.00 | 60.00 | 60.00 | 60.00 | 60.00 |
| User Fee (Other statutory charges) | Rs/MT | H | - | - | - | 1.00 | 1.00 |
| Reserve Price | Rs/MT | I | - | - | - | 136.02 | 136.02 |
| Sub-total | Rs/MT | J=A+B+C+D+E+F+G+H+I | 1314.58 | 1151.08 | 1152.08 | 1266.87 | 1267.87 |
| GST compensation cess | Rs/MT | K | 400.00 | 400.00 | 400.00 | 400.00 | 400.00 |
| SGST & CGST | Rs/MT | L=5%*J | 65.72 | 57.55 | 57.60 | 63.34 | 63.39 |
| Total | Rs/MT | M=J+K+L | 1780.31 | 1608.63 | 1609.68 | 1730.22 | 1731.27 |

The coal price of Rs. 1697.31/MT proposed in the Petition vis-à-vis the indicative Notified price of coal including Statutory fees as stated above, is on account of consideration of the weighted average landed cost of coal including debit note/credit note issued corresponding to actual grade of coal received as per Third Party Sampling/Testing Report and other charges including Third Party Sampling/ Testing Fees etc.

The coal requirement for FY 2025-26 is proposed to be met from Lakhanpur Area of MCL under the subsisting FSA (ACQ of 1.158 MT) and Manoharpur Mines of OCPL as per the Addendum Agreement to FSA with OCPL, through the respective MGRs, for power generation of OPGC Units 1&2. Although the quality of coal likely to be received during FY 2025-26 is of G-14 grade from both sources, the actual grade of coal to be received is decided on the basis of Third-Party Sampling/Testing Report at the time of dispatch.

It is pertinent to mention here that MCL authorities revised the Declared Grade of Coal from the Lajkura Seams of Lakhanpur OCP to G-12 and made it effective for billing purposes from 14.11.2023 vide their e-mail communication dated 24.11.2023. However, based on the representation of OPGC and the quality of actual Coal produced and dispatched from Lajkura Mines, MCL has revised the declared Grade to G-14 from May 2024. Copy of the MCL Notification and OPGC’s Letter is attached herewith as Annexure-2.

- OPGC to submit the actual Station Heat Rate (kcal/kWh), average Gross calorific value, and Price of Coal and Secondary Fuel Oil of the following period in format given below:

OPGC’s submissions:  The information sought by the Hon’ble Commission is as under:

Table 7: Actual Station Heat Rate, average Gross Calorific Value, and Price of Coal and Secondary Fuel Oil

| FY | Station Heat Rate | Gross Calorific Value |  | Price |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Coal | Secondary oil | Coal | Secondary oil |
|  | kcal/kWh | kcal/kg | kcal/L | Rs/MT | Rs/kL |
| 2022-23 | 2579 | 2901 | 10000 | 1681 | LDO: 82449 |
| 2023-24 | 2584 | 2840 | 10000 | 1654 | LDO: 81544 |
| 2024-25 (Till 31st December, 2024) | 2583 | 2938 | 10000 | 1751 | LDO: 76932 |
| 2025-26 (Estimated) | 2531 | 2955 | 10000 | 1697 | LDO: 81711 |

- OPGC to submit the actual and estimated Secondary Fuel Oil consumption of the following period in the format given below:

OPGC’s submissions: The information sought by the Hon’ble Commission is as under:

Table 8: Actual Secondary Fuel Oil consumption

| FY | Actual Consumption of Oil (kL) | Actual Generation (MU) | Average Secondary fuel oil Consumption (ml/kWh) |
| --- | --- | --- | --- |
| 2022-23 | 1,070.00 | 2,782.51 | 0.385 |
| 2023-24 | 973.419 | 2,506.48 | 0.388 |
| 2024-25 (Till 31st December, 2024) | 817.99 | 2216.36 | 0.369 |
| 2025-26 (Estimated) | 1300.00 | 3104.136 | 0.419 |

- OPGC to submit actual, estimated and proposed generation details during the following period in the per format given below:

OPGC’s submissions: The information sought by the Hon’ble Commission is as under:

Table 9: Actual Generation details

| FY | Gross Generation (MU) | Auxiliary Consumption* |  | Net Energy sent out | PLF |
| --- | --- | --- | --- | --- | --- |
|  |  | MU | % | MU | % |
| 2022-23 | 2,782.51 | 322.83 | 11.60% | 2439.27 | 75.63% |
| 2023-24 | 2,506.48 | 295.76 | 11.80% | 2210.72 | 67.94% |
| 2024-25 (Till 31st December, 2024) | 2216.36 | 256.30 | 11.56% | 1947.37 | 79.96% |
| 2024-25 (Estimated) | 2854.93 | 328.27 | 11.50% | 2513.98 | 77.60% |
| 2025-26 (Estimated) | 3104.14 | 340.07 | 10.96% | 2764.07 | 84.37% |

* Excludes the Colony Consumption

- OPGC to submit the Taxable Income, Tax paid and actual tax assessed by the department during the following period in the format given below:

OPGC’s submissions: The information sought by the Hon’ble Commission is as under:

Table 10: Taxable Income, Tax paid and actual tax assessed (Rs. Crore)

| Assessment Year | Taxable Income |  |  | Total Amounts of Tax Paid to Income Tax department | Actual amounts of Tax Assessed by Department |
| --- | --- | --- | --- | --- | --- |
|  | Generation | Non-generation | Total |  |  |
| 2022-23 | 1005.23 (Loss) | Nil | 1005.23 (Loss) | 3.01 (TDS/TCS) | NIL (As per Intimation U/s 143(1) of I.T. Act |
| 2023-24 | Nil | Nil | Nil | Rs.12.22 Cr (TDS/TCS) | NIL (As per Intimation U/s 143(1) of I.T. Act |
| 2024-25 (Provisional Computation of Income) | Nil | Nil | Nil | Rs.4.91 Cr (TDS/TCS) | Not yet Assessed (IT Filling Acknowledgement (ITR-V) attached |

- OPGC to submit the Income Tax assessment orders issued by the Income tax Departments starting from the AY 2021-22 to till date.

OPGC’s submissions: The copies of Income Tax assessment orders issued by the Income Tax Department from AY 2021-22 till date are enclosed at Annexure 3.

- OPGC may submit the actual other charges (head wise and year wise) incurred and reimbursed from GRIDCO during the period from FY 2022-23 to FY 2024-25 (till 31st December 2024) as against the approvals in the respective tariff order in tabular format.

OPGC’s submissions: The information sought by the Hon’ble Commission with respect Units #1&2 is given in the table below:

Table 11: Other charges for FY 2022-23 (Rs. Cr.)

| Sl. | Particulars | Approved in Tariff Order | Actual incurred | Reimbursed by GRIDCO |
| --- | --- | --- | --- | --- |
| 1 | Electricity Duty | 14.42 | 18.88 | 13.39 |
| 2 | Water Cess and Water Charges | 8.58 | 9.81 | 9.76 |
| 3 | Energy Compensation Charges | 0.71 | 0.00 | - |
| 4 | Tax and Cess on land | 0.05 | 1.33 | 0.25 |
| 5 | SOC and MOC for SLDC | 0.36 | 0.36 | 0.36 |
| 6 | ERPC Charges | 0.16 | 0.16 | 0.16 |
| 7 | Income Tax | 0.00 | 0.00 | - |
| 8 | Annual Inspection Fee | 0.00 | 0.15 | 0.15 |
| 9 | Recovery of ARR & Tariff Petition Fee & Publication Fee | 0.30 | 0.21 | 0.21 |
| 10 | Water Conservation Fund | 6.13 | 0.00 | - |
|  | Total | 30.71 | 30.89 | 24.29 |

Table 12: Other charges for FY 2023-24 (Rs. Cr.)

| Sl. | Particulars | Approved in Tariff Order | Actual incurred | Reimbursed by GRIDCO |
| --- | --- | --- | --- | --- |
| 1 | Electricity Duty | 14.57 | 16.73 | 10.83 |
| 2 | Water Cess and Water Charges | 9.22 | 10.45 | 10.45 |
| 3 | Tax and Cess on land | 0.25 | 0.25 | 0.25 |
| 4 | SOC and MOC for SLDC | 0.39 | 0.38 | 0.38 |
| 5 | ERPC Charges | 0.16 | 0.16 | 0.16 |
| 6 | Annual Inspection Fee | 0.16 | 0.00 | - |
| 7 | Income Tax | 0.00 | 0.00 | - |
| 8 | Recovery of ARR & Tariff Petition Fees & Publication Fee | 0.30 | 0.22 | 0.22 |
|  | Total | 25.05 | 28.19 | 22.30 |

Table 13: Other charges for FY 2024-25 (till 31st Dec 2024)  (Rs. Cr.)

| Sl. | Particulars | Approved in Tariff Order | Actual incurred | Reimbursed by GRIDCO |
| --- | --- | --- | --- | --- |
| 1 | Electricity Duty | 14.57 | 12.96 | 11.43 |
| 2 | Water Cess and Water Charges | 9.81 | 7.38 | 7.38 |
| 3 | Tax and Cess on land | 1.33 | 0.25 | - |
| 4 | SOC and MOC for SLDC | 0.49 | 0.32 | 0.32 |
| 5 | ERPC Charges | 0.16 | 0.00 | - |
| 6 | Annual Inspection Fee | 0.26 | 0.44* | 0.44 |
| 7 | Income Tax | 0.00 | 0.00 | - |
| 8 | Recovery of ARR & Tariff Petition Fees & Publication Fee | 0.30 | 0.22 | 0.22 |
| 9 | Ash utilization expenses including transportation charges | 0.38 | 5.23 | - |
|  | Total | 27.30 | 26.80 | 19.79 |

- *Includes the fees for FY 2023-24

- OPGC has submitted the year-wise number of forced outages in response to the direction of the Commission in the previous Order. Steps taken by OPGC since FY 2022-23 to reduce the number of forced outages to be provided in detail.

OPGC’s submissions: Remedial measures taken by OPGC to minimize the outages are as follows:

- Detailed Trip analysis is being conducted for every forced outage, and the recommended actions are implemented.

- The Root cause analysis for high-impact outages, for example, boiler tube leakages, is being carried out and the recommendations are being executed.

- In every annual outage special works in consideration for reliability & performance improvement are being done.

- Critical Operating parameter excursion monitoring is being done stringently on daily basis to minimize the chances of failures due to parameter excursion.

- Boiler & Turbine Residual life assessments are done by third party external expert agency in due time.

- Critical Spare part Inventory management is being prudently done to quickly replace worn out components & minimize down time in case of equipment failures.

- Skill development of the Operation & Maintenance is being carried out through various inhouse and external trainings on regular basis.

- Along with regular preventive & predictive maintenance the above steps are taken to minimize the occurrence of high-impact outages & equipment deratings to ensure the reliability and efficiency of the systems and equipment.

- Details of external sources from which working capital has been availed along with the justification for arriving at the proposed interest rate of Rs 8.90% is to be submitted.

OPGC’s submissions:  The Petitioner has started availing working capital from external sources since last couple of years. Presently, OPGC is availing loan towards working capital management from Union Bank of India. The effective interest rate for the Working Capital facility as of September 2024 stands at 8.90%. A statement certificate of rate of interest @ 8.90% on the loan availed by OPGC from the Union Bank of India is attached as Annexure 4.

OPGC herewith submits the above information which may be read and considered along with the submissions made in main Petition. The Petitioner craves leave and reserves its rights to make further submission during the proceeding of the instant Petition.

Date: 17.01.2025								Deponent

Place: Bhubaneswar