|  |  | OERC FORM T-6 |  |
| --- | --- | --- | --- |
|  | Licensee - OPTCL |  |  |
|  | CALCULATION OF TRANSMISSION LOSS IN EHT SYSTEM |  |  |
| PERIOD- | ACTUALS FOR FY 2020-21 (MU) |  |  |
| SL. NO. | SOURCE | GROSS INPUT | GROSS OUTPUT |
| 1 | EREB | 7391.71 | 5606.68 |
| 2 | GRIDCO DEDICATED STATIONS |  |  |
| i | OHPC | 4229.89 |  |
| ii | INDRAVATI | 1713.10 |  |
| iii | MACHHKUND | 299.00 |  |
| iv | OPGC | 7828.04 |  |
| v | TTPS | 2765.17 |  |
| 3 | SMALL HYDRO | 298.89 |  |
| 4 | CPPS, CO-GEN, RES | 2074.94 | 386.44 |
| 5 | IPPS | 4581.13 |  |
| 6 | OTHERS (BANKING & EX) | 101.88 |  |
| 7 | SALE TO CONSUMERS |  |  |
| (a) | CESU |  | 8383.30 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
| (b) | WESCO |  | 7384.45 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
| (c) | NESCO |  | 4949.76 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
| (d) | SOUTHCO |  | 3565.63 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
|  | TOTAL OF DISTCOMS |  | 24283.14 |
| 8 | GRAND TOTAL | 31283.75 | 30276.26 |
| 9 | LOSS | 1007.49 |  |
| 10 | LOSS AS A % OF GROSS INPUT | 3.22 |  |