|  |  | OERC FORM T-6 |  |
| --- | --- | --- | --- |
|  | Licensee - OPTCL |  |  |
|  | CALCULATION OF TRANSMISSION LOSS IN EHT SYSTEM |  |  |
| PERIOD- | ACTUALS FOR 1st SIX MONTHS OF FY 2021-22 (MU) |  |  |
| SL. NO. | SOURCE | GROSS INPUT | GROSS OUTPUT |
| 1 | EREB | 5362.82 | 1718.59 |
| 2 | GRIDCO DEDICATED STATIONS |  |  |
| i | OHPC | 1713.91 |  |
| ii | INDRAVATI | 777.99 |  |
| iii | MACHHKUND | 152.49 |  |
| iv | OPGC | 4472.49 |  |
| v | TTPS | 0.00 |  |
| 3 | SMALL HYDRO | 151.41 |  |
| 4 | CPPS, CO-GEN, RES | 1439.91 | 598.33 |
| 5 | IPPS | 2324.49 |  |
| 6 | OTHERS (BANKING & EX) | 512.46 |  |
| 7 | SALE TO CONSUMERS |  |  |
| (a) | CESU |  | 4853.26 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
| (b) | WESCO |  | 4426.91 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
| (c) | NESCO |  | 2787.64 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
| (d) | SOUTHCO |  | 1994.18 |
|  | (i) Sale to EHT Consumers |  |  |
|  | (ii) Input at 33 KV |  |  |
|  | TOTAL OF DISCOMS |  | 14061.99 |
| 8 | GRAND TOTAL | 16907.96 | 16378.92 |
| 9 | LOSS | 529.05 |  |
| 10 | LOSS AS A % OF GROSS INPUT | 3.13 |  |