# BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

CHUNOKOLI, SAILASHREE VIHAR, BHUBANESWAR

CASE NO. 76/2022

FILING NO. 2

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2023-24 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

Truing up application for the FY 2021-22 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

AND

IN THE MATTER OF: 	Odisha Power Transmission Corporation Limited, Janpath, Bhubaneswar

.…..  Applicant

# AND

IN THE MATTER OF:    Reply to the queries raised by the Hon’ble Commission vide letter No. 1496 dated 26.12.2022.

The humble applicant above named

MOST RESPCTFULLY SHEWETH:

That in response to the queries raised by the Hon’ble Commission vide letter No. 1496 dated 26.12.2022 on OPTCL’s Aggregate Revenue Requirement (ARR) & Transmission Tariff Application for FY 2023-24 and Truing up application for the FY 2021-22, OPTCL humbly submits its reply to the queries along with the supporting documents / additional information in the following paragraphs for kind information of the Hon’ble Commission.

TECHNICAL

Query No 1: Supervision charges

Detailed report on revenue receipt as regards to supervision charges and project management cost for implementation of Odisha Distribution System Strengthening Projects (ODSSP), IPDS and other works undertaken through different schemes may be furnished for FY 2021-22 & FY2022-23 up to date.

Reply of OPTCL:

(i) Supervision Charges: - OPTCL has recognized Rs. 36.15 crores as supervision charges during the F.Y.2021-22. During the FY 2022-23 (upto Dec-22) OPTCL has received Rs. 20 lakhs only towards supervision charges.

(ii) For the FY 2021-22 OPTCL has not recognize any income towards project management cost for implementation of Odisha Distribution System Strengthening Projects (ODSSP), IPDS & DDUGJY

In compliance to IND AS 115 (effective from 01.04.2018) the supervision/implementing agency charges in respect of DISCOMs and other works are credited to Statement of Profit & Loss in the year in which the completion and  handing over (i.e. control is transferred) of the assets made to the divisions  after adjustment of related expenses, if any. Therefore, the supervision/implementing agency charges in respect of the schemes ODSSP, ODAFF, DDUGJY & IPDS are not recognized in the Statement of Profit & Loss for the FY 2021-22 and the same can’t be recognized in advance for the FY 2022-23 unless it will fulfill the above conditions.

Query No 2: Multistoried office complex.

OPTCL in Table No-18 has projected an amount of Rs. 56.32 Cr. towards construction of office building during the FY 2023-24. OPTCL should submit a report on the total project cost and its break-up showing the year-wise investment plan for construction of office building along with its justification, progress and actual expenditure, if any, till date. Further, the status and utilisation of funds for construction of multi storied office complex & Tech tower may also be submitted.

Reply of OPTCL:

A report on the total project cost and its break-up showing the year-wise investment plan for construction of various multi-storied office complexes along with actual expenditure till date is furnished as Annexure-01. These buildings are being constructed to house all offices of OPTCL in one building now functioning either from quarters /rented houses in the same headquarter. This will help ease in administration and reduce travel time as well as cost.

Query No 3: civil works for SLDC needs justification

OPTCL should elaborate the requirements of each proposal for civil works with justification. The proposal for civil works for SLDC needs justification since SLDC has separately approached the Commission for approval of Rs.50.00 crore for civil work under repairs and maintenance.

Reply of OPTCL:

The major Repair & Maintenance of civil works of SLDC Office Buildings & Colony Quarters including Roads & Boundary walls, Water supply system & Sewerage along with other ancillary works have not been done for a long period. Immediate repair works are essentially required to bring the same to workable condition.

In the ARR and Fees and Charges of State Load Despatch Centre (SLDC) application for the FY 2022-23, SLDC had proposed an amount of Rs.45.00 Lakhs for the above works. Hon’ble Commission approved only Rs.5.00 Lakhs for the said works in Fees and Charges Tariff Order for FY 2022-23.

In order to execute the above essential works, SLDC has again proposed an amount of Rs.50.00 Lakhs in the ARR and Fees and Charges of State Load Despatch Centre (SLDC) application for FY 2023-24 before the Hon’ble Commission.

Further, SLDC also requested OPTCL to keep provision for an amount of Rs. 25 Lakhs for minor civil R&M works to be executed through Civil wing of OPTCL.

Query No 4: Actual demand of DISCOMs

OPTCL should submit the actual demand of DISCOMs (Distribution Licensee wise) for FY 2019-20, 2020-21, 2021-22 and 2022-23 up-to-date for projection of demand for ensuing year.

Reply of OPTCL:

(Figures in MU)

| YEAR | TPCODL | TPNODL | TPWODL | TPSODL | TOTAL |
| --- | --- | --- | --- | --- | --- |
| FY 2019-20 | 8156.07 | 5437.36 | 7306.37 | 3475.53 | 24375.32 |
| FY 2020-21 | 8383.30 | 4949.76 | 7384.45 | 3565.63 | 24283.14 |
| FY 2021-22 | 8834.79 | 5328.52 | 3911.10 | 9018.00 | 27092.41 |
| FY 2022-23 Upto 31.12.2022 | 7760.70 | 4875.65 | 3195.19 | 9637.79 | 25469.32 |

OPTCL in its present ARR application has taken the recent realistic demand projection figures as received from all four DISCOMs.

Query No 5: Loading pattern

OPTCL should submit a statement on the loading pattern of the existing transmission system (400 kV, 220 KV, 132 KV power transformers and EHT lines) corresponding to the peak demand of 5312 MW touched on 13th June, 2022.

Reply of OPTCL:

A statement on the loading pattern of the existing transmission system (400kV, 220kV, 132kV power transformers and EHT lines) corresponding to the peak demand 5312 MW (without Vedanta) touched on 13th June, 2022 is furnished as Annexure-02.

However, peak demand of the state with Vedanta is 6424 MW, touched on 25th September, 2022 at 23:00 hrs and correspondingly a statement on the loading pattern of the existing transmission system is attached as Annexure-03.

Query No 6: Fault levels

OPTCL should submit the fault levels (both 3 phase to ground and single phase to ground) of various EHT grid sub-station where existing circuit breakers, isolators, CTs are inadequate to handle because of reported industrialization and rapid rural electrification.

Reply of OPTCL:

The fault levels (both 3 phase to ground and single phase to ground) of various EHT grid Sub-stations is furnished as Annexure-04.

Query No 7 (i): R & M expenditure.

OPTCL to furnish a detailed list of expenditure incurred towards R&M work under different heads executed by OPTCL during 2021-22 & 2022-23 up to date in line with Table – 7 of the ARR of ensuring year. OPTCL has projected a substantial amount towards repair/replacement of Circuit barkers, surge arrestor, CT, PT, renovation of grid-substation, renovation of EHT lines, automatic fault analysis system, audit energy meter etc. under R&M head. The above works are capital in nature but inclusion of the same under R & M works needs justification.

Reply of OPTCL:

The Substations/Line equipment are changed / replaced based on Two factors.

- Due to Failure

- When it exceeds its life span and based on condition monitoring or physical verification.

On both occasions, there is hardly any time for immediate procurement of the items. So OPTCL based on periodical reports makes a procurement plan for replacement of the items from the readymade available Budget i.e. R&M.  The items like replacement of CB, CT, LA, Isolator, Insulators, Station Transformers, Hardware fittings, Clamps and Conductors are small value items, which are procured to stock and best suited for inclusion in R&M Budget.

Further, Transformers have complete and self-sufficient protection system whereas protection system of the items like CB, CT, LA etc. are not and aligned with the life span of existing old system. So life span of aforesaid items can’t be predicted over 25/35 years. The physical as well as technological life span of these equipment are not suitable to be included in Capital Budget, whose recovery time is 25/35 years.  Hence, the items may be continued to be included in R & M Budget.  Replacement/installation of new Transformers, replacement of conductors etc. are kept in Capital Budget.

The Details of Wing-wise and item wise actual R &M expenses incurred as against OERC approval for FY 2021-22 and FY 2022-23 (up to December, 2022 are already mentioned at Query 28. However, during the FY 2022-23 (till date) OPTCL has procured following material for repair and maintenance of the transmission networks.

| Sl. No. | Items |
| --- | --- |
| 1 | Nitrogen Injection fire protection system |
| 2 | Tower Material |
| 3 | 145kV SF6Circuit Breaker |
| 4 | 132/145kV oil immersed CVT 4400pf with accessories |
| 5 | polymer Type surge arrester with accessories |
| 6 | 132kV SI with double break W/O E/S |
| 7 | 132kV oil immersed CT |
| 8 | AMC of 80TR nominal capacity w. cooled air conditioning system |
| 9 | 132kV & 33kV Isolator Box |
| 10 | 245kV, 160kN PLI with accessories |
| 11 | 2.5 Sqmm Control cable unarmoured |
| 12 | 400KV CT (live tandk design with polymer insulator |
| 13 | Hardware fitting for conductor |
| 14 | 33kV Live Tank CT |
| 15 | 220kV LA/SA structure,cable end sealing structure |
| 16 | Battery Charger |
| 17 | Numerical backup relay |
| 18 | 400kV Surge Arrester |

Query No 7 (ii): Security personnel for watch & ward

OPTCL has proposed an amount of Rs.39.00 crore towards engagement of 2200 Nos. of Security personal for watch & ward under R & M head. OPTCL should justify its requirement and inclusion in R & M and submit the related information (year wise from FY 2018-19 to till date) in the table mentioned below:

| Sl No. | Name of the Line | Voltage level | Nos. of Ckt. | Length in Ckt. Km. | Status of line (in service/ under construction) | Date of initial charging (if in service). Initial work order date (if under construction) | Nos. of Security Guards engaged | Expenditure per year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Reply of OPTCL:

The Watch & Ward expenditure of Grid substations and lines under O&M wing, E&MR & Telecom wings are essentially in the nature of O&M expenses. Hence, the same are booked under R&M expenses.

However, Watch & Ward expenditure relating to Head Office, Circle Offices and other Offices are booked under A&G expenses. All Watch & Ward expenditure relating to Construction Divisions are capitalised and booked under the respective projects.

The year wise information from FY 2019-20 to till date as per the prescribed table is furnished as Annexure-05 (colly).

Query No 7 (iii): GPS based line patrolling system & renovation works of GSS.

OPTCL has also proposed an amount of Rs.8.93 cr. towards GPS based line patrolling system, Rs.5.45 cr. for renovation works of grid substations and 5.45 cr. for renovation of EHT lines. OPTCL should justify the consideration of the aforesaid works of procurement, replacement of defective equipment under R&M.

Reply of OPTCL:

The GPS based line patrolling system is an Integrated Mobile and Web App Solution for effective and timely Patrolling, Monitoring and Maintenance of Power Transmission Lines. The Software/application runs both on Desktop and mobile phones as well. The Mobile application is GPS enabled and runs on Mobile/Tablet and is used by line personnel during patrolling. It gets activated only within the Geo-fence of the assigned tower being patrolled and enables patroller to record some feedbacks as per a standard format pre-assigned to the application. The Web application manages the above information furnished by patrolling personnel along with Tower, Line TL group/office information, broadcast message. It also authorize regional office executive functions, generation of patrolling reports, scheduling, and monitoring broadcasting and have various dashboards for MIS. OPTCL has already implemented this GPS based line patrolling system successfully in 400kV Meramundali-Lapanga-IB thermal line, 400kV Meramundali-Mendhasal line, 400kV Meramundali-New Duburi line on Pilot basis and subsequently going to implement the system throughout all the transmission lines strategically. It is related to R&M nature of work.

As on Dec-2022 OPTCL owns 185 nos. Grid Sub-stations of different voltage classes and EHT transmission lines of 15942.35 ckt kms. Further, around 11 grid substations are proposed to be commissioned during 2023-24. The transmission system of OPTCL is subject to rising trend of the loading pattern across the state. Many sub-stations and EHT lines are pretty old and have outlived their standard life span. Some of the sub-station equipment which were imported during the OSEB period are obsolete now and spares for such equipment are unavailable for which repairing those is very cumbersome and  expensive.

Day to day expansion of EHT network due to rapid industrialization and rural electrification initiatives has resulted in higher fault levels at various EHT Grid sub-stations for which some of the existing equipments like CBs, Isolators, CTs are now incapable to handle the present system. To operate the system effectively and to maintain uninterrupted quality power supply throughout the state maintaining the performance standards set down by Hon’ble OERC it is absolutely necessary to undertake replacement of the old/obsolete equipment those have outlived their useful economic life. Also it is required to renovate and upgrade the equipment in existing system to handle the rising demand particularly during summer.

With the above objective OPTCL proposed above R&M expenses towards Renovation Works of Grid Substations and EHT Lines which includes Repair / Replacement of Old & Defective Equipments, Bus Augmentation, Switchyard Re-metalling & Illumination, Renovation of Earthing System, Painting of equipment, Repair of Boundary Walls & Fencing, Repair of Approach Roads, Cable Trenches & development of drainage System at various old Grid Sub-stations, Repair & building of Revetments, Cooping & Earthings of Tower at required locations, Painting of MS towers and Replacement of damaged tower Angles, Conductors, Replacement of old Insulators, Clamps & Connectors of various transmission lines of the system mostly of saline areas.

As the cost involvement for the above specific requirements is of repair and maintenance nature and no new assets or transformation capacity addition occurs in the grid sub-station and transmission lines, the same is proposed under the R&M Plan.

Query No 8: Transmission loss.

The Commission had approved the transmission loss of 3% for FY 2022-23, whereas the actual transmission loss submitted by OPTCL from April, 2022 to September, 2022 was 3.14%. During previous years, OPTCL has made a lot of investment for improvement of its transmission system and submitted the supporting studies/ documents during the approval of projects about the expected reduction in loss in case of addition of new transmission projects with rise in demand. Therefore, OPTCL’s submission that increased flow of power contributes rise in transmission loss needs a detailed justification.

Reply of OPTCL:

The actual transmission loss for the period Apr’ - Sep’ 2022 is calculated to be 3.14% as shown in the ARR & TT application for FY 2023-24. This figure is less than the actual transmission loss that has taken place during last year i.e. FY 2021-22 i.e. 3.18%. In fact, OPTCL had projected Transmission loss of 3.10% for the FY 2022-23, but Hon’ble Commission had set a target of 3.00% which could not be achieved yet.

In OPTCL system, the transmission loss is purely technical loss and a function of real time injection of power by a number of generators, system configuration and power flow requirements at different load centers. It depends on many parameters / factors such as distance and mismatch between generation and load centers, types of load, reactive power compensation, voltage profile, seasonal variation of demand load etc. Thus, OPTCL does not have much control over the same at any point of time. The transmission system of OPTCL operates as an integral part of the Eastern Region Grid to serve the internal demand of the State as well as to carry out import and export of power depending upon the system demand.

As of the matter of fact, some grid s/s and lines are being constructed in many remote and deprived areas funded under Central & State Govt. schemes in the interest of public. Additional length in EHT lines and Sub-stations in under-loaded areas are also responsible for increase in transmission loss.

The Transmission Loss in OPTCL network is in a gradually reducing trend over the years i.e. from 3.73% during 2014-15 to 3.18% in 2021-22 and has remained 3.14%  within 1st six months of FY 2022-23 mainly due to addition of infrastructure and various system strengthening works taken up by OPTCL. The actual losses incurred over the years by OPTCL have been within the margin allowed by Hon’ble Commission up to the year FY 2017-18. However in the FY 2018-19, the commission set the loss at 3.00% though the projected transmission loss was at 3.25% and thereafter the commission has been pegging the transmission loss at the same level though loss projected by OPTCL remained in a downward trend.

| Year | Tr. Loss proposed | OERC Approval | Actual |
| --- | --- | --- | --- |
| 2014-15 | 3.75% | 3.75% | 3.73% |
| 2015-16 | 3.75% | 3.75% | 3.67% |
| 2016-17 | 3.70% | 3.70% | 3.58% |
| 2017-18 | 3.50% | 3.50% | 3.34% |
| 2018-19 | 3.25% | 3.00% | 3.28% |
| 2019-20 | 3.25% | 3.00% | 3.25% |
| 2020-21 | 3.20 % | 3.00% | 3.22% |
| 2021-22 | 3.15% | 3.00% | 3.18% |
| 2022-23 | 3.10% | 3.00% | 3.14% (1st six months ) |

From the table given above, it is also clear that each year upto FY 2017-18, the transmission loss achieved by OPTCL has remained at a level lower than the approved figures by Hon’ble commission and from FY 2018-19 the target set by OERC appears to be very stiff which was hard to achieve though the trend of lesser transmission loss year after year has been achieved.

That the transmission losses depend upon the voltage level at which the power is transmitted. The transmission losses are higher where the percentage of lower voltage (132kV or below) transmission system is higher. A comparison of the average transmission losses of a few state transmission licensees and their corresponding transmission assets at low voltage level (132 kV) is shown below.

TRANSMISSION LOSS (%) OF OTHER STATES OF LOW VOLTAGE LINES

UPTO 132KV FOR FY 2020-21

| States | % of Low voltage Lines (up to 132 kV) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Transmission Lines up to 132kV (Ckm) | Total Transmission Lines (Ckm) | % of Transmission Lines up to 132kV | Actual Transmission Losses for FY 2020-21 (%) |
| Odisha (OPTCL) | 7,393 | 14,805 | 50% | 3.22 |
| Uttar Pradesh (UPPTCL) | 26,595 | 50,762 | 52% | 3.37 |
| Gujarat (GETCO) | 40,434 | 67,601 | 60% | 3.41 |

It may be kindly be appreciated that the transmission loss (technical) is bound to happen as per law of physics and is very difficult to reduce after a certain level. Also, at all India level, the transmission loss of utilities have remained at more than 3.00% and  to suffice our view point the table is given below for kind appreciation of Hon’ble commission.

| Transmission Loss of different states during FY 2022-23 |  |  |
| --- | --- | --- |
| Name of states | Tr. loss proposed by Utility | Tr. loss approved by State Commission |
| Uttar Pradesh (UPPTCL) | 3.27% | 3.27%(UERC) |
| Gujarat (GETCO) | 3.72% | 3.72% (GERC) |
| Assam (AEGCL) | 3.30% | 3.30%(AERC) |

However, as a responsible Transmission utility, OPTCL is making an all-out effort to reduce the transmission loss further by undertaking various system operation and loss reduction measures by implementing the emerging technologies like system Automation, load bifurcation, modification in system configuration, procurement of more efficient equipment, Digitalization of grids by using Bay Control units, Protection system improvement using Busbar protection and Event Logger, Conversion of Radial to Ring system, Advanced Metering Infrastructure etc. to bring it to 3.10% by FY 2023-24 as set out in Business plan of OPTCL.

Query No 9: Basis of 300 MU energy handled in distribution network

In Table-25, OPTCL has deducted 300 MU towards energy handled in distribution network from the total energy transmitted in OPTCL network. The basis and study undertaken by OPTCL to propose 300 MU loss in distribution system is to be submitted. Further, OPTCL should submit the details of DISCOM wise transaction made through 33kV & 11kV network for FY 2020-21, 2021-22 & 2022-23 up-to-date.

Reply of OPTCL:

OPTCL anticipates approximately 300MU of energy flow to DISCOMs directly in their 11kV & 33kV distribution network without involvement of OPTCL EHT network during the year 2023-24 based on past trend. The details of such network of DISCOMs are outlined below:

1.  Energy flow from Chipilima Power House to TPWODL through TFR-I & II at 33kV voltage level.

- Energy flow from Burla Power House to TPWODL through 11kV Island Feeder.

3. Direct injection by Solar / Wind / Thermal plants to DISCOMs network at 11kV/33kV voltage level without involvement of OPTCL EHT network.

As per Hon’ble OERC common order dated 26.09.2012 passed in Case No. 53/2008 (WESCO vs. OPTCL) and Case No. 53/2012 (NESCO vs. OPTCL), OPTCL is not entitled to transmission charges for the above transaction of energy.

The DISCOM wise energy flow for 2020-21, 2021-22 & 2022-23 (April ’22 - Dec ’22) in the above manner directly to DISCOMs network is given hereunder.

(Figures in MU)

| YEAR | TPCODL | TPNODL | TPWODL | TPSODL | TOTAL |
| --- | --- | --- | --- | --- | --- |
| FY 2020-21 | 3.14 | 1.93 | 240.38 | 50.15 | 295.6 |
| FY 2021-22 | 3.63 | 3.51 | 251.06 | 50.46 | 308.66 |
| FY 2022-23 | 3.02 | 0.49 | 182.47 | 38.49 | 224.47 |
| Upto 31.12.2022 |  |  |  |  |  |

Prorating for FY 2022-23, the expected energy flow will be to the tune of 299.29 MU [(227.47/09) x12)] for which OPTCL will not get transmission charges. Accordingly, OPTCL has projected 300 MU energy transaction to DISCOMs without involvement of OPTCL EHT network during FY 2023-24.

Query No 10: GCC Expenditure

OPTCL should furnish the details of expenditure incurred towards GCC for FY 2021-22& FY 22-23 up to date to justify their claim for 2023-24.

Reply of OPTCL:

The Hon’ble Commission had approved Rs. 0.35 Cr. towards GCC Expenses for FY 2021-22 vide order dated 26.03.2021 (Case No. 73/2020). Due to pandemic COVID 19, no expenditure has been booked on account of GCC during FY 2021-22 as GCC meeting couldn’t be held.

The Hon’ble Commission had approved Rs. 0.35 Cr. towards GCC Expenses for FY 2022-23 vide order dated 24.03.2022 (Case No. 105/2021). Because of the ongoing COVID 19 restrictions, there has been no expenditure during the 1st nine months of FY 2022-23 (April-Dec’ 22). However, OPTCL plans to conduct 17th GCC meeting / Workshops / Performance Review Meetings in the remaining period both at regional and corporate level and fully utilize the allocated resources and accordingly proposed 0.35 Cr. for FY 2023-24.

Query No 11: Wheeling charge from CGPs & others

OPTCL should furnish the justification for consideration of energy i.e. 678 MU towards wheeling to industries from CGPs & emergency sale to CGPs. The details of wheeling charges collected from CGPs & others (both quantum and revenue) for FY 2019-20, 2020-21, 2021-22 & 2022-23 up to date may be submitted.

Reply of OPTCL:

For FY 2023-24 NALCO, IMFA, BEL & ABReL have projected their respective demands as 88MU (10MW), 360MU (41MW), 66MU (7.5MW) & 164MU (18.75MW). Accordingly, OPTCL has proposed 678 MU towards wheeling to industries from CGPs & emergency sale to CGPs in its ARR application for FY 2023-24. The correspondences received from the aforesaid CGPs (NALCO & IMFA) regarding their projection are attached as Annexure-06 (Colly). In case of BEL & ABReL, respective Contracted Capacity have been considered as per their LTOA applications.

The quantum of power transmitted / emergency power supplied to NALCO, IMFA, BEL & ABReL and revenue earned by OPTCL as transmission charge for FY 2019-20, 2020-21, 2021-22 & 2022-23 (April ‘22 - Nov ’22) are furnished below.

|  | NALCO |  | IMFA |  | BEL |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Quantum in MU | Revenue Collected In Cr. | Quantum in MU | Revenue Collected In Cr. | Quantum in MU | Revenue Collected In Cr. |
| 2019-20 | 190.50 | 4.76 | 307.25 | 7.68 | 10.32 | 0.26 |
| 2020-21 | 189.61 MU (Upto Oct-20) *215 MW (Nov-2020 onwards) | 7.87 | 130.59 MU ( Upto Oct-20) *414 MW (Nov-20 onwards) | 6.55 | 4.38MU ( Upto Oct-20) *36.75MW (Nov-20 onwards) | 0.63 |
| 2021-22 | 54 MW Contracted Capacity throughout year. | 9.58 | 45.57MW Contracted Capacity throughout year. | 8.09 | 5 MW Contracted Capacity throughout year. | 0.23 |
| 2022-23 (April ‘22 - Nov ’22) | 9.13242 MW Contracted Capacity throughout year. | 2.62 | 41.09 MW Contracted Capacity throughout year. | 7.84 | 1.814 MW Contracted Capacity throughout year. | 0 |

*OPTCL has been raising Transmission charge against CGPs (NALCO, IMFA & BEL) on the basis of Contracted capacity of CGPs as per new Open Access Regulations, i.e. “OERC (Terms and Conditions of Intra-State Open Access) Regulations, 2020” which has come into force with effect from its publication in Odisha Gazette dated 02.11.2020 (effective from 18.11.2020). The basis of raising the Transmission bills has been clarified through a letter of OERC on dated 01.02.2021 which is furnished as Annexure-07.

Query No 12: Details of completed projects.

OPTCL should furnish the details of project completed during FY 2021-22 and FY 2022-23 upto-date in the following format:-

| Sl No. | Name of the Project | Schedule date of completion | Revised date of completion | Actual date of completion | Original estimated cost of the project/ work order no. & date | Revised cost | Actual Expenditure |
| --- | --- | --- | --- | --- | --- | --- | --- |

Reply of OPTCL:

The details of project completed during FY 2021-22 and FY 2022-23 upto-date as per the format prescribed by Hon’ble Commission is hereby attached as Annexure- 08.

Query No 13: Interstate & Intrastate wheeling, STOA and STU

OPTCL should furnish the details of quantum and revenue earned by OPTCL towards Interstate & Intrastate wheeling, STOA and STU charge received from energy exchange for FY 2020-21, 2021-22 and 2022-23 upto date (Table-23). The details of STOA to be furnished in the table below:

| Year | No. of application received by SLDC | No. of application allowed by SLDC | Total Power (MW) transmitted through Open Access | Total Energy (MU) transmitted through Open Access | Amount collected by OPTCL (Rs. in Lakhs) |
| --- | --- | --- | --- | --- | --- |
| 2020-21 |  |  |  |  |  |
| 2021-22 |  |  |  |  |  |
| 2022-23 up-to-date |  |  |  |  |  |

Reply of OPTCL:

The details of quantum and revenue earned by OPTCL towards Interstate wheeling for FY 2020-21, FY 2021-22  & FY 2022-23 (upto Nov’ 22)  are furnished below.

| MONTH | BILATERAL (MU) | TRANSMISSION CHARGES(Rs.) | POWER EXCHANGE(MU) | TRANSMISSION CHARGES (Rs.) |
| --- | --- | --- | --- | --- |
| FY 2020-21 | 638.271 | 8,89,08,869.00 | 6195.700 | 10,98,43,880.85 |
| FY 2021-22 | 5388.075 | 61,54,95,631.00 | 5102.174 | 44,29,87,248.05 |
| FY 2022-23 (Upto Nov’ 22) | 3511.155 | 88,41,50,409.00 | 2595.445 | 38,24,14,106.2 |

The details of quantum and revenue earned by OPTCL towards Intrastate wheeling for FY 2020-21, FY 2021-22  & FY 2022-23 (upto Nov’ 22)  are furnished below.

| INTRA STATE OPEN ACCESS TRANSACTION |  |  | MEDIUM TERM OPEN ACCESS |  |
| --- | --- | --- | --- | --- |
| MONTH | ENERGY (MU) | TRANSMISSION CHARGES (Rs.) | ENERGY SCHEDULED (MU) | TRANSMISSION CHARGES (Rs.) |
| FY 2020-21 | 3005.388 | 44,23,94,129.00 | NIL | NIL |
| FY 2021-22 | 4703.827 | 1,37,88,31,999.00 | NIL | NIL |
| FY 2022-23 (Upto Nov’ 22) | 4135.117 | 88,03,72,354.00 | NIL | NIL |

The details of STOA for FY 2020-21, FY 2021-22 & FY 2022-23 (up to Nov’ 22) are furnished below:

| Year | No. of Application received by SLDC | No. of Application allowed by SLDC | Total Power (MW) transmitted through Open Access | Total Energy (MU) transmitted through Open Access | Amount Collected by OPTCL (Rs in Lakhs) |
| --- | --- | --- | --- | --- | --- |
| 2020-21 | 3661 | 3661 | 1123.214 | 9839.359 | 4423.94 |
| 2021-22 | 8496 | 8496 | 1734.484 | 15194.07614 | 13434.18 |
| 2022-23 (upto Nov' 22) | 6136 | 6136 | 1748.927 | 10241.71659 | 8418.86 |

Query No 14: Transmission System outage data

OPTCL should furnish the softcopy of the transmission system outage data for FY 2021-22 (Annexure-6) in relation to the Transmission System Availability (TSA).

Reply of OPTCL:

The softcopy of the transmission system outage data for FY 2021-22 in relation to the Transmission System Availability (TSA) has already been submitted to OERC on the date of filing of ARR & TT application of OPTCL for FY 2023-24 i.e. 30.11.2022.

Query No 15: Transformer firefighting system under R & M.

The reason for provision of Rs.14.5 crore for transformer firefighting system under R & M instead of CAPEX needs justification.

Reply of OPTCL:

The provision of Nitrogen Firefighting system for 60 nos. of Transformers in service is being taken up for Fire safety and protection of other auxiliary Sub-station equipment due to fire hazards caused by burst / burning of transformers or nearby equipment as per CEA Safety norm/guidelines. It is being proposed for replacement of some old type fire protection systems and implemented as protection for existing transformers in service without any capacity addition. Hence, the expenditure against transformer firefighting may be treated under R&M head.

Query No 16: Reports on major incidents

OPTCL to submit the reports on major incidents in the approved format that occurred in their transmission system during the FY 2021-22 and FY 2022-23 up-to-date for which any part of the transmission system was affected.

Reply of OPTCL:

Reports on major incidents in the approved format that occurred in OPTCL Transmission system during the FY 2021-22 and FY 2022-23 up-to-date is hereby attached as Annexure-09.

Query No 17: Cyclone Resilient Transmission System

OPTCL may submit a report on the action taken for development of Cyclone Resilient Transmission System in the State to face the natural disaster.

Reply of OPTCL:

- For system strengthening and better availability of power, OPTCL has already started implementing the transmission tower designs based on Wind Zone-VI in coastal areas which are situated within 60 kms. distance from state coast line with Bay of Bengal. OPTCL has used monopole tower structure instead of truss/mess tower structure in 220 kV LILO for construction of Balianta GSS for its high wind resilience capability.

- OPTCL has been comprehensibly engaged in building robust emergency and disaster management infrastructures especially after appalling destruction to the transmission assets caused by the severe cyclonic storm ’FANI’. Under the scheme of Disaster Resilient Power System (DRPS) PHASE - I, OPTCL has completed some projects i.e. 132/33kV GIS at Khuntuni, 132/33kV GIS at Chandbali, 132kV Aska - Digapahandi line, 220kV Pandiabil-Samangara DC line & the installation works of 3rd 315 MVA ICT at 400/220/132kV GSS at Mendhasal and restoration work of 132kV Chandbali - Dhamara line is in progress.  Funding for 220kV Pandiabil-Samangara DC line and 132kV Chandbali - Dhamara line has been arranged by State Govt. from Mahanadi Coalfields Ltd. (MCL) through their CSR activities.

- Under DRPS PHASE-II scheme, OPTCL has focoused focus on various cabling work on priority basis. It includes 132kV UG cabling of Narendrapur - Berhampur, Mendhasal - Chandaka-B, Chandaka-B – Brajabiharipur, Samangara - Puri and Arugul – Ranasinghpur. It will catalyse the load growth, availability of power in coastal areas and capital region of the state throughout the year.

- Under DRC (Disaster Response Centre) scheme, OPTCL has purchased DG Sets, spares of old ERS towers, 30 nos. of new ERS towers OPTCL has installed spare 20 MVA transformers (at Jayanagar, Chandpur), spare 40 MVA transformers (at New Bolangir, Sambalpur, Narendrapur, Khurdha, Jajpur Road) and spare 160 MVA auto transformers (at New Bolangir, Balasore, Chandaka) under this scheme.

Query No 18: Capital Work in Progress (CWIP) position of Transmission projects

Project wise, Scheme wise, Source of funding wise of Capital Work in Progress (CWIP) position of Transmission projects to be submitted in the following prescribed formats:

Reply of OPTCL:

Project wise, Scheme wise, Source of funding wise of Capital Work in Progress (CWIP) position of Transmission projects as prescribed Hon’ble Commission are submitted herewith as Annexure-10.

Query No 19: Transmission Projects without approval

Details of the transmission Projects which are under CWIP but without approval of the Commission, if any to be submitted in the following prescribed formats:

Reply of OPTCL:

The details of the transmission Projects which are under CWIP but without approval of the Commission is hereby attached as Annexure– 11 as per the prescribed format by Hon’ble Commission.

Query No 20: Infusion of Equity Capital

The details of Scheme-wise and Project wise infusion of Equity capital during FY 2021-22 and FY 2022-23 (till December-2022) by the Government including copy of sanction order, date etc. and source to be furnished.

Reply of OPTCL:

The details of Scheme-wise and Project wise infusion of Equity capital during FY 2021-22 and FY 2022-23 (till December-2022) is enclosed as Annexure- 12.

The copies of sanction orders received from Government during FY 2021-22 and FY 2022-23 (till December-2022) are enclosed as Annexure- 13 (colly).

Query No 21: Loan position

OPTCL to submit sources wise outstanding Loan position for FY 2021-22 & FY 2022-23 (till Date) 2022 as per prescribed format below:

(Also provide soft copy of loan repayment schedules of all loans availed till 31-12-2022.)

Reply of OPTCL:

Outstanding Loan position of OPTCL for FY 2021-22 & FY 2022-23 (till Date) 2022 is enclosed as Annexure- 14.

The soft copy of loan repayment schedules of all loans availed till 31.12.2022 is being send.

Query No 22: Employee cost

Month-wise and component wise actual employee cost from April-2022 to December-2022 may be furnished.

Reply of OPTCL:

The Month-wise and item-wise employee cost from April, 2022 to December, 2022 is furnished as Annexure-15

Query No 23: Actual employees.

The discrepancy in nos. of employees shown in the table at page 6 of 72 may be rectified and submitted by OPTCL. Further the actual number of candidates recruited till December-22 as against the target of 342 for FY 2022-23 to be submitted.

Reply of OPTCL:

The average number of employees for computation of Basic Pay for FY 2023-24 is calculated below:-

| No. of Employees as on 01.04.2021 | 2588 |
| --- | --- |
| Add:- New employees inducted during FY 2020-21 and regularized in FY 2021-22 | 27 |
| Less:- Retired/VRS/Expired/Resigned during FY 2021-22 | 173 |
| No. of employees as on 01.04.2022 | 2442 |
| Add:- New employees inducted during FY 2021-22 and regularized in FY 2022-23 | 252 |
| Less:- Retired/to be retired/VRS/Expired/Resigned during FY 2022-23 | 146 |
| No. of employees as on 01.04.2023 | 2548 |
| Add:- New employees inducted during FY 2022-23 and regularized in FY 2023-24 | 342 |
| Average no. of employees for the FY 2022-23 {(2442+2548)/2} | 2495 |
| Less:- Employees to be Retired during FY 2023-24 | 120 |
| No. of employees as on 01.04.2024 | 2770 |
| New employees inducted during FY 2023-24 and regularized in FY 2024-25 | 63 |
| Average no. of employees for the FY 2023-24 {(2548+2770)/2} | 2659 |

Actual number of candidates recruited till December-22 as against the target of 342 for FY 2022-23 is furnished below.

| SL NO. | Post | Number of Candidates recruited |
| --- | --- | --- |
| 1 | Management Trainee (MT) (Electrical) | 30 |
| 2 | Junior Management Trainee (JMT) (Electrical) | 36 |
| TOTAL |  | 66 |

Query No 24: Repairs and maintenance of staff quarters

OPTCL has proposed Rs.4.44 Cr. for FY 2023-24 towards repairs and maintenance of staff quarters. Details of year wise total expenditure incurred during last three years (FY 2019-20 to FY 2021-22) & 2022-23 up to date may be furnished. The details plan of action and strategy being followed by OPTCL may be submitted.

Reply of OPTCL:

Details of year wise total expenditure incurred during last three years (FY 2019-20 to FY 2021-22) & 2022-23 up to date is hereby furnished below:

| SL NO. | FINANCIAL YEAR (FY) | Amount Spent (In Rs.) |
| --- | --- | --- |
| 1 | 2019-20 | Rs.1.62 Cr. |
| 2 | 2020-21 | Rs.2.33 Cr. |
| 3 | 2021-22 | Rs.3.08 Cr. |
| 4 | 2022-23 (upto Dec 2022) | Rs.0.56 Cr. |

OPTCL has inherited the quarters built during OSEB period for most of its old grids and residential colonies. During that phase most of the quarters were built to accommodate the staffs of then sanctioned strength, which included a majority of Group C and Group D employees.

However, with change in organization structure, sufficient quarters were not available as per requirement and cadre, which led to a large chunk of quarters across Odisha being unoccupied.
        Presently, it is proposed that almost 224 numbers of 1R/2R Quarters of OPTCL colony at Bhoi Nagar are to be demolished to make space for 100 number of quarters with modern facilities in 1st phase. Relevant MOU with M/S NBCC has been signed. In way forward, the same model shall be replicated in places where more than 50 numbers of employees are posted in one station and its vicinity to provide modern accommodation and welfare of employees

Query No 25: Residential Quarters.

OPTCL may furnish the list of residential quarters available at different locations, its type, the nos. of quarters in occupation by employees, nos. of vacant quarters and the reason of vacancy as on 30.11.2022.

Reply of OPTCL:

The list of residential quarters available at different locations, its type, the nos. of quarters in occupation by employees, nos. of vacant quarters and the reason of vacancy as on 30.11.2022 is hereby furnished as Annexure-16.

Query No 26: Actual Pension.

The details of month wise actual Pension paid for the FY 2021-22 & FY 2022-23 (up to December 2022) to be furnished.

Reply of OPTCL:

- The actual Pension paid for the FY 2021-22 as per Audited A/c is Rs. 2,22,82,77,379. (Audited Accounts & Report of GRIDCO Pension Trust Fund for FY 2021-22 is attached as Annexure- 17)

- The details of month wise actual Pension paid for FY 2022-23 (up to December 2022) are furnished below

| GRIDCO PENSION TRUST FUND |  |  |
| --- | --- | --- |
| DETAILS OF PENSION PAID DURING FY 2022-23 (APRIL - DECEMBER 2022) |  |  |
| Sl. No. | Month | Amounts (In Rs) |
| 1 | Apl-22 | 17,94,73,332 |
| 2 | May-22 | 19,14,71,846 |
| 3 | Jun-22 | 22,99,16,964 |
| 4 | Jul-22 | 17,41,12,745 |
| 5 | Aug-22 | 17,35,23,519 |
| 6 | Sep-22 | 20,97,22,486 |
| 7 | Oct-22 | 21,36,68,576 |
| 8 | Nov-22 | 20,34,31,197 |
| 9 | Dec-22 | 21,14,62,880 |
|  | Total | 1,78,67,83,545 |

Query No 27: Details of Terminal Benefits

Details of terminal benefits (Pension, Gratuity & Leave Salary) corpus allowed by Commission and against the same actual amount of Investment as on 31-03-2022 and till date to be furnished. Actual interest accrued during FY 2021-22 and estimated for FY 2022-23 to be furnished. Audited accounts of the above funds accounts to be submitted.

Reply of OPTCL:

- Total Un Utilised Leave Salary (UULS) paid for FY 2021-22 as per the Audited Accounts is Rs. 11.69 Cr.

- The Un Utilised Leave Salary (UULS) paid during FY 2022-23 (April – December 2022) is furnished below.

| OPTCL LEAVE ENCASHMENT BENEFIT TRUST |  |
| --- | --- |
| UULS paid during FY 2022-23 (April - December) |  |
| FY 2022-23(Apr-Dec) | Amount (Rs in Cr.) |
| Apl-22 | 2.37 |
| May-22 | 1.70 |
| Jun-22 | 2.07 |
| Jul-22 | 1.80 |
| Aug-22 | 0.59 |
| Sep-22 | 0.88 |
| Oct-22 | 0.47 |
| Nov-22 | 0.47 |
| Dec-22 | 0.93 |
| TOTAL | 11.28 |

- Total Gratuity Payment Paid for FY 2021-22 as per the Audited Accounts is Rs. 24, 19, 76,516.

- The Gratuity Payment paid during FY 2022-23 (April - December) is furnished below.

| Details of Gratuity payment during FY 2022-23 (Apr-Dec) |  |  |
| --- | --- | --- |
| Sl. No. | Month | Amounts (In Rs) |
| 1 | Apl-22 | 1,83,83,778 |
| 2 | May-22 | 1,62,60,369 |
| 3 | Jun-22 | 1,60,55,887 |
| 4 | Jul-22 | 2,17,13,083 |
| 5 | Aug-22 | 1,21,74,118 |
| 6 | Sep-22 | 85,37,282 |
| 7 | Oct-22 | 1,11,30,126 |
| 8 | Nov-22 | 58,62,752 |
| 9 | Dec-22 | 1,12,96,593 |
|  | Total | 12,14,13,988 |

- Details of Corpus Fund & Investment as on 31.03.2022 of Terminal Benefit Trust is furnished below.

| Name of the Trust | Corpus as on 31.03.2022 (Rs. in Cr.) | Investment as on 31.03.2022 (Rs. in Cr.) | Remarks |
| --- | --- | --- | --- |
| GRIDCO Pension Trust | 2660.52 | 2057.61 | Rs. 739.47 Cr. (Receivable from OPTCL) |
| OPTCL Leave Encashment Benefit Trust | 127.21 | 136.24 | Rs.13.92 Cr. (Receivable from OPTCL) |
| GRIDCO Gratuity Trust | 115.26 | 76.86 | Rs. 36.21 Cr. (Recivable from OPTCL) |

- Details of Investment from 01.04.2022 to 31.12.2022 is furnished below.

| Name of the Trust | (Rs. in Cr.) |
| --- | --- |
| GRIDCO Pension Trust | 207.87 |
| OPTCL Leave Encashment Benefit Trust | 10.97 |
| GRIDCO Gratuity Trust | 26.90 |

- Details of Interest Received & Receivable as on 31.03.2022 and estimation for FY 2022-23 is hereby furnished below.

| Name of the Trust | Actual as on 31.03.2022 (Rs. Cr.) | Estimated for FY 2022-23 (Rs. Cr.) |
| --- | --- | --- |
| GRIDCO Pension Trust | 141.07 | 143.80 |
| OPTCL Leave Encashment Benefit Trust | 8.55 | 8.25 |
| GRIDCO Gratuity Trust | 4.30 | 4.50 |

- Audited Accounts & Report of GRIDCO Pension Trust Fund for FY 2021-22 is hereby attached as Annexure- 17.

- Audited Accounts & Report of GRIDCO Gratuity Trust Fund for FY 2021-22 is hereby attached as Annexure- 18.

Query No 28: R &M expenses.

Wing-wise and item wise actual R &M expenses incurred as against OERC approval for FY 2021-22 and FY 2022-23(up to December, 2022) to be furnished.

Reply of OPTCL:

The wing-wise and item wise actual R &M expenses incurred as against OERC approval for FY 2021-22 is as under.

Unit wise /Item wise O&M Expenses for the FY 2021-22

| Wing/ Item | O&M Division* | Telecom | Construction | Civil | Store | IT& Others | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Plant & Machinery | 53.79 | 2.36 | 2.14 | 0.22 | 0.00 |  | 58.51 |
| Building | 0.17 |  | - | 9.12 | 0.03 |  | 9.33 |
| Civil Works | 0.16 |  | 0.00 | 1.54 | - |  | 1.70 |
| Electrical Installation | 0.09 | 0.00 | 0.02 | 0.00 | 0.88 |  | 0.99 |
| Lines and Cable | 25.58 |  | 0.02 | - | - |  | 25.60 |
| Vehicle | 0.03 |  | 0.03 | - | - | 0.05 | 0.11 |
| Furniture & Fixture | 0.02 |  | - | 0.00 | - | 0.01 | 0.03 |
| Office Equipment | 0.13 | 0.02 | 0.06 | 0.01 | 0.26 | 2.12 | 2.59 |
| Total | 79.97 | 2.38 | 2.28 | 10.89 | 1.18 | 2.17 | 98.87 |
| OERC Approved | 118.61 |  |  |  |  |  | 118.61 |

The wing-wise and item wise actual R &M expenses incurred as against OERC approval for FY 2022-23 (up to December, 2022) is as under.

Unit wise /Item wise O&M Expenses for the FY 2022-23 (up to December, 2022)

| Wing\Item | O&M Division | Telecom | Construction | Civil | Store* | IT& Others | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Plant & Machinery | 33.16 | 2.42 | 1.37 | 3.54 | 24.20 |  | 64.69 |
| Building | 0.17 | - | - | 3.23 | 0.01 |  | 3.41 |
| Civil Works | 0.00 | - | - | 0.42 | - |  | 0.42 |
| Electrical Installation | 0.06 | 0.00 | 0.01 | 0.00 | 0.52 | 0.01 | 0.60 |
| Lines and Cable | 10.30 | - | 0.01 | - | - | - | 10.31 |
| Moter Car | 0.02 | - | 0.01 | - | - | 0.01 | 0.05 |
| Furniture & Fixture | 0.01 | - | - | - | - | 0.00 | 0.01 |
| Office Equipment | 0.10 | 0.01 | 0.02 | 0.00 | 0.01 | 1.08 | 1.24 |
| Total | 43.82 | 2.43 | 1.42 | 7.19 | 24.73 | 1.11 | 80.71 |
| OERC Approved | 110.5 |  |  |  |  |  | 110.5 |

* The items of store division may contain the materials of both Plants & machineries and Lines & Cables which will be quantified at the end of the year

Query No. 29: Miscellaneous Income

The Miscellaneous Income (item wise) for FY 2021-22 &FY 2022-23 (upto December-22) to be submitted.

Reply of OPTCL:

The Miscellaneous income item wise for FY 2021-22 & 2022-23 upto Dec-2022 are as under

| Details Misc Income/Others Income (to be considered in ARR) |  |  |  |
| --- | --- | --- | --- |
| Sl No. | Items | FY 2021-22 (Audited) | FY 2022-23 (upto Dec' 22) Prov. |
| 1 | Interest from Term Deposit/Fixed Deposit | 28.95 | 22.60 |
| 2 | Interest on Staff Loan and advances | 1.58 | - |
| 3 | Other Misc Income # | 11.57 | 1.55 |
| 4 | Supervision Charges | 36.15 | 0.21 |
|  | Total | 78.25 | 24.36 |

# The details of Other Misc Income is enclosed at Annexure-20.

Query No. 30: SLDC Expenses.

OPTCL to clarify whether all items of expenses filed in the ARR of OPTCL for FY 2023-24 are excluding the SLDC expenses.

Reply of OPTCL:

Following expenditure of SLDC has been included in ARR of OPTCL

- Terminal liability expenses such as Pension, Gratuity & Leave) of employee posted at SLDC

- Repair & Maintenance (Civil Work)- Rs.25 Lakhs (Sl. No- 9 of Table- 9 of application)

- Capital Expenditure (Civil work)-Rs.2.06 Cr. ( Sl. No-10 of Table-18 of application)

- Construction of Multistoried Building (Civil Work)-Rs.20.00 Cr {included in office building Rs 56.32 Cr. (Sl. No-2 of Table-18 of application)}. However, it may be noted since the schedule date of completion is in FY 2024-25 no depreciation has been calculated and claimed for FY 2023-24.

Query No. 31: Block Assets

As per form F-1 & F-19 block assets as on 31-03-2021 is Rs. 7225.83 whereas at table -20 shows an amount of Rs.7237.58 cr., which needs clarification.

Reply of OPTCL:

Table -20 is the same as Table-41 of the ARR & TT order of OPTCL for FY 2022-23 (Case No-105/2021).

BY THE APPLICANT			                THROUGH

Bhubaneswar

Dt. 17.01.2023

Sr. General Manager (RT&C)

# BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

CHUNOKOLI, SAILASHREE VIHAR, BHUBANESWAR

CASE NO. 76/2022

FILING NO. 2

IN THE MATTER OF:		An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2023-24 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

Truing up application for the FY 2021-22 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

AND

IN THE MATTER OF: 	Odisha Power Transmission Corporation Limited, Janpath, Bhubaneswar

.…..  Applicant

# AND

IN THE MATTER OF:    Reply to the queries raised by the Hon’ble Commission vide letter No. 1496 dated 26.12.2022.

Affidavit verifying the submission

I, Sri Sukanta Panda, son of late Nityananda Panda aged about 57 years, residing in Bhubaneswar, do solemnly affirm and say as follows:

- That, I am the Senior General Manager of Regulation, Tariff & Commercial wing of OPTCL and have been duly authorized by the Applicant, OPTCL to make this affidavit on its behalf.

- That, the Statements made in paragraphs herein above are based on official information and I believe them to be true.

Bhubaneswar

Dt.  17.01.2023								        DEPONENT

LIST OF ANNEXURES

| Annexure | Particulars | Page No. |
| --- | --- | --- |
| Annexure- 01 | Details of construction of Multistoried office complex | 27-28 |
| Annexure- 02 | Loading pattern of the existing transmission corresponding to the peak demand touched on 13th June, 2022 | 29-54 |
| Annexure- 03 | Loading pattern of the existing transmission corresponding to the peak demand touched on 25th September, 2022 | 55-79 |
| Annexure- 04 | Fault levels of various EHT Grid Sub-stations | 80-87 |
| Annexure- 05 | Year wise information w.r.t. security guards from FY 2019-20 to December 2022 as per the prescribed table | 88-175 |
| Annexure- 06 | Correspondences received from CGPs (IMFA & NALCO) | 176-177 |
| Annexure- 07 | Clarification of billing vide OERC Letter dated 01.02.2021 | 178-179 |
| Annexure- 08 | Details of project completed during FY 2021-22 and FY 2022-23 upto-date as per the format prescribed by Hon’ble Commission | 180-182 |
| Annexure- 09 | Major incidents in the approved format that occurred in OPTCL transmission system during the FY 2021-22 and FY 2022-23 up-to-date | 183-203 |
| Annexure- 10 | Capital Work in Progress (CWIP) position of Transmission projects as prescribed Hon’ble Commission | 204-210 |
| Annexure- 11 | Transmission Projects which are under CWIP but without approval of the Commission | 211-212 |
| Annexure- 12 | The details of Scheme-wise and Project wise infusion of Equity capital during FY 2021-22 and FY 2022-23 (till December-2022) | 213-214 |
| Annexure- 13 | The copies of sanction orders received from Government during FY 2021-22 and FY 2022-23 (till December-2022) | 215-239 |
| Annexure- 14 | Loan position of OPTCL for FY 2021-22 & FY 2022-23 (till Date) 2022 | 240 |
| Annexure- 15 | Month-wise and item-wise employee cost from April, 2022 to December, 2022 | 241 |
| Annexure- 16 | List of residential quarters available at different locations | 242-276 |
| Annexure- 17 | Audited Accounts & Report of GRIDCO Pension Trust Fund for FY 2021-22. | 277-310 |
| Annexure- 18 | Audited Accounts & Report of GRIDCO Gratuity Trust Fund for FY 2021-22 | 311-336 |