## ICT LOAD
LOAD (in MW) on 13.06.2022 at 23:00 hrs
400/220KV ICT | LOAD (In MW)
Meramundali ICT-1 | 193.2
Meramundali ICT-2 | 0
Mendhasal ICT-1 | 5.2828
Mendhasal ICT-2 | 214.4
Mendhasal ICT-3 | 214
Duburi(N) ICT-1 | 261.2
Duburi(N) ICT-2 | 258.4
Lapanga ICT-1 | 163.2
Lapanga ICT-2 | 160.4

## AUTO LOAD
LOAD (In MW) on 13.06.2022 at 23:00 hrs
220/132KV AUTO | LOAD (In MW)
Atri AT-1 | 110.68
Atri AT-2 | 110.6
Aska(N) AT-1 | 80.36
Aska(N) AT-2 | 79.88
Balasore AT1 | 67.76
Balasore AT2 | 66.8
Balasore AT3 | 66.52
Bargarh AT-1 | 25.96
Bargarh AT-2 | 15.56
Bhadrak AT-1 | 39.12
Bhadrak AT-2 | 66.32
Bhadrak AT-3 | 66.8
Bhanjanagar AT-1 | 29.92
Bhanjanagar AT-2 | 26.2
Bidanasi AT-1 | 36.48
Bidanasi AT-2 | 36.12
Bidanasi AT-3 | 51.4
Bolangir AT-1 | 71.04
Bolangir AT-2 | 74.44
Bolangir AT-3 | 0.016
Budhipadar AT-1 | 75.04
Budhipadar AT-2 | 78.96
Chandaka AT-1 | 57.12
Chandaka AT-2 | 99
Chandaka AT-3 | 61.72
Chandaka AT-4 | 95.88
Cuttack AT-1 | 0.04
Cuttack AT-2 | 0.12
Duburi AT-1 | 80.92
Duburi AT-2 | 0
Duburi AT-3 | 49.24
Jayanagar AT-1 | 46.52
Jayanagar AT-2 | 46.64
Joda AT-1 | 41.64
Joda AT-2 | 43.08
Joda AT-3 | 34.8
Katapalli AT-1 | 5.88
Katapalli AT-2 | 5.76
Katapalli AT-3 | 8.8
kesinga AT-1 | 61.1332
kesinga AT-2 | 61.836
Lapanga AT-1 | 63.68
Lapanga AT-2 | 63.48
Meramundali AT-1 | 53.88
Meramundali AT-2 | 52.08
Meramundali AT-3 | 0
Mendhasal AT-1 | 47.9268
Mendhasal AT-2 | 45.2352
Narendrapur AT-1 | 48
Narendrapur AT-2 | 46.44
Narendrapur AT-3 | 26.64
Paradeep AT-1 | 59.32
Paradeep AT-2 | 96.88
Paradeep AT-3 | 90.24
Tarkera AT-1 | 59
Tarkera AT-2 | 60.2
Tarkera AT-3 | 58.08
Tarkera AT-4 | 58.88
Theruvali AT-1 | 32.88
Theruvali AT-2 | 34.36
Theruvali AT-3 | 53.48

## 220KV LINE
LOAD (In MW) on 13.06.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Balasore-BHADRAK | 68.6
Balasore-NEWDUBURI | 0
Balimela-Jaynagar-BalimelaPH-II | 0
Balimela-Malkangiri-I | 8.92
Balimela-Malkangiri-II | 5.88
BargarhNew-Bolangir | 62.76
BargarhNew-Katapalli | 104.76
Barkote-Bonai | 14
Barkote-Rengali | 33.84
Bhanjanagar-Aska-I | 38.5024
Bhanjanagar-Aska-II | 79.84
Bhanjanagar-Therubali-I | 52.52
Bhanjanagar-Therubali-II | 52.4
Bidanasi-CuttackFDR-I | 0
Bidanasi-CuttackFDR-II | 0.04
Bonai-BimlagarhTraction | 0.16
Budhipadar-AAL-I | 20.64
Budhipadar-AAL-II | 19.24
Budhipadar-BHUSANPower-I | 3.6875
Budhipadar-BHUSANPower-II | 0.016
Budhipadar-IBTPS-I | 76.4
Budhipadar-IBTPS-II | 76.4
Budhipadar-IBTPS-III | 74
Budhipadar-IBTPS-IV | 74.4
Budhipadar-Lapanga-I | 8.44
Budhipadar-Lapanga-II | 8.16
Budhipadar-SMCunit-2 | 0
Budhipadar-Tarkera-I | 25.56
Budhipadar-Tarkera-II | 24.6
Budhipadar-VAL-1 | 0
Budhipadar-VAL-2 | 0
ChandakaA-ChandkB | 43.48
Chandiposh-ChandiposhTraction | 1.56
Duburi-MERAMUNDALI-I | 32.12
Duburi-MERAMUNDALI-II | 110.56
Duburi-New-Balasore | 0
Duburi-New-Bhadrak | 110
Duburi-New-Duburi(Old)-I | 37
Duburi-New-Duburi(Old)-II | 36.76
Duburi-NEWDUBURI-I | 36.92
Duburi-NEWDUBURI-II | 34.52
Duburi-New-Jindal-I | 11.88
Duburi-New-Jindal-II | 12.52
Duburi-New-Maithan | 0
Duburi-New-NUVistaLtd | 10
Duburi-New-Paradeep-I | 131.56
Duburi-New-Paradeep-II | 131.56
Duburi-New-RohitFerrotech | 0.48
Duburi-New-VISASteel | 33.96
Infocity-IIGIS-Atri | 9.268
Infocity-IIGIS-Mendhasal | 18.16
Jayanagar-Balimela-I | 120.32
Jayanagar-Balimela-II | 120.28
Jayanagar-Balimela-III | 113.44
Jayanagar-Laxmipur-I | 62.8
Jayanagar-Laxmipur-II | 62.92
Jayanagar-UpperKolab-I | 0
Jayanagar-UpperKolab-II | 0
Joda-JAMSHEDPUR | 71.08
Joda-TATASTEEL | 7.6
Joda-TATASteelLongProductsltd | 0
Joda-TTPS-I | 38.96
Joda-TTPS-II | 40.68
Katapali-Bargarh | 104.32
Katapali-HINDALCO-I | 0.44
Katapali-HINDALCO-II | 0.4
Katapali-Lapanga-I | 107.48
Katapali-Lapanga-II | 5.2828
KeonjharGIS-KeonjharPG-I | 6.24
KeonjharGIS-KeonjharPG-II | 6.2
Lapanga-Katapalli-I | 107.64
Lapanga-Katapalli-II | 105.48
Laxmipur-LaxmipurTraction | 2.4096
Laxmipur-Theruballi-I | 48.56
Laxmipur-Theruballi-II | 48.36
Laxmipur-UTKALALUMINA-I | 0.04
Laxmipur-UTKALALUMINA-II | 0.04
Lephripada-Basundhara | 2.1724
Malkangiri-Balimela-I | 9.1372
Malkangiri-Balimela-II | 9.222
Mendhasal-ATRI-I | 10.6
Mendhasal-ATRI-II | 18.28
Mendhasal-BHANJANAGAR | 0
Mendhasal-BIDANASI-I | 126.2
Mendhasal-BIDANASI-II | 0
Mendhasal-CHANDAKA-I | 98.24
Mendhasal-CHANDAKA-II | 94.56
Mendhasal-CHANDAKA-III | 79.96
Mendhasal-CHANDAKA-IV | 78.56
Mendhasal-NAYAGARH | 27.8
Meramundali-BHANJANAGAR-I | 84.12
Meramundali-BHANJANAGAR-II | 83.56
Meramundali-BIDANASI | 0
Meramundali-NALCO-1 | 0
Meramundali-NALCO-2 | 0
Meramundali-TATAPowerBSL-1 | 13.84
Meramundali-TATAPowerBSL-2 | 13.68
Meramundali-TTPS1 | 29.36
Meramundali-TTPS-2 | 30.04
Narendrapur-TATA-I | 0
Narendrapur-TATA-II | 24.8
Narendrapur-Therubali-I | 55.96
Narendrapur-Therubali-II | 63.4
Nayagarh-BHANJANAGARFDR | 0
Paradeep-EssarSteel1 | 0
Paradeep-EssarSteel2 | 0.675
Paradeep-IOCL | 5.3125
Paradeep-NEWDUBURI-I | 126.8
Paradeep-NEWDUBURI-II | 126.8
Rengali-BARKOTEFDR | 33.84
Rengali-RENGALIPHFDR-I | 92.72
Rengali-RENGALIPHFDR-II | 87.12
Rengali-TARKERAFDR | 1.76
Sadeipali-BargarhNew | 63.68
Sadeipali-PGCIL-I | 106.8
Sadeipali-PGCIL-II | 105
Tarkera-RSP-I | 43.2188
Tarkera-RSP-II | 41.9062
Tarkera-RSP-III | 34.4
Tarkera-RSP-IV | 33.2
Therubali-Indravati-I | 54.8
Therubali-Indravati-II | 54.88
Therubali-Indravati-IV | 35

## 400KV LINE
LOAD (In MW) on 13.06.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Mendhasal-MERAMUNDALI-I | 446.4
Meramundali-DUBURI-I | 340
Meramundali-DUBURI-II | 340.4
Meramundali-LAPANGA-I | 196.4
Meramundali-LAPANGA-II | 196.8
Mendhasal-Meramundali-I | 446.4
Meramundali-JSPL-I | 0
Meramundali-JSPL-II | 0
Meramundali-GKEL | 328.4
Duburi-New-TATASteel | 43.64
Duburi-New-TATASteel | 43.64
Lapanga-OPGC-I | 416.4
Lapanga-OPGC-II | 418.8
Lapanga-VAL-I | 57.6
Lapanga-VAL-II | 55.6

## 132KV LINE-CESU ZONE
LOAD (In MW) on 13.06.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Angul-BOINDA | 29.72
Angul-CHAINPAL | 52.84
Angul-MCL-I | 15.4
Angul-MCL-II | 15.56
Angul-TTPS | 53.84
AratiSteel-Arati-Choudwar | 0
AratiSteel-Arati-Nuapatna | 12.56
AratiSteelratiSteel | 5.16
Argul-ATRI-I | 11.08
Argul-ATRI-II | 11.08
Balugaon-CHATRAPUR | 0
Balugaon-KHURDA-CHANDPUR | 36.08
Balugaon-SOLARITraction | 3.12
Banki-ATRI | 29.2
Banki-NUAPATNA | 0
Bhubaneswar-CHANDAKA-I | 57.08
Bhubaneswar-CHANDAKA-II | 56.8
Bhubaneswar-PHULNAKHARA | 0
Bidanasi-BPPL | 0
Bidanasi-CHOUDWAR | 0.016
Boinda-RAIRAKHOLE | 10.64
Boinda-Traction | 1.92
BPPL-Sw-BPPL-I | 0
BPPL-Sw-BPPL-II | 0
Chainpal-TalcherFert.Ltd | 0.12212
Chainpal-Traction | 6.8
Chainpal-TTPS-I | 40.76
Chainpal-TTPS-II | 42.08
Chainpal-Meramundali-II | 17.92
Chandaka-BPPL | 4.52
Chandaka-MENDHASAL | 30.6
Chandaka-NIMAPARA | 26.12
Chandaka-RANASINGHPUR | 103.24
Chandpur-Khurda | 49.92
Chandpur-BALUGAON | 36.64
Choudwar-GSAL | 8.36
Choudwar-Traction | 8.64
Choudwar-TSAlloy | 0
Cuttack-JAGATSINGHPUR | 0.04
Dhenkanal-ICCL | 56.4
Dhenkanal-JorandaTr. | 8.6208
Dhenkanal-MERAMUNDALI | 75.16
Dhenkanal-NUAPATNA | 38.24
Global-HeavyWater | 0.52
GridSteel&AlloyLtdSw-GSAL | 0
HindMetalics-MGM | 0.3
HindMetalics-Navabharat-I | 0
HindMetalics-Navabharat-II | 0.0036
HindMetalics-SGEL(Biomass) | 0
HindMetalics-Traction | 6.7375
ICCL-Mania | 35.12
Jagatsinghpur-TIRTOL | 44.04
Jagatsinghpur-Traction | 4.1036
Kalarangi-Kamakhyanagar | 30.24
Kamakhyanagar-DUBURI | 6.32
Kamakhyanagar-OPCL | 28.24
Kendrapada-CHANDIKHOLE | 0
Kendrapada-JAJPURRD | 0
Kendrapada-MARSHAGHAI | 38.48
Kendrapada-PATTAMUNDAI | 53.96
Kendrapada-SALIPUR | 0.04
Khajuriakata-NUAPATNA | 39
KhuntuniGIS-ShreeCement | 0.188
Khurda-KaipadarTr. | 8.96
Khurda-SAMUKA | 16.8
Konark-BUS-COUPLER | 0
Konark-NIMAPADA | 7.72
Mancheswar-BGIS-Chandaka-B | 5.2828
Mancheswar-BGIS-Mancheswar | 22.92
Mania-ICCL | 25.16
Mania-OCL | 18.16
Marshaghai-KendrapadaTraction | 3.24
Marshaghai-PARADEEP | 62.0992
Meramundali-BRG | 0.52
Meramundali-CHAINPAL-I | 18.28
Meramundali-KHAJURIAKATA | 47.92
Meramundali-KHARAGAPRASAD-I | 27.48
Meramundali-KHARAGAPRASAD-II | 27.4
Meramundali-RUNGTA-Mines | 0.17884
Meramundali-RUNGTA-MLR | 0.16
Mendhasal-Khurda | 62.2124
Nimapara-KESURA | 42.12
Nimapara-PURI | 0.04
Nimapara-SAMANGARA | 6.08
Olaver-ChandbaliCkt.-I | 5.2196
Olaver-ChandbaliCkt.-II | 5.198
Olaver-Pattamundai-I | 10.5208
Olaver-Pattamundai-II | 10.5256
Paradeep-IFFCO-I | 0.04
Paradeep-IFFCO-II | 11.96
Paradeep-KENDRAPADA-I | 62.48
Paradeep-KENDRAPADA-II | 54.6
Paradeep-PPL-I | 5.88
Paradeep-PPL-II | 0
Paradeep-PPT-I | 0.04
Paradeep-PPT-II | 17.2
Paradeep-Siju-RTSS | 3.8284
Phulnakhara-CUTTACK | 69
Phulnakhara-Pratapsasan-1 | 51.5236
Phulnakhara-Pratapsasan-2 | 50.24
Ranasinghpur-Kesura | 0.04
Salipur-OCL | 7.5812
Salipur-OCL | 7.5812
Samangara-MalatipatapurTr. | 2.7012
Samangara-PURI | 0.04
Sambalpur-Katapali | 21.88
SAMUKA-Puri | 43.96
TATA-ARATI | 26.64
Tata-BPPL | 17.6
TATASw-TATA | 17.175
Tirtol-Jspur | 44.634
Tirtol-Paradeep | 65.464
Unit-8GIS-Incomer | 24.36

## 132KV LINE-NESCO ZONE
LOAD (In MW) on 13.06.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Agarpada-Anandpur | 0
Agarpada-Bhadrak | 12.3104
Anandpur-JajpurRoad-I | 11.44
Anandpur-JajpurRoad-II | 11.56
AryaIspatSw.Stn.-ARYASteel | 1.296
AryaIspatSw.Stn.-BRPL | 10.28
AryaIspatSw.Stn.-IMTCPL | 1.328
AryaIspatSw.Stn.-Incomer | 0
AryaIspatSw.Stn.-Outgoing | 26.88
Balasore-Basta | 17.76
Balasore-BirlaTyre | 0.244
Balasore-BIRLATyre | 0.244
Balasore-ISPAT | 0
Balasore-Somnathpur | 13.84
Balasore-Soro | 60.56
Balasore-Traction | 4.2
Balasore-Traction | 4.2
Balasore-Udala | 4.68
Bangiriposi-KUCHEI | 76.2
Bangiriposi-Rairangpur | 0.016
Barbil-Bolani | 0
Barbil-Joda | 0
Baripada-PG | 65.68
Baripada-Udala | 34.84
Basta-Jaleswar | 5.48
BCMohantySw.Stn.-BCMohanty | 9.436
BCMohantySw.Stn.-TOMKATr. | 1.4
Bhadrak-DhamraPort1 | 7.3
Bhadrak-DhamraPort2(Tr.) | 3.3563
Bhadrak-FACOR | 0.88
Bhadrak-FACORPower | 0.32
Bhadrak-JajpurTown | 55.12
Bhadrak-Soro | 0
Bhadrak-Traction | 6.72
Bolani-ARYAIspat | 0
BRPLSwitching-BRPL | 14.95
ChandabaliGIS-Olaver-I | 5.2064
ChandabaliGIS-Olaver-II | 5.1644
Chandikhol-JajpurR. | 40.24
Chandikhol-Kendrapara | 0
Dhenkikote-Karanjia | 5.6
Duburi-BCMohantySw | 27.48
Duburi-BRPL | 14.68
Duburi-JajpurRoad-I | 60.96
Duburi-JajpurRoad-II | 61.6
Duburi-JakhapuraTr. | 9
Duburi-JakhapuraTraction | 9.64
Duburi-JFAL | 29.04
Duburi-Kamakhyanagar | 25.36
Duburi-MESCO | 3.52
Duburi-Mishrilal | 6.9813
Duburi-Mishrilal | 6.9813
Haridaspur-RAMCO | 5.032
JganathSw-JaganathSteel | 0.025
JaganathSteelSw.Stn-NALDA | 0
JaganathSteelSw.Stn-Rourkela | 0
JajpurRoad-JajpurT. | 0.04
Jaleswar-Bhograi | 4.24
Jaleswar-KUCHEI | 30.4
Jaleswar-Traction | 6.68
JFAL-TTPS | 0
Joda-BansapaniTr. | 3.15
Joda-FAP | 16.9469
Joda-Palasponga | 54.12
JSWCementSw-JSWCementLtd | 3.52
Karakhendra-ARYA | 26.5704
Karakhendra-Karakolha | 0.9028
Karakhendra-NALDA | 5.2828
Karanjia-Polasponga | 10
Nalda-ARYAIspat | 27.6
Nalda-BEEKAYSteel | 0
Nalda-Traction | 6.6
OMCDaitari-BCMohanty | 17.634
OMCDaitari-TATAFAPBamnipal | 16.6028
Polasponga-ESIL | 12.7937
Polasponga-MSP | 9.86
Polasponga-Traction | 1.7312
Rairangpur-Karanjia | 36.36
Somnathpur-IMAMI | 9.872
Somnathpur-STORK | 0
Udala-Betanati | 11.2608

## 132KV LINE-SOUTHCO ZONE
LOAD (In MW) on 13.06.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Aska-Berhampur | 37.72
Aska-Chatrapur-I | 38
Aska-Purusottampur | 40.08
AskaNew-Aska-I | 37.82
AskaNew-Aska-II | 38.0752
AskaNew-Berhampur | 0.0064
AskaNew-Digapahandi-I | 16.7076
Berhampur-Narendrapur-I | 34.84
Berhampur-Narendrapur-II | 34.44
Berhampur-Rayagada | 0
Bhanjanagar-Aska-I | 0
Bhanjanagar-Aska-II | 0
Bhanjanagar-Phulbani | 25.6
Chatrapur-AskaNew-I | 38.4
Chatrapur-Balugaon | 0
Chatrapur-Ganjam | 23.64
Chatrapur-Narendrapur-I | 0
Chatrapur-Narendrapur-II | 0
Chatrapur-Purusottampur | 25.72
Digapahandi-Berhampur | 0.016
Digapahandi-Chikiti-I | 6.08
Digapahandi-Chikiti-II | 6.08
Digapahandi-Mohana | 0
Ganjam-Chatrapur | 23.5672
Jayanagar-Machkund | 43.48
Jayanagar-Rayagada | 43.76
Jayanagar-Sunabeda | 20.76
Jayanagar-Tentulkhunti | 20.44
Narendrapur-Berhampur-I | 35.12
Narendrapur-Berhampur-II | 34.64
Narendrapur-Chatrapur-I | 0
Narendrapur-Chatrapur-II | 0
Paralakhemendi-Akhusingh | 18.04
Phulbani-Bhanjanagar | 9.56
Sunabeda-Jayanagar | 20.76
Tentulikhunti-Jayanagar | 20.28
Tentulikhunti-VentoSolar | 0.08
Therubali-Kesinga | 33.84
Therubali-Rayagada | 19.64
Chatrapur-IRE-I | 2.4469
Chatrapur-IRE-II | 4.4656
Chatrapur-RambhaTr. | 4.24
Ganjam-GrasimInsudtriesLtd | 16.8188
Jayanagar-Traction | 8.88
Muniguda-BissamCuttackTr | 7.08
Narendrapur-NarendrapurTr | 5.76
Rayagada-Traction | 3.36
Sunabeda-HAL | 4.908
Therubali-BhalumaskaTr | 1.4896
Therubali-JKFeeder | 11.336

## 132KV LINE-WESCO ZONE
LOAD (In MW) on 13.06.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Bargarh-Barapali | 19.68
Bargarh-Katapalli | 40.36
BargarhNew-Ghess-I | 10.68
BargarhNew-Ghess-II | 10.68
Bhawanipatna-Junagarh | 0.00584
Bhawanipatna-Kesinga | 26.8883
Bolangir-BolangirN-I | 0
Bolangir-BolangirN-II | 0
Bolangir-Saintala | 17
Budhipadar-Brajrajnagar | 48.16
Budhipadar-Jharsuguda-I | 9.84
Budhipadar-Jharsuguda-II | 14
Budhipadar-Kalunga | 16.36
Budhipadar-Lapanga | 0
Budhipadar-Rajgangpur | 23.32
Budhipadar-Sundergarh-I | 17.16
Budhipadar-Sundergarh-II | 17.36
Chend-LILO(Adhunik+Sri Ganesh) | 0
Chend-Tarkera-I | 43.72
Chend-Tarkera-II | 0.016
ChipilimaPH-BurlaTIE-II | 0
ChipilimaPH-BusCoupler | 0
Ghens-BargarhNew-II | 10.64
Jayapatna(Baner)-Dabugaon | 16.12
Junagarah-Bhawanipatna | 2.84
Junagarah-Kesinga | 21.6668
Kalunga-Budhipadar | 16.2308
Kalunga-Tarkera | 25.3204
Katapali-Bargarh-I | 46.96
Katapali-Chiplima-I | 6.4
Katapali-Sambalpur | 22.2
Kesinga-Bhawanipatna | 26.76
Kesinga-Khariar | 46.32
Kesinga-Therubali | 0
Kesinga-VentoPowerSolar-II | 0.08
Kesinga-VentoPowerSolar-II | 0.08
Khariar-Kesinga | 26.2
Lapanga-ARYAN | 19.96
Lapanga-Budhipadar | 20
Lapanga-Burla-I | 0
Lapanga-Burla-II | 0.28
Lapanga-Jharsuguda | 31.16
Lapanga-SMC | 39.56
Patnagarh-ALEXSolar | 0
Patnagarh-Bolangir(N) | 28.44
Rairakhol-Boinda | 10.48
Rairakhol-Maneswar | 0
Rajgangpur-Budhipadar | 23.2
Rajgangpur-Kuchinda | 0
Rajgangpur-Tarkera-I | 15.28
Rajgangpur-Tarkera-II | 14.84
Rourkela-Joda | 39.36
Rourkela-Tarkera-I | 31.8
Rourkela-Tarkera-II | 31.72
Rourkela-Tarkera-III | 29.8
Sadeipali-Barapali | 26.56
Sadeipali-Bolangir-II | 32.96
Sadeipali-Patnagarh-I | 29.04
Sadeipali-Patnagarh-II | 28.72
Sadeipali-Sonepur-II | 0
Sambalpur-Burla | 39.84
Sambalpur-Katapali | 21.88
Sambalpur-Rairakhol | 3.88
Sambalpur-ShyamDRI | 19
Sonepur-Bolangir | 59.56
Sundargarah-Budhipadar-I | 17.04
Sundargarah-Budhipadar-II | 17.12
Tusura-VentoPowerSolar-I | 5.2828
Tusura-VentoPowerSolar-II | 0.08
VALLanjigarh-Kesinga | 0
VALLanjigarh-Therubali | 23.36
ACME SOLAR-ACMESolar | 0
Aryan Ispat-AryanIspat | 7.2281
AryanVirajSw-AryanViraj | 9.5906
Bamra-BamraTr. | 15.6
Barapalli-DunguripaliTr. | 3.36
Bargarh-ACC-I | 0
Bargarh-ACC-II | 0.4
Bhalulata-BhalulataTr. | 3.8
Bhawanipatna-LanjigarhTr. | 4.3272
Brajarajnagar-KechhobahalTr. | 2.4
Budhipadar-MCL-I | 0
Budhipadar-MCL-II | 17.4219
Budhipadar-MSP | 0
Chend-AdhunikMetallic | 1.025
Chend-NuagaonTr. | 3.6
Chend-SriGaneshMetallics | 1.9125
Jayapatna(Baner)-Megalift-I | 0.04
Jayapatna(Baner)-Megalift-II | 0.04
Jharsuguda-Tr. | 20.6
Jharsuguda-Ultratech | 5.148
Kantabanji-Tr. | 0.44
Katapali-GodbhagaTr. | 2.04
Kesinga-POWMEX | 2.4281
Kesinga-Tr. | 5.8
Kesinga-VentoPowerSolar-I | 0.08
Kesinga-VentoPowerSolar-II | 0.08
Lapanga-RengaliTr. | 6.72
Nuapada-Tr. | 3.08
Padampur-DakshinUPL | 0.08
Rairakhol-Tr. | 1.24
Rajgangpur-OCL | 0
Rajgangpur-OISL | 0
Rajgangpur-Tr.-I | 0
Rajgangpur-Tr.-II | 2.88
Saintala-ABRELSolar(2ndphase) | 0.0132
Saintala-AdityaSolar | 0.056
Saintala-BEL-OFBLSolar | 0.044
Saintala-ORDNANCE | 1.64
SMC Sw-SMCPower | 6.8452
Tusura-DeogaonTr. | 0.76
Tusura-VentoPowerSolar-I | 0.08
Tusura-VentoPowerSolar-II | 0.08
VALLanjigarh-VedantaAl.-I | 8.12
VALLanjigarh-VedantaAl.-II | 0
ShyamMetallics-ShyamDRI | 19.44

## POWER TRF LOAD
LOAD (In MW) on 13.06.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Agarpada-Trf1 | 12.76
Akhusingi-Trf1 | 7.2356
Akhusingi-Trf2 | 7.0191
Anandpur-Trf1 | 6.3812
Anandpur-Trf2 | 6.2188
Anandpur-Trf3 | 10.108
Angul-Trf1 | 17.8812
Angul-Trf2 | 17.1884
Angul-Trf3 | 11.192
Argul-Trf1 | 11.2
Argul-Trf2 | 11.08
AskaNew-Trf1 | 12.44
Aska-Trf1 | 11.96
Aska-Trf2 | 11.68
Aska-Trf3 | 11.72
Badagada-Trf1 | 23.7437
Badagada-Trf2 | 23
Balasore-Trf1 | 33.3813
Balasore-Trf2 | 33.12
Balasore-Trf3 | 0.016
Balimela-Trf1 | 9.4
Balimela-Trf2 | 6.12
Balugaon-Trf1 | 16
Balugaon-Trf2 | 10.9563
Balugaon-Trf3 | 6.278
Bangiriposi-Trf1 | 6.86
Bangiriposi-Trf2 | 6.592
Banki-Trf1 | 9.824
Banki-Trf2 | 9.824
Barapalli-Trf1 | 13.88
Barapalli-Trf2 | 8.712
Barbil-Trf1 | 5.4219
Barbil-Trf2 | 5.8187
Bargarh-Trf1 | 20
Bargarh-Trf2 | 19.56
Bargarh-Trf3 | 20.0625
Baripada-Trf1 | 9.88
Baripada-Trf2 | 9.975
Baripada-Trf3 | 11.2438
Barkote-Trf1 | 9.64
Barkote-Trf2 | 9.775
Basta-Trf1 | 8.7937
Basta-Trf2 | 5.5844
Basta-Trf3 | 8.84
Berhampur-Trf1 | 25.6562
Berhampur-Trf2 | 16.5688
Berhampur-Trf3 | 26.0688
Betanati-Trf1 | 9.008
Betanati-Trf2 | 14.1508
Bhadrak-Trf1 | 26.56
Bhadrak-Trf2 | 26.52
Bhadrak-Trf3 | 26
Bhanjanagar-Trf1 | 11.3572
Bhanjanagar-Trf2 | 7.384
Bhanjanagar-Trf3 | 11.48
Bhawanipatna-Trf1 | 5.5125
Bhawanipatna-Trf2 | 5.4875
Bhawanipatna-Trf3 | 8.7331
Bhograi-Trf1 | 9.12
Bhograi-Trf2 | 9.04
Bhubaneswar-Trf1 | 25.32
Bhubaneswar-Trf2 | 25.24
Bhubaneswar-Trf3 | 25.28
Bidanasi-Trf1 | 35.9312
Bidanasi-Trf2 | 36.44
Bidanasi-Trf3 | 22.125
Boinda-Trf1 | 7.3293
Boinda-Trf2 | 5.2828
Boinda-Trf3 | 4.884
Bolangir-Trf1 | 15.1937
Bolangir-Trf2 | 15.2312
Bolangir-Trf3 | 15.48
Bolani-Trf1 | 1.136
Bolani-Trf2 | 1.196
Bonai-Trf1 | 7.296
Bonai-Trf2 | 7.46
Boudh-Trf1 | 6.732
Boudh-Trf2 | 6.784
Brajabiharipur-Trf1 | 0
Brajabiharipur-Trf2 | 0
Brajarajnagar-Trf1 | 10.38
Brajarajnagar-Trf3 | 9.476
Brajarajnagar-Trf4 | 15.32
Brajarajnagar-Trf5 | 10.32
Budhipadar-Trf1 | 7.2094
Budhipadar-Trf2 | 4.2313
Chainpal-Trf1 | 22.12
Chainpal-Trf2 | 21.96
Chainpal-Trf3 | 13.292
ChandabaliGIS-Trf1 | 6.44
ChandabaliGIS-Trf2 | 3.888
ChandakaGIS-Trf1 | 2.984
ChandakaGIS-Trf2 | 0
Chandaka-Trf1 | 34
Chandaka-Trf2 | 33.96
Chandaka-Trf3 | 32.5625
Chandikhol-Trf1 | 13.264
Chandikhol-Trf2 | 13.0718
Chandikhol-Trf3 | 13.0304
Chandpur-Trf1 | 5.4344
Chandpur-Trf2 | 0
Chandpur-Trf3 | 8.112
Chatrapur-Trf1 | 11.088
Chatrapur-Trf2 | 9.904
Chatrapur-Trf3 | 7.3187
Chend-Trf1 | 27.0375
Chend-Trf2 | 27.3813
Chend-Trf3 | 26.0562
Chikiti-Trf1 | 12.08
ChipilimaPH-Trf1 | 10.768
ChipilimaPH-Trf2 | 6.775
Choudwar-Trf2 | 16.4884
Choudwar-Trf3 | 16.48
Choudwar-Trf4 | 17.1088
Cuttack-Trf1 | 21.9
Cuttack-Trf2 | 22.16
Cuttack-Trf3 | 22.36
Dabugaon-Trf1 | 3.096
Dabugaon-Trf2 | 3.1
Dhenkanal-Trf1 | 16.186
Dhenkanal-Trf2 | 16.1132
Dhenkanal-Trf3 | 16.08
Dhenkikote-Trf1 | 2.824
Dhenkikote-Trf2 | 2.7295
Digapahandi-Trf1 | 7.75
Digapahandi-Trf2 | 7.925
Digapahandi-Trf3 | 5.0438
Duburi-New-Trf1 | 0.424
Duburi-Trf1 | 11.15
Duburi-Trf2 | 11.28
Ganjam-Trf1 | 0
Ganjam-Trf2 | 6.704
Ghens-Trf1 | 10.84
Ghens-Trf2 | 10.36
Global-Trf1 | 0.40424
Goda-Trf1 | 8.3479
GUdayagiri-Trf1 | 3.039
GUdayagiri-Trf2 | 2.964
HindMetalics-Trf1 | 4.608
Hirakud-Trf2 | 0.0288
Infocity-IIGIS-Trf1 | 8.84
Infocity-IIGIS-Trf2 | 0
Jagatsinghpur-Trf1 | 11.012
Jagatsinghpur-Trf2 | 10.82
Jagatsinghpur-Trf3 | 17.414
JajpurRoad-Trf1 | 17.48
JajpurRoad-Trf2 | 17.6
JajpurRoad-Trf3 | 17.88
JajpurTown-Trf1 | 20.04
JajpurTown-Trf2 | 13.06
JajpurTown-Trf3 | 20.575
Jaleswar-Trf1 | 8.8
Jaleswar-Trf2 | 8.92
Jaleswar-Trf3 | 4.488
Jayanagar-Trf1 | 0
Jayanagar-Trf2 | 11.244
Jayanagar-Trf3 | 11.5437
Jayanagar-Trf4 | 11.363
Jayapatna(Baner)-Trf1 | 7.094
Jayapatna(Baner)-Trf2 | 7
Jharsuguda-Trf2 | 13.72
Jharsuguda-Trf3(Sarsamal) | 16
Joda-JSPLTrf1 | 26.1375
Joda-JSPLTrf2 | 24.6625
Joda-JSPLTrf3 | 1.6
Joda-Trf2 | 7.25
Joda-Trf4- | 7.112
Joda-Trf5- | 4.364
Joda-Trf6- | 6.68
Joda-Trf7 | 0.6875
Junagarah-Trf1 | 12.452
Junagarah-Trf2 | 0
Junagarah-Trf3 | 11.68
Kalarangi-Trf1 | 1.8875
Kalarangi-Trf2 | 0
Kalarangi-Trf3 | 2.8478
Kalunga-Trf1 | 13.68
Kalunga-Trf2 | 13.64
Kalunga-Trf3 | 14.0336
Kamakhyanagar-Trf1 | 9.512
Kamakhyanagar-Trf2 | 6.068
Kamakhyanagar-Trf3 | 6.112
Kantabanji-Trf1 | 6.88
Kantabanji-Trf2 | 6.92
Karanjia-Trf1 | 5.5375
Karanjia-Trf2 | 5.4719
Karanjia-Trf3 | 8.8344
Kasipur-Trf1 | 1.212
Katapali-Trf1 | 10.2006
Katapali-Trf2 | 10.1288
Katapali-Trf3 | 15.9268
Kendrapada-Trf1 | 0
Kendrapada-Trf2 | 18.72
Kendrapada-Trf4 | 19.28
KeonjharGIS-Trf1 | 6.228
KeonjharGIS-Trf2 | 6.24
Kesinga-Trf1 | 10.428
Kesinga-Trf2 | 15.52
Kesinga-Trf3 | 9.525
Khajuriakata-Trf1 | 4.384
Khajuriakata-Trf2 | 4.412
Khariar-Trf1 | 15.72
Khariar-Trf2 | 15.72
KhuntuniGIS-Trf1 | 7.12
KhuntuniGIS-Trf2 | 6.92
Khurda-Trf1 | 29
Khurda-Trf2 | 0
Khurda-Trf3 | 28.2064
Khurda-Trf4 | 29.12
Konark-Trf1 | 3.832
Konark-Trf2 | 3.816
Kuchinda-Trf1 | 8.0781
Kuchinda-Trf2 | 8.0687
Lapanga-Trf1 | 0
Lapanga-Trf2 | 10.636
Laxmipur-Trf1 | 0
Laxmipur-Trf2 | 6.568
Lephripada-Trf1 | 0
Lephripada-Trf2 | 0
Malkangiri-Trf1 | 8.84
Malkangiri-Trf2 | 9.2
Mancheswar-BGIS-Trf1 | 11.28
Mancheswar-BGIS-Trf2 | 11.56
Maneswar-Trf1 | 1.9208
Maneswar-Trf2 | 1.922
Mania-Trf1 | 2.556
Mania-Trf2 | 3.888
Marshaghai-Trf1 | 10.008
Marshaghai-Trf2 | 9.976
Mendhasal-Trf1 | 7.256
Mendhasal-Trf2 | 7.6
Mohana-Trf1 | 3.356
Mohana-Trf2 | 3.168
Muniguda-Trf1 | 5.86
Narendrapur-Trf1 | 7.008
Narendrapur-Trf2 | 11.28
Narendrapur-Trf3 | 14.52
Narendrapur-Trf4 | 11.6
Narsinghpur-Trf1 | 6.72
Narsinghpur-Trf2 | 4.212
Nayagarh-Trf1 | 25.16
Nayagarh-Trf2 | 15.072
Nayagarh-Trf3 | 24.8875
Nimapara-Trf1 | 17.64
Nimapara-Trf2 | 19.1952
Nimapara-Trf3 | 17.8
Nuapada-Trf1 | 6.768
Nuapada-Trf2 | 6.592
Nuapatana-Trf1 | 7.2313
Nuapatana-Trf2 | 10.08
Nuapatana-Trf3 | 4.156
Olaver-Trf1 | 5.276
Olaver-Trf2 | 5.336
OMCDaitari-Trf1 | 0
Padampur-Trf1 | 5.528
Padampur-Trf2 | 5.704
Padampur-Trf3 | 9.12
Paradeep-Trf1 | 10.82
Paradeep-Trf2 | 11.408
Paradeep-Trf3 | 0
Paralakhemendi-Trf1 | 0
Paralakhemendi-Trf2 | 6.084
Paralakhemendi-Trf3 | 6.32
Patnagarh-Trf1 | 9
Patnagarh-Trf2 | 6.048
Patnagarh-Trf3 | 5.925
Pattamundai-Trf1 | 11.568
Pattamundai-Trf2 | 11.64
Pattamundai-Trf3 | 0
Phulbani-Trf1 | 8.56
Phulbani-Trf2 | 2.88
Phulbani-Trf3 | 7.6
Phulnakhara-Trf1 | 12.268
Phulnakhara-Trf2 | 14.128
Phulnakhara-Trf3 | 22.16
Podagada-Trf2 | 1.212
Polasponga-Trf1 | 10.368
Polasponga-Trf2 | 9.688
Polasponga-Trf3 | 15.36
Potangi-Trf1 | 1.26
Pratapsasan-Trf1 | 5.1344
Pratapsasan-Trf2 | 5.2448
Puri-Trf1 | 14.56
Puri-Trf2 | 14.56
Puri-Trf3 | 14.4164
Purushottampur-Trf1 | 3.7437
Purushottampur-Trf2 | 3.8438
Purushottampur-Trf3 | 6.056
Rairakhol-Trf1 | 3.232
Rairakhol-Trf2 | 3.2
Rairakhol-Trf3 | 3.176
Rairangpur-Trf1 | 9.6654
Rairangpur-Trf2 | 5.5941
Rairangpur-Trf3 | 9.3987
Rajgangpur-Trf1 | 20.32
Rajgangpur-Trf2 | 18.28
Rajgangpur-Trf3 | 18.68
Rajnagar-Trf1 | 4.3539
Rajnagar-Trf2 | 4.3255
Ranasinghpur-Trf1 | 34.48
Ranasinghpur-Trf2 | 34.4
Ranasinghpur-Trf3 | 34.475
Rayagada-Trf1 | 5.08
Rayagada-Trf2 | 4.296
Rayagada-Trf3 | 7.132
Rengali-Trf1 | 8.472
Rengali-Trf2 | 7.868
Rourkela-Trf1 | 13.04
Rourkela-Trf2 | 13.08
Rourkela-Trf3 | 13.04
Rourkela-Trf4 | 12.48
Sadeipali-Trf1 | 2.64
Sadeipali-Trf2 | 1.812
Salipur-Trf1 | 14.7448
Salipur-Trf2 | 16.892
Salipur-Trf3 | 16.1728
Samangara-Trf1 | 1.42
Samangara-Trf2 | 1.416
Sambalpur-Trf1 | 23.96
Sambalpur-Trf2 | 23.954
Sambalpur-Trf3 | 0
Sambalpur-Trf4 | 28.3788
Shamuka-Trf1 | 17.24
Shamuka-Trf2 | 17.12
Somnathpur-Trf1 | 1.92
Somnathpur-Trf2 | 1.864
Sonepur-Trf1 | 10.1687
Sonepur-Trf2 | 18.448
Sonepur-Trf3 | 17.4125
Soro-Trf1 | 23.8
Soro-Trf2 | 16.032
Soro-Trf3 | 23.4875
Sunabeda-Trf1 | 4.0594
Sunabeda-Trf2 | 4.072
Sunabeda-Trf3 | 6.512
Sundargarah-Trf1 | 14.5052
Sundargarah-Trf2 | 9.3903
Sundargarah-Trf3 | 9.348
Telkoi-Trf1 | 0
Telkoi-Trf2 | 0
Tentulikhunti-Trf1 | 6.816
Tentulikhunti-Trf2 | 6.612
Tentulikhunti-Trf3 | 4.5156
Therubali-Trf1 | 4.116
Therubali-Trf2 | 3.832
Thuapali-Trf1 | 1.7
Thuapali-Trf2 | 1.6958
Tirtol-Trf1 | 10.2
Tirtol-Trf2 | 10.4
Tusura-Trf1 | 4.68
Tusura-Trf2 | 7.24
Udala-Trf1 | 8.08
Udala-Trf2 | 7.68
Umerkote-Trf1 | 11.816
Umerkote-Trf2 | 12.152
Unit-8GIS-Trf1 | 12.1688
Unit-8GIS-Trf2 | 12.08