## ICT LOAD
LOAD (In MW) on 25.09.2022 at 23:00 hrs
400/220KV ICT | LOAD (In MW)
Meramundali ICT-1 | 105.6
Meramundali ICT-2 | 106.8
Mendhasal ICT-1 | 5.2828
Mendhasal ICT-2 | 109.2
Mendhasal ICT-3 | 106.8
Duburi(N) ICT-1 | 175.2
Duburi(N) ICT-2 | 177.2
Lapanga ICT-1 | 69.2
Lapanga ICT-2 | 68

## AUTO LOAD
LOAD (In MW) on 25.09.2022 at 23:00 hrs
220/132KV AUTO | LOAD (In MW)
Atri AT-1 | 64.8
Atri AT-2 | 64.76
Aska(N) AT-1 | 41.96
Aska(N) AT-2 | 41.6
Balasore AT1 | 51.92
Balasore AT2 | 55
Balasore AT3 | 51.12
Bargarh AT-1 | 26.88
Bargarh AT-2 | 16.12
Bhadrak AT-1 | 30.96
Bhadrak AT-2 | 52.68
Bhadrak AT-3 | 53.24
Bhanjanagar AT-1 | 22.56
Bhanjanagar AT-2 | 19.24
Bidanasi AT-1 | 15.48
Bidanasi AT-2 | 15.44
Bidanasi AT-3 | 22.12
Bolangir AT-1 | 76
Bolangir AT-2 | 80.12
Bolangir AT-3 | 0.016
Budhipadar AT-1 | 43.6
Budhipadar AT-2 | 45.68
Chandaka AT-1 | 34.92
Chandaka AT-2 | 60.4
Chandaka AT-3 | 0
Chandaka AT-4 | 58.36
Cuttack AT-1 | 48.96
Cuttack AT-2 | 30
Duburi AT-1 | 60.12
Duburi AT-2 | 0
Duburi AT-3 | 36.28
Jayanagar AT-1 | 18.8
Jayanagar AT-2 | 18.92
Joda AT-1 | 45.6
Joda AT-2 | 46.12
Joda AT-3 | 38.2
Katapalli AT-1 | 25.68
Katapalli AT-2 | 25.84
Katapalli AT-3 | 38.6
kesinga AT-1 | 71.3416
kesinga AT-2 | 72.18
Lapanga AT-1 | 23.08
Lapanga AT-2 | 22.96
Meramundali AT-1 | 36.2
Meramundali AT-2 | 35.6
Meramundali AT-3 | 0
Mendhasal AT-1 | 27.1964
Mendhasal AT-2 | 25.5952
Narendrapur AT-1 | 69.28
Narendrapur AT-2 | 67.52
Narendrapur AT-3 | 38.84
Paradeep AT-1 | 36.8
Paradeep AT-2 | 60.92
Paradeep AT-3 | 61.56
Tarkera AT-1 | 43.8
Tarkera AT-2 | 44.96
Tarkera AT-3 | 42.68
Tarkera AT-4 | 43.96
Theruvali AT-1 | 26.64
Theruvali AT-2 | 27.76
Theruvali AT-3 | 41.44
Samangara AT-1 | 0
Samangara AT-2 | 0

## 220KV LINE
LOAD (In MW) on 25.09.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Balasore-BHADRAK | 54.32
Balasore-NEWDUBURI | 0
Balimela-Jaynagar-BalimelaPH-II | 0
Balimela-Malkangiri-I | 6.48
Balimela-Malkangiri-II | 4
BargarhNew-Bolangir | 18.36
BargarhNew-Katapalli | 61.48
Barkote-Bonai | 13.32
Barkote-Rengali | 20.84
Bhanjanagar-Aska-I | 71.7652
Bhanjanagar-Aska-II | 41.68
Bhanjanagar-Therubali-I | 132.56
Bhanjanagar-Therubali-II | 132.52
Bidanasi-CuttackFDR-I | 25.72
Bidanasi-CuttackFDR-II | 40.12
Bidanasi-Meramundali | 66.6
Bonai-BimlagarhTraction | 0.64
Budhipadar-AAL-I | 21.16
Budhipadar-AAL-II | 20.32
Budhipadar-BHUSANPower-I | 0.016
Budhipadar-BHUSANPower-II | 6.3125
Budhipadar-IBTPS-I | 75.6
Budhipadar-IBTPS-II | 76.4
Budhipadar-IBTPS-III | 74
Budhipadar-IBTPS-IV | 75.2
Budhipadar-Lapanga-I | 0
Budhipadar-Lapanga-II | 0
Budhipadar-SMCunit-2 | 0
Budhipadar-Tarkera-I | 20.96
Budhipadar-Tarkera-II | 20.4
Budhipadar-VAL-1 | 0
Budhipadar-VAL-2 | 0
ChandakaA-ChandkB | 31.08
Chandiposh-ChandiposhTraction | 1.28
Duburi-MERAMUNDALI-I | 0
Duburi-MERAMUNDALI-II | 76.92
Duburi-NINL | 0
Duburi-New-Balasore | 0
Duburi-New-Bhadrak | 87.04
Duburi-New-Duburi(Old)-I | 1
Duburi-New-Duburi(Old)-II | 1.12
Duburi-NEWDUBURI-I | 1
Duburi-NEWDUBURI-II | 1.04
Duburi-New-Jindal-I | 20.8
Duburi-New-Jindal-II | 21.44
Duburi-New-Maithan | 0.3
Duburi-New-NUVistaLtd | 0.84
Duburi-New-Paradeep-I | 94.84
Duburi-New-Paradeep-II | 95
Duburi-New-RohitFerrotech | 20.92
Duburi-New-VISASteel | 32.6
Gunupur-Therubali-I | 130.4
Gunupur-Therubali-II | 137.12
Infocity-IIGIS-Atri | 0
Infocity-IIGIS-Mendhasal | 0.316
Jayanagar-Balimela-I | 40.48
Jayanagar-Balimela-II | 4.48
Jayanagar-Balimela-III | 33.64
Jayanagar-Laxmipur-I | 116.32
Jayanagar-Laxmipur-II | 0
Jayanagar-UpperKolab-I | 0
Jayanagar-UpperKolab-II | 0
Joda-JAMSHEDPUR | 40.68
Joda-TATASTEEL | 7.04
Joda-TATASteelLongProductsltd | 0
Joda-TTPS-I | 0
Joda-TTPS-II | 39.72
Katapali-Bargarh | 5.2828
Katapali-HINDALCO-I | 0.28
Katapali-HINDALCO-II | 0.28
Katapali-Lapanga-I | 4.24
Katapali-Lapanga-II | 4.96
KeonjharGIS-KeonjharPG-I | 5.64
KeonjharGIS-KeonjharPG-II | 5.6
Kesinga-PGCIL | 76.268
Lapanga-Katapalli-I | 4.28
Lapanga-Katapalli-II | 4.08
Laxmipur-LaxmipurTraction | 1.8544
Laxmipur-Theruballi-I | 45.88
Laxmipur-Theruballi-II | 46.16
Laxmipur-UTKALALUMINA-I | 0.04
Laxmipur-UTKALALUMINA-II | 0.08
Lephripada-Basundhara | 2.4976
Malkangiri-Balimela-I | 6.3268
Malkangiri-Balimela-II | 6.194
Mendhasal-ATRI-I | 0
Mendhasal-ATRI-II | 0.44
Mendhasal-BHANJANAGAR | 0
Mendhasal-BIDANASI-I | 66.96
Mendhasal-BIDANASI-II | 67.2
Mendhasal-CHANDAKA-I | 57.04
Mendhasal-CHANDAKA-II | 56.28
Mendhasal-CHANDAKA-III | 47.36
Mendhasal-CHANDAKA-IV | 46.96
Mendhasal-NAYAGARH | 0
Meramundali-BHANJANAGAR-I | 0.12
Meramundali-BHANJANAGAR-II | 0
Meramundali-NALCO-1 | 0
Meramundali-NALCO-2 | 0
Meramundali-TATAPowerBSL-1 | 9.64
Meramundali-TATAPowerBSL-2 | 9.68
Meramundali-TTPS1 | 20.2
Meramundali-TTPS-2 | 20.64
Narendrapur-TATA-I | 0
Narendrapur-TATA-II | 21.44
Narendrapur-Gunupur-I | 112.88
Narendrapur-Gunupur-II | 132.92
Nayagarh-BHANJANAGARFDR | 0
Paradeep-EssarSteel1 | 0
Paradeep-EssarSteel2 | 20.8625
Paradeep-IOCL | 4.2125
Paradeep-NEWDUBURI-I | 92.4
Paradeep-NEWDUBURI-II | 92.8
Rengali-BARKOTEFDR | 26.84
Rengali-RENGALIPHFDR-I | 25.04
Rengali-RENGALIPHFDR-II | 23.72
Rengali-TARKERAFDR | 1.44
Sadeipali-BargarhNew | 19.32
Sadeipali-Kesinga | 69.52
Sadeipali-PGCIL-I | 142
Sadeipali-PGCIL-II | 138.68
Tarkera-RSP-I | 57.1562
Tarkera-RSP-II | 56.4688
Tarkera-RSP-III | 47.6
Tarkera-RSP-IV | 47.2
Therubali-Indravati-I | 126.8
Therubali-Indravati-II | 127.12
Therubali-Indravati-IV | 87.84

## 400KV LINE
LOAD (In MW) on 25.09.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Mendhasal-MERAMUNDALI-I | 219.2
Meramundali-DUBURI-I | 190.8
Meramundali-DUBURI-II | 190.8
Meramundali-LAPANGA-I | 116
Meramundali-LAPANGA-II | 114.8
Mendhasal-Meramundali-I | 219.2
Meramundali-JSPL-I | 25.276
Meramundali-JSPL-II | 24.228
Meramundali-GKEL | 178
Duburi-New-TATASteel | 33.84
Duburi-New-TATASteel | 33.84
Lapanga-OPGC-I | 514.4
Lapanga-OPGC-II | 518
Lapanga-VAL-I | 326
Lapanga-VAL-II | 315.2

## 132KV LINE-CESU ZONE
LOAD (In MW) on 25.09.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Angul-BOINDA | 27.16
Angul-CHAINPAL | 42.12
Angul-MCL-I | 27.24
Angul-MCL-II | 0
Angul-TTPS | 42.68
AratiSteel-Arati-Choudwar | 0.64
AratiSteel-Arati-Nuapatna | 18.16
AratiSteelratiSteel | 0
Argul-ATRI-I | 5.72
Argul-ATRI-II | 5.72
Balugaon-CHATRAPUR | 31.52
Balugaon-KHURDA-CHANDPUR | 0
Balugaon-SOLARITraction | 6
Banki-ATRI | 12.96
Banki-NUAPATNA | 2.4968
Bhubaneswar-CHANDAKA-I | 34.64
Bhubaneswar-CHANDAKA-II | 0
Bhubaneswar-PHULNAKHARA | 0.0812
Bidanasi-BPPL | 12.08
Bidanasi-CHOUDWAR | 11.04
Boinda-RAIRAKHOLE | 9.76
Boinda-Traction | 3.92
BPPL-Sw-BPPL-I | 0
BPPL-Sw-BPPL-II | 0
Chainpal-TalcherFert.Ltd | 0.12988
Chainpal-Traction | 6.68
Chainpal-TTPS-I | 31.84
Chainpal-TTPS-II | 33
Chainpal-Meramundali-II | 0
Chandaka-BPPL | 34
Chandaka-MENDHASAL | 13.48
Chandaka-NIMAPARA | 22.8
Chandaka-RANASINGHPUR | 69.28
Chandpur-Khurda | 15.12
Chandpur-BALUGAON | 0
Choudwar-GSAL | 3
Choudwar-Traction | 6.28
Choudwar-TSAlloy | 0
Cuttack-JAGATSINGHPUR | 33.72
Dhenkanal-ICCL | 15.84
Dhenkanal-JorandaTr. | 8.1128
Dhenkanal-MERAMUNDALI | 40.96
Dhenkanal-NUAPATNA | 20.96
Global-HeavyWater | 0.36
GridSteel&AlloyLtdSw-GSAL | 0
HindMetalics-MGM | 1.04
HindMetalics-Navabharat-I | 0
HindMetalics-Navabharat-II | 0
HindMetalics-SGEL(Biomass) | 0.125
HindMetalics-Traction | 8.05
ICCL-Mania | 24.64
ICCL-Salipur-II | 0
Jagatsinghpur-TIRTOL | 0
Jagatsinghpur-Traction | 2.4432
Kalarangi-Kamakhyanagar | 35.84
Kamakhyanagar-DUBURI | 2.72
Kamakhyanagar-OPCL | 18.28
Kendrapada-CHANDIKHOLE | 0
Kendrapada-JAJPURRD | 0
Kendrapada-MARSHAGHAI | 31.24
Kendrapada-PATTAMUNDAI | 45
Kendrapada-SALIPUR | 0
Khajuriakata-NUAPATNA | 21.44
KhuntuniGIS-ShreeCement | 0.32
Khurda-KaipadarTr. | 13.08
Khurda-SAMUKA | 19.24
Konark-BUS-COUPLER | 0
Konark-NIMAPADA | 9.36
Mancheswar-BGIS-Chandaka-B | 0
Mancheswar-BGIS-Mancheswar | 15.68
Mania-ICCL | 25.56
Mania-OCL | 13.36
Marshaghai-KendrapadaTraction | 1.2
Marshaghai-PARADEEP | 49.882
Meramundali-BRG | 21.96
Meramundali-CHAINPAL-I | 12.32
Meramundali-KHAJURIAKATA | 25.6
Meramundali-KHARAGAPRASAD-I | 20.6
Meramundali-KHARAGAPRASAD-II | 20.44
Meramundali-RUNGTA-Mines | 0
Meramundali-RUNGTA-MLR | 20.6
Mendhasal-Khurda | 39.3244
Nimapara-KESURA | 38.84
Nimapara-PURI | 0
Nimapara-SAMANGARA | 13.44
Olaver-ChandbaliCkt.-I | 4.1748
Olaver-ChandbaliCkt.-II | 4.0992
Olaver-Pattamundai-I | 8.2692
Olaver-Pattamundai-II | 8.2648
Paradeep-IFFCO-I | 0
Paradeep-IFFCO-II | 5.2
Paradeep-KENDRAPADA-I | 49.88
Paradeep-KENDRAPADA-II | 43.8
Paradeep-PPL-I | 0
Paradeep-PPL-II | 0.04
Paradeep-PPT-I | 0.04
Paradeep-PPT-II | 17.4
Paradeep-Siju-RTSS | 4.7696
Phulnakhara-CUTTACK | 15.44
Phulnakhara-Pratapsasan-1 | 21.8728
Phulnakhara-Pratapsasan-2 | 21.1904
Ranasinghpur-Kesura | 0
Salipur-OCL | 8.5312
Salipur-OCL | 8.5312
Samangara-MalatipatapurTr. | 3.4448
Samangara-PURI | 0
Sambalpur-Katapali | 0
SAMUKA-Puri | 30.8
TATA-ARATI | 26.52
Tata-BPPL | 0.16
TATASw-TATA | 21.7688
Tirtol-Jspur | 0
Tirtol-Paradeep | 16.9652
Unit-8GIS-Incomer | 15.12

## 132KV LINE-NESCO ZONE
LOAD (In MW) on 25.09.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Agarpada-Anandpur | 23.0252
Agarpada-Bhadrak | 0
Anandpur-JajpurRoad-I | 6.08
Anandpur-JajpurRoad-II | 6.08
AryaIspatSw.Stn.-ARYASteel | 6.784
AryaIspatSw.Stn.-BRPL | 2.84
AryaIspatSw.Stn.-IMTCPL | 0.148
AryaIspatSw.Stn.-Incomer | 10.44
AryaIspatSw.Stn.-Outgoing | 0.2
Balasore-Basta | 18.6
Balasore-BirlaTyre | 0.248
Balasore-BIRLATyre | 0.248
Balasore-ISPAT | 0
Balasore-Somnathpur | 7.92
Balasore-Chandipur | 52.64
Balasore-Traction | 6.24
Balasore-Traction | 6.24
Balasore-Udala | 5.56
Bangiriposi-KUCHEI | 66.72
Bangiriposi-Rairangpur | 54.16
Barbil-Bolani | 5.76
Barbil-Joda | 22.32
Baripada-PG | 52.64
Baripada-Udala | 28.64
Basta-Jaleswar | 4.04
BCMohantySw.Stn.-BCMohanty | 9.424
BCMohantySw.Stn.-TOMKATr. | 0.68
Bhadrak-DhamraPort1 | 7.15
Bhadrak-DhamraPort2(Tr.) | 2.3563
Bhadrak-FACOR | 22.08
Bhadrak-FACORPower | 0
Bhadrak-JajpurTown | 40.56
Bhadrak-Soro | 0
Bhadrak-Traction | 6.48
Bolani-ARYAIspat | 10.2
BRPLSwitching-BRPL | 14.125
ChandabaliGIS-Olaver-I | 4.168
ChandabaliGIS-Olaver-II | 4.0908
Chandikhol-JajpurR. | 31.08
Chandikhol-Kendrapara | 0
Karanjia-Dhenkikote | 6.4
Duburi-BCMohantySw | 32.28
Duburi-BRPL | 14.04
Duburi-JajpurRoad-I | 42.96
Duburi-JajpurRoad-II | 43.32
Duburi-JakhapuraTr. | 5.96
Duburi-JakhapuraTraction | 7.12
Duburi-JFAL | 21.08
Duburi-Kamakhyanagar | 31.12
Duburi-MESCO | 3.56
Duburi-Mishrilal | 7.0438
Duburi-Mishrilal | 7.0438
Haridaspur-RAMCO | 5.504
JganathSw-JaganathSteel | 0.0292
JaganathSteelSw.Stn-NALDA | 0
JaganathSteelSw.Stn-Rourkela | 0
JajpurRoad-JajpurT. | 0
Jaleswar-Bhograi | 3.12
Jaleswar-KUCHEI | 24.96
Jaleswar-Traction | 5.08
JFAL-TTPS | 0
Joda-BansapaniTr. | 2.9688
Joda-FAP | 16.3562
Joda-Palasponga | 37.88
JSWCementSw-JSWCementLtd | 3.56
Karakhendra-ARYA | 0.19
Karakhendra-Karakolha | 0.63048
Karakhendra-NALDA | 0
Karanjia-Polasponga | 9.6
Nalda-ARYAIspat | 0
Nalda-BEEKAYSteel | 0
Nalda-Traction | 8.2
OMCDaitari-BCMohanty | 20.9104
OMCDaitari-TATAFAPBamnipal | 20.2732
Polasponga-ESIL | 14.725
Polasponga-MSP | 9.508
Polasponga-Traction | 9.8313
Rairangpur-Karanjia | 0
Soro-Chandipur | 43.92
Somnathpur-IMAMI | 5.844
Somnathpur-STORK | 0
Udala-Betanati | 8.3836

## 132KV LINE-SOUTHCO ZONE
LOAD (In MW) on 25.09.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Aska-Berhampur | 18.6
Aska-Chatrapur-I | 19.48
Aska-Purusottampur | 11.6
AskaNew-Aska-I | 18.5872
AskaNew-Aska-II | 19.4728
AskaNew-HinjiliCut | 7.31
AskaNew-Digapahandi-I | 13.9692
Berhampur-Narendrapur-I | 23.64
Berhampur-Narendrapur-II | 23.68
Berhampur-Rayagada | 0
Berhampur-HinjiliCut | 0
Bhanjanagar-Aska-I | 0
Bhanjanagar-Aska-II | 0
Bhanjanagar-Phulbani | 19.28
Chatrapur-AskaNew-I | 0
Chatrapur-Balugaon | 32.16
Chatrapur-Ganjam | 27.04
Chatrapur-Narendrapur-I | 44.96
Chatrapur-Narendrapur-II | 45.32
Chatrapur-Purusottampur | 0
Digapahandi-Berhampur | 0
Digapahandi-Chikiti-I | 4.12
Digapahandi-Chikiti-II | 4.08
Digapahandi-Mohana | 0
Ganjam-Chatrapur | 26.868
Jayanagar-Machkund | 27.12
Jayanagar-Rayagada | 27.12
Jayanagar-Sunabeda | 0.04
Jayanagar-Tentulkhunti | 17.68
Narendrapur-Berhampur-I | 23.84
Narendrapur-Berhampur-II | 23.68
Narendrapur-Chatrapur-I | 45.88
Narendrapur-Chatrapur-II | 46.04
Paralakhemendi-Akhusingh | 14.2
Bhanjanagar-Phulbani | 19.28
Sunabeda-Jayanagar | 18.16
Tentulikhunti-Jayanagar | 17.28
Tentulikhunti-VentoSolar | 0.08
Therubali-Kesinga | 33.76
Therubali-Rayagada | 10.56
Chatrapur-IRE-I | 2.8188
Chatrapur-IRE-II | 3.325
Chatrapur-RambhaTr. | 6.2
Ganjam-GrasimInsudtriesLtd | 15.5375
Jayanagar-Traction | 6.68
Muniguda-BissamCuttackTr | 11.16
Narendrapur-NarendrapurTr | 3.2
Rayagada-Traction | 10.68
Sunabeda-HAL | 2.692
Therubali-BhalumaskaTr | 1.7444
Therubali-JKFeeder | 0
Laxmipur-Tr. | 1.8544

## 132KV LINE-WESCO ZONE
LOAD (In MW) on 25.09.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Bargarh-Barapali | 16.92
Katapalli-Bargarh | 51.52
BargarhNew-Ghess-I | 12.68
BargarhNew-Ghess-II | 12.72
Bhawanipatna-Junagarh | 4.0069
Bhawanipatna-Kesinga | 22.037
Bolangir-BolangirN-I | 34.6
Bolangir-BolangirN-II | 36.96
Bolangir-Saintala | 27.28
Budhipadar-Brajrajnagar | 31.4
Budhipadar-Jharsuguda-I | 0
Budhipadar-Jharsuguda-II | 0.08
Budhipadar-Kalunga | 52.96
Budhipadar-Lapanga | 43.4
Budhipadar-Rajgangpur | 9.52
Budhipadar-Sundergarh-I | 10.4
Budhipadar-Sundergarh-II | 10.56
Chend-LILO(Adhunik+Sri Ganesh) | 6.44
Chend-Tarkera-I | 35.76
Chend-Tarkera-II | 35.84
ChipilimaPH-BurlaTIE-II | 0
ChipilimaPH-BusCoupler | 0
Ghens-BargarhNew-II | 12.64
Jayapatna(Baner)-Dabugaon | 10.04
Junagarah-Kesinga | 18.8292
Kalunga-Budhipadar | 51.1852
Kalunga-Tarkera | 0
Katapali-Bargarh-I | 51.52
Katapali-Chiplima-I | 26
Katapali-Sambalpur | 0
Kesinga-Bhawanipatna | 22.2
Kesinga-Khariar | 46
Kesinga-Therubali | 0
Kesinga-VentoPowerSolar-II | 0.08
Kesinga-VentoPowerSolar-II | 0.08
Khariar-Kesinga | 24.12
Lapanga-ARYAN | 3.08
Lapanga-Budhipadar | 44.88
Lapanga-Burla-I | 48.48
Lapanga-Burla-II | 48.12
Lapanga-Jharsuguda | 57.48
Lapanga-SMC | 22.28
Patnagarh-ALEXSolar | 0
Patnagarh-Bolangir(N) | 33.24
Rairakhol-Boinda | 9.6
Rairakhol-Maneswar | 0
Rajgangpur-Budhipadar | 0
Rajgangpur-Kuchinda | 16.36
Rajgangpur-Tarkera-I | 0
Rajgangpur-Tarkera-II | 42.84
Rourkela-Joda | 15.88
Rourkela-Tarkera-I | 20.92
Rourkela-Tarkera-II | 20.8
Rourkela-Tarkera-III | 19.48
Sadeipali-Barapali | 33.84
Sadeipali-Bolangir-II | 35.48
Sadeipali-Patnagarh-I | 34.2
Sadeipali-Patnagarh-II | 33.52
Sadeipali-Sonepur-II | 0
Sambalpur-Burla | 57.52
Sambalpur-Katapali | 0
Sambalpur-Rairakhol | 4.12
Sambalpur-ShyamDRI | 0
Sonepur-Bolangir | 57
Sundargarah-Budhipadar-I | 10.36
Sundargarah-Budhipadar-II | 10.44
Tusura-VentoPowerSolar-I | 0.08
Tusura-VentoPowerSolar-II | 0.04
VALLanjigarh-Kesinga | 0.04
VALLanjigarh-Therubali | 14.32
ACME SOLAR-ACMESolar | 0
Aryan Ispat-AryanIspat | 1.9969
AryanVirajSw-AryanViraj | 6.2094
Bamra-BamraTr. | 0
Barapalli-DunguripaliTr. | 3.52
Bargarh-ACC-I | 0
Bargarh-ACC-II | 8.36
Bhalulata-BhalulataTr. | 7.92
Bhawanipatna-LanjigarhTr. | 4.156
Brajarajnagar-KechhobahalTr. | 2
Budhipadar-MCL-I | 16.4031
Budhipadar-MCL-II | 0
Budhipadar-MSP | 1.04
Chend-AdhunikMetallic | 0.6
Chend-NuagaonTr. | 7.04
Chend-SriGaneshMetallics | 5.8438
Jayapatna(Baner)-Megalift-I | 6.88
Jayapatna(Baner)-Megalift-II | 0
Jharsuguda-Tr. | 15.56
Jharsuguda-Ultratech | 10.012
Kantabanji-Tr. | 2.68
Katapali-GodbhagaTr. | 1.68
Kesinga-POWMEX | 2.8031
Kesinga-Tr. | 10.28
Kesinga-VentoPowerSolar-I | 0.12
Kesinga-VentoPowerSolar-II | 0.08
Lapanga-RengaliTr. | 6.12
Nuapada-Tr. | 3
Padampur-DakshinUPL | 0.08
Rairakhol-Tr. | 2.16
Rajgangpur-OCL | 0
Rajgangpur-OISL | 0
Rajgangpur-Tr.-I | 0
Rajgangpur-Tr.-II | 5.4
Saintala-ABRELSolar(2ndphase) | 0.0204
Saintala-AdityaSolar | 0.0556
Saintala-BEL-OFBLSolar | 0.036
Saintala-ORDNANCE | 1.12
SMC Sw-SMCPower | 0
Tusura-DeogaonTr. | 4.84
Tusura-VentoPowerSolar-I | 0.08
Tusura-VentoPowerSolar-II | 0.04
VALLanjigarh-VedantaAl.-I | 14.2
VALLanjigarh-VedantaAl.-II | 0.04
ShyamMetallics-ShyamDRI | 11.24

## POWER TRF LOAD
LOAD (In MW) on 25.09.2022 at 23:00 hrs
Substation / Fdr | LOAD (In MW)
Agarpada-Trf1 | 10.84
Akhusingi-Trf1 | 6.6973
Akhusingi-Trf2 | 6.5217
Anandpur-Trf1 | 4.9188
Anandpur-Trf2 | 4.8156
Anandpur-Trf3 | 7.68
Angul-Trf1 | 11.9748
Angul-Trf2 | 11.5388
Angul-Trf3 | 7.512
Argul-Trf1 | 5.68
Argul-Trf2 | 5.64
AskaNew-Trf1 | 10.28
Aska-Trf1 | 8.96
Aska-Trf2 | 8.72
Aska-Trf3 | 8.56
Badagada-Trf1 | 11.9437
Badagada-Trf2 | 11.7875
Balasore-Trf1 | 24.3875
Balasore-Trf2 | 24.4
Balasore-Trf3 | 23.96
Balimela-Trf1 | 7.84
Balimela-Trf2 | 5.124
Balugaon-Trf1 | 12.4
Balugaon-Trf2 | 8.5375
Balugaon-Trf3 | 4.8452
Bangiriposi-Trf1 | 6.296
Bangiriposi-Trf2 | 6.052
Banki-Trf1 | 7.72
Banki-Trf2 | 7.76
Barapalli-Trf1 | 20.08
Barapalli-Trf2 | 9.304
Barbil-Trf1 | 4.3312
Barbil-Trf2 | 4.6031
Bargarh-Trf1 | 17.8
Bargarh-Trf2 | 17.44
Bargarh-Trf3 | 17.775
Baripada-Trf1 | 8.16
Baripada-Trf2 | 8.1813
Baripada-Trf3 | 8.625
Barkote-Trf1 | 3.8
Barkote-Trf2 | 3.875
Basta-Trf1 | 8.4594
Basta-Trf2 | 5.3531
Basta-Trf3 | 8.588
Berhampur-Trf1 | 17.7125
Berhampur-Trf2 | 11.3969
Berhampur-Trf3 | 17.9812
Betanati-Trf1 | 7.484
Betanati-Trf2 | 11.7704
Bhadrak-Trf1 | 21
Bhadrak-Trf2 | 20.96
Bhadrak-Trf3 | 20.56
Bhanjanagar-Trf1 | 8.5228
Bhanjanagar-Trf2 | 5.552
Bhanjanagar-Trf3 | 8.64
Bhawanipatna-Trf1 | 3.9062
Bhawanipatna-Trf2 | 3.9094
Bhawanipatna-Trf3 | 6.2081
Bhograi-Trf1 | 0
Bhograi-Trf2 | 7.72
Bhubaneswar-Trf1 | 17.72
Bhubaneswar-Trf2 | 17.72
Bhubaneswar-Trf3 | 17.76
Bidanasi-Trf1 | 20.6938
Bidanasi-Trf2 | 20.88
Bidanasi-Trf3 | 12.6125
Birmaharajapur-Trf1 | 7.6656
Boinda-Trf1 | 6.1625
Boinda-Trf2 | 3.8444
Boinda-Trf3 | 4.112
Bolangir-Trf1 | 13.3124
Bolangir-Trf2 | 13.95
Bolangir-Trf3 | 13.44
Bolani-Trf1 | 1.56
Bolani-Trf2 | 0.952
Bonai-Trf1 | 6.1
Bonai-Trf2 | 6.312
Boudh-Trf1 | 4.508
Boudh-Trf2 | 4.532
Brajabiharipur-Trf1 | 0
Brajabiharipur-Trf2 | 0
Brajarajnagar-Trf1 | 8.508
Brajarajnagar-Trf3 | 0
Brajarajnagar-Trf4 | 12.56
Brajarajnagar-Trf5 | 8.448
Budhipadar-Trf1 | 5.6719
Budhipadar-Trf2 | 3.3563
Chainpal-Trf1 | 14.52
Chainpal-Trf2 | 14.6
Chainpal-Trf3 | 8.836
ChandabaliGIS-Trf1 | 5.12
ChandabaliGIS-Trf2 | 3.096
ChandakaGIS-Trf1 | 0.84
ChandakaGIS-Trf2 | 0.84
Chandaka-Trf1 | 25.44
Chandaka-Trf2 | 25.4
Chandaka-Trf3 | 26.2563
Chandikhol-Trf1 | 10.292
Chandikhol-Trf2 | 10.1371
Chandikhol-Trf3 | 10.093
Chandpur-Trf1 | 0
Chandpur-Trf2 | 5.8063
Chandpur-Trf3 | 9.34
Chandipur-Trf1 | 7.5053
Chatrapur-Trf1 | 7.608
Chatrapur-Trf2 | 6.748
Chatrapur-Trf3 | 4.7375
Chend-Trf1 | 19.8062
Chend-Trf2 | 20.1062
Chend-Trf3 | 19.6187
Chikiti-Trf1 | 8.2
ChipilimaPH-Trf1 | 10.016
ChipilimaPH-Trf2 | 6.3063
Choudwar-Trf2 | 11.1188
Choudwar-Trf3 | 11.2
Choudwar-Trf4 | 11.5188
Cuttack-Trf1 | 19.8938
Cuttack-Trf2 | 19.96
Cuttack-Trf3 | 20.68
Dabugaon-Trf1 | 4.204
Dabugaon-Trf2 | 4.232
Deogarh-Trf1 | 3.1301
Deogarh-Trf2 | 3.1139
Dhenkanal-Trf1 | 12.6208
Dhenkanal-Trf2 | 12.5932
Dhenkanal-Trf3 | 12.56
Dhenkikote-Trf1 | 3.16
Dhenkikote-Trf2 | 3.1862
Digapahandi-Trf1 | 7.2156
Digapahandi-Trf2 | 7.4219
Digapahandi-Trf3 | 4.7125
Duburi-New-Trf1 | 0.208
Duburi-Trf1 | 8.9
Duburi-Trf2 | 8.84
Ganjam-Trf1 | 7.04
Ganjam-Trf2 | 4.304
Ghens-Trf1 | 12.84
Ghens-Trf2 | 12.32
Global-Trf1 | 1.6001
Goda-Trf1 | 5.8297
GUdayagiri-Trf1 | 1.6755
GUdayagiri-Trf2 | 1.64
Hinjilicut-Trf1 | 7.2753
HindMetalics-Trf1 | 3.508
Hirakud-Trf2 | 0
Infocity-IIGIS-Trf1 | 6.2
Infocity-IIGIS-Trf2 | 0
Jagatsinghpur-Trf1 | 8.612
Jagatsinghpur-Trf2 | 8.448
Jagatsinghpur-Trf3 | 13.6556
JajpurRoad-Trf1 | 12.24
JajpurRoad-Trf2 | 12.36
JajpurRoad-Trf3 | 12.56
JajpurTown-Trf1 | 15.24
JajpurTown-Trf2 | 9.6094
JajpurTown-Trf3 | 15.5188
Jaleswar-Trf1 | 7.32
Jaleswar-Trf2 | 7.4
Jaleswar-Trf3 | 3.732
Jayanagar-Trf1 | 4.308
Jayanagar-Trf2 | 6.148
Jayanagar-Trf3 | 6.3625
Jayanagar-Trf4 | 6.2589
Jayapatna(Baner)-Trf1 | 5.5176
Jayapatna(Baner)-Trf2 | 5.48
Jharsuguda-Trf2 | 10.32
Jharsuguda-Trf3(Sarsamal) | 11.08
Joda-JSPLTrf1 | 23.05
Joda-JSPLTrf2 | 15.6375
Joda-JSPLTrf3 | 1.28
Joda-Trf2 | 9.3063
Joda-Trf4- | 9.216
Joda-Trf5- | 4.3
Joda-Trf6- | 6.72
Joda-Trf7 | 0.4875
Junagarah-Trf1 | 11.636
Junagarah-Trf2 | 0
Junagarah-Trf3 | 10.92
Kalarangi-Trf1 | 1.7812
Kalarangi-Trf2 | 0
Kalarangi-Trf3 | 2.6814
Kalunga-Trf1 | 16.68
Kalunga-Trf2 | 16.68
Kalunga-Trf3 | 17.3848
Kamakhyanagar-Trf1 | 6.784
Kamakhyanagar-Trf2 | 4.324
Kamakhyanagar-Trf3 | 4.376
Kantabanji-Trf1 | 5.68
Kantabanji-Trf2 | 5.72
Karanjia-Trf1 | 4.4719
Karanjia-Trf2 | 4.425
Karanjia-Trf3 | 7.1562
Kasipur-Trf1 | 0.524
Katapali-Trf1 | 7.0158
Katapali-Trf2 | 6.9736
Katapali-Trf3 | 10.9448
Kendrapada-Trf1 | 0
Kendrapada-Trf2 | 14.68
Kendrapada-Trf4 | 14.92
KeonjharGIS-Trf1 | 5.66
KeonjharGIS-Trf2 | 5.688
Kesinga-Trf1 | 13.556
Kesinga-Trf2 | 20.2
Kesinga-Trf3 | 12.6188
Khajuriakata-Trf1 | 2.332
Khajuriakata-Trf2 | 2.276
Khariar-Trf1 | 15.2
Khariar-Trf2 | 15.36
KhuntuniGIS-Trf1 | 4.84
KhuntuniGIS-Trf2 | 4.6
Khurda-Trf1 | 0
Khurda-Trf2 | 22
Khurda-Trf3 | 21.4448
Khurda-Trf4 | 22.24
Konark-Trf1 | 4.632
Konark-Trf2 | 4.648
Kuchinda-Trf1 | 9.0188
Kuchinda-Trf2 | 9.0156
Lapanga-Trf1 | 0
Lapanga-Trf2 | 10.312
Laxmipur-Trf1 | 0
Laxmipur-Trf2 | 4.644
Lephripada-Trf1 | 3.7193
Lephripada-Trf2 | 3.73
Malkangiri-Trf1 | 6.36
Malkangiri-Trf2 | 6.24
Mancheswar-BGIS-Trf1 | 7.72
Mancheswar-BGIS-Trf2 | 7.88
Maneswar-Trf1 | 2.0276
Maneswar-Trf2 | 2.0272
Mania-Trf1 | 4.316
Mania-Trf2 | 6.824
Marshaghai-Trf1 | 8.592
Marshaghai-Trf2 | 8.58
Mendhasal-Trf1 | 5.208
Mendhasal-Trf2 | 5.484
Mohana-Trf1 | 2.684
Mohana-Trf2 | 2.508
Muniguda-Trf1 | 6.8501
Nabarangapur-Trf1 | 7.7774
Narendrapur-Trf1 | 5.06
Narendrapur-Trf2 | 8.08
Narendrapur-Trf3 | 10.4
Narendrapur-Trf4 | 8.36
Narsinghpur-Trf1 | 4.88
Narsinghpur-Trf2 | 3.048
Nayagarh-Trf1 | 17.04
Nayagarh-Trf2 | 10.22
Nayagarh-Trf3 | 16.9125
Nimapara-Trf1 | 12.32
Nimapara-Trf2 | 13.4132
Nimapara-Trf3 | 12.334
Nuapada-Trf1 | 7.036
Nuapada-Trf2 | 6.848
Nuapatana-Trf1 | 6.0812
Nuapatana-Trf2 | 9.24
Nuapatana-Trf3 | 0
Olaver-Trf1 | 4.08
Olaver-Trf2 | 4.116
OMCDaitari-Trf1 | 0
Padampur-Trf1 | 7.956
Padampur-Trf2 | 8.176
Padampur-Trf3 | 13.08
Paradeep-Trf1 | 9.844
Paradeep-Trf2 | 10.368
Paradeep-Trf3 | 0
Paralakhemendi-Trf1 | 4.696
Paralakhemendi-Trf2 | 4.752
Paralakhemendi-Trf3 | 4.988
Patnagarh-Trf1 | 8.76
Patnagarh-Trf2 | 5.88
Patnagarh-Trf3 | 5.8031
Pattamundai-Trf1 | 6.768
Pattamundai-Trf2 | 6.828
Pattamundai-Trf3 | 6.6312
Phulbani-Trf1 | 8.24
Phulbani-Trf2 | 0
Phulbani-Trf3 | 7.36
Phulnakhara-Trf1 | 7.124
Phulnakhara-Trf2 | 8.184
Phulnakhara-Trf3 | 12.92
Podagada-Trf1 | 0.64896
Podagada-Trf2 | 0.412
Polasponga-Trf1 | 4
Polasponga-Trf2 | 3.712
Polasponga-Trf3 | 5.84
Potangi-Trf1 | 0.92
Pratapsasan-Trf1 | 4.0256
Pratapsasan-Trf2 | 4.0856
Puri-Trf1 | 10.32
Puri-Trf2 | 10.24
Puri-Trf3 | 10.0612
Purushottampur-Trf1 | 3.1812
Purushottampur-Trf2 | 3.2719
Purushottampur-Trf3 | 5.068
Rairakhol-Trf1 | 2.572
Rairakhol-Trf2 | 2.544
Rairakhol-Trf3 | 2.524
Rairangpur-Trf1 | 7.8298
Rairangpur-Trf2 | 4.5248
Rairangpur-Trf3 | 7.6174
Rajgangpur-Trf1 | 18.6
Rajgangpur-Trf2 | 16.68
Rajgangpur-Trf3 | 17.12
Rajnagar-Trf1 | 3.9226
Rajnagar-Trf2 | 3.8939
Ranasinghpur-Trf1 | 23.4
Ranasinghpur-Trf2 | 23.4
Ranasinghpur-Trf3 | 23.7312
Rayagada-Trf1 | 2.06
Rayagada-Trf2 | 1.732
Rayagada-Trf3 | 2.896
Rengali-Trf1 | 5.828
Rengali-Trf2 | 5.472
Rourkela-Trf1 | 11
Rourkela-Trf2 | 11
Rourkela-Trf3 | 11
Rourkela-Trf4 | 10.52
Sadeipali-Trf1 | 0.68
Sadeipali-Trf2 | 0.444
Salipur-Trf1 | 9.1105
Salipur-Trf2 | 10.416
Salipur-Trf3 | 9.9809
Samangara-Trf1 | 5.204
Samangara-Trf2 | 5.212
Sambalpur-Trf1 | 15.88
Sambalpur-Trf2 | 0
Sambalpur-Trf3 | 18.258
Sambalpur-Trf4 | 18.854
Shamuka-Trf1 | 9.12
Shamuka-Trf2 | 9.08
Somnathpur-Trf1 | 0.956
Somnathpur-Trf2 | 0.928
Sonepur-Trf1 | 8.9875
Sonepur-Trf2 | 16.3
Sonepur-Trf3 | 15.325
Soro-Trf1 | 19.52
Soro-Trf2 | 13.1
Soro-Trf3 | 19.1125
Sunabeda-Trf1 | 4.0531
Sunabeda-Trf2 | 4.044
Sunabeda-Trf3 | 6.484
Sundargarah-Trf1 | 8.8064
Sundargarah-Trf2 | 5.711
Sundargarah-Trf3 | 5.728
Telkoi-Trf1 | 0
Telkoi-Trf2 | 0
Tentulikhunti-Trf1 | 2.028
Tentulikhunti-Trf2 | 1.92
Tentulikhunti-Trf3 | 1.3
Therubali-Trf1 | 2.768
Therubali-Trf2 | 2.584
Thuapali-Trf1 | 1.9155
Thuapali-Trf2 | 1.9071
Tirtol-Trf1 | 8.28
Tirtol-Trf2 | 8.44
Tusura-Trf1 | 7.836
Tusura-Trf2 | 12.08
Udala-Trf1 | 6.2
Udala-Trf2 | 6.28
Umerkote-Trf1 | 9.364
Umerkote-Trf2 | 9.632
Unit-8GIS-Trf1 | 7.5392
Unit-8GIS-Trf2 | 7.48