# BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

CHUNOKOLI, SAILASHREE VIHAR, BHUBANESWAR

CASE NO. 113/2023

FILING NO. 2

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2024-25 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

Truing up application for the FY 2022-23 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

AND

IN THE MATTER OF: 	Odisha Power Transmission Corporation Limited, Janpath, Bhubaneswar

.…..  Applicant

# AND

IN THE MATTER OF:     Reply to the queries raised by the Hon’ble Commission vide letter No. 1850 dated 18.12.2023.

The humble applicant above named

MOST RESPCTFULLY SHEWETH:

That in response to the queries raised by the Hon’ble Commission vide letter No. 1850 dated 18.12.2023 on OPTCL’s Aggregate Revenue Requirement (ARR) & Transmission Tariff Application for FY 2024-25 and Truing up application for the FY 2022-23, OPTCL humbly submits its reply to the queries along with the supporting documents / additional information in the following paragraphs for kind information of the Hon’ble Commission.

TECHNICAL

Query No 1: Transmission Loss

OPTCL should submit the month wise calculation of Transmission Loss for FY 2022-23 & 1st six months of FY 2023-24 and same should be duly certified by SLDC.

Reply of OPTCL: The month wise calculation of Transmission Loss for FY 2022-23 & 1st six months of FY 2023-24 are enclosed provisionally as Annexure-01 & 02.

Query No 2: Transmission Loss

The Commission had approved the transmission loss of 3% for FY 2023-24, whereas the actual transmission loss submitted by OPTCL from April, 2023 to September, 2023 was 3.12%. During previous years, OPTCL has made a lot of investment for improvement of its transmission system and submitted the supporting studies/ documents during the approval of projects about the expected reduction in loss in case of addition of new transmission projects with rise in demand. Therefore, OPTCL’s submission that increased flow of power contributes rise in transmission loss needs a detailed justification.

Reply of OPTCL:

The actual transmission loss for the period Apr’ - Sep’ 2023 is calculated to be 3.12% as shown in the ARR & TT application for FY 2024-25(Ref. page-185). This figure is less than the actual transmission loss during last year i.e. 3.15% for. FY 2022-23. In fact, OPTCL had projected Transmission loss of 3.10% for FY 2023-24, but Hon’ble Commission had set a target of 3.00% which could not be achieved yet.

In OPTCL system, the transmission loss is purely technical loss and a function of real time injection of power by a number of generators, system configuration and power flow requirements at different load centers. It depends on many parameters / factors such as distance and mismatch between generation and load centers, types of load, reactive power compensation, voltage profile, seasonal variation of demand load etc. Thus, OPTCL does not have much control over the same at any point of time. The transmission system of OPTCL operates as an integral part of the Eastern Region Grid to serve the internal demand of the State as well as to carry out import and export of power depending upon the system demand.

As of the matter of fact, some grid s/s and lines are being constructed in many remote and deprived areas funded under Central & State Govt. schemes in the interest of public. Additional length in EHT lines and Sub-stations in under-loaded areas are also responsible for increase in transmission loss.

The Transmission Loss in OPTCL network is in a gradually reducing trend over the years i.e. from 3.73% during 2014-15 to 3.15% in 2022-23 and has remained 3.12%  within 1st six months of FY 2023-24 mainly due to addition of infrastructure and various system strengthening works taken up by OPTCL. The actual losses incurred over the years by OPTCL have been within the margin allowed by Hon’ble Commission up to the year FY 2017-18. However in FY 2018-19, the commission set the loss at 3.00% though the projected transmission loss was at 3.25% and thereafter the commission has been pegging the transmission loss at the same level though loss projected by OPTCL remained in a downward trend.

| Year | Tr. Loss proposed | OERC Approval | Actual |
| --- | --- | --- | --- |
| 2014-15 | 3.75% | 3.75% | 3.73% |
| 2015-16 | 3.75% | 3.75% | 3.67% |
| 2016-17 | 3.70% | 3.70% | 3.58% |
| 2017-18 | 3.50% | 3.50% | 3.34% |
| 2018-19 | 3.25% | 3.00% | 3.28% |
| 2019-20 | 3.25% | 3.00% | 3.25% |
| 2020-21 | 3.20 % | 3.00% | 3.22% |
| 2021-22 | 3.15% | 3.00% | 3.18% |
| 2022-23 | 3.10% | 3.00% | 3.15% |
| 2023-24 | 3.10% | 3.00% | 3.12% (1st six months ) |

From the table given above, it is also clear that each year upto FY 2017-18, the transmission loss achieved by OPTCL has remained at a level lower than the approved figures by Hon’ble commission and from FY 2018-19 the target set by OERC appears to be very stiff which was hard to achieve though the trend of lesser transmission loss year after year has been achieved.

That the transmission losses depend upon the voltage level at which the power is transmitted. The transmission losses are higher where the percentage of lower voltage (132kV or below) transmission system is higher. A comparison of the average transmission losses of a few state transmission licensees and their corresponding transmission assets at low voltage level (132 kV) is shown below.

TRANSMISSION LOSS (%) OF OTHER STATES OF LOW VOLTAGE LINES

UPTO 132KV FOR FY 2022-23

| States | % of Low voltage Lines (up to 132 kV) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Transmission Lines up to 132kV (Ckm) | Total Transmission Lines (Ckm) | % of Transmission Lines up to 132kV | Actual Transmission Losses for FY 2022-23 (%) |
| Odisha (OPTCL) | 8156.74 | 16029.38 | 50.88% | 3.15 |
| Uttar Pradesh (UPPTCL) | 27,508.32 | 53,402.24 | 51.51% | 3.27 |
| Gujarat (GETCO) | 44512 | 73054 | 60.93% | 3.72 |

It may be kindly be appreciated that the transmission loss (technical) is bound to happen as per law of physics and is very difficult to reduce after a certain level. Also, at all India level, the transmission loss of utilities have remained at more than 3.00% and  to suffice our view point the table is given below for kind appreciation of Hon’ble Commission.

| Transmission Loss of different states during FY 2023-24 |  |  |
| --- | --- | --- |
| Name of states | Tr. loss proposed by Utility | Tr. loss approved by State Commission |
| Uttar Pradesh (UPPTCL) | 3.22% | 3.22%(UERC) |
| Gujarat (GETCO) | 3.60% | 3.60% (GERC) |
| Assam (AEGCL) | 3.30% | 3.30%(AERC) |

However, as a responsible Transmission utility, OPTCL is making an all-out effort to reduce the transmission loss further by undertaking various system operation and loss reduction measures by implementing the emerging technologies like system Automation, load bifurcation, modification in system configuration, procurement of more efficient equipment, Digitalization of grids by using Bay Control units, Protection system improvement using Busbar protection and Event Logger, Conversion of Radial to Ring system, Advanced Metering Infrastructure etc. to bring it to 3.05% by FY 2024-25.

Query No 3: STAMS

In case of State Transmission Assets Management System (STAMS), OPTCL has submitted that the source of funding of STAMS is yet to be decided. Further, OPTCL has not taken Investment approval of the same. However, the actual expenditure Rs. 14.45 Cr. up to 30.09.2023 towards the STAMS without approval and without finalisation of source of funding need justification.

Reply of OPTCL:

It is submitted before the Hon'ble Commission that the sequential strategy adopted by OPTCL in this regard has been the following.

●	Execution of MOU with POWERGRID towards consultancy services for implementation of STAMS scheme (in two phases), keeping in view its expertise in similar projects. The scope of services on the part of POWERGRID, as per the MOU, covers field survey, freezing of survey based BOQ (Bill of Quantity), preparation of DPR & Cost Estimate, invitation of tenders, award of contracts for different scopes of the scheme and project implementation with concurrent & periodical monitoring & evaluation. This MOU was signed between OPTCL and POWERGRID on 29.09.2022. The estimated Project Cost (based upon the Survey and DPR of POWERGRID) for STAMS (Phase-I) scheme is Rs. 267.03 Cr. comprising the Capital Component of Rs. 246.39 Cr and Revenue Component of Rs. 20.64 Cr.

●	Seeking of Central / State Govt. Assistance for the Capital Component of the Project Cost. Though the STAMS scheme is in line with the vision of Ministry of Power, GoI for “Modern & Smart National Power Transmission System”, the proposed scopes under STAMS couldn’t be eligible for PSDF Funding as per its prevailing norms. Alternatively, 100% Grant of the State Govt. against the Capital Component of Rs. 246.39 Cr. has been sought to meet the objectives under the mission of Govt. of Odisha for 24x7 reliable, quality and affordable greener power for the Consumers of State.

●	Filing of Investment Proposal on STAMS scheme for approval by Hon’ble Commission, on finalization of Govt. funding for implementation of the scheme.

The expenditure mentioned in the Query by Hon’ble Commission is the payment in favour of POWERGRID as per the terms & conditions of the MOU executed between the two Utilities. This expenditure is 6% (approx.) of the Capital Component of the Project Cost, against which 100% Grant of the State Govt. has been sought.

Query No 4: Energy meters

OPTCL has installed 2200 energy meters that are compliant with the Availability-Based Tariff (ABT) regulations and have an accuracy class of 0.2s. In the above context, OPTCL should provide the information about the status of the remaining metering points so that it can access the transmission losses on an element-wise basis. Additionally, OPTCL needs to provide timeline for completion of the balance metering.

Reply of OPTCL:

2600 nos. of ABT compliant, 0.2s accuracy class energy meters will be installed at all the billing points and audit purposes. These include main and check billing meters and audit meters in ICTs, Auto TRFs, Power TRFs (HV Side) and EHT lines.

655 nos. of 0.2s accuracy class, ABT compliant new energy meters have been procured by OPTCL and 462 nos. of meters have been installed at different metering points and another 50 nos. meters will be installed at other billing points.

Tendering for procurement of new 2000 nos. 0.2s accuracy class ABT compliant energy meters is in process which will be installed in balance metering points under PSDF-funded SAMAST scheme being implemented by SLDC, Odisha.

With installation of these new meters under SAMAST scheme, all the existing old audit and billing energy meters will be replaced and element-wise transmission loss can be accurately addressed.

Query No 5: Supervision charges

Detailed report on revenue receipt as regards to supervision charges and project management cost for implementation of Odisha Distribution System Strengthening Projects (ODSSP), IPDS and other works undertaken through different schemes may be furnished for FY 2021-22, FY 2022-23 & FY 2023-24 up to date.

Reply of OPTCL:

(i) Supervision Charges:-	OPTCL has recognized Rs. 36.15 Cr. & Rs. 31.08 Cr. as supervision charges for FY 2021-22 & 2022-23 respectively. During FY 2023-24 (upto Dec’ 23) OPTCL has received Rs. 11.90 Cr. only towards supervision charges.

(ii)  As ODSSP (Phage I, II & III), IPDS & DDUGJY schemes have closed, there will be no supervision/implementing agency charges for FY 2024-25. OPTCL is expecting PMC charges on ODSSP-IV which is under progress.

In compliance to IND AS 115 (effective from 01.04.2018), OPTCL adopts the following methodology to record the supervision charges as revenue on accrual basis under “Sale of Services”

- In respect of DISCOMs and other works are credited /debited to Statement of Profit & Loss in the year in which the completion and handing over (i.e. control is transferred) of the assets made to the divisions after adjustment of related expenses, if any.

- Supervision charges received on assets created by beneficiary are credited to Statement of Profit & Loss on raising of bills by OPTCL to the party.

- Supervision charges received on deposit work executed by OPTCL is transferred to Statement of Profit & Loss on percentage of completion method over the period of construction.

Therefore, considering the above, OPTCL has proposed ₹30 Cr towards supervision charges under the head Misc. Income.

Query No 6: Construction of office building

OPTCL in Table No-20 has projected an amount of Rs. 48.70 Cr. towards construction of office building during the FY 2024-25. OPTCL should submit a report on the total project cost and its break-up showing the year-wise investment plan for construction of office building along with its justification, progress and actual expenditure, if any, till date.

Reply of OPTCL:

A report on the total project cost and its break-up showing the year-wise investment plan for construction of various multi-storied office complexes along with actual expenditure till date is furnished as Annexure-03. These buildings are being constructed to house all offices of OPTCL in one building now functioning either from quarters /rented houses in the same headquarter. This will help ease in administration and reduce travel time as well as cost.

Query No 7: Energy transmitted and revenue receipt

OPTCL should submit the actual energy transmitted (in MUs) and revenue receipts from DISCOMs (Distribution Licensee wise) and other LTOA customers wise for FY 2020-21, 2021-22, 2022-23 and 2023-24 up-to-date for projection of demand for ensuing year.

Reply of OPTCL:

The details of actual energy transmitted (in MUs) and revenue receipts from four DISCOMs and four LTOA customers for FY 2020-21, 2021-22, 2022-23 and 2023-24 are as under:-

* Revised as per the order dtd. 16.01.2023   in case no. 36/2022 for the period 2020-21 & 2021-22 (₹ 0.61 Cr.)

** Bill to LTOA customer other than DISCOMS were raised based on contracted capacity as per the provisions of Open Access Regulations, 2020. Further, the actual MU figures corresponding to over injection of power beyond the contracted capacity and drawl of emergency & back-up power are billed based on Paise/kwh as per Transmission Tariff Regulations, 2014-19. Therefore, the MU figures could not be provided in the aforesaid table as it has no relevance against the revenue figures.

Further, month wise bills raised to DISCOMs for the period from FY 2020-21, 2021-22, 2022-23  and  2023-24 (upto Dec-23 ) are furnished in the following table:-

| Month wise DISCOMS Drawal (in MU) |  |  |  |  |
| --- | --- | --- | --- | --- |
| YEAR | 2020-21 | 2021-22 | 2022-23 | 2023-24 |
| APR | 1786 | 2450 | 2828 | 2971 |
| MAY | 2048 | 2260 | 2892 | 3250 |
| JUN | 2069 | 2244 | 2852 | 3142 |
| JUL | 2267 | 2366 | 2909 | 3183 |
| AUG | 2160 | 2478 | 2918 | 3081 |
| SEP | 2262 | 2264 | 3016 | 3021 |
| OCT | 2113 | 2501 | 3032 | 3083 |
| NOV | 1793 | 2099 | 2559 | 2684 |
| DEC | 1769 | 2000 | 2488 | 2459 |
| JAN | 1878 | 2080 | 2470 | -- |
| FEB | 1758 | 1849 | 2471 | -- |
| MAR | 2340 | 2481 | 2857 | -- |
| Total | 24243 | 27071 | 33292 | 26874 |
| Approved | 27890 | 28067 | 29220 | 36670 |
| Surplus/ (Deficit) | (3647) | (996) | 4072 | (9796) |

Considering the above trend, approved 36670 MU for FY 2023-24 will not be achieved for which a deficit of about Rs. 50 Cr. is expected on this account.

Query No 8: Loading pattern

OPTCL should submit a statement on the loading pattern (MW & percentage of loading) of the existing transmission system (400 kV, 220 KV, 132 KV power transformers and EHT lines) corresponding to the peak demand of 6432 MW (including Vedanta drawal) on 27th August, 2023 at 23:00 hrs and 5508 MW (excluding Vedanta drawal) on 09th June, 2023 at 23:00 hrs.

Reply of OPTCL:

A statement on the loading pattern of the existing transmission system (400kV, 220kV, 132kV power transformers and EHT lines) corresponding to the peak demand 5508 MW (without Vedanta) touched on 09th June, 2023 at 23:00 hrs is furnished as Annexure-04.

However, peak demand of the state with Vedanta is 6432 MW, touched on 27th August, 2023 at 23:00 hrs and correspondingly a statement on the loading pattern of the existing transmission system is attached as Annexure-05.

Query No 9: Fault levels

OPTCL should submit the latest report on fault levels (both 3 phase to ground and single phase to ground) of various EHT grid sub-station where existing circuit breakers, isolators, CTs are inadequate to handle because of reported industrialization and rapid rural electrification.

Reply of OPTCL:

As per the Revision to 14th Transmission Plan for the FY 2022-23 to FY 2026-27 three phase to ground fault level and single phase to ground fault in kA at 400kV buses (with 50/63kA breaker capacity) and at 132kV buses (with 32kA breaker capacity) are within the acceptable limit of the planning margin.

For FY 2022-23 to 2026-27, three phase to ground and single phase to ground faults at 220kV buses (with 40kA breaker) at Meramundali-A & Budhipadar are exceeding planning margin i.e., the 40kA breaker capacity. Year-wise Fault MVA breakup for the above two substation are as given below.

| Sl No | Name of Substation | 2022-23 |  | 2023-24 |  | 2024-25 |  | 2025-26 |  | 2026-27 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 3ph-G Fault | 1ph-G Fault | 3ph-G Fault | 1ph-G Fault | 3ph-G Fault | 1ph-G Fault | 3ph-G Fault | 1ph-G Fault | 3ph-G Fault | 1ph-G Fault |
| 1 | Budhipadar | 47 | 43 | 49 | 45 | 48 | 45 | 49 | 45 | 36 | 32 |
| 2 | Meramundali-A | 44 | 46 | 40 | 42 | 40 | 42 | 40 | 42 | 41 | 43 |

Recommendation:

Meramundali-A, and Budhipadar 220 kV substations having 40kA breakers are presently in high fault level zones. It is recommended to upgrade the Substation equipments of Meramunduli-A and Budhipadar to 63kA to reduce the fault level to 80% as per the Planning Margin.

Query No 10: R&M expenditure of various wings

OPTCL requires to furnish Wing-wise and item wise actual R &M expenses incurred as against OERC approval for FY 2022-23 and FY 2023-24(up to December, 2023). Further, OPTCL has projected a substantial amount towards repair/replacement of Circuit barkers, surge arrestor, CT, PT, renovation of grid-substation, renovation of EHT lines, automatic fault analysis system, audit energy meter etc. under R&M head. The above works are capital in nature but inclusion of the same under R & M works needs justification.

Reply of OPTCL:

The wing-wise and item wise actual R &M expenses incurred as against OERC approval for FY 2022-23 is as under.

Unit wise /Item wise O&M Expenses for FY 2022-23                        (Cr.)

| Wing/ Item | O&M Division* | Telecom | Construction | Civil | Store | IT& Others | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Plant & Machinery | 69.51 | 3.06 | 1.91 | 0.57 | 0.00 | 0.03 | 75.08 |
| Building | 0.23 | - | 0.00 | 7.24 | 0.01 | 0.00 | 7.48 |
| Civil Works | 0.33 | - | - | 0.78 | - | - | 1.11 |
| Electrical Installation | 0.15 | 0.00 | 0.02 | 0.00 | 1.29 | 0.19 | 1.65 |
| Lines and Cable | 23.10 | - | 0.14 | - | - | - | 23.24 |
| Vehicle | 0.03 | - | 0.02 | - | - | 0.04 | 0.09 |
| Furniture & Fixture | 0.02 | 0.00 | - | - | - | 0.00 | 0.02 |
| Office Equipment | 0.16 | 0.03 | 0.05 | 0.01 | 0.15 | 5.07 | 5.47 |
| Total | 93.53 | 3.09 | 2.14 | 8.60 | 1.45 | 5.33 | 114.14 |
| OERC Approved | 110.50 |  |  |  |  |  |  |

The wing-wise and item wise actual R &M expenses incurred as against OERC approval for FY 2023-24 (up to December, 2023) is as under.

Unit wise /Item wise O&M Expenses for FY 2023-24 (up to December, 2023)       (Cr.)

| Wing\Item | O&M Division | Telecom | Construction | Civil | Store | IT& Others | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Plant & Machinery | 49.21 | 1.53 | 0.57 | 0.34 | - | 0.01 | 51.66 |
| Building | 0.05 | 0.00 | - | 3.25 | - | 0.00 | 3.30 |
| Civil Works | 0.15 | - | - | 0.21 | - | - | 0.35 |
| Electrical Installation | 0.09 | 0.00 | 0.00 | 0.00 | 0.35 | 0.05 | 0.49 |
| Lines and Cable | 20.85 | - | - | - | - | - | 20.85 |
| Vehicle | 0.00 | - | 0.02 | - | - | 0.01 | 0.03 |
| Furniture & Fixture | 0.00 | - | - | 0.00 | - | 0.02 | 0.02 |
| Office Equipment | 0.16 | 0.01 | 0.02 | 0.01 | 0.05 | 0.41 | 0.66 |
| Total | 70.51 | 1.55 | 0.61 | 3.80 | 0.40 | 0.50 | 77.37 |
| OERC Approved | 135.00 |  |  |  |  |  |  |

The Substations/Line equipment are changed / replaced based on two factors.

- Due to Failure

- When it exceeds its life span and based on condition monitoring or physical verification.

On both occasions, there is hardly any time for immediate procurement of the items. So OPTCL based on periodical reports makes a procurement plan for replacement of the items from the readymade available Budget i.e. R&M.  The items like replacement of CB, CT, LA, Isolator, Insulators, Station Transformers, Hardware fittings, Clamps and Conductors are small value items, which are procured to stock and best suited for inclusion in R&M Budget.

Further, Transformers have complete and self-sufficient protection system whereas protection system of the items like CB, CT, LA etc. are not and aligned with the life span of existing old system. So life span of aforesaid items can’t be predicted over 25/35 years. The physical as well as technological life span of these equipment are not suitable to be included in Capital Budget, whose recovery time is 25/35 years.  Hence, the items may be continued to be included in R & M Budget.  Replacement/installation of new Transformers, replacement of conductors etc. are kept in Capital Budget.

It may be noted that the major R&M works are carried out usually during the period January to march every year. Therefore, based on the scheduled planned maintenance for the year and in line with past trend, it is expected that the R&M expenditure for FY 2023-24 will be about Rs. 135 Cr.

Query No 11:

OPTCL has proposed an amount of Rs.47.52 Cr. towards engagement of 2282 Nos. of Security personal for watch & ward under R & M head. OPTCL should justify its requirement and inclusion in R & M and submit the related information (year wise from FY 2022-23 to till date) in the table mentioned below:

| Sl No. | Name of the Line/GSS | Voltage level | Nos. of Ckt. | Length in Ckt. Km. | Status of line (in service/ under construction) | Date of initial charging (if in service). Initial work order date(if under construction) | Nos. of Security Guards engaged | Expenditure per year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Reply of OPTCL:

The Watch & Ward expenditure of Grid substations and lines under O&M wing, E&MR & Telecom wings are essentially in the nature of O&M expenses. Hence, the same are booked under R&M expenses.

However, Watch & Ward expenditure relating to Head Office, Circle Offices and other Offices are booked under A&G expenses. All Watch & Ward expenditure relating to Construction Divisions are capitalised and booked under the respective projects.

The year wise information from FY 2022-23 to till date as per the prescribed table is furnished as Annexure-06.

Query No 12:

In Table-28, OPTCL has deducted 360 MU towards energy handled in distribution network from the total energy transmitted in OPTCL network. The basis and study undertaken by OPTCL to propose 360 MU loss in distribution system is to be submitted. Further, OPTCL should submit the details of DISCOM wise transaction made through 33kV & 11kV network for FY 2021-22, 2022-23 & 2023-24 up-to-date.

Reply of OPTCL:

OPTCL anticipates approximately 360MU of energy flow to DISCOMs directly in their 11kV & 33kV distribution network without involvement of OPTCL EHT network during the year 2024-25 based on Commission’s order. The details of such network of DISCOMs are outlined below:

1.  Energy flow from Chipilima Power House to TPWODL through TFR-I & II at 33kV voltage level.

- Energy flow from Burla Power House to TPWODL through 11kV Island Feeder.

3. Direct injection by Solar / Wind / Thermal plants to DISCOMs network at 11kV/33kV voltage level without involvement of OPTCL EHT network.

As per Hon’ble OERC common order dated 26.09.2012 passed in Case No. 53/2008 (WESCO vs. OPTCL) and Case No. 53/2012 (NESCO vs. OPTCL), OPTCL is not entitled to transmission charges for the above transaction of energy.

The DISCOM wise energy flow for 2020-21, 2021-22, 2022-23 & 2023-24 (upto Dec ’23) in the above manner directly to DISCOMs network is given hereunder.

| DISCOMS | 2020-21 | 2021-22 | 2022-23 | 2023-24 (Upto Dec-23) |
| --- | --- | --- | --- | --- |
| TPCODL | 3.65 | 3.63 | 8.07 | 8.49 |
| TPNODL | 1.93 | 3.50 | 1.49 | 12.39 |
| TPWODL | 240.37 | 251.15 | 250.15 | 195.03 |
| TPSODL | 50.36 | 50.46 | 53.06 | 31.84 |
| TOTAL | 296.31 | 308.75 | 312.76 | 247.75 |
| Approved | 200.00 | 200.00 | 300.00 | 300.00 |
| Increase/(Decrease) | 96.31 | 108.75 | 12.76 | (52.25) |

(Figures in MU)

Prorating FY 2023-24 and considering upcoming RE-generators, the expected energy flow will be to the tune of 360 MU for which OPTCL will not get transmission charges. Accordingly, OPTCL has projected 360 MU energy transaction to DISCOMs without involvement of OPTCL EHT network during FY 2024-25.

Query No 13:

OPTCL should furnish the details of actual expenditure incurred towards GCC for FY 2019-20, FY 2020-21, FY 2021-22, FY 2022-23, and FY 2023-24 up to date to justify their claim for 2024-25.

Reply of OPTCL:

The Hon’ble Commission had approved Rs. 0.43 Cr. towards GCC Expenses for FY 2019-20 vide order dated 29.03.2019 (Case No. 71/2018). During FY 2019-20, OPTCL incurred Rs.0.13 Cr. towards GCC expenses (GCC Meetings / Workshops / Performance Review Meetings).

The Hon’ble Commission had approved Rs. 0.50 Cr. towards GCC Expenses for FY 2020-21 vide order dated 21.04.2020 (Case No. 72/2019), Rs. 0.35 Cr. towards GCC Expenses for FY 2021-22 vide order dated 26.03.2021 (Case No. 73/2020) and Rs. 0.35 Cr. towards GCC Expenses for FY 2022-23 vide order dated 24.03.2022 (Case No. 105/2021) respectively. However, due to pandemic COVID 19, no expenditure has been booked on account of GCC during afore mentioned years as GCC meeting couldn’t be held.

The Hon’ble Commission had approved Rs. 0.35 Cr. towards GCC Expenses for FY 2023-24 vide order dated 23.03.2023 (Case No. 76/2022). So far there has been no expenditure during the 1st nine months of FY 2023-24 (April-Dec’ 23). However, OPTCL plans to conduct 17th GCC meeting / Workshops / Performance Review Meetings in the remaining period both at regional and corporate level and will utilize the allocated resources of Rs.35 lakh as approved in FY 2023-24.

Query No 14:

OPTCL should furnish the justification for consideration of energy i.e. 753 MU towards wheeling to industries from CGPs & emergency sale to CGPs. The details of wheeling charges collected from CGPs & others (both quantum and revenue) for FY 2021-22, 2022-23 & 2023-24 (up to date) may be submitted.

Reply of OPTCL:

For FY 2024-25 NALCO, IMFA, BEL & ABReL have projected their respective demands as 147.6 MU (Contracted capacity:10MW + Emergency & back up power:60 MU), 375 MU (Contracted capacity:360MU or 41.09MW + Emergency & back up power:15MU), 66 MU (Contracted capacity:7.5MW) & 164 MU (Contracted capacity:18.75MW). Accordingly, OPTCL has proposed 753 MU towards transmission of energy to industries from CGPs & emergency sale to CGPs in its ARR application for FY 2024-25. The correspondences received from the aforesaid CGPs (NALCO & IMFA) regarding their projection are attached as Annexure-07. Due to unpredictable nature of emergency & back up power, contracted capacity of NALCO & IMFA should be considered as 88 MU (10MW) & 360 MU (41.09MW) instead of 147.6 MU and 375 MU respectively. In case of BEL & ABReL, respective Contracted Capacity have been considered as per their LTOA applications. Hence revised figure of 678 MU shall be considered towards transmission of energy to industries from CGPs in ARR application of OPTCL for FY 2024-25 as per details below:-

| Name | Contracted Capacity | Transmission of energy to industries from CGPs(MU) | Emergency Sale to CGP( MU) |
| --- | --- | --- | --- |
| NALCO | 10.00 MW | 88.00 | 60.00 |
| IMFA | 41.09 MW | 360.00 | 15.00 |
| BEL | 07.50 MW | 66.00 | 0.00 |
| ABReL | 18.75 MW | 164.00 | 0.00 |
| Total |  | 678.00 | 75.00 |

The details of quantum of energy supplied to NALCO, IMFA, BEL & ABReL and revenue earned by OPTCL as transmission charge for 2021-22, 2022-23 & 2023-24 (April’ 23 – December’ 23)  has already been submitted in reply to query no. 07. The basis of raising the Transmission bills has been clarified through a letter of OERC on dated 01.02.2021 which is furnished as Annexure-08.

Additional submission towards referring to Open Access Transmission Charges;-

Para-362 of OPTCL’s ARR order dated 23.03.2023 in Case No. 76 of 2022 is depicted below:

“The Open Access charges i.e. cross subsidy surcharge, wheeling and transmission charges as determined by the Commission in its order passed in Case No.85, 86, 87 & 89 of 2022 for Open Access consumers of 1 MW and above shall be applicable.”

In this regard, it is pertinent to submit that, the Open Access charges towards transmission of electricity through OPTCL network is determined by Hon’ble Commission in the ARR & TT orders of OPTCL basing on the data/information submitted by OPTCL in its ARR & TT application for a respective FY. Similarly, the Open Access charges towards cross subsidy, wheeling etc. is determined by Hon’ble Commission in the RST & OA orders meant for DISCOMs basing upon such data as provided by DISCOMs in their respective RST & OA applications for a FY. Neither any data/information towards determination of Open Access Transmission charges is submitted by DISCOMs in their OA applications nor Open Access Transmission charges is approved by Hon’ble Commission in such OA orders of DISCOMs.

In view of above, it is humbly prayed before Hon’ble Commission to consider cross subsidy & wheeling charges of RST & OA orders of DISCOMs for cross reference in the ARR & TT orders of OPTCL and not for the transmission charges.

ARR & TT order of OPTCL may be referred exclusively for transmission charges whereas RST & OA orders of DISCOMs may be referred exclusively for cross subsidy & wheeling charges.

Query No 15:

OPTCL shall furnish the details of month wise quantum and revenue earned by OPTCL towards Inter-state & Intra-state wheeling, STOA and STU charge received from energy exchange for FY 2022-23 and 2023-24 (up to date). The details of STOA to be furnished in the table below:

| Year | No. of application received by SLDC | No. of application allowed by SLDC | Total Power (MW) transmitted through Open Access | Total Energy (MU) transmitted through Open Access | Amount collected by OPTCL (Rs. in Lakhs) |
| --- | --- | --- | --- | --- | --- |
| 2022-23 |  |  |  |  |  |
| 2023-24 (up to date) |  |  |  |  |  |

Reply of OPTCL:

The details of quantum and revenue earned by OPTCL towards Interstate wheeling for FY 2022-23  & FY 2023-24 (upto Nov’ 23)  are furnished below.

| YEAR | BILATERAL (MU) | TRANSMISSION CHARGES (₹ in Cr. ) | POWER EXCHANGE (MU) | TRANSMISSION CHARGES (₹ in Cr. ) |
| --- | --- | --- | --- | --- |
| FY 2022-23 | 3530.308 | 102.71 | 1948.732 | 55.32 |
| FY 2023-24 (Upto Nov’ 23) | 1198.415 | 29.43 | 1086.517 | 26.57 |

The details of quantum and revenue earned by OPTCL towards Intrastate wheeling for FY 2022-23  & FY 2023-24 (upto Nov’ 23)  are furnished below.

| INTRA STATE OPEN ACCESS TRANSACTION |  |  | MEDIUM TERM OPEN ACCESS |  |
| --- | --- | --- | --- | --- |
| YEAR | ENERGY (MU) | TRANSMISSION CHARGES (₹ in Cr. ) | ENERGY SCHEDULED (MU) | TRANSMISSION CHARGES (₹ in Cr. ) |
| FY 2022-23 | 5804.495 | 137.00 | NIL | NIL |
| FY 2023-24 (Upto Nov’ 23) | 2195.199 | 50.64 | NIL | NIL |

The details of STOA for FY 2022-23 & FY 2023-24 (up to Nov’ 23) are furnished below:

| Year | No of application received by SLDC | No of application allowed by SLDC | Total Power (MW) transmitted through Open Access | Total Energy (MU) transmitted through Open Access | Amount collected by OPTCL (Rs in Lakhs) |
| --- | --- | --- | --- | --- | --- |
| FY 2022-23 | 9139 | 9139 | 1288.075 | 11283.53529 | 13700.42 |
| FY 2023-24 (Upto Nov’ 23) | 5743 | 5743 | 765.050 | 4480.131083 | 5064.06 |

Query No 16:

OPTCL should furnish the softcopy of the transmission system outage data for FY 2022-23 (Annexure-6) in relation to the Transmission System Availability (TSA).

Reply of OPTCL:

The softcopy of the transmission system outage data for FY 2022-23 in relation to the Transmission System Availability (TSA) has already been submitted to OERC on the date of filing of ARR & TT application of OPTCL for FY 2024-25 i.e. 30.11.2023.

Query No 17:

OPTCL to submit the reports on major incidents in the approved format that occurred in their transmission system during the FY 2022-23 and FY 2023-24 up-to-date for which any part of the transmission system was affected.

Reply of OPTCL:

Reports on major incidents in the approved format that occurred in OPTCL Transmission system during the FY 2022-23 and FY 2023-24 up-to-date is hereby attached as Annexure-09.

Query No 18:

OPTCL should furnish the details of CAPEX Project (Under different wing) completed during FY 2022-23 and FY 2023-24 (up to-date) in the following format: -

| Sl No. | Name of the Project | Schedule date of completion | Approval of Commission (Transmission Plan, Business Plan & Investment Proposal) | Revised date of completion | Actual date of completion | Original estimated cost of the project/ work order no. & date | Revised cost | Actual Expenditure |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Reply of OPTCL:

The details of project completed during FY 2022-23 and FY 2023-24 upto-date as per the format prescribed by Hon’ble Commission is hereby attached as Annexure-10.

Query No 19:

OPTCL vide letter No 405 of O/o the Sr. GM (RT & C), OPTCL dated 20.10.2023 has submitted the assets register and CWIP position as on 31.03.2023 as per direction of the Commission in OPTCL’s Tariff order for FY 2023-24. As per preliminary scrutiny, the Commission observed that some important information is not provided in the assets register such as location of assets, without physical verification of assets and about its operational conditions. Further, OPTCL has not provided the CWIP position as on 31.03.2023 per the format prescribed by the Commission. In the above context, OPTCL should submit the assets register containing the aforesaid information and CWIP position as per the prescribed format by the Commission.

Reply of OPTCL:

As sought by OERC, OPTCL is in process of preparing the compliance to the aforesaid query and it will be submitted before OERC subsequently.

Query No 20:

As per Audited Accounts, OPTCL added Fixed Assets of   Rs. 751.03 Cr during FY 2022-23. It is required to furnish the Project wise, Scheme wise & Source of funding wise of above assets addition.

Reply of OPTCL:

The Project wise, Scheme wise & Source of funding wise fixed assets of Rs. 751.03 Cr. added during FY 2022-23 is furnished as Annexure-11.

Query No 21:

OPTCL should provide the detail information on Capital Work in Progress (CWIP) position of all wings as per Audited Accounts as on 31-03-2023 without approval of the Commission through investment proposal, if any, in the following prescribed formats:

Query No 22:

OPTCL should provide the detail information on Capital Work in Progress (CWIP) position of projects started/to be started on or after 01-04-2023 (including all upcoming projects of all wings) in the following prescribed formats:

Query No 23:

OPTCL should provide the detail information on Capital Work in Progress (CWIP) position of the projects started/to be started on or after 01-04-2023 (including all upcoming projects of all wings of all wings) without approval of the Commission through investment proposal, if any, in the following prescribed formats:

Reply of OPTCL:

Replies to queries no. 21, 22 & 23.

As per License Condition 10 read with Condition 23.1 of OPTCL, it is mandatory to take approval of the Commission, if the proposed investment is Rs.10.00 Cr. or beyond. Accordingly, due care has always been taken for approval of Hon’ble Commission for all the   projects having expenditure value above Rs. 10 Cr. OPTCL is executing various capital works under different wing whose estimated cost are within the threshold limit of Rs. 10 Cr. for which no investment proposal approval is required.

In compliance to queries no 21 to 23, most of the information are already provided in the prescribed F-2 format (refer page-187). For better understanding the construction works have been segregated into following three broad heads:-

- Constriction- own contribution (Debt-Equity): - Under this heads, the projects are funded by OPTCL or with the equity support of State Govt., on which OPTCL is entitled to get Depreciation, Interest on loan and Return on Equity  along with the operation and maintenance expenditure.

- Work Executed by GoO Funding:-  Under this heads, the projects are funded by State Govt. on which OPTCL is entitled to get only  the operation and maintenance expenditure.

- Deposit Works:- Under this heads, the projects are funded by beneficiaries on which OPTCL is entitled to get only  the operation and maintenance expenditure.

- Funding of the Capital expenditure of wings other than construction(O&M, Telecom, Civil , IT etc.) may be considered as own contribution (Debt-Equity).

As sought, the details of projects approved by OERC corresponding to F-2 is enclosed as Annexure-12 for your reference.

Query No 24:

The project proposed for FY 2024-25 must be based on the approved Transmission Plan, Business Plan (FY 2024-25 to FY 2026-27) and Investment Proposal. However, OPTCL has reported that it is revisiting the 14th Transmission Plan of OPTCL from FY 2022-23 to FY 2026-27. Upon initial scrutiny, it was discovered that OPTCL has not obtained approval for the revised 14th Transmission Plan and Business Plan for FY 2024-25 to FY 2026-27. OPTCL needs to provide justification for proposing the projects in this ARR & TT application without obtaining the necessary approval from the Commission.

Reply of OPTCL:

OPTCL always executes its projects which are either approved in Business Plan of OPTCL or Intra State Transmission Plan. Subsequently all the projects of OPTCL are approved in the Intra State Transmission Plan, Business Plan and Investment Proposal.

14th Intra State Transmission Plan of Odisha is being revisited considering the load projections of DISCOMs, upcoming industrial / urban growth, large scale integration of RE and the proposed green hydrogen project in Paradeep & Gopalpur area and expected generation addition during that time frame which will be shortly submitted before Hon’ble OERC for approval.

OERC vide order dated 11.06.2021 in Case No. 49/2021 has approved 14th intra-State Transmission Plan of OPTCL for the State of Odisha for the period FY 2022-23 to FY 2026-27. Meanwhile, 14th plan is being revisited as there is rapid change in industrial requirement linked with location of special zones thereby resulting into delay in finalization of location of upcoming Grid Sub-Stations and associated lines thereof. Since Transmission Plan is an integral part of Business Plan, a comprehensive system study incorporating the additional transmission projects for the period FY 2022-23 to FY 2026-27 is being carried out for which M/s PRDC has been engaged for consultancy support.

However, order has been placed on M/s PwC for availing consultancy support in preparation of Financial Plan and Modelling, Development of Business Plan and submission of the 3-Year Business Plan of OPTCL for 3rd Control period FY 2024-25 to FY 2026-27. In this regard, a kick-off meeting was held on 06.12.2023 seeking data/information from various wings to be incorporated in the Business Plan. Once complete shape is given to the said Business plan it will be filed before OERC for approval.

Query No 25:

OPTCL should furnish the detail information regarding Scheme-wise and Project wise infusion of Equity capital during FY 2022-23 and FY 2023-24 (till December-2023) by the Government including copy of sanction order & date of receive.

Reply of OPTCL:

The Scheme wise and project wise infusion of Equity capital during FY 2022-23 and FY 2023-24 (till December-2023) by the Government including copy of sanction order & date of receipt is enclosed as Annexure-13(A) & (B)  (colly).

Query No 26:

OPTCL may provide the soft copy of Asset Register & CWIP position as provided.

Reply of OPTCL:

The soft copy of Asset Register & CWIP position is being provided along with this submission.

Query No 27:

OPTCL should furnish the detail information regarding sources wise outstanding Loan position for the FY 2022-23 & FY 2023-24 (till December-2023) as per prescribed format below: Also provide soft copy of loan repayment schedules of all loans availed till 31-12-2023.

Reply of OPTCL:

The details of information regarding sources wise outstanding loan position for the FY 2022-23 & FY 2023-24 (till December-2023) as per prescribed format is enclosed as Annexure-14.

Query No 28:

OPTCL should furnish the detail information regarding Month-wise and component wise actual employee cost from April-2023 to December-2023.

Reply of OPTCL:

The Month-wise and item-wise employee cost from April, 2023 to December, 2023 is furnished as below:-

| Month | Basic Pay | Dearness Allowance | House Rent Allowance | Medical Allowance | Other Allowance |
| --- | --- | --- | --- | --- | --- |
| Apr-23 | 12,12,38,700.00 | 4,59,64,116.00 | 1,96,04,110.00 | 60,50,630.00 | 31,34,609.00 |
| May-23 | 12,03,81,919.00 | 4,57,23,811.00 | 1,94,79,839.00 | 60,16,207.00 | 31,42,588.00 |
| Jun-23 | 12,25,99,417.00 | 5,12,21,863.00 | 1,97,62,381.00 | 60,97,756.00 | 32,79,221.00 |
| Jul-23 | 12,17,00,348.00 | 5,09,64,206.00 | 1,96,63,460.00 | 60,66,972.00 | 32,81,111.00 |
| Aug-23 | 12,15,38,839.00 | 5,09,17,792.00 | 1,97,39,764.00 | 60,61,447.00 | 32,64,460.00 |
| Sep-23 | 12,12,11,403.00 | 5,07,80,269.00 | 1,97,03,076.00 | 60,45,076.00 | 33,60,775.00 |
| Oct-23 | 12,18,22,845.00 | 5,59,76,547.00 | 1,98,93,035.00 | 60,81,968.00 | 33,03,585.00 |
| Nov-23 | 12,11,37,120.00 | 5,57,11,345.00 | 1,97,91,834.00 | 60,56,662.00 | 35,94,848.00 |
| Dec-23 | 12,13,71,764.00 | 5,58,31,011.00 | 1,98,14,854.00 | 60,68,393.00 | 33,97,003.00 |

This apart, there are other employee costs other than allowances which have been paid to the employees based on their eligibilities.

Query No 29:

OPTCL should furnish the detail information regarding Month-wise actual Pension, Gratuity and Leave salary paid/incurred during FY 2022-23 & FY 2023-24 (till December-2023).

Reply of OPTCL:

The details of information regarding Month-wise actual Pension, Gratuity and Leave salary paid/incurred during FY 2022-23 & FY 2023-24 (till December-2023) is furnished in Annexure-15.

Query No 30:

Details of terminal benefits (Pension, Gratuity & Leave Salary) corpus allowed by Commission as against the actual amount of Investment during FY 2022-23 and FY 2023-24 (till December-2023) to be furnished. Actual interest accrued during FY 2022-23 and estimated for FY 2023-24 to be furnished. Audited accounts of FY 2022-23 of the above funds accounts to be submitted.

Reply of OPTCL:

Details of terminal benefits (Pension, Gratuity & Leave Salary) corpus actual amount of Investment during FY 2022-23 and FY 2023-24 (till December-2023) is furnished as Annexure-16. Actual interest accrued during FY 2022-23 and estimated for FY 2023-24 is furnished as Annexure-17. Audited accounts of FY 2022-23 of the above funds accounts is furnished as Annexure-18 (colly).

Query No. 31:

OPTCL is required to furnish the Income Tax Assessment Order of last three Assessment Years from FY 2022-23 to FY 2023-24.

Reply of OPTCL:

OPTCL is yet to receive the assessment orders for FY 2022-23 and FY 2023-24.

Query No. 32:

OPTCL is required to furnish a comparative statement of miscellaneous receipts (sources wise) approved by Commission and actual received by OPTCL during FY 2022-23 and FY 2023-24 (up to December -2022).

Reply of OPTCL:

A comparative statement of miscellaneous income (sources wise) approved by Commission and actual received by OPTCL during FY 2022-23 and FY 2023-24 (up to December -2023) is enclosed as Annexure-19.

Query No. 33:

OPTCL to clarify whether all items of expenses filed in the ARR of OPTCL for FY 2024-25 are excluding the SLDC expenses.

Reply of OPTCL:

Following expenses of SLDC has been included in the ARR of OPTCL.

- Terminal Liability expenses such as (Pension, Gratuity & Leave) of employee posted at SLDC.

- Construction of Multi-Storied Office Complex (G + 5) for SLDC at Mancheswar, BBSR (Civil Work) – Rs. 22.73 Cr.

- Improvement of SLDC Building at Mancheswar (providing paver block and outside repairing and painting) – Rs. 0.05 Cr.

- Construction of Main entrance gate with security shed at SLDC Mancheswar.:- Rs. 0.15 Cr.

Query No. 34:

OPTCL should furnish the year wise detail information on SLDC income, expenditure and surplus/ deficit if any up to FY 2022-23. Further, submit year wise detail information of SLDC surplus/ deficit fund transfer to SLDC development fund, their investment and interest earned over the period up to FY 2022-23.

Reply of OPTCL:

The year wise detailed information on SLDC income, expenditure and surplus/ deficit fund transfer to SLDC development fund, their investment and interest earned during the period from FY 2018-19 to FY 2022-23 is furnished in Annexure-20.

BY THE APPLICANT			                THROUGH

Bhubaneswar

Dt.   .01.2024

Sr. General Manager (RT&C)

# BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

CHUNOKOLI, SAILASHREE VIHAR, BHUBANESWAR

CASE NO. 113/2023

FILING NO. 2

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2024-25 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

Truing up application for the FY 2022-23 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

AND

IN THE MATTER OF: 	Odisha Power Transmission Corporation Limited, Janpath, Bhubaneswar

.…..  Applicant

# AND

IN THE MATTER OF:     Reply to the queries raised by the Hon’ble Commission vide letter No. 1850 dated 18.12.2023.

Affidavit verifying the submission

I, Sri Soumendra Kumar Mohanty, son of late Rakhal Chandra Mohanty aged about 59 years, residing in Bhubaneswar, do solemnly affirm and say as follows:

- That, I am the Senior General Manager of Regulation, Tariff & Commercial wing of OPTCL and have been duly authorized by the Applicant, OPTCL to make this affidavit on its behalf.

- That, the Statements made in paragraphs herein above are based on official information and I believe them to be true.

Bhubaneswar

Dt.    .01.2024								        DEPONENT

LIST OF ANNEXURES

| Annexure | Particulars | Page No. |
| --- | --- | --- |
| Annexure-1 | Month wise Transmission loss for FY 2022-23 |  |
| Annexure-2 | Month wise Transmission loss for 1st Six months of FY 2023-24 |  |
| Annexure- 03 | Details of construction of Multistoried office complex |  |
| Annexure- 04 | Loading pattern corresponding to the peak demand touched on 09th June, 2023 (without Vedanta) |  |
| Annexure- 05 | Loading pattern corresponding to the peak demand touched on 27th August, 2023 (with Vedanta) |  |
| Annexure- 06 | Year wise information w.r.t. security guards |  |
| Annexure- 07 | Correspondences received from CGPs (IMFA & NALCO) |  |
| Annexure- 08 | OERC letter dated 01.02.2021 towards clarification on billing |  |
| Annexure- 09 | Major incidents during FY 2022-23 and FY 2023-24 up-to-date |  |
| Annexure- 10 | Details of project completed during FY 2022-23 and FY 2023-24 upto-date |  |
| Annexure- 11 | Details of fixed asset addition in FY 2022-23 |  |
| Annexure- 12 | CAPEX projects corresponding to F-2 |  |
| Annexure- 13(A) | Details of Equity share infused by OPTCL during FY 2022-23 |  |
| Annexure- 13(B) | Details of Equity share infused by OPTCL during FY 2023-24 (upto 31.12.2023) |  |
| Annexure- 14 | The details regarding sources wise outstanding loan position for the FY 2022-23 & FY 2023-24 (till Dec-2023) |  |
| Annexure- 15 | Details of month wise Pension, Gratuity & Leave salary paid or incurred during FY 2022-23 & FY 2023-24 (till Dec’ 2023) |  |
| Annexure- 16 | Details of Corpus Fund & Investment as on 31-03-2023 of Terminal Benefit Trust |  |
| Annexure-17 | Details of Interest accrued during FY 2022-23 and estimated for FY 2023-24 |  |
| Annexure-18 | Audited reports of pension funds |  |
| Annexure-19 | Details of Miscellaneous income for FY 2022-23 & FY 2023-24 (upto December’ 2023) |  |
| Annexure-20 | Details of income & Expenditure of SLDC Transactions and SLDC Development Fund |  |