# BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO.4, OERC ROAD, SAILASHREE VIHAR, BHUBANESWAR-751021

CASE NO. 121/2025

FILING NO. 2

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2026-27 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

Truing up application for the FY 2024-25 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

AND

IN THE MATTER OF: 	Odisha Power Transmission Corporation Limited, Janpath, Bhubaneswar

.…..  Applicant

# AND

IN THE MATTER OF:     Reply to the queries raised by the Hon’ble Commission vide letter No. 1643 dated 24.12.2025.

The humble applicant above named

MOST RESPCTFULLY SHEWETH:

That in response to the queries raised by the Hon’ble Commission vide letter No. 1643 dated 24.12.2025 on OPTCL’s Aggregate Revenue Requirement (ARR) & Transmission Tariff Application for FY 2026-27 and Truing up application for the FY 2024-25, OPTCL humbly submits its reply to the queries along with the supporting documents / additional information in the following paragraphs for kind information of the Hon’ble Commission.

TECHNICAL

Query No 1: Transmission Loss

OPTCL should submit the month-wise calculation of Transmission Loss for FY 2024-25 & FY 2025-26 (upto December 2025) and the same should be duly certified by SLDC.

Reply of OPTCL: The month wise calculation of Transmission Loss for FY 2024-25 & FY 2025-26 (upto September 2025) duly certified by SLDC are enclosed as Annexure-01 & 02. From October-2025 to December-2025, GRIDCO & SLDC have been requested for providing the relevant data, which is awaited.

Query No 2: Transmission Loss

The Commission had approved the transmission loss of 3% for FY 2025-26, whereas the actual transmission loss submitted by OPTCL for FY 2024-25 was 3.09% and that from April 2025 to September 2025 was 3.07%. During previous years, OPTCL has made a lot of investment in the improvement of its transmission system and submitted supporting studies/ documents during the approval of projects about the expected reduction in loss in case of the addition of new transmission projects with the rise in demand. Therefore, OPTCL’s submission that the increased flow of power contributes to a rise in transmission loss needs a detailed justification.

Reply of OPTCL:

The actual transmission loss for the period Apr’ - Sep’ 2025 is calculated to be 3.07% as shown in the ARR & TT application for FY 2026-27 (page-205). This figure is less than the actual transmission loss during last year i.e. 3.09% for. FY 2024-25. In fact, OPTCL had projected Transmission loss of 3.05% for FY 2025-26, but Hon’ble Commission had set a target of 3.00% which could not be achieved yet.

In OPTCL system, the transmission loss is purely technical loss and a function of real time injection of power by a number of generators, system configuration and power flow requirements at different load centers. It depends on many parameters / factors such as distance and mismatch between generation and load centers, types of load, reactive power compensation, voltage profile, seasonal variation of demand load etc. Thus, OPTCL does not have much control over the same at any point of time. The transmission system of OPTCL operates as an integral part of the Eastern Region Grid to serve the internal demand of the State as well as to carry out import and export of power depending upon the system demand.

As a matter of fact, some grid s/s and lines are being constructed in many remote and deprived areas funded under Central & State Govt. schemes in the interest of public. Additional length in EHT lines and Sub-stations in under-loaded areas are also responsible for increase in transmission loss.

The Transmission Loss in OPTCL network is in a gradually reducing trend over the years i.e. from 3.73% during 2014-15 to 3.09% in 2024-25 and has remained 3.07%  within 1st six months of FY 2025-26 mainly due to addition of infrastructure and various system strengthening works taken up by OPTCL. The actual losses incurred over the years by OPTCL have been within the margin allowed by Hon’ble Commission up to the year FY 2017-18. However in FY 2018-19, the commission set the loss at 3.00% though the projected transmission loss was at 3.25% and thereafter the commission has been pegging the transmission loss at the same level though loss projected by OPTCL remained in a downward trend.

| Year | Tr. Loss proposed | OERC Approval | Actual |
| --- | --- | --- | --- |
| 2014-15 | 3.75% | 3.75% | 3.73% |
| 2015-16 | 3.75% | 3.75% | 3.67% |
| 2016-17 | 3.70% | 3.70% | 3.58% |
| 2017-18 | 3.50% | 3.50% | 3.34% |
| 2018-19 | 3.25% | 3.00% | 3.28% |
| 2019-20 | 3.25% | 3.00% | 3.25% |
| 2020-21 | 3.20 % | 3.00% | 3.22% |
| 2021-22 | 3.15% | 3.00% | 3.18% |
| 2022-23 | 3.10% | 3.00% | 3.15% |
| 2023-24 | 3.10% | 3.00% | 3.11% |
| 2024-25 | 3.05% | 3.00% | 3.09% |
| 2025-26 | 3.05% | 3.00% | 3.07% (1st six months ) |

From the table given above, it is also clear that each year upto FY 2017-18, the transmission loss achieved by OPTCL has remained at a level lower than the approved figures by Hon’ble commission and from FY 2018-19 the target set by Hon’ble OERC appears to be very stiff which was hard to achieve though the trend of lesser transmission loss year after year has been achieved.

It may kindly be appreciated that transmission (technical) losses are inevitable in power systems due to the fundamental laws of physics and become increasingly difficult to reduce beyond a certain threshold. Further, at the all-India level, transmission losses across different regions have consistently remained above 3.12%. To substantiate our viewpoint, the transmission loss data for various regions is presented below for the kind consideration of the Hon’ble Commission.

Transmission loss of Different Regions for FY 2023-24

| Region | Transmission loss |
| --- | --- |
| Northern Region | 3.15% |
| Western Region | 3.12% |
| Southern Region | 3.46% |
| Eastern Region | 4.24% |
| North Eastern Region | 3.89% |

(Courtesy: General Review 2025, Government of India, Ministry of Power, CEA attached as Annexure-03)

It may be observed that OPTCL’s transmission loss of 3.07% is lower than the average transmission losses of all regions.

However, as a responsible Transmission utility, OPTCL is making an all-out effort to reduce the transmission loss further by undertaking various system operation and loss reduction measures by implementing the emerging technologies like system Automation, load bifurcation, modification in system configuration, procurement of more efficient equipment, Digitalization of grids by using SAS, Protection system improvement using Busbar protection and Event Logger, Advanced Metering Infrastructure, Conversion of Radial to Ring system, construction of GSS at higher voltage levels (220kV & 400kV), Replacement of old conductors, HTLS conversion of overloaded lines etc. to bring it to 3.05% by FY 2026-27.

Query No 3: STAMS

Last year ARR & TT application (FY 2025-26), OPTCL had submitted that the actual expenditure towards the State Transmission Assets Management System (STAMS) was Rs.24.64 Cr. up to 30.09.2024. However, in the ARR & TT application for FY 2026-27, OPTCL has not shown any amount under the closing balance as on 31.03.2025, which may justify.

Reply of OPTCL:

OPTCL has undertaken the STAMS (State Transmission Asset Management System) Project, in collaboration with POWERGRID, in compliance with the advice of Hon’ble Commission in its Order dtd. 24.03.2022 against Case No. 105 of 2021 vide Para. 235 at Page 63, which is reproduced below.

“In line with National Asset Management Centre set up by Powergrid, which controls and monitors the Powergrid substations across the country, OPTCL may plan to set up State Level Asset Management Centre which will help to monitor and control their assets from a single location.”

As per the MOU, Rs. 101.18 Cr. has been paid to M/S PGCIL towards execution of STAMS project including consultancy charges as on date. As per accounting procedure, the amount paid to PGCIL has been booked as advance to PGCIL and the same will be accounted as CWIP after getting the utilization certificate (UC) from PGCIL.  Therefore, the amount has not been shown in FY 2023-24 & FY 2024-25 under CWIP considering pending UC.

Query No 4: Energy transmitted and revenue receipt

OPTCL should submit the actual energy transmitted (in MUs) and revenue receipts from DISCOMs, CGPs and other LTOA (licensee/customers-wise) for FY 2023-24, 2024-25 and 2025-26 (December 2025) for projection of demand for the ensuing year.

Reply of OPTCL:

The details of actual energy transmitted (in MUs) and revenue receipts from four DISCOMs and four LTOA customers for FY 2023-24, 2024-25 and 2025-26 (December 2025) is attached as Annexure-04.

Query No 5: STOA, MTOA & STU charges

OPTCL shall furnish the details of month-wise quantum and revenue earned by OPTCL towards Inter-state & Intra-state wheeling, STOA, MTOA and STU charges received from energy exchange for FY 2024-25 and 2025-26 (up to date). Further, the details of STOA are to be furnished in the table below:

| Year | No. of application received by SLDC | No. of application allowed by SLDC | Total Power (MW) transmitted through Open Access | Total Energy (MU) transmitted through Open Access | Amount collected by OPTCL (Rs. in Lakhs) |
| --- | --- | --- | --- | --- | --- |
| 2024-25 |  |  |  |  |  |
| 2025-26 (up to date) |  |  |  |  |  |

Reply of OPTCL:

The details of month-wise quantum and revenue earned by OPTCL towards Inter-state & Intra-state wheeling, STOA, MTOA and STU charges received from energy exchange for FY 2024-25 and 2025-26 (up to date) is attached as Annexure-05.

Query No 6:

OPTCL is directed to submit a detailed statement on the loading pattern of the existing transmission system, indicating the rated capacity, actual load in MW, percentage loading, and available transmission capacity, in respect of 400 kV, 220 kV and 132 kV power transformers and EHT transmission lines. The statement shall correspond to the system peak demand for FY 2024-25 and FY 2025-26 (up to date), both including and excluding Vedanta drawal.

Reply of OPTCL:

A statement on the loading pattern of the existing transmission system (400kV, 220kV, 132kV power transformers and EHT lines) corresponding to the peak demand of the state with Vedanta of 7069.89 MW touched on 12th Aug 2025 at 24:00 hrs is attached as Annexure-06.  However, it is intimated that Vedanta load always stays in the system, therefore loading pattern without Vedanta load can’t be produced.

Query No 7:

OPTCL has projected capex of Rs. 63.48 Cr. under the Civil works head for the FY 2026-27. OPTCL should submit a report on the item-wise project cost and its break-up along with its justification, source of funding, progress and actual expenditure, if any, till date.

Reply of OPTCL:

The requisite information is attached as Annexure-07.

Query No 8:

OPTCL should submit the latest report on fault levels (both 3-phase to ground and single-phase to ground) of various EHT grid sub-stations where existing circuit breakers, isolators, and CTs are inadequate to handle because of reported industrialization and rapid rural electrification.

Reply of OPTCL:

Observations on Short Circuit Study from revised 14th Intra-state Transmission plan study

Year wise fault current of 400kV and 220kV substations (Three phase to ground and single line to ground) in kA exceeding 80% but within 100% and exceeding 100% of breaking capacity of respective circuit breakers are tabulated below.

- Fault Current of existing GSS during Summer peak Scenario:

Two nos. of 220kV substations are having more than 100% of rated fault current of their circuit breaker breaking capacity in different years as given below.

Short Circuit Results

| Sl. No. | Substation | 2022-23 |  |  |  | 2023-24 |  |  |  | 2024-25 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (3ɸ-G) fault | % | (1ɸ-G) fault | % | (3ɸ-G) fault | % | (1ɸ-G) fault | % | (3ɸ-G) fault | % | (1ɸ-G) fault | % |
|  |  | (kA) |  | (kA) |  | (kA) |  | (kA) |  | (kA) |  | (kA) |  |
| 400 kV |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Lapanga | 45 | 71 | 38 | 60 | 45 | 71 | 38 | 60 | 47 | 75 | 40 | 63 |
| 220 kV |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Budhipadar | 47 | 118 | 44 | 110 | 47 | 118 | 44 | 110 | 49 | 123 | 45 | 113 |
| 2 | Meramundali-A | 43 | 108 | 45 | 113 | 40 | 100 | 42 | 105 | 40 | 100 | 42 | 105 |

| 2025-26 |  |  |  | 2026-27 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (3ɸ-G) fault | % | (1ɸ-G) fault | % | (3ɸ-G) fault | % | (1ɸ-G) fault | % |
| (kA) |  | (kA) |  | (kA) |  | (kA) |  |
| 400 kV |  |  |  |  |  |  |  |
| 47 | 75 | 40 | 63 | 69 | 110 | 64 | 102 |
| 220 kV |  |  |  |  |  |  |  |
| 49 | 123 | 45 | 113 | 36 | 90 | 32 | 80 |
| 40 | 100 | 42 | 105 | 40 | 100 | 42 | 105 |

Recommendation:

- Meramundali-A, and Budhipadar 220 kV substations having 40kA breakers are presently in high fault level zones. It is recommended to upgrade the breaker of Meramunduli-A to 63kA, and upgrade the Budhipadar 220/132kV AIS to 400/220kV GIS to accommodate upcoming generations, and CGPs.

- Budhipadar 220 kV substations having 40kA breaker is in high fault level zones up to year 2025-26. Fault level is reducing in 2026-27, as Bhusana Steel and Aditya Alumina are shifted to Lapanga 400kV. It is recommended to upgrade the breaker to 63kA until the shifting.

After generation shifting, the Lapanga 400kV bus is recommended to be modified using a split bus arrangement to accommodate the existing breaker capacity.

OPTCL has taken some of the corrective measures as per the aforesaid recommendations of revised 14th Intra-state Transmission plan study report.

Query No 9:

OPTCL should submit the details of DISCOM-wise energy transactions (in MU) made through 33kV & 11kV networks for FY 2023-24, 2024-25 & 2025-26 up-to-date.

Reply of OPTCL:

The DISCOM wise energy transaction (in MU) through 33kV & 11kV networks for FY 2023-24, 2024-25 & 2025-26 (up-to-31.12.2025) are as hereunder.

| DISCOMS | 2023-24 | 2024-25 | 2025-26 (upto Dec-25) |
| --- | --- | --- | --- |
| TPCODL | 15.68 | 36.33 | 30.82 |
| TPNODL | 15.16 | 22.30 | 4.22 |
| TPWODL | 269.80 | 323.13 | 237.12 |
| TPSODL | 35.99 | 55.61 | 40.99 |
| TOTAL | 336.63 | 437.37 | 313.15 |
| Approved | 300.00 | 360.00 | 440.00 |

(Figures in MU)

Considering actual 33kV drawal for FY 2024-25 and factoring upcoming RE-generators, the projected energy flow will be to the tune of 440 MU for which OPTCL will not get transmission charges. Accordingly, OPTCL has projected 440 MU energy to be deducted towards energy handled in distribution network from the total energy transmitted in the OPTCL during FY 2026-27.

Query No 10:

OPTCL has not provided the inventory data in the required F-7 format, stating that it cannot be completed with the current accounting system in use. In light of this, OPTCL is required to submit the itemised inventory's latest position and procurement in hand.

Reply of OPTCL:

The inventory data as downloaded from SAP module is attached as Annexure-08 and procurement details for FY 2024-25 and FY 2025-26 is attached as Annexure-09.

Query No 11:

OPTCL to submit the reports on major incidents in the approved format that occurred in their transmission system during the FY 2024-25 and FY 2025-26, up-to-date, for which any part of the transmission system was affected.

Reply of OPTCL:

The major tripping details for FY 2024-25 and FY 2025-26 is attached as Annexure-10.

Query No 12:

OPTCL is required to furnish the item-wise R & M expenses as proposed in the ARR filing and the corresponding actual expenses incurred by OPTCL for FY 2024-25 & 2025-26 (up to December 2025).

Reply of OPTCL:

The R&M expenditure of OPTCL for FY 2024-25 and FY 2025-26 (up to Dec’ 2025) is attached as Annexure-11.

It may be noted that the major R&M works are being carried out usually during working season i.e. from January to March of every year. OPTCL has planned for additional R&M expenditure apart from the usual trend towards the following, Renovation works like re-metaling, fencing works, illumination, repairing of approach roads & boundaries, Earth pit maintenance & provision of contour & tripod earthing, provision of mandatory spares for AIS/GIS substations, provision of Binoculars/High beam torch lights for Grid Substations, provision of common entry gate for all GSSs, replacement of OIP bushings with RIP bushings & replacement of porcelain LA with Polymer LA near transformers, strengthening of LA earthing & provision of LA monitors, Control room building & store maintenance, Cable trench & drainage system maintenance etc. of old grid substations, renovation works of EHT lines like revetment, recouping, putting tower footing earthing resistance, provision of TLAs (Transmission Lighting Arrestor), replacement of DISC insulators at all Road crossing and all tension points, replacement of multi-midspan joints & rectification of lines with intermittent PG clamps, tower painting, jumper replacement, stub repairing, AI based line patrolling, maintaining statutory clearance (with interposing towers) and miscellaneous works like provision of firefighting system for transformers, AMC for SAS, GPS based synchronizing equipment, cranes & lifts etc, Sanitation, reconditioning of 20MVA, 40MVA & 100MVA  power transformers, Inspection Fees, procurement of Safety shoe, jacket, harness, helmet etc., Engagement of Security personnel and Jhulla & Tower Climbers, procurement of towers/structures/hardware fittings, Power & Control cables and Battery & chargers, Replacement of old ACDB & DCDB, Repair & replacement of old testing equipment, procurement of T&P materials.

It is pertinent to mention that statutory payments such as salaries of security personnel, Jhula and tower climbers, inspection fees, etc., are incurred on a regular monthly basis. However, expenditure towards grid and line maintenance works is generally booked towards the end of the financial year based on the bills submitted, i.e., after completion of the respective works during the working season. Consequently, R&M expenditure remains relatively low during the first nine months of the year, whereas nearly 40% of the total expenditure is accounted for during the last three months. As of December 2025, about ₹140 crore has been incurred towards R&M works, and for the full financial year, the total expenditure is expected to be ₹199 crore. Accordingly, an amount of ₹259.65 crore is proposed towards R&M expenditure for FY 2026–27 to ensure the smooth and reliable operation of the OPTCL network.

Query No 13:

OPTCL has projected a substantial amount towards the replacement of Circuit breakers, Station Transformer, surge arrestor, CT, PT/CVT, Isolator, Battery & Charger, and Relays under the R&M head. The above works are capital in nature but inclusion of the same under R&M works needs justification.

Reply of OPTCL:

The Substations/Line equipment are changed / replaced based on two factors.

- Due to Failure

- When it exceeds its life span and based on condition monitoring or physical verification.

On both occasions, there is hardly any time for immediate procurement of the items. So, OPTCL based on periodical reports makes a procurement plan for replacement of the items from the readymade available Budget i.e. R&M.  The items like replacement of CB, CT, LA, Isolator, Insulators, Station Transformers, Hardware fittings, Clamps and Conductors are small value items, which are procured to stock and best suited for inclusion in R&M Budget. 	Further, Transformers have complete and self-sufficient protection system whereas protection system of the items like CB, CT, LA etc. are not and aligned with the life span of existing old system.  Hence, the items may be continued to be included in R & M Budget.  Replacement/installation of new Transformers, replacement of conductors etc. are kept in Capital Budget.

As per the Principle of accounting, Repairs means maintain the fixed asset in its original operating condition. Ordinary repairs are expenditures made to maintain plant assets in operating condition. Preventive maintenance, normal periodic repairs, replacement of parts, structural components, and other activities such as repainting, equipment adjustments, that are needed to maintain the asset so that it continues to provide normal services should not be capitalized. Sometimes all the cost of repairs will not be charged to the profit and loss account when it is incurred; it may be 'capitalised' with relief being spread/increasing over a number of years. When the costs extend the useful life of an existing asset or increase its productive capacity, then they are considered to be capital expenditures instead of Repair. In this case, the cost is capitalized into a fixed asset, and then charged to expense over time through a periodic depreciation charge.

For example: A manufacturing facility replaces an electric motor on one of its machines. This cost should be charged to expense at once, since the action taken only restores the condition of the machine. In addition, the facility installs a larger motor on another machine, to increase its capacity. This cost should be capitalized.

Query No 14:

OPTCL has proposed an amount of Rs.54.92 Cr. towards the engagement of Security personnel for watch & ward under the R & M head. OPTCL should justify its requirement and inclusion in R & M and submit the related actual information (year-wise of FY 2024-25 & FY 2025-26 upto date) and proposed for FY 2026-27 as per the format given below:

| Sl No. | Name of the Line/GSS/ office | Voltage level | Nos. of Ckt. | Length in Ckt. Km. | Status of line (in service/ under construction) | Date of initial charging (if in service). Initial work order date (if under construction) | Nos. of Security Guards Engaged. | Actual/proposed Expenditure |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Reply of OPTCL:

Total watch & ward expenditure projected for the FY 2026-27 is Rs. 59.04 Cr. as detailed below:

1. Watch & Ward expenditure of Grid substations and lines under O&M wing, E&MR & Telecom wings are essentially in the nature of O&M expenses. Hence, the same are booked under R&M expenses. Accordingly, an amount of Rs. 54.92 Cr. has been projected under R&M budget for watch & ward of security guards posted in GSS & lines.

2. Watch & Ward expenditure relating to Head Office, Circle Offices and other Offices are booked under A&G expenses. Accordingly, Rs. 4.10 Cr. has been projected towards watch & ward under A&G budget. All Watch & Ward expenditure relating to Construction Divisions are capitalised and booked under the respective projects.

The year wise information from FY 2024-25, FY 2025-26 and FY 2026-27 as per the prescribed table is furnished as Annexure-12. Further, watch and ward engagement norms is attached as Annexure-13.

Query No 15:

OPTCL should furnish the details of the CAPEX Project (Under different wing) completed during FY 2024-25 and FY 2025-26 (up-to-date) in the following format: -

| Sl. No. | Name of the Project | Schedule date of completion | Approval of Commission (Transmission Plan, Business Plan & Investment Proposal) | Revised date of completion | Actual date of completion | Original estimated cost of the project/ work order no. & date | Revised cost | Actual Expenditure | Actual cost capitalised |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Reply of OPTCL:

The details of Completed projects under project wing is attached as Annexure-14.

Query No 16:

In compliance with the direction of the Commission at para 226 of the Transmission tariff order dated 23.03.2025 of FY 2025-26, OPTCL has not submitted its assets register as on and CWIP position in the prescribed format. Therefore, OPTCL should submit the assets register containing the aforesaid information and CWIP position as per the prescribed format by the Commission.

Reply of OPTCL:

The requisite Asset Register and CWIP position of OPTCL as on 31.03.2025 is attached as Annexure-15 and Annexure-16 respectively.

Query No 17:

As per the Audited Accounts, OPTCL has capitalised fixed assets amounting to ₹529.84 crore during FY 2024-25. OPTCL is directed to furnish project-wise and scheme-wise details, along with the source-wise break-up of funding, in respect of the aforesaid asset additions. Further, OPTCL shall clearly indicate, against each asset, the details of time overruns and cost overruns, if any, with reference to the original approval accorded by the Commission, duly supported with justification.

Reply of OPTCL:

The requisite details of capitalized fixed assets amounting to ₹529.84 crore during FY 2024-25 is attached as Annexure-17.

Query No 18:

OPTCL has submitted the Capital Work in Progress (CWIP) position as on 31.03.2025, FY 2025-26 and proposed for FY 2026-27 in F-2 format.  However, some additional information is required to be submitted in the prescribed format:

- Capital Work in Progress (CWIP) position of all wings as per Audited Accounts as on 31-03-2025 in the following prescribed formats:

- Capital Work in Progress (CWIP) position of projects started/to be started on or after 01-04-2025 (including all upcoming projects of all wings) in the following prescribed formats:

Reply of OPTCL:

The CWIP position of all wings as on 31.03.2025 as per F-2 format and OERC requisite format is attached as Annexure-18.

The CWIP position of projects started/ to be started on or after 01.04.2025 for all wings as per F-2 format and OERC requisite format is attached as Annexure-19.

Query No 19:

OPTCL should furnish detailed information in the following prescribed format regarding Scheme-wise and project-wise infusion of Equity capital during FY 2024-25 and FY 2025-26 (till December 2025) by the Government including copies of sanction orders & date of receipt.

Reply of OPTCL:

Scheme-wise and project-wise infusion of Equity capital during FY 2024-25 and FY 2025-26 (till December 2025) by the Government including copies of sanction orders & date of receipt is attached as Annexure-20.

Query No 20:

OPTCL should furnish the detailed information regarding source-wise outstanding Loan position for the FY 2024-25 & FY 2025-26 (till December 2025) as per the prescribed format below: Also provide the soft copy of the loan repayment schedules of all loans availed till 31-12-2025.

Reply of OPTCL:

The details of information regarding sources wise outstanding loan position for the FY 2024-25 & FY 2025-26 (till December-2025) as per prescribed format is enclosed as Annexure-21.

Query No 21:

OPTCL should furnish the detailed Cash flow statement for FY 2025-26 (till December 2025).

Reply of OPTCL:

Cash flow statement for FY 2025-26 (till December-2025) is attached as Annexure-22.

Query No 22:

OPTCL should furnish detailed information regarding Month-wise and component-wise actual employee costs from April 2025 to December 2026.

Reply of OPTCL:

The Month-wise and item-wise employee cost from April, 2025 to December, 2025 is furnished as below:-

Rs. In Lakhs

| Month | Basic Pay | Dearness Allowance | House Rent Allowance | Medical Allowance | Other Allowance |
| --- | --- | --- | --- | --- | --- |
| Apr-25 | 1,268.80 | 696.71 | 209.95 | 63.44 | 54.09 |
| May-25 | 1,289.12 | 707.89 | 213.97 | 64.43 | 58.39 |
| Jun-25 | 1,269.31 | 694.75 | 210.82 | 63.47 | 108.31 |
| Jul-25 | 1,260.88 | 690.11 | 209.73 | 63.04 | 65.73 |
| Aug-25 | 1,247.85 | 682.95 | 208.36 | 62.39 | 65.64 |
| Sep-25 | 1,259.96 | 689.70 | 211.34 | 63.00 | 69.60 |
| Oct-25 | 1,259.56 | 727.23 | 210.74 | 62.98 | 65.95 |
| Nov-25 | 1,259.80 | 726.42 | 209.78 | 62.99 | 68.43 |
| Dec-25 | 1,237.08 | 713.90 | 206.96 | 61.85 | 62.98 |

This apart, there are other employee costs other than allowances which have been paid to the employees based on their eligibilities.

Query No 23:

OPTCL is required to furnish detailed information regarding the outsourced personnel against which Rs.7.01 Cr. has been proposed for FY 2026-27.

Reply of OPTCL:

The details of outsourced personnel to the tune of Rs. 7.01 Cr. is attached as Annexure-23.

Query No 24:

OPTCL should furnish detailed information regarding the Month-wise actual Pension, Gratuity and Leave salary paid/incurred during FY 2024-25 & FY 2025-26 (till December 2025).

Reply of OPTCL:

The details of information regarding month-wise actual Pension, Gratuity and Leave salary paid/incurred during FY 2024-25 & FY 2025-26 (till December-2025) is furnished as Annexure-24.

Query No 25:

OPTCL may furnish the audited accounts and Actuary report of terminal benefits (Pension, Gratuity & Leave Salary) for the FY 2024-25.

Reply of OPTCL:

Audited accounts of FY 2024-25 of Pension, Gratuity & Leave Salary Trusts are furnished as Annexure- 25, 26 & 27 respectively.

Similarly, Actuary report of FY 2024-25 of Pension, Gratuity & Leave Salary Trusts are furnished as Annexure- 28, 29 & 30 respectively.

Query No 26:

OPTCL is required to furnish the final Order of Income Tax return of the Assessment Years FY 2023-24, FY 2024-25 & FY 2025-26.

Reply of OPTCL:

Final order of income tax return for assessment year 2023-24 and 2024-25 are attached as Annexure-31 and Annexure-32. However, it is intimated that final order of income tax return for AY 2025-26 is not yet pronounced, therefore that could not be provided.

Query No 27:

OPTCL is required to furnish a comparative statement of miscellaneous receipts (source-wise) approved by the Commission and actually received by OPTCL during FY 2025-26 (up to December 2025)

Reply of OPTCL:

A comparative statement of miscellaneous receipts (source-wise) approved by the Commission and actually received by OPTCL during FY 2025-26 (up to November 2025) is attached as Annexure-33.

Query No 28:

OPTCL to clarify whether all items of expenses filed in the ARR of OPTCL for FY 2026-27 exclude the SLDC expenses.

Reply of OPTCL:

Following expense of SLDC has been included in the ARR of OPTCL.

- Terminal Liability expenses such as (Pension, Gratuity & Leave) of employee posted at SLDC.

Query No 29:

OPTCL should furnish detailed information on SLDC surplus/ deficit fund transfer to the SLDC development fund, their investment and interest earned during FY 2024-25.

Reply of OPTCL:

The details of SLDC development fund for FY 24-25 is attached as Annexure-34.

BY THE APPLICANT			              THROUGH

Bhubaneswar

Dt. 09.01.2026

Sr. General Manager (RT&C)

# BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO.4, OERC ROAD, SAILASHREE VIHAR, BHUBANESWAR-751021

CASE NO. 121/2025

FILING NO. 2

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2026-27 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

Truing up application for the FY 2024-25 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

AND

IN THE MATTER OF: 	Odisha Power Transmission Corporation Limited, Janpath, Bhubaneswar

.…..  Applicant

# AND

IN THE MATTER OF:     Reply to the queries raised by the Hon’ble Commission vide letter No. 1643 dated 24.12.2025.

Affidavit verifying the submission

I, Sri Naba Kishore Barik, son of Late Shyam Sundar Barik, aged about 59 years, residing at Cuttack, do solemnly affirm and say as follows:

- That, I am the Senior General Manager of Regulation, Tariff & Commercial wing of OPTCL and have been duly authorized by the Applicant, OPTCL to make this affidavit on its behalf.

- That, the Statements made in paragraphs herein above are based on official information and I believe them to be true.

Bhubaneswar

Dt.  09.01.2026								        DEPONENT

LIST OF ANNEXURES

| Annexure | Particulars | Page No. |
| --- | --- | --- |
|  | Petition | 1-17 |
| Annexure-01 | Month wise Transmission loss for FY 2024-25 | 18-21 |
| Annexure-02 | Month wise Transmission loss for FY 2025-26 (upto Sept-25) | 22-24 |
| Annexure- 03 | Transmission loss extract from General Review 2025, MoP, CEA Report | 25-26 |
| Annexure- 04 | Revenue Received from LTOA Customers | 27 |
| Annexure- 05 | Revenue Received from STOA | 28 |
| Annexure- 06 | Loading details | 29-57 |
| Annexure- 07 | Details of Civil CAPEX with justification | 58-72 |
| Annexure- 08 | Inventory details till 07.01.2026 | Soft copy |
| Annexure- 09 | Details of equipment purchased for FY 2024-25 and FY 2025-26 | 73-79 |
| Annexure- 10 | Major incidents for FY 2024-25 and FY 2025-26 (upto date) | 80-101 |
| Annexure- 11 | R&M expenditure details for FY 2024-25 and FY 2025-26 (upto Dec’ 25) | 102-103 |
| Annexure- 12 | Details of security personnel deployment | 104-198 |
| Annexure- 13 | Security personnel deployment norm | 199 |
| Annexure- 14 | Details of projects completed in FY 2024-25 and FY 2025-26 (upto Dec-2025) | 200-202 |
| Annexure-15 | Fixed Asset Register as on 31.03.2025 | Separate book |
| Annexure-16 | CWIP position as on 31.03.2025 | 203-226 |
| Annexure- 17 | Statement of addition of assets in FY 2024-25 | 227-248 |
| Annexure-18 | CWIP position as on 31.03.2025 | 249-255 |
| Annexure-19 | CWIP position on or after 01.04.2025 | 256-259 |
| Annexure- 20 | Equity infusion in FY 2024-25 & FY 2025-26(up to Dec-25) with sanction orders | 260-293 |
| Annexure-21 | Loan statement for FY 2024-25 & FY 2025-26(up to Dec-25) | 294-295 |
| Annexure-22 | Cash flow statement for FY 2025-26 (up to Dec-25) | 296 |
| Annexure-23 | Details of outsourced personnel for FY 2026-27 | 297-301 |
| Annexure-24 | Actual Pension, Gratuity and Leave salary paid in FY 2024-25 & FY 2025-26(up to Dec-25) | 302-304 |
| Annexure-25, 26 & 27 | Audited accounts of Pension, Gratuity and Leave salary trust fund for FY 2024-25 | 305-336 |
| Annexure-28, 29 & 30 | Actuary report of Pension, Gratuity and Leave salary trust fund for FY 2024-25 | 337-414 |
| Annexure-31 & 32 | Income tax return order for AY 2023-24 and FY 2024-25 | 415-444 |
| Annexure-33 | Miscellaneous receipts for FY 2025-26 (up to Nov-25) | 445 |
| Annexure-34 | Details of SLDC Development fund for FY 2024-25 | 446-447 |