## 36053242
Unit Code | Account | Name of the Asset | Scheme(Own/Deposit work/Any other scheme). | Quantity | Value | Location of Use. | Make & Model of the Asset. | Date of put to use. | Rate of Depreciation. | Depreciation during the Year. | Asset transfor
2 | 10.3.20 | Samsung LED TV | own | 1 | 20500 | OPTCL Hqrs | Samsung | 2024-06-28 | 6.33 | 985 | Direct Purchase
2 | 10.3.20 | Samsung LED TV | own | 1 | 48500 | OPTCL Hqrs | Samsung | 2024-06-28 | 6.33 | 2330 | Direct Purchase
2 | 10.7.20 | vehicle Registration | own | 1 | 60000 | OPTCL Hqrs | Remark-Dep. should be limited upto 90% so Accumulated Dep. should be Rs.54000/- | 2011-03-31 | 9.5 | 79878 | Direct Purchase
2 | 10.8.20 | Almirah | own | 1 | 16520 | Company secretary |  | 2024-04-06 | 6.33 | 1031 | Direct Purchase
2 | 10.8.20 | Vaccum Cleaner | own | 1 | 14399 | PTC,Chandaka | Eurika forbes | 2024-12-31 | 6.33 | 227 | Direct Purchase
2 | 10.8.20 | revolving chair with arm synchronic tilt nechanism | own | 1 | 512760 | OPTCL Hqrs |  | 2024-04-30 | 6.33 | 29879 | Direct Purchase
2 | 10.8.20 | Teak wood beds, mattress & side tables | own | 1 | 95729 | PTC, Chandaka |  | 2024-06-25 | 6.33 | 4648 | Direct Purchase
2 | 10.8.20 | steel frame ACP rectro print boad fixed at Tech Tower, OPTCL | own | 1 | 48262 | Tech Tower, OPTCL |  | 2024-07-09 | 6.33 | 2226 | Direct Purchase
2 | 10.8.20 | 2.0 TR hitachi split AC | own | 5 | 639358 | OPTCL Hqrs | 2.0 TR hitachi split AC | 2024-06-01 | 6.33 | 33708 | Direct Purchase
2 | 10.8.30 | Godrej foldable Table | own | 8 | 499810 | OPTCL Hqrs | Godrej | 2025-01-04 | 6.33 | 7541 | Direct Purchase
2 | 10.9.20 | Computers, and IT Peripherals | own | 1 | 682926 | OPTCL Hqrs |  | 2022-02-28 | 15 | 316578 | Direct Purchase
2 | 10.9.20 | PC, Desktop, Laptop & Multifunction Of Printers | own | 1 | 16659005 | OPTCL Hqrs |  | 2024-05-31 | 15 | 2088081 | Direct Purchase
2 | 10.9.20 | Computers, and IT Peripherals | own | 1 | 249370 | OPTCL Hqrs |  | 2024-03-31 | 15 | 37508 | Direct Purchase
2 | 10.9.20 | canon printers | own | 1 | 296759 | OPTCL Hqrs | Canon | 2022-07-31 | 15 | 118907 | From CWIP
2 | 10.9.30 | Net Working System | own | 1 | 481187 | OPTCL Hqrs | Wizertech Pvt Ltd | 2024-12-31 | 6.33 | 7594 | Direct Purchase
2 | 10.9.30 | BSNL Internet Hardware at the Residential office | own | 1 | 98648 | OPTCL Hqrs | BSNL | 2025-02-06 | 6.33 | 924 | Direct Purchase
2 | 10.9.30 | Net Working System | own | 1 | 953110 | OPTCL Hqrs | M/s ES2 Software | 2024-06-30 | 6.33 | 45456 | Direct Purchase
2 | 10.9.60 | PC, Desktop, Laptop & Multifunction Of Printers | own | 1 | 4299895 | OPTCL Hqrs |  | 2024-05-31 | 6.33 | 227441 | Direct Purchase
2 | 10.9.60 | Canon printer | own | 1 | 71803 | CMD Office ,OPTCL | Canon | 2025-01-30 | 6.33 | 760 | Direct Purchase
2 | 10.9.92 | Cell Phone | own | 1 | 30000 | OPTCL Hqrs |  | 2024-11-21 | 6.33 | 682 | Direct Purchase
2 | 10.9.92 | Cell Phone | own | 1 | 25000 | OPTCL Hqrs |  | 2025-01-17 | 6.33 | 321 | Direct Purchase
2 | 10.9.95 | BP instrument | own | 2 | 5000 | OPTCL Hqrs |  | 2025-02-03 | 6.33 | 49 | Direct Purchase
2 | 10.9.95 | Panasonic Solo Microwave Oven | own | 2 | 12600 | OPTCL Hqrs | Panasonic Solo Microwave Oven | 2024-06-28 | 6.33 | 605 | Direct Purchase
132 | 10.3.20 | LED Lights 20W (35 Nos.) | Own | 35 | 28910 | CR & SLDC Office | Havells | 2024-06-01 | 6.33 | 1524 | Direct Purchase
132 | 10.3.20 | LED Lights 36W (30 Nos.) | Own | 30 | 51330 | CR & SLDC Office | Havells | 2024-06-01 | 6.33 | 2706 | Direct Purchase
132 | 10.3.40 | 16sqmm 4 Core LT Cable Laying for Street Light (372 m) | Own | 372 | 93937 | SLDC Colony | LT Alluminum Armoured Cable | 2024-11-12 | 6.33 | 2281 | Direct Purchase
132 | 10.5.90 | Bush Cutting Machine (STIHL-FS-250) 1No. | Own | 1 | 44000 | SLDC Garden | STIHL-FS-250 | 2024-08-13 | 5.28 | 1470 | Direct Purchase
132 | 10.9.20 | DELL Work Station with Intel Core i9 & i7 Processor | Own | 2 | 1272486 | SLDC Office & IIITDM | DELL | 2024-02-22 | 15 | 211268 | From CWIP
132 | 10.9.20 | DIGISOL WIFI SETUP 1 Set | Own | 1 | 99578 | SLDC Office | DIGISOL | 2024-09-11 | 15 | 8266 | Direct Purchase
132 | 10.9.20 | 2TB External SSD Scandisk (2 No.s) | Own | 2 | 32000 | SLDC Office | Scandisk | 2025-01-29 | 15 | 815 | Direct Purchase
132 | 10.9.92 | Samsung Galaxy A34 5G 128GB Phone 1 No. | Own | 1 | 24500 | SLDC CR | Samsung A34 | 2024-05-17 | 6.33 | 1355 | Direct Purchase
132 | 10.9.92 | Samsung Galaxy A34 5G 128GB Phone 1 No. | Own | 1 | 24500 | SLDC CR | Samsung A34 | 2024-10-24 | 6.33 | 676 | Direct Purchase
132 | 10.9.95 | Bullet Camera Hik Vision 2 No.s | Own | 2 | 21299 | SLDC Office | HikVision | 2025-02-06 | 6.33 | 199 | Direct Purchase
132 | 10.9.95 | Alluminium Ladder 1 No. | Own | 1 | 90825 | SLDC Office | Deepak Suppliers | 2024-08-27 | 6.33 | 3418 | Direct Purchase
132 | 10.9.95 | 400mm Wall Fan Crompton 1 No. | Own | 1 | 2773 | SLDC Office | Crompton | 2024-11-28 | 6.33 | 60 | Direct Purchase
132 | 10.9.95 | Induction Cook Top Bajaj (1 No.) | Own | 1 | 3100 | Dir Ofc at HQ | Bajaj SC-E201052423637 | 2024-12-05 | 6.33 | 63 | Direct Purchase
133 | 10.9.95 | bush cutter | Own Asset | 1 | 25559 | EHT O&M Circle Cuttack | "STIHL,Model-FS230,Sl.No.- | 2024-12-07 | 6.33 | 510 | Direct Purchase
134 | 10.5.30 | Construction of 33KV dedicated fdr. Bay for Mega lift Irrigation project at 220/33KV Grid s/s Rengali. | Deposit Work | 1 | 686645 | EHT (O&M) Division, Chainpal | Line Diversion- TTPS | 2018-10-31 | 5.28 | 232826 | From CWIP
134 | 10.6.30 | Diversion of 220KV TTPS-Joda DC line from loc. No. 4 to 9 -TTPS plant Exp.-Bharat Sahoo. | Deposit Work | 1 | 12026587.4 | EHT (O&M) Division, Chainpal | Line Diversion- TTPS | 2024-12-30 | 5.28 | 160056 | From CWIP
134 | 10.6.30 | Diversion work of 220kv TTPS-Meramundali DC line (Loc.01 to 05) TTPS plant Exp.-Manaranjan Enterprises | Deposit Work | 1 | 186776 | EHT (O&M) Division, Chainpal | Line Diversion- TTPS | 2023-04-19 | 5.28 | 19264 | From CWIP
134 | 10.6.30 | Survey of 220-Kv TTPS- JODA DC line from Loc 04 to Loc 09 of TTPS Plant Expansion | Deposit Work | 1 | 108619 | EHT (O&M) Division, Chainpal | Line Diversion- TTPS | 2024-12-30 | 5.28 | 1446 | From CWIP
134 | 10.6.30 | Diversion work of 220 KV TTPS - Joda DC line from Loc 04 to 09 towards 24F OPGW (DWSM) Fibre Optical Cable for TTPS expansion project (JBS/ Renuka Infra) | Deposit Work | 1 | 223254 | EHT (O&M) Division, Chainpal | Line Diversion- TTPS | 2024-12-30 | 5.28 | 2971 | From CWIP
134 | 10.6.30 | Diversion of 220-KV TTPS- Kaniha- Rengali DC line from Loc no. 06 to Loc no. 12 of TTPS Expansion. { KPCPL) | Deposit Work | 1 | 12392943.85 | EHT (O&M) Division, Chainpal | Line Diversion- TTPS | 2025-01-04 | 5.28 | 155968 | From CWIP
135 | 10.5.40 | Augmentation of sub-station capacity of 132/33 KV GSS MANIA (1*12.5+1*20)MVA to (1*12.5+1*20+1*40)MVA along with construction of 3rd 132KV Transformer Bay by Krishna Power Construction PVT LTD | own | 1 | 57895336.3 | 132/33KV GSS MANIA |  | 2025-03-28 | 5.28 | 33500 | From CWIP
135 | 10.5.87 | Distilled water plant | own | 1 | 15800 | GSS KHUNTUNI |  | 2024-09-05 | 5.28 | 475 | Direct Purchase
135 | 10.5.87 | Tree Saw Cutter | own | 1 | 19706 | 132/33KV GSS Salipur |  | 2024-09-05 | 5.28 | 593 | Direct Purchase
136 | 10.5.31 | 250 KVA 33/0.4 KV Station Transformer | Own Fund | 1 | 712484 | Chandaka B | OTPL | 2024-10-07 | 5.28 | 18140 | Direct Purchase
136 | 10.5.32 | "40 MVA, 220/33 KV POWER TRANSFORMERS and Nitrogen Fire Prevention System | Own Fund | 1 | 64255246.13 | Infocity II | Bharat Bijlee | 2025-03-28 | 5.28 | 37180 | From CWIP
136 | 10.5.32 | Circuit Breaker Compartment 1 of 40MVA Transformer | Own Fund | 1 | 8513163 | Infocity II | Siemens | 2024-01-11 | 5.28 | 549246 | Direct Purchase
136 | 10.5.40 | 2 Nos of Inverter for Kesura Grid | Own Fund | 1 | 146320 | Kesura | GE T&D | 2023-04-29 | 5.28 | 14880 | Direct Purchase
141 | 10.8.20 | Furniture & Fixture | Own Asset | 2 | 13480 | EHT(O&M) Circle, Berhampur | Three Seat Waiting Chair | 2025-03-29 | 6.33 | 7 | Direct Purchase
142 | 10.4.12 | Erection and commissioning of 1 No of 20 MVA 132/33 KV Power Transformer at 132/33 KV GSS Chikiti. | OWN Asset | 1 | 774342 | GSS Chikiti |  | 2024-04-20 | 3.34 | 24517 | From CWIP
142 | 10.4.12 | "PCC Work in 220 KV & 132 KV Switchyards and water Supply points earth pits in 33 KV , 132 KV and 220 KV Switchyards at 220/132/33 KV GSS Narendrapur | OWN Asset | 1 | 17088066 | GSS Narendrapur |  | 2025-01-19 | 3.34 | 112585 | From CWIP
142 | 10.4.12 | PCC,Rementaling with water points for earth pits of 132 KV and 33 KV Switchyard at 132/33 KV GSS Mohana. | OWN Asset | 1 | 2463563 | GSS Mohana |  | 2024-11-14 | 3.34 | 31110 | From CWIP
142 | 10.4.12 | PCC Rementaling with water points for earth pits of 132 & 33 KV Switchyard at 132/33 KV Grid S/S Digapahandi. | OWN Asset | 1 | 4274413 | GSS Digapahandi |  | 2024-07-07 | 3.34 | 104825 | From CWIP
142 | 10.5.70 | 20MVA Power Transformer Bay of Chikiti GSS | OWN Asset | 1 | 36659893 | GSS Chikiti |  | 2024-04-20 | 5.28 | 1834883 | From CWIP
142 | 10.5.87 | "4 Nos of Petrol driven compact chainsaw (STIHL | OWN Asset | 4 | 83276 | 2 Narendrapur,1 Berhampur,1 Chikiti | STIHL Make,Model No-MS 180 | 2024-09-22 | 5.28 | 2301 | Direct Purchase
142 | 10.5.87 | 10 Mtr Fliding Wall Support Double FRP Ladder | OWN Asset | 1 | 24780 | 132/33 KV GSS Digapahandi | FRP Ladder(Make-AEC) | 2024-10-05 | 5.28 | 638 | Direct Purchase
142 | 10.5.87 | "36 Nos Telescopeic earth discharge rod single phase type (Up to 132 KV | OWN Asset | 36 | 432000 | Narendrapur,Bam,Hinjli,Digapahandi,Chikiti,Mohana | FRP Telescopic Discharge Rod. | 2024-04-30 | 5.28 | 20997 | Direct Purchase
142 | 10.8.20 | Steel Almirah (storewel Minor Plain) Size in MM(1270H X 765W X 440D) | OWN Asset | 2 | 46763 | 1 Narendrapur,1 Mohana | Model- storewe Minor Plain,Make-Godre | 2024-04-01 | 6.33 | 2960 | Direct Purchase
142 | 10.8.20 | 4Drawer Filliing Cabinet Size in MM(1320H X 470W X620D) | OWN Asset | 2 | 53218 | 1 Berhampur,1 Digapahandi | Model- 4Drawer, Make-Godrej | 2024-04-01 | 6.33 | 3369 | Direct Purchase
142 | 10.9.90 | Aquaguard Enhance(RO+UV+UF+MTDS) | OWN Asset | 1 | 24000 | IB 132/33 KV GSS Berhampur. | Aquaguard Enhance (RO+UV+UF+MTDS) | 2024-08-09 | 6.33 | 978 | Direct Purchase
142 | 10.9.90 | Aquaguard Enhance(RO+UV+UF+MTDS) | OWN Asset | 1 | 24000 | EHT(O&M) Division OPTCL Berhampur | Aquaguard Enhance (RO+UV+UF+MTDS) | 2024-09-27 | 6.33 | 774 | Direct Purchase
143 | 10.4.12 | PCC and metaling of 220 KV switchyard at Grid S/S Bhanjanaga | own | 1 | 7081178.68 | Grid S/S Bhanjanagar | own | 2024-08-28 | 3.34 | 139963 | From CWIP
143 | 10.5.87 | Heavy duty cutter machine | own | 1 | 10325 | Bhanjanagar | own | 2025-01-28 | 5.28 | 94 | Direct Purchase
143 | 10.5.87 | Chain shaw | own | 1 | 19000 | Bhanjanagar | own | 2025-01-28 | 5.28 | 173 | Direct Purchase
143 | 10.5.87 | Chain shaw | own | 1 | 19000 | Bhanjanagar Line | own | 2025-03-29 | 5.28 | 8 | Direct Purchase
143 | 10.5.89 | Provision of additional earthmat and earthing required at GSS, Phulbani | own | 1 | 3125544.8 | Phulbani Grid S/S | own | 2024-10-07 | 5.28 | 79576 | From CWIP
143 | 10.6.30 | Providing of 1 no. of OC+6 type interposing tower over river Badanadi between loc. No. 15 & 16 of 220 KV Bhanjanagar-Nayagarh DC line | own | 1 | 2105889.56 | Bhanjanagar Line | own | 2025-02-13 | 5.28 | 14318 | From CWIP
143 | 10.6.40 | 33KV dedicated feeder bay of 132/33KV Grid S/S Phulbani at Medical college Campus (Amount received from R & B Division Phulbani | Deposit work | 1 | 113371 | Line S/S Phulbani | deposit | 2023-12-30 | 5.28 | 7511 | From CWIP
143 | 10.6.40 | Const of 33kv feeder bay Aska to extend powesupply to pH Sub station Janibilli | Deposit Work | 1 | 366877 | Aska Line | Deposit | 2018-11-05 | 5.28 | 124134 | From CWIP
144 | 10.5.31 | Laying of earth mat with super impose of existing earth mat in 132 KV & 33 KV switchyard of 220/132/33 KV GSS, Theruvali | Own work | 1 | 4064394 | 220/132/33KV Grid S/S Therubali |  | 2024-08-08 | 5.28 | 138755 | From CWIP
144 | 10.5.40 | PCC & Earthmat at 132/33KV Grid S/S,Paralakhemundi , under Major Renovation Work | Own work | 1 | 4120280 | 132/33KV Grid S/S,Paralakhemundi |  | 2025-03-10 | 5.28 | 13113 | From CWIP
144 | 10.5.40 | PCC & Earthmat at 132/33KV Grid S/S,Akhusingh , under Major Renovation Work | Own work | 1 | 5659571 | 132/33KV Grid S/S,Akhusingh |  | 2025-03-10 | 5.28 | 18011 | From CWIP
144 | 10.5.40 | PCC, remetalling of 132 & 33 KV Switchyard at 132/33/11 KV GSS Rayagada | Own work | 1 | 5453666 | 132/33/11 KV Grid S/S Rayagada |  | 2024-12-05 | 5.28 | 92303 | From CWIP
144 | 10.5.40 | Stringing of single circuit line from Paralakhemundi S/S to Akhusingh S/S on existing DC tower along with 2 nos. Feeder bay extention at both ends.Sub-sation | Own work | 1 | 30066786.16 | 220/132/ 33KV Grid S/S, Paralakhemundi |  | 2025-02-25 | 5.28 | 152229 | From CWIP
144 | 10.5.70 | Dragging of old 12.5 MVA transformer & erection of new ECE make 20 MVA 132/33 KV power transformer at 220/132/33 KV GSS, Theruvali (w.O. No.291, Dt.21.01.2025 of ED, Southern Zone, Berhampur) | Own work | 1 | 33826212.9 | 220/132/33KV Grid S/S Therubali |  | 2025-03-04 | 5.28 | 137010 | From CWIP
144 | 10.6.40 | Stringing of single circuit line from Paralakhemundi S/S to Akhusingh S/S on existing DC tower along with 2 nos. Feeder bay extention at both ends.Line | Own work | 1 | 22101544.21 | Paralakhemundi to Akhusingh 132 KV line |  | 2025-02-25 | 5.28 | 111900 | From CWIP
144 | 10.9.90 | Water Purifier | Own work | 1 | 22150 | 132/33 KV GSS Akhusingh |  | 2025-03-27 | 6.33 | 19 | Direct Purchase
145 | 10.5.31 | 132 KV Bus Coupler Bay in spare bay available in 132 KV extension Switchyard at Grid S/s Jayanagar. | Own work | 1 | 5643341.48 | 220/132/33 KV GSS, Jayanagar | Structure | 2025-03-12 | 5.28 | 16327 | From CWIP
145 | 10.5.40 | Fire Extinguisher at 132/33 KV GSS, Borigumma | Own work | 1 | 456817.2 | 132/33 KV GSS, Borigumma | Kanex | 2025-01-26 | 5.28 | 4295 | Direct Purchase
145 | 10.5.40 | 132/33 KV 3rd Bay extension at 132/33 KV GSS, Umerkote | Own work | 1 | 13175069.86 | 132/33 KV GSS, Umerkote | Structure | 2024-06-12 | 5.28 | 558421 | From CWIP
145 | 10.5.70 | 40 MVA ECE Make Transformer, 132/33 KV GSS Umerkote | Own work | 1 | 51512332.32 | 132/33 KV GSS, Umerkote | ECE & 40 MVA | 2024-06-12 | 5.28 | 2183333 | From CWIP
145 | 10.5.70 | 20 MVA ECE Make Transformer, 132/33 KV GSS Borigumma | Own work | 1 | 32109485.1 | 132/33 KV GSS, Borigumma | ECE & 20 MVA | 2025-02-09 | 5.28 | 236889 | From CWIP
145 | 10.6.40 | 2 nos of interposing tower for revival of 132KV railway line from Machkund power house to Machkund Road RTSS | Own work | 1 | 4080630.83 | 132 KV TLS, Jeypore | Structure | 2024-11-27 | 5.28 | 73787 | From CWIP
145 | 10.6.40 | Diversion of 132KV Maliguda RTSS Lilo line. | Deposit Work | 1 | 7767211 | 132 KV TLS, Jeypore | Structure | 2024-11-29 | 5.28 | 138201 | From CWIP
145 | 10.8.10 | Furniture and Fixture at 132/33 KV GSS, Borigumma | Own work | 1 | 1004487.91 | 132/33 KV GSS, Borigumma | Godrej & Superio | 2025-01-26 | 6.33 | 11323 | Direct Purchase
145 | 10.9.50 | LAN Extension at 132/33 KV GSS, Sunabeda | Own work | 1 | 45297 | 132/33 KV GSS, Sunabeda | Knopff & Network | 2024-05-09 | 6.33 | 2569 | Direct Purchase
145 | 10.9.90 | Kent Water Filter, Division Office | Own work | 1 | 16900 | Division Office | Kent & legend | 2024-08-23 | 6.33 | 648 | Direct Purchase
146 | 10.9.20 | [9 empty] | Direct Purchase
147 | 10.8.20 | Furniture & Fixtures in plants | Own | 4 | 15765 | EMR Division, Rayagada | 4 Nos of BLDC wall mount fan make-Atomberg, Length-1200mm, Speed-360 rpm, 28-35 watt | 2025-03-18 | 6.33 | 38 | Direct Purchase
147 | 10.8.20 | Furniture & Fixtures in plants | Own | 4 | 15765 | EMR Division, Rayagada | 4 Nos of BLDC wall mount fan make-Atomberg, Length-400mm, Speed-1500 rpm, 28-35 watt | 2025-03-18 | 6.33 | 38 | Direct Purchase
147 | 10.9.20 | [9 empty] | Direct Purchase
147 | 10.9.20 | [9 empty] | Direct Purchase
147 | 10.9.20 | [9 empty] | Direct Purchase
147 | 10.9.20 | [9 empty] | Direct Purchase
151 | 10.8.20 | Sally Mid Back Chair | Own Assets | 1 | 8500 | Circle Office | Godrej | 2025-03-29 | 6.33 | 4 | Direct Purchase
151 | 10.8.20 | Thrill Mesh Chair with Headrest | Own Assets | 1 | 13500 | Circle Office | Godrej | 2025-03-29 | 6.33 | 7 | Direct Purchase
151 | 10.8.20 | Visitor Chair DC 280 | Own Assets | 3 | 14100 | Circle Office | DC 280 | 2025-03-29 | 6.33 | 7 | Direct Purchase
151 | 10.8.20 | Computer Table 3.5 * 2 Jmt | Own Asset | 2 | 10068 | Circle Office | 3.5 * 2 Jmt | 2025-03-29 | 6.33 | 5 | Direct Purchase
151 | 10.8.20 | Computer Table 4 * 2 Jmt | Own Asset | 1 | 5460 | Circle Office | 4 * 2 Jmt | 2025-03-29 | 6.33 | 3 | Direct Purchase
151 | 10.8.20 | Sally Mid Back Chair | Own Assets | 6 | 51000 | Circle Office | Godrej | 2025-01-10 | 6.33 | 716 | Direct Purchase
152 | 10.5.85 | Supply of 12V Battery Cell having capacity of 150AH for 160KVA DG set installed at GSS Barkote,Tarkera & Rourkela | Own Work | 1 | 84000 | GSS Barkote, Gss Tarkera & Gss Rourkela |  | 2024-09-03 | 5.28 | 2552 | Direct Purchase
152 | 10.6.30 | Engineering, Supply, Erection, Testing & Commissioning of High Temperature Low Sag (HTLS) Conductor after dismantling of ACSR Zebra Conductor in existing 220 KV D/C Tarkera-Bisra (PGCIL) line 15.115 Route KM (Turnkey Contract Basis) | Own Work | 1 | 262233942.65 | T/L S/D Rourkela |  | 2024-04-29 | 5.28 | 12783797 | From CWIP
153 | 10.5.31 | INSTALLATION OF NAITROGEN INJECTION TYPE FIRE PREVENTION & EXTINGUISHING SYSTEM(NIFPES) AT GSS KATAPALI | OWN | 1 | 2604567 | 220/132/33 kv GSS Katapali | N.A | 2024-05-07 | 5.28 | 123957 | From CWIP
153 | 10.5.31 | Construction of one No of 33kv feeder bay (Bay No 11) at 220/132/33 kv GSS Katapali for tapping of P.S to proposed pump house located at Rengali, Bargarh District under Gangadhar MeherLift Irrigation Project , Bijepur | Deposit Work | 1 | 138861 | 220/132/33 kv GSS Katapali | N.A | 2023-12-06 | 5.28 | 9682 | From CWIP
153 | 10.5.90 | 1.5HP single phase submersible pump | OWN | 1 | 24780 | 220/132/33 kv GSS Katapali | 1.5 HP Single Phase | 2024-09-06 | 5.28 | 742 | Direct Purchase
153 | 10.5.90 | 2HP single phase induction monoblock pump | OWN | 1 | 24780 | 132/33 KV GSS Rairakhol | 2HP single phase | 2024-08-27 | 5.28 | 778 | Direct Purchase
156 | 10.1.20 | construction of approach road to 132/33 KV GSS Tusura | Own Asset | 1 | 622458 | Tusura GSS |  | 2024-11-08 | 3.34 | 8202 | Direct Purchase
156 | 10.5.40 | Construction of 2nos of 33kv feeder bays at 220/132/33kv grid s/s Sadeipali(Bolangir New) for 33Kv Loisingha feeder & 33 KV Dungiripali feeder | Own Asset | 1 | 1545842.48 | Balangir new GSS |  | 2024-10-24 | 5.28 | 35555 | From CWIP
156 | 10.5.40 | 33KV lower suktel left command at 220/132/33 KV GSS Balangir new | Deposit work | 1 | 993332 | Balangir new GSS |  | 2024-10-24 | 5.28 | 22847 | From CWIP
156 | 10.5.40 | 33KV lower suktel Right command at 220/132/33 KV GSS Balangir new | Deposit work | 1 | 1299705 | Balangir new GSS |  | 2024-10-24 | 5.28 | 29894 | From CWIP
156 | 10.5.85 | 350 AH 220V vented lead acid storage Plante type Batteries in Set | Own Asset | 1 | 2389500 | Murshing |  | 2025-03-01 | 5.28 | 10715 | Direct Purchase
156 | 10.6.40 | Stringing of 132 KV 2nd Ckt line of Bolangir (S.Pali) Sonepur Line on DC Tower with 132 KV bay extension one at Sonepur & one at Sadeipalli grid S/s.(53.845 Kms.) | Own Asset | 1 | 89714038.45 | Balangir New-Sonepur Line |  | 2024-11-14 | 5.28 | 1790938 | From CWIP
156 | 10.6.40 | Diversion of 132kv Bolangir-Sonepur DC line from Loc no-34 to loc-36 near Oriental public school,Malamunda under EHT(O&M)division,Bolangir | Own Asset | 1 | 1514973.7 | Balangir New-Sonepur Line |  | 2024-11-14 | 5.28 | 30243 | From CWIP
156 | 10.6.40 | Diversion work of 132 KV Balangir-Sonepur line from loc. 15 to Loc 23 due to construction of proposed NH 57 in between loc. 18 to 20 | Deposit work | 1 | 4799678.34 | Balangir New-Sonepur Line |  | 2024-06-20 | 5.28 | 197878 | From CWIP
163 | 10.5.31 | construction of one no of 33 KV Bay at Balasore, Gss for power supply to city PSS , Balasore | OWN | 1 | 2378950.06 | GSS, Balasore |  | 2024-04-19 | 5.28 | 119414 | From CWIP
163 | 10.5.87 | Pulley & FRP ladder | OWN | 1 | 24700 | GSS Somanathpur. |  | 2024-12-16 | 5.28 | 379 | Direct Purchase
163 | 10.5.87 | Pulley & FRP ladder | OWN | 1 | 49750 | GSS Jaleswar. |  | 2024-11-21 | 5.28 | 943 | Direct Purchase
164 | 10.1.20 | Lease Hold Govt. Land inVillage-Ranki under Keonjhar Tahasil | Own | 1 | 106362 | RANKI KEONJHAR | Land | 2025-03-07 | 3.34 | 243 | Direct Purchase
164 | 10.4.12 | Constrction of switchyard PCC with metal spreading at 132 KV Bus Coupler bay at 132/33 KV GSS Polaspanga | Own | 1 | 497299 | Polaspanga | PCC | 2024-12-18 | 3.34 | 4733 | Direct Purchase
164 | 10.4.12 | Constrction of PCC infront of 33 KV switchyard at 220/132/33 KV GSS Joda | Own | 1 | 497642 | GSS Joda | PCC | 2025-02-28 | 3.34 | 1457 | Direct Purchase
164 | 10.5.90 | Purchase of 7.5 HP 5.5 KW Submersible Pump for 220kv TLS Joda | Own | 1 | 39294 | TLS Joda | CRI | 2025-02-28 | 5.28 | 182 | Direct Purchase
164 | 10.5.90 | Fire bucket hanging stand with bucket at Gss, Barbil | Own | 1 | 24332 | Gss, Barbil | Fire bucket hanging stand | 2024-11-28 | 5.28 | 436 | Direct Purchase
164 | 10.5.90 | 1 distilled water plant for GSS Polaspanga | Own | 1 | 24709 | GSS,Polaspanga | distilled water plant | 2024-12-23 | 5.28 | 354 | Direct Purchase
164 | 10.5.90 | Supply of Fiber Glass discharge Rod & Safety Hand gloves for 132/33 KV GSS, Dhenkikote | Own | 1 | 98848 | GSS, Dhenkikote | Fiber Glass discharge Rod & Safety Hand gloves | 2024-11-28 | 5.28 | 1773 | Direct Purchase
166 | 10.4.12 | PCC and metal spreading of 132 KV switchyard area of 220/132/33 KV Grid S/s,Old Duburi | Own | 1 | 5015525 | 220/132/33 KV Grid S/s,Old Duburi |  | 2024-10-09 | 3.34 | 79858 | Direct Purchase
166 | 10.5.90 | 01 No of HP Dewatering pump set | Own | 1 | 12492 | 132/33 KV Grid S/s,Anandapur |  | 2024-12-20 | 5.28 | 184 | Direct Purchase
166 | 10.5.90 | 03 no of multimeters | Own | 3 | 49914 |  |  | 2024-03-05 | 5.28 | 2830 | Direct Purchase
166 | 10.9.95 | Lawn Mower | Own | 1 | 35990 | 132/33 KV Grid S/s,Jajpur Road |  | 2024-11-13 | 6.33 | 868 | Direct Purchase
173 | 10.5.81 | Supply And Erection Of Opgw And Acesseries In The Existing Selected 132 Kv Lines And 220 Kv Line Of Optcl Along With Supply And Commissioning Of Fots And Integration With Existing Scada System Of Sldc (South East Region ) | Own Asset | 1 | 594459 | South East Region | 132KV line & 220KV line | 2019-05-28 | 5.28 | 183595 | From CWIP
176 | 10.3.10 | Fire detection & alarm system at SUb-SLDC MRDL | Own work | 1 | 308695 | SUb-SLDC MRDl | Honeywell | 2025-02-06 | 6.33 | 2891 | Direct Purchase
176 | 10.5.81 | RTU Integration for MCL Nandira deposit work | Deposit Work | 1 | 10163367 | MCL Nandira | RTU Integration | 2024-11-12 | 5.28 | 205829 | From CWIP
176 | 10.9.20 | 5 TB HDD | Own | 1 | 12980 | Sub-SLDC | HP | 2024-07-05 | 15 | 1440 | Direct Purchase
183 | 10.2.10 | 220KV GIS buildings | SCRIPS | 1 | 12258060.66 | GIS at Nayapalli |  | 2024-06-24 | 3.34 | 315197 | From CWIP
183 | 10.2.10 | Control Room Building | SCRIPS | 1 | 11254159.49 | GIS at Nayapalli |  | 2024-04-22 | 3.34 | 354262 | From CWIP
183 | 10.5.31 | 220/132/33KV Grid SS at Kantabada | SCRIPS | 1 | 24921366.36 | GIS at Kantabada |  | 2023-10-10 | 5.28 | 1943129 | From CWIP
183 | 10.5.40 | 132/33KV Grid SS at Nayapalli | SCRIPS | 1 | 717834002.36 | GIS at Nayapalli |  | 2025-02-14 | 5.28 | 4776644 | From CWIP
183 | 10.5.70 | STATION TRANSFORMER 33KV/0.43 KV,250 KVA | SCRIPS | 1 | 862012.13 | GIS at Nayapalli |  | 2025-02-14 | 5.28 | 5736 | From CWIP
183 | 10.5.70 | STATION TRANSFORMER 33KV/0.43 KV,250 KVA | SCRIPS | 1 | 862012.13 | GIS at Nayapalli |  | 2025-02-14 | 5.28 | 5736 | From CWIP
183 | 10.5.70 | 132/33 KV, 63 MVA Yn Yn Power Transformer with spares | SCRIPS | 1 | 73808055.98 | GIS at Nayapalli |  | 2025-02-14 | 5.28 | 491137 | From CWIP
183 | 10.5.70 | 20 MVA, 132/33 KV POWER TRANSFORMERS SL-87612 | SCRIPS | 1 | 35095409.44 | GIS at Nayapalli |  | 2025-02-14 | 5.28 | 233534 | From CWIP
183 | 10.5.70 | 132/33 KV, 63 MVA Yn Yn Power Transformer with spares | SCRIPS | 1 | 70714691.56 | GIS at Nayapalli |  | 2025-02-14 | 5.28 | 470553 | From CWIP
183 | 10.8.20 | OFFICE FURNITURE | SCRIPS | 1 | 1327500 | GIS at Nayapalli |  | 2024-07-18 | 6.33 | 59167 | From CWIP
183 | 10.9.80 | Air Conditioner (Carrier Make) | SCRIPS | 15 | 1487463.75 | GIS at Nayapalli |  | 2024-07-18 | 9.5 | 99497 | From CWIP
184 | 10.5.31 | Constn. of 2X160 MVA & 2X40MVA, 220/132/33 KV Grid S/S with SAS at Balimunda(Dhamara) and Associate 220 KV LILO Line from Loc. No. 277 of exisiting 220 KV Duburi-BLS Ckt-I. | Own work | 1 | 1194625 | Balimunda, Dhamara | 220/132/33 kV Grid S/s | 2023-04-24 | 5.28 | 122351 | From CWIP
184 | 10.5.40 | Constn. of 2 x 20 MVA, 132/33KV S/S, CHANDIPUR with 132 KV LILO Line. | Own work | 1 | 14035847.71 | Chandipur | 132/.33 kv Grid S/s | 2022-08-31 | 5.28 | 1916689 | From CWIP
184 | 10.5.40 | Constn. Of one No 132/33 KV Bay at Kuchei End (PGCIL) | Own work | 1 | 48000391.36 | Kuchei End PGCIL | 132/33 KV Bay at Kuchei End (PGCIL) | 2024-08-01 | 5.28 | 1687299 | From CWIP
184 | 10.6.40 | Const. Of 132KV DC Line from propose 220/132/33 kv G/S ,Dhamara at Balimunda to 132/33 kv GIS Chandbali.DRPS Scheme (Gupta Power) | DRPS Scheme | 1 | 7624568.92 | Chandabali-Dhamara line | 132kV line from Chandabali-Dhamara | 2024-02-13 | 5.28 | 455519 | From CWIP
184 | 10.9.95 | LV Pure water purifier for Dhamara Grid | Own work | 1 | 8614 | Balimunda, Dhamara | LV Pure water purifier | 2024-10-03 | 6.33 | 269 | Direct Purchase
192 | 10.5.32 | Construction of 1No 33kv Bay at 220/33 kv Grid s/s Gobindapalli for megalift project at saradaput | Deposit | 1 | 4225380.71 | Govindpali |  | 2024-04-28 | 5.28 | 206597 | From CWIP
192 | 10.5.32 | Const of 2no 33kv Bay at 220KV Grid sub-station Gobindapalli Avantika Work | Deposit | 1 | 10071054.92 | Govindpali |  | 2024-03-27 | 5.28 | 539036 | From CWIP
192 | 10.5.40 | Construction of 2x20 MVA 132/33 KV Grid S/s at Nawarangpur with associated 132 KV DC line for LILO arrangement of existing 132 KV Jayanagar - Tentulikhunti line | Own | 1 | 2864193 | Nawarangpur |  | 2021-12-29 | 5.28 | 492635 | From CWIP
192 | 10.5.40 | Grid SS Pottangi | own | 1 | 8963805.84 | Pottangi |  | 2019-09-15 | 5.28 | 2625781 | From CWIP
192 | 10.5.40 | Construction of 132/33 KV Grid S/s at Boriguma with LILO of existing 132 KV SC line from 220/132KV grid substation, Jaynagar to 132/33KV grid substation, Tentulikhunti. | Own | 1 | 288663222.14 | Boriguma |  | 2023-03-24 | 5.28 | 30858652 | From CWIP
192 | 10.5.70 | Transformer at 132/33 KV GSS Nawarangpur | Own | 1 | 39312084.37 | Nawarangpur |  | 2024-04-30 | 5.28 | 1910761 | From CWIP
192 | 10.6.30 | " Const. of 220 KV LILO line from | Own | 1 | 61986951.8 | Jayanaga-Balimela to Govindpali Line |  | 2024-05-08 | 5.28 | 2941137 | From CWIP
192 | 10.6.30 | Stringing of 2nd circuit (three conductors) from LILO point of existing 220 KV Balimela-Malkangiri Line to Newly constructed 220/33 KV Grid S/S Kalimela. | Own | 1 | 1536374.08 | Malkangir-Balimela to Kalimela Line |  | 2022-11-10 | 5.28 | 194023 | From CWIP
192 | 10.6.30 | Const. of 220/33 KV Grid S/s at Govindapalli with LILO of 220 KV SC line from Balimela to Malkangiri. | own | 1 | 156139775 | Govindpali |  | 2020-11-07 | 5.28 | 36274393 | From CWIP
192 | 10.6.40 | Construction of 132KV DC line from Sunabeda to 220/132/33KV grid substation Jayanagar with bay extension at each end. Est.No. 17/2012-13 | Own | 1 | 296620689.76 | Jayanaga-Sunabeda |  | 2024-10-15 | 5.28 | 7208614 | From CWIP
192 | 10.6.40 | Construction of 132/33 KV Grid S/s at Boriguma with LILO of existing 132 KV SC line from 220/132KV grid substation, Jaynagar to 132/33KV grid substation, Tentulikhunti. | Own | 1 | 3021007.73 | Boriguma |  | 2023-04-24 | 5.28 | 309404 | From CWIP
192 | 10.6.70 | Construction of 132/33 KV Grid S/s at Boriguma with LILO of existing 132 KV SC line from 220/132KV grid substation, Jaynagar to 132/33KV grid substation, Tentulikhunti. | Own | 1 | 20197764 | Boriguma |  | 2023-04-24 | 5.28 | 2068605 | From CWIP
192 | 10.6.70 | Construction of 132KV DC line from Sunabeda to 220/132/33KV grid substation Jayanagar with bay extension at each end. Est.No. 17/2012-13 | Own | 1 | 17625404 | Jayanaga-Sunabeda |  | 2024-10-15 | 5.28 | 428341 | From CWIP
192 | 10.9.80 | 1.5 Ton Voltas Split AC | Own | 1 | 50000 | Eht(Const)Sub Division Jeypore |  | 2025-02-28 | 9.5 | 416 | Direct Purchase
202 | 10.5.20 | 400/220/132 KV Grid S/S at Meramundali-B | Own | 1 | 1939481 | Meramundali |  | 2022-03-23 | 5.28 | 310019 | Direct Purchase
203 | 10.1.10 | Decretal Dues Payment for A. Katapali | Own Work |  | 11928915 | [5 empty] | Direct Purchase
203 | 10.5.31 | Construction of 220/132/33 KV Grid Sub-Station at Bamra. | Deposit Work |  | 2579046.5 |  | N.A. | 2022-09-04 | 5.28 | 350694 | From CWIP
203 | 10.5.31 | Construction of 220/132/33 KV Grid Sub-Station at Bamra. | Own Work |  | 2579046.5 |  | N.A. | 2022-09-04 | 5.28 | 350694 | From CWIP
203 | 10.5.31 | Const of 2 x 100MVA 220/132/33 KV Grid S/S at Kuanrmunda | Own Work |  | 5186685.28 |  | N.A. | 2023-01-25 | 5.28 | 597984 | From CWIP
203 | 10.5.32 | Construction of 220/33 KV AIS S/S at Deogarh in Odisha State of India under Package- 8 Under Japan International Cooperation Agency (JICA)'s ODA Loan. | Own Work |  | 101066 |  | N.A. | 2021-08-06 | 5.28 | 19503 | From CWIP
203 | 10.5.40 | Construction of 2x20 MVA, 132/33 KV Grid S/s at Hirakud with GIS along with associated 132 KV LILO lind from existing 132 KV Burla-Lapanga line & existing 132 KV ALCO line. Est. Cost-11/2017-18 | Own Work |  | 24741 |  | N.A. | 2021-03-17 | 5.28 | 5283 | From CWIP
203 | 10.5.40 | Construction of 132/33 KV Grid S/S at Lakhanpur alongwith associated Transmission line from Brajrajnagar. | Own Work |  | 54366539 |  | N.A. | 2023-04-29 | 5.28 | 5528764 | From CWIP
203 | 10.6.30 | Construction of 220 KV DC LILO Line for 220/33 KV AIS S/S at Deogarh in Odisha State of India under Package- 8 Under Japan International Cooperation Agency (JICA)'s ODA Loan. | Own Work |  | 831781 |  | N.A. | 2021-08-06 | 5.28 | 160511 | From CWIP
203 | 10.6.30 | Construction of 220 KV LILO line for 220/132/33 KV Grid Sub-Station at Bamra. | Own Work |  | 149961.5 |  | N.A. | 2022-09-04 | 5.28 | 20391 | From CWIP
203 | 10.6.30 | Construction of 220 KV LILO line for 220/132/33 KV Grid Sub-Station at Bamra. | Deposit Work |  | 149961.5 |  | N.A. | 2022-09-04 | 5.28 | 20391 | From CWIP
203 | 10.6.40 | Construction of 132KV LILO Line from 132 KV Chhend-Shri Ganesh Metaliks Circuit (Between Loc. No. 50 to 53) to 220/132/33 KV GSS, Kuanrmunda. | Own Work |  | 12556485.94 |  | N.A. | 2024-07-24 | 5.28 | 455914 | From CWIP
203 | 10.6.40 | Construction of 132 KV SC Line (Two Conductor) on DC tower from existing 220/132/33KV Lapanga Grid S/S to proposed RTSS at Rengali (Approximate Line leangth : 12.308 KM) | Deposit Work |  | 675314 |  | N.A. | 2017-08-19 | 5.28 | 271772 | From CWIP
203 | 10.6.40 | Diversion of 132 KV D/C Line from Loc. No. 9 to Loc No. 12 of 132KV CPP-II (NSPCL, Rourkela) to MSDS-V, SAIL, RSP line along with connecting the line to the new bay | Deposit Work |  | 904460 |  | N.A. | 2019-12-10 | 5.28 | 253693 | From CWIP
203 | 10.6.70 | Construction of 132KV LILO Line from 132 KV Chhend-Shri Ganesh Metaliks Circuit (Between Loc. No. 50 to 53) to 220/132/33 KV GSS, Kuanrmunda. | Own Work |  | 660209.69 |  | N.A. | 2024-07-24 | 5.28 | 23972 | From CWIP
212 | 10.2.10 | Renovation of control room building inside 220/132 KV grid s/s OPTCL theruvalli vitrified tile flooring renovation of toilets partition walling, false ceiling repairing and painting etc | Own | 1 | 4259794 | 220/132 KV grid s/s OPTCL theruvalli |  | 2024-04-12 | 3.34 | 137989 | From CWIP
212 | 10.2.10 | Imrovement to 220/33 kV Grid sub staion at samaghara (providing outside repairing and painting) | Own | 1 | 2200117 | 220/33 kV Grid sub staion at samaghara |  | 2024-06-12 | 3.34 | 58988 | From CWIP
212 | 10.2.10 | Renovatin of control room building at 220/132/33 KV grid s/s at paradeep (Providing grading concrete with parapet repair, inside and outside repairing and painting) | Own | 1 | 2061292 | 220/132/33 KV grid s/s at paradeep |  | 2024-04-30 | 3.34 | 63377 | From CWIP
212 | 10.2.10 | Renovation of 132/33 KV grid s/s at Karanjia (provision of crack repairing, plastering , painting , tile flooring, False ceilling & Light, toilets renovatino etc) | Own | 1 | 2675474 | 132/33 KV grid s/s at Karanjia |  | 2024-06-10 | 3.34 | 72223 | From CWIP
212 | 10.2.10 | Extension of Existing battery room at 132/33 KV Grid s/s chandpur | Own | 1 | 1108731 | 132/33 KV Grid s/s chandpur |  | 2024-10-06 | 3.34 | 17958 | From CWIP
212 | 10.2.10 | IMPROVEMENT TO 132/33 KV GRID SUB - STATION AT CHANDAKA (Providing grading concrete, control room false ceilling with led light, inside and outside repairing and painting) | Own | 1 | 3360872 | 132/33 KV GRID SUB - STATION AT CHANDAKA |  | 2024-06-05 | 3.34 | 92263 | From CWIP
212 | 10.2.10 | Renovation of control room building and Re-construction of broken boundary wall inside 132\33 kv Grid S/s at Jajpur Road and construction of ladies and gents rest room cum toilet inside 132/33 kv grid s/s at Jajpur Road. | Own | 1 | 3973399 | 132/33 kv grid s/s at Jajpur Road. |  | 2024-02-15 | 3.34 | 149437 | From CWIP
212 | 10.2.10 | IMPROVEMENT TO 132/33 KV Control Room building at KHURDA. (Providing grading concrete, UPVC doors and windows, Al. false ceiling, ladies retiring room, AE(M) office room and inside, outside repairing and painting) | Own | 1 | 3667363 | 132/33 KV Control Room building at KHURDA |  | 2024-06-06 | 3.34 | 100341 | From CWIP
212 | 10.2.20 | Improvement to T W Building OPTCL BBSR (Providing grading concrete, outside repairing & painting) | Own | 1 | 2709428 | T W Building OPTCL BBSR |  | 2024-06-16 | 3.34 | 71652 | From CWIP
212 | 10.2.20 | Improvement To Ed'S Office , Northern Zone, Balasore (Providing Low Height Partition Wall For Staff Room, Flush Door To Ed Chamber & Conversion Of Portico Into Visitors Room) | Own | 1 | 42435 | Balasore |  | 2022-10-31 | 3.34 | 3429 | Direct Purchase
212 | 10.2.20 | Improvement to SLDC Building Mancheswar (Providing outside repairing , painting, paver block) | Own | 1 | 2413002 | SLDC Building Mancheswar |  | 2024-05-17 | 3.34 | 70437 | From CWIP
212 | 10.2.20 | Supply of RMU alongwith active supervision of M/S Siemens Representative at the time of erection and commissioning at Tech Tower Building, OPTCL | OWN | 1 | 1086284 | Techtower Building, Bhubaneswar |  | 2023-06-05 | 3.34 | 66202 | From CWIP
212 | 10.2.20 | Construction of staircase Attached to New zone office building inside 220/132 KV Grid Presmises at Remuna Golei | Own | 1 | 1048930 | 220/132 KV Grid Presmises at Remuna Golei |  | 2024-05-19 | 3.34 | 30427 | From CWIP
212 | 10.2.20 | Peripherial development of power community center at OPTCL colony, Bhoinagar, Bhubaneswar (Providing VDF flooring to approach road, parking space and kitchen) | Own | 1 | 4328056 | power community center, bhoinagar |  | 2025-03-10 | 3.34 | 8713 | From CWIP
212 | 10.2.30 | Furnishing and finishing items for water supply and sanitary washing and painting works to D-TYPE-2 NOS ,E type 2 nos. & Ftype-4 nos constructed earlier in core house shape in 132/33 kv Grid s/s at Jajpur Town. | Own | 1 | 1215259 | 132/33 kv Grid s/s at Jajpur Town. |  | 2024-02-19 | 3.34 | 45260 | From CWIP
212 | 10.2.40 | Construction of open stock yard at 400/220/132 KV Grid s/s, Mendhasal | Own | 1 | 542210 | 400/220/132 KV Grid s/s, Mendhasal |  | 2024-10-06 | 3.34 | 8782 | From CWIP
212 | 10.2.40 | Construction of store godown inside 132/33 KV Grid s/s Rayagada | Own | 1 | 1031720 | 132/33 KV Grid s/s Rayagada |  | 2024-05-01 | 3.34 | 31627 | From CWIP
212 | 10.2.40 | Construction of RCC roof closed store building at 132/33 KV Grid S/s at Chandaka | Own | 1 | 3352029 | 132/33 KV Grid S/s at Chandaka |  | 2024-07-16 | 3.34 | 79444 | From CWIP
212 | 10.2.40 | Improvement to 132/33 KV Grid s/s at Kesura (providing parking shed) | Own | 1 | 1076653 | 132/33 KV Grid s/s at Kesura |  | 2025-02-28 | 3.34 | 3153 | From CWIP
212 | 10.4.10 | Improvement to road and parking area at F.W & T.W Building OPTCL, Bhubaneswar | Own | 1 | 1588979 | Bhubaneswar |  | 2024-05-16 | 3.34 | 46529 | From CWIP
212 | 10.4.10 | Construction of peripheral road around switchyard of 400/33 KV Grid s/s at mendhasala | Own | 1 | 1002883 | mendhasala |  | 2024-11-06 | 3.34 | 13399 | From CWIP
212 | 10.4.10 | Construction of peripheral road around 132/33 KV Grid s/s at Puri (Balance portion) | Own | 1 | 475384 | Puri |  | 2024-10-06 | 3.34 | 7700 | From CWIP
212 | 10.4.10 | Construction of Periphery road to 132/33 kv Grid S/s switchyard Jajpur road (Balance portion southside) | Own | 1 | 1869892 | Jajpur road |  | 2024-06-14 | 3.34 | 49792 | From CWIP
212 | 10.4.10 | Improvement of approach road inside switchyard at 132/33 KV Grid S/S at chandikhol (providing cement concrete approach road) | Own | 1 | 1425860 | chandikho |  | 2025-03-10 | 3.34 | 2870 | From CWIP
212 | 10.4.10 | Improvement to approach road infront of telecom and E&mr s/d, Puri (Provision for concrete pavement) | Own | 1 | 1067578 | Puri |  | 2025-03-03 | 3.34 | 2833 | From CWIP
212 | 10.4.10 | Improvement to front approach of control room from 132/33 KV grid s/s of OPTCL at Khurda | Own | 1 | 1076425 | Khurda |  | 2025-03-04 | 3.34 | 2758 | From CWIP
212 | 10.4.10 | Improvement to connecting approach to control room building in 132/33 KV Grid s/s campus at chandpur (provision for concrete pavement approach from main entrance gate to porch of control room) | Own | 1 | 1072267 | chandpur |  | 2025-03-04 | 3.34 | 2747 | From CWIP
212 | 10.4.10 | Construction of CC road from NH to 220/132 KV grid s/s and OPTCL Colony at 220/132 KV grid s/s at Bhadrak | Own | 1 | 860161 | Bhadrak |  | 2023-12-08 | 3.34 | 37781 | From CWIP
212 | 10.4.12 | Improvement to 132/33 KV Grid s/s at Konark (providing parking shed) | Own | 1 | 1029083 | 132/33 KV Grid s/s at Konark |  | 2025-03-04 | 3.34 | 2637 | From CWIP
212 | 10.4.12 | Renovation of storm water drain in switchyard face at the proximity of back side gate inside 220/33 KV GSS at Samangara | Own | 1 | 1070054 | 220/33 KV GSS at Samangara |  | 2025-03-04 | 3.34 | 2742 | From CWIP
212 | 10.4.12 | Construction of vehicle parking shed at 220 KV GIS s/s at infocity-II | Own | 1 | 1076036 | 220 KV GIS s/s at infocity-II |  | 2025-03-10 | 3.34 | 2166 | From CWIP
212 | 10.4.12 | Construction of two wheeler parking shed at 132/33 KV Grid s/s at Arugul | Own | 1 | 1074491 | 132/33 KV Grid s/s at Arugul |  | 2025-03-04 | 3.34 | 2753 | From CWIP
212 | 10.4.12 | Improvement to 132/33 KV GSS OPTCL Akhushinghi (Renovation of store room and parking shed) | Own | 1 | 1072850 | 132/33 KV GSS OPTCL Akhushinghi |  | 2025-03-11 | 3.34 | 2062 | From CWIP
212 | 10.4.12 | Improvement to 220/132 KV GSS at Therubali (Providing open stockyard) | Own | 1 | 1066875 | 220/132 KV GSS at Therubali |  | 2025-03-11 | 3.34 | 2050 | From CWIP
212 | 10.4.13 | Improvement to Boundary wall at 132/33 KV Grid s/s, OPTCL Parelakhemundi (Reconstruction of damaged portion and providing concertina coil, repairing painting of balance portion) (Release of withheld amount) | Own | 1 | 28691 | 132/33 KV Grid s/s, OPTCL Parelakhemundi |  | 2024-01-13 | 3.34 | 1166 | From CWIP
212 | 10.4.13 | Reconstruction of damaged compound wall around 220/132 KV S/S of OPTCL at remuna Golei, Balasore (Balance Portion) (Release of EoT) | Own | 1 | 427363 | 220/132 KV S/S of OPTCL at remuna Golei, Balasore |  | 2024-02-19 | 3.34 | 15916 | From CWIP
212 | 10.4.13 | Const. of Compound Wall at west, south & east of 220/33 KV GSS at Nayagarh | Own | 1 | 8714289 | Nayagarh |  | 2024-09-16 | 3.34 | 157091 | From CWIP
212 | 10.4.13 | Const. of Compound Wall around the OPTCL colony at Choudwar | Own | 1 | 2157017 | Choudwar |  | 2025-01-03 | 3.34 | 17370 | From CWIP
212 | 10.4.13 | M/R to Qtr No C-1 (Duplex) inside OPTCL at Bhoinagar Bhubaneswar (providing polymer based watef proofing treatment,UPVC window, vitrified tile flooring, WPC coowkath, repairing and painting) | Own | 1 | 1075279 | Bhoinagar, Bhubaneswar |  | 2024-12-13 | 3.34 | 10725 | From CWIP
212 | 10.4.13 | CONSTRUCTION OF COMPOUND WALL ARROUND 132/33 KV GRID SUB - STATION AT KHURDA. | Own | 1 | 5753854 | Khurda |  | 2024-07-20 | 3.34 | 134262 | From CWIP
212 | 10.4.13 | Re construction of broken compound wall around EHT, Construcition Store at Jajpur Road(Provision at west and north side of the store yard | Own | 1 | 863554 | EHT, Construcition Store at Jajpur Road |  | 2024-01-08 | 3.34 | 35480 | From CWIP
212 | 10.4.13 | Construction of damaged compound wall and raising of compound wall with concenrtina coil cuttack chandbali road side at 132/33 kV grid S/s at kendrapara | Own | 1 | 2229748 | 132/33 kV grid S/s at kendrapara |  | 2024-03-27 | 3.34 | 75494 | From CWIP
212 | 10.4.13 | Construction of compound wall around Multi-storied office building at Tulasipur, Cuttack | Own | 1 | 2841152 | Tulasipur, Cuttack |  | 2024-06-17 | 3.34 | 74876 | From CWIP
212 | 10.4.13 | Construction of safty fencing zone wall with steel grill for 132/33 KV OPTCL switchyard, Chainpal | Own | 1 | 1051650 | 132/33 KV OPTCL switchyard, Chainpal |  | 2024-07-04 | 3.34 | 26079 | From CWIP
212 | 10.4.13 | CONSTRUCTION OF COMPOUND WALL ARROUND 132/33 KV GRID SUB - STATION AT MANCHESWAR. | Own | 1 | 775212 | Mancheswar |  | 2024-06-02 | 3.34 | 21494 | From CWIP
212 | 10.8.20 | Procurement of office furnitue under civil work division I , OPTCL, Bhubaneswar | Own | 1 | 1129799 | Bhubaneswar, Dist- Khurda |  | 2024-08-16 | 6.33 | 44673 | Direct Purchase
212 | 10.8.20 | Furnitures & Fixtures for Tech Tower | Own | 1 | 15954174 | Bhubaneswar, Dist- Khurda |  | 2023-10-17 | 6.33 | 1471963 | Direct Purchase
213 | 10.2.10 | Renovation Works to 400/132/33 KV Grid S/S Control room of OPTCL at Lapanga.( provision for Grading concrete to Roof) | OWN | 1 | 1777636 | 400/132/33 KV Grid S/S Control room at Lapanga |  | 2024-02-19 | 3.34 | 66205 | From CWIP
213 | 10.2.10 | Construction of Extension to Control Room Building for providing Carrier Room of Telecom Sub-Division and E&MR Sub-Division Office with Store in 132/33 KV Grid Sub-Station Campus at Rajgangpur | OWN | 1 | 6056138 | 132/33 KV Grid Sub-Station Campus at Rajgangpur |  | 2024-07-17 | 3.34 | 142978 | From CWIP
213 | 10.2.10 | Renovation of 220/132/33 KV Grid Sub-Station Control room Building of OPTCL at Joda. | OWN | 1 | 3229718 | 220/132/33 KV Grid Sub-Station, Joda |  | 2024-07-06 | 3.34 | 79501 | From CWIP
213 | 10.2.20 | Renovation to E&MR Division & Sub-Division office Building of OPTCL at Burla in the District of Sambalpur. (Provision for inside & outside Repairing & Painting, vitrified & PeriPheral development) | OWN | 1 | 2853405 | E&MR Division & Sub-Division office, Burla |  | 2024-02-23 | 3.34 | 105226 | From CWIP
213 | 10.4.10 | Provision for paving the Berns of the approach road in 220/132 KV Bolangir (New) GSS of OPTCL at sadeipali-Bolangir (by using cement concrete paver blocks) | OWN | 1 | 1788067 | 220/132 KV Bolangir (New) GSS |  | 2024-02-08 | 3.34 | 68393 | From CWIP
213 | 10.4.13 | Re-Construction of Boundry wall around 220/132/33 KV Grid Sub-Station Campus of OPTCL at Kesinga | OWN | 1 | 8556238 | 220/132/33 KV Grid Sub-Station Campus, Kesinga |  | 2024-04-20 | 3.34 | 270902 | From CWIP
213 | 10.4.13 | Improvement to Boundary wall around 132/33 KV Grid Sub-Station campus of OPTCL at Rairakhole.(Provision for repairing and heightening of Boundary wall) | OWN | 1 | 6737853 | 132/33 KV Grid Sub-Station, Rairakhole |  | 2024-06-01 | 3.34 | 187434 | From CWIP
213 | 10.4.13 | Improvement to Boundary wall arround 132/33 KV Grid Sub-Station of OPTCL at Kalunga.(Provision for Boundary wall at the West side of the Control Room) | OWN | 1 | 7046198 | 132/33 KV Grid Sub-Station of OPTCL at Kalunga. |  | 2024-05-04 | 3.34 | 214065 | From CWIP
213 | 10.4.13 | Improvement to boundary wall arround 220/32 KV Grid Sub-Station Campus of OPTCL at Tarkera-Rourkela. | OWN | 1 | 6049333 | 220/32 KV Grid Sub-Station Campus, Rourkela |  | 2024-04-10 | 3.34 | 197066 | From CWIP
213 | 10.4.13 | Improvement to Boundary wall around 132/33 KV Grid Sub-Station at Uditnagar, Rourkela (Provision for Heightening, Repairing & Painting of Boundary wall) | OWN | 1 | 3885989 | 132/33 KV Grid Sub-Station at Uditnagar, Rourkela |  | 2024-05-04 | 3.34 | 118057 | From CWIP
222 | 10.5.40 | Construction of 132/33 KV Grid S/s GIS at Hinjilikatu, Ganjam | Own | 1 | 5311846.46 | Hinjilikatu |  | 2022-07-29 | 5.28 | 750725 | From CWIP
222 | 10.5.70 | 2*20 mva 132/33 kv SS at R UDAYGIRI with 132 kv line from MOHANA to R UDAYGIRI | Own | 1 | 33175580 | R Udaygiri |  | 2024-09-24 | 5.28 | 907029 | From CWIP
222 | 10.6.30 | 220 KV DC LILO line from 220 KV Narendrapur-Therubali DC line to 220/132/33 KV Grid S/s.Aska | RRCP | 1 | 37939859 | Narendrapur-Therubali to GSS Aska |  | 2024-03-11 | 5.28 | 2118479 | From CWIP
222 | 10.9.80 | 1.5 Ton Voltas Split AC | Own | 2 | 100000 | Eht(Const)Sub Division Berhampur |  | 2025-02-28 | 9.5 | 833 | Direct Purchase
223 | 10.8.20 | Book case-66(NABC-18) | Own Asset | 1 | 13565 | Office of EHT(Const) Circle Jajpurroad | Book case-66(NABC-18) | 2025-03-28 | 6.33 | 9 | Direct Purchase
223 | 10.8.20 | Revolving Chair (H.B.) | Own Asset | 1 | 10502 | Office of EHT(Const) Circle Jajpurroad | Revolving Chair (H.B.) | 2025-03-28 | 6.33 | 7 | Direct Purchase
223 | 10.8.20 | STL Rack 60'' | Own Asset | 3 | 11682 | Office of EHT(Const) Circle Jajpurroad | STL Rack 60'' | 2025-03-28 | 6.33 | 8 | Direct Purchase
223 | 10.9.95 | GWPDNRIUV40000 Acquguard select Nrich UV | Own Asset | 1 | 15240 | Office of EHT(Const) Circle Jajpurroad | GWPDNRIUV40000 Acquguard select Nrich UV | 2024-09-11 | 6.33 | 534 | Direct Purchase
226 | 10.4.14 | Tube well | Own | 1 | 99000 | EHT(Const)Circle Rayagada | . | 2024-07-31 | 3.34 | 2210 | Direct Purchase
226 | 10.9.80 | 1.5 Ton Voltas Split AC | Own | 2 | 100000 | EHT (Const.) Circle, Rayagada | Voltas, TATA | 2025-02-28 | 9.5 | 833 | Direct Purchase
227 | 10.5.31 | Construction of 220/132/33 KV Grid S/s at Gunupur with 220 KV LILO arrangement from existing 220 KV Theruvalli- Narendrapur Ckt-I and 132 KV Lilo arrangement from existing 132 KV Akhusingh-Paralakhemundi line. | Own | 1 | 8944278 | GSS Gunupur |  | 2022-03-30 | 5.28 | 1420655 | From CWIP
227 | 10.5.32 | 220 KV Traction line from 220 /33 Kv Grid S/S Laxmipur to 220 / 25 KV RTSS Laxmipur. | Deposit | 1 | 2859054 | RTSS laxmipur |  | 2021-10-31 | 5.28 | 516152 | From CWIP
227 | 10.5.40 | Construction of 132/33 KV Grid S/S At Brundabahal & its associated 132 KV LILO Transmission Line | Own | 1 | 180465730.63 | GSS Brundabahal |  | 2024-08-16 | 5.28 | 5952106 | From CWIP
227 | 10.6.30 | 220 KV Traction line from 220 /33 Kv Grid S/S Laxmipur to 220 / 25 KV RTSS Laxmipur. | Deposit | 1 | 44606 | RTSS laxmipur` |  | 2021-10-31 | 5.28 | 8053 | From CWIP
227 | 10.6.40 | Construction of 132KV SC line on DC tower from existing loc no-170 of Akhusingh-Paralakhemundi line to proposed Loc No-41 of RTSS Palasingh line, in rayagada district of Odisha. | Own | 1 | 32357365.44 | Akhusingh-Paralakhemundi to RTSS Palasing |  | 2025-02-28 | 5.28 | 149784 | From CWIP
227 | 10.6.40 | Construction of 132 KV SC line on DC Tower (Two Conductor) from U/C 220/132/33 KV Grid Sub-station, Gunupur to proposed RTSS, Palasingi and 132 KV feeder bay extension at 220/132/33KV Grid Sub-Station, Gunupur. | Deposit | 1 | 2860646 | RTSS, Palasing |  | 2023-06-05 | 5.28 | 275600 | From CWIP
227 | 10.6.40 | 132KV 2Phase line from 132/33 KV Grid S/S Bhawanipatna to RTSS,Bhawanipatna | Deposit | 1 | 2032263 | RTSS,Bhawanipatna |  | 2023-06-22 | 5.28 | 190794 | From CWIP
227 | 10.6.40 | Construction of 132 KV SC ( 2 phase) Traction line from existing 132 /33 KV Grid Bhawanipatna to proposed RTSS Lanjigarh along with one no 132 KV feeder bay exxtensison at 132/33 KV Grid Ssubss-station. Estt. No 11/2014-15 | Deposit | 1 | 5561680 | RTSS Lanjigarh |  | 2020-08-31 | 5.28 | 1346798 | From CWIP
227 | 10.6.40 | Construction of 132/33 KV Grid S/S At Brundabahal & its associated 132 KV LILO Transmission Line | Own | 1 | 83134057.6 | GSS Brundabahal |  | 2024-08-16 | 5.28 | 2741921 | From CWIP
227 | 10.6.70 | Construction of 132/33 KV Grid S/S At Brundabahal & its associated 132 KV LILO Transmission Line | Own | 1 | 24248605 | GSS Brundabahal |  | 2024-08-16 | 5.28 | 799765 | From CWIP
227 | 10.6.70 | Construction of 132KV SC line on DC tower from existing loc no-170 of Akhusingh-Paralakhemundi line to proposed Loc No-41 of RTSS Palasingh line, in rayagada district of Odisha. | Own | 1 | 6978444 | Akhusingh-Paralakhemundi to RTSS Palasing |  | 2025-02-28 | 5.28 | 32304 | From CWIP
227 | 10.9.80 | Construction of 132/33 KV Grid S/S At Brundabahal & its associated 132 KV LILO Transmission Line | OWN | 1 | 1555682.6 | GSS Brundabahal |  | 2024-08-16 | 9.5 | 92318 | From CWIP
232 | 10.5.81 | NTPC Dulanga Coal mine deposit works | Deposit Works | 1 | 1150633 | Tel S/D Jharsugada | RTU Integration | 2024-03-22 | 5.28 | 62418 | From CWIP
233 | 10.5.81 | RTU Integration of NINL with SLDC | Deposit Work | 1 | 12380796 | 220KV Duburi Old | RTU Integration | 2024-04-26 | 5.28 | 608932 | From CWIP
234 | 10.9.20 | GPRS & Modems | Own | 9 | 499140 | SLDC | Roubustel & Microtik | 2024-04-05 | 15 | 74050 | Direct Purchase
236 | 10.6.30 | 220 KB Bolangir-Kesinga line | Own Asset | 1 | 482653 | Bolangir-Kesinga Line | OPGW stringing | 2022-03-05 | 5.28 | 78407 | From CWIP
244 | 10.8.20 | Almirah | Own | 1 | 23105 | Store circle | 900mmx485x1980mm | 2025-01-23 | 6.33 | 272 | Direct Purchase
244 | 10.8.20 | Visitor Chair | Own | 1 | 10089 | Store circle | CPVS-40311 | 2025-01-23 | 6.33 | 119 | Direct Purchase
244 | 10.8.20 | Revolving Chair | Own | 1 | 12567 | Store circle | Low back revolving chair, CPMS-40301 | 2025-01-23 | 6.33 | 148 | Direct Purchase
244 | 10.8.20 | Table | Own | 1 | 17712 | Store circle | Office table 1500mmx750x750MM | 2025-01-23 | 6.33 | 209 | Direct Purchase
244 | 10.8.20 | Revolving Chair | Own | 1 | 15438 | Store Circle | High back revolving chair , CPHS 40321 | 2025-01-23 | 6.33 | 182 | Direct Purchase
245 | 10.3.20 | Pump Set | Own | 1 | 668200 | Qtrs | 1GK3524037, Kirloskar | 2025-02-11 | 6.33 | 5678 | Direct Purchase
245 | 10.3.20 | Street Light | own | 32 | 1985984 | community centre | Halonix 90W LED | 2025-01-23 | 6.33 | 23420 | Direct Purchase
245 | 10.3.20 | Padestral fan | own | 7 | 19320 | HQ | Bajaj Make | 2024-07-26 | 6.33 | 834 | Direct Purchase
245 | 10.3.20 | Wall Fan | Own | 2 | 5400 | HQ | bajaj 400MM Wall fan | 2024-07-26 | 6.33 | 233 | Direct Purchase
245 | 10.3.20 | Ceiling Fan | Own | 11 | 22913 | Hqs | 1200MM Bajaj | 2024-07-26 | 6.33 | 989 | Direct Purchase
245 | 10.3.20 | padestral Fan | Own | 4 | 11800 | Hqrs | 400MM Bajaj | 2024-11-16 | 6.33 | 278 | Direct Purchase
245 | 10.3.20 | LED lights | Own | 202 | 247007 | Hq office | Halonix LED luminarie | 2025-03-08 | 6.33 | 1028 | Direct Purchase
245 | 10.3.20 | Deep Freezer | Own | 2 | 66190 | PTC Chandaka | Godrej 300Ltr | 2024-07-26 | 6.33 | 2858 | Direct Purchase
245 | 10.3.20 | Deep Freezer | Own | 1 | 50000 | PTC Chandaka | Godrej 500Ltr | 2024-07-26 | 6.33 | 2159 | Direct Purchase
245 | 10.3.20 | Wall Fan | Own | 4 | 10800 | Hqrs | 400MM | 2024-11-16 | 6.33 | 255 | Direct Purchase
245 | 10.3.20 | Ceiling Fan | Own | 12 | 25200 | Hqrs | 1200MM | 2024-10-26 | 6.33 | 686 | Direct Purchase
245 | 10.3.20 | Wall Fan | Own | 2 | 5350 | Hqrs | 400MM Bajaj | 2025-02-16 | 6.33 | 41 | Direct Purchase
245 | 10.3.20 | Exhaust Fan | Own | 5 | 7950 | Hqrs | 225MM Plycab | 2025-02-16 | 6.33 | 61 | Direct Purchase
245 | 10.3.20 | Ceiling Fan | Own | 7 | 14483 | hqrs | 1200 MM Bajaj | 2025-02-16 | 6.33 | 111 | Direct Purchase
245 | 10.3.20 | Exhaust Fan | Own | 4 | 6400 | Hqrs | BPL Exhaust Fan 300MM | 2025-03-13 | 6.33 | 21 | Direct Purchase
245 | 10.3.20 | Ceiling Fan | own | 11 | 23100 | Hqrs | 1200MM BPL | 2025-03-13 | 6.33 | 76 | Direct Purchase
245 | 10.3.20 | Wall Fan | Own | 3 | 8025 | Hqrs | 400 MM bajaj | 2025-03-13 | 6.33 | 26 | Direct Purchase
245 | 10.3.20 | Ceiling Fan | Own | 2 | 7000 | hqrs | 1200MM Bajaj | 2024-08-12 | 6.33 | 282 | Direct Purchase
245 | 10.3.20 | Ceiling Fan | Own | 13 | 27287 | hqrs | 1200MM Bajaj | 2024-08-27 | 6.33 | 1027 | Direct Purchase
245 | 10.3.20 | Ceiling Fan | Own | 12 | 24996 | hqrs | 1200MM Bajaj | 2024-07-26 | 6.33 | 1079 | Direct Purchase
245 | 10.8.20 | Visitior chair | own | 2 | 20178 | Store Division | CPVS-40311 | 2025-01-23 | 6.33 | 238 | Direct Purchase
245 | 10.8.20 | Almirah | Own | 1 | 23305 | Store Division | 900x485x1950 | 2025-01-23 | 6.33 | 275 | Direct Purchase
245 | 10.9.80 | Air Conditoner | Stamps | 8 | 466148 | STAMPS control room | Lyyod ,Split 2 ton AC, Model GLS24I5FWGEV | 2024-07-25 | 9.5 | 30332 | Direct Purchase
245 | 10.9.80 | Air Conditoner | Stamps | 2 | 220658 | STAMPS control room | Voltas 4 Ton Standing AC, Model FAC481CZMM | 2024-07-25 | 9.5 | 14358 | Direct Purchase
245 | 10.9.95 | TV | own | 1 | 33989 | SGM,CPC Chamber | LG LED 43'' Smart TV, Model 43UR801C0SB | 2024-11-05 | 6.33 | 866 | Direct Purchase
245 | 10.9.95 | Geaser | Own | 1 | 8500 | Residence of Principal secretary, Energy Dept | Bajaj 10 L 5Star | 2024-11-16 | 6.33 | 200 | Direct Purchase
251 | 10.6.30 | 220 KV line | Deposit Work | 1 | 2845025 | 220KV Kesinga-Bolangir DC Line | 220 KV line | 2025-01-07 | 5.28 | 34571 | From CWIP
251 | 10.6.40 | 132 KV line | Deposit Work | 1 | 2133826 | 132KV (Kesinga-Saintala) Line | 132 KV line | 2024-07-07 | 5.28 | 82725 | From CWIP
255 | 10.5.40 | 132/33 Kv grid GSS BM pur | Own | 1 | 175760 | BM Pur | GSS | 2022-04-26 | 5.28 | 27230 | From CWIP
255 | 10.5.40 | 132/33KV GSS Thuapali | JICA | 1 | 7998848 | GSS Thuapali | GSS | 2021-07-14 | 5.28 | 1570176 | From CWIP
255 | 10.5.40 | 132/33KV SS(Bay Substation)both end Padampur Nuapada | RRCP-I | 1 | 15021673.53 | Padampur & Nuapada | BAY | 2025-02-06 | 5.28 | 117342 | From CWIP
255 | 10.5.40 | 132/33KV SS(Bay Substation) BPCL Bhatli | DEPOSIT | 1 | 9391764 | BHATLI | BAY | 2023-07-21 | 5.28 | 842325 | From CWIP
255 | 10.5.40 | 132/33 KV GSS Bhatli | OWN | 1 | 218716739.67 | BHATLI | GSS | 2023-07-21 | 5.28 | 19616195 | From CWIP
255 | 10.5.51 | 132/33KV SS(Bay Substation) C342 no 33 Kv Bay for GMLIP | DEPOSIT | 1 | 5564889 | BHATLI | BAY | 2023-07-21 | 5.28 | 499102 | From CWIP
255 | 10.5.70 | 132/33 KV GSS Bhatli | Own work | 1 | 55541482.02 | BHATLI | TRANSFORMER | 2023-07-21 | 5.28 | 4981386 | From CWIP
255 | 10.6.30 | 220KV 220 KV Madhiapali LILO | Own work | 1 | 574703 | BOLANGIR | LINE | 2020-07-30 | 5.28 | 141829 | From CWIP
255 | 10.6.30 | 220KV Blangir-Kesinga Line | Own work | 1 | 2125958 | BOLANGI-KESINGA | LINE | 2022-03-09 | 5.28 | 344133 | From CWIP
255 | 10.6.40 | 132/33 KV GSS Bhatli | Own work | 1 | 162330034 | BHATLI | 132/33KV Line Bhatli -Bargarh | 2023-07-21 | 5.28 | 14559003 | From CWIP
255 | 10.6.70 | 132/33 KV GSS Bhatli | Own work | 1 | 54998008 | BHATLI | Conductor | 2023-07-21 | 5.28 | 4932643 | From CWIP
256 | 10.1.20 | Land cost to Asset head for Const of 400/220 KV Grid S/S,Paradeep at Erasama towards lease of govt land Ac.54.16 dec in Mouza-Janbedhuan under Tahsil, Tirtol (including Stamp & registration fees) | OWN ASSET funded | 1 | 26780758 | Mouza-Janbedhuan under Tahsil, Tirtol | Leasehold Land | 2022-04-29 | 3.34 | 2617265 | Direct Purchase
256 | 10.1.20 | Land cost to Asset head of 132/33KV Grid s/s,Tirtol lease deed land Ac.6.00 of Mouza-Bodhei under Tirtol Tahasil | OWN ASSET funded | 1 | 223680 | Mouza-Bodhei under Tirtol Tahasil | Leasehold Land | 2022-09-29 | 3.34 | 18728 | Direct Purchase
256 | 10.1.20 | Land cost to Asset head of 132/33KV Grid s/s, Olaver of Govt land Ac 5.92 dec | OWN ASSET funded | 1 | 2840162 | 132/33KV Grid s/s, Olaver, Kendrapara | Leasehold Land | 2021-12-01 | 3.34 | 316291 | Direct Purchase
256 | 10.5.30 | Construction of 220/33KV grid sub-station at Balichandrapur (Palei) with associated lines. | OWN ASSET funded | 1 | 435540317.6 | Balichandrapur | 220/33 kv | 2024-05-22 | 5.28 | 19783315 | From CWIP
256 | 10.5.70 | TRANSFORMER- Construction of 220/33KV grid sub-station at Balichandrapur (Palei) with associated lines. | OWN ASSET funded | 1 | 62407545 | 220/33 kv S/S Balichandrapur | M/s Bharat Bijlee Ltd.- 40MVA | 2024-12-28 | 5.28 | 848606 | From CWIP
263 | 10.5.31 | "Modification of 33kVIncomer Bus (Both Power Transformer I & II) at Grid Atri | Own Fund | 1 | 422770 | ATRI(220/132/33KV) |  | 2024-06-02 | 5.28 | 18531 | From CWIP
263 | 10.5.40 | Inverter installed by GE & TD | Own Fund | 1 | 146320 | Grid S/S Argul |  | 2023-05-08 | 5.28 | 14689 | Direct Purchase
263 | 10.5.70 | "Upgradation of One No. 12.5MVA 132/33 kV Power transformer No. II (Bharat Bijlee Make) with by one no. 40MVA 132/33 kV Power Transformer (ECE Make) along with NIPES fire protection System | Own Fund | 1 | 55939222 | T/L & S/S S/D CHANDPUR(132/33KV) | ECE Make | 2025-01-03 | 5.28 | 712099 | From CWIP
263 | 10.5.85 | 220V.350Ah Vented Lead Accid Storage Battery And Assesories At Chandpur | Own Fund | 1 | 2389500 | T/L & S/S S/D CHANDPUR(132/33KV) | Exide | 2024-07-29 | 5.28 | 85032 | Direct Purchase
263 | 10.5.87 | Corded Electric Grinder, Corded Electric Metal Cutoff and Inverter Arc welding Machine including Cable | Own Fund | 3 | 24781 | ,T/L & S/S S/D CHANDPUR(132/33KV) |  | 2025-02-10 | 5.28 | 179 | Direct Purchase
263 | 10.5.87 | Corded Electric Grinder, Corded Electric Metal Cutoff and Inverter Arc welding Machine | Own Fund | 3 | 24739 | T/L & S/S S/D Argul (132/33KV) |  | 2024-12-27 | 5.28 | 340 | Direct Purchase
263 | 10.5.87 | Bosch Laser distance Meter | Own Fund | 1 | 5251 | Grid S/S Nayagarh (220/33kV) | Bosch | 2025-03-10 | 5.28 | 17 | Direct Purchase
263 | 10.5.87 | Makit Electric Lawn Mower | Own Fund | 1 | 19116 | Grid S/S Nayagarh (220/33kV) | Makita | 2025-03-10 | 5.28 | 61 | Direct Purchase
263 | 10.8.10 | Almirah (Store well Plain) | Own Fund | 1 | 27494 | Grid S/S Nayagarh (220/33kV) | Godrej Make | 2025-02-23 | 6.33 | 176 | Direct Purchase
263 | 10.8.10 | Storage Locker Unit | Own Fund | 1 | 21582 | Grid S/S Nayagarh (220/33kV) | Godrej Make | 2025-02-23 | 6.33 | 138 | Direct Purchase
263 | 10.9.90 | 1 No Water Filter At Grid s/s Atri | Own Fund | 1 | 16024 | Grid S/S Atri (220/132/33kV) |  | 2025-02-26 | 9.5 | 142 | Direct Purchase
263 | 10.9.90 | 1 No Water Purifier At Grid s/s Argul | Own Fund | 1 | 13275 | Grid S/s Argul (132/33KV) |  | 2024-09-30 | 9.5 | 632 | Direct Purchase
263 | 10.9.95 | 1 No Water Filter At Grid s/s Khurda | Own Fund | 1 | 14999 | Grid S/s Khurda (132/33KV) |  | 2024-06-12 | 6.33 | 762 | Direct Purchase
264 | 10.5.40 | SUPPLY & COMMISSIONNING OF 02 INVERTER AT 132/33KV GSS,SHAMUKA | OWN ASSET | 2 | 146320 | 132/33KV GRID S/S,SHAMUKA | GE T&D | 2023-05-02 | 5.28 | 14816 | Direct Purchase
264 | 10.5.40 | SUPPLY & COMMISSIONNING OF 02 INVERTER AT 132/33KV GSS,KONARK | OWN ASSET | 2 | 146320 | 132/33KV GRID S/S,KONARK | GE T&D | 2023-05-05 | 5.28 | 14753 | Direct Purchase
264 | 10.5.40 | UPGRADATION OF TRANSFORMER CAPACITY FROM 1 X 20 MVA TO 2 X 20 MVA AT 132/33KV GRID S/S,SATSANKHA | OWN ASSET | 1 | 35479986.53 | 132/33KV GRID S/S,SATASANKHA | ECE MAKE 20MVA 132/33KV POWER TRANSFORMER | 2024-05-19 | 5.28 | 1626986 | From CWIP
264 | 10.5.40 | REPLACEMENT OF DAMAGED 132/33KV 31.5 MVA TRF BY NEW 132/33KV 40 MVA TRF(WITH INSTALLATION & COMMISSIONING) AT 132/33KV GRID S/S,SHAMUKA. | OWN ASSET | 1 | 55332209.84 | 132/33KV GRID S/S,SHAMUKA | ECE MAKE 40MVA 132/33KV POWER TRANSFORMER | 2024-05-22 | 5.28 | 2513325 | From CWIP
264 | 10.5.85 | 220V 350AH VENTED LEAD ACID STORAGE BATTERY WITH ALL ACCESSORIES (EXCIDE MAKE) | OWN ASSET | 1 | 2414812.49 | 132/33KV GRID S/S,NIMAPARA | EXIDE MAKE | 2024-06-13 | 5.28 | 102002 | Direct Purchase
264 | 10.6.80 | "132KV NIMAPARA-SAMAGARA-PURI LILO LINE ( 1.2KM APPROX) FROM SRI JAGANNATH MEDICAL COLLEGE CAMPUS BY USING UG CABLE IN PURI. | DEPOSIT WORK | 1 | 79240081 | 132KV NIMAPARA-SAMANGARA-PURI LILO LINE UG CABLE | 132KV UNDERGROUND CABLE | 2024-02-20 | 5.28 | 4653846 | From CWIP
265 | 10.5.90 | 850VA GENSET | Own Asset | 1 | 34825 | 400 KV line S/s, Mendhasal | MAKE: HONDA | 2024-11-22 | 5.28 | 655 | Direct Purchase
265 | 10.5.90 | BRUSH CUTTER Machine | Own Asset | 1 | 24981 | 400 KV line S/s, Mendhasal | 1 | 2024-10-24 | 5.28 | 575 | Direct Purchase
265 | 10.5.90 | Locker Industrial cupboard | Own Asset | 1 | 24975 | 400 KV Grid S/s, Mendhasal | 1 | 2024-09-12 | 5.28 | 726 | Direct Purchase
265 | 10.5.90 | Distribution box | Own Asset | 1 | 24662 | 400 KV Grid S/s, Mendhasal | 1 | 2024-09-12 | 5.28 | 717 | Direct Purchase
265 | 10.5.90 | Non contact voltage detector | Own Asset | 1 | 89680 | 400 KV Grid S/s, Mendhasal | 1 | 2024-05-31 | 5.28 | 3957 | Direct Purchase
265 | 10.8.20 | Executive chair | Own Asset | 1 | 24426 | 400 KV line S/s, Mendhasal | Featherlite X5, movable hydraulic type | 2025-02-25 | 6.33 | 148 | Direct Purchase
266 | 10.1.20 | Stamp Duty favour of stock holding corporation of India and Registraton fee of DSR, Cuttack for Registered lease deed of IDCO land in mouza for Construction of 220/33kv Gss Godisahi under | Land |  | 404652 | 220/33kv GIS Godisahi |  | 2018-07-16 | 3.34 | 90757 | Direct Purchase
266 | 10.1.20 | ATD received from EHT (c)Division BBSR towards transfer of Lease hold Land of 132/33kv GSS Brajabiharipur | Land |  | 4088400 | 132/33kv GSS Brajabiharipur |  | 2020-10-30 | 3.34 | 603824 | Direct Purchase
266 | 10.5.30 | Up-gradation of S/S capacity from (3x40) MVA to (1x63) MVA & (2x40) MVA at GSS ,Cuttack | Own work |  | 76882203.94 | 220/132/33KV Grid s/sCuttack |  | 2025-02-28 | 5.28 | 355891 | From CWIP
266 | 10.5.40 | Up-gradation of S/s capacity from (1x40+2x20)MVA & (2x40+1x20)MVA at GSS, Phulnakhara | Own work |  | 54072339.32 | 132/33kv Grid S/S Phulnakhara |  | 2024-07-31 | 5.28 | 1908561 | From CWIP
266 | 10.5.40 | Up-gradation of S/s capacity from (1x40+2x20)MVA & (2x40+1x20)MVA at GSS, Jagatsinghpur . | Own work |  | 54252723.33 | 132/33kv Grid S/S Jagatsinghpur |  | 2024-07-24 | 5.28 | 1969864 | From CWIP
266 | 10.9.95 | Eureka Forber Water Purifier | Own purchase |  | 21999 | 132/33KV Grid s/s Brajabiharipur | AQUAGUARD NOVA WS RO+UV+UF+TA+ALK+SS | 2024-08-20 | 6.33 | 855 | Direct Purchase
266 | 10.9.95 | Eureka Forber Water Purifier | Own purchase |  | 21999 | 220/132/33kv Grid s/s Bidanasi | AQUAGUARD NOVA WS RO+UV+UF+TA+ALK+SS | 2024-11-08 | 6.33 | 549 | Direct Purchase
267 | 10.5.40 | Augmentation of S/S capacity from 2x12.5 MVA to 2x20MVA of GSS,Olavar by diverting 20MVA TRFs from Chandikhole and Phulnakhara GSS | Own Asset | 1 | 1926314 | GSS,OLAVER |  | 2024-12-03 | 5.28 | 33160 | From CWIP
267 | 10.5.40 | Augmentation of 20MVA 132/33KV power transformer of GSS Chandikhole with new 40 MVA transformer. | Own Asset | 1 | 56025877.75 | GSS, CHANDIKHOL |  | 2024-11-06 | 5.28 | 1183267 | From CWIP
267 | 10.9.95 | Power Chain Saw | Own Asset | 3 | 56736 | GSS, Paradeep | STHIL Make model MS-180 | 2024-10-22 | 6.33 | 1584 | Direct Purchase
267 | 10.9.95 | Rotary barrel pump | Own Asset | 7 | 24108 | GSS, Marshaghai | OZAR Make | 2024-10-06 | 6.33 | 740 | Direct Purchase
267 | 10.9.95 | Kent Grand | Own Asset | 1 | 22000 | GSS, Paradeep | Kent Make model Grand plus 9 litre | 2024-08-20 | 6.33 | 855 | Direct Purchase
268 | 10.4.12 | Construction of Switchyard entry gate with Wiremess Fencing around 132 & 33KV Switchyard of Grid S/S, Ganjam, under EHT(O&M) Division, Chatrapur | Own Asset | 1 | 644572 | 132/33 KV Grid S/S Ganjam |  | 2024-04-19 | 3.34 | 20467 | From CWIP
268 | 10.5.87 | Supply of FRP Ladderr- Extension Type for Utilization during maintenance work at 132/33KV GSS Chatrapur | Own Asset | 1 | 24780 | 132/33 KV Grid S/S Chatrapur |  | 2025-01-24 | 5.28 | 240 | Direct Purchase
268 | 10.5.88 | BOSCH GLM 50-23 G 50 M Range laser distance meter Si. No.B09R3PPK63G | Own Asset | 1 | 11175 | 132/33 KV TLS Chatrapur |  | 2024-09-09 | 5.28 | 330 | Direct Purchase
268 | 10.8.20 | Office Chair-Libra Highback | Own Asset | 1 | 20419 | 132/33 KV Grid S/S Chatrapur | Make: Nilkamal | 2025-03-31 | 6.33 | 4 | Direct Purchase
268 | 10.8.20 | Mayor Mid back Office chair | Own Asset | 1 | 19446 | 132/33 KV Grid S/S Chatrapur | Make:Nilkamal | 2025-03-31 | 6.33 | 3 | Direct Purchase
268 | 10.8.20 | Elegant Executive Table | Own Asset | 1 | 35854 | 132/33 KV Grid S/S Chatrapur | Make:Nilkamal | 2025-03-31 | 6.33 | 6 | Direct Purchase
268 | 10.8.20 | Rack | Own Asset | 2 | 19447 | 132/33 KV Grid S/S Chatrapur |  | 2025-03-31 | 6.33 | 3 | Direct Purchase
268 | 10.8.20 | Plastic Chair with Arm | Own Asset | 10 | 24680 | 132/33 KV Grid S/S Chatrapur | Make:Supreme | 2024-12-19 | 6.33 | 441 | Direct Purchase
268 | 10.9.80 | 2 Ton Split AC with Stabilizer | Own Asset | 2 | 197555 | GSS Balugaon |  | 2024-05-14 | 9.5 | 16557 | Direct Purchase
268 | 10.9.80 | 2 Ton Split AC with Stabilizer | Own Asset | 5 | 493887 | GSS Chatrapur |  | 2024-06-20 | 9.5 | 36636 | Direct Purchase
268 | 10.9.80 | 2 Ton Split AC with Stabilizer | Own Asset | 2 | 197555 | GSS Ganjam |  | 2024-05-11 | 9.5 | 16711 | Direct Purchase
272 | 10.1.20 | Land held under lease(Lease of IDCO Land Ac. 100.000 dec. in mauza- Chandia( New Duburi) at KNIC,Jajpur | Own | 1 | 7245000 | New Duburi GSS, Chandia | Lease Held Land | 2000-09-01 | 3.34 | 5952119 | Direct Purchase
272 | 10.5.90 | 10 KV Insulation Tester,Make: M/s Megger India Pvt Ltd. | Own | 1 | 881991 | New Duburi GSS | Megger India Pvt Ltd | 2024-04-08 | 5.28 | 45676 | Direct Purchase
272 | 10.5.90 | 01 No distilled water plant | Own | 1 | 28733 | New Duburi GSS | Mohanty Traders | 2025-03-10 | 5.28 | 91 | Direct Purchase
272 | 10.5.90 | 2 nos of Sewage Pump (Crompton) and 1 no of submersible pump (Kirloskar) | Own | 3 | 73868 | New Duburi GSS | Crompton & Kirloskar | 2025-02-03 | 5.28 | 609 | Direct Purchase
272 | 10.9.20 | 2 Web Camera,3 Head Phone& 1 Adopter for LAN Switch | Own | 6 | 8850 | New Duburi GSS | Rapoo | 2024-07-23 | 15 | 917 | Direct Purchase
272 | 10.9.90 | 1 No Water Purifier Make: Kent Pearl Star-B (RO+UV+UF+TDS)At New Duburi Gss | Own | 1 | 22700 | New Duburi GSS | Kent,Pearl | 2024-11-14 | 6.33 | 543 | Direct Purchase
274 | 10.5.82 | Digital Multimeter | Own | 1 | 14750 | E&MR S/D Bhadrak | Fluke Sl. No. 63311661WS | 2025-03-13 | 5.28 | 41 | Direct Purchase
275 | 10.8.20 | Storage Racks | Own Asset | 2 | 34803 | 400/220/132KV Grid S/S Meramundali | Make Spacewood; Model-Ballie | 2025-03-18 | 6.33 | 84 | Direct Purchase
275 | 10.8.20 | Storage Rack | Own Asset | 1 | 21143 | 400/220/132KV Grid S/S Meramundali | Make Spacewood; Model-Ballie | 2025-03-18 | 6.33 | 51 | Direct Purchase
275 | 10.8.20 | Storage Rack | Own Asset | 1 | 20432 | 400/220/132KV Grid S/S Meramundali | Make Spacewood; Model-Ballie | 2025-03-18 | 6.33 | 50 | Direct Purchase
275 | 10.8.20 | Table (Make Spacewwod) | Own Asset | 1 | 23376 | 400/220/132KV Grid S/S Meramundali | Make Spacewood; Model-Ballie | 2025-03-18 | 6.33 | 57 | Direct Purchase
275 | 10.9.95 | water purifier | Own Asset | 1 | 21830 | 400/132/33 KV Grid S/S Meramundali-B | KENT | 2024-12-20 | 6.33 | 386 | Direct Purchase
276 | 10.5.40 | 132/33 KV GSS | Deposit Work | 1 | 2191026.04 | GSS Kharagprasad | 33KV Feeder Bay for RWSS | 2024-01-24 | 5.28 | 137239 | From CWIP
276 | 10.5.70 | Transformers | Own Work | 1 | 1587421.6 | GSS Gondia | 40 MVA Power Transformer | 2025-02-28 | 5.28 | 7348 | From CWIP
276 | 10.5.70 | Transformers | Own Work | 1 | 99981.58 | GSS Gondia | 40 MVA Power Transformer | 2025-02-28 | 5.28 | 463 | From CWIP
276 | 10.5.70 | Transformers | Own Work | 1 | 196395.13 | GSS Goda | 20 MVA Power Transformer | 2023-10-13 | 5.28 | 15228 | From CWIP
276 | 10.5.70 | Transformers | Own Work | 1 | 146318.75 | GSS Kharagprasad | 40 MVA Power Transformer | 2025-02-21 | 5.28 | 825 | From CWIP
276 | 10.5.70 | Transformers | Own Work | 1 | 33799185.49 | GSS Kharagprasad | 40 MVA Power Transformer | 2025-02-21 | 5.28 | 190683 | From CWIP
276 | 10.5.87 | Tools & Tackles | Own Work | 1 | 409932 | All GSS | FRP Telescopic Discharge ROD 132KV | 2025-01-28 | 5.28 | 3736 | Direct Purchase
276 | 10.5.87 | Tools & Tackles | Own Work | 1 | 326624 | All GSS | SS Transformer Oil Sampling Bottle OSB/R/2000 (117069:119053-119105) | 2025-02-04 | 5.28 | 2646 | Direct Purchase
277 | 10.5.88 | AC/DC Clamp Meter | Own Asset | 1 | 25671 | EMR S/D DKL | Fluke 317 | 2024-11-11 | 5.28 | 524 | Direct Purchase
277 | 10.5.88 | Ferrule Lable Printer | Own Asset | 1 | 82482 | EMR S/D MRDL | Make Litatwin Model No- Max 550 A3 PC | 2024-07-25 | 5.28 | 2983 | Direct Purchase
277 | 10.5.88 | Digital multimeter | Own Asset | 1 | 16472 | E&MR S/D CHP | Fluke 115 | 2024-11-11 | 5.28 | 336 | Direct Purchase
277 | 10.5.88 | AC/DC Clamp Meter | Own Asset | 1 | 25671 | E&MR S/D CHP | Fluke 317 | 2024-11-11 | 5.28 | 524 | Direct Purchase
277 | 10.5.88 | AC/DC Clamp Meter | Own Asset | 1 | 25671 | EMR S/D MRDL | Fluke 317 | 2024-11-11 | 5.28 | 524 | Direct Purchase
277 | 10.9.80 | Air Conditioner | Own Asset | 1 | 48450 | EMR S/D MRDL | Hitachi S star 1.5 ton inv split AC | 2024-07-19 | 9.5 | 3228 | Direct Purchase
277 | 10.9.95 | Stabiliser | Own Asset | 1 | 14000 | EMR S/D MRDL | Stabiliser | 2024-12-18 | 6.33 | 253 | Direct Purchase
278 | 10.5.40 | Construction of 1 no. of 33 KV Bay feeder bay at 132/33KV Gss Kalunga for availing 08 MVA power to M/s Bajrangbali Sponge Iron Power Ltd | Deposit Work | 1 | 7053246 | 132/33KV Gss Kalunga |  | 2024-07-23 | 5.28 | 257117 | From CWIP
278 | 10.9.90 | 1 no of Kent Water Purifier (RO+UV+UF+TDS) for 132/33KV Gss Kalunga | Own | 1 | 22400 | 132/33KV Gss Kalunga |  | 2024-11-24 | 6.33 | 497 | Direct Purchase
279 | 10.5.31 | 220 KV RCC CABLE TRENCH AT GSS,BUDHIPADAR | own asset | 1 | 12247269 | 220/132/33 kv gss budhipadar |  | 2024-12-26 | 5.28 | 170079 | From CWIP
279 | 10.5.31 | 132 KV RCC CABLE TRENCH AT GSS,BUDHIPADAR | own asset | 1 | 243412 | 220/132/33 kv gss budhipadar |  | 2023-12-18 | 5.28 | 16549 | From CWIP
279 | 10.5.90 | Tree Cutting Machine | Own Asset | 1 | 12980 | 132/33 kv GSS Brajrajnagar |  | 2025-03-02 | 5.28 | 56 | Direct Purchase
282 | 10.5.88 | AC Leakage Clamp Meter | Own Work | 3 | 99120 | E&MR S/D, Cuttack, Choudwar & Paradeep | Make: Kyoritsu , Model: KEW SNAP 2431 | 2024-07-17 | 5.28 | 3699 | Direct Purchase
283 | 10.5.88 | Digital Multimeter | OWN | 1 | 16992 | GSS Bhadrak | Fluke 17B+ (specification- 600V Cat-III) | 2025-03-08 | 5.28 | 59 | Direct Purchase
283 | 10.5.90 | Hand Cutter | OWN | 1 | 6195 | GSS Bhadrak | Make-BOSCH, 750W,1100RPM, Voltagep230v, Disc 100mm | 2025-03-08 | 5.28 | 22 | Direct Purchase
283 | 10.5.90 | 5 HP Pump Set | OWN | 1 | 64033 | GSS Bhadrak | 5HP 3 Phase 3*2.5 Pumpset (Make- Kirloskar/Crompton Make) | 2024-10-18 | 5.28 | 1528 | Direct Purchase
283 | 10.8.20 | Book Self | OWN | 2 | 23836 | GSS Bhadrak | Shelf rack, glass cover having indivisual lock. Dimension HXL= 66"*33" | 2025-03-06 | 6.33 | 107 | Direct Purchase
284 | 10.9.20 | Assembled CPU (intel Ci3GB RAM 512 GB SSD | OWN | 1 | 9500 | EHT (O&M) Circle Balangir | Intel | 2024-12-30 | 15 | 359 | Direct Purchase
284 | 10.9.20 | Assembled CPU (intel Ci3GB RAM 512 GB SSD | OWN | 1 | 9500 | EHT (O&M) Circle Balangir | Intel | 2025-01-10 | 15 | 316 | Direct Purchase
285 | 10.6.40 | 2nd Circuit string at 132 KV Patnagarh-Padampur line | OWN |  | 62427920.2 | Grid | 2nd Circuit string at 132 KV Patnagarh-Padampur line | 2025-03-24 | 5.28 | 72245 | From CWIP
286 | 10.5.31 | Construction of 33kv 2nd feeder bay for Gangadhar Meher Lift Irrigation Project Bijepur at 220/132/33kv GSS, Bargarh New for dedicated power supply to GM lift irrigation project,Bijepur | DEPOSIT WORK | 1 | 57036525.51 | 220/132/33KV GSS BARGARH NEW |  | 2024-07-25 | 5.28 | 2062691 | From CWIP
286 | 10.5.31 | NITROJEN INJECTION TYPE FIRE PREVENTION SYSTEM Installed in the Grid of 220/132/33 KV Grid S/s | Own Source | 1 | 1893817.12 | 220/132/33KV GSS BARGARH NEW |  | 2024-02-03 | 5.28 | 115883 | Direct Purchase
286 | 10.5.40 | Construction of 3rd Transformer bay & commissioninf of 20 MVA, 132/33KV power Transformer at 132/33 KV Grid Sub-Station Bapali | Own Source | 1 | 50821626.79 | 132/33KV GSS BARPALI |  | 2024-06-19 | 5.28 | 2102595 | From CWIP
286 | 10.8.20 | Table Enterprise 1500*750*728 No. 02 ( Godrej Make ) at Division Office | Own Source | 2 | 61082 | Division Office |  | 2024-07-05 | 6.33 | 2860 | Direct Purchase
286 | 10.8.20 | Chair Bravo Visitor FU-9U12 No.04 ( Godrej Make ) at GSS Barpali | Own Source | 4 | 34791.12 | 132/33KV GSS BARPALI |  | 2024-07-05 | 6.33 | 1629 | Direct Purchase
290 | 10.8.20 | Executive Table(T-104) | Own Asset | 1 | 37728 | E & MR S/D Nuapada | Make-Godrej & Model - T104 NY.TK+TR.MST 1665mm 900mm | 2025-03-29 | 6.33 | 20 | Direct Purchase
290 | 10.8.20 | Executive Table(T-9) | Own Asset | 1 | 29668 | E & MR S/D Nuapada | Make-Godrej & Model - T9 BN MN SP BWN 1365MM 680MM | 2025-03-29 | 6.33 | 15 | Direct Purchase
290 | 10.8.20 | Executive Chair(Greta 2.0) | Own Asset | 1 | 15497 | E & MR S/D Nuapada | Make-Godrej & Model - Greta Black | 2025-03-29 | 6.33 | 8 | Direct Purchase
290 | 10.8.20 | Chair(PCH-7112R) | Own Asset | 1 | 7446 | E & MR S/D Nuapada | Make-Godrej & Model - Pch Premier 7112 Rxc01 Black | 2025-03-29 | 6.33 | 4 | Direct Purchase
290 | 10.8.20 | Steel Rack(Multiplex Rack) | Own Asset | 1 | 8799 | E & MR S/D Nuapada | Make-Godrej & Model - Multiplex Rack | 2025-03-29 | 6.33 | 5 | Direct Purchase
290 | 10.9.90 | Water Cooler | Own Asset | 1 | 23700 | E & MR S/D Nuapada | Model - Aquaguard Neo RO+UV+UF+AC | 2025-03-29 | 6.33 | 12 | Direct Purchase
295 | 10.5.85 | Exide 220 V 350 Ah Battery Set, at 220/33 KV GSS, Balimela | Own Assets | 1 | 3737356 | 220/33 KV, GSS Balimela | Exide | 2024-08-05 | 5.28 | 129212 | Direct Purchase
295 | 10.9.90 | Livpure water filter, at 220/33 KV GSS, Kalimela | Own Assets | 1 | 19990 | 220/33 KV, GSS Kalimela | Livpure & Legand | 2025-01-31 | 6.33 | 208 | Direct Purchase
296 | 10.5.90 | Thermal imaging camera Make - STAN ONE, STX | OWN | 1 | 435000 | 400/220/132KV GSS LAPANGA | STAN ONE, STX | 2025-03-17 | 5.28 | 944 | Direct Purchase
304 | 10.8.20 | CHAIR | Own Asset | 1 | 18069 | ED CENTRAL ZONE,OPTCL,BBSR | High Back Chair Black(RICH-37826/HB) | 2024-05-20 | 6.33 | 990 | Direct Purchase
305 | 10.9.20 | UPS (Computers, and IT Peripherals) | Own Asset | 1 | 7600 | Southern Zone, Berhampur | Make: UPS 600 VA-Foxin | 2024-09-14 | 15 | 622 | Direct Purchase
306 | 10.3.20 | Electrical installation at office building | Own work |  | 666839 | O/o ED, NZB |  | 2024-11-12 | 6.33 | 16190 | Direct Purchase
306 | 10.8.20 | Nilkamal cantilever mesh chair 18 nos | Own work | 18 | 124254 | O/o ED, NZB | Nilkamal cantilever mesh chair | 2024-10-06 | 6.33 | 3814 | Direct Purchase
306 | 10.8.20 | Clifton Coffee table 1 no | Own work | 1 | 8247 | O/o ED, NZB | Clifton Coffee table | 2024-10-06 | 6.33 | 253 | Direct Purchase
306 | 10.8.20 | Madison Leatherette Sofa 3+1+1 | Own work | 5 | 64721 | O/o ED, NZB | Madison Leatherette | 2024-10-06 | 6.33 | 1987 | Direct Purchase
306 | 10.9.80 | Carrier Air conditioner | Own work | 5 | 198500 | O/o ED, NZB | Carrier 1.5, 1 ton split AC | 2025-03-27 | 9.5 | 258 | Direct Purchase
306 | 10.9.90 | Water Cooler Eureka Forbes Neo RO +UV | Own work | 1 | 13400 | O/o ED, NZB | Eureka Forbes Neo RO +UV | 2024-05-23 | 6.33 | 727 | Direct Purchase
306 | 10.9.95 | LG LED TV 55". | Own work | 1 | 49000 | O/o ED, NZB | LG LED TV 55". | 2025-03-29 | 6.33 | 25 | Direct Purchase
307 | 10.3.20 | Electrical Installation (Exide Battery IMTT2000 200AH) | Own | 2 | 31400 | Westen Zone Burla | Exide Battery IMTT2000 200AH | 2024-10-23 | 6.33 | 871 | Direct Purchase
307 | 10.3.20 | Electrical Installation (Microtek UPS JM SW 3000+/24V) | Own | 1 | 16200 | Westen Zone Burla | Microtek UPS JM SW 3000+/24V | 2024-10-23 | 6.33 | 450 | Direct Purchase
|  |  |  | 1326 | 5284132992.56 |  |  |  |  | 255603621