BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.------									      Filing No. 1

IN THE MATTER OF:	(i) An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2025-26 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

(ii) Truing up application for FY 2023-24 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.		                              …Applicant

The Humble Applicant above named;

MOST RESPECTFULLY SHEWETH THAT:

M/s. Odisha Power Transmission Corporation Limited, Bhubaneswar (in short OPTCL) undertakes Intra State transmission business in the state of Odisha. It has been notified as the State Transmission Utility (STU) u/S. 39(1) of the Act with effect from 01.04.2005. By virtue of the 2nd Proviso to S.14 of the Electricity Act, 2003 (hereinafter referred to as “the Act”), OPTCL has been a deemed Transmission Licensee under the Act. OPTCL is now governed by License Conditions set forth in OERC (Conduct of Business) Regulations, 2004, at Appendix 4B issued u/S.16 of the Act, as modified by OERC by its Order dated 27th October 2006. It was also empowered to “discharge” the State Load Dispatch functions till further orders of the State Govt.

Hon’ble Odisha Electricity Regulatory Commission (hereinafter referred to as ‘OERC’) has issued License Conditions of OPTCL effective from 01.11.2006 vide order dated 27.10.2006 passed in Case No 22 of 2006 to undertake the activities relating to transmission of electricity in the State of Odisha.

Consequent upon transfer of Transmission undertaking and related functions to OPTCL as per the Transfer Scheme, all the obligations under Bulk Supply Agreement executed on 24.05.1999 between GRIDCO & WESCO (now Tata Power Western Odisha Distribution Limited -“TPWODL”), GRIDCO & NESCO (now Tata Power Northern Odisha Distribution Limited -“TPNODL”) and GRIDCO & SOUTHCO (now Tata Power Southern Odisha Distribution Limited -“TPSODL”) and the same was executed on 18.09.1999 between GRIDCO & CESCO (now Tata Power Central Odisha Distribution Limited -“TPCODL”), including all other contracts of GRIDCO with any party other than those four Distribution Licensees, in so far they relate to transmission of electricity and matter connected therewith including the provisions dealing with operating arrangements, connections & metering, rights of access, non-interfering with the equipment etc. is required to be discharged by OPTCL in the same manner as GRIDCO was doing / performing under the said agreements and also as per the Regulations, orders and directions of OERC made from time to time and all such services shall be rendered by OPTCL to GRIDCO. Since, CESU has been vested with TPCODL (Tata Power Central Odisha Distribution Limited) w.e.f. 01.06.2020 by order dated 26.05.2020 of OERC in Case No. 27/2020,  Bulk Power Transmission and SLDC Agreement between OPTCL and TPCODL  was executed on 30.07.2020. WESCO has been vested with TPWODL (Tata Power Western Odisha Distribution Limited) w.e.f. 01.01.2021 by order dated 28.12.2020 of OERC in Case No. 82/2020,  Bulk Power Transmission and SLDC Agreement between OPTCL and TPWODL  was executed on 29.04.2021. NESCO has been vested with TPNODL (Tata Power Northern Odisha Distribution Limited) w.e.f. 01.04.2021 by order dated 25.03.2021 of OERC in Case No. 09/2021,  Bulk Power Transmission and SLDC Agreement between OPTCL and TPNODL  was executed on 27.04.2021. SOUTHCO has been vested with TPSODL (Tata Power Southern Odisha Distribution Limited) w.e.f. 01.01.2021 by order dated 28.12.2020 of OERC in Case No. 83/2020, Bulk Power Transmission and SLDC Agreement between OPTCL and TPSODL was executed on 29.04.2021.

As provided under Regulation 53 (1) at Chapter VIII of OERC (Conduct of Business) Regulations, 2004 and under Clause 19.3 of License Conditions of OPTCL, OPTCL is mandated to submit its Aggregate Revenue Requirement (ARR) application for the ensuing year before Hon’ble OERC for approval. Further, Regulation 5.2 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 requires OPTCL to file ARR application by 30th November of every year of the Control Period. In Regulation 2.1 (k) of the said Transmission Tariff Regulations, 2014, the Control Period has been defined as a multi-year time period fixed by the Commission from time to time. As defined, the 1st Control Period under these Regulations was from 1st April 2014 to 31st March 2019 and as clarified by the Hon’ble Commission vide letter No. DIR(T)-332/08/951 dated 19.07.2019, the 2nd Control period is from 1st April 2019 to 31st March 2024. Although the applicability of the Transmission Tariff Regulations, 2014 has ceased to continue beyond 31.03.2019, the Hon’ble Commission vide para 186 (page No. 42) of the order dated 21.04.2020 (Case No. 72/2019) in exercise of power conferred under Regulation 9.1 of the said Regulations, 2014 has extended the same until further order. Hence, OPTCL has adopted the principles enunciated in the Transmission Tariff Regulations, 2014 for proposing the different components of ARR for FY 2025-26 in the present application.

In compliance of the above, OPTCL herewith submits it’s ARR & Transmission Tariff application for FY 2025-26 for kind approval of the Hon’ble Commission.

CATEGORISATION OF CUSTOMERS

All the customers seeking open access to OPTCL Transmission System are classified under three categories.

a. Long Term Open Access Customers (LTOA Customers)

A Long Term Open Access Customer means the right to use the intra state Transmission system or distribution system for a period exceeding Twelve (12) years but not exceeding Twenty-five (25) years. Based on such criteria, presently four DISCOMs, NALCO, IMFA, ABREL SPL, ABREL SPV, MCL & BEL happen to be the Long Term Customers of OPTCL.

b. Medium Term Open Access Customers (MTOA Customers)

Medium Term Open Access means the open access for a period exceeding three (3) months but not exceeding three (3) years. Accordingly, M/s Dhamra Port Company Limited is the only Medium Term Open Access Customer (MTOA Customer) which is transacting interstate power.

c. Short Term Open Access Customers (STOA Customers)

Short Term Open Access means open access for a period up to one (1) month at a time.

Medium-term open access or short-term open access shall be granted if the resultant power flow can be accommodated in the existing transmission system or the transmission system under execution. Provided that no augmentation shall be carried out to the transmission system for the sole purpose of granting medium-term open access or short-term open access.

- Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2025-26

FORMULATION OF TRANSMISSION COST:

The Hon’ble Commission has framed OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 (hereinafter called “OERC Regulations, 2014”) for determination of Intra-State Transmission Tariff which has been published in Extra Ordinary issue of the Odisha Gazette on 04.12.2014. The said Regulations are effective from 04.12.2014 and are to be followed by the Transmission Licensee while formulating its ARR and Transmission Tariff application. The Regulations of the Commission remain in force until it is specifically repealed by the Commission. The Regulations empower the Commission to define control period from time to time.  Hon’ble Commission in exercise of power conferred under Regulation 9.1 of the Transmission Regulation had extended same till further orders vide its order dated 21.04.2020 in Case no. 72 of 2019. OPTCL has formulated its present ARR & Transmission Tariff application for FY 2025-26 as per the provisions under the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

Regulation 5 of the OERC Regulations, 2014 specifies the Procedure for Tariff Determination and Regulation 8 specifies the Principles for Determination of ARR.

As per the Regulation 8.1, the ARR for the Transmission Business for each year shall contain the following items:

- Operation and Maintenance expenses;

- Interest and Financial Charges;

- Depreciation;

- Return on Equity;

- Income Tax;

- Less: Deposits  from Transmission System Users;

- Less: Non-Tariff Income

- Less: Income from Other Business as specified in these Regulations

The various costs involved in carrying out transmission business by OPTCL for FY 2025-26 while formulating the ARR and Transmission Tariff have been categorized under the following heads:

- FIXED COST:

- Operation & Maintenance (O & M) Expenses

- Interest and Financial Charges

- Depreciation

- Return on Equity

- Interest on working Capital

- OTHERS:

- Incentive for System Availability

COMPUTATION OF TRANSMISSION CHARGES:

- FIXED COST:

The Fixed Cost of OPTCL includes expenses incurred towards Operation & Maintenance (Employee Cost including Terminal Benefits, Administration & General Expenses and Repairs & Maintenance Expenses). The details of such expenses for FY 2025-26 are projected as under:

A.1)   O&M EXPENSES:

As per the Regulation 8.2 of OERC Regulations, 2014, Operation and Maintenance (O&M) expenses shall include:

- Salaries, wages, pension contribution and other employee costs;

- Administrative and General Expenses;

- Repairs and Maintenance;

- Expenses related  to auxiliary energy consumption in the sub-station for the purpose of air-conditioning, lighting, technical consumption, etc.; and

- Other miscellaneous expenses, statutory levies and taxes (except corporate income tax)

Accordingly, OPTCL proposes detailed O & M Expenses as under:

A.1 (a) Salaries, wages, pension contribution and other employee costs (F-10)

The Employee Cost includes Salaries, Dearness Allowance, House Rent Allowance, Conveyance Allowance, Medical Allowance, Other allowance Bonus/Ex-gratia etc. The Employee Expenses for FY 2025-26 has been estimated as Rs.554.05 Cr. including Terminal Benefit Liability (Table- 2, 3, 4 & 5).

A significant number of posts are lying vacant at the base level due to retirement, death, promotion etc. as a result of which functioning of the organization has been seriously affected. OPTCL plans to fill up the vacancies in a phased manner and accordingly the recruitment is being done. In the meantime some additional manpower has been inducted and more will be recruited in coming years.

Due to industrialization, urbanization as well as rural electrification and the commitment for 24x7 Power for all, several projects are under implementation in the State under Central as well as State sponsored schemes. In order to cater to the increasing demand of power as well as to provide quality power, several new grid sub-stations and transmission lines have been commissioned and many others are now at different stages of implementation. Some of the schemes are also in the pipeline. The increased transmission infrastructure badly requires adequate competent personnel in Technical, Finance, HRD, IT and other relevant streams. In order to align OPTCL’s organizational structure in line with the emerging needs of the transmission sector and dynamic regulatory framework in India, Govt. of Odisha has already approved the organizational restructuring proposal of OPTCL. Consequently, Revised Organization Restructuring & Manpower Assessment has been implemented with effect from 01.01.2014 in OPTCL to meet needs of important activities of the transmission utility like Project Implementation, O&M, Telecom, Finance and IT support etc. With notification of Organization Structure & Manning Norm, recruitment of Degree & Diploma Engineers is being carried out in a phased manner. It is further submitted that Re-organizing of the existing structure is under active consideration of GoO. Once approved by GoO and implemented, OPTCL will submit the same before Hon’ble Commission for necessary inclusion in the ARR.

Calculation of Employee Cost

OPTCL is proposing its Employee Cost as under:

- The actual cash outflow from April-24 to Oct-25 has been extrapolated to arrive at Basic Pay for FY 2024-25 as Rs.147.44 Cr. The average number of employees  for computation of Basic Pay for FY 2025-26 is calculated below:-

Table-1

| Particular | No. |
| --- | --- |
| No. of Employees as on 01.04.2023 (excluding MT- new recruitee) | 2508 |
| Add:- New employees inducted during FY 2022-23 and regularized in 2023-24 | 111 |
| Less:- Retired/VRS/Expired/Resigned during FY 2023-24 | 150 |
| No. of employees as on 01.04.2024 | 2469 |
| Add:- New employees inducted during FY 2023-24 and regularized in 2024-25 | 350 |
| Less:- Retired/to be retired/VRS/Expired/Resigned during FY 2024-25 | 127 |
| No. of employees as on 01.04.2025 | 2692 |
| Average no. of employees for FY 2024-25 {(2469+2692)/2} | 2581 |
| Add:- New employees to be inducted during FY 2024-25 and regularized in 2025-26 | 172 |
| Less:- Employees to be Retired during FY 2025-26 | 112 |
| No. of employees as on 01.04.2026 | 2752 |
| Average no. of employees for FY 2025-26 {(2692+2752)/2} | 2722 |

With 3% hike in annual increment, the basic pay for FY 2025-26 has been worked out as Rs.160.16 Cr. {i.e. (147.44/2581)x2722x103% }.

- Dearness Allowance (DA): Finance Department, Govt. of Odisha vide Circular No-FIN-BUDI-BT-0007-2024/30251/F dated 02.11.2024 has issued guidelines towards administrative expenditure for preparation of annual budget for FY 2025-26. In the said guidelines, it is prescribed that the DA rate for FY 2025-26 will be 61% of Basic pay (Copy enclosed as Annexure- 01). Accordingly, DA is projected as Rs.97.70 Cr.

(iii)    House Rent Allowance (HRA):  All the employees of OPTCL are entitled to get HRA in the range of 18%-20% of the basic pay, depending on the type of city/town they are residing in. Accordingly, it has been assumed that HRA shall be around 19% of the basic. Since all the employees shall not avail HRA, for providing a more realistic approach to the calculation, HRA has been estimated for 85% of the employees @ 19% of the Basic Pay. Accordingly, OPTCL has projected Rs. 25.87 Cr. towards HRA for FY 2025-26.

(iv)   Medical Allowance: The employees of OPTCL are entitled to get Medical Allowance @ 5% on revised pay for outdoor medical expenses. Accordingly, OPTCL has projected Rs.8.41 Cr. which includes Rs. 0.40 Cr. towards reimbursement of medical expenses.

(v)   Conveyance allowance / reimbursement: Presently, OPTCL provides conveyance allowance/ reimbursement to its employee within the range between Rs.800/- to Rs.2500/- based on the eligibility and guidelines. Hence, OPTCL has projected an amount of Rs. 3.88 Cr. as conveyance allowance/ reimbursement for FY 2025-26.

(vi)	Other Allowance:- The Employees of OPTCL are entitled to get allowances like Permanent Employee (Executive), Permanent Employee (Non-Executive), Night Shift Allowances, Physical Handicap Allowances, ABT Allowances/Metering Allowance, Cash Allowances, Computer Allowances Arrears, Estimator Allowance, Gas Allowances, Green Card Allowances, Non-Recurring Miscellaneous Allowances, Recurring Miscellaneous Allowances, Shift Allowances , Special Allowances, Training Allowances, Typing Allowance, Washing Allowances, Remote posting allowance, Education Allowances and Other allowance   based on their eligibility and entailment.  Accordingly, OPTCL has projected Rs. 1.96 Cr. towards Other Allowance  for FY 2025-26.

(vii)  Group Health insurance has become an indispensable part of employee benefit. Organization is providing this to safeguard its employees against unexpected health issues, accidents, mishaps etc. It also plays a big role in motivating and incentivizing employees. A group insurance scheme is essentially a health/medical insurance plan that covers all the employees for indoor medical expenses. In a group insurance policy, members get insurance cover at a reduced cost as the provider’s risk is spread across a big number of policy holders. Hence, OPTCL has projected Rs. 6.50 Cr. as premium on Group Health Insurance Scheme (Rs. 6.00 Cr.) and Group Personal Accident Insurance Scheme (Rs. 0.50 Cr.) under Staff welfare expenses.

(viii) BOD in the 126th meeting held on 11.02.2022 introduce the scheme “Additional Financial Assistance” with effect from 28.02.2022 under which Rs. 10 Lakhs will be given to the dependent family members of deceased employee of OPTCL, SLDC and GRIDCO (under deputation). Accordingly, OPTCL has projected Rs. 1.00 Cr. for the scheme under staff welfare expenses for FY 2025-26.

(ix)    Besides, Rs. 3.31 Cr. has also been projected towards expenses like Uniform, Liveries, Sports, Recreations & Cultural Activity, Hospital Expenses and Health Checkup etc. under staff welfare expenses for FY 2025-26.

(x)  At present, OPTCL is functioning with about 50% of manpower of the sanctioned strength. Hence in order to make up for the deficit and smooth functioning, OPTCL has engaged personnel in different streams like DOE, GTRP, JTRP, attendant (multi skilled), OSD/Retired personnel, Power Hospital staff  etc through outsourcing. The payment to the contractual/outsourced personnel have been increased in line with the increase minimum wage rate and VDA by the notification of Labour & ESI Department from time to time.  Accordingly, Rs.6.81 Cr. has been proposed towards payment to outsourced personnel.

(xi)   Stipend for new recruitment:

OPTCL is planning to recruit 172 Nos. employees during FY 2024-25 and 280 Nos. in FY 2025-26. Accordingly, OPTCL has proposed Rs. 10.53 Cr. towards stipend of new recruitees for FY 2025-26. The details are as below:

Table-2

| SL No | Particular | Nos. | Rs. In Cr. |
| --- | --- | --- | --- |
| A | To be recruited in FY 2024-25 | 172 | 4.86 |
| B | To be recruited in FY 2025-26 | 280 | 5.67 |
|  | TOTAL |  | 10.53 |

The details of calculation is enclosed as Annexure-02.

(xii)  Stipend to Apprentice: Under sec 8 of the Apprentice Act, 1961, every employer is required to provide training to apprentice. All establishments having work force (regular and contract employees) of 30 or more are mandated to undertake Apprenticeship Programs in a range from 2.5% -15% of its workforce (including direct contractual employees) every year. OPTCL engages apprentices under National Apprenticeship Promotion Scheme (NAPS) and National Apprenticeship Training Scheme (NATS) scheme. Under NAPS, OPTCL engaged apprentices for ITI passout candidates and under NATS, degree & Diploma (Technical) candidates. Further, non-technical candidates from different disciplines such as Finance, HR etc are engaged under NAPS / NATS category. Under NAPS scheme Government of India will reimburse 25% of prescribed stipend subject to a maximum of Rs. 1500/- per month per apprentice and under NATS Government of India will reimburse 50% of the stipend amount per month per apprentice.  Accordingly, OPTCL has proposed Rs. 2.74 Cr. towards stipend of apprentice for FY 2025-26 and the amount to be received from the GoI in lieu of apprentice has been considered as Miscellaneous Income.

(xiii) OPTCL has proposed Rs. 9.63 Cr. towards Bonus, LTC, Honorarium, Ex-gratia, Payment under Workmen Compensation Act and other staff cost.

(xiv) Capacity Building of the employees is an important aspect in the development of an organization.  Training is important because it represents a good opportunity for employees to enhance their knowledge base and improve their job skills to become more effective in the workplace. Regular training is being provided to the employees of OPTCL at its training Centre.  Keeping such aspect in mind, Rs. 2.40 Cr. has been proposed for FY 2025-26.

TERMINAL BENEFIT LIABILITIES:

- As per Accounting Standard 15 issued by MCA, employee benefit liabilities shall be assessed through actuarial valuation.  The actuarial assumptions are required to measure the obligation and the expense and there is a possibility of actuarial gains and losses. Moreover, the obligations are measured on a discounted basis because they may be settled over many years after the employees render the related service.  Accordingly, OPTCL has been doing actuarial valuation by availing the service of qualified Actuary every year.

- Para 61 of IND AS-19 states that an enterprise should recognise the net total of the following amounts in the statement of Profit& Loss except to the extent that another Accounting Standard requires or permits their inclusion in the cost of an asset.

- (a)  Current service cost

- (b)  Interest cost

- (c)  Expected return on any plan assets and on any reimbursement rights

- (d)  Actuarial gains and losses

- (e)  Past service cost requires an enterprise to recognise it

- (f)   Effect of any curtailments or settlements; and

- (g)  Effect of the limit i.e. the extent to which the amount determined

- Accordingly, OPTCL has proposed Rs.203.51 Cr. towards terminal liabilities (Pension, Gratuity & Leave Encashment) for FY 2025-26 which is 3% escalation over its projection for FY 2024-25.

- Table-3      	       (Rs. Cr.)

| Year | 2024-25 | 2025-26 |
| --- | --- | --- |
| Pension | 170.41 | 175.53 |
| Gratuity | 12.01 | 12.37 |
| Leave salary | 15.16 | 15.62 |
| Total | 197.58 | 203.51 |

- All the employees appointed in OPTCL from 01.01.2005 are covered under defined contribution pension Scheme popularly known as NPS (National Pension Scheme). Under the scheme the monthly contribution would be 10% of the salary (Basic Pay) and Dearness Allowance to be paid by the employee and the employer matching contribution would be 14% of Basic and DA. They are also entitled for family pension upon in-service death. Accordingly, OPTCL has proposed Rs. 24.52 Cr. towards employer’s matching contribution for employees who have joined under NPS.

- Further, OPTCL has projected employee cost amounting to Rs. 14.90 Cr. to be capitalised during FY 2025-26.

The Employee Cost including Terminal Benefit Liability is proposed as Rs. 554.05 Cr. as shown in the Table-4 below:

Table-4		                            (Rs. Cr.)

| Employee cost including Salary, Dearness Allowance etc. | 340.92 |
| --- | --- |
| Terminal Benefit Liability of Employees and Existing Pensioners | 228.03 |
| Less: Capitalization | 14.90 |
| Total | 554.05 |

The component wise details of Employee Cost are given in F-10 and the abstract is shown in Table-5 below:

Table-5

Employee Cost: FY 2025-26                                                                          (Rs. Cr.)

| Sl No | Particulars | Previous Year 2023-24 | Current Year 2024-25 | Ensuring Year 2025-26 |
| --- | --- | --- | --- | --- |
| A | Salary & Allowance | 1 | 2 | 3 |
| 1 | Basic Pay | 156.70 | 156.69 | 160.16 |
| 2 | Dearness Allowance | 69.32 | 89.75 | 97.70 |
| 3 | House Rent Allowance | 23.18 | 25.07 | 25.87 |
| 4 | Medical Allowances | 7.51 | 8.71 | 8.41 |
| 5 | Conveyance Expenses (allowance + Reimbursement) | 2.84 | 3.42 | 3.88 |
| 6 | Other Allowance | 1.28 | 1.53 | 1.96 |
| 7 | Bonus | 0.01 | 0.01 | 0.01 |
| 8 | Stipend for New Recruitment | 8.49 | 10.00 | 10.53 |
| 9 | Stipend to Apprentice | 1.64 | 3.00 | 2.74 |
| 10 | Arrear Salary for Wage Board Revision |  | 6.65 | - |
|  | Sub-total (A) | 270.97 | 304.83 | 311.27 |
| B | Additional Employee Cost |  |  |  |
| 1 | Out Sources Engagement | 3.46 | 5.58 | 6.81 |
|  | Sub-total (B) | 3.46 | 5.58 | 6.81 |
| C | Other Employee Cost |  |  |  |
| 1 | Leave Travel Concession | 0.09 | 0.63 | 0.63 |
| 2 | Honorarium | 0.09 | 0.12 | 0.12 |
| 3 | Ex-gratia | 7.20 | 5.00 | 8.84 |
| 4 | Staff Welfare Expenses | 11.07 | 6.75 | 10.81 |
| 5 | Other Employee Cost | 0.52 | 0.02 | 0.02 |
| 6 | Capacity Building Charges | 1.05 | 1.02 | 2.40 |
|  | Sub-total (C) | 20.02 | 13.54 | 22.83 |
| D | Terminal Benefits |  |  |  |
| 1 | Pension | 165.77 | 170.41 | 175.53 |
| 2 | Gratuity | 11.66 | 12.01 | 12.37 |
| 3 | Leave Salary | 14.79 | 15.16 | 15.62 |
| 4 | Other (including contribution to NPS) | 21.91 | 22.62 | 24.52 |
|  | Sub-total (D) | 214.12 | 220.20 | 228.03 |
| E | Total Employees Cost (A+B+C+D) | 508.57 | 544.15 | 568.95 |
| F | Less: Employees Cost Capitalised | 14.90 | 14.90 | 14.90 |
| G | Net Employee Cost ( E- F) | 493.67 | 529.25 | 554.05 |

### A.1(b) Administrative and General (A&G) Expenses: (F-12)

As per the Regulation 8.14 of OERC TT Regulations, 2014, for OPTCL the Commission shall allow A&G expenses by giving an escalation factor equal to WPI over the amount approved by the Commission in the previous year. However, it is submitted that due to growth and expansion of Transmission network, number of offices in headquarters as well as in field have increased over a period of time which requires the base A&G expenses to be revised over and above which WPI factor has to be factored in for arriving at the A&G expenses.

Further, it is humbly submitted that as per Regulations, the A&G cost should be increased by WPI on the base year, provided the number of establishments have remained the same. But the number of establishments/offices of OPTCL has increased over a period of time commensurating with the increase in asset by addition of grid Sub-stations, Circuit kilometers of lines and MVA capacity for better supervision in construction, operation and maintenance and for maintaining quality of supply. Hence, A&G expenses should be increased proportionately.

A comparative chart of asset addition is given under.

| Year | No. of Grid Substations | MVA capacity | Ckt. Kms. of Line |
| --- | --- | --- | --- |
| 2012-13 | 101 | 11554 | 11386 |
| 2023-24 | 194 | 26268 | 16508 |

A Comparative chart of number of Establishments

| Year | Subdivisions | Divisions | Circles | Zones (EDs) | CGMs | Directors |
| --- | --- | --- | --- | --- | --- | --- |
| 2012-13 | 190 | 38 | 11 | 0 | 5 | 4 |
| 2023-24 | 404 | 64 | 16 | 4 | 9 | 4 |

CGMs and Directors have corporate level offices where as EDs (Zones), Circles, Divisions and Subdivisions are field level offices.

Subdivisions include Grid substations, Line Maintenance subdivisions, E&MR subdivisions, Construction subdivisions, Telecom, Civil and Stores subdivisions.

For Calculation of A&G Cost, the base year cost as on 01.04.2005 determined by the Hon’ble Commission was Rs. 14.96 Cr. After 20 years of escalation it became Rs. 32.97 Cr.  i.e. average increase of Rs.90 lakhs per year. If we consider the time value of money by discounting @ 8% the approved amount Rs. 14.96 Cr. as at 01.04.2005 would be about Rs. 69.73 Cr. in FY 2024-25. During these 20 years,  Nos. of Grids Sub-station and lines have been added  to the Asset base of OPTCL (as explained in above paragraph) for which the field  as well as Corporate office establishment expenses have increased, which required  more A&G expenses.

As per the regulation 6.14 of OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014, OPTCL is allowed A&G Expenses by giving an escalation factor equal to WPI over the amount approved by the commission in the previous year. On the other hand as per the Regulation 3.9.16. of OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022, the Distribution companies are allowed normal A&G Expenses @ 7% escalation over previous year. Besides, they are also allowed additional or special A&G expense. Since OPTCL and Discoms are both regulated entities under OERC, it is requested before Hon’ble Commission to consider at least 7% escalation in line with aforesaid Regulation-2022 instead of escalation factor equal to WPI.

The A&G Expenses include property related expenses, communication, professional charges, conveyance (officers provided with vehicles) and travelling, SLDC charges, licensee fee and material related expenses and a host of office establishment expenses as detailed below. The A&G Expenses have shown an increasing trend in recent years due to increase in number of establishments (for smooth operation, maintenance and project execution) price rise and inflation and is on the higher side than the amount approved by the Hon’ble Commission. In view of the above, OPTCL has estimated Rs. 49.80 Cr. towards A&G Expenses for FY 2025-26 (F-12). The details are as shown in the Table-6 below:

Table-6

| PARTICULARS | (Rs. Cr.) |
| --- | --- |
| Property Related Expenses | 8.96 |
| Communication | 0.86 |
| Professional Charges | 3.22 |
| Conveyance & Travelling | 18.03 |
| Electricity & Water Charges | 4.30 |
| Fees & Subscription | 0.09 |
| Books & Periodicals | 0.07 |
| Printing & Stationery | 0.67 |
| Advertisement | 1.03 |
| Entertainment | 0.24 |
| Watch & Ward | 4.69 |
| Miscellaneous | 4.59 |
| Office Maintenance | 1.77 |
| SLDC Charges | 1.28 |
| TOTAL | 49.80 |

The explanation to some of the expenditure projected under A&G expenses are submitted below:-

### The property related expenses includes Rs.2.50 Cr. towards Licence Fees, Rs.0.30 Cr. towards annual contribution to ERPC and other power forums, Rs.6.04 Cr. towards Rates & Taxes, Ground Rent & Cess on land and Rs. 0.12 Cr. towards rent and insurances.

### Professional Charges includes Rs. 0.94 Cr. towards Audit Fees, Rs. 2.28 Cr. towards legal, consultancy expenses, technical fees and others. Therefore, OPTCL has projected Rs. 3.22 Cr.

### Under Conveyance & Travelling expenses, OPTCL has projected Rs.18.03 Cr. towards Travelling Charges, Transport Charges, Vehicle running expenses, Hire Charges of  Vehicles, Vehicle Licence, Registration & Road taxes, Loading/Unloading  of material  etc.

### Under Miscellaneous expenses, OPTCL has projected Rs. 4.59 Cr. towards Capital Expenditure charged to Revenue. (Small and Low value item), Disaster Expenses, Conference Expenses, Misc. Expenses, Foundation day expenses, Transit House Expenses etc.

### Under the head Office Maintenance expenses, OPTCL has projected Rs. 1.77 Cr. towards Technical Documentation & design charges, Gardening & Horticulture Expenses, Office upkeep & Maintenance Exp., Official meeting expenses etc.

### Similarly, OPTCL has projected Rs.1.28 Cr. as System Operation Charges (SOC) i.e. SLDC Charges as approved for FY 2024-25.

### A.1(c) Repair and Maintenance (R&M) Expenses:  (F-11)

As per Regulation 8.16 of OERC Regulations, 2014, in case of STU (OPTCL), the Commission shall allow R & M expenses basing on past trend and requirement of the licensee in this regard after prudent check.

The R & M works of OPTCL are undertaken in different streams namely O&M, Telecom, Civil Works and Information Technology (IT) & others. The summary of proposed R & M Expenses of Rs. 217.70 Cr. under these four heads is furnished in the Table-7 below:

Table-7

(Rs. Cr.)

| Particulars | OERC Approval (FY 2023-24) | OERC Approval (FY 2024-25) | Projection (FY 2025-26) |
| --- | --- | --- | --- |
| (i) O&M | 135.00 | 135.00 | 192.46 |
| (ii) Telecom |  |  | 3.73 |
| (iii) Civil Works |  |  | 11.80 |
| (iv) Information Technology & Others |  |  | 9.71 |
| Total R & M Expenses |  |  | Rs. 217.70 Cr. |

### (i) R& M Expenses relating to O&M Wing:

As on 31.03.2024, OPTCL owns 194 nos. Grid Sub-Stations of different voltage classes and EHT transmission lines of 16,508.068 ckt. kms. as shown in the Table-8 below. Further around 8 Nos. and 10 Nos. new Grid Substations are proposed to be commissioned during FY 2024-25 and 2025-26.

Table-8

| Sub-Station and Line Details |  |  |
| --- | --- | --- |
| 400/220/33kV S/S | 2 |  |
| 400/220/132/33kV S/S | 3 |  |
| 220/132/33kV S/S | 28 |  |
| 220/33kV S/S | 18 |  |
| 220/132kV S/S | 1 |  |
| 132kV Sw. Stn. | 26 |  |
| 132/33kV S/S | 116 |  |
| Total No. of Sub-Stations | 194 |  |
| Voltage Level | Lines (ckt. km.) | Bays |
| 400kV | 1,196.872 | 70 |
| 220kV | 6,831.365 | 449 |
| 132kV | 8,479.831 | 1255 |
| 33kV |  | 1482 |
| TOTAL | 16,508.068 | 3256 |

The transmission system of OPTCL is subject to rising trend of the loading pattern across the state. The power transformers and EHT lines are now operating at such optimum loading levels that it is impracticable to undertake maintenance work or attend breakdown jobs on those without load shedding. In addition to this, some of the EHT lines are pretty old and have outlived their useful life span. Some of the sub-station equipment which were imported during the OSEB period are obsolete now and spares for such equipment are no longer available thereby making repair impossible.

Further, expansion of EHT network with the addition of new lines & Sub-stations due to industrialization and rapid rural electrification initiatives has resulted in higher fault levels at various EHT grid sub-stations for which some of the existing equipment like CBs, Isolators, CTs are now inadequate to handle the present system.

To operate the system effectively and to maintain uninterrupted quality power supply in the state in order to meet the performance standards set down by the Hon’ble Commission, it is absolutely necessary to undertake replacement of the old / obsolete equipment those have outlived their useful economic life. Also it is required to renovate and upgrade the equipment in the existing system to handle the ever rising demand particularly during summer peak which has touched 6928 MW (including Vedanta drawal) on 19th June, 2024 at 16:00 hrs and 6024 MW (excluding Vedanta drawal) on 28th May, 2024 at 16:00 hrs.

With the above objectives, OPTCL proposes R&M Expenses of Rs. 192.46 Cr. for FY 2025-26 under different items of O&M Wing which includes inspection fees of Rs. 10.00 Cr., the details of which are shown in the Table-9 below. Further commissioning of new substations during the year will also require deployment of additional security guards. In view of this, OPTCL proposes Rs. 53.41 Cr. for FY 2025-26.

### Table-9

|  |  | R&M EXPENDITURE OF O&M WING FOR FY 2025-26 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SL. NO | ITEM DESCRIPTION |  | UNIT | NET MATERIALS REQUIREMENT | UNIT LANDING COST FOR FY 2025-26 (In Rs.) | TOTAL AMOUNT 2025-26 (In Rs. Cr.) |
| 1 | 2 |  |  | 3 | 4 | 5=3x4 |
| 1 | Circuit Breaker |  |  |  |  |  |
| I | 400kV |  | Nos. | 2 | 33,33,951.00 | 0.67 |
| II | 220kV |  | Nos. | 16 | 16,70,516.00 | 2.67 |
| III | 132kV |  | Nos. | 46 | 6,93,242.00 | 3.19 |
| IV | 33kV |  | Nos. | 71 | 2,71,927.00 | 1.93 |
| 2 | C.T. |  |  |  | - | - |
| a) | 400kV (0.2 S class) |  | Nos. |  | - | - |
| I | 2000-1000-500/1-1-1-1-1 |  | Nos. | 2 | 6,90,605.00 | 0.14 |
| b) | 220kV (0.2 S class) |  |  |  | - | - |
| I | 1200-600-300/1-1-1-1 |  | Nos. | 26 | 4,01,256.00 | 1.04 |
| II | 600-300-150/1-1-1-1 |  | Nos. | 1 | 4,01,256.00 | 0.04 |
| c) | 132kV (0.2 S class) |  |  |  | - | - |
| I | 800-400-200/1-1-1 |  | Nos. | 84 | 1,40,669.00 | 1.18 |
| II | 400-200-100/1-1-1 |  | Nos. | 51 | 1,60,765.00 | 0.82 |
| III | 600-300-150/1-1-1-1 |  | Nos. | 16 | 1,60,765.00 | 0.26 |
| d) | 33kV (0.2s class) |  |  |  | - | - |
| I | 1200-600-300/1-1-1 |  | Nos. | 47 | 76,043.00 | 0.36 |
| II | 800-400-200/1-1-1 |  | Nos. | 119 | 76,043.00 | 0.90 |
| III | 400-200-100/1-1-1 |  | Nos. | 24 | 76,043.00 | 0.18 |
| IV | 600-300-150/1-1-1 |  | Nos. | 36 | 76,043.00 | 0.27 |
| V | 33kV NCT(200/1) |  | Nos. | 13 | 26,736.00 | 0.03 |
| 3 | P.T./ CVT (0.2 Class) |  |  |  | - | - |
| I | 400kV CVT |  | Nos. | 3 | 2,82,624.00 | 0.08 |
| II | 220kV PT |  | Nos. | 3 | 2,87,335.00 | 0.09 |
| III | 220kV CVT |  | Nos. | 27 | 1,64,338.00 | 0.44 |
| IV | 132kV PT |  | Nos. | 30 | 1,39,161.00 | 0.42 |
| V | 132kV CVT |  | Nos. | 56 | 1,48,640.00 | 0.83 |
| VI | 33kV PT (0.2 Class) |  | Nos. | 38 | 38,161.00 | 0.15 |
| 4 | Surge Arrestor (Polymer Housing) |  |  |  | - | - |
| I | 400kV |  | Nos. | 8 | 1,98,321.00 | 0.16 |
| II | 220kV |  | Nos. | 72 | 87,446.00 | 0.63 |
| III | 132kV |  | Nos. | 129 | 35,692.00 | 0.46 |
| IV | 33kV |  | Nos. | 250 | 11,518.00 | 0.29 |
| 5 | Isolator with motorised SS mechanism Box |  |  |  | - | - |
| I | 220kV SI Double break With E/S ,1200A |  | Nos. | 2 | 4,46,183.23 | 0.09 |
| II | 220kV SI Double break W/O E/S ,2000A |  | Nos. | 2 | 4,07,632.00 | 0.08 |
| III | 220kV SI Double-break- with E/S,2000A |  | Nos. | 2 | 4,68,492.00 | 0.09 |
| IV | 220kV DI Double break with -E/S,2000A |  | Nos. | 2 | 5,88,476.00 | 0.12 |
| V | 220kV Beam Mounted Isolator,2000A maintenance free |  | Nos. | 2 | 5,78,389.00 | 0.12 |
| VI | 132kV SI W/O E/S, 1250A |  | Nos. | 5 | 2,58,501.23 | 0.13 |
| VII | 132kV SI W/O E/S, 2000A |  | Nos. | 33 | 5,69,962.00 | 1.88 |
| VIII | 132kV Double Isolator with E/S, 1250A |  | Nos. | 7 | 6,27,575.79 | 0.44 |
| IX | 132kV Double Isolator with E/S, 2000A |  | Nos. | 34 | 6,58,955.00 | 2.24 |
| X | 132kV Double Isolator W/O E/S, 1200A |  | Nos. | 5 | 5,22,958.71 | 0.26 |
| XI | 132kV Double Isolator W/O E/S, 2000A |  | Nos. | 21 | 5,49,107.00 | 1.15 |
| XII | 132kV Beam Mounted Isolator,2000A maintenance free |  | Nos. | 3 | 2,54,290.00 | 0.08 |
| XIII | 33kV SI W/O E/S, 2000A |  | Nos. | 43 | 1,54,374.00 | 0.66 |
| XIV | 33kV Double Isolator with E/S, 2000A |  | Nos. | 39 | 3,15,996.00 | 1.23 |
| XV | 33kV Double Isolator W/O E/S,2000A |  | Nos. | 9 | 2,29,467.00 | 0.21 |
| XVI | 33kV Beam Mounted isolator, 2000A maintenance free |  | Nos. | 8 | 1,18,011.00 | 0.09 |
| XVII | Male & Female contact assembly per pole of isolator for 420kV S&S Earthswitch as per drawing |  | Nos. | 5 | 1,72,116.00 | 0.09 |
| XVIII | Male & Female contact assembly per pole of isolator for 420kV 2000A HCB (Al) Isolator S&S as per drawing |  | Nos. | 8 | 1,72,116.00 | 0.14 |
| XIX | Male & Female contact assembly in set for one isolator (3poles) for 420kV GR Power Switchgear for Dia 408 Meramundali GSS as per drawing |  | Nos. | 1 | 5,16,347.00 | 0.05 |
| 6 | Motor Operating Mechanism Boxes (SS Cubicle)for isolators (For SAS work) including retrofitting charges |  |  |  | - | - |
| I | 220kV |  | Nos. | 12 | 94,491.00 | 0.11 |
| II | 132kV |  | Nos. | 12 | 61,200.00 | 0.07 |
| III | 33kV |  | Nos. | 12 | 61,200.00 | 0.07 |
| 7 | Relays |  |  |  | - | - |
| I | Numerical Differential (3 WINDING) |  | Nos. | 12 | 2,63,390.16 | 0.32 |
| II | Numerical Back up |  | Nos. | 50 | 75,509.22 | 0.38 |
| III | Auxiliary Relay VAA 33 |  | Nos. | 44 | 9,420.60 | 0.04 |
| IV | Master Trip Relay VAJM-15 |  | Nos. | 35 | 6,362.00 | 0.02 |
| V | Master Trip Relay VAJM-25 |  | Nos. | 30 | 7,585.00 | 0.02 |
| VI | Master Trip Relay VAJH-13 |  | Nos. | 4 | 6,362.00 | 0.00 |
| VII | Master Trip Relay VAJHM-33 |  | Nos. | 3 | 18,564.00 | 0.01 |
| VIII | Master Trip Relay VAJH-33 |  | Nos. | 2 | 18,564.00 | 0.00 |
| IX | DP Relay |  | Nos. | 15 | 18,564.00 | 0.03 |
| X | Numerical DP |  | Nos. | 22 | 1,37,574.24 | 0.30 |
| 8 | Audit Energy meter (0.2 class) (Apex 100 meter) including erection, testing, commissioning & AMC |  | Nos. | 42 | 2,93,677.00 | 1.23 |
| 9 | Apex 100 Panel |  | Nos. | 12 | 1,15,950.00 | 0.14 |
| 10 | Control Cable |  |  |  | - | - |
| I | 2 Core 2.5 mm2 |  | Km | 12.8695 | 95,916.00 | 0.12 |
| II | 2 Core 4 mm2 |  | Km | 36.03 | 95,916.00 | 0.35 |
| III | 4 Core 2.5 mm2 |  | Km | 32 | 1,51,279.00 | 0.48 |
| IV | 4 Core 4 mm2 |  | Km | 2 | 2,09,222.01 | 0.04 |
| V | 7 Core 2.5 mm2 |  | Km | 16.8 | 2,28,987.00 | 0.38 |
| VI | 9 Core 2.5 mm2 |  | Km | 16.485 | 2,28,987.00 | 0.38 |
| VII | 12 Core 2.5 mm2 |  | Km | 14.2 | 3,11,201.00 | 0.44 |
| VIII | 19 Core 2.5 mm2 |  | Km | 14.606 | 5,49,016.00 | 0.80 |
| IX | 24 Core 2.5 mm2 |  | Km | 5.1 | 7,05,353.09 | 0.36 |
| X | 3 Core 2.5 mm2 |  | Km | 5 | 1,22,402.65 | 0.06 |
| XI | 10 Core 2.5 mm2 |  | Km | 4.7 | 3,11,201.48 | 0.15 |
| 11 | Power Cable |  |  | 0 | - | - |
| I | Power Cable (3 1/2 core, 16 mm2) |  | Km | 36 | 1,63,798.00 | 0.59 |
| II | Power Cable (3 1/2 core, 25 mm2) |  | Km | 7 | 1,63,798.00 | 0.11 |
| III | Power Cable (3 1/2 core, 95 mm2) |  | Km | 27.5 | 4,50,753.00 | 1.24 |
| IV | Power Cable (31/2,core,120mm2) |  | Km | 1 | 5,61,594.00 | 0.06 |
| V | Power Cable (3 1/2 core, 180 mm2) |  | Km | 1 | 5,97,757.00 | 0.06 |
| VI | Power Cable (3 1/2 core,300mm2) |  | Km | 2 | 12,61,124.00 | 0.25 |
| 12 | Conductor |  |  | 0 | - | - |
| I | ACSR Panther |  | Km | 90.674 | 2,20,570.00 | 2.00 |
| II | ACSR Zebra |  | Km | 29.5 | - | - |
| III | ACSR Moose |  | Km | 26.2 | 5,07,895.00 | 1.33 |
| IV | AAAC Panther |  | Km | 1 | - | - |
| V | AAAC Zebra |  | Km | 1 | 3,78,072.00 | 0.04 |
| VI | AAAC Moose |  | Km | 2 | 5,37,912.00 | 0.11 |
| VII | GI Earth Wire |  | Km | 1 | 40,077.84 | 0.00 |
| 13 | SF-6 Gas Cylinders (50 kg.) |  | Nos. | 35 | 77,757.00 | 0.27 |
| 14 | Insulator |  |  |  | - | - |
| I | 160kN L/R Silicon Rubber (220kV) |  | Nos. | 120 | 5,690.88 | 0.07 |
| II | 160kN L/R Porcelin Insulator (220kV) |  | Nos. | 323 | 19,267.51 | 0.62 |
| III | 160kN Porcelin Insulator (220kV) |  | Nos. | 500 | 18,350.01 | 0.92 |
| IV | 120kN Porcelain LR (220kV) |  | Nos. | 54 | 15,857.15 | 0.09 |
| V | 120kN porcelain LR (132kV) |  | Nos. | 729 | 10,918.72 | 0.80 |
| VI | 120kN L/R Silicon Rubber (132kV) |  | Nos. | 280 | 2,955.42 | 0.08 |
| VII | 90kN Porcelain Insulator (220kV) |  | Nos. | 250 | 14,065.70 | 0.35 |
| VIII | 90kN L/R silicon Rubber (220kV) |  | Nos. | 210 | 4,982.42 | 0.10 |
| IX | 90kN Porcelain LR (220kV) |  | Nos. | 299 | 14,768.98 | 0.44 |
| X | 90kN porcelain LR (132kV) |  | Nos. | 715 | 9,240.16 | 0.66 |
| XI | 90kN L/R silicon Rubber (132kV) |  | Nos. | 34 | 2,780.62 | 0.01 |
| XII | 160kN Disc Antifog |  | Nos. | 2395 | 988.00 | 0.24 |
| XIII | 120kN Disc Antifog |  | Nos. | 994 | 881.00 | 0.09 |
| XIV | 90kN Disc Antifog |  | Nos. | 561 | 818.00 | 0.05 |
| XV | 70kN Disc Antifog |  | Nos. | 200 | 1,150.55 | 0.02 |
| 15 | Single Suspension H/W Fitting |  |  |  | - | - |
| I | For ACSR Panther 90kN (AGS type) |  | Nos. | 192 | 2,428.00 | 0.05 |
| II | For ACSR Moose 120kN (AGS Type) |  | Nos. | 127 | 4,239.00 | 0.05 |
| III | For ACSR Zebra 120kN (AGS Type) |  | Nos. | 113 | 3,301.00 | 0.04 |
| IV | For AAAC Panther 90kN (AGS type) |  | Nos. | 13 | 1,806.00 | 0.00 |
| V | For AAAC Zebra 120kN (AGS Type) |  | Nos. | 1 | 3,014.00 | 0.00 |
| VI | For AAAC Moose 120kN (AGS Type) |  | Nos. | 5 | 4,239.00 | 0.00 |
| 16 | Double Suspension H/W Fitting |  |  |  | - | - |
| I | For ACSR Zebra 120kN (AGS Type) |  | Nos. | 150 | 5,586.00 | 0.08 |
| II | For ACSR Panther 90kN (AGS type) |  | Nos. | 146 | 2,428.00 | 0.04 |
| III | For ACSR Moose 120kN (AGS Type) |  | Nos. | 35 | 6,453.00 | 0.02 |
| IV | For AAAC Zebra 120kN (AGS Type) |  | Nos. | 65 | 4,678.00 | 0.03 |
| V | For AAAC Moose 120kN (AGS Type) |  | Nos. | 21 | 6,453.00 | 0.01 |
| 17 | Single Tension H/W Fitting |  |  |  | - | - |
| I | For ACSR Panther 120kN |  | Nos. | 286 | 2,152.00 | 0.06 |
| II | For ACSR Zebra 160kN |  | Nos. | 251 | 2,540.00 | 0.06 |
| III | For ACSR Moose 160kN |  | Nos. | 126 | 3,454.00 | 0.04 |
| V | For AAAC Zebra 120kN |  | Nos. | 4 | 2,540.00 | 0.00 |
| VI | For AAAC Moose 160kN |  | Nos. | 6 | 3,454.00 | 0.00 |
| VII | Tension clamp for E/W |  | Nos. | 14 | 688.00 | 0.00 |
| 18 | Double Tension H/W Fitting |  |  | 0 | - | - |
| I | For ACSR Panther 120kN |  | Nos. | 212 | 4,807.00 | 0.10 |
| II | For ACSR Zebra 160kN |  | Nos. | 167 | 5,793.00 | 0.10 |
| III | For ACSR Moose 160kN |  | Nos. | 224 | 6,186.00 | 0.14 |
| IV | For AAAC Panther |  | Nos. | 15 | 2,778.29 | 0.00 |
| V | For AAAC Zebra 160kN |  | Nos. | 14 | 5,793.00 | 0.01 |
| VI | For AAAC Moose 160kN |  | Nos. | 6 | 6,186.00 | 0.00 |
| 19 | Repair Sleeve |  |  |  | - | - |
| I | For ACSR Panther |  | Nos. | 38 | 270.00 | 0.00 |
| II | For ACSR Zebra |  | Nos. | 37 | 396.00 | 0.00 |
| III | For ACSR Moose |  | Nos. | 74 | 568.00 | 0.00 |
| IV | For AAAC Panther |  | Nos. | 1 | 204.00 | 0.00 |
| V | For AAAC Zebra |  | Nos. | 11 | 347.00 | 0.00 |
| VI | For AAAC Moose |  | Nos. | 1 | 568.00 | 0.00 |
| 20 | Mid Span Joint |  |  | 0 | - | - |
| I | For ACSR Zebra |  | Nos. | 154 | 975.00 | 0.02 |
| II | For ACSR Panther |  | Nos. | 152 | 655.00 | 0.01 |
| III | For ACSR Moose |  | Nos. | 34 | 1,294.00 | 0.00 |
| IV | For AAAC Panther |  | Nos. | 1 | 481.00 | 0.00 |
| V | For AAAC Zebra |  | Nos. | 1 | 830.00 | 0.00 |
| VI | For AAAC Moose |  | Nos. | 6 | 1,294.00 | 0.00 |
| 21 | Vibration Damper |  |  |  | - | - |
| I | ACSR Panther |  | Nos. | 214 | 570.00 | 0.01 |
| II | ACSR Zebra |  | Nos. | 135 | 925.00 | 0.01 |
| III | ACSR Moose |  | Nos. | 7 | 1,323.00 | 0.00 |
| IV | AAAC Panther |  | Nos. | 1 | 467.00 | 0.00 |
| V | AAAC Zebra |  | Nos. | 1 | 735.00 | 0.00 |
| VI | AAAC Moose |  | Nos. | 1 | 1,069.00 | 0.00 |
| VII | Others if any(E/W - 7/3.15) |  | Nos. | 11 | 442.00 | 0.00 |
| 22 | Battery & Charger |  |  |  | - | - |
| I | Battery Set 220V, 350 AH (Plante type) (including supervision charges for testing & commissioning) |  | Set | 9 | 27,21,600.00 | 2.45 |
| II | Battery Charger (Thyristor Controlled) suitable for above battery set with dropper diode (including supervision charges for testing & commissioning) |  | Nos. | 8 | 5,69,827.00 | 0.46 |
| 23 (I) | Tower Structure(lines) |  | MT | 238.335 | 1,23,105.00 | 2.93 |
| (II) | Nut & Bolt and washers including Store Stock @ 5% of Total Tonnage of above structure material as per BOQ of structure |  | MT | 13.503 | 1,45,025.00 | 0.20 |
| 24 (I) | 132kV Structurals( Sub Statation) |  | MT | 41 | 1,23,105.00 | 0.50 |
| (II) | Nut & Bolt and washers including Store Stock @ 5% of Total Tonnage of above structure material as per BOQ of structure (in MT) |  | MT | 2.8 | 1,45,025.00 | 0.04 |
| 25 | Station Transformer |  |  |  | - | - |
| I | 250kVA, 33/ 0.4kV |  | Nos. | 11 | 7,60,817.00 | 0.84 |
| II | 500kVA |  | Nos. | 2 | 8,76,102.00 | 0.18 |
| III | Transformer Oil |  | KL | 3.2 | 1,35,351.51 | 0.04 |
| 26(a) | 132kV, 1 core, 1000 Sq. mm Copper XLPE UG cable (Extruded semi conducting Screen and extruded or seam welded corrugated Aluminium seath type) . |  | Km | 1 | 1,34,17,858.00 | 1.34 |
| b | Insulated straight through jointing kit pre mould type suitable for 132kV, 1 core, 1000mm2 Cupper UG Cable & Link Box connection with 240sqmm 1 core XLPE Bonding Cable |  | Nos. | 2 | 1,98,339.65 | 0.04 |
| c | Out-door type Termination kit suitable for 132kV, 1 core, 1000 mm2 Cupper UG Cable & Link Box connection with 240sqmm 1 core XLPE Bonding Cable |  | Nos. | 2 | 38,38,829.67 | 0.77 |
| d | 132kV, 1 core, 630 Sq. mm Copper XLPE UG cable (Extruded semi conducting Screen and extruded or seam welded corrugated Aluminium seath type) . |  | Km | 1 | 90,05,070.00 | 0.90 |
| e | Insulated straight through jointing kit pre mould type suitable for 132kV, 1 core, 630mm2 Cupper UG Cable & Link Box connection with 240sqmm 1 core XLPE Bonding Cable |  | Nos. | 3 | 1,87,827.68 | 0.06 |
| f | Outdoor cable terminating kit suitable for 132kV class, 1 core 630 Sq. mm, copper UG cable alongwith terminal connectors. |  | Nos. | 2 | 3,49,603.32 | 0.07 |
| g | Supply of 3 phase link box without SVL with clamps and connector with accessories. |  | Nos. | 2 | 46,233.58 | 0.01 |
| h | Supply of 3 phase link box with SVL with clamps and connector with accessories. |  | Nos. | 2 | 55,625.20 | 0.01 |
| i | Supply of single core 300 Sq.mm XLPE bonding cable. |  | Km | 1 | 31,50,547.79 | 0.32 |
| j | Earth bonding cable 240 sq.mm XLPE |  | Km | 1 | 28,09,622.39 | 0.28 |
| 27 (a) | 33kV, 1 core, 630 Sq. mm Copper XLPE UG cable (Extruded semi conducting Screen and extruded or seam welded corrugated Aluminium seath type) . |  | Km | 1 | 79,94,386.90 | 0.80 |
| (b) | 33kV, 1 core, 300 Sq. mm Copper XLPE UG cable (Extruded semi conducting Screen and extruded or seam welded corrugated Aluminium seath type) . |  | Km | 1 | 43,76,452.70 | 0.44 |
| 28(a) | Insulated straight through jointing kit pre mould type suitable for 220kV, 1 core, 1000 mm2 Cupper UG Cable & Link Box connection with 240sqmm 1 core XLPE Bonding Cable. |  | Nos. | 2 | 4,72,000.00 | 0.09 |
| b | Out-door Type Termination kit suitable for 220kV, 1 core, 1000 mm2 Cupper UG Cable & Link Box connection with 240sqmm 1 core XLPE Bonding Cable |  | Nos. | 2 | 7,54,477.44 | 0.15 |
| 29 | Disaster Resilience & response System |  |  |  |  | - |
| i | Power Saw |  | Nos. | 37 | 20,000.00 | 0.07 |
| ii | Inflatable Light |  | Nos. | 31 | 5,00,000.00 | 1.55 |
| 31 | Miscellaneous |  |  |  |  | - |
| i | AMC of Energy Metering Systems |  | L.S. |  | 1,19,07,900.00 | 1.19 |
| ii | Engagement of Security personnel |  | L.S. |  | 58,10,14,046.97 | 53.41 |
| iii | Jhulla & Tower Climber |  | L.S. |  | 8,01,22,666.00 | 8.01 |
| iv | Sanitation |  | L.S. |  | 7,74,87,708.00 | 7.75 |
| v | AMC of GPS based Synchronising Equipment |  | L.S. |  | 1,51,90,208.00 | 1.52 |
| vi | Reconditioning of 20MVA, 40MVA & 100MVA power trfs. |  | L.S. |  | 4,06,00,000.00 | 4.06 |
| vii | Renovation Works of Grid Substations including Repair / Replacement of Old & Defective Equipments, Bus Augmentation, Switchyard Re-metalling & Illumination, Renovation of Earthing System, Painting of Equipments, Repair of Boundary Walls & Fencing, Repair of Approach Roads, Cable Trenches & Drainage System etc. |  | L.S. |  | 26,08,35,000.00 | 26.08 |
| viii | Renovation Works of EHT Lines including Revetment, Couping, Tower Earthing, Painting and Replacement of Angles, Conductors, Insulators, Clamps & Connectors etc. |  | L.S. |  | 16,39,25,000.00 | 16.39 |
| ix | Transformer Fire Fighting Protection for Transformers |  | L.S. |  | 4,40,00,000.00 | 4.40 |
| x | Misc expenses for portable genarator set,insulator detection test kit |  | L.S. |  | 22,00,000.00 | 0.22 |
| 32 | PANEL |  |  | - |  | - |
| vi | 33kV Feeder Panel (Simplex) |  | Nos. | 2.00 | 4,21,099.53 | 0.08 |
| vii | 33kV TRF Panel (Simplex) |  | Nos. | 1.00 | 4,34,550.31 | 0.04 |
| 33 | Transformer Bushing (Condenser Type) |  |  | - |  | - |
| i | 220kV |  |  | - |  | - |
| ii | 132kV |  | Nos. | 7.00 | 6,52,000.00 | 0.46 |
| iii | 33kV |  | Nos. | 7.00 | 1,52,500.00 | 0.11 |
| 34 | Post Insulator |  |  | - |  | - |
| i | Single Stack PI for 132kV |  | Nos. | 12.00 | 10,918.72 | 0.01 |
| ii | Single Stack PI for 33kV |  | Nos. | 23.00 | 9,240.16 | 0.02 |
| iv | PI for 33kV |  | Nos. | 6.00 | 9,240.16 | 0.01 |
| 35 | Inspection Fees |  | LS |  |  | 10.00 |
|  | TOTAL |  |  | - |  | 192.46 |

(ii)   R & M Expenses relating to TELECOM Wing:

Presently, OPTCL has switched over to optic fibre based communication system (OPGW) abandoning the traditional PLCC mode of communication. As a result, there is no further requirement of outdoor equipment, spares, test equipment, etc. pertaining to PLCC. Procurement of various telecom equipment for the purpose of R&M activities including AMC, maintenance of OPGW links, miscellaneous expenditure, watch & ward & license fees etc. have been envisaged in order to keep in place a healthy and efficient telecommunication system. Accordingly, provision of Rs. 3.73 Cr. is proposed during FY 2025-26 towards R&M expenses pertaining to Telecommunication Wing, the details of which are shown in the Table-10 below:

- Table-10

| R & M EXPENDITURE OF TELECOM WING FY 2025-26 |  |  |
| --- | --- | --- |
| Sl . No | Description of Works | Amount (Rs. Cr.) |
| 1 | AMC of SCADA & EMS by Chemtrol | 0.15 |
| 2 | AMC of APS (Auxiliary Power Supply) | 0.04 |
| 3 | AMC of SDH equipment | 0.42 |
| 4 | Maintenance of OPGW links along with supply of OPGW cable and hardwares for restoration of OPGW links | 1.99 |
| 5 | Miscellaneous expenditure(Cleaning and sweeping, Furniture and fixtures, Computer consumables, AC repair, AC/DC distribution board, supply of cards of existing equipment, fire extinguisher , official contingencies etc. | 0.25 |
| 6 | Watch & ward | 0.86 |
| 7 | License fee for walki-Talkie | 0.01 |
|  | Total | 3.73 |

(iii) R& M Expenses relating to Civil Works:

OPTCL on a continuous basis maintains and upkeeps its Civil Works across Odisha relating to major Repair & Maintenance of various buildings, approach road, staff quarters & other civil works etc. of grid sub-stations. Accordingly, an amount of Rs. 11.80 Cr. is proposed towards R&M expenses during FY 2025-26 pertaining to Civil Works, the details of which are shown in the Table-11 below:

Table-11

| R & M EXPENDITURE OF CIVIL WING FY 2025-26 |  |  |
| --- | --- | --- |
| Sl.No. | Description of Work | Amount (Rs. Cr.) |
| 1 | Repair of approach roads & related work | 0.79 |
| 2 | Repair of Boundary and Compound Wall & Other Civil Work | 0.55 |
| 3 | Repair of Water supply system, sewerage system and drainage related work | 1.12 |
| 4 | Other Buildings | 1.23 |
| 5 | Repair of staff quarters inside OPTCL Colony (Non- Bhubaneswar) | 3.65 |
| 6 | Repair of staff quarters inside OPTCL Colony ( Bhoinagar, Mancheswar & Chandrasekharpur) |  |
| 7 | Repair of Office Buildings | 2.45 |
| 8 | Repair of control rooms inside various grid sub-stations | 2.00 |
|  | Total | 11.80 |

### (iv) R & M Expenses relating to Information Technology (IT) Works & Others:

With increase in IT assets, regular maintenance and up-gradation is a necessity. Therefore, OPTCL has planned its expenditure to ensure the availability of IT system for its users. Proposed investment includes PDC data server maintenance, network system, ERP, software updates, AMCs, spares of hardware, professional software license fees and other IT related items. Accordingly, a provision of Rs. 9.71 Cr. is proposed during FY 2025-26 towards R&M expenses pertaining to IT wing and others in order to keep in place a well maintained and upgraded IT system, the details of which are shown in Table-12 below:

Table-12

| R & M EXPENDITURE OF IT WING & OTHERS FY 2025-26 |  |  |
| --- | --- | --- |
| Sl. No. | Project Description | Amount (Rs. Cr.) |
| 1 | Networking system(Tech tower,OGS-WAN, NOC, FMS) | 0.66 |
| 2 | FMS(Facility Management System) | 0.72 |
| 3 | ERP(SAP) Implementation | 2.08 |
| 4 | AMC of IT Equipment/ peripherals | 0.2 |
| 5 | Webmail Service (OPTCL) | 0.31 |
| 6 | CCTV | 0.3 |
| 7 | VC software | 0.01 |
| 8 | Cyber Security | 0.32 |
| 9 | PDC (Primary Data Center) | 2.27 |
| 10 | GIS(Geographical information System) | 0.3 |
| 11 | IT Consumables and spares | 0.1 |
| 12 | Digitization | 0.2 |
| 13 | ERP(SAP) License | 1.6 |
| 14 | OLAMP | 0.13 |
| 15 | Others | 0.50 |
|  | TOTAL | 9.71 |

Regulation 8.15 specifies that R&M expenses would be allowed @ 2.50% of Gross Fixed Assets (GFA). Considering the GFA amounting to Rs. 9554.12 Cr. as on 31.03.2024, the R&M expenses would be Rs.238.85 Cr.

A.1 (d) Expenses related to auxiliary energy consumption in the Sub-stations:

As per the Regulation 8.2 of OERC Regulations, 2014, Operation and Maintenance (O&M) expenses shall include expenses related  to auxiliary energy consumption in the Sub-station for the purpose of air-conditioning, lighting, technical consumption, etc. Based on the above Regulation, every year OPTCL has been proposing certain amount under this head but the Hon’ble Commission has not allowed any amount separately under this head and directed in earlier Transmission Tariff orders to include such amount in the operation and maintenance expenses as per Regulation 8.5. Therefore, OPTCL has not proposed any amount under this head separately.

A.1(e) Other miscellaneous expenses, statutory levies and taxes (except corporate income tax)

Grid Coordination Committee (GCC) Expenses: As per the Chapter-11 (2)(1) of the  Orissa Grid Code (OGC) Regulations 2006,  Grid Coordination Committee (GCC) has been formed under OPTCL to deal with all the matters specified in Chapter-11(2)(2). Under GCC expenses, OPTCL proposes Rs. 0.35 Cr. towards Annual GCC Expenses for FY 2025-26 in line with the said provisions.

Taking into account the proposed expenditure towards manpower (Employee Cost including Terminal Benefit), Repair & Spares (R&M Expenses) towards consumables, insurance and overheads (A&G Expenses) & GCC, OPTCL proposes the O&M Expenses as Rs. 821.90 Cr.

The summary of O&M Expenses for FY 2025-26 is shown in the Table-13 below:

Table-13                                                            Rs. Cr.

| Summary of O&M Expenses for FY 2025-26 |  |
| --- | --- |
| Particulars | Amount |
|  | (Rs. Cr.) |
| (i) Employees Cost including Terminal Benefits | 554.05 |
| (ii) A&G Cost | 49.80 |
| (iii) R&M Cost | 217.70 |
| (iv) Expenses related to auxiliary energy consumption in S/s | - |
| (v) Other miscellaneous expenses, statutory levies and taxes (GCC expenses) | 0.35 |
| Total O&M Expenses | 821.90 |

A. 2) Interest and Financial Charges (F-13):

A.2) (a) Interest on Loan

Interest on loan for FY 2025-26 has been projected as Rs. 145.61 Cr. Details of interest on loan capital is shown in F-13 and the abstract is presented in the Table-14 below:

Table-14

| Projection for Interest on loan for FY 2024-25 (Rs. Cr.) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Particular | Rate of Interest | Principal as on 01.04.2025 | Loan to be received during 2025-26 | Principal Repayment due in 2025-26 | Interest payment during 2025-26 | Total payment during 2025-26 |
| 1 | JICA | 5.00% | 442.53 |  | 42.25 | 21.07 | 63.32 |
| 2 | Union Bank of India-I | 8.80% | 338.83 |  | 46.67 | 27.76 | 74.43 |
| 3 | Union Bank of India-II | 8.90% | 548.09 |  | 50.59 | 46.53 | 97.12 |
| 4 | UCO Bank | 8.25% | 450.51 |  | 39.02 | 35.56 | 74.58 |
| 5 | New Loan | 8.65% | 641.40 | 1,331.08 |  | 170.62 | 170.62 |
| 6 | Sub Total |  | 2,421.36 | 1,331.08 | 178.53 | 301.54 | 480.07 |
| 7 | Less: Capitalisation |  |  |  |  | 155.93 |  |
| 8 | Grand Total |  | 2,421.36 | 1,331.08 | 178.53 | 145.61 |  |

A. 2(b) Interest on Working Capital:

As per the Regulations 8.25 OERC Regulations, 2014, Working Capital shall include

- Receivables equivalent to one month of fixed cost;

- Maintenance spares @15% of operation and maintenance expenses as specified in regulation 8.2 to regulation 8.15;

- Operation and maintenance expenses (as specified in regulation 8.2 to regulation 8.5) for one month.

As per the Regulation 8.26 of OERC Regulations, 2014, the rate of interest for working capital shall be on normative basis and shall be equal to the SBI Base Rate plus 300 basis points as on 1st January of the preceding year for which tariff is determined:

Provided that in case of STU (OPTCL) the Commission shall determine the quantum of working capital if needed depending on the cash flow position of the licensee and shall allow interest on the same.

Accordingly, the Working Capital is estimated as Rs. 332.99 Cr. The interest on working capital works out to Rs. 44.12 Cr. considering interest rate of 13.25%, the details are given in Table-15 below.

Table-15

| Calculation of Interest on Working Capital |  |
| --- | --- |
| Parameters | Amount (Rs. Cr.) |
| (i) Receivable equivalent to one month of Fixed Cost | 141.22 |
| (ii) Maintenance Spares @ 15% of O&M expenses | 123.28 |
| (iii) Operation & Maintenance expenses for one month | 68.49 |
| Total Working Capital | 332.99 |
| Interest on Working Capital @ (10.25+3.00%) | Rs. 44.12 Cr. |

Proviso to the Regulation 8.26 states that for OPTCL, the Commission shall determine the quantum of working capital if needed depending upon the cash flow position and shall allow interest on same. In line with the above regulation, Hon’ble Commission has not allowed any interest on working capital in the ARR on the ground that OPTCL has positive cash flow. In line with above observation OPTCL has not proposed any amount under this head separately. However, it is requested that Hon’ble Commission may consider the interest on working capital availed, if any, in FY 2025-26 during the truing up exercise.

A. 2(c) Rebate

As per the Regulation 8.49 of OERC Regulations, 2014, a rebate of 2% shall be allowed to transmission licenses in case the payment is made within 2 working days. Similarly, as per Regulation 8.50, a rebate of 1% shall be allowed to the transmission licenses in case the payment is made after 2 working days and within a period of 30 days.

Accordingly, OPTCL has projected 2% rebate amounting to Rs. 27.97 Cr. which is calculated based on the projected ARR for FY 2025-26.

A. 2(d) Incentives as per OREP(2022)

As per new Odisha Renewable Energy Policy-2022 (OREP-2022) effective from 30th November, 2022, OPTCL shall provide exemption of twenty (20) paise per unit on STU charges to captive/open access consumers on consumption of energy from RE projects commissioned in the State during the policy period of fifteen (15) years. This exemption shall be allowed for five (5) more years in case of projects commissioned before 31.03.2026.

In this regard it may be noted that till date OPTCL has signed Transmission Capacity Access Agreement (TCAA) with ABREL SPV Ltd(15.62 MW) and Mahanadi Coalfield Ltd ( 50 MW). Accordingly, OPTCL has projected Incentives Rs. 2.10 Cr. for FY 2025-26.

New Projects:

OPTCL proposes to spend Rs. 2272.07 Cr. during FY 2025-26 towards Capital Expenditure (CAPEX) on new projects in different streams of activities like Construction, Telecom, O&M, IT and Civil Works. The summary of proposed CAPEX under various wings is furnished in the Table-16 below:

### Table-16

| Projected CAPEX - FY 2025-26 |  |
| --- | --- |
| Particulars | Amount (Rs. Cr.) |
| (i) New Transmission Projects (Construction Wing) | 1639.79 |
| (ii) Existing Assets (O&M Wing) | 413.14 |
| (iii) Telecom Wing | 102.00 |
| (iv) Information Technology (IT Wing) | 51.59 |
| (v) Civil Wing | 65.55 |
| Total Capital Expenditure [(i)+(ii)+(iii)+(iv)+(v)] | Rs. 2272.07 Cr. |

- CAPEX FOR TELECOM RELATED PROJECTS:

In order to have a dependable, safe and effective communication system, OPTCL has implemented its own Telecommunication Network through PLCC and Optic Fibre between each grid sub-stations and generating stations as well as to SLDC, Bhubaneswar and Back up SLDC at Meramundali. Communication for all the sub-stations of OPTCL above 132kV voltage level is now planned through OPGW connectivity only. In the meantime, large numbers of industries are coming up in Odisha either having CGP or planning to draw power from OPTCL’s network. For smooth management of real time operation of power system by SLDC, the industries are required to be integrated with OPTCL grid system as per the provisions of OGC Regulations by providing necessary voice and data communication to SLDC. Keeping in view of all such aspects, constant endeavor has been made to renovate and upgrade the existing communication system by laying OPGW. Looking at the above aspects, the CAPEX proposal for FY 2024-25 in respect of Telecommunication work is summarized as follows:

- Provision of Digital Tele-protection coupler (DTPC) in all 220kV and higher KV lines of OPTCL. For protection of EHV lines (220kV and above voltage level) estimate was prepared towards supply and commissioning of 634 nos. of DTPC to be interfaced with  existing as well as upcoming lines of OPTCL through Optical Line terminal Equipment (OLTE). However, due to austerity measures, OPTCL management advised to consider only few important lines for DTPC. Accordingly, a revised scheme was prepared for 222 nos. of DTPC at an estimated value of Rs. 6.22 Cr. As per the expenditure plan, an amount of Rs. 6.22 Cr. shall be required for FY 2024-25.

- Procurement of Spare fiber (500 kms). It is necessary to have spare fiber of 20 kms of 48F and 70 kms of 24F OPGW for emergency restoration of OPGW network due to line diversion / Tower heightening/ OPGW cut for different Telecom Divisions under Telecommunication wing, OPTCL, Bhubaneswar. We also have other projects like Joda-Rourkela and Kesinga-Baliguda in line. We have to maintain the network for 24X7. Therefore, a provision of Rs. 12.50 Cr. has been kept for procurement of spare fiber OPGW (500 KM) in FY 2024-25.

- Measuring equipment. We are going to procure measuring equipment for maintenance / emergency restoration of OPGW network due to line diversion / Tower heightening / OPGW cut for different Telecom Divisions under Telecommunication wing, OPTCL, Bhubaneswar.  This project costs around Rs. 1.50 Cr.

- Procurement of AC machine for different divisions under Telecommunication wing, OPTCL with a cost of Rs. 0.36 Cr.

- OLTE equipment for some grid sub-stations which are not connected with our network with a provision of Rs. 2.0 Cr.

- Procurement of Battery set: There is a need of Battery set at different Grid sub-stations of OPTCL which hampers the work repeatedly. Therefore, a provision of Rs. 3.40 Cr. has been kept for procurement of battery set in FY 2024-25.

- Procurement of Charger There is a need of 48 Volt charger at different grid sub-stations of OPTCL which hampers the day to day work during emergency hours. Therefore, a provision of Rs. 3.80 Cr. has been kept for procurement of Charger   in FY 2024-25.

Accordingly provision of Rs. 29.78 Cr. is proposed for FY 2024-25 towards CAPEX    pertaining to Telecommunication Wing, the details of which are shown in the Table- 17 below:

Table -17

| CAPEX OF TELECOM PROJECTS: FY 2025-26 |  |  |
| --- | --- | --- |
| Sl. No. | Description of work | Amount (Rs. Cr.) |
| 1 | Installation and Commissioning of 120km 24 f OPGW in 220kV Kesinga-Baliguda Line | 1.60 |
| 2 | Supply Installation and commissioning of OPGW in 132kV Joda Rourkela Line | 1.00 |
| 3 | Procurement of 48 Volt Battery Set (90 Sets) | 1.50 |
| 4 | Supply installation & commissioning & comprehensive AMC of 50 Volt 75 Amps SMPS based charger | 1.12 |
| 5 | Procurement of measuring equipments | 1.16 |
| 6 | Supply installation & commissioning of 260 Nos. of DTPC in 220 KV & 400 KV EHT lines of OPTCL | 11.00 |
| 7 | Procurement of 24F OPGW in vital links of OPTCL | 9.60 |
| 8 | Installation & Commissioning of 24F OPGW in vital links of OPTCL | 4.43 |
| 9 | Procurement of 48 f OPGW for Non OPGW stations | 13.50 |
| 10 | Stringing of 48 f OPGW for Non OPGW stations | 6.19 |
| 11 | Supply Installation and Commissioning of 40Nos of Dual reporting Retrofitting RTUs | 2.40 |
| 12 | Supply Installation and Commissioning of VPS at new SLDC Building | 4.50 |
| 13 | Procurement of 48f OPGW for 400kV Mendhasal- Meramundali DC Line | 2.67 |
| 14 | Stringing of 48f OPGW for 400kV Mendhasal- Meramundali DC Line | 1.20 |
| 15 | Miscellaneous Work for SCADA upgradation Phase III at New SLDC Building (Cable Trench, earthing, AC Cabling, Splitter, switches etc.) | 0.30 |
| 16 | Stringing of 24f OPGW for 220kV Chandaka-Mendhasal | 0.25 |
| 17 | Stringing of 48f OPGW for 132kV Chandaka SLDC | 0.09 |
| 18 | Supply Installation and Commissioning of MPLS-TP Equipment for STAMS Project | 19.22 |
| 19 | Supply Installation and Commissioning of SDH( STM-16) Equipment towards upgradation of existing against STAMS Project | 19.64 |
| 20 | Furniture & Fixtures | 0.02 |
| 21 | Other Office Equipment | 0.01 |
| 22 | Electrical Installation in other location | 0.01 |
| 23 | Furniture & Fixtures | 0.01 |
| 24 | Computer & IT Peripherals | 0.01 |
| 25 | Networking System | 0.01 |
| 26 | Air- Conditioner | 0.20 |
| 27 | Water Cooler | 0.01 |
| 28 | Other Office Equipment | 0.01 |
| 29 | Electrical Installation in other location | 0.01 |
| 30 | Civil Work | 0.35 |
|  | Total | 102.00 |

- CAPEX FOR EXISTING ASSETS (O&M WING):

An amount of Rs. 413.14 Cr. has been proposed for FY 2025-26 under CAPEX to meet the future load growth basically by way of transformer capacity augmentation / Sub-Station capacity enhancement by installing additional transformers in the existing grid Sub-Stations, for enhanced power flow and to mitigate the over voltage problems by uprating/replacement of old and damaged conductors with HTLS conductors. The details of item wise CAPEX for O&M related projects are shown in the Table-18 below.

- Table-18

| CAPEX FOR O&M PROJECTS: FY 2025-26 |  |  |  |  |
| --- | --- | --- | --- | --- |
| SL NO. | DESCRIPTION | Qty. | UNIT RATE IN Cr. | AMOUNT IN Cr. |
| 1 | PROCUREMENT OF TRANSFORMERS WITH COST OF ERECTION |  |  |  |
| (I) | 500MVA at Grid S/s (Mendhasal-2, New Duburi, Lapanga) | 4 | 34 | 136 |
| (II) | 160MVA at Grid S/s (Narendrapur, Tarkera, New Bargarh, Joda) | 4 | 13.5 | 54 |
| (III) | 63MVA at Grid S/s (Shamuka) | 1 | 7.2 | 7.2 |
| (IV) | 40MVA at Grid S/s (Berhampur, Ghens, Paradeep, Budhipadar) | 4 | 5.3 | 21.2 |
| (V) | 20MVA at Grid S/s (Karanjia, Rairangpur, Therubali, Boinda, Anandpur, Kamakhya nagar, Akhusingh, Dabugaon, Ganjam) | 10 | 3.4 | 34 |
| (VI) | Construction of 220 KV Reactor bay with Supply of 01 no.of 80 MVAR Reactor: 220/132/33kV GSS, Jayanagar | LS |  | 16.26 |
| (VII) | Construction of 3rd bay at Bonai grid s/s. | LS | 9.66 | 9.66 |
| 2 | Replacement and Conversion of conductors: |  |  |  |
| (I) | Replacement of conductor : 132KV Angul-Boinda Line | 39 KM |  | 3.99 |
| (II) | Replacement of conductor : 132KV Chainpal-Choudwar CKT-II | 91 KM |  | 2.04 |
| (III) | Replacement of conductor : 132KV ICCL-Dhenkanal Line | LS |  | 2.00 |
| (IV) | Conversion of S/C to D/C Line in 132KV Nimapara-Konark line | 21 KM |  | 7.6 |
| (VI) | Replacement of Lynx conductor : 132KV Mohana-Akhusing line | 56 KM | 0.078 | 4.38 |
| (VII) | Replacement of conductor : 220kV Bhanjanagar-Theruvali D/C line | LS |  | 4.5 |
| (VIII) | Construction of 2nd circuit stringing of 132kV Khariar-Kantabanji line on existing DC tower with bay extension work both at Khariar and Kantabanji (33.25kms, PA-86, PB-20, PC-16, UR-01) | LS |  | 6.066 |
| (IX) | Construction of 2nd circuit stringing of 132kV Khariar- Nuapada line on existing DC tower with Bay extension work at Khariar GSS (72.2Kms DA-173, DB-26, DC-29, DD-32) | LS |  | 7.5 |
| (X) | Replacement of conductor of 132 KV SMC-Rajgangpur SC line from Loc No 171 to 303 under T/L S/D Budhipadar. | LS |  | 1 |
| (XI) | Replacement of conductor of 132kV Sambalpur-Rajgangpur SC line from Loc No 65 to 171 under T/L S/D Budhipadar. | LS |  | 1 |
| (XII) | Replacement of conductor of 132kV Budhipadar-Kalunga DC line from Loc No 16 to 290 under T/L S/D Budhipadar. | LS |  | 1 |
| (XIII) | Replacement of conductor of 132kV Burla-lapanga-budhipadar Ckt-II from Loc No 61 to 178 under T/L S/D Budhipadar. | LS |  | 1 |
| (XIV) | Restringing of 132kV Tarkera Rajgangpur Circuit I, II, III & 132kV Rourkela - Nalda with new Panther conductor along with replacement of insulators. | LS |  | 10.57 |
| 4 | SAS Automation Work : (Kharagprasad,Dhenkanal,Khajuriakata, katapali, paradeep, Budhipadar, Bolangir new ) | LS |  | 7.14 |
| 5 (i) | Diversion of Lines |  |  | 19.24 |
| (ii) | Diversion of Lines( Shifting of one tower at loc no 98(Pc+6) of Balasore-Basta -Jaleswar line) | LS |  | 0.6 |
| 6 | Procurement and erection of DG Sets at different Grid S/s : |  |  |  |
| (I) | DG Sets (82.5KVA ) | 17 | 0.14 | 2.38 |
| (II) | 160KVA DG Sets | 2 | 0.18 | 0.36 |
| 7 | Construction of 33KV Feeder Bays at different Grid S/s | 1 | 0.85 | 0.85 |
| 8 | Stringing of conductor( Bhadrak Bus Agumenatation) | 1 | 0.03 | 0.03 |
| 9 | Survey for Conversion of S/C to D/C line: 132kV Chhatrapur-Balugaon line | LS |  | 0.08 |
| 10 | Construction of Station Transformer-II bay with supply of 1 no. of 250KVA, 33/0.4KV transformer: 132/33kV GSS, Sunabeda | LS |  | 0.2 |
| 11 | Procurement of different Testing Equipments |  |  |  |
| (I) | Under E&MR Division, Burla | LS |  | 3.84 |
| (II) | Under E&MR Division, Bolangir | LS |  | 1.95 |
| 12 | Construction of 33KV Feeder Bays at different Grid S/s | LS |  | 1 |
| 13 | Protection upgradation and substation automation system | 3 |  | 4.5 |
| 14 | Other Works | LS |  | 6.05 |
| 15 | O&M wing Deposit work |  |  | 33.95 |
|  | Total |  |  | 413.14 |

- (iii) CAPEX FOR INFORMATION TECHNOLOGY (IT) RELATED PROJECTS:

Provision of Rs. 51.59 Cr. is made for FY 2025-26 towards CAPEX for infrastructure development of IT, new Implementation of ERP, automation related work and also for new upcoming Projects etc. as given in the Table-19 below:

Table-19

| CAPEX for IT Projects for FY 2025-26 |  |  |
| --- | --- | --- |
| Sl. No. | Project Description | Amount (Rs. Cr.) |
| 1 | End user IT System | 7.01 |
| 2 | CCTV | 29.00 |
| 3 | VC | 1.66 |
| 4 | ERP(SAP) Implementation | 7.89 |
| 5 | DRONE | 3.68 |
| 6 | Procurement of Biometric attendace system | 0.20 |
| 7 | 40KVA, 30KVA,10KVA and 5KVA Online UPS | 1.15 |
| 8 | ERP(SAP) License | 1.00 |
|  | Total | 51.59 |

- (iv) CAPEX FOR CIVIL WORKS:

OPTCL proposes CAPEX of Rs. 65.55 Cr. relating to Civil Works during                                       FY 2025-26 for new upcoming projects which have been detailed in Table-20 below.

Table-20

| CAPEX - CIVIL WORKS PROJECTS - FY 2025-26 |  |  |
| --- | --- | --- |
| Sl. No | Description of Works | Amount (Rs. Cr.) |
| 1 | Room Building | 0.51 |
| 2 | Office Building | 20.82 |
| 3 | Building inside Grid S/s | 33.10 |
| 4 | Other Building | 10.00 |
| 5 | Road | 0.20 |
| 6 | Sewerage Tank | 0.24 |
| 7 | Other civil works | 0.29 |
| 8 | Compound Wall | 0.39 |
| TOTAL |  | 65.55 |

- (V) CAPEX FOR NEW TRANSMISSION PROJECTS (CONSTRUCTION WING): (F-2)

Accordingly, it has been planned to spend an amount of Rs. 1639.79 Cr. on transmission related infrastructure during FY 2025-26 to increase the overall system capacity and to strengthen the transmission system network of the state, the details of which are shown in the Table-21 below.

Table-21

| CAPEX - TRANSMISSION PROJECTS: FY 2025-26 |  |  |  |  | (Rs. Cr.) |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description of the Project/Scheme | Expenditure during FY 2024-25 |  |  | Projected expenditure (FY 2025-26) |
|  |  | Actual for first Six months | Projection for balance Six months | Total |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| A | Construction-Own Contribution (Debt:Equity) |  |  |  |  |
| 1 | 2x40MVA, 220/33kV GSS at Nuabetanda with associated line |  | 5.33 | 5.33 | 46.87 |
| 2 | 2x40MVA, 220/33kV GSS at Hatabasta(Nayagarh) with associted line |  | 26.43 | 26.43 | 19.95 |
| 3 | 2X160MVA & 2X40MVA, 220/132/33kV GSS at Balimunda (Dhamara) with associated LILO | - | 5.00 | 5.00 | - |
| 4 | 2x20MVA, 132/33kV GSS at Chandipur with associated LILO | 0.36 | 1.00 | 1.36 | 1.84 |
| 5 | Stringing of 2nd Circuit of 132kV Bhadrak-Anandpur line | - | 1.25 | 1.25 | 2.01 |
| 6 | 2x20MVA, 220/33kV GSS at Govindpalli with associated LILO | 0.19 | 3.00 | 3.19 | 2.00 |
| 7 | 2x20MVA, 220/33kV GSS at Kalimela with associated line |  |  | - | 1.50 |
| 8 | 2x20MVA, 132/33kV Grid S/S at Lamtaput with associated line | 0.62 | 2.50 | 3.12 | 1.50 |
| 9 | 132/33kV Grid S/S at Boriguma with associated LILO |  | 1.00 | 1.00 |  |
| 10 | 2x20MVA, 132/33kV GSS at Nawarangpur with associated line | 0.19 | 2.00 | 2.19 | 1.30 |
| 11 | 2X20MVA 132/33KV Grid SS Raighar with assciated lines | 0.33 | 10.30 | 10.63 | 30.00 |
| 12 | 220kV LILO Line from Jayanagar-Balimela Ckt-I to 220/33KV GSS at Govindpalli with 2 nos Bay extension | 0.06 | 1.33 | 1.39 | 2.00 |
| 13 | 2nd circuit from LILO point of 220kV Balimela-Malkangiri line to 220/33kV GSS at Kalimela |  | 0.10 | 0.10 |  |
| 14 | 132kV Jayanagar-Sunabeda DC line | 0.74 | 1.80 | 2.54 |  |
| 15 | Boriguma LILO line |  | 1.00 | 1.00 |  |
| 16 | Forest clearance of 220kV Balimela- Malkangiri LILO at 220/33kV GSS Kalimela & forest clearance of 220kV LILO from 220/33KV GSS Govindpalli to Loc. No. 11/8 of 220kV Malkangiri- Balimela line. (M/s Minttex Consultancy PVT. Ltd.) |  | 0.47 | 0.47 |  |
| 17 | 132kV LILO line from 132kV Podagada-Pottangi Line to 132/33kV GSS at Lamtaput with 2 nos bay extension | 0.07 |  | 0.07 | 34.50 |
| 18 | 220/132/33kV GSS at Kiakata with associated line | 0.76 | 2.00 | 2.76 | 3 |
| 19 | Diversion of 01 no. 400kV and 4nos 220kV line with 220kV LILO arrangement for 400/220kV GIS at Meramundali-B. |  | 0.47 | 0.47 |  |
| 20 | 400/220/132kV GIS at Meramundali-B | 0.48 |  | 0.48 |  |
| 21 | 132/33kV GSS at Athamallick with associated LILO line | 7.31 | 7.00 | 14.31 | 10 |
| 22 | 220/132/33 KV GSS at Chhendipada with associated lines | 0.63 | 11.00 | 11.63 | 50 |
| 23 | 2x40MVA, 220/33KV GSS with SAS Parjang and with associated Line | 0.33 | 15.00 | 15.33 | 20 |
| 24 | 400kV TTPS Stage-III- Meramundali-B DC line & 400kV Meramundali-B-Meramundali-A line |  | 6.00 | 6.00 | 25.00 |
| 25 | 2x100MVA, 220/132/33kV GSS at Kuanrmunda with associated LILO | 1.19 | 8.14 | 9.33 |  |
| 26 | 2x20MVA, 220/33kV GSS at Deogarh with associated LILO | 0.11 | 0.26 | 0.37 |  |
| 27 | 132/33kV GSS at Lakhanpur with associated line. | 0.25 | 5.70 | 5.95 |  |
| 28 | 2x20MVA, 132/33kV GSS at Hirakud with associated LILO |  | 0.02 | 0.02 |  |
| 29 | 220kV Tarkera-Birsa (PGCIL) upgradation with HTLS | 2.02 | 2.60 | 4.62 |  |
| 30 | 132kV LILO Line from 01 ckt of 132kV Budhipadar-Sundargarh DC line with construction of 132 KV feeder bay at 220/132/33kV GSS at Bamra | 1.34 | 5.00 | 6.34 | 19.21 |
| 31 | 2x40MVA, 220/33kV GSS at Baliguda with associated 220kV kesinga-baliguda line | 0.48 | 4.2 | 4.68 | 15 |
| 32 | 220/132kV GSS at Daspalla with associated LILO | 0.90 | 4.74 | 5.64 | 3 |
| 33 | 2x20MVA, 132/33kV S/S at R- Udayagiri with associated line | 5.54 | 0.5 | 6.04 | 0.1 |
| 34 | 132/33kV GIS at Hinjilikatu (Ganjam) | 0.30 | 0.5 | 0.80 |  |
| 35 | 400/220kV GSS at Narendrapur(Gopalpur). | 1.76 |  | 1.76 | 55.00 |
| 36 | 220/33kV GSS at Khallikote with associated LILO |  | 2.00 | 2.00 | 20.00 |
| 37 | 2X160MVA, 220/132kV and 2X20MVA, 220/33kV GSS at Turumunga with associated line. | 3.57 | 10.39 | 13.96 |  |
| 38 | 220kV LILO line from Joda-TTPS line to 220/33kV GIS at Keonjhar |  | 3.76 | 3.76 |  |
| 39 | 2 nos. 220kV Bay extension at 220/33kV GIS at Keonjhar | 0.30 | 1.47 | 1.77 |  |
| 40 | 132kV Turumunga-Dhenkikote DC line | 0.69 | 10.88 | 11.57 | 20.08 |
| 41 | (A) 220/132/33kV GSS at Jayapatna with 01 no. bay extension at proposed 132/33kV Grid S/S at Dabugaon and 220kV LILO line from 220KV Indravati-Theruvalli line (B) 132kV Dabugaon-Jayapatna SC line on DC tower |  | 0.20 | 0.20 |  |
| 42 | 220/132/33kV GSS at Gunupur with 220 KV LILO line from 220kV Theruvalli- Narendrapur Ckt-I and 132kV LILO line from 132kV Akhusingh-Paralakhemundi line. | 0.42 | 0.50 | 0.92 | 0.25 |
| 43 | 132kV Jayapatna-Junagarh DC Line along with 2 Nos of 132kV feeder bay extention at both Junagarh and Jayapatna. | 0.06 | 0.50 | 0.56 | 5.00 |
| 44 | 132/33kV GSS at Brundabahal with associated LILO | 0.94 | 4.60 | 5.54 | 4.50 |
| 45 | 132/33kV GSS at Kantabanji & Accociated 132 KV Line from Khariar to Kantabanji | 0.03 |  | 0.03 | 10.00 |
| 46 | 132/33kV GSS at Birmaharajpur with associated line |  | 0.15 | 0.15 |  |
| 47 | 132/33kV GSS at Thuapali (Deshbhatli) with associated line |  | 1.50 | 1.50 |  |
| 48 | 132/33kV GSS at Bhatli with associated line |  | 0.30 | 0.30 |  |
| 49 | 132/33kV GSS at Tarbha with associated line | 0.66 | 2.00 | 2.66 | 16.51 |
| 50 | 220kV Bolangir-Kesinga DC line |  | 0.50 | 0.50 |  |
| 51 | 2nd 132kV Feeder Bay at 132/33kV GSS Padampur & 132/33kV GSS Nuapada |  | 1.00 | 1.00 | 0.26 |
| 52 | 132kV Patnagarh-Kantabhanji line | 2.08 | 3.83 | 5.91 | 13.01 |
| 53 | 132kV Padampur-Ghens line | 2.03 | 3.81 | 5.84 | 8.46 |
| 54 | 132/33kV GSS at M Rampur with associated line | 3.37 | 2.00 | 5.37 | 35.57 |
| 55 | 132/33kV GSS at Agalpur-Rampur with associated line | 6.31 | 6.69 | 13.00 | 16.30 |
| 56 | 2x20MVA, 132/33kV GSS at Jharbandh with associated line | 0.87 | 2.50 | 3.37 | 31.37 |
| 57 | 2x40MVA, 132/33KV GSS at Bijepur(Bargarh) with associted line | 0.31 | 2.00 | 2.31 | 23.87 |
| 58 | 2x40MVA, 220/33kV GSS at Sarasmal(Sonepur) with associated line |  | 3.00 | 3.00 | 56.98 |
| 59 | 132/33kV GSS at Manamunda with associated line |  |  | - | 5.00 |
| 60 | 400kV GSS at Ersama (Paradeep) with associated lines | 66.14 | 239.00 | 305.14 | 348.00 |
| 61 | 220/33kV GSS at Balichandrapur (Palei) with associated lines | 1.33 | 9.00 | 10.33 |  |
| 62 | 132/33kV GSS at Bahugram with associated line |  | 0.15 | 0.15 |  |
| 63 | 2x40MVA, 220/33kV GIS at Plastic Park, Paradeep with associated line |  |  |  | 10.00 |
| 64 | 2x40MVA, 220/33kV GSS at Aluminium Park, Angul with associated line |  |  |  | 10.00 |
| 65 | 2x40MVA, 220/33kV GIS at Industrial Park, Mundamba with associated line |  |  |  | 10.00 |
| 66 | 400/220/33kV GIS at Neulapoi GIS with associated line |  |  |  | 10.00 |
| 67 | 400/220/33kV GSS GIS at Bhandaripokhari (power supply to Bhadrak Textile park) with associated line |  |  |  | 10.00 |
| 68 | Up-gradation of existing 132/33kV GIS at Khuntuni to 220/132/33KV GIS with associated line |  |  |  | 10.00 |
| 69 | 132kV Bidanasi-Choudwar upgradation with HTLS |  |  |  | 5.00 |
| 70 | 132kV Katapali-Bargarh upgradation with HTLS |  |  |  | 5.00 |
| 71 | 132kV Joda-Barbil HTLS (2nd Ckt. on DC tower) |  |  |  | 5.00 |
| 72 | 132kV Kendrapra-Pattamundali S/C to D/C |  |  | - | 7.43 |
| 73 | 132KV,Banki-Nuapatna |  |  |  |  |
| 74 | 132kV Nimapara-Konark S/C to D/C |  | 1.00 | 1.00 | 6.60 |
| 75 | 132kV Angul-Chainpal line upgradation with HTLS |  | 4.689 | 4.69 | 4.69 |
| 76 | 132kV TTPS-Angul line upgradation with HTLS |  | 5.395 | 5.40 | 5.40 |
| 77 | 132kV Atri -Banki S/C to D/C | - | 0.50 | 0.50 | 4.90 |
| 78 | 132kV Cuttack-Jagatsinghpur line upgradation with HTLS |  |  | - | 15.00 |
| 79 | 400kV bay at Theruvali GSS |  |  |  | 5.00 |
| 80 | 400kV Theruvali-Indravati D/C line |  |  |  | 5.00 |
| 81 | 400kV Pandiabil-Gopalpur D/C line |  |  |  | 5.00 |
| 82 | 132kV line(LILO) of Sonepur- Boudh line |  |  |  | 5.00 |
| 83 | 2nd Ckt on 132kV Dabugaon-Umerkote line with bay extension at both end. |  | 4.00 | 4.00 | 4.75 |
| 84 | 220/132/33kV GSS at Bamra with associated LILO | 0.27 | 0.39 | 0.66 |  |
| 85 | 2x100MVA + 2x40MVA, 220/132/33kV GSS at Komna with associated line |  |  |  | 0.50 |
| 86 | Other Capex (Small Items) | - | 0.31 | 0.31 | - |
| 87 | State Transmission Asset Management System (STAMS), Phase-I | 24.64 | 197.11 | 221.75 | 24.64 |
| 88 | State Transmission Asset Management System (STAMS), Phase-II |  |  | - | 100.00 |
| 89 | Conversion of AAAC Moose Conductor to HTLS Conductor in existing 400kV IB-Lapanga DC Line (Approx. Line length -28kms) |  |  |  | 160.00 |
|  | TOTAL (A) | 140.00 | 660.76 | 800.76 | 1387.84 |
| B | WORK EXECUTED BY GoO FUNDING (GRANT) |  |  |  |  |
| 1 | 132kV Puri-Samagara UG cable |  | 23 | 23.00 | 4 |
| 2 | 132/33kV GIS at Autonagar with 132kV SC Narendrapur-Autonagar UG cable |  | 0.45 | 0.45 |  |
| 3 | 220kV Nuapada-Pratapsasan D/C line | 0.55 | 4 | 4.55 |  |
| 4 | 132/33kV GIS at Satyanagar & Badagada with associated UG cable | 5.66 | 20 | 25.66 | 40 |
| 5 | 220/33kV GIS at Godisahi & Kantabada | 0.02 | 3 | 3.02 |  |
| 6 | 220/132/33kV GIS at Balianta with associated line | 21.26 | 10 | 31.26 | 24 |
| 7 | 220/33kV GIS at Nayapalli | 9.84 | 8 | 17.84 |  |
| 8 | Bay Extn at Kesura |  | 0.75 | 0.75 | 1.44 |
| 9 | 132 KV O/H Transmission line (in 220 KV monopole tower) from Balianta GIS S/S upto Gangua canal : Line length:8 Kms appox |  | 12 | 12.00 |  |
| 10 | 132kV Chandbali-Balimunda D/C line | 0.95 | 2.20 | 3.15 | - |
| 11 | 132kV Phulbani-Boudh D/C line with bay extension at both end | 0.04 |  | 0.04 | 1.2 |
| 12 | 132kV Lapanga-Brajarajnagar D/C line along with diversion of 220kV IB-Budhipadar D/C line | 0.02 | 0.40 | 0.42 |  |
| 13 | 132kV LILO from 132kV Chhend-Shri Ganesh Metaliks to 220/132/33kV GSS at Kuanrmunda. |  | 0.25 | 0.25 |  |
| 14 | 132kV R Udayagiri-Paralakhemundi DC line with bay extension at both end | 0.56 | 0.5 | 1.06 | 10 |
| 15 | 220kV LILO from 220kV Therubali-Narendrapur DC line to 220/132/33kV GSS at Aska | 3.79 | 0.5 | 4.29 | 0.5 |
| 16 | 132kV Narendrapur-Berhampur UG cable | 6.30 | 30 | 36.30 | 40 |
| 17 | 3rd ICT at 400kV GSS at New Duburi |  | 0.89 | 0.89 |  |
| 18 | 132kV Padampur-Nuapada DC line |  | 0.02 | 0.02 |  |
| 19 | 132kV Pratapsasan-Kesura-Ransinghpur line upgradation with HTLS | 13.81 | 7.98 | 21.79 |  |
|  | TOTAL (B) | 62.80 | 123.94 | 186.74 | 121.14 |
| C | DEPOSIT WORK |  |  |  |  |
| 1 | Diversion of towers at Loc No.-52 & 53 of 220kV Chandaka-Mendhasal DC line |  | 92.81 | 92.81 |  |
| 2 | Diversion of 220kV Mendhasal-Atri DC line from Loc No.-513 to 515 for proposed corridor of Khurda By-pass Road on NH-57 |  | 87.86 | 87.86 |  |
| 3 | 132kV Rly crossing at Nayagarh (RTSS) | 1.63 | 3.5 | 5.13 |  |
| 4 | 132kV Bangiriposi-Bhanjapur (RTSS) with bay extension at both end. | 0.61 | 2.10 | 2.71 | 0.75 |
| 5 | Const of 2no 33kV Bay at 220KV Grid sub-station Gobindapalli Avantika Work | 0.12 | 0.16 | 0.28 |  |
| 6 | 2 nos. 33kV bay at GSS Boriguma for Sidheswari Power Generation pvt ltd |  | 0.33 | 0.33 |  |
| 7 | 02 nos. 33kV bay at GSS Govindpalli for Pallavi SHEP |  |  | - | 1.50 |
| 8 | 220kV LILO on 220kV Budhipadar-Tarkera (Ckt-II) and 132kV LILO on 132kV Budhipadar-Tarkera (Ckt-II) and 220/132/33kV GSS at Bamra | 0.27 | 0.39 | 0.66 |  |
| 9 | 132kV Brajarajnagar -Belpahar (RTSS) D/C line (4 conductor) with 02 nos. bay extension | 0.59 | 0.15 | 0.74 |  |
| 10 | 220kV Bonai-Bimalagarh (RTSS) 2 phase line on D/C tower with 01 no. bay extension | 0.86 | 0.20 | 1.06 |  |
| 11 | 220kV Bonai-Taldih (Iron ore mines) S/C line on DC tower | 1.57 | 9.00 | 10.57 | 35.14 |
| 12 | 132kV Bamra-Dhutura (RTSS) line |  | 2.00 | 2.00 | 6.85 |
| 13 | 132kV Bamra-Garposh (RTSS) line |  | 2.00 | 2.00 | 2.01 |
| 14 | 132kV Lapanga-Rengali (RTSS) S/C (2 conductor) line with 01 no. bay extension | 0.07 |  | 0.07 |  |
| 15 | Diversion of 132kV CPP-II (NSPCL, Rourkela)- MSDS-V, SAIL, RSP line from loc. 9 to loc. 12 | 0.09 |  | 0.09 |  |
| 16 | Diversion of 1(1) 132kV Lapanga-Brajrajnagar line (2) 220kV Aditya Aluminium-Budhipadar from proposed power plant & Ash pond area of M/s. NLC at Thelkoloi, Sambalpur | 2.80 | 4.00 | 6.80 | 10.00 |
| 17 | Diversion-cum-heightening of 400kV IB-Lapanga D/C line from loc. 22 to loc. 23 and from Loc. 28 to Loc. 30 for under passing of proposed diversion of 132kV Lapanga-Brajrajnagar D/C line and 220kV Budhipadar-Aditya Aluminium line. |  | 2.00 | 2.00 | 7.00 |
| 18 | 132kV Rairangpur-Rairangpur (RTSS) line with 1 no. bay extension |  | 1.66 | 1.66 |  |
| 19 | 132kV Jabamayee-Sukinda (RTSS) line | 0.04 |  | 0.04 |  |
| 20 | 132kV S/C line on DC tower from loc -170 of Akhusingh-Paralakhemundi line to proposed loc -41 of Palasingh (RTSS) line | 0.90 | 0.61 | 1.51 |  |
| 21 | 220kV Laxmipur-Laxmipur (RTSS) line | 0.29 | 0.15 | 0.44 |  |
| 22 | 132kV Gunupur-Palasingi (RTSS) line with 01 no. bay extension | 0.18 | 0.10 | 0.28 | 0.05 |
| 23 | 132kV Bhawanipatna-Bhawanipatna (RTSS) S/C line |  | 0.85 | 0.85 |  |
| 24 | Lanjigarh (RTSS) |  | 0.40 | 0.40 |  |
| 25 | 132kV Sonepur-Sonepur (RTSS) line | 1.53 | 1.90 | 3.43 | 6.00 |
| 26 | 33kV BPCL -Bhatli line |  |  | - | 1.19 |
| 27 | 132kV Chandikhole-Dhanmandal (RTSS) S/C (2 conductor) line with 01 no. bay extension |  |  | - | 6.82 |
| 28 | 132kV Choudwar-Charbatia (RTSS) S/C (2 conductor) line with 01 no. bay extension |  | 7.50 | 7.50 |  |
| 29 | 132kV Sunabeda-Manabar (RTSS) D/C line |  |  | - | 53.50 |
| 30 | 1 no 33kV bay at 220/33kV GSS at Gobindapalli for megalift project at Saradaput |  | 0.15 | 0.15 |  |
| 31 | 2 nos. 33kV bay at GSS Boriguma for Shrabani Power Generation pvt ltd |  | 0.34 | 0.34 |  |
|  | Total (C ) | 11.55 | 220.16 | 231.71 | 130.81 |
|  | Total (A+B+C) | 214.35 | 1004.86 | 1219.21 | 1639.79 |

### 3) Depreciation: (F-17)

OPTCL submitted that, as per the Regulation 8.38 of OERC (Terms & Conditions for Determination of Transmission Tariff) Regulations, 2014 stated that, for STU (OPTCL):

- Depreciation shall be calculated for each year of the control period, on the Original Book Value of the Assets considering applicable depreciation rate as determined by the Commission from time to time

- Provided that depreciation shall not be allowed on assets funded by transmission system users (i.e. any receipts from transmission system users that are not treated as revenue) and capital subsidies/grants.

- Provided further that the licensee shall provide year wise details of assets retired and disposed off, which shall be removed from the Original Cost of Fixed Assets.

Further, as per regulations 8.33 & 8.34 stated that, depreciation shall be allowed up to maximum of 90% of the Capital Cost of the Assets and  the depreciation shall be calculated annually based on Straight Line Method and at rates as specified in Appendix-A of these regulations.

Accordingly OPTCL proposed Depreciation of Rs. 356.57 Cr. for FY 2025-26 as per the details below at Table-22.

Table- 22                                                    Rs. in Cr.

For further details refer F-17 of the application.

Further, it is assumed that the up valued assets amounting to Rs. 512.71 Cr. has been fully depreciated as it is already used for 27 years from 1996. Therefore, Hon’ble Commission is requested not to deduct the same.

### 4) RETURN ON EQUITY: (F-9)

As per the Regulation 8.27 of OERC Regulations, 2014 the Return on Equity (RoE) shall be computed in rupee terms, on the equity base determined in according with regulations 4.8 to 4.22 and regulation 8.17 to 8.24.  Further, as  per the Regulations 8.28 & 8.29 STU (OPTCL) shall be allowed a Return on Equity Capital in rupee terms at the rate of 15.5% per annum (post tax), on the amount of equity capital base as determined by the Commission. This rate of return needs to be grossed up with the normal/applicable tax rate.

In this regard it is submitted that at noted at Table-22 the "Book value of own Assets as on 31-03-2024 (on which depreciation will be calculated) is Rs. 6127.93 Cr. The above assets have been created with the funding from Share Capital infused by State Government, long term loans from Banks/Financial institutions and internal Cash accrual.

Accordingly, OPTCL proposes Return on Equity (RoE) of Rs. 284.95 Cr. for FY 2025-26 @ 15.5% on 30% of GFA Rs. 6127.93 Cr.

It is further submitted that, at the time of de-merger of GRIDCO effective from 01.04.2005, equity share capital amounting to Rs.60.07 Cr. was transferred to OPTCL. Thereafter, till date State Government has infused Equity Share Capital amounting to Rs. 2746.52 Cr. to OPTCL against various transmission projects including Rs.647 Cr. towards conversion of bonds with interest into equity. It is estimated that another Rs.140.30 Cr. will be received by Mar-2025 from the plan budget of Energy Department for FY-2024-25. Further, it is expected State Govt. will infuse Equity Share Capital amounting to Rs.954.53 Cr. during FY 2025-26 against the various transmission projects. The total Equity Capital as on 31.03.2026 will be as Rs. 3901.53 Cr.

### A.5) INCOME TAX

- As per the Regulation 8.43 of OERC Regulations, 2014, Income tax of the Transmission Licensee shall be recovered from the beneficiaries. This will exclude income tax on other income streams (non-transmission business).

- Further, as per Regulation 8.44 of aforesaid Regulations, the actual assessment of income tax should take into account benefits of tax holiday, and the Credit for carry forward losses applicable as per the provisions of the Income Tax Act, 1961 shall be passed on to the consumers.

- For FY 2023-24, OPTCL has paid income tax amounting to Rs.10.77 Cr. Copy of the acknowledgement of ITR- 6 for the assessment year 2024-25 is enclosed as Annexure- 03 The same amount of Rs. 10.77 Cr. is proposed for FY 2025-26. However, difference if any, as per the Regulation 8.43 and 8.44, shall be adjusted during the true up exercise based on audited accounts.

- TRANSMISSION COST

Considering the proposed cost / expenses under different heads, the Transmission Cost of OPTCL for FY 2025-26 is worked out as Rs. 1649.87 Cr. Details are shown in the Table- 23 below:

- Table-23

| TRANSMISSION COST FOR FY 2025-26 |  |
| --- | --- |
| Particulars | Amount (Rs. Cr.) |
| Employee Cost including Terminal Benefits | 554.05 |
| R&M Cost | 217.70 |
| A&G Cost | 49.80 |
| Expenses related to auxiliary energy consumption | 0.00 |
| Other miscellaneous expenses, statutory levies and taxes (GCC) | 0.35 |
| Sub-Total (O&M Cost) | 821.90 |
| Interest on Loan Capital | 145.61 |
| Interest on Working Capital | 0.00 |
| Rebate | 27.97 |
| Incentive as per OREP-2022 | 2.10 |
| Sub-Total (Interest & Financial Cost) | 175.68 |
| Depreciation & amortisation expense | 356.57 |
| Return on Equity | 284.95 |
| Income Tax | 10.77 |
| Total | 1,649.87 |

### OTHERS:

B.1)  INCENTIVE FOR SYSTEM AVAILABILITY:

The Regulation 6.4 of OERC Regulations, 2014 specifies the “Operational Norm” applicable for transmission system for recovery of full annual transmission charge by the Transmission Licensee. The Normative Annual Transmission System Availability Factor (NATAF) shall be 98.50% for AC system for recovery of full Annual Transmission Charges.

As per the Regulation 6.5 of OERC Regulations, 2014, OPTCL is entitled to get incentive if the Transmission System Availability Factor (TAFY) for the year is greater than the NATAF in per cent specified in Regulation 6.4 (as submitted above).

TAFY of OPTCL for FY 2023-24 has been calculated to be 99.98%. This is in line with the method of computation of TAFY prescribed in Appendix B of the OERC Regulations, 2014. The computation and TAFY figure have been verified and certified by SLDC and copy of the same is enclosed as Annexure- 04.

In accordance with the formula prescribed in Regulation 6.5, OPTCL has worked out incentive of Rs.13.46 Cr. towards system availability for FY 2023-24 using approved ARR figure of Rs. 896.18 Cr. for the said year.

- Incentive = ARR (approved for 2023-24) x [(TAFY/NATAF) - 1]

- = Rs. 896.18 Cr. x [(99.98/98.50) - 1]

- = Rs. 896.18 Cr. x 0.015025 = Rs. 13.46 Cr.

Hence, OPTCL proposes Rs. 13.46 Cr. towards Incentive for System Availability to be allowed in the ARR for FY 2025-26.

- -

It is further submitted that the incentive approved by the Hon’ble Commission would be utilised for enhancing motivation of employees of OPTCL in the manner as would be decided by OPTCL management.

OTHER INCOME AND COST / MISCELLANEOUS RECEIPT:

For FY 2025-26, OPTCL proposes Rs. 264.62 Cr. under Miscellaneous Receipt from different sources as given in the Table-24 below:

| Table-24 |  |
| --- | --- |
| Source | Rs. Cr. |
| Inter-State Transmission charges | 8.14 |
| Short-Term Open Access Charges | 176.28 |
| Medium Term Open Access(Inter State) | 12.00 |
| Bank Interest | 20.00 |
| Scrap Sale | 5.00 |
| Income from Lease rent (Optical Fibre) | 10.00 |
| Supervision Charges | 20.00 |
| Other Misc. Receipts | 13.20 |
| Total | Rs. 264.62 Cr. |

Inter-State Transmission charges:

The inter-state transmission charges include receivable through POC mechanism for the following Corridors i.e. 220 KV DC Rourkela-Tarkera-Budhipadar-Korba (Odisha portion), 220 KV Joda-Jamshedpur and 220 KV Joda-Ramchandrapur lines as determined by CERC. Accordingly, Hon’ble CERC determined the tariff upto FY 2023-24 to the tune of Rs. 7.75 Cr. for FY 2023-24. The same amount of Rs.7.75 Cr. is proposed for FY 2025-26.

.

Revenue earnings from Supervision Charge:

OPTCL has recognized revenue from Supervision Charges for FY 2022-23 & 2023-24 as Rs. 31.08 Cr. and Rs.22.10 Cr. respectively. Accordingly, OPTCL projected Rs.20.00 Cr. as revenue form supervision charges for FY 2025-26.

Hence, in line with the trend of revenue earning during 1st six month of FY 2024-25 and previous years, OPTCL expects the Miscellaneous Receipts to the tune of Rs. 264.62 Cr. during FY 2025-26.

The summary of Aggregate Revenue Requirement (ARR) of OPTCL for FY 2025-26 is shown in the Table-25 below adding all the projected expenditures as explained in foregoing paragraphs:

SUMMARY OF AGGREGATE REVENUE REQUIREMENT OF OPTCL FOR FY 2025-26

Table-25                                          (Rs. Cr.)

| ITEMS | Proposal for OPTCL FY 2025-26 |  |
| --- | --- | --- |
| A) FIXED COST |  |  |
| 1. O&M Expenses |  | 821.90 |
| (i) Employees Cost including Terminal Benefits | 554.05 |  |
| (ii) A&G Cost | 49.80 |  |
| (iii) R&M Cost | 217.70 |  |
| (iv) Expenses related to auxiliary energy consumption | 0 |  |
| (v) Other misc. expenses, statutory levies and taxes (GCC) | 0.35 |  |
| 2. Interest & Financial Charges |  | 175.68 |
| (i) Interest on Loan Capital | 145.61 |  |
| (ii) Interest on Working Capital | 0.00 |  |
| (iii) Rebate | 27.97 |  |
| (iv) Incentives as per OERP-2022 | 2.10 |  |
| 3. Depreciation & amortisation expense |  | 356.57 |
| 4. Return on Equity |  | 284.95 |
| 5. Income Tax |  | 10.77 |
| Sub-Total (A) |  | 1,649.87 |
| B) Others |  |  |
| Incentive for system availability |  | 13.46 |
| Total Trans. Cost (A+B) |  | 1,663.33 |
| C) Less Misc. Receipts |  | 264.62 |
| D) Net ARR to be recovered from LTOA Customers i.e. OPTCL's Aggregate Revenue Requirement |  | 1,398.71 |

TRANSMISSION LOSS:

The transmission loss is purely a technical loss and dependent on the location of generation sources, system configuration and power flow requirements at different load centers. In view of the increasing demand for power at an accelerated pace due to on-going industrialization and implementation of central & state sponsored schemes like OTSSP, ODSSP, SCRIPS, RRCP, LVMS, DRPS etc. in Odisha, there will be increased flow of power in the OPTCL transmission network contributing to increased transmission loss.

[

OPTCL’s transmission loss is already quite low, making further reductions challenging. Nevertheless, OPTCL has consistently achieved a reduction in transmission losses year over year by strategically commissioning several new transmission projects and implementing innovative initiatives under the Master Maintenance Plan over the past few years. The actual transmission loss in OPTCL’s system from April 2024 to September 2024 was 3.09%, compared to the Commission's approved target of 3.00% for FY 2024-25. OPTCL anticipates the loss level to remain at around 3.08% for the current year. Accordingly, OPTCL proposes a transmission loss of 3.05% for FY 2025-26.

### ESTIMATION OF REVENUE RECEIPT AND DEFICIT OF ARR AT THE EXISTING TRANSMISSION CHARGE @ 24P/U

The Hon’ble Commission has accorded in-principle approval of the Long Term Demand Forecast (LTDF) for the period FY 2017-18 to FY 2026-27 vide Order dated 15.01.2019 in Case No. 47/2018. OPTCL could not file LTDF application before the Hon’ble Commission for the period FY 2018-19 to FY 2027-28, FY 2019-20 to FY 2028-29, FY 2020-21 to FY 2029-30,  FY 2021-22 to FY 2030-31 , FY 2022-23 to FY 2031-32 & FY 2023-24 to FY 2032-33 as DISCOMs have not submitted their respective Long Term Demand forecast for the aforementioned periods. In the above context, OPTCL vide Case No. 82/2021 filed an application on 01.10.2021 seeking necessary directions of the Hon’ble Commission for the defaulting Distribution Companies of Odisha in the event of not providing the requisite information timely to the STU (OPTCL) for preparation of LTDF. The Hon’ble Commission vide Order dated 03.11.2021 in Case No. 82/2021 at Para 7(i) has directed the DISCOMs to submit peak load energy forecasts for their respective areas for each category of loads etc. but in vain.

Recently, the DISCOMs have communicated their respective realistic energy demand projection to OPTCL for FY 2025-26. The following table indicates Commission’s in-principle approval in Case No. 47/2018 and DISCOMs’ most recent projection.

Demand (MU) of DISCOMS for FY 2024-25

| Name of DISCOM | Commission's approval in LTDF order dated 15.01.2019 (MU) | DISCOMs recent projection (MU) |
| --- | --- | --- |
| TPCODL | 13538 | 13823 (1577.97 MW) |
| TPNODL | 7162 | 8378.40 (956.43 MW) |
| TPWODL | 7972 | 11274 (1286.99 MW) |
| TPSODL | 4734 | 5062 (577.85 MW) |
| TOTAL | 33406 | 38537.40 (4399.24 MW) |

OPTCL in the present application has taken the recent realistic demand projection of all four DISCOMs 38537.40 MU (4399.24 MW) for FY 2025-26. OPTCL envisages 440MU (50.23 MW) energy to be transacted in DISCOMs 33kV & 11kV network for which OPTCL is not entitled to receive any transmission charge as per Commission’s order. Hence, total MU to be transmitted in OPTCL network gets reduced to 38097.40 MU (38537.40- 440) from the total demand projection of DISCOMs.

During FY 2025-26, OPTCL will earn revenue from the LTOA Customers in the following manner:

(i)	By charging the rate applicable on DISCOMs for transmission of 38097.40 MU (4349.01 MW).

(ii)	By charging the rate applicable on LTOA customers like IMFA 380 MU (Contracted capacity: 360MU or 41.09MW + Emergency & back up power: 20MU) & NALCO (147.6 MU (Contracted capacity: 10MW + Emergency & back up power: 60 MU) towards transmission through Open Access and supply of Emergency/Back-up power to the tune of 527.60 MU (60.23 MW).

(iii)   By charging the rate applicable on RE LTOA customers like M/s ABREL SPL (25.88 MU) & M/s BEL (8.46 MU) towards transmission of power to the tune of 34.34 MU through Open Access in accordance with Clause No. 5(C) of Odisha Renewable Energy Policy-2022 (effective from dated 30.11.2022) without an exemption of twenty (20) paisa per unit on STU charges and OERC (Promotion of Renewable Energy through Green Energy Open Access) Regulations, 2023.

(iv)    By charging the rate applicable on RE LTOA customers like M/s ABREL SPV (24.95 MU) & M/s MCL (80 MU) towards transmission of power to the tune of 104.95 MU through Open Access in accordance with Clause No. 5(C) of Odisha Renewable Energy Policy-2022 (effective from dated 30.11.2022) with an exemption of twenty (20) paisa per unit on STU charges and OERC (Promotion of Renewable Energy through Green Energy Open Access) Regulations, 2023 subject to production of exemption certification by the Nodal Agency i.e. GRIDCO.

The revenue to be earned by OPTCL from transmission of 38764.29 MU (38097.40+527.60+34.34+104.95) for DISCOMs, LTOA customers like NALCO & IMFA and RE LTOA like ABREL SPL, BEL, ABREL SPV & MCL at the existing transmission tariff of 24 P/U will be Rs. 930.34 Cr.The details of the same are given in the Table-26 below:

Table-26

| Sl. No. | Customer | Commission's approval (FY 2024-25) | Energy demand (MU) as per DISCOMs estimation (FY 2025-26) | Amount (Rs. Cr.) |
| --- | --- | --- | --- | --- |
| 1 | TPCODL | 12513 | 13823.00 | 914.34 |
| 2 | TPNODL | 8163 | 8378.40 |  |
| 3 | TPWODL | 11940 | 11274.00 |  |
| 4 | TPSODL | 4924 | 5062.00 |  |
| 6 | Total DISCOMs | 37540 | 38537.40 |  |
| 7 | Less: Drawal in 33kV & 11kV network | 360 | 440.00 |  |
| 8 | Energy transmitted for DISCOM | 37180 | 38097.40 |  |
| 9 | Transmission of power through OA to industries from CGPs (NALCO & IMFA) | 778 | 447.60 | 12.66 |
| 10 | Emergency/Backup sale to CGPs/ Industries (NALCO & IMFA) |  | 80.00 |  |
| 11 | RE LTOA Customers –No exemption (ABREL SPL & BEL) |  | 34.34 | 0.82 |
| 11 | RE LTOA Customers may avail exemption of 20p/unit (ABREL SPV & MCL) | 115.49 | 104.95 | 2.52 |
|  | Total | 38073.49 | 38764.29 | 930.34 |

Clause No. 10(4) of Odisha Renewable Energy Policy-2022 (effective from dated 30.11.2022) is depicted below:

“Exemption of twenty (20) paisa per unit on STU charges shall be provided to captive / open access consumers on consumption of energy from RE projects commissioned in the State during the Policy period for fifteen (15) years. In case a project is commissioned before 31.03.2026, the exemption shall be extended for five (5) more years, i.e., twenty (20) years in total. The OERC shall issue necessary orders in this regard”.

Clause No. 5(C) of the aforesaid Policy states that “The benefits under this Policy shall not be applicable to projects sanctioned prior to the date of notification of this Policy or which is commissioned post the policy period. This Policy also does not cover the projects for which PPAs have already been signed”.

The Secretary, OERC vide letter No. OERC/Dir(T)-332/08/1633 dated 06.11.2023 has clarified as follows: “To implement RE Policy-2022, Commission hereby exempts Renewable Power under Regulation-43 of OERC(Open Access) Regulations,  2020 and the transmission charges for Renewable Energy shall be calculated on the basis of Paisa per unit or Rs./MWh irrespective of LTOA, MTOA & STOA as mentioned in the tariff order of the respective year for the Renewable Open Access transaction from the beginning of RE Policy-2022”.

The Secretary, OERC vide letter No. OERC/Dir(T)-332/08/480 dated 01.05.2024 has clarified the followings in regard to calculation of transmission charges for Long, Medium & Short Term Open Access (RE) in accordance with OERC (Promotion of Renewable Energy through Green Energy Open Access) Regulations, 2023 (enclosed as Annexure-5):-

- For RE Generation inside the State, Transmission charges shall be computed Rs./KWh for Long Term Access(LTA), Medium Term Open Access(MTOA) and Short Term Open Access(STOA) based on actual energy consumption.

- The charges for use of Intra State network under Inter State Open Access Transaction of Renewable energy shall be based on the energy which will be derived from their schedule as available with SLDC from RLDC.

- For RE generation inside the State, the applicable normative losses shall be borne by the Green energy open access consumer in kind through additional injection and for the RE generation outside the State, the transmission losses shall be borne by Green Energy Open Access Consumers.

Excess/Deficit of Revenue Requirement:

OPTCL will be having revenue deficit of Rs. 468.37 Cr. considering the ARR proposed and the revenue to be earned from transmission of 38764.29 MU at the existing transmission tariff of 24 P/U, the details of which are shown in Table-27 below.

Table-27

| Deficit of Revenue Requirement as per existing transmission tariff @ 24 p/u (Rs. Cr.) |  |
| --- | --- |
| Total Aggregate Revenue Requirement | 1,398.71 |
| Less: Revenue earned from Long Term Open Access Customer | 930.34 |
| Deficit of Revenue Requirement for FY 2025-26 at the existing rate @ 24 p/u | - 468.37 |

Proposal for revision of Transmission Tariff

OPTCL, with its present transmission tariff, cannot meet its proposed revenue requirement at the existing transmission tariff of 24 p/u and will suffer revenue deficit as mentioned above. In order to meet the deficit, OPTCL submits this application before Hon’ble Commission with humble request to approve its proposed ARR, the Transmission Tariff and Transmission Loss for FY 2025-26 to be effected from 01.04.2025.

OPEN ACCESS CHARGES:

The new regulation “OERC (Terms and conditions of Intra state open access) Regulations 2020” has been published by OERC vide Odisha Gazette on dated 02.11.2020 (effective from 18.11.2021) in which Para 20 (2) of Chapter 5 specifies the details of Open Access Charges as depicted here under:

For use of intra-State transmission system:

Transmission charges payable to STU/ transmission licensee by an open access customer for usage of their system shall be determined as under:

Transmission Charges = ATC/(ALS T X365) (in INR/MW-day)

Where,

ATC= Annual Transmission Charges determined by the Commission for the State transmission system for the concerned year.

ALST= Average load projected to be served by the State transmission system in concerned year.

Provided that transmission charges shall be payable on the basis of contracted capacity in case of long-term and medium-term open access consumers and on the basis of scheduled load in case of short-term open access consumers.

The Hon’ble Commission vide Letter No. DIR (T)-332/2008/77 dated 01.02.2021 clarified that the DISCOMs do not come under the new regulation “OERC (Terms and conditions of Intra state open access) Regulations 2020” and they are governed under OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014. Therefore, the transmission charges for the LTOA customers are to be recovered as under:-

- From four DISCOMs (i.e. TPCODL, TPWODL, TPNODL & TPSODL) as per the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014

[For FY 2025-26, the DISCOMs projection 38097.40 MU (4349.01 MW)]

and

- From other LTOA customers (i.e. NALCO, IMFA,) as per OERC (Terms and conditions of Intra state open access) Regulations 2020.

- From RE LTOA customers (i.e ABREL SPL, BEL, ABREL SPV & MCL) as per OERC (Promotion of Renewable Energy through Green Energy Open Access) Regulations 2023.

[For FY 2025-26, NALCO, IMFA, ABREL SPL, BEL, ABREL SPV & MCL have projected their respective demands as 147.6 MU (10 MW), 380 MU (41.09 MW), 25.88 MU (18.75 MW) ,8.46 MU (7.50 MW), 24.95 MU (15.62 MW) & 80 MU (50 MW).

Table-28

| Abstract of Open Access Charges Proposed By OPTCL for FY 2025-26 |  |
| --- | --- |
| DETAILS | In Rs. Per Unit approach |
| Net Aggregate Revenue Requirement (Rs. Cr.) | 1,398.71 |
| Proposed Energy to be transmitted in OPTCL Network (MU) | 38,764.29 |
| Power Flow (Equivalent of 38,764.29 MU) in MWs | 4425.15 |
| Proposed Transmission Tariff (Rs./MW-Day) | 8660 |
| Proposed Transmission Charges (Paise/unit) | 36.08 |

REACTIVE ENERGY CHARGES:

The Hon’ble Commission in Para 16 (page 5) of the order dated 05.02.2019 in Case No. 50/2017 has inter alia viewed that the provisional reactive energy charges of 3 paise/KVArH as allowed in ARR 2018-19 order continue for time being till a final justification is submitted by OPTCL in consultation with the stakeholders.

In view of the above, OPTCL proposes that 3paise/KVARh may be approved provisionally as Reactive Energy Charges FY 2025-26.

Levy of Grid Support Charges (GSC):

An Application (Case No 44 of 2024) has been filed before Hon’ble OERC on 26.06.2024 for determination and approval for levy of Grid Support Charges for industries having Captive Generating / Cogeneration plants and running in parallel with the Grids of OPTCL subsequent to order dated 06.07.2023 of Hon’ble Orissa High Court in W.P(C) No-2220 of 2021 & W.P(C) No-16513 of 2021 filed by M/s Vedanta Limited and M/s CCPPO Odisha respectively. Hon’ble Commission in order dated 09.07.2024 in case no 44 of 2024 has directed to submit a consolidated report considering certain queries. OPTCL is in the process of submitting the report complying the suggestions of Hon’ble commission. If the levy of GSC is decided in favor of the petitioner (OPTCL), the major portion of accrual from GSC shall be passed on to the end users resulting further reduction in transmission cost.

(ii)TRUE UP APPLICATION FOR FY 2023-24

As per Regulation 7.1 (Truing up of Capital Expenditure and Tariff) of OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 (in short ‘Transmission Tariff Regulations, 2014’), OPTCL may file an application each year for truing up along with the tariff petition filed for the next tariff period and the Commission shall carry out truing up exercise along with the tariff petition filed for the next tariff period. OPTCL in the following paragraphs submits its truing up proposal for FY 2023-24 relating to Transmission Tariff and prays Hon’ble Commission for carrying out truing up exercise. The Trueing up of annual fees and charges of SLDC Functions shall be carried out by Regulation-4 of the OERC (Fees and Charges of State Load Despatch Centre and other related matters) Regulations, 2010.The Audited copy of the Balance Sheet and Profit & Loss Account for FY 2023-24 are enclosed as Annexure- 06.

OPTCL had filed two separate application for approval of Aggregate Revenue Requirement related to Transmission and SLDC charges for FY 2023-24 as under;

- Application for approval of Aggregate Revenue Requirement and determination of Transmission Tariff for FY 2023-24 filed by OPTCL under Sections 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with Regulations of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulations, 2004. Copy of the Order (Case No. 76 of 2022) is enclosed as Annexure- 07.

- Application of the OPTCL for approval of Annual Revenue Requirement and Determination of Fees & Operating Charges for SLDC functions for FY 2023-24 in line with the provision mentioned in the CERC (Fees & Charges of RLDC & other related matters) Regulations, 2009, OERC (Fees & Charges of SLDC & other related matters) Regulations, 2010.

Accordingly, Hon’ble Commission vide orders dtd. 23.03.2023 has approved the Transmission Tariff for F.Y. 2023-24 are as under:-

TABLE-29

| Sl No. | Particulars | Proposed (in Cr.) | Approved (in Cr.) |
| --- | --- | --- | --- |
| 1 | Employees Cost including Terminal Benefits | 508.76 | 449.08 |
| 2 | R & M Cost | 164.34 | 135.00 |
| 3 | A & G Cost | 47.07 | 40.28 |
| 4 | Depreciation | 293.96 | 269.54 |
| 5 | Interest and financial charges | 137.59 | 111.83 |
| 6 | Interest on working Capital | 33.99 | -- |
| 7 | Return on Equity | 221.24 | 140.42 |
| 8 | Incentive for system availability | 11.91 | 5.00 |
| 9 | GCC Expense, Statutory levies & Taxes | 0.35 | 0.35 |
| 10 | Rebate | 22.04 | 17.92 |
| 11 | Income tax | 27.21 | 27.21 |
| 11 | Total | 1468.46 | 1196.63 |
| 12 | Less : Misc. Receipts | 366.45 | 300.45 |
| 13 | Annual Revenue Requirement to be recovered from LTOA Consumers (i.e. DISCOMs & CGPs) | 1102.00 | 896.18 |

As per the Audited Accounts the breakup of Profit and Loss Accounts towards Transmission Tariff component and SLDC Charges for the FY 2023-24 are as under:-

TABLE-30

Details Breakup of Profit & Loss Accounts                    Rs. In Cr.

|  | Particulars | Notes | TOTAL | SLDC Component | Transmission Component |
| --- | --- | --- | --- | --- | --- |
| I | Revenue from operations | 26 | 1,048.92 | 12.49 | 1,036.43 |
| II | Other income | 27 | 249.97 | 0.38 | 249.59 |
| III | Total revenue (I + II) |  | 1,298.89 | 12.87 | 1,286.02 |
| IV | Expenses |  |  |  |  |
|  | a-Employee benefits expense | 28 | 502.19 | 9.57 | 492.62 |
|  | b-Finance costs | 29 | 137.30 | 0.12 | 137.18 |
|  | c-Depreciation and amortization expense | 30 | 406.56 | 0.87 | 405.69 |
|  | d-Other expenses |  |  |  | - |
|  | R&M Expenses | 31 | 131.61 | 0.77 | 130.84 |
|  | A&G Expenses | 31 | 48.20 | 1.37 | 46.83 |
|  | Total expenses (IV=a+b+c+d) |  | 1,225.86 | 12.70 | 1,213.16 |
| V | Profit before tax (III - IV) |  | 73.03 | 0.17 | 72.86 |
| VI | Total tax expense (VI) |  | 251.59 |  | 251.59 |
|  | i-Current Tax(MAT) |  | 11.29 |  | 11.29 |
|  | Ii-including tax for earlier year |  | 5.65 |  | 5.65 |
|  | iii-Deferred tax |  | 234.65 |  | 234.65 |
| VII | Profit after tax (V - VI) |  | -178.56 | 0.17 | -178.73 |

* The deficit of Rs.0.17 Cr. has been transferred to Profit & Loss Account of OPTCL.

The Audited trial Balance of SLDC activities as on 31.03.2024 is enclosed at Annexure- 08. The details segregation of Transmission and SLDC activities is mentioned at Note-34 to the Financial Statement for FY 2023-24 under segment information.

True-up application for FY 2023-24 relating to Transmission Tariff

1. Employee Cost and Terminal Benefits:

  - Hon’ble Commission has allowed Rs.449.08 Cr. towards Employee Cost including Terminal Benefits for the FY 2023-24 (para-322, page-99 of the Transmission Tariff order for FY 2023-24). As per the audited accounts for FY 2023-24, the Employee Cost is Rs. 502.19 Cr. (Note-28 of the Audited Account). The approved amount vis-a-vis actual expenditure (as per audited accounts) are shown in Table- 31 below.

Table- 31

(Rs. Cr.)

| Particulars | Approved | Actual | SLDC | Transmission |
| --- | --- | --- | --- | --- |
| Salary & Allowance | 1 | 2 | 3 | 4 |
| Basic Pay | 153.12 | 161.87 | 5.16 | 156.70 |
| Dearness Allowance | 68.90 | 71.73 | 2.41 | 69.32 |
| House Rent Allowance | 24.36 | 23.97 | 0.79 | 23.18 |
| Medical Allowances | 7.66 | 7.77 | 0.26 | 7.51 |
| Conveyance Expenses (allowance +Reimbursement) | 3.35 | 2.93 | 0.09 | 2.84 |
| Other Allowance | 0.98 | 1.37 | 0.09 | 1.28 |
| Bonus | - | 0.01 | - | 0.01 |
| Stipend for New Recruitment | 5.30 | 8.49 | - | 8.49 |
| Stipend to Apprentice |  | 1.64 | - | 1.64 |
| Sub-total (A) | 263.67 | 279.77 | 8.80 | 270.97 |
| Out Sources Engagement | 3.30 | 3.66 | 0.19 | 3.46 |
| Sub-total (B) | 3.30 | 3.66 | 0.19 | 3.46 |
| Other Employee Cost |  |  |  |  |
| Leave Travel Concession | 0.50 | 0.09 | 0.01 | 0.09 |
| Honorarium | 0.10 | 0.09 | - | 0.09 |
| Ex-gratia | 5.00 | 7.33 | 0.12 | 7.20 |
| Staff Welfare Expenses | 6.50 | 11.10 | 0.03 | 11.07 |
| Other Employee Cost | - | 0.52 | - | 0.52 |
| Capacity Building Charges* | 1.02 | 1.15 | 0.10 | 1.05 |
| Sub-total (C) | 13.12 | 20.28 | 0.27 | 20.02 |
| Terminal Benefits |  |  |  |  |
| Pension | 146.98 | 165.77 | - | 165.77 |
| Gratuity | 12.57 | 11.66 | - | 11.66 |
| Leave Salary | 8.48 | 14.79 | - | 14.79 |
| Other (including contribution to NPS) | 14.47 | 22.32 | 0.42 | 21.91 |
| Sub-total (D) | 182.50 | 214.54 | 0.42 | 214.12 |
| Total Employees Cost (A+B+C+D) | 462.59 | 518.25 | 9.68 | 508.57 |
| Less: Employees Cost Capitalised | 13.51 | 14.90 | - | 14.90 |
| Net Employee Cost ( E- F) | 449.08 | 503.34 | 9.68 | 493.67 |

* As per the audited account the expenditure of Capacity Building is booked under A&G Expenses.

1.2.1	The Hon’ble Commission had allowed Rs.153.12 Cr. towards Basic pay based on the actual cash outflow on Basic Pay from April-2022 to December 2022 (for a period of 9 months)  extrapolated to arrive at basic pay for FY 2023-24 and allowed Dearness Allowance Rs.68.90 Cr. @ 45% on Basic. As per the audited accounts the  Basic is Rs. 156.70 Cr and DA is Rs.69.32 Cr.

OPTCL request the Hon’ble Commission to consider Rs.156.70 Cr. as Basic Pay and Rs. 69.32 Cr. as DA  in truing up for FY 2023-24 against the approved amount of Rs.153.12 Cr. and Rs.68.90 Cr. respectively.

1.2.2    Hon’ble Commission had allowed Rs.24.364 Cr. towards House Rent Allowance (HRA) for the year 2023-24 basing on the actual cash flow percentage on the basic pay for the period from April-2022 to December 2022. In pursuance to decision of BoD in its 126th meeting held on 11.02.2022 the House Rent Allowance (HRA) has been allowed @ 20/18% of Basic Pay on revised pay structure to all executives of OPTCL w.e.f. 21.04.2018. Copy of the Office Order No. 3798 Dtd. 28.02.2022 . In case of non-executive, HRA @ 20/18% has already been approved during the revision of Wage Board. Therefore, all the employees of OPTCL are entitled to get HRA in the range of 18%-20% of the basic pay, depending on the type of city/town they are residing in. Accordingly, Rs.23.18 Cr. has been booked as HRA expenses.

OPTCL request Hon’ble Commission to consider Rs.23.18 Cr. as House Rent Allowance in truing up for FY 2023-24 against the approved amount of Rs.24.36 Cr.

1.2.3  Hon’ble Commission had allowed Rs. 7.66 Cr. towards Medical allowance and reimbursement  for the year 2023-24. Accordingly, Rs. 7.51 Cr. has been booked as Medical Allowance and reimbursement.

OPTCL request Hon’ble Commission to consider Rs.7.51 Crore as Medical expenses in truing up for the FY 2023-24 against the approved amount of Rs.7.66 Cr.

1.2.4  	Hon’ble Commission had allowed Rs. 6.50 Cr. (Rs.4.01 Cr towards insurance premium + Rs.2.49 Cr. towards others) under Staff welfare expenses. Accordingly, Rs. 8.27 Cr. has been booked as insurance premium and Rs.2.80 Cr. as other Staff Welfare Expenses which includes Uniforms and Liveries(Rs. 2.35 Cr.) , Sports expenses (Rs. 32 lakhs) , Medical Expenses,  Funeral & Transportation Expenses etc.

OPTCL request Hon’ble Commission to consider Rs.11.07 Crore (8.27+ 2.80) as Staff welfare expenses in truing up for the FY 2023-24 against the approved amount of Rs.6.50 Cr.

1.2.5	Hon’ble Commission had allowed Rs. 3.30 Cr. towards Engagement of Outsources Personnel . Accordingly, Rs. 3.46 Cr. has been booked towards remuneration to contractual personnel engaged through outsourcing agencies and remuneration of personnel on contract.

OPTCL request Hon’ble Commission to consider Rs.3.46 Crore as Engagement of Outsources Personnel in truing up for the FY 2023-24 against the approved amount of Rs.3.30 Cr.

1.2.6	Hon’ble Commission had allowed Rs. 5.30 Cr. towards Stipend for New Recruitment and stipend to apprentice. Accordingly, Rs. 10.13 Cr. has been booked towards Stipend for New Recruitment(Rs. 8.49 Cr.)  and stipend to apprentice (Rs. 1.64 Cr.).

OPTCL request Hon’ble Commission to consider Rs.10.13 Crore as Stipend for New Recruitment and stipend to apprentice in truing up for the FY 2023-24 against the approved amount of Rs.5.30 Cr.

1.2.7	As per the audited account other allowance cost is Rs. 12.16 Cr. which comprises Permanent Employee (Executive), Permanent Employee (Non-Executive), Night Shift Allowances, Physical Handicap Allowances, ABT Allowances, Cash Allowances, Computer Allowances Arrears, Estimator Allowance, Medical Allowance, Gas Allowances, Green Card Allowances, Non-Recurring Miscellaneous Allowances, Recurring Miscellaneous Allowances, Shift Allowances, Special Allowances, Typing Allowance, Conveyance Allowance and reimbursement , Washing Allowances & Education Allowances , Bonus, Leave Travel Concession, Honorarium, Ex-Gratia, Others Employee Cost etc.

OPTCL request Hon’ble Commission to consider Rs.12.16 Cr. in truing up for FY 2023-24.

1.3.1	Capacity Building of the employees is an important aspect in the development of an organization.  Keeping such aspect in mind Hon’ble Commission had allowed Rs.1.02 Cr. for FY 2023-24. Under capacity building, OPTCL planned for training the employees to strengthening their skills both External & Internal Training. During the year 2023-24 OPTCL has incurred expenditure to the tune of Rs. 1.05 Cr. , which is included in other general expenses under major group Administration & General Expenses.

Hon’ble Commission may kindly consider Rs.1.05 Cr. capacity building expenses for truing up of FY 2023-24 against approved amount of Rs.1.02 Cr.

1.4.1	 The Commission approved Rs.182.50 Crore towards terminal liabilities for the FY 2023-24 including the contribution to NPS Rs.14.47 Cr.

1.4.2    Regulation 8.9 of OERC Transmission Tariff Regulations, 2014 states as under:

“Terminal Liabilities would be provided based on a periodic actuarial valuation to be made by the Commission in line with the prevailing Indian accounting standards”.

As per IND AS-19 issued by MCA, employee benefit liabilities shall be assessed through actuarial valuation.  The actuarial assumptions are required to measure the obligation and the expense and there is a possibility of actuarial gains and losses. Moreover, the obligations are measured on a discounted basis because they may be settled over many years after the employees render the related service.  Accordingly, OPTCL has been doing actuarial valuation availing the service of qualified Actuary every year.

1.4.3 	Based on the report of Independent Actuary Dr. R. Kannan of Bhudev Chatterjee International Consultants (BCIC), OPTCL has made provision of  Rs. 192.22 Cr. towards terminal liabilities in the statement of P&L A/c for FY 2023-24 as under:-

Table- 32

| Particulars | Approved (Rs. in Cr.) | Actual (Rs. in Cr.) | Corpus Liability (Rs. in Cr.) |
| --- | --- | --- | --- |
| Pension: | 146.98 | 165.77 | 3,040.82 |
| Gratuity: | 12.57 | 11.66 | 117.67 |
| Leave Encashment: | 8.48 | 14.79 | 153.98 |
| TOTAL | 168.03 | 192.22 | 3,312.47 |

1.4.4 	As per the Actuarial Valuation, the corpus of the Terminal Liability as on 31.03.2024 ought to be Rs.3,312.47 Cr. (Actuarial Valuation Report enclosed as Annexure-9, 10, 11).

1.4.5	The actual expenditure toward employer’s contribution in case of NPS and NP category is Rs.21.91 Crore against approved amount of Rs.14.47 Crore.

1.4.6	In view of the above, Hon’ble Commission may kindly consider Rs.214.13 Cr. (192.22+21.91) as Terminal Benefit for truing up for FY 2023-24 .

1.5	Similarly, Employee Cost Capitalised amounting to Rs. 14.91 Crore may be considered for the FY 2023-24 against approved Rs.13.51 Crore.

1.6	Total Employee Cost including Terminal Benefit of Rs.493.67 Cr. may kindly be considered in truing up for the FY 2023-24 against approved amount of Rs. 449.08 Cr. The deficit under this head is Rs.44.59 Cr. (493.67-449.08).

Table-33

| Particulars | Proposed | Approved | Actual | Difference |
| --- | --- | --- | --- | --- |
| Salary & Allowance | 1 | 2 | 3 | 4 |
| Basic Pay and Grade Pay | 157.58 | 153.12 | 156.70 | 3.58 |
| Dearness Allowance | 70.91 | 68.90 | 69.32 | 0.42 |
| House Rent Allowance | 25.45 | 24.36 | 23.18 | -1.18 |
| Medical Allowances | 8.95 | 7.66 | 7.51 | -0.15 |
| Conveyance Expenses (allowance+Reimbursement) | 3.35 | 3.35 | 2.84 | -0.51 |
| Other Allowance | 1.22 | 0.98 | 1.28 | 0.30 |
| Bonus | - | - | 0.01 | 0.01 |
| Stipend for New Recruitment | 5.30 | 5.30 | 8.49 | 3.19 |
| Stipend to Apprentice |  |  | 1.64 | 1.64 |
| Sub-total (A) | 272.76 | 263.67 | 270.97 | 7.30 |
| Out Sources Engagement | 3.30 | 3.30 | 3.46 | 0.16 |
| Sub-total (B) | 3.30 | 3.30 | 3.46 | 0.16 |
| Other Employee Cost |  |  |  |  |
| Leave Travel Concession | 0.55 | 0.50 | 0.09 | -0.41 |
| Honorarium | 0.25 | 0.10 | 0.09 | -0.01 |
| Ex-gratia | 7.98 | 5.00 | 7.20 | 2.20 |
| Staff Welfare Expenses | 9.47 | 6.50 | 11.07 | 4.57 |
| Other Employee Cost | - | - | 0.52 | 0.52 |
| Capacity Building Charges | 1.20 | 1.02 | 1.05 | 0.03 |
| Sub-total (C) | 19.45 | 13.12 | 20.02 | 6.90 |
| Terminal Benefits |  |  |  |  |
| Pension | 191.24 | 146.98 | 165.77 | 18.79 |
| Gratuity | 12.57 | 12.57 | 11.66 | -0.91 |
| Leave Salary | 8.48 | 8.48 | 14.79 | 6.31 |
| Other (including contribution to NPS) | 14.47 | 14.47 | 21.91 | 7.44 |
| Sub-total (D) | 226.76 | 182.50 | 214.12 | 31.62 |
| Total Employees Cost (A+B+C+D) | 522.27 | 462.59 | 507.52 | 45.98 |
| Less: Employees Cost Capitalised | 13.51 | 13.51 | 14.90 | 1.39 |
| Net Employee Cost ( E- F) | 508.76 | 449.08 | 493.67 | 44.59 |

2. Repair & Maintenance (R&M) Expenses:

2.1	Hon’ble Commission had allowed Rs. 135.00 Cr. towards R&M Expenses in the Transmission Tariff  Order for FY 2023-24 (para-326, page-100 of the Transmission Tariff order for FY 2023-24).

2.2         As per the audited accounts for FY 2023-24, the R&M Expenditure is Rs. 131.61 Cr. (Note-31 of the Audited Account) as details below:-

Table- 34

Rs. In Cr.

| Particular | Actual | SLDC | Transmission |
| --- | --- | --- | --- |
| (i) Building | 12.78 |  | 12.78 |
| (ii) Plant and machinery | 76.50 |  | 76.50 |
| (iii) Lines cables and network assets | 28.14 |  | 28.14 |
| (iv) Electrical installations * | 9.07 | 0.12 | 8.96 |
| (v) Vehicle | 0.06 | 0.00 | 0.06 |
| (vi) Furniture and fixtures | 0.03 |  | 0.03 |
| (vii) Office equipment | 5.02 | 0.65 | 4.37 |
| TOTAL | 131.60 | 0.77 | 130.83 |

* Includes inspection fees Rs. 7.09 Crore

2.3	Therefore, OPTCL requests Hon’ble Commission to consider Rs.130.83 Cr. as R&M expenses against the approved amount of Rs.131.61 Cr. in the ARR application for FY 2023-24. The surplus under this head is Rs. 4.17 Cr. (130.83-135.00).

3. Administration & General (A&G) Expenses:

3.1	Hon’ble Commission had allowed Rs. 40.28 Cr. towards normal A&G expenses in the Transmission Tariff Order for FY 2023-24 as details below (para 329 page-101 of the Transmission Tariff order for FY 2023-24).

| .Particulars | (Rs. in Crore) |
| --- | --- |
| A&G expenses approved during FY 2022-23 | 31.19 |
| Escalation as per WPI (Dec'2022@ 4.95%) | 1.54 |
| A&G Expenses for 2023-24 | 32.73 |
| Add: Licensee fees to Commission (prov.) | 2.50 |
| Add: Inspection fees | 4.06 |
| Add: SLDC charges | 0.99 |
| Total A&G Expenses approved for the FY 2023-24 | 40.28 |

3.2	As per the audited accounts for FY 2023-24, the A&G Expenses is Rs. 48.20 Cr. (Note-31 of the Audited Account). The details are as under:

Table-35

Rs. In Cr.

| Sl No. | Description | Actual | SLDC | Transmission |
| --- | --- | --- | --- | --- |
| 1 | Power and fuel consumed | 3.87 | 0.40 | 3.47 |
| 2 | Hire charges on vehicle | 12.33 | 0.22 | 12.11 |
| 3 | Legal and professional fees | 2.98 | 0.00 | 2.98 |
| 4 | Rent | 3.53 | 0.00 | 3.53 |
| 5 | Watch and ward expenses | 3.64 | 0.33 | 3.31 |
| 6 | License and other fees | 2.50 | - | 2.50 |
| 7 | Rates and taxes | 0.23 | - | 0.23 |
| 8 | Insurance charges | 0.02 | 0.00 | 0.02 |
| 9 | Fees and subscription | 0.08 | - | 0.08 |
| 10 | Advertisement for tenders | 0.11 | - | 0.11 |
| 11 | Corporate Social Responsibility expenses | 2.97 | - | 2.97 |
| 12 | Impairment loss recognised on non-financial assets | 0.01 | - | 0.01 |
| 13 | Loss on theft/Shortage/Obsolete of material and others | 1.02 | - | 1.02 |
| 14 | Donations(CM Relief Fund) | 3.00 | - | 3.00 |
| 15 | Travelling expenses | 2.35 | 0.11 | 2.24 |
| 16 | Communication expenses | 0.59 | 0.00 | 0.59 |
| 17 | Office maintenance charges | 1.06 | 0.06 | 1.00 |
| 18 | Other Losses | 1.58 | - | 1.58 |
| 19 | Auditors remuneration and out-of-pocket expenses | 0.13 |  | 0.13 |
| 20 | Other General expenses | 8.89 | 0.24 | 8.65 |
|  | Sub Total | 50.88 | 1.37 | 49.51 |
|  | Less: Capitalised | -2.68 | - | -2.68 |
|  | TOTAL | 48.20 | 1.37 | 46.83 |

3.4	The expenditure towards A&G Expenses is segregated in two parts;

| SL No | Particular | Rs. In Cr. |
| --- | --- | --- |
| 1 | A&G Expenditure | 41.25 |
| 2 | Other than A&G Expenditure (Adjustments & provisions) | 2.61 |
| 3 | Corporate Social Responsibility expenses | 2.97 |
|  | Total | 46.83 |

3.5	Rs. 41.25 Cr. are the expenditures towards Electricity & Water Charges, Hire charges on vehicle, Legal and professional fees, Rent, Watch and ward expenses, License and other fees, Rates and taxes, Insurance charges, Fees and subscription, Advertisement for tenders, Donations(CM Relief Fund), Travelling expenses, Communication expenses, Office maintenance charges, Other Losses, Auditors remuneration and out-of-pocket expenses, Other General expenses etc. which are  generally considered as A&G Expenses. As noted at para 1.3.1 expenditure towards Capacity Building amounting  Rs. 1.05 Cr. , includes in other general expenses under major group Administration & General Expenses.

Hon’ble Commission may kindly consider Rs.1.05 Cr. under capacity building expenses for truing up of FY 2023-24 .

3.6	Rs. 2.61 Cr. are the expenditures on account of  Impairment loss recognised on non-financial assets, Loss on theft/Shortage/Obsolete of material and other and Other Losses these are also accounted for under A&G Expenses.

3.6.1	The explanation in respect of expenditure incurred towards some of the major components apart from the normal A&G expenses are submitted below:

3.7.1	Hire Charges on Vehicle: The running expenses of departmental vehicles are not cost effective. OPTCL is also facing acute shortage of regular drivers for operating the departmental vehicles for official purposes. As an alternative arrangement and to save the cost OPTCL has hired vehicles from the outside agencies.  If OPTCL goes for appointing permanent drivers, the salary etc. for them will be charged under Employee Cost. But in case of hired vehicles, hired charges will be under A&G Expenses. With addition of new Divisions/ Circles/Zones to cope with the increased activities, this cost has increased and is not comparable to WPI change.

Hon’ble Commission may kindly consider the Hire Charges on vehicles of Rs. 12.11 Cr. under A&G Expenses in truing up for the FY 2023-24.

3.7.2	Watch & Ward Expenses: If OPTCL goes for appointing the regular employees for watch & ward activities of its assets, the expense will be booked under Employee Cost. Due to shortage of manpower and in order to save cost, OPTCL has hired the service of outside security agency and paid Rs. 3.31 Cr. during FY 2023-24 towards Watch & Ward Expenses booked under A&G Expenses. Hon’ble Commission may kindly consider the Watch & Ward Expenses amounting Rs. 3.31 Cr. under A&G Expenses in truing up for FY 2023-24.

3.7.3	An amount of Rs.3.53 Cr. has been incurred towards ground rent and cess on Free Hold/ Lease Hold Land. Hon’ble Commission may kindly consider the said amount under A&G Expenses in truing up for FY 2023-24 separately without linking with the WPI.

3.8	As per the approved tariff for SLDC charges, OPTCL has paid SLDC charges on monthly basis to SLDC. On the other hand SLDC has accounted the same as income under SOC/MOC charges. Therefore, the net impact is zero.

3.9	Expenditure on inspection fees has been included under R&M Expenditure.

3.10	As per the Regulation 8.14 of Transmission Tariff Regulations, 2014, for OPTCL the Commission shall allow A&G expenses by giving an escalation factor equal to WPI over the amount approved by the Commission in the previous year. Accordingly, Hon’ble Commission allowed additional Rs.1.54 Cr. (32.73-31.19) over the previous year which is 4.95%. OPTCL humbly submitted that with increase in no. of sub-satiations and divisions the A&G expenses will increase proportionately. Therefore, the A&G expenses is always on higher side in comparison of OERC approval.

3.11   	The A&G cost should be increased by WPI on the base year provided the establishment has remained same. Based on increase in number of establishments commensurating with the increase in asset by addition of Grid sub-stations, ckt kilometers of lines, MVA capacity, A&G expenses should be increased proportionately.

3.12   On the other hand as per the Regulation 3.9.16. of OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 the Distribution companies is allowed normal A&G Expenses @ 7% escalation over previous year. Besides, they are also allowed  additional or special A&G expense.

3.13.	 In view of the submission made above and expenses incurred against small items, the total A&G Expenses amounting to Rs. 42.81 Cr. (i.e. 46.83-1.05-2.97]) may kindly be considered in 	truing up for the FY 2023-24 against approved amount of Rs. 40.28 Cr. The shortfall under this head is Rs. 2.53 Cr. (42.81-40.28).

4. Depreciation:

4.1	Hon’ble Commission had allowed an amount of Rs. 269.54 Cr. towards depreciation in the Transmission Tariff Order for FY 2023-24 (para-231, page-105 of the tariff order).

4.2	As per the audited accounts for FY 2023-24, the depreciation and amortization expenses  is Rs. 406.56 Cr. (Note-30 of the Audited Accounts)  which is calculated on straight line method as per the rates as well as methodology notified under the Electricity Act, 2003. The details are as under:

Table-36

Rs. in Cr.

| Sl No | Description | Actual | SLDC | Transmission |
| --- | --- | --- | --- | --- |
| 1 | Amortisation of leasehold assets | 1.92 | - | 1.92 |
| 2 | Depreciation on Buildings | 6.48 | - | 6.48 |
| 3 | Depreciation On Electrical Installation | 0.81 | 0.02 | 0.79 |
| 4 | Depreciation on Other civil works | 4.11 | 0.00 | 4.11 |
| 5 | Depreciation on Plant and Machinery | 260.51 | 0.00 | 260.51 |
| 6 | Depreciation on Lines, Cable Network etc. | 117.42 | 0.00 | 117.42 |
| 7 | Depreciation on Vehicles | 0.11 | - | 0.11 |
| 8 | Depreciation on Furniture and Fixtures | 0.56 | 0.02 | 0.55 |
| 9 | Depreciation on Office Equipment | 12.07 | 0.82 | 11.25 |
| 10 | Amortisation of Computer Software | 2.58 | 0.00 | 2.57 |
|  | TOTAL | 406.56 | 0.87 | 405.70 |

The depreciation on Transmission Activities is Rs.405.70 crore which includes Rs. 112.36 Cr. towards the depreciation made on account of assets created by the beneficiary and Govt. on deposit work basis. The net depreciation against OPTCL own assets is Rs.  293.34 Cr. (405.70-112.36).

4.3	Regulation 8.38 of OERC Transmission Tariff Regulations, 2014 states as under:

“For STU (OPTCL), Depreciation shall be calculated for each year of the Control Period, on the original book value of the assets considering applicable depreciation rate as determined by the Commission from time to time.”

Further, as per the Regulation 8.34 of the said Regulations, “Depreciation shall be calculated annually based on Straight Line Method and at rates as specified in Appendix-A to these regulations.”

4.7 	Therefore, Hon’ble Commission may kindly consider Rs. 294.71 Cr. towards Depreciation in the truing up for FY 2023-24. The deficit under this head is Rs. 25.17 Cr. (294.71-269.54).

5. Finance Cost:

5.1	Hon’ble Commission had allowed Rs.111.83 Cr. towards interest on loan in the Transmission Tariff Order for FY 2023-24 (para-333, page-102 of the order).

5.2	As per the audited accounts for FY 2023-24, total Finance Cost is Rs.137.37 Cr which includes Rebate of Rs.16.34 Cr (Note-29 of the Audited Accounts).  Total interest paid for FY 2023-24 is Rs. 140.34 Cr. and the net interest is Rs. 120.96 Cr. after capitalisation of Rs. 19.38 Cr.  (140.34-19.38)

5.3	Hon’ble Commission may kindly consider Rs. 120.96 Cr. toward Interest on Loan in the truing up for FY 2023-24 against approved amount Rs. 111.83 Cr. The Deficit under this head is Rs.9.13 Cr. (120.96-111.83)

6. Rebate:

6.1	Hon’ble Commission has allowed Rs.17.92 Cr. towards rebate in the Transmission Tariff Order for FY 2023-24 (Para 352, page 110 of the order). As per the audited accounts, the rebate is Rs. 16.34 Cr. of which Rs.11.73 lakhs related to the SLDC.

6.2	Hon’ble Commission may kindly consider Rs.16.23 Cr. (16.3441-0.1173) toward Rebate in truing up for the FY 2023-24 against approved amount Rs.17.92 Cr. The surplus under this head is Rs.1.69 Cr. (16.23-17.92).

7. Incentive for System Availability:

7.1	Hon’ble Commission in the Transmission Tariff Order for FY 2023-24 had allowed Rs.5.00 Cr. towards incentive for System Availability against the proposal of Rs.11.91 Cr. (para-350, page-110 of the order).

7.2	For the FY 2023-24 the system availability is 99.98%.Verification by SLDC is enclosed at Annexure- 06. Considering the above the System Availability is calculated as Rs.13.46 Cr.

- Incentive = ARR (approved for 2023-24) x [(TAFY/NATAF) - 1]

- = Rs. 896.18 Cr. x [(99.98/98.50) - 1]

- = Rs. 896.18 Cr. x 0.015025= Rs. 13.46 Cr.

7.3	Hon’ble Commission had approved an amount of Rs.5.00 Cr. as an incentive in the ARR of OPTCL for FY 2023-24 with a rider that this incentive amount approved by the Commission should be spent on solarisation of grids and capacity building/efficiency improvement of its employees. The Commission directs OPTCL to submit the detailed breakup of the amount spent under system improvement & capacity building.

In this regards it is submitted that OPTCL  has entrusted OREDA for tendering and execution towards solarization of GSS of OPTCL. Upon receipt of payment to the tune of Rs. 5.00 Cr. for package-1, OREDA has issued work order on dated 20.01.2024 to 03 nos. agencies for solarization of 19 nos. GSS & PTC, Chandaka. As of now, work in all of the sites have already been completed. Additionally, OPTCL has initiated process for payment of additional 5 Cr. for package-2 i.e. solarization of further 16 nos. GSS.

With regard to capacity building, OPTCL has nominated 223 nos. of employees for a total of 40 (Forty) external training programmes conducted in FY 2023-24 by some of the reputed institutions like CBIP, NPTI Faridabad, RECIPMT Hyderabad, ESCI Hyderabad, CPRI Bhopal, CPRI Bangalore etc. for the purpose of System improvement and capacity building. During FY 2023-24, a total of 757 mandays of training have been achieved. The total expenses towards external Training programme is ₹ 17,36,580/-.

  - Hon’ble Commission may kindly consider Rs13.46 Cr. toward system availability in truing up for the FY 2023-24 against approved amount Rs.5.00 Cr. The deficit under this head is Rs. 8.46 Cr. (13.46-5.00).

8.	Further, Hon’ble Commission in the Transmission Tariff Order for FY 2023-24 had allowed Rs.0.35 Cr. towards GCC expenses (para 349, page-110 of the order). During the year the GCC meeting could not be commenced   due to various reason. Therefore, the expenditure against GCC  for the year is NIL. The surplus under this head is Rs.0.35 Cr.

9. Return on Equity (RoE)

9.1	Hon’ble Commission had approved RoE of Rs. 140.42 Cr.  @ 15.5% on equity value of Rs. 905.91 Cr. in the Transmission Tariff order for FY 2023-24 (para-347, page-109 of the order). The details calculation was as under

| Sl No. | Particulars | Rs. In Crore |
| --- | --- | --- |
| 1 | Equity Share infused by State Govt. upto 18.11.22 | 2011.40 |
| 2 | Less:- Amount sanction towards conversion of bond to the equity. (Government of Odisha, vide its letter No.3333 dated 24.03.2021, had communicated to the Commission that no return on equity shall be paid on the equity) | 647.00 |
| 3 | Less:-Equity capital infused by the Government of Odisha and will be considered as CWIP during the FY 2023-24. | 458.49 |
|  | Total equity considered for RoE | 905.91 |

9.2	It is submitted that as per the Audited Accounts for the FY 2023-24 the total Equity Capital is Rs.2442.78 crore. This includes equity of Rs.60.07 Cr. inherited by OPTCL at the time of demerger of GRIDCO into GRIDCO & OPTCL and Rs.647 Cr toward conversion of Bond along with interest into equity. During the current FY State Govt has infused Rs. 371.31 Cr. equity share capital in OPTCL .-

9.3	Commission in para 346 observed that  Rs. 458.49 Cr could not be capitalised out of the above equity capital infused by the Government of Odisha and will be considered as CWIP during the FY 2023-24. The details are as under:-

| Sl No. | Name of Project | Scheme | Equity infused by GoO but under CWIP upto 31.03.2024 (Rs. Cr) |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Upto 31.03.2022 | FY 2022-23 | Total |
| 1 | 2X 40MVA 220/33kV Grid S/S at Palei, Balichandrapur with line. | SSP-30% GoO Equity | 12.53 | - | 12.53 |
| 2 | 2x160MVA+2x40MVA, 220/132/33kV Grid S/S, Dhamara with line | SSP-30% GoO Equity | 26.85 | - | 26.85 |
| 3 | 2X40MVA, 132/33kV Grid S/S at Bhatli along with line | SSP-30% GoO Equity | 15.69 | - | 15.69 |
| 4 | 2X20MVA, 132kV Grid S/S Lamtaput with SAS and associated line. | SSP-30% GoO Equity | 7.90 | - | 7.90 |
| 5 | 132kV DC line from 220/132/33kV S/S Baner (Jaipatna) to 132/33kV S/S at Junagarh | SSP-30% GoO Equity | 10.94 | - | 10.94 |
| 6 | 2x20MVA, 132/33kV Grid S/S at Boriguma and associated line | Rs. 300 Cr GoO Equity | 7.59 | - | 7.59 |
| 7 | 2x500MVA, 400/220/33kV GIS at Paradeep and associated line | Paradeep-30% GoO Equity | 94.00 | 92.24 | 186.24 |
| 8 | 2X20MVA, 132/33KVGSS at Brundabahal with associated line | Brundabahal-100% GoO Equity | 35.29 | 22.83 | 58.12 |
| 9 | S/S at Tarabha with associated 132kV LILO Line | Tarabha-100% GoO Equity | 4.00 | 9.69 | 13.69 |
| 10 | Construction of 132/33 KV Grid S/s GIS at Hinjilikatu, Ganjam | 30% GoO Equity | 13.49 | - | 13.49 |
| 11 | Construction of 2x20 MVA, 132/33 KV Grid S/s at Hirakud with GIS along with associated 132 KV LILO lind from existing 132 KV Burla-Lapanga line & existing 132 KV ALCO line. Est. Cost-11/2017-18 | 30% GoO Equity | 14.60 | - | 14.60 |
| 12 | Construction of 2x20 MVA 220/33 KV Grid S/S at kalimela with associated 220 kV SC line on DC tower from Malkangiri s/s to the proposed Kalimela s/s with one number feeder bay extension at MALKANGIRI | 30% GoO Equity | 18.31 | - | 18.31 |
| 13 | Design engineering, Errection, Testing & Commissioning of 220KV double circuit line from Jayanagar 220/132/33 KV s/s of OPTCL to 400/220KV s/s of PGCIL at Kaliagaon | 40% GoO Equity | 5.89 | - | 5.89 |
| 14 | 5 Nos of Projects under Scheme RRCP-II | RRCP-II-30% GoO Equity Support | 6.65 | 10.00 | 16.65 |
| 15 | 5 Nos of Projects under Scheme LVMS | LVMS-II-30% GoO Equity Support | - | 50.00 | 50.00 |
|  |  |  | 273.73 | 184.76 | 458.49 |

9.4  In this regards it submitted that out of 15 projects/scheme mention above four(i.e. SL no. 11 to 13 have already been capitalized by end of 31.03.2023 and one project (Sl No. 2 has been captalised  in Apr-2023.

9.5     As noted in Para 345 , Tabel-53, page-107-108, of the Tariff order 2023-24 State Govt. has infused Rs.2011.40 Cr.(excluding Rs.60.07 Cr. –allotted to OPTCL through transfer notification)   upto 18-11-2022.  Thereafter,  Rs.371.31 Crore allotted as on 31.03.2013.(2442.78-2011.40-60.07). Considering the above revised CWIP upto 31.03.2024 are as under.

| SL No. | Name of the Projects/Scheme | Upto 31.03.22 | Received in FY 22-23 (upto 18.11.22) | allotted after 18.11.22 | Total as on 31.03.24 | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 220/33kV Grid S/S at Palei, Balichandrapur with line. | 12.53 |  |  | 12.53 | CWIP |
| 2 | 220/132/33kV Grid S/S, Dhamara with line | 26.85 |  | 22.61 | 49.46 | 24-04-2023 |
| 3 | 132/33kV Grid S/S at Bhatli along with line | 15.69 |  |  | 15.69 | CWIP |
| 4 | 132/33kV Grid S/S Lamtaput with SAS and associated line. | 7.90 |  |  | 7.90 | CWIP |
| 5 | 132kV DC line from S Baner (Jaipatna) to Junagarh | 10.94 |  |  | 10.94 | CWIP |
| 6 | 132/33kV Grid S/S at Boriguma and associated line | 7.59 |  |  | 7.59 | CWIP |
| 7 | 400/220/33kV GIS at Paradeep and associated line | 94.00 | 92.24 | 5.00 | 191.24 | CWIP |
| 8 | 132/33KVGSS at Brundabahal with associated line | 35.29 | 22.83 |  | 58.12 | CWIP |
| 9 | 132/33 kV S/S at Tarabha with associated Line | 4.00 | 9.69 | 18.00 | 31.69 | CWIP |
| 10 | 132/33 KV Grid S/s GIS at Hinjilikatu, Ganjam | 13.49 |  |  | 13.49 | 29-07-2022 |
| 11 | 132/33 KV Grid S/s at Hirakud associated line | 14.60 |  |  | 14.60 | 17-03-2022 |
| 12 | 220/33 KV Grid S/S at Kalimela with associated line | 18.31 |  |  | 18.31 | 19-11-2022 |
| 13 | 220KV DC line from Jayanagar to PGCIL at Kaliagaon | 5.89 |  |  | 5.89 | 08-07-2021 |
| 14 | 5 Nos of Projects under Scheme RRCP-II | 6.65 | 10.00 | 12.10 | 28.75 | CWIP |
| 15 | 5 Nos of Projects under Scheme LVMS |  | 50.00 | 13.92 | 63.92 | CWIP |
| 16 | 400/220/33 KV Meramundali-B GIS |  |  | 26.58 | 26.58 | 08-01-2022 |
| 17 | 132/33kV Grid S/S at Chandipur with associated line |  |  | 13.46 | 13.46 | 31-08-2022 |
| 18 | 132/33 KV GRID S/S, Bahugram |  |  | 10.26 | 10.26 | 03-08-2022 |
| 19 | 132/33 KV GRID S/S, Gondia |  |  | 11.72 | 11.72 | 31-10-2021 |
| 20 | 132/33kV Grid S/S at Rajnagar awith associated line |  |  | 10.76 | 10.76 | 28-08-2021 |
| 21 | 132/33kV Grid S/S at Lakhanpur with associated line. |  |  | 8.49 | 8.49 | 29-04-2023 |
| 22 | 132/33kV Grid S/S at Thuapali with line |  |  | 9.67 | 9.67 | 14-07-2021 |
| 23 | 220/132/33 KV Grid S/S at Gunupur with associated line |  |  | 17.24 | 17.24 | 30-03-2022 |
| 24 | 220/132/33 KV GRID S/S, Kiakata |  |  | 37.52 | 37.52 | CWIP |
| 25 | 132/33 KV Grid Substation at Athamalik with associated lines |  |  | 14.00 | 14.00 | CWIP |
| 26 | OTSSP-I |  |  | 40.00 | 40.00 | CWIP |
| 27 | OTSSP-II |  |  | 100.00 | 100.00 | CWIP |
|  | TOTAL | 273.73 | 184.76 | 371.31 | 829.80 |  |

9.6 	As stated in above Table , OPTCL is liable to get additional RoE amounting to Rs. 31.79 Crore as per the details mentioned below:

| SL No. | Name of the Projects/Scheme | Equity as on 31.03.24 | Date of Capitalisation | Months | Additional ROE @15.5% |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6=(3x15.5%)x5/12M |
| 1 | 220/132/33kV Grid S/S, Dhamara with line | 49.46 | 24-04-2023 | 11 | 7.03 |
| 2 | 132/33 KV Grid S/s GIS at Hinjilikatu, Ganjam | 13.49 | 29-07-2022 | 12 | 2.09 |
| 3 | 132/33 KV Grid S/s at Hirakud associated line | 14.6 | 17-03-2022 | 12 | 2.26 |
| 4 | 220/33 KV Grid S/S at Kalimela with associated line | 18.31 | 19-11-2022 | 12 | 2.84 |
| 5 | 220KV DC line from Jayanagar to PGCIL at Kaliagaon | 5.89 | 08-07-2021 | 12 | 0.91 |
| 6 | 400/220/33 KV Meramundali-B GIS | 26.58 | 08-01-2022 | 12 | 4.12 |
| 7 | 132/33kV Grid S/S at Chandipur with associated line | 13.46 | 31-08-2022 | 12 | 2.09 |
| 8 | 132/33 KV GRID S/S, Bahugram | 10.26 | 03-08-2022 | 12 | 1.59 |
| 9 | 132/33 KV GRID S/S, Gondia | 11.72 | 31-10-2021 | 12 | 1.82 |
| 10 | 132/33kV Grid S/S at Rajnagar awith associated line | 10.76 | 28-08-2021 | 12 | 1.67 |
| 11 | 132/33kV Grid S/S at Lakhanpur with associated line. | 8.49 | 29-04-2023 | 11 | 1.21 |
| 12 | 132/33kV Grid S/S at Thuapali with line | 9.67 | 14-07-2021 | 12 | 1.50 |
| 13 | 220/132/33 KV Grid S/S at Gunupur with associated line | 17.24 | 30-03-2022 | 12 | 2.67 |
|  | TOTAL | 209.93 |  |  | 31.79 |

8.5.   Therefore, It is requested that Hon’ble Commission may kindly allow Return on Equity amounting of Rs.172.21 Cr.  Instead of Rs. 140.42 Cr. The shortfall under this head is Rs. 31.79 Cr. (172.21-140.42).

10.  Income Tax

10.1	Hon’ble Commission had allowed Rs 27.21 Cr. towards Income Tax in the ARR of 2023-24 in anticipation of payment made under the head income tax subject to actual payment which will be verified during trued up exercise of that year. (Para-348, page-109 of the order).

10.2	For the FY 2023-24 OPTCL has calculated and paid Income Tax Amounting to Rs.  10.77 Cr under MAT. Copy of the Acknowledgement is placed as Annexure- 05. The said amount may kindly be considered in truing up for the FY 2023-24. The surplus under this head is Rs. 16.44 Cr.(27.21-10.77)

11.      Other Income

11.1	Hon’ble Commission had approved Rs. 300.45 Cr. as other income against the OPTCL proposal amounting to  Rs. 366.45 Cr. towards Misc. Receipt from inter-state transmission, Short Term Open Access and STU charge, Bank Interest, Sale of Scraps, Supervision Charges and other Misc. Receipts. (para-354, page- 111 of the order).

11.2	As per the audited accounts for the FY 2023-24 following income have been recognized as Misc. income via-a-vis approved by the commission.

Table- 37

i. Revenue from Operation (Note-26)

| Sl. No. | Narration | Rs. Cr. | Remarks/ Approved by Commission |
| --- | --- | --- | --- |
| 1 | Transmission Charges |  |  |
|  | (i) Long Term Open Access Charges | 873.35 | Transmission Charges |
|  | (ii) Short Term Open Access Charges | 162.84 | Misc. Income |
|  | Sub Total | 1036.19 |  |
| 2 | Other Operating Revenue | 12.49 | SLDC Income |
| 3 | Registration Charges | 0.01 | Misc. Income |
| 4 | Application Fees | 0.23 | Misc. Income |
|  | TOTAL (1+2+3) | 1048.92 |  |

Misc. Income under Note-26 is Rs.163.08 Cr. (162.84+0.01+0.23)

Table- 38

ii. Other Income (Note-27)

| Sl. No. | Narration | OPTCL Rs. Cr. | TRANS Rs. Cr. | SLDC Rs. Cr. | Remarks/ Approved by Commission |
| --- | --- | --- | --- | --- | --- |
| 1 | Interest on term deposits/ fixed deposits | 74.34 |  | 74.34 | Misc. Income |
| 2 | Interest on Staff Loans and Advances | 1.53 |  | 1.53 | Misc. Income |
| 3 | Other Miscellaneous Income | 20.05 | 0.02 | 20.03 | Misc. Income |
| 4 | Sale of Scraps | 1.51 |  | 1.51 | Misc. Income |
| 5 | Supervision charges | 22.10 |  | 22.10 | Misc. Income |
| 6 | Misc Income:- Sub Total (1+.+5) | 119.53 | 0.02 | 119.51 |  |
| 7 | Deferred Income* | 112.36 | 0.36 | 112.00 | Not to be considered |
| 8 | Excess Provision written Back | 18.08 |  | 18.08 | Not to be considered |
|  | Total(6 to 8) | 249.97 | 0.38 | 249.59 |  |

11.3	Both Deferred Income and Excess Provision written back are other non-tariff income hence not to be considered for true-up.

11.4	Similarly, SLDC operating charges booked under the head “Other Operating Income” amounting to Rs.12.49 Cr. shall not be considered for true-up.

11.5	Hon’ble Commission may kindly consider Rs. 282.59 Cr.(163.08+119.51)  as Misc. Receipts against the approved amount of Rs. 300.45 Cr. in truing up for the FY 2023-24. The deficit under this head is Rs.17.86 Cr. (300.45-282.59).

12. Transmission Charges

12.1	Hon’ble Commission had approved total ARR of Rs.896.18 Cr. in the Transmission Tariff Order for FY 2023-24 which are to be recovered from LTOA customers (para-357, page-113 of the Order).

12.2	As per the audited accounts for FY 2023-24, the revenue from transmission charges recovered from the LTOA is Rs.873.35 Cr. (Note-26):

12.3   Hon’ble Commission may kindly consider Rs.873.35 Cr. in truing up for the FY 2023-24. The deficit under this head is Rs.22.83 Cr. (896.18-873.35).

13. 	It is humbly submitted that Hon’ble Commission may kindly consider the component wise surplus/shortfall as explained in the above paragraphs (1 to 12) for carrying out the truing up of ARR for FY 2023-24. The net deficit of Rs. 139.71 Cr. is worked out in the Table below:

ABSRTACT OF TRUING UP FOR THE FY 2023-24

Table- 39

| Particulars / Year | (Rs. Cr.) |  |  |  |
| --- | --- | --- | --- | --- |
|  | OERC Approval | Actual as per Audited Accounts | Truing up | Surplus/ (Deficit) |
| Expenditure |  |  |  |  |
| Expenditure |  |  |  |  |
| A. Employee Cost (Net) | 449.08 | 493.67 | 493.67 | -44.59 |
| B. R & M Cost | 135.00 | 130.83 | 130.83 | 4.17 |
| C. A & G Cost (Including SLDC and GCC) | 40.28 | 46.83 | 42.81 | -2.53 |
| Sub-Total (A+B+C) | 624.36 | 671.33 | 667.31 | -42.95 |
| D. Depreciation | 269.54 | 294.71 | 294.71 | -25.17 |
| E. Interest on long-term liability | 111.83 | 120.96 | 120.96 | -9.13 |
| F. Rebate | 17.92 | 16.23 | 16.23 | 1.69 |
| G. Incentive for system availability | 5.00 |  | 13.46 | -8.46 |
| H. GCC Expenses | 0.35 | - | - | 0.35 |
| Sub-Total (A to H) | 1,029.00 | 1,103.23 | 1,112.67 | -83.67 |
| I. Return on Equity | 140.42 |  | 172.21 | -31.79 |
| J. Income tax | 27.21 |  | 10.77 | 16.44 |
| Grand Total (A to J) | 1,196.63 | 1,103.23 | 1,295.65 | -99.02 |
| Less: Inter-state wheeling & Misc. Revenue | 300.45 | 412.67 | 282.59 | 17.86 |
| Net Transmission Cost | 896.18 | 690.56 | 1,013.06 | -116.88 |
| Revenue from Transmission Charges | 896.18 | 873.35 | 873.35 | 22.83 |
| Difference to be allowed in truing up (FY 2023-24) | - | 182.79 | -139.71 | -139.71 |

# PRAYER

# Based on the facts and submissions made in the foregoing paragraphs, OPTCL humbly prays before Hon’ble Commission to kindly approve the proposed ARR and Transmission Tariff for FY 2025-26 and Truing up application of OPTCL for FY 2023-24  as under:

# Aggregate Revenue Requirement of Rs. 1,663.33 Cr.

# Recovery of Transmission Charge @ Rs. 8660 /MW-Day i.e. 36.08 Paise/unit.

# Transmission Loss for FY 2025-26 as 3.05% on energy drawl.

# Truing up exercise for the FY 2023-24 and consider the deficit amount of Rs.139.71 Cr.

# for which the applicant as in duty bound shall ever pray.

BY THE APPLICANT

THROUGH

Bhubaneswar

November 29, 2024

Sr. GM (RT&C), OPTCL

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.---------										Filing No. 1

IN THE MATTER OF:	(i) An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2025-26 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

And

(ii) Truing up application for the FY 2023-24 in compliance with the Regulation 7 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014.

AND

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.								                                                                                       …Applicant

Affidavit verifying the Application

I, Sri Prabeer Kumar Mallick, son of Late Binod Bihari Mallick, aged about 59 years, residing at Cuttack, do solemnly affirm and say as follows:

- I am the Sr. General Manager (Regulation, Tariff & Commercial), OPTCL, have been duly authorized by the said applicant to make this affidavit on its behalf.

- That the Statements made in paragraphs herein above are based on official information and I believe them to be true.

Bhubaneswar

November 29, 2024

DEPONENT

Proposed Schedule of Transmission Charge of OPTCL for FY 2025-26

Transmission Charge

This Charge is applicable for transmission of power from generating points to the supply point of Distribution & Retail Supply Licensees (GRIDCO power) and wheeling of power for CGPs. The total charges shall be calculated by summation of following charges stated in Para (a) to (d) below as applicable:

(a)	Transmission Charge:

- Transmission Charge @ Rs. 8660 /MW-Day i.e. 36.08 paise/unit shall be applicable for transmission of power at 400kV/220kV/132kV over OPTCL’s EHT transmission system for the purpose of transmission of energy from generator end to the sub-station from where energy will be fed to DISCOMs and CGPs.

- Transmission Loss @ 3.05% for the use of EHT transmission system and for the purpose of transmission of energy from a CGP to its industrial unit located at a separate place as well as for transmission of power from outside the state to an industry located inside the State.

- Long Term Open Access Customers, Medium Term Open Access Customers & Short Term Open Access Customers shall pay the applicable Transmission Charges plus all other charges and losses as applicable thereon, as the case may be.

The Transmission Charge shall be applicable to the DISCOMs and CGPs for the respective month.

(b) Rebate:

- As per direction of OERC, DISCOMs are governed under OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014. Accordingly, rebate shall be allowed vide Regulation 8.49 & 8.50 i.e a rebate of 2% on the monthly bills (excluding arrears), if full payment is made within two working days (excluding holidays under N.I Act) of the presentation of the bill and 1% on the monthly bills, if paid within 30 days on the presentation of the bill.

- Long & Medium Term Open Access Customers other than DISCOMs are governed under OERC (Terms and conditions of Intra state open access) Regulations 2020. They shall pay the transmission charges within Seven (07) days from the date of receipt of the bill as mentioned vide Regulation 32(2)(b) of Intra state open access Regulations 2020. There is no provision of rebate for early payment in the said Regulations 2020. Necessary directions may please be given in this regard.

(c)  Exemption as per OREP(2022)

- As per new Odisha Renewable Energy Policy-2022 (OREP-2022) effective from 30th November, 2022, OPTCL shall provide exemption of twenty (20) paise per unit on STU charges to captive/open access consumers on consumption of energy from RE projects commissioned in the State during the policy period of fifteen (15) years. This exemption shall be allowed for five (5) more years in case of projects commissioned before 31.03.2026.

(d) Late Payment Surcharge:

- For DISCOMs, Regulation 8.48 of OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 shall be followed.

- For Long & Medium Term Open Access Customers other than DISCOMs, Regulation 33 of OERC (Terms and conditions of Intra state open access) Regulations, 2020 shall be followed.

(e) Duty and Taxes:

- The Electricity Duty levied by the Government of Odisha and any other statutory levy/ duty/ tax/ cess/ toll imposed under any law from time to time shall be charged over and above the tariff.