## L9
Circle / Division | Sl. No. | S/S Name | kV Level | Year of Comm. | Details of S/S Capacity ( MVA) | ICT Capacity (MVA) | Auto Capacity (MVA) | Power Capacity (MVA) | Total Capacity (MVA) | Maximum Percentage of Loading | Percentage of Sharing by DISCOMs
[11 empty] | CESU | NESCO | WESCO | SOUTHCO
Circle : Berhampur
Division : Berhampur | 1 | Berhampur | 132/33 kV | 1964 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 79.66% |  |  |  | 100%
| 2 | Chikiti | 132/33 kV | 2019 | 1x40+ 1x20 MVA, 132/33 kV |  |  | 60 | 60 | 48.21% |  |  |  | 100%
| 3 | Digapahandi | 132/33 kV | 2004 | 2x20+1x12.5 MVA, 132/33 kV |  |  | 52.5 | 52.5 | 65.44% |  |  |  | 100%
| 4 | Hinjili | 132/33 kV | 2022 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 19.19% |  |  |  | 100%
| 5 | Mohana | 132/33 kV | 1973 | 2x12.5 MVA, 132/33 kV |  |  | 25 | 25 | 42.29% |  |  |  | 100%
| 6 | Narendrapur | 220/132/33 kV | 1999 | 2x160 +1x100MVA, 220/132 kV 3x40+1x20 MVA, 132/33 kV |  | 420 | 140 | 560 | 45.41% |  |  |  | 100% |  | 0.76667
| 7 | R.Udaygiri | 132/33 kV | 2024 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 0% |  |  |  | 100%
Circle : Berhampur
Division : Bhanjanagar | 8 | Aska | 132/33 kV | 1975 | 3x40, 132/33 kV |  |  | 120 | 120 | 61.79% |  |  |  | 100%
| 9 | Aska New | 132/33 kV | 2019 | 2x160 MVA, 220/132 kV 1x40 + 1x20 MVA, 132/33 kV |  | 320 | 60 | 380 | 24.49% |  |  |  | 100%
| 10 | Bhanjanagar | 220/132/33 kV | 1984 | 2x160 MVA, 220/132 kV 2x40 + 1x20 MVA, 132/33 kV |  | 320 | 100 | 420 | 37.57% |  |  |  | 100% |  | 0.56563
| 11 | G. Udaygiri | 132/33 kV | 2021 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 13.32% |  |  |  | 100% |  | 0.56563
| 12 | Phulbani | 132/33 kV | 1986 | 2x40+1x12.5 MVA, 132/33 kV |  |  | 92.5 | 92.5 | 31.92% |  |  |  | 100%
Circle : Berhampur
Division : Chhatrapur | 13 | Balugaon | 132/33 kV | 1991 | 1x40+1x20+1x12.5 MVA, 132/33 kV |  |  | 72.5 | 72.5 | 59.55% | 65.22% |  |  | 34.78%
| 14 | Chhatrapur | 132/33 kV | 1982 | 3x20 MVA, 132/33 kV |  |  | 60 | 60 | 62.47% |  |  |  | 100%
| 15 | Ganjam | 132/33 kV | 1967 | 1x12.5 + 1x20 MVA, 132/33 kV |  |  | 32.5 | 32.5 | 61.21% |  |  |  | 100%
| 16 | Purusottampur | 132/33 kV | 2013 | 2x12.5+1X20 MVA, 132/33 kV |  |  | 45 | 45 | 42.26% |  |  |  | 100%
Circle : Bolangir
Division : Bolangir | 17 | ACME | 132 kV | 2015 | 132 kV Switching Station |  |  | 0 | 0 |  |  |  | 100%
| 18 | Birmaharajpur | 132/33 kV | 2022 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 18.16% |  |  | 100%
| 19 | Bolangir | 132/33 kV | 1981 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 60.63% |  |  | 100%
| 20 | Boudh | 132/33 kV | 2015 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 47.47% |  |  | 100%
| 21 | New Bolangir | 220/132/33 kV | 2010 | 3x160 MVA, 220/132 Kv 1x40+1x20 MVA, 132/33 kV |  | 480 | 60 | 540 | 19.82% |  |  | 100%
| 22 | Patnagarh | 132/33 kV | 2001 | 1X40+2x20 MVA, 132/33 kV |  |  | 80 | 80 | 50.36% |  |  | 100%
| 23 | Sonepur | 132/33 kV | 2001 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 57.59% |  |  | 76.09% | 23.91%
| 24 | Tusura | 132/33 kV | 2017 | 1x20+1x40 MVA, 132/33 kV |  |  | 60 | 60 | 44.67% |  |  | 76.09% | 23.91%
Circle : Bolangir
Division : Kesinga | 25 | ABREL | 132 kV | 2022 | 132 kV Switching Station |  |  | 0 | 0 |  |  |  | 100%
| 26 | Bhawanipatna | 132/33 kV | 2013 | 2x12.5 + 1x20 MVA, 132/33 kV |  |  | 45 | 45 | 63.51% |  |  | 100%
| 27 | Brundabahal | 132/33 kV | 2024 | 1x20 MVA, 132/33 kV |  |  | 20 | 20 | 0% |  |  | 100%
| 28 | Junagarh | 132/33 kV | 2001 | 3x20 MVA, 132/33 kV |  |  | 60 | 60 | 50.76% |  |  | 100%
| 29 | Jayapatana | 220/132/33 kV | 2019 | 2x160 MVA, 220/132 kV 2x40 MVA, 132/33 kV |  | 320 | 80 | 400 | 22.56% |  |  | 100%
| 30 | Kesinga | 220/132/33 kV | 1982 | 2X160 MVA, 220/132 kV, 1x40+2x20 MVA, 132/33 kV |  | 320 | 80 | 400 | 60.82% |  |  | 100%
| 31 | Saintala | 132/33 kV | 1989 | 1x12.5+1x10 MVA, 132/33 kV |  |  | 22.5 | 22.5 | 0% |  |  | 100%
| 32 | Vedant Alumina | 132 kV | 2006 | 132 kV Switching Station | [7 empty] | 100%
Circle : Bolangir
Dvision : Nuapara | 33 | Kantabanji | 132/33 kV | 2018 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 23% |  |  | 100%
| 34 | Khariar | 132/33 kV | 1995 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 53.21% |  |  | 100%
| 35 | Nuapara | 132/33 kV | 2014 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 66.17% |  |  | 100%
| 36 | Padampur | 132/33 kV | 2016 | 1x40+2x20 MVA, 132/33 kV |  |  | 80 | 80 | 47.21% |  |  | 100%
Circle : Bhubaneswar
Division : Bhubaneswar | 37 | Bhubaneswar | 132/33 kV | 1979 | 3x63 MVA, 132/33 kV |  |  | 189 | 189 | 83.68% | 100%
| 38 | Bhubaneswar Power | 132 kV | 2016 | 132 kV Switching Station | [5 empty] | 100%
| 39 | Chandaka | 220/132/33 kV | 1989 | 2x160+2x100 MVA, 220/132 kV 3x63 MVA, 132/33 kV |  | 520 | 189 | 709 | 79.5% | 100% |  |  |  |  | 0.80838
| 40 | Chandaka-B | 220/132/33 kV | 1989 | 2x160, 220/132 kV 2x40 MVA, 132/33 kV |  | 320 | 80 | 400 | 57.16% | 100% |  |  |  |  | 0.80838
| 41 | Infocity-II | 220/33 kV | 2016 | 2x40 MVA, 220/33 kV |  |  | 80 | 80 | 25.74% | 100%
| 42 | Kantabada | 220/33 kV | 2023 | 2x63 MVA, 220/33 kV |  |  | 126 | 126 | 0% | 100%
| 43 | Kesura | 132/33 kV | 2010 | 2x63 MVA, 132/33 kV |  |  | 126 | 126 | 42.51% | 100%
| 44 | Mancheswar-B | 132/33 kV | 2020 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 62.53% | 100%
| 45 | Nayapalli | 132/33 kV | 2024 | 1x20 MVA, 132/33 kV |  |  | 20 | 20 | 0% | 100%
| 46 | Pratapsasan | 220/132/33 kV | 2020 | 2x160 MVA, 220/132 kV 2x40 MVA, 132/33 kV |  | 320 | 80 | 400 | 36.72% | 100% |  |  |  |  | 0.80838
| 47 | Ranasinghpur | 132/33 kV | 1997 | 3x63 MVA, 132/33 kV |  |  | 189 | 189 | 42.17% | 100%
| 48 | Unit-8 | 132/33 kV | 2019 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 75.99% | 100%
Circle : Bhubaneswar
Division : Khurda | 49 | Argul | 132/33 kV | 2014 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 41.05% | 100%
| 50 | Atri | 220/132/33 kV | 2016 | 2x160 MVA, 220/132 kV 1x20 MVA, 132/33 kV |  | 320 | 20 | 340 | 0% | 100%
| 51 | Banki | 132/33 kV | 2015 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 61.21% | 100%
| 52 | Chandpur | 132/33 kV | 2013 | 1x20+2x12.5MVA, 132/33 kV |  |  | 45 | 45 | 78.2% | 100%
| 53 | Khurda | 132/33 kV | 1969 | 4x40 MVA, 132/33 kV |  |  | 160 | 160 | 67.08% | 100%
| 54 | Nayagarh | 220/33 kV | 1993 | 2x40+1x20 MVA, 220/33 kV |  |  | 100 | 100 | 81.87% | 100%
Circle : Bhubaneswar
Division : Mendhasal | 55 | Mendhasal | 400/220 kV | 2010 (400kV) | 3x315 MVA, 400/220 kV 2x100 MVA, 220/132 kV 2x20, 220/33kV | 945 | 200 | 40 | 1185 |  | 100% |  |  |  | 0.84254
|  |  |  | 2008 (220kV) | [5 empty] | 31.84%
Circle : Bhubaneswar
Division : Puri | 56 | Nimapara | 132/33 kV | 1996 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 39.16% | 100%
| 57 | Konark | 132/33 kV | 2015 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 46.64% | 100%
| 58 | Puri | 132/33 kV | 1984 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 48.16% | 100%
| 59 | Samagara | 220/132/33 kV | 2015 | 2x160 MVA, 220/132 kV 2x20 MVA, 132/33 kV |  | 320 | 40 | 360 | 77.18% | 100%
| 60 | Satasankha | 132/33 kV | 2020 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 40.61% | 100%
| 61 | Shamuka | 132/33 kV | 2015 | 1x40 + 1x31.5 MVA, 132/33 kV |  |  | 71.5 | 71.5 | 63.89% | 100%
Circle : Burla
Division : Barapali | 62 | Bargarh | 132/33 kV | 1979 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 73.17% |  |  | 100%
| 63 | Bargarh New | 220/132/33 kV | 2018 | 1x160+1x100 MVA, 220/132 kV 2x40 MVA, 132/33 kV |  | 260 | 80 | 340 | 22.06% |  |  | 100%
| 64 | Barpali | 132/33 kV | 2010 | 1x40+2x20 MVA, 132/33 kV |  |  | 80 | 80 | 84.27% |  |  | 100%
| 65 | Bhatli | 132/33 kV | 2023 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 0% |  |  | 100%
| 66 | Ghens | 132/33 kV | 2018 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 67.63% |  |  | 100%
| 67 | Thuapalli | 132/33 kV | 2021 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 53.7% |  |  | 100%
Circle : Burla
Division : Burla | 68 | Aryan-Viraj | 132 kV | 2009 | 132 kV Switching Station | [7 empty] | 100%
| 69 | Hirakud | 132/33 kV | 2022 | 1x40 MVA, 132/33 kV |  |  | 40 | 40 | 48.55% | 34.78% |  | 65.22%
| 70 | Katapali | 220/132/33 kV | 2007 (220kV) | 1x160+2x100 MVA, 220/132 kV 1x40+2x20 MVA, 132/33 kV |  | 360 | 80 | 440 |  |  |  | 100% |  |  | 0.57
|  |  |  | 2004 (132kV) | [5 empty] | 41.95%
| 71 | Maneswar | 132/33 kV | 2021 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 10.3% | 34.78% |  | 65.22%
| 72 | Rairakhole | 132/33 kV | 2001 | 3x12.5 MVA, 132/33 kV |  |  | 37.5 | 37.5 | 36.06% | 34.78% |  | 65.22%
| 73 | Sambalpur | 132/33 kV | 1988 | 2x40+2x31.5 MVA, 132/33 kV |  |  | 143 | 143 | 67.95% |  |  | 100%
| 74 | Shyam DRI | 132 kV | 2006 | 132 kV Switching Station | [7 empty] | 100%
Circle : Burla
Division : Jharsuguda | 75 | Bamra | 220/132/33 kV | 2022 | 2x160 MVA, 220/132 kV 1x40+1x20 MVA, 132/33 kV |  | 320 | 60 | 380 | 19.52% |  |  | 100%
| 76 | Brajarajnagar | 132/33 kV | 1969 | 1X40+3x20 MVA, 132/33 kV |  |  | 100 | 100 | 36.18% |  |  | 100%
| 77 | Budhipadar | 220/132/33 kV | 1995 | 2x160 MVA, 220/132 kV 1x20+1x12.5 MVA, 132/33 kV |  | 320 | 32.5 | 352.5 | 70.23% |  |  | 100% |  |  | =
| 78 | Jharsuguda | 132/33 kV | 1958 | 2X40 MVA, 132/33 kV |  |  | 80 | 80 | 53.58% |  |  | 100%
| 79 | Kuchinda | 132/33kV | 2013 | 2x20 MVA, 132/33kV |  |  | 40 | 40 | 54.84% |  |  | 100%
| 80 | Lakhanpur | 132/33kV | 2023 | 2x20 MVA, 132/33kV |  |  | 40 | 40 | 37.99% |  |  | 100%
| 81 | Lephripada | 220/33 kV | 2021 | 2x20 MVA, 220/33 kV |  |  | 40 | 40 | 38.03% |  |  | 100%
| 82 | SMC Power | 132 kV | 2013 | 132 kV Switching Station | [7 empty] | 100%
Circle : Burla
Division : Lapanga | 83 | Lapanga | 220/132/33 kV | 2014 | 2x315 MVA, 400/220 kV 2x160 MVA, 220/132 kV 2x20 MVA, 132/33 kV | 630 | 320 | 40 | 990 | 52.42% |  |  | 100%
Circle : Burla
Division : Rajgangpur | 84 | Kalunga | 132/33 kV | 2015 | 3X40 MVA, 132/33 kV |  |  | 120 | 120 | 63.86% |  |  | 100%
| 85 | Rajgangpur | 132/33 kV | 1973 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 57.61% |  |  | 100%
| 86 | Shiva | 132 kV | 2023 | 132 kV Switching Station | [7 empty] | 100%
| 87 | Sundargarh | 132/33 kV | 2003 | 1x40+2x20 MVA, 132/33 kV |  |  | 80 | 80 | 50.75% |  |  | 100%
Circle : Burla
Division : Rourkela | 88 | Barkote | 220/33 kV | 2001 | 2x40 MVA, 220/33 kV |  |  | 80 | 80 | 29.59% |  |  | 100%
| 89 | Bonai | 220/33 kV | 2017 | 2x20 MVA, 220/33 kV |  |  | 40 | 40 | 49.55% |  |  | 100%
| 90 | Chhend | 132/33 kV | 1999 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 79.78% |  |  | 100%
| 91 | Deogarh | 220/33 kV | 2021 | 2x20 MVA, 220/33 kV |  |  | 40 | 40 | 30.38% |  |  | 100%
| 92 | Kuarnmunda | 220/132/33 kV | 2023 | 2x160 MVA, 220/132 kV 2x40 MVA, 132/33 kV |  | 320 | 80 | 400 | 37.42% |  |  | 100%
| 93 | Rourkela | 132/33 kV | 1958 | 2x35+2x40 MVA, 132/33 kV |  |  | 150 | 150 | 53.39% |  |  | 100%
| 94 | Shree Ganesh Metaliks | 132 kV | 2011 | 132 kV Switching Station | [7 empty] | 100%
| 95 | Tarkera | 220/132 kV | 1981 | 4x100 MVA, 220/132 kV |  | 400 |  | 400 | 0% |  |  | 100%
Circle : Chainpal
Division : Chainpal | 96 | Angul | 132/33 kV | 1996 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 63.82% | 100%
| 97 | Boinda | 132/33 kV | 2003 | 1x20+2x12.5 MVA, 132/33 kV |  |  | 45 | 45 | 56.82% | 100%
| 98 | Chainpal | 132/33 kV | 1972 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 80.25% | 100%
| 99 | Global | 132 kV | 2020 | 132 kV Switching Station | [5 empty] | 100%
| 100 | Rengali | 220/33 kV | 1997 | 2x20 MVA, 220/33 kV |  |  | 40 | 40 | 54.92% | 100%
Circle : Chainpal
Division : Dhenkanal | 101 | Dhenkanal | 132/33 kV | 1982 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 58.98% | 100%
| 102 | Goda | 220/132/33kV | 2020 | 2x160 MVA. 220/132 kV 1x40 + 1x20 MVA, 132/33 kV |  | 320 | 60 | 380 | 15.79% | 100%
| 103 | Gondia | 132/33kV | 2021 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 0% | 100%
| 104 | Kalarangi | 132/33 kV | 1998 | 1x20+2x12.5 MVA, 132/33 kV |  |  | 45 | 45 | 18.48% | 50% | 50%
| 105 | Kamakhyanagar | 132/33 kV | 1999 | 1x20+2x12.5 MVA, 132/33 kV |  |  | 45 | 45 | 60.31% | 100%
| 106 | Khajuriakata | 132/33 kV | 2017 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 28.18% | 100%
| 107 | Kharagprasad | 132 kV | 2007 | 1x20 MVA, 132/33 kV |  |  | 20 | 20 | 34.63% | 100%
| 108 | OPCL | 132 kV | 2009 | 132 kV Switching Station | [5 empty] | 100%
Circle : Chainpal
Division : Meramundali | 109 | Meramundali | 400/220/132/33 kV | 2005 (400kV) | 2x315 MVA, 400/220 kV 3x100 MVA, 220/132 kV 2x12.5 MVA, 132/33 kV | 630 | 300 | 25 | 955 | 0% | 100%
|  |  |  | 2002 (220kV) | [11 empty] | 0.7073
Circle : Chainpal
Division : Meramundali-B | 110 | Meramundali-B | 400/220 kV | 2022 (400kV) | 2x500 MVA, 400/220 kV | 1000 |  |  | 1000 | 0% | 100%
Circle : Cuttack
Division : Choudwar | 111 | Arati Steels | 132 kV | 2005 | 132 kV Switching Station | [5 empty] | 100%
| 112 | Bahugram | 132/33 kV | 1956 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 0% | 100%
| 113 | Choudwar | 132/33 kV | 1956 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 60.66% | 100%
| 114 | ICCL | 132 kV | 1988 | 132 kV Switching Station | [5 empty] | 100%
| 115 | Grid Steel | 132 kV | 2015 | 132 kV Switching Station | [5 empty] | 100%
| 116 | Khuntuni | 132/33 kV | 2018 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 39.58% | 100%
| 117 | Mania | 132/33 kV | 2016 | 1x12.5+1x20 MVA, 132/33 kV |  |  | 32.5 | 32.5 | 74.78% | 100%
| 118 | Narasinghpur | 220/33 kV | 2018 | 1x40+1x20 MVA, 220/33 kV |  |  | 60 | 60 | 34.78% | 100%
| 119 | Nuapatna | 132/33 kV | 1994 | 1x40+1x20+1x12.5 MVA, 132/33 kV |  |  | 72.5 | 72.5 | 50.97% | 100%
| 120 | OCL | 132 kV | 2008 | 132 kV Switching Station | [5 empty] | 100%
| 121 | Salipur | 132/33 kV | 2006 | 3x20 MVA, 132/33 kV |  |  | 60 | 60 | 83.84% | 100%
| 122 | TSAlloys | 132 kV | 2006 | 132 kV Switching Station | [5 empty] | 100%
| 123 | Ultratech | 132 kV | 2023 | 132 kV Switching Station | [5 empty] | 100%
Circle : Cuttack
Division : Cuttack | 124 | Bidanasi | 220/132/33 kV | 2004 (220kV) | 1x160+2x100 MVA, 220/132 kV 2x63+1x40 MVA, 132/33 kV |  | 360 | 166 | 526 |  | 100% |  |  |  |  | 0.61367
|  |  |  | 1993 (132kV) | [5 empty] | 60.87%
| 125 | Brajabiharipur | 132/33 kV | 2020 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 44.55% | 100%
| 126 | Cuttack | 220/132/33 kV | 1984 | 1x160+1x100 MVA, 220/132 kV 3x40 MVA, 132/33 kV |  | 260 | 120 | 380 | 83.78% | 100%
| 127 | Godisahi | 220/33 kV | 2022 | 2x63 MVA, 220/33 kV |  |  | 126 | 126 | 13.61% | 100%
| 128 | Jagatsinghpur | 132/33 kV | 1996 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 64.44% | 100%
| 129 | Phulnakhara | 132/33 kV | 2009 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 67.87% | 100%
Circle : Cuttack
Division : Paradeep | 130 | Balichandrapur | 132/33 kV | 2024 | 1x20 MVA, 132/33 kV |  |  | 20 | 20 | 0% | 44% | 56%
| 131 | Chandikhole | 132/33 kV | 2003 | 3x20 MVA, 132/33 kV |  |  | 60 | 60 | 87.62% | 44% | 56%
| 132 | Kendrapara | 132/33 kV | 1979 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 60.89% | 100%
| 133 | Marshaghai | 132/33 kV | 2015 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 64.12% | 100%
| 134 | Olavar | 132/33 kV | 2017 | 2x12.5 MVA, 132/33 kV |  |  | 25 | 25 | 74.68% | 100%
| 135 | Paradeep | 220/132/33 kV | 2009 (220kV) | 2x160+1x100 MVA, 220/132 kV 3x20 MVA, 132/33 kV |  | 420 | 60 | 480 |  | 100% |  |  |  | 0.73458
|  |  |  | 1981 (132kV) | [5 empty] | 47.75%
| 136 | Pattamundai | 132/33 kV | 1997 | 3x20 MVA, 132/33 kV |  |  | 60 | 60 | 46.46% | 100%
| 137 | Rajnagar | 132/33 kV | 1997 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 42.44% | 100%
| 138 | RAMCO | 132 kV | 2020 | 132 kV Switching Station
| 139 | Tirtol | 132/33 kV | 2018 | 2x40MVA, 132/33 kV |  |  | 80 | 80 | 42.32% | 100%
Circle : Jajpur Road
Division : Balasore | 140 | Balasore | 220/132/33 kV | 1996 (220kV) | 3x160 MVA, 220/132 kV 3x63 MVA, 132/33 kV |  | 480 | 189 | 669 |  |  | 100% |  |  | 0.74062
|  |  |  | 1981 (132kV) | [5 empty] | 53.98%
| 141 | Basta | 132/33 kV | 2010 | 2x20+1x12.5 MVA, 132/33 kV |  |  | 52.5 | 52.5 | 65.16% |  | 100%
| 142 | Bhogarai | 132/33 kV | 2017 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 33.84%
| 143 | Chandipur | 132/33 kV | 2022 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 29.11% |  | 100%
| 144 | Jaleswar | 132/33 kV | 1991 | 2x31.5+1x12.5 MVA, 132/33 kV |  |  | 75.5 | 75.5 | 36.03% |  | 100%
| 145 | Somanathpur | 132/33 kV | 2011 | 2x12.5 MVA, 132/33 kV |  |  | 25 | 25 | 61.09% |  | 100%
| 146 | Soro | 132/33 kV | 1997 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 70.48% |  | 100%
Circle : Jajpur Road
Division : Bhadrak | 147 | Agarpada | 132/33 kV | 2019 | 1x40+1x20 MVA, 132/33 kV |  |  | 60 | 60 | 17.47% |  | 100%
| 148 | Bhadrak | 220/132/33 kV | 2008 (220kV) | 2x160+1x100 MVA, 220/132 kV 3x63 MVA, 132/33 kV |  | 420 | 189 | 609 |  |  | 100%
|  |  |  | 1983 (132kV) | [5 empty] | 51.15%
| 149 | Chandbali | 132/33 kV | 2020 | 1x40+1X20 MVA, 132/33 kV |  |  | 60 | 60 | 24.42% |  | 100%
| 150 | Dhamara | 220/132/33 kV | 2023 | 2x160 MVA, 220/132 kV 2x40 MVA, 132/33 kV |  | 320 | 80 | 400 | 0% |  | 100%
Circle : Jajpur Road
Division : Baripada | 151 | Bangiriposi | 132/33 kV | 2016 | 2x12.5 MVA, 132/33 kV |  |  | 25 | 25 | 31.01% |  | 100%
| 152 | Baripada | 132/33 kV | 1984 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 39.42% |  | 100%
| 153 | Betanati | 132/33 kV | 2019 | 1x20 + 1x40 MVA, 132/33 kV |  |  | 60 | 60 | 51.13% |  | 100%
| 154 | Karanjia | 132/33 kV | 2009 | 1x20+2x12.5 MVA, 132/33 kV |  |  | 45 | 45 | 53.23% |  | 100%
| 155 | Rairangpur | 132/33 kV | 1981 | 2x20+1x12.5 MVA, 132/33 kV |  |  | 52.5 | 52.5 | 53.73% |  | 100%
| 156 | Udala | 132/33 kV | 2018 | 2x40 MVA, 132/33 kV |  |  | 80 | 80 | 27.16% |  | 100%
Circle : Jajpur Road
Division : New Duburi | 157 | New Duburi | 400/220/33 kV | 2005 | 2x315 MVA, 400/220kV 1x20 MVA, 220/33 kV | 630 |  | 20 | 650 | 33.77% |  | 100%
Circle : Jajpur Road
Division : Jajpur Road | 158 | Anandpur | 132/33 kV | 2010 | 1x20+2x12.5 MVA, 132/33 kV |  |  | 45 | 45 | 57.73% |  | 100%
| 159 | Brahmani River Pellets Ltd. | 132 kV | 2011 | 132 kV Switching Station | [6 empty] | 100%
| 160 | B C Mohanty and Sons | 132kV | 2013 | 132 kV Switching Station | [6 empty] | 100%
| 161 | Daitari | 132/33 kV | 2021 | 1x12.5 MVA, 132/33 kV |  |  | 12.5 | 12.5 | 0% |  | 100%
| 162 | Duburi | 220/132/33 kV | 1989 | 2x160+1x100 MVA, 220/132 kV 2x40 MVA, 220/33 kV |  | 420 | 80 | 500 | 35.57% |  | 100% |  |  | 0.33667
| 163 | Jabamayee Ferro Alloys | 132 kV | 2008 | 132 kV Switching Station | [6 empty] | 100%
| 164 | Jajpur Road | 132/33 kV | 1969 | 3x40 MVA, 132/33 kV |  |  | 120 | 120 | 58.84% |  | 100%
| 165 | Jajpur Town | 132/33 kV | 1998 | 2x40+1x20 MVA, 132/33 kV |  |  | 100 | 100 | 62.78% |  | 100%
| 166 | JSWCL | 132 kV | 2019 | 132 kV Switching Station
Circle : Jajpur Road | [11 empty] | 100%
Division : Joda | 167 | Arya Iron | 132 kV | 2008 | 132 kV Switching Station | [6 empty] | 100%
| 168 | Bee Kay Steel | 132 kV | 2010 | 132 kV Switching Station | [6 empty] | 100%
| 169 | Barbil | 132/33kV | 2014 | 2x12.5+1x20MVA, 132/33kV |  |  | 45 | 45 | 22.94% |  | 100%
| 170 | Bolani | 132/11 kV | 1995 | 132 kV Switching Station | [6 empty] | 100%
| 171 | Dhenkikote | 132/33 kV | 2018 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 21.47%
| 172 | Joda | 220/132/33 kV | 1959 | 1x100+2X160 MVA, 220/132 kV 1x40+3x20 MVA,132/33 kV |  | 420 | 100 | 520 | 41.92% |  | 100%
| 173 | Keonjhar | 220/33 kV | 2018 | 2x20 MVA,220/33 kV |  |  | 40 | 40 | 72.89% |  | 100%
| 174 | Palasponga | 132/33 kV | 1981 | 1x40+2x20 MVA, 132/33 kV |  |  | 80 | 80 | 41.57% |  | 100%
| 175 | Rungta Mines Ltd. | 132 kV | 2021 | 132 kV Switching Station | [6 empty] | 100%
| 176 | Telkoi | 220/33 kV | 2021 | 2x20 MVA,220/33 kV |  |  | 40 | 40 | 9.981% |  | 100%
| 177 | Turumunga | 220/132/33 kV | 2024 | 1x160 MVA, 220/132 kV 1x20 MVA,220/33 kV |  | 160 | 20 | 180 | 0% |  | 100%
Circle : Jeypore
Division : Jayanagar | 178 | Boriguma | 132/33 kV | 2023 | 1x20 MVA, 132/33 kV |  |  | 20 | 20 | 74.28% |  |  |  | 100%
| 179 | Dabugaon | 132/33 kV | 2015 | 2x12.5 MVA, 132/33 kV |  |  | 25 | 25 | 58.95% |  |  |  | 100%
| 180 | Jayanagar | 220/132/33 kV | 1980 | 2x160 MVA, 220/132 kV 3x20+1x12.5 MVA, 132/33 kV |  | 320 | 72.5 | 392.5 | 55.37% |  |  |  | 100% | 0.50938
| 181 | Nabarangpur | 132/33 kV | 2021 | 2x20 MVA, 132/33 kV |  |  | 40 | 40 | 31.5% |  |  |  | 100%
| 182 | Patangi | 132/33 kV | 2019 | 1x20 + 1x12.5 MVA, 132/33 kV |  |  | 32.5 | 32.5 | 24.24% |  |  |  | 100%
| 183 | Podagada | 132/33 kV | 2018 | 1x12.5 + 1x20 MVA, 132/33 kV |  |  | 32.5 | 32.5 | 5.597% |  |  |  | 100%
| 184 | Sunabeda | 132/33 kV | 1964 | 1x20+2x12.5 MVA, 132/33 kV |  |  | 45 | 45 | 58.14% |  |  |  | 100%
| 185 | Tentulikhunti | 132/33 kV | 1986 | 2x20+1x12.5 MVA, 132/33 kV |  |  | 52.5 | 52.5 | 30.22% |  |  |  | 100%
| 186 | Umerkote | 132/33 kV | 2015 | 2x20 + 1x40 MVA, 132/33 kV |  |  | 80 | 80 | 45.48%
Circle : Jeypore
Division : Malkangiri | 187 | Balimela | 220/33 kV | 2007 | 1x40 +1x20 MVA, 220/33 kV |  |  | 60 | 60 | 29.23% |  |  |  | 100%
| 188 | Kalimela | 220/33 kV | 2022 | 2x20 MVA, 220/33 kV |  |  | 40 | 40 | 31.94% |  |  |  | 100%
| 189 | Malkangiri | 220/33 kV | 2017 | 2x40 MVA, 220/33 kV |  |  | 80 | 80 | 17.32% |  |  |  | 100%
| 190 | Govindpalli | 220/33 kV | 2020 | 2x20 MVA, 220/33 kV |  |  | 40 | 40 | 0% |  |  |  | 100%
Circle : Jeypore
Division : Therubali | 191 | Akhusingh | 132/33 kV | 2001 | 2x12.5 MVA, 132/33 kV |  |  | 25 | 25 | 43.36% |  |  |  | 100%
| 192 | Gunupur | 220/132/33 kV | 2021 | 2x160 MVA, 220/132 kV 2x20 MVA, 132/33 kV |  | 320 | 40 | 360 | 25.31% |  |  |  | 100%
| 193 | Kasipur | 220/33 kV | 2019 | 1x20 MVA, 220/33 kV |  |  | 20 | 20 | 28.72% |  |  |  | 100%
| 194 | Laxmipur | 220/33kV | 2013 | 2x20MVA, 220/33kV |  |  | 40 | 40 | 25.14% |  |  |  | 100%
| 195 | Muniguda | 132/33 kV | 2017 | 1x12.5 + 1x20 MVA, 132/33 kV |  |  | 32.5 | 32.5 | 17.37% |  |  |  | 100%
| 196 | Paralakhemundi | 132/33 kV | 2001 | 3x12.5 MVA, 132/33 kV |  |  | 37.5 | 37.5 | 68.81% |  |  |  | 100%
| 197 | Rayagada | 132/33 kV | 1962 | 1x20+2x12.5 MVA, 132/33 kV |  |  | 45 | 45 | 31.42% |  |  |  | 100%
| 198 | Therubali | 220/132/33 kV | 1974 | 2x100+1x160 MVA, 220/132 kV 2x12.5 MVA, 132/33 kV |  | 360 | 25 | 385 | 54.2% |  |  |  | 100% | 0.7894
[6 empty] | 3835 | 11360 | 11749 | 26944
Note on D56: 160 MVA Auto-I charged on 25.06.2021 changing 132/33 kV GSS to 220/132/33 kV GSS. 160 MVA Auto-II charged on 23.03.2022
Note on E233: Comm. as Switching Station in 2001. Converted to 132/33kV S/S on 05.02.2011
Note on D234: 2 nos. of 160 MVA, 220/132 kV Auto charged on 30.03.2022