| OERC FORM T-6 |  |  |  |
| --- | --- | --- | --- |
|  | Licensee - OPTCL |  |  |
|  | CALCULATION OF TRANSMISSION LOSS IN EHT SYSTEM |  |  |
| PERIOD- | ACTUALS FOR FY 2023-24 (APRIL' 23 TO MARCH' 24) (in MU) |  |  |
| SL. NO. | SOURCE | GROSS INPUT | GROSS OUTPUT |
| 1 | Total OHPC | 5147.41 |  |
| 2 | MACHHKUND | 386.49 |  |
| 3 | Total State Thermal | 10969.00 |  |
| 4 | Total IPP | 5151.49 |  |
| 5 | Total CGP | 1262.62 |  |
| 6 | Total Small Hydro | 407.91 |  |
| 7 | Total State Solar | 652.95 |  |
| 8 | JPIPL Ltd. | 96.44 |  |
| 9 | Total Central Solar | 1319.65 |  |
| 10 | Total Central Wind | 962.77 |  |
| 11 | Total Central Thermal | 12434.06 |  |
| 12 | Total Central Hydro | 849.13 |  |
| 13 | Others (Power Banking & EX) | 1298.64 |  |
| 14 | SALE TO CONSUMERS |  |  |
| (a) | TPWODL |  | 12482.25 |
| (b) | TPSODL |  | 4321.75 |
| (c ) | TPNODL |  | 7032.01 |
| (d) | TPCODL |  | 11291.48 |
| 15 | IMFA |  | 379.13 |
| 16 | NALCO |  | 934.76 |
| 17 | CGP |  | 187.19 |
| 18 | Others (Power Banking & EX) |  | 3037.77 |
|  | GRAND TOTAL | 40938.55 | 39666.34 |
|  | LOSS | 1272.21 |  |
|  | LOSS AS A % OF GROSS INPUT | 3.11% |  |