| OERC FORM T-6 |  |  |  |
| --- | --- | --- | --- |
|  | Licensee - OPTCL |  |  |
|  | CALCULATION OF TRANSMISSION LOSS IN EHT SYSTEM |  |  |
| PERIOD- | ACTUALS FOR FY 2024-25 (APRIL' 24 TO SEPT' 24) (in MU) |  |  |
| SL. NO. | SOURCE | GROSS INPUT | GROSS OUTPUT |
| 1 | Total OHPC | 3044.49 |  |
| 2 | MACHHKUND | 72.77 |  |
| 3 | Total State Thermal | 5565.38 |  |
| 4 | Total IPP | 3071.50 |  |
| 5 | Total CGP | 664.44 |  |
| 6 | Total Small Hydro | 256.49 |  |
| 7 | Total State Solar | 326.38 |  |
| 8 | JPIPL Ltd. | 30.89 |  |
| 9 | Total Central Solar | 676.95 |  |
| 10 | Total Central Wind | 565.97 |  |
| 11 | Total Central Thermal | 6524.87 |  |
| 12 | Total Central Hydro | 370.11 |  |
| 13 | Others (Power Banking & EX) | 1454.94 |  |
| 14 | SALE TO CONSUMERS |  |  |
| (a) | TPWODL |  | 6047.02 |
| (b) | TPSODL |  | 2429.95 |
| (c ) | TPNODL |  | 4071.49 |
| (d) | TPCODL |  | 6804.02 |
| 15 | IMFA |  | 189.88 |
| 16 | NALCO |  | 590.65 |
| 17 | CGP |  | 137.48 |
| 18 | Others (Power Banking & EX) |  | 1655.46 |
|  | GRAND TOTAL | 22625.18 | 21925.96 |
|  | LOSS | 699.23 |  |
|  | LOSS AS A % OF GROSS INPUT | 3.09% |  |