## Annexure-05 R&M-O&M wing
R&M EXPENDITURE OF O&M WING FOR FY 2026-27
SL. NO | ITEM DESCRIPTION | NET MATERIALS REQUIREMENT (FY 26-27) | Unit | UNIT LANDING COST FOR FY 26-27 | TOTAL AMOUNT 2026-27 (in Rs. Cr.)
1 | 2 | 3 | 4 | 5 | 6
1 | Circuit Breaker
1.1 | 220 KV | 18 | Nos. | 1611504.44 | 2.9
1.2 | 132 KV | 55 | Nos. | 674830.67 | 3.71
1.3 | 33 KV | 102 | Nos. | 262320.76 | 2.68
2 | C.T. |  |  |  | -
2.1 | 400 KV (0.2 class) |  |  |  | -
2.1.1 | 2000-1000-500/1-1-1-1-1 | 3 | Nos. | 666208.6 | 0.2
2.2 | 220 KV (0.2 class) |  |  |  | -
2.2.1 | 1200-600-300/1-1-1-1 | 15 | Nos. | 451112.78 | 0.68
2.3 | 132KV (0.2 class) |  |  |  | -
2.3.1 | 800-400-200/1-1-1-1 | 50 | Nos. | 274587.68 | 1.37
2.3.2 | 400-200-100/1-1-1 | 52 | Nos. | 274587.68 | 1.43
2.4 | 33 KV (0.2s class) |  |  |  | -
2.4.1 | 1200-600-300/1-1-1 | 10 | Nos. | 73175.15 | 0.07
2.4.2 | 800-400-200/1-1-1 | 95 | Nos. | 73175.15 | 0.7
2.4.3 | 600-300-150/1-1-1 | 34 | Nos. | 62721.6 | 0.21
3 | P.T./ CVT (0.2 Class) |  |  |  | -
3.1 | 400kV CVT | 1 | Nos. | 272639.85 | 0.03
3.2 | 132 KV PT | 49 | Nos. | 134245.15 | 0.66
3.3 | 33 KV PT (0.2 Class) | 68 | Nos. | 36953.42 | 0.25
4 | Surge Arrestor with surge counter(Porcelain Housing) |  |  |  | -
4.1 | 400 KV | 12 | Nos. | 191314.72 | 0.23
4.2 | 220 KV | 44 | Nos. | 84357.08 | 0.37
4.3 | 132 KV | 185 | Nos. | 34431.39 | 0.64
4.4 | 33 KV | 293 | Nos. | 11111.33 | 0.33
5 | Post Insulator |  |  |  | -
5.1 | Three stack PI for 400KV | 1 | Nos. | 64900 | 0.01
5.2 | Single Stack PI for 33KV | 110 | Nos. | 3186 | 0.04
6 | Isolator |  |  |  | -
6.1 | 400 KV ISOLATOR |  |  |  | -
6.1.1 | 400 KV SI Double - Break with E/S , 3150 A | 10 | Nos. | 2065000 | 2.07
6.1.2 | 400 KV SI Double - Break without E/S , 3150 A | 3 | Nos. | 1583560 | 0.48
6.2 | 220 KV ISOLATOR |  |  |  | -
6.2.1 | 220KV SI With E/S, 2000A | 5 | Nos. | 915521.83 | 0.46
6.2.2 | 220 KV DI Double break with E/S, 2000A | 2 | Nos. | 1521020 | 0.3
6.2.3 | 220KV SI with E/S, 1200A | 1 | Nos. | 915521.83 | 0.09
6.3 | 132 KV ISOLATOR |  |  |  | -
6.3.1 | 132 KV Double Isolator | 4 | Nos. | 631097.72 | 0.25
with E/S,1250A
6.3.2 | 132 KV Double Isolator | 5 | Nos. | 631097.72 | 0.32
with E/S, 2000A
6.4 | 33 KV ISOLATOR |  |  |  | -
6.4.1 | 33 KV SI W/O E/S, 1250A | 10 | Nos. | 134162.04 | 0.13
6.4.2 | 33 KV Double Isolator with E/S, 1250A | 10 | Nos. | 326281.82 | 0.33
6.4.3 | 33 KV Double Isolator withOUT E/S, 1250A | 9 | Nos. | 252224.02 | 0.23
6.4.4 | 33 KV Double Isolator with E/S, 2000A | 3 | Nos. | 326281.82 | 0.1
6.4.5 | 33 KV Double Isolator | 1 | Nos. | 252224.02 | 0.03
W/O E/S,2000A
6.4.6 | 33 kV Beam Mounted | 7 | Nos. | 134161.43 | 0.09
isolator, 2000A
6.4.7 | 33 KV Beam Mounted Isolator 1250 A | 9 | Nos. | 134161.43 | 0.12
7 | Relays |  |  |  | -
7.1 | Numerical DP | 50 | Nos. | 194474.99 | 0.97
8 | Control Cable (Unarmoured) |  |  |  | -
8.1 | 2 Core 2.5 mm2 | 8.407 | KM | 65990 | 0.06
8.2 | 3 Core 2.5 mm2 | 5 | KM | 79476.37 | 0.04
8.3 | 4 Core 2.5 mm2 | 60 | KM | 121800.69 | 0.73
8.4 | 4 Core 4 mm2 | 36.85 | KM | 223020 | 0.82
8.5 | 7 Core 2.5 mm2 | 35.005 | KM | 201831.12 | 0.71
8.6 | 9 Core 2.5 mm2 | 23.741 | KM | 257407.81 | 0.61
8.7 | 10 Core 2.5 mm2 | 23.59 | KM | 341020 | 0.8
8.8 | 12 Core 2.5 mm2 | 24.4 | KM | 341884.36 | 0.83
8.9 | 19 Core 2.5 mm2 | 2.303 | KM | 519846.76 | 0.12
9 | Power Cable |  |  |  | -
9.1 | Power Cable (3 1/2 core, 300 mm2) | 2.248 | KM | 1211972.32 | 0.27
9.2 | Power Cable (3 1/2 core, 185 mm2) | 0.55 | KM | 576641.08 | 0.03
9.3 | Power Cable (31/2,core,120mm2) | 0.986 | KM | 541755.43 | 0.05
9.4 | Power Cable (3 1/2 core, 95 mm2) | 3.012 | KM | 434830.01 | 0.13
9.5 | Power Cable (3 1/2 core, 25 mm2) | 11.913 | KM | 158011.89 | 0.19
9.6 | Power Cable (1 core, 1000 mm2) | 0 | KM | 1689760 | -
10 | Insulator |  |  |  | -
10.1 | Polymer Long Rod |  |  |  | -
10.1.1 | 160 KN L/R Silicon Rubber (220 KV)(String) | 694 | Nos. | 5968.94 | 0.41
10.1.2 | 90KN L/R Silicon Rubber (220 KV) | 497 | Nos. | 4979.12 | 0.25
10.1.3 | 120KN L/R Silicon Rubber (132 KV) | 292 | Nos. | 2952.68 | 0.09
10.1.4 | 90KN L/R Silicon Rubber (132 KV) | 59 | Nos. | 2741.52 | 0.02
10.2 | Porcelain Long Rod |  |  |  | -
10.2.1 | 160 KN L/R Porcelain Insulator (400 KV) string | 180 | Nos. | 29500 | 0.53
10.2.2 | 120 kN Porcelain LR (400 KV) string | 180 | Nos. | 28320 | 0.51
10.2.3 | 160 KN L/R Porcelain Insulator (220 KV) string | 175 | Nos. | 17220.54 | 0.3
10.2.4 | 90 KN Porcelain Long Rod Insulator(220KV) string | 350 | Nos. | 13201.25 | 0.46
10.2.5 | 120KN L/R Porcelain Insulator (132 KV) string | 2432 | Nos. | 9234.76 | 2.25
10.2.6 | 90KN L/R Porcelain Insulator (132 KV) string | 1126 | Nos. | 7811.81 | 0.88
10.3 | Porcelain Antifog Disc Insulator |  |  |  | -
10.3.1 | 160 KN Porcelain disc Insulator (Antifog) | 3539 | Nos. | 953.32 | 0.34
10.3.2 | 120KN Porcelain Insulator (Antifog) | 2112 | Nos. | 849.65 | 0.18
10.3.3 | 90 KN Porcelain Insulator (Antifog) | 396 | Nos. | 788.87 | 0.03
11 | Conductor |  |  |  | -
11.1 | ACSR Panther | 145.156 | KM | 226889.29 | 3.29
11.2 | ACSR Zebra | 10.915 | KM | 428531.23 | 0.47
11.3 | ACSR Moose | 34.245 | KM | 527374.67 | 1.81
11.4 | GI earth wire | 13.5 | KM | 38662.07 | 0.05
12 | Single Suspension H/W Fitting |  |  |  | -
12.1 | For ACSR Panther | 565 | Nos. | 2342.49 | 0.13
12.2 | For ACSR Zebra | 145 | Nos. | 3184.43 | 0.05
12.3 | For ACSR Moose | 162 | Nos. | 4089.09 | 0.07
12.4 | For AAAC panther | 18 | Nos. | 1742.52 | 0
12.5 | For AAAC Zebra | 10 | Nos. | 2907.06 | 0
13 | Double Suspension H/W Fitting |  |  |  | -
13.1 | For ACSR Panther | 27 | Nos. | 2342.49 | 0.01
13.2 | For ACSR Zebra | 62 | Nos. | 5388.2 | 0.03
13.3 | For AAAC Zebra | 49 | Nos. | 4512.57 | 0.02
13.4 | For AAAC Moose | 8 | Nos. | 6225.31 | 0
14 | Single Tension H/W Fitting |  |  |  | -
14.1 | For ACSR Panther | 502 | Nos. | 2075.9 | 0.1
14.2 | For ACSR Zebra | 514 | Nos. | 2449.83 | 0.13
14.3 | For ACSR Moose | 291 | Nos. | 3331.59 | 0.1
14.4 | For AAAC Panther | 23 | Nos. | 1889.31 | 0
14.5 | For Earth Wire | 39 | Nos. | 663.42 | 0
15 | Double Tension H/W Fitting |  |  |  | -
15.1 | For ACSR Panther | 394 | Nos. | 4636.72 | 0.18
15.2 | For ACSR Zebra | 196 | Nos. | 5588.43 | 0.11
15.3 | For ACSR Moose | 152 | Nos. | 5967.18 | 0.09
16 | Mid Span Joint |  |  |  | -
16.1 | For ACSR Zebra | 23 | Nos. | 940.85 | 0
16.2 | For ACSR Moose | 14 | Nos. | 1248.44 | 0
17 | Vibration Damper |  |  |  | -
17.1 | ACSR Panther | 2024 | Nos. | 550.03 | 0.11
17.2 | ACSR Moose | 83 | Nos. | 1276.18 | 0.01
17.3 | AAAC Panther | 131 | Nos. | 450.97 | 0.01
18 | Battery & Charger |  |  |  | -
18.1 | Battery Set 220V, 350 AH (Plante type) | 10 | Set | 2411189.86 | 2.41
18.2 | Battery Charger (Thyristor Controlled) suitable for above battery set with dropper diode | 9 | Set | 472467.49 | 0.43
19 | Tower Structure |  |  |  | -
19.1 | OA with stubs | 0 | Set |  | -
a | (+3) extn to OA | 0 | Set |  | -
b | (+6) extn to OA | 2 | Set |  | -
c | (+9) extn to OA | 0 | Set |  | -
19.2 | OB with stubs | 0 | Set |  | -
a | (+3) extn to OB | 2 | Set |  | -
b | (+6) extn to OB | 2 | Set |  | -
19.3 | OC with stubs | 0 | Set |  | -
a | (+3) extn to OC | 0 | Set |  | -
b | (+6) extn to OC | 0 | Set |  | -
c | (+15) extn to OC | 0 | Set |  | -
19.4 | PA with stubs | 0 | Set |  | -
a | (+3) extn to PA | 4 | Set |  | -
b | (+6) extn to PA | 0 | Set |  | -
19.5 | PB with stubs | 1 | Set |  | -
a | (+3) extn to PB | 1 | Set |  | -
b | (+6) extn to PB | 2 | Set |  | -
19.6 | PC with stubs | 1 | Set |  | -
a | (+3) extn to PC | 0 | Set |  | -
b | (+6) extn to PC | 4 | Set |  | -
19.7 | UR with Stubs | 0 | Set |  | -
a | (+6) extn to UR | 0 | Set |  | -
19.8 | DA Type for 400 kV with Stubs | 0 | Set |  | -
a | (+3) extn to DA | 0 | Set |  | -
b | (+6) extn to PA | 0 | Set |  | -
19.9 | DB Type for 400 kV with Stubs | 0 | Set |  | -
a | (+3) extn to DB | 0 | Set |  | -
b | (+6) extn to DB | 0 | Set |  | -
19.1 | DD Type for 400 kV with Stubs | 0 | Set |  | -
a | (+3) extn to DC | 0 | Set |  | -
b | (+6) extn to DC | 0 | Set |  | -
19 | Total Weight of Tower Structure | 42.1 | MT | 106637.84 | 0.45
20 | GI Angle |  |  |  | -
20.1 | 45x45x5 MM | 3 | MT | - | -
20.2 | 50X50X6 MM | 2 | MT | - | -
20.3 | 65X65X6 MM | 2 | MT | - | -
20.4 | 75X75X6 MM | 1 | MT | - | -
20 | Total GI Angle | 8 | MT | 106637.84 | 0.09
21 | Nut & Bolt including Store Stock for tower structure |  |  |  | -
21.1 | 16 x 35 mm | 1.337 | MT | - | -
21.2 | 16 x 40 mm | 26.749 | MT | - | -
21.3 | 16 x 45 mm | 1.086 | MT | - | -
21.4 | 16 x 50 mm | 1.747 | MT | - | -
21.5 | 16 x 55 mm | 25.563 | MT | - | 2.93
21.6 | 16 x 60 mm | 0.33 | MT | - | -
21 | Total(Nut & Bolt) in MT | 57.065 | MT | 139901.58 | 0.5
22 | 132 KV Structures |  |  |  | -
22.1 | PI Structure | 7 | Set | - | -
22 | Total for Substation Structure ( in MT) | 2.65 | MT | 110273.23 | 0.03
23 | Station Transformer |  |  |  | -
23.1 | 250 KVA, 33/ 0.4 KV | 20 | Nos. | 733941.05 | 1.47
23.2 | 500 KVA, 33/ 0.4 KV | 5 | Nos. | 845153.65 | 0.42
23.3 | 1000 KVA, 33/ 0.4 KV | 0 | Nos. | 2286250 | -
24 | UG EHT Cable Jointing Kits |  |  |  | -
24.1 | Termination kit suitable for 132 KV, 1 core, 630 mm2 Copper UG Cable & Link Box connection with 240sqmm 1 core XLPE Bonding Cable | 8 | Nos. | 467077.26 | 0.37
24.2 | 33KV Termination Kit UG Cable | 22 | Nos. | 13453.52 | 0.03
24.3 | 132 KV Link box with SVL | 2 | Nos. | 45636.84 | 0.01
24.4 | Cable End Terminator ( CET) 132 KV | 1 | Nos. | 564492.64 | 0.06
25 | Transformer Oil | 72 | KL | 130570.76 | 0.94
26 | SF6 Gas Cylinder (50 KG Each) | 47 | Nos. | 75009.74 | 0.35
27 | Renovation Works in Grid Substations |  |  |  | -
27.1 | Replacement of Old & Defective equipments |  | L.S. | 30000000 | 3
27.2 | Bus Augmentation |  | L.S. | 25000000 | 2.5
27.3 | Switchyard Re-metalling |  | L.S. | 40000000 | 4
27.4 | Illumination |  | L.S. | 30000000 | 3
27.5 | Renovation of Earthing System |  | L.S. | 50000000 | 5
27.6 | Painting of Equipments |  | L.S. | 20000000 | 2
27.7 | Repair of Boundary Walls & Fencing |  | L.S. | 50000000 | 5
27.8 | Repair of Approach roads |  | L.S. | 20000000 | 2
27.9 | Cable Trenches & Drainage system |  | L.S. | 40000000 | 4
27.1 | Earthpit maintenance |  | L.S. | 20000000 | 2
27.11 | One time Grass cleaning and AMC to maintain cleanliness |  | L.S. | 100000000 | 10
27.12 | Control room building and store maintenance for minor works |  | L.S. | 60000000 | 6
28 | Renovation Works in EHT Lines |  |  |  | -
28.1 | Revetment |  | L.S. | 30000000 | 3
28.2 | Couping |  | L.S. | 25000000 | 2.5
28.3 | Tower Earthing |  | L.S. | 25000000 | 2.5
28.4 | Painting and Replacement of Angles, Conductors, Insulators, Clamps & Connectors etc. |  | L.S. | 50000000 | 5
28.5 | jumper checking, tightnening and replacement |  | L.S. | 30000000 | 3
28.6 | clearance of the line corridor |  | L.S. | 10000000 | 1
28.7 | AI based line patroling |  | L.S. | 100000000 | 10
28.8 | Stub repairing |  | L.S. | 20000000 | 2
29 | Miscellaneous |  |  |  | -
29.1 | Transformer Fire Fighting Protection for Transformers |  | L.S. | 20000000 | 2
29.2 | Misc expenses for portable genarator set,insulator detection test kit |  | L.S. | 3200000 | 0.32
29.3 | AMC of Energy Metering Systems |  | L.S. | 2598900 | 0.26
29.4 | AMC of GPS based Synchronising Equipment |  | L.S. | 1102500 | 0.11
29.5 | AMC of cranes and lift |  | L.S. | 10000000 | 1
29.6 | SAS AMC Fees |  | L.S. | 30000000 | 3
29.7 | Sanitation |  | L.S. | 78556708 | 7.86
29.8 | Reconditioning of 20MVA, 40MVA & 100MVA power trfs. |  | L.S. | 40125000 | 4.01
30 | Insepection Fees |  | L.S. | 100000000 | 10
31 | Safety shoe, jacket, harness, helmet |  | L.S. | 10000000 | 1
32 | Engagement of Security personnel |  | L.S. | 549200000 | 54.92
33 | Jhulla & Tower Climber |  | L.S. | 107209872 | 10.72
| TOTAL |  |  |  | 224.07

## Annexure-06 R&M-Telecom wing
R & M EXPENDITURE OF TELECOM WING FY 2026-27
Sl . | Description of Works | Amount (Rs. Cr.)
No
1 | AMC of SDH | 1.5
2 | AMC of SCADA & EMS | 1
3 | AMC of APS (Auxiliary Power Supply) | 1.7
4 | AMC of Wideband Communication package | 0.4
5 | Maintenance of OPGW links along with supply of OPGW cabel and hardwares for restoration of OPGW links | 1
6 | Misc expenditure(Cleaning and sweeping, Furniture and fixtures, Computer consumables, AC repair, AC/DC distribution board, supply of cards of existing equipment, fire extinguisher , official contigencies etc. | 1.1
7 | Watch & ward | 0.07
8 | License fee for walki-Talkie | 0.04
9 | AMC of ALSTOM C264 RTU | 0.1
| Total | 6.91

## Annexure-07 R&M-Civil wing
R & M EXPENDITURE OF CIVIL WING FY 2026-27
Sl.No. | Description of Work | Amount (Rs. Cr.)
1 | Repair of approach roads & related work | 1.05
2 | Repair of Boundary and Compound Wall & Other Civil Work | 0.6
3 | Repair of Water supply system, sewerage system and drainage related work | 0.8
4 | Other Buildings | 2.3
5 | Repair of staff quarters inside OPTCL Colony | 3.2
6 | Repair of Office Buildings | 2.2
7 | Repair of control rooms inside various grid sub-stations | 4.1
| Total | 14.25

## Annexure-08 R&M-IT
R & M EXPENDITURE OF IT WING & OTHERS FY 2026-27
Sl. No. | Project Description | Amount (₹. Cr.)
1 | IT Networking | 0.8
2 | FMS(Facility Management System) | 1.01
3 | ERP(SAP) Implementation | 1.56
4 | AMC of IT Equipment/ peripherals | 2.67
5 | Webmail Service (OPTCL) | 0.8
6 | CCTV | 0.3
7 | VC software | 0.01
8 | Cyber Security | 0.32
9 | PDC (Primary Data Center)-Existing O&M | 1.14
10 | PDC (Primary Data Center)-Renewal O & M | 2.67
11 | GIS(Geographical information System) | 0.3
12 | IT Consumables and spares | 0.5
13 | Digitization | 0.5
14 | ERP(SAP) License | 1.7
15 | OLAMP | 0.1
16 | MS Project Online & Power BI | 0.02
17 | Website/ SSL Certificate(TA) | 0.01
18 | Training-SAP | 0.02
| TOTAL | 14.42

## Annexure-11 Capex-Telcom
CAPEX OF TELECOM PROJECTS: FY 2026-27
Sl. No. | Description of work | Amount (Rs. Cr.)
1 | Procurement of Air Conditioner with stabilizer | 0.36
2 | Procurement of 48V Battery set (90 sets). | 0.6
3 | Supply, installation, commissioning and comprehensive AMC of 50 V, 75 Amp SMPS based chargers( 85 nos) | 1.03
4 | Installation & commissioning of of 120 KM , 24 F , OPGW in 220 KV Kesinga Baliguda line | 0.5
5 | Installation & commissioning of 48F OPGW in 400 KV Meramundali Lapanga LILO at Maneswar | 8
6 | Supply Installation & commissioning of 260 nos. of DTPC in 220kV & 400kV EHT lines of OPTCL | 19.62
7 | Procurement/Up-gradation of of 48F OPGW in vital links of OPTCL | 9.5
8 | Installation & commissioning of OPGW in vital links of OPTCL | 2
9 | Provision of 48FOPGW in400KV Meramundali-Mendhasala DC line | 3.86
10 | Supply installation & commissioning of OPGW in 132 KV Joda- RKL line | 0.48
11 | Supply, Installation and Commissioning of OPGW(48F), 48F approach Cable and 48F FODB in all OPGW Grid S/s of OPTCL | 17.59
12 | Water Cooler | 0.01
13 | Other Office Equipment | 0.01
14 | Electrical Installation in other location | 0.01
15 | Civil Work | 0.35
16 | Procurement of 48V Battery set (22 sets). | 0.48
17 | Supply, installation, commissioning and comprehensive AMC of 50 V, 75 /125 Amp SMPS based chargers( 21 nos) | 0.28
18 | Supply .installation and commissioning of 37 nos Dual reporting retrofitting RTU | 2.14
| Total | 66.44

## Annexure-10 Capex-O&M
CAPEX FOR O&M PROJECTS: FY 2026-27
Sl. No. | DESCRIPTION | QTY. | AMOUNT (RS. CR.)
1 | Augmentation of substation capacity | LS | 145.78
2 | SAS | LS | 5.5
3 | Upgradation of STATION TRANSFORMER | LS | 1.38
4 | Conversion of Single ckt to Double circuit | LS | 22.79
5 | Construction of 33kV, 132kV, 220kV & 400kV bay | LS | 6.6
6 | Installation of DG set | LS | 0.91
7 | Construction of RCC drain | LS | 5
8 | Replacement of Old conductor with new conductor | LS | 48.35
9 | Installation of interposing towers | LS | 1.55
10 | PCC and Remetalling | LS | 2.55
11 | Upgradation of protection system | LS | 3.67
12 | Miscellaneous work | LS | 1.19
13 | Deposit works under O&M wing | LS | 219.56
| TOTAL |  | 464.83

## Annexure-12 Capex-IT
CAPEX for IT Projects for FY 2026-27
Sl. No. | Project Description | Amount (Rs. Cr.)
1 | OPTCL Primary Data Centre (Hardware Upgradation, Network Segregation) | 6
2 | Active Directory (AD) Implementation | 2
3 | OPTCL Disaster Recovery (DR) Centre | 10
4 | OPTCL SOC- Security Operation Centre | 5
5 | AI Initiative at OPTCL | 10
6 | DRONE | 3.68
7 | End user IT System | 5
8 | CCTV Implementations at Grid S/S | 29
9 | Interactive Conference Set up | 1.96
10 | 40KVA, 30KVA,10KVA and 5KVA Online UPS | 1.15
11 | Microsoft Office 2024 Suite (Perpetual) | 3.9
12 | Engineering Software for Design, PDF Editor | 0.1
13 | IT Networking | 0.3
| Total | 78.09

## Annexure-13 Capex-Civil
CAPEX - CIVIL WORKS PROJECTS FY 2026-27
Sl. No. | Description of Works | Amount (Rs. Cr.)
1 | Control Room Building | 2.98
2 | Office Building | 3.77
3 | Building inside Grid S/s | 17.48
4 | Other Building | 7.48
5 | Road | 9.35
6 | Sewerage Tank | 0.17
7 | Other civil works | 0.37
8 | Compound Wall | 21.88
TOTAL |  | 63.48

## Annexure-09 CAPEX-PROJECT
CAPEX- TRANSMISSION PROJECTS: FY 2026-27 |  |  |  |  | (Rs. Cr.)
Sl. No. | Description of the Project/Scheme | Expenditure during FY 2025-26 |  |  | Projected expenditure (FY 2026-27) | Remark | Loan Amount/Sanctioned | Financed by
|  | Actual For First Six Months | Projection For Balance Six Months | Total
1 | 2 | 3 | 4 | 5 | 6 | 18
A | PROJECT-Own Contribution (Debt:Equity)
1 | 2x100MVA, 220/33 KV Sub-Station at Nuabetanda with associated line | 0 | 30 | 30 | 35 |  |  | OTSSP-I
2 | 2x100MVA, 220/33 KV Sub-Station at Hatabasta with associated line | 6.45 | 20 | 26.45 | 15 |  |  | OTSSP-I
3 | 2x100MVA, 220/33 KV Sub-Station at Mundamba with associated line | 12.15 | 17.85 | 30 | 20 |  |  | OTSSP-II
4 | 220kV Mendhasal-Chandaka-B UG Cable |  |  | 0 | 5 |  |  | DRPS-II
5 | 2x20 MVA, 132/33KV GRID S/S, CHANDIPUR with associated line | 0.79 | 1.75 | 2.54 | 0.1 |  |  | JICA
6 | 132kV Bhadrak-Anadpur SC to DC conversion | 0.41 | 1.59 | 2 | 0.37 |  |  | RRCP-I
7 | 2x500MVA, 400/220 KV GSS Ramakrushnapur and associated line |  |  | 0 | 5 |  |  | DRPS-II
8 | LILO line from 132kV Podagada-Pottangi line to GSS at Lamtaput | 0.01 | 5 | 5.01 | 10 |  |  | OTSSP-II
9 | 220/33kV GSS at Govindapalli with associated line | 1.32 | 2.39 | 3.71 |  |  |  | JICA
10 | 132/33kV GSS at Boriguma (balance work) | 0.08 | 0.95 | 1.03 | 0.31 |  |  | E-300
11 | Stringing of 2nd circuit (three conductors) from LILO point of existing 220 KV Balimela-Malkangiri Line to Newly constructed 220/33 KV Grid S/S Kalimela. | 0.21 |  | 0.21 |  |  |  | own
12 | 132kV Sunabeda-Jayanagar DC line |  | 1.8 | 1.8 |  |  |  | 40%Gov/Union bank
13 | 132kV Dabugaon-Umerkote SC line on DC tower | 1.05 | 3.37 | 4.42 | 1.42 |  |  | own
14 | 132/33kV GSS at Pottangi with associated line |  | 0.65 | 0.65 |  |  |  | E-300
15 | 2x20MVA, 220/33kV GSS at KALIMELA with associated line | 0.05 |  | 0.05 |  |  |  | E-250
16 | 2x20 MVA, 220/33kV GSS at Malkanagiri with associated line |  | 1.5 | 1.5 |  |  |  | E-300
17 | 220/33KV GSS at Mukhiguda with associated line |  | 50 | 50 | 100 |  |  | NEW EFC
18 | 400kV Indravati-Therubali DC line |  | 50 | 50 | 100 |  |  | GEETC
19 | 220/132/33kV GSS at Kiakata with associated line | 1.72 | 8 | 9.72 | 1 |  |  | JICA
20 | 132/33kV GSS at Athamallik with associated lines | 1.4 | 9.1 | 10.5 | 2 |  |  | LVMS
21 | 400kV TTPS Stage-III -Meramundali-B DC line | 1.08 | 38.92 | 40 | 20 |  |  | Special- EFC
22 | Diversion of one no. of 400KV and 4 nos. of 220Kv line with 220KV lilo arrangement for connectivity with 400/220KV GIS Meramunduli-B(executed by AK Das) | 0.14 | 1.86 | 2 | 10 |  |  | SACI
23 | 220/33kV GSS at Parjang with associated line | 1.39 | 12.69 | 14.08 | 1.32 |  |  | OTSSP-I
24 | 220/33kV GSS at Aluminium Park, Angul with associated line | 0.94 | 14.06 | 15 | 30 |  |  | OTSSP-II
25 | 220/132/33kV GSS at Chhendipada with associated lines | 11.15 | 13.85 | 25 | 20 |  |  | OTSSP-II
26 | 2X200 MVA, 220/132kV AIS S/S WITH SAS at Chainpal with associated line |  |  | 0 | 10 |  |  | New EFC
27 | 132/33kV GSS at Lakhanpur with associated line |  | 0.1 | 0.1 | 0.1 |  |  | JICA
28 | 2x100MVA, 220/132/33kV GSS at Kuanrmunda with associated line | 1.6 | 6.69 | 8.29 |  |  |  | E-300
29 | 132kV LILO from 132 KV Budhipadar-Sundargarh DC line at 220/132/33kV GSS at Bamra. | 3.14 | 11.08 | 14.22 | 6 |  |  | RRCP-II
30 | 132kV LILO from 132kV Chhend-Shri Ganesh Metaliks to 220/132/33kV GSS at Kuanrmunda. | 0.05 |  | 0.05 |  |  |  | RRCP-II
31 | 220/132/33kV GSS at Bamra with associated line | 0.54 | 1.11 | 1.65 |  |  |  | OTSSP-II
32 | 2x160MVA + 2x100 MVA, 220/132/33kV GSS at Koida with associated line |  | 0.12 | 0.12 | 5 |  |  | NEW EFC
33 | 2x500MVA + 2x160MVA + 2x50MVA, 400/220/132/33 KV GSS at Kansbahal with associated line |  | 0.13 | 0.13 | 5 |  |  | NEW EFC
34 | 2x160MVA + 2x80 MVA, 220/132/33 KV GSS at Basantpur with associated line |  | 0.2 | 0.2 | 5 |  |  | NEW EFC
35 | 2x50MVA, 132/33kV GSS at Kolabira with associated line |  | 0 | 0 | 3 |  |  | NEW EFC
36 | 2x50MVA, 132/33kV GSS at Subdega with associated line |  | 0 | 0 | 3 |  |  | NEW EFC
37 | 2x50MVA, 132/33kV GSS at Sason with associated line |  | 0 | 0 | 3 |  |  | NEW EFC
38 | 2x160MVA + 2x50 MVA, 220/132/33kV GSS at Badimal with associated line |  | 0 | 0 | 5 |  |  | NEW EFC
39 | 765/400kV GSS at Kolabira with 1. 765kV D/C Kenapali (PG)-Kolabira line 2. 765kV D/C Kolabira-Duburi line. 3. 400 KV D/C OPGC - Kolabira line. |  | 0.15 | 0.15 | 25 |  |  | NEW EFC
40 | 400kV DC Line From Floating Solar Power Plant, Hirakud to proposed 765/400kV GSS at Kulihamal, Pokharasale, Kolabira |  | 0.13 | 0.13 | 5 |  |  | NEW EFC
41 | 220/132kV GSS at DASPALLA with associated line |  | 22 | 22 | 15 |  |  | JICA
42 | 2x40MVA, 220/33kV GSS at Baliguda with associated line | 4.15 | 37 | 41.15 | 32.5 |  |  | E-300
43 | 2x20 MVA, 132/33kV GSS at R-UDAYGIRI with associated line | 0.2 | 1 | 1.2 | 0.25 |  |  | E-300
44 | 132kV Bhanjanagar-Phulbani line |  | 0.4 | 0.4 |  |  |  | OWN
45 | 2x500MVA+2x100MVA, 400/220/33kV GSS at Badakushastali, Ganjam with associated line | 0.37 | 21 | 21.37 | 74 |  |  | GEETC
46 | 400kV Theruvelli-Badakushastali DC Line |  |  | 0 | 30 |  |  | GEETC
47 | 2X160MVA + 2x20MVA, 220/132/33kV GSS at Turumunga with associated line | 3.29 | 4 | 7.29 |  |  |  | JICA
48 | 220kV LILO from 220kV TTPS-JODA D/C Line (Circuit-II) to 220/33kV GIS at Keonjhar | 0.1 | 3.5 | 3.6 | 9.2 |  |  | OWN
49 | 765/400kV GSS at Duburi with associated line |  |  | 0 | 0.5 |  |  | NEW EFC
50 | 2x500MVA 400/220kV GSS at Basudevpur, Keonjhar with associated lines |  | 0.5 | 0.5 | 5 |  |  | SDMF-100% grant
51 | 132kV Jayapatna-Junagarh DC line | 0.01 |  | 0.01 | 5 |  |  | E-140
52 | 132/33kV GSS at Brundabahal with associated line |  | 5 | 5 | 3 |  |  | Equity-Brundabahal(100%Equity)
53 | 2x20MVA, 220/33KV GSS at Kashipur with associated line | 0.65 |  | 0.65 |  |  |  | E-300
54 | 220/132/33kV GSS at Gunupur with associated line | 0.23 | 1.5 | 1.73 | 5 |  |  | JICA
55 | Construction of 132KV SC line on DC tower from existing loc no-170 of Akhusingh-Paralakhemundi line to proposed Loc No-41 of RTSS Palasingh line, in rayagada district of Odisha. |  | 0.52 | 0.52 |  |  |  | OWN
56 | Survey & Forest clearance work of 400kV Indravati-Therubali DC line |  | 1.2 | 1.2 | 0.47 |  |  | GEETC
57 | 400kV Jeypore (PGCIL)-Therubali DC line | 1 | 20 | 21 | 55.46 |  |  | GEETC
58 | 33/220kV Pooling Sub station at Padepadar for evacuating Power from FSPV, Indravati with associated line |  | 28.07 | 28.07 | 86.2 |  |  | NEW EFC
59 | 2x500MVA, 400/220kV GSS at Therubali with associated line |  | 20.68 | 20.68 | 50.17 |  |  | GEETC
60 | 220/132/33kV GSS at Nuapada with associated line |  |  | 0 | 10 |  |  | NEW EFC
61 | 2X40MVA, 220/33kV GSS at Madanpur Rampur with associated line | 2.67 | 21 | 23.67 | 17.27 |  |  | LVMS
62 | 220/33kV GSS at Sarasmal with associated line | 0.22 | 0.5 | 0.72 | 15 |  |  | OTSSP-I
63 | 132/33kV GSS at TARBHA with associated line | 3.75 | 6.15 | 9.9 | 10 |  |  | E-Tarbha
64 | 2X20MVA, 132/33kV GSS at Agalpur Rampur with associated line | 4.71 | 3.3 | 8.01 | 2 |  |  | LVMS
65 | 2X20MVA, 132/33kV GSS at JHARBANDH with associated line | 3.24 | 27.25 | 30.49 | 10 |  |  | OTSSP-I
66 | 2X40MVA, 132/33kV GSS at Bijepur with associated line | 1.81 | 8.5 | 10.31 | 10 |  |  | OTSSP-I
67 | 132kV Patnagarh-Kantabanji SC to DC conversion | 1.67 | 9.1 | 10.77 | 15 |  |  | RRCP-II
68 | 132kV Padampur-Ghens SC to DC conversion | 0.65 | 5.6 | 6.25 | 15 |  |  | RRCP-II
69 | 400/220/33kV GSS at Titlagarh with associated line |  | 1.5 | 1.5 | 20 |  |  | NEW EFC
70 | 2x80MVA, 132/33kV GSS at Manamunda with 2nd Circuit Stringing of 132kV Boudh -Sonepur line |  | 8 | 8 | 20 |  |  | GEETC
71 | 220/33kV GSS at Balichandrapur (Palei) with associated lines | 6.66 |  | 6.66 |  |  |  | E-140
72 | 132/33kV GSS at Bahugram with associated line | 0 | 0.1 | 0.1 |  |  |  | JICA
73 | 400/220/33KV GIS at Neulapoi with associated line | 1.44 | 18.56 | 20 | 90 |  |  | OTSSP-II
74 | Up-gradation of existing132/33KV GIS at Khuntuni to 220/132/33kV GSS with line | 0 | 10 | 10 | 10 |  |  | OTSSP-II
75 | 400/220/33kV GSS at Ersama, Paradeep with associated line | 68.65 | 120.35 | 189 | 150 |  |  | E-Paradeep
76 | 2x100MVA, 220/33kV GIS at Paradeep (Plastic park) with associated line | 1.3 | 3 | 4.3 | 20 |  |  | OTSSP-II
77 | STAMS-I | 101 | 93 | 194 | 54 |  |  | STAMS
78 | 132kV Bhadrak-Soro SC line HTLS conversion |  | 0 | 0 | 50 |  |  |  | 244.83
79 | 132kV Duburi-Jajpur Road DC Line HTLS conversion |  |  | 0 | 15
80 | 2x50MVA, 132/33kV GIS at Autonagar, Ganjam with associated line | 0.36 | 0.05 | 0.41 | 75
81 | 132kV Narendrapur-Berhampur UG cable | 1.67 | 11.71 | 13.38 | 8
82 | 400/220/33kV GIS at Bhandaripokhari (Bhadrakh textile Park) |  |  | 0 | 5
83 | 2x160MVA + 2x4 MVA, 220/132/33kV GSS at BALIMUNDA,Dhamra with associated line | 4.46 | 0.89 | 5.35
84 | 2x20MVA, 132/33kV GSS at Raighar with associated line | 5.64 | 40.35 | 45.99 | 16
85 | 2x20MVA, 132/33kV GSS at Lamtaput with associated line | 4.42 | 1.5 | 5.92 | 6
86 | 132kV Pottangi-Podagada SC line on DC tower |  | 0.2 | 0.2
87 | 132kV Turumunga-Dhenkikote DC line | 0.59 | 2.41 | 3 | 8
| Total Project By debt and equity | 270.58 | 864.43 | 1135.01 | 1474.64
B | WORK EXECUTED BY GoO FUNDING
88 | 220kV Cuttack-Pratapsasan DC line | 4 | 0 | 4
89 | 132/33kV GIS at Satyanagar & Badagada with associated UG cabling | 15.09 | 19.91 | 35 | 30
90 | 220/33kV GIS at Godisahi & Kantabada with associated line | 0.4 | 5 | 5.4 | 0.2
91 | 220/132/33kV GIS at Balianta with associated line | 29.1 | 22.43 | 51.53 | 5
92 | 220/33kV GIS at Nayapalli with associated line | 6.88 | 4.5 | 11.38 | 0.2
93 | Bay Extn at Kesura | 0.22 | 1.18 | 1.4 | 0.2
94 | 132kV Balianta DC Line | 0 | 8 | 8 | 4
95 | 132kV Samagara-Puri UG cable | 1.08 | 4.92 | 6 | 5
96 | 132kV Chandbali-Dhamra DC line |  | 2.53 | 2.53
97 | 2x20MVA, 132/33kV GSS at Nawarangpur with associated line |  | 1.48 | 1.48
98 | 220kV LILO from 220kV Balimela-Jaynagar at Govindpali GSS | 0.06 | 0.8 | 0.86
99 | 132kV Boudha - Phulbani line | 18.51 | 2.49 | 21 | 1
100 | 132kV Lapanga-Brajarajnagar DC line along with diversion of 220kV IB-Budhipadar DC line | 0.506 | 0.3 | 0.806
101 | 132kV R-Udayagiri-Paralakhemundi DC line | 0.01 | 3 | 3.01 | 15.5
102 | 220kV DC LILO from 220kV Narendrapur-Therubali DC line to 220/132/33 KV GSS at Aska |  | 1.2 | 1.2
103 | 132/33kV GIS at Hinjilikatu, Ganjam with associated line | 0.75 | 0.6 | 1.35
104 | Installation of 3rd 500MVA, 400/220 KV ICT at New Duburi. | 28.39 | 3.3 | 31.69 | 0.5
105 | 2x63MVA, 132/33kV GIS at SCB Medical, Cuttack | 90.37 | 66 | 156.37 | 10
106 | 220kV Budhipadar-Lapanga DC line HTLS conversion |  | 0.1 | 0.1 | 32 |  |  | HCTUS
107 | 220kV Katapali -Lapanga D/C line HTLS conversion |  | 30 | 30 | 50 |  |  | HCTUS
108 | 400kV IB-Lapanga D/C line HTLS conversion | 0 | 0 | 0 | 97.83 |  |  | HCTUS
| Total of Project wing GoO Funding | 195.366 | 177.74 | 373.106 | 251.43 | 0 | 0
C | Deposit Works
109 | RTSS Nayagarh | 0.74 | 1.76 | 2.5 | 2
110 | RTSS Mancheswar |  |  | 0 | 10
111 | RTSS Jaleswar |  | 0.03 | 0.03 | 5
112 | RTSS Balasore |  | 0.03 | 0.03 | 5
113 | RTSS at Boinda(Only for forest clearance) |  | 0.2 | 0.2 | 0.1
114 | RTSS at Champapur |  | 2.5 | 2.5 | 10
115 | RTSS at Khamar | 0.05 | 4.95 | 5 | 20
116 | RTSS Dhanmandal |  | 2.5 | 2.5 | 0.3
117 | RTSS Charbatia | 5.08 | 0.4 | 5.48 | 0.2
118 | 132kV Bangiriposi-Bhanjapur(RTSS) SC line | 0.85 | 2.6 | 3.45
119 | RTSS Barjamda and associated 132 Kv line |  | 0.02 | 0.02 | 5
120 | RTSS Banspani & associated 132 Kv line |  | 0.02 | 0.02 | 5
121 | RTSS Harichandanpur & associated 132 Kv line |  | 0.02 | 0.02
122 | 220kV Laxmipur -Laxmipur (RTSS) line. |  | 0.2 | 0.2 | 0.2
123 | 132kV Bhawanipatna-Bhawanipatna(RTSS) line | 0.67 | 0.1 | 0.77 | 0
124 | Construction of 2 nos. of 132 kV Towers and dismantling of one 132 kV Tower, third phase conductor stringing on existing RTSS Rayagada Line. |  | 0.1 | 0.1 | 0.02
125 | 132kV TIRTOL-Gorekhnath(RTSS) line |  | 2 | 2 | 10
126 | 132kV Gunupur-Palasingi(RTSS) line |  | 0.55 | 0.55 | 0
127 | 1No 33kV Bay at 220/33kV GSS at Gobindapalli for megalift project at saradaput | 0.03 |  | 0.03
128 | Const of 2 nos of 33KV bay at GSS Boriguma for Shrabani Power Generation pvt ltd | 0.06 | 0.3 | 0.36 | 0.03
129 | Const of 2 nos of 33KV Bay at GSS Boriguma for Sidheswari Power Generation Pvt Ltd | 0.01 | 0.3 | 0.31 | 0.03
130 | 132kV Sunabeda-Manabar(RTSS) lineConst of 4 nos of 132KV AIS Bays at 132/25KV Manabar RTSS and 2 nos 132KV AIS Bays at 132/33KV Grid SS Sunabeda withassociated 132KV DC line from existing 132/33KV Grid SS Sunabeda to RTSS Manbar(line length=25.419Km) |  | 10 | 10 | 17
131 | Construction of 220 KV LILO line from Loc. No. 125 & Loc. No. 126 of existing 220 KV Budhipadar to Tarkera line (CKT-II) and 132 KV LILO line from Loc. No. 291 of existing 132 KV Budhipadar to Tarkera line (CKT-II) and 220/132/33 KV Grid Sub-Station at Bamra. (50% Deposit Work) | 0.54 | 1.11 | 1.65
132 | 220kV Bonai-Bimalagarh(RTSS) line | 0.13 |  | 0.13
133 | 220kV Bonai -Taldih Iron Ore Mines, SAIL SC line on DC tower | 10.35 | 15 | 25.35 | 22
134 | 132kV Bamra-Dhutura(RTSS) line |  | 0.5 | 0.5 | 5
135 | 132kV Bamra-Garposh(RTSS) line |  | 2 | 2 | 5
136 | 132kV Lapanga-Rengali(RTSS) line |  | 0.1 | 0.1
137 | Diversion of (1) 132KV D/C Lapanga Brajrajnagar Line and (2) 220KV D/C Aditya Aluminium-Budhipadar Line from the proposed power plant & Ash pond area of M/s. NLC at Thelkoloi, Sambalpur | 10.69 | 18 | 28.69 | 12
138 | 400kV NLC - Lapanga D/C line. |  | 0.03 | 0.03 | 20
139 | 220kV Barkote-Barkote(RTSS) line |  | 0.06 | 0.06 | 2
140 | 132kV Kuarmunda-Bondamunda(RTSS) D/C tower |  | 0.08 | 0.08 | 2
141 | Diversion of 220KV Narendrapur TATA MRSS Line from 220/132/33KV Grid SS Narendrapur to MS TATA Steel Ltd atnew NH 59 |  | 1.5 | 1.5
142 | 220kV Dasapalla-BUGUDA(RTSS) DC line |  | 3 | 3 | 3
143 | 132kV Rairangpur-Rairangpur(RTSS) line | 0.01 | 1.44 | 1.45 | 0.5
144 | 132kV Sonepur-Sonepur(RTSS) line | 1.97 | 2.5 | 4.47 | 1
| Total of PROJECT Deposit Works | 31.18 | 73.9 | 105.08 | 162.38
| TOTAL CAPEX OF PROJECT WING | 497.126 | 1116.07 | 1613.196 | 1888.45 |  |  |  | 1116.07 | 0