BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2022-23, under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

TP Western Odisha Distribution Ltd (TPWODL)

Corporate Office, Burla, Sambalpur, Odisha-768017

---------TPWODL

The Humble applicant above named respectfully sheweth:

GM (RA & Strategy), TPWODL

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2022-23 , under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

TP Western Odisha Distribution Ltd (TPWODL)

Corporate Office, Burla, Sambalpur, Odisha-768017

---------TPWODL

Affidavit verifying the application for the Aggregate Revenue Requirement and Tariff Application

I, Kshirod Chandra Nanda, Son of Late Radhanath Nanda, aged about 52 years, residing at, Sambalpur, do hereby solemnly affirm and state as follows: -

I am the General Manager (RA & Strategy) of TP Western Odisha Distribution Ltd. (TPWODL), Corporate Office-Burla, Sambalpur, Odisha-768017.

That, I am authorized representative of TPWODL, the applicant in the instant case and competent to swear this affidavit for and on behalf of the licensee

The statements made above along with the annexures annexed to this application are true to the best of my knowledge and the statements made are based on information and records and I believe them to be true.

Place

Date 								        	DEPONENT

GM (RA & Strategy), TPWODL

Table of Contents

1.	Executive Summary	5

2.	Revenue Requirement for FY 2022-23	10

2.1.	Data Sources	11

2.2.	Sales Forecast	12

2.3.	Power Purchase Expenses	17

2.4.	Employees Expenses	18

2.5.	Administrative and General Expenses	24

2.5.1.	Energy Audit	26

2.5.2.	Vigilance & Enforcement Activity	34

2.5.3.	IT Automation	36

2.5.4.	Meter Reading , Billing & Collection (MBC)	38

2.5.5.	Initiatives for improvement of Reliability, SCADA/GIS etc	42

2.6.	Repair & Maintenance Expenses	49

2.7.	Provision for Bad and Doubtful Debts	51

2.8.	Depreciation	51

2.9.	Interest Expenses	52

2.9.2.	Working capital Loan	52

2.9.3.	Interest on Security Deposit	53

2.9.4.	Interest on carrying cost	53

2.9.5.	Total Interest for Financial Year FY 2022-23	54

3.	Capital Expenditure Programme	54

3.1.1.	CAPEX FOR CURRENT YEAR	54

3.1.2.	CONSUMER CONTRIBUTION DEPOSIT WORKS	58

3.1.3.	Strengthening of Infrastructures in Elephant Corridor	59

3.1.4.	Strengthening Project (ODSSP)	60

3.1.5.	MEGALIFT POINT BY GOVT. ODISHA	60

3.1.6.	SMART GRID PROJECT AT ROURKELA	60

4.	Revenue and Current year GAP	61

4.1Non Tariff Income	61

4.2	Reasonable Return	62

4.3.	Current year FY 2021-22’s GAP	62

4.4.	Revenue at Existing Tariffs	63

4.5.	Summary of Annual Revenue Requirement and Revenue Gap	64

5.	Initiatives by Utility & Other performance improvement measures	65

5.1	Compliance to OERC Directions	65

5.2	Various Payment Options	69

5.3	Engagement of Retail vendors for collection through RCS mechanism (Revenue Collection System).	71

5.4	Tied up with various Banks -POS machine	73

5.5	Engagement of GPLF/WSHG as micro franchisee	75

5.6	Other initiatives for Revenue Improvement:	77

6.	Allocation of Wheeling and Retail supply cost	86

7.	Truing up of FY 20-21	87

8.	Tariff Proposals and Rationalization Measures	88

8.1	Levy of CSS on RE power	88

8.2	Incremental digital rebate from 2% to 3% for LT Domestic, LT GP single phase & Single phase irrigation consumers	89

8.3	Discount to Domestic Rural Consumers	90

8.4	Inter DISCOM Feed extension to Railway	90

8.5	Creation of Category for Mega lift points under EHT	91

8.6	Special tariff to steel industry	91

8.7	Special tariff for industries those who have closed their units if reopen/starts.	94

8.8	Special tariff for Existing industries having CGP if assured 80% LF of existing CD	95

8.9	Special tariff for existing industries who have no CGP for drawl of additional power beyond CD of 10 MVA	97

8.10	Special Tariff for upcoming new industries with guaranteed period of business continuity	98

8.11	Special tariff for Industries for temporary business requirement	98

8.12	Special tariff for drawl of RE power with premium rate	99

8.13	Tariff for Cold Storage units through Govt Subsidy	100

8.14	SMART Prepaid meters for Govt Connection	102

8.15	For Industries having CGP, benefit of leading PF may abolished.	104

8.16	Summation metering at OPTCL end & replacement of NON-DLMS meters	105

8.17	Demand charges to HT Medium category of consumers	107

8.18	Charges for line extension to LT single phase connection up to 5 Kw	108

8.19	Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.	111

9.	Other Issues	113

9.1	Rebate on Prompt Payment of BST bill	113

10.	Formats	114

10.1	Commercial/Technical  Formats T1-T9	114

10.2	Financial Formats F1-F27	114

10.3	Details Performance Formats (P1-P17) in Vol- II	114

11.	Prayer	114

# Executive Summary

TP Western Odisha Distribution Ltd. (TPWODL), Burla, Sambalpur, Odisha-768017 is the holder of the Distribution and Retail Supply License w.e.f 01.01.2021, as per order of Hon’ble Commission’s vide License No OERC/Engg./2/2021/409 dt.26.03.2021 and has been carrying out the business of distribution and retail supply of electricity in nine districts of Odisha, namely, Sambalpur, Sundargarh, Bolangir, Bargarh, Deogarh, Nuapara, Kalahandi, Sonepur and Jharsuguda.

That, Hon’ble Commission in their Order dated 04.03.2015 in Case No. 55/2013 have revoked the Licences of NESCO, WESCO and SOUTHCO (Distribution Companies) under Section 19 of the Electricity Act, 2003. Post revocation license of Wesco Ltd, Hon’ble Commission appointed Chairman-cum-Managing Director, GRIDCO as the Administrator of WESCO utility u/s 20(1)(d) of the Act vide order dated 04.03.2015. Thereafter, in terms of Section 20 of the Act Hon’ble Commission initiated action for sale of utility of WESCO and Tata Power Company Limited (TPCL) was selected through bidding process under Section 20 (1)(a) of the Act.

As per direction of Hon’ble Commission vide letter no. OERC/RA/SALE OF WESCO-27/2019 (Vol.-III)/1394 dated 04.12.2020, GRIDCO incorporated the Operating Company namely TP Western Odisha Distribution Limited (TPWODL) to which the utility of WESCO has been vested and license of WESCO utility is transferred. Accordingly, TPWODL is the wholly owned subsidiary of GRIDCO with an authorized share capital of ₹. 1000 crore (Indian Rupee One Thousand Crore) only and paid-up capital of Rs. 5 lakh (Indian Rupee Five lakh) only. TPWODL is the Operating Company in which TPCL and GRIDCO holds 51% and 49% equity shares respectively after the completion of sale.

As per terms of RFP, reserved capital of TPWODL is ₹. 300 crore (Indian Rupee Three Hundred Crore) only upon execution of Share Acquisition Agreement, TPCL acquires 51% of the equity shares of TPWODL. Accordingly, shareholding pattern with effect from 01.01.2021 continues 51% and 49% between TPCL & GRIDCO respectively.

This submission is made by the Licensee before the Hon’ble Commission for the determination of Aggregate Annual Revenue Requirement and Retail Supply Tariffs for the Financial Year 2022-23.

Filing of ARR Application

On segregation of Wheeling Business from Retail supply as per Gazette Notification dtd.14th Nov 2014, where in the regulation regarding Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff has been notified. As per the said regulation along with OERC (Conduct of Business) Regulation 2004 and in conformity with Section 62 of Electricity Act 2003 the licensee is required to file its Aggregate Revenue Requirement with State commission on or before 30th Nov-2021 for the year FY 2022-23.

As regards to previous year the Company has adopted audited figure of Wesco Utility for (Apr-20 to Dec-20) as per carve out balance sheet approved by Hon’ble Commission vide order dt.23rd Nov-21 & audited figure of Jan-21 to march-21 (TPWODL) and actual till Sep-21 of current year while preparing the present ARR for FY 2022-23, however certain modifications has been adopted considering latest development and performance parameters on actual basis which may kindly be taken into record.  The reasons for change/modifications are enumerated in the appropriate head in the ARR application. Further, the figure of 9 months of Wesco utility along with 3 months of TPWODL has been taken as a whole to represent previous year, for reference and comparison purposes only.

Accordingly, the company in accordance with the license conditions, have calculated the total expected revenue from sale of electricity in accordance with the provisions of the OERC (Terms and Conditions for determination of wheeling tariff and Retail Supply Tariff) Regulations 2014 and hereby submitting in the foregoing paragraphs as per the following structure.

- A statement with full details of its expected annual revenue and costs for the ensuing year FY 22-23 for its Licensed Business along with technical, commercial, performance and financial parameters in the formats prescribed by the Hon’ble Commission.

- Different initiatives taken & to be by the licensee

- Compliance to the directives issued by the Hon’ble Commission

- Statement of allocation of wheeling and retail supply cost as per provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014

- Proposal for tariff rationalisation measures.

  - That, the company has made certain assumptions while projecting its operations for the FY 2022-23. These projections are based upon the best estimates of the operations and prospective plans of the licensee at the time of the ARR filing. The actual ARR and the revenue figures would be different from the above estimates due to several external factors such as power purchase cost and change in consumer mix/ consumption pattern  etc.

  - Based on estimated Revenue Requirement and Revenue at existing tariff, the revenue Surplus(-) for current FY 2021-22 is Rs.95.69 crs.

| Revenue Gap with Estimated T&D(21.4%)-Current Year FY21-22 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including tax on ROE | 4218.19 |
| Reasonable return on ROE after tax | 48.00 |
| Sub Total | 4266.19 |
| Revenue from sale of power at existing tariffs | 3874.40 |
| Revenue from sale of additional power through TPA | 228.48 |
| Non-Tariff Income | 259.00 |
| Revenue GAP(+)/Surplus (-) | -95.69 |

However, with approved T&D of 19.60% the revenue surplus for the current year would increase up to Rs.165.78 crs.

| Revenue Gap with approved T&D (19.6%) Current Year FY21-22 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including tax on ROE* | 4148.10 |
| Reasonable return on ROE after tax | 48.00 |
| Sub Total | 4196.10 |
| Revenue from sale of power at existing tariffs | 3874.40 |
| Revenue from sale of additional power through TPA | 228.48 |
| Non Tariff Income | 259.00 |
| Revenue GAP(+)/Surplus(-) | -165.78 |

*Power purchase cost will be reduced by Rs.70.09 crs

Similarly considering the proposed distribution loss of 21% for FY 2022-23 the revenue Gap is Rs.   180.33   crs

| Revenue Gap with projected T&D (21%) FY22-23 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including Special Appropriation | 4534.42 |
| Reasonable return on ROE after tax | 48.00 |
| 0.0% | -95.69 |
| Sub Total | 4486.74 |
| Revenue from sale of power at existing tariffs | 4038.71 |
| Non Tariff Income | 267.69 |
| Revenue GAP(+)/Surplus(-) | 180.33 |

However, with approved T&D of 19.60% the revenue GAP for the ensuing year will be reduced to Rs.53.04 crs

| Revenue Gap with approved (19.6%) T&D FY22-23 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including tax on ROE | 4477.22 |
| Reasonable return on ROE after tax | 48.00 |
| Revenue Surplus (-) FY 21-22 | -165.78 |
| Sub Total | 4359.44 |
| Revenue from sale of power at existing tariffs | 4038.71 |
| Non Tariff Income | 267.69 |
| Revenue GAP(+)/Surplus(-) | 53.04 |

*Power purchase cost will be reduced by Rs.57.20 crs

That, in the above background it is worth mentioning that as of now, at existing tariffs, the company through additional sale & proposed tariff rational measures along with efficiency gain will meet the short fall without any tariff hike. However, Govt support and subsidy if any shall be an additional help & will be passed on to the consumer.

  - Prayer

In the aforesaid facts and circumstances, the utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Aggregate Revenue Requirement for FY 2022-23.

Bridge the Revenue Gap for the ensuing year FY 2022-23 out of surplus revenue generated / to be generated from current year along with efficiency gain and additional sale though proposed tariff rationalisation measures without burdening the consumer of the state assuming without increase in BST & Transmission charges.

Allow the following Tariff rationalisation measures as proposed

- Levy of CSS on RE power

- Incremental digital rebate from 2% to 3% for LT Domestic, LT GP single phase & Single-phase irrigation consumers

- Discount to Domestic Rural Consumers

- Inter DISCOM Feed extension to Railway

- Creation of Category for Mega lift points under EHT

- Special tariff to steel industry

- Special tariff for industries those who have closed their units if reopen/starts

- Special tariff for Existing industries having CGP if assured 80% LF of existing CD

- Special tariff for existing industries who have no CGP for drawl of additional power beyond CD of 10 MVA

- Special Tariff for upcoming new industries with guaranteed period of business continuity

- Special tariff for Industries for temporary business requirement

- Special tariff for drawl of RE power with premium rate

- Tariff for Cold Storage units through Govt Subsidy

- SMART Prepaid meters for Govt Connection

- For Industries having CGP benefit of leading PF may abolished.

- Summation metering at OPTCL end & replacement of NON-DLMS meters

- Demand charges to HT Medium category of consumers

- Charges for line extension to LT single phase connection up to 5 Kw

- Introduction of Amnesty arrear clearance scheme for LT non-industrial category of consumer.

- Rebate on Prompt Payment of BST bill

- Other proposals as proposed in this application

- Allow the Licensee to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit

# Revenue Requirement for FY 2022-23

This section outlines the assumptions for estimation of revenue requirement for FY 22-23.

The Distribution loss and AT&C loss trajectory on the basis of actual projected is considered in the following manner

|  | FY 17-18 | FY 18-19 | FY 19-20 | FY 20-21 | FY 21-22 | FY 21-22 | FY 21-22 | FY 22-23 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Actual | Actual | Actual | Actual | Proposed | Approved | Rev Estm | Proposed |
| Distribution Loss | 25.81% | 21.32% | 18.73% | 25.07% | 21.27% | 19.60% | 21.40% | 21.00% |
| Collection Efficiency | 88% | 87% | 88% | 97.71% | 96% | 99% | 96% | 96% |
| AT&C Loss | 34.80% | 31.64% | 28.56% | 26.78% | 24.42% | 20.40% | 24.54% | 24.16% |
| % Reduction | 4.58% | 3.16% | 3.08% | 1.78% | 2.36% | 6.38% | 2.24% | 0.38% |

The performance of the year FY 2020-21 was not satisfactory on account of COVID-19, the whole country remains almost closed from 23rd March 20 to end of May-20, subsequently in phased manner the operation was permitted and industries started to operate in normal mode. MSME sector was also almost paralysed.  As a result, licensee could able to achieve the T&D loss of 25.07% which was below the Hon’ble Commissions approved figure of 19.60%. However, In the current year the EHT consumption is quite impressive against approved figure of 1546 MU and the licensee will definitely achieve the approved quantum. The reason of such drawl by EHT industries from the distribution licensee is mainly on account non-availability of coal during 1st six month of the current year for which they failed to operate their CGP in full capacity.  In case of HT Hon’ble commission has approved 1954 MUs for FY21-22 & approved EHT & HT total is 3500 Mus. The licensee also estimating both EHT & HT sales during the current year would be to the extent of approved quantum in total. However, in case of LT, the licensee has estimated consumption of 3260 Mus against approval of 3415 Mus.  Even though impact of covid is still continuing & MSME sector is yet to operate at full load capacity, the licensee is trying hard to put maximum effort in LT sector as we do not have control over industrial sector. Hence, the current year T&D loss estimated as 21.40% may kindly be taken into record.

Now, in line with the above the expected performance in the ensuing year (FY 2022-23) has been depicted below with actual of previous year (FY 20-21), revised estimate for current year (2021-22) as per below table.

Distribution and AT & C Loss FY 2020-21 to FY 2022-23

|  | FY 2020-21 | FY 2021-22 (Rev. Est.) | FY 2022-23 (Proposed) |
| --- | --- | --- | --- |
| Energy Sales in MU | 5714 | 6760 | 7110 |
| Energy Purchased in MU | 7625 | 8600 | 9000 |
| Overall Distribution loss% | 25.07% | 21.40% | 21.00% |
| Collection Efficiency% | 97.71* | 96 | 96 |
| AT& C loss % | 26.78% | 24.54% | 24.16% |

- TPWODL has taken over the Distribution business from 01st Jan-21, as per normal practice collection during last quarter of the year is used to remain more than 100%. In addition to that with special efforts TPWODL has collected Rs. 104 Crs from old arears which has been included in the collection figures. As a result, the collection efficiency has achieved the figure of 97.71%.

Hon’ble Commission has approved input of 8600 MU for the current year against proposal of 8250 MU by the licensee. The licensee is quite hope full the drawl of the current year would be within the approved limit. During 1st six month of the current year the drawl of EHT industries having CGP was in upward trend because they consumed DISCOM power on account of coal issue across entire country.  In the second half of the current year, the scenario may not be as like of first half of the current year so the EHT consumption would be within the approved figure. Similarly, the drawl of HT industries for 1st half of the current year except Steel Industries others were in normal trend. However, the licensee has made special agreement with 12 Nos of standalone Induction furnace Steel Industries having contract demand of more than 1 MW & above connected at 33KV voltage level for which HT consumption could able to be maintained in normal mode.  Considering the actual drawl till September 2021, the Licensee has estimated distribution loss of 21.00 % & AT&C loss of 24.16% for FY 2022-23.

# Data Sources

The Licensee is duty bound in complying with the information requirements of the Hon’ble Commission for aggregate revenue requirement and tariff for the year 2022-23. The schedule of formats submitted along with this proposal is shown in the Table of Contents. The distribution business has been taken over by TPWODL w.e.f. 01st Jan-21, as per vesting order the audited accounts up to Dec-20 of utility period has been duly approved by Hon’ble Commission on 23rd Nov-21 with this audited accounts of TPWODL period (From Jan-21 to Mar-21) has been considered for compilation of data and preparation of this ARR.

The licensee would like to submit that the input cost is the most important cost element for distribution business. For authentication of input cost, the BSP bills on the basis of scheduled energy received from the Bulk Supplier, GRIDCO, and Transmission Charges on the basis of actual energy received from OPTCL, SLDC charges received from SLDC has been taken. The licensee expects no deviation from the schedule hence provision for deviation has not been considered in the ensuing year.

Thus, the licensee submits that the data given are authentic and reliable for formulation of Aggregate Revenue Requirement and Tariff Application for the year 2022-23.

# Sales Forecast

The licensee has projected the consumption of different categories on the basis of past trends and consumption pattern for first six months of FY 2021-22, actual addition/reduction of loads and other important aspect of COVID-19. Under Domestic category around 60000 new connections have been estimated & in General purpose category around 10000 connections have been proposed. Consumer growth under irrigation category particularly mega lift point has been envisaged during ensuing year as per mega lift scheme of Govt. of Odisha. The irrigation load under HT during FY 18-19 was 4045 KVA which has increased to 78882 KVA during FY 20-21 and now by Sep-21 due to addition of mega lift points it is 88070 and it would be around 88495 KVA by end March-22.

In absence of separate category for Irrigation under EHT category a mega lift consumer with supply voltage at EHT level with load of 13500 kVA is being billed under HT category tariff and also added under HT in the projection. The mega lift point has been energized under Kalahandi west Electrical Division. The HT tariff is Rs.30 per Kva p.m. for Demand charges and energy charges is Rs.1.40 per unit. The utility submits before Hon’ble Commission a separate tariff under EHT for mega lift points with Demand charges of Rs.250 per kva and the energy charges as deemed fit may be fixed by Hon’ble Commission.

Similarly, under LT category the irrigation load was 197254 KW as on 31st March-20, which has increased to 227424 KW as on Mar-21 and now in Sep-21 it is 237966 KW, with estimated addition of around 10000 connections under LT category the load under this category for FY 22-23 would be 248507 KW.

The category-wise consumption projected for FY 2022-23 has been provided in following sections.

LT Category

The utility has made all-out effort to bring the entire consumers into billing fold, for which its billing performance has increased in LT sector. The growth in the domestic category has been estimated at 9.16% during FY 2022-23 as against the estimated growth of around 21.75% during FY 2021-22. The licensee would like to submit that all the house hold who have electrified under SAUBHAGYA & DDUGJY are all being added to billing fold for which the growth of 21.75% has been considered in current year. The impact of same has been considered while estimating the sales under domestic category for FY 2022-23. The other reason of higher consumption in Domestic sector is on account of replacement of defective meters and electro-mechanical meters in the consumer premises. As result actual billing would be improved and the licensee would able to reduce the T&D loss.

The growth in the sales of other categories in the LT sector has been estimated in the range of 5% during 2022-23 considering the past trends except Irrigation & Pumping, Allied Agriculture and Allied Agro industrial category of consumers where growth of 7.04%, 7.69 & 9.09% respectively has been taken up. The irrigation growth is due to addition of loads as well as metering. The growth under the above categories in current year is around 30% & above due to addition of consumers under Govt’s Mega lift scheme and promotion of agricultural sector.

The LT sales during last three years have increased in higher proportion as compared to past period due to massive village electrification schemes. The summary of sales projections for LT category is given in following:

| Sales(MU) | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- |
| Domestic* | 1752.673 | 2133.825 | 2329.350 |
| General Purpose<100 kw | 300.450 | 390.325 | 400.340 |
| Specified public purpose | 30.450 | 36.000 | 37.800 |
| Irrigation | 385.940 | 500.000 | 535.210 |
| Allied Agro Activities | 4.460 | 6.500 | 7.000 |
| Allied Agro Industrial | 2.630 | 2.750 | 3.000 |
| LT Industrial | 76.600 | 86.500 | 89.000 |
| Public water works | 44.970 | 66.100 | 69.300 |
| Public Lighting | 37.790 | 38.000 | 39.000 |
| Total | 2635.963 | 3260.000 | 3510.000 |

*includes sale under kutirjyoti consumers to the tune of 70.000 MU during ensuing year.

HT Category

While projecting the sales in HT Category, the Utility analyses the consumption pattern of each HT consumer with contract demand of more than 1 MVA. The average sale under HT category consumers has been estimated @ 2.78% for the ensuing year and is based on the trend of the FY 2020-21 and actual load for the 1st six month of current year ending Sept’21.

| Sales (MU) | FY 2020-21 | 1st Six Mth Of FY 21-22 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- |
| Large Industry | 896.746 | 498.32 | 910.000 | 925.000 |
| Power intensive | 509.210 | 264.158 | 530.000 | 542.300 |
| Mini Steel | 132.017 | 70.624 | 136.183 | 140.000 |
| Rly Traction* | 30.880 | 1.517 | 1.517 | 0.000 |
| Others | 209.008 | 130.956 | 222.300 | 242.700 |
| Total | 1777.860 | 965.687 | 1800.000 | 1850.000 |

*Consumption under Railway for ensuing year has not been considered under HT as the connectivity has been shifted to EHT level during current year.

The above consumption are in KWH, as kVAh billing has already started from 4th April-21, the category wise kWh vis-à-vis kVAh billing has been provided by the licensee in OERC prescribed format T-1.

HT industries those who were regularly drawing power under open access in the past have reduced their drawl under open access due to higher price in IEX during the previous year and preferred licensee power, hence the HT drawal had increased during FY 19-20. During current year in the 1st six month reached a 965.687 MU in terms of KWH, at the same time kVAh consumption is 984.799 MU. Now situation has improved in some sector and the licensee expect some growth in industrial consumption. At the same time steel sector at 33 Kv level and below are still struggling and are migrating to Jharkhand, Chhattisgarh due to cheaper power. With a hope, the licensee has proposed various schemes for steel sector in its proposal to retain the industries, Hon’ble Commission’s decision in this regard may help to a larger extent, else there would be a sudden decrease in consumption of the licensee under HT level in near future. So, considering the normal trend projection for the ensuing year with minor additional load growth as well as possibility of some new industries the utility has estimated 1850 MU for FY 2022-23. The overall growth has been taken a 2.78%.

The drawl under HT category includes drawal of M/S Linde India ltd who is availing power supply through tripartite agreement between RSP, Linde & TPWODL from MSDS VI of RSP which is inside premises of RSP. This is the only industry contribute around 17% of the entire HT consumption out of 978 consumers.  The CD of the consumer is 43 MVA & the Licensee has projected 332 MU to be sold under POI category for the above consumer during ensuing year considering actual monthly drawl in the current year. In addition to same one more tripartite agreement has been executed between RSP, TPWODL and SE Railway for power supply for their railway sliding inside the premises of RSP. The draft tripartite agreement has already been approved by Hon’ble commission and railway has already executed the agreement . The consumer would be billed under EHT category at 132 kv level. So, monthly billing for the three consumers is being generated through bifurcation mechanism. M/S Linde & Railway are being billed on the basis of their consumption and thereafter M/s RSP’s billing is made subtracting the quantum of above two consumers from total consumption recorded at tarkera grid of OPTCL, which is being done through monthly meter data. No provision of open access has been made in favour of  M/S Linde & M/S Railway as terms of tripartite agreement. However, RSP is permitted to draw under open access.

EHT Category

The Utility has projected 1750 MU of sales in the ensuing year analyzing the consumption pattern of each EHT consumer. Presently, there are 39 EHT consumers including railway who is having 16 nos. of connections. Out of 39 Nos., 1 No. Megalift Connection is also availing power supply at 132 KV level but due to on availability of tariff category projection of sales under EHT has been made with balance 38 Nos. of consumers. The consumer availing power supply under Megalift is being billed under HT tariff as explained in earlier sections. During the previous year there were 32 nos of consumers  now due to addition of more no. of railway connection the no. has increased to 38. Out of the other 22 nos, 17 no of industries are having their own CGP. The drawal made in EHT category mainly towards consumption of Railway, MCL, Bhusan Steel & Power, RSP (partially) and Ultratech Cement only. Ordinance Factory Badamal has already set up it’s own solar plant of 10MW for which it’s drawal is very less. Others are drawing very less quantum as compared to their CD. Further, two industries are availing emergency supply where there is no applicability of demand charges also.

M/s Vedanta who is having CGP of (3X600MU) & IPP of (1X600 MU) have contract demand of 100 MVA with the Licensee. During Apr-21 to Sep-21 the industry has consumed 90 MU with load factor of 21% . The same has been consumed from the licensee due to some coal issue and certain problem with other CGP from where it avails power under open access without paying CSS. In view of the same while projecting ensuing year’s consumption only 117 MU has been estimated for M/s Vedanta SEZ unit. Now, Hon’ble Commission has allowed the IPP (600MW) of M/S Vedanta to operate in dual mode i.e. IPP & CGP while disposing the matter vide case no. 34 of 2018 on order dated 05th Oct-2021 which will also put impact on consumption pattern of the consumer from DISCOM source. Similarly, the smelter 1 who’s load is 66 MVA has drawn only 0.811 MU during current year with load factor of less than 1%. The licensee has projected only 2 MU during ensuing year for this consumer considering it’s past trend.

Further, the following EHT consumers are drawing power under short term open access for which the utility has taken conservative approach while projecting sale under EHT category.

Industry				CD in KVA		Quantum of Open access

During  1st six month

M/S	RSP				170000		56 MU  from others &

119 Mus from RE Power

M/S Ultratech Cement		15000			6.642 MU – Non RE

1.930 MU – RE Power

M/S Shyam Metalicks & Power	8000			8.57 MU- Non RE

M/S Vedanta (SEZ)			100000		 289.262 MU – Non RE

2072.571 MU – RE & group CGP

M/S Shree Ganesh Metalics		3000			4.377 MU – Non RE

0.092 MU- RE Power

M/S SMC				2500			25.313 MU – Non RE

0.899 MU – RE Power

M/S Hindalco Ltd (Smelter)		40000			0.132 MU from CGP

M/S G M Ordnance Factory		4500			3.988 MU from CGP

M/S Shri Mahavir Ferro Alloys	2600			8.875 MU – Non RE

2.866 MU – RE Power

N.B. Drawal of power from own or group CGP, levy of CSS is exempted. So utility is otherwise not benefited.

The summary of the category-wise sales in MUs has been shown in table below.

| Sales (MU) | FY 2020-21 | 1st Six Mth Of FY 21-22* | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- |
| LT | 2635.963 | 1583.225 | 3260.000 | 3510.000 |
| HT | 1777.860 | 965.687 | 1800.000 | 1850.000 |
| EHT | 1299.680 | 1011.626 | 1700.000 | 1750.000 |
| Total | 5713.503 | 3560.539 | 6760.000 | 7110.000 |

Hon’ble Commission has approved 1546MU under EHT category, Considering improved consumption pattern during last quarter of previous year . The trend continuing in 1st half of the current year & licensee witnessing some growth in the 2nd half of current year.  Considering the above current yr’s consumption has been re estimated as1700 MU, which is more than 154 MU over approved quantum.

In addition to above due to some additional traction load & enhancement of existing load sale under Railway traction has been estimated as 506.000 MU for the current year and 523.000 MU for ensuing year. Railway now has filed petition before Hon’ble ATE against challenging Hon’ble Commissions decision in case no.55 of 2016 regarding grant of deemed distribution license. The judgment for interim relief to railways at Hon’ble ATE is reserved. However, the licensee has projected estimated sales considering Railway as normal consumer of the licensee.

# Power Purchase Expenses

The power purchase expenses have been derived from the sales estimates and the distribution loss level. For the year FY 2022-23, energy input of 9000 MU has been estimated based on the estimated sale of 7110 MU and Distribution Loss of 21.00%.

Power purchase cost for the current year with BSP of 337 paise per unit along with transmission charges of 28 paise per unit and SLDC charges of Rs.12.00 Lakh p.m. During the ensuing year FY 2022-23 power purchase cost has been estimated at Rs.3286.44 Crores with BSP @ 337 paise p.u. and transmission charges @ 28 paise p.u. SLDC charges @ Rs 12.00 lakhs per month.

SMD Projection

Considering the past record and additional load towards inclusion of BPL and APL consumer under SAUBHAGYA, RGGVY and BGJY, the licensee proposes 1600MVA as SMD for FY 2022-23 considering the average SMD of 1261 MVA of 1st six month of current year. The maximum SMD occurred in September’ 21 as 1524.242 MVA. Hon’ble Commission’s approved SMD for FY 21-22 is 1540 MVA

The Utility submits that SMD (MVA) projections for a year are estimated based on load mix, consumption patterns and other economic policies, and restricting the SMD of the utility up-to a particular level without considering the proposal as above and imposing penalty thereof for drawl beyond the approved level, shall put the Utility with higher financial burden.

# Employees Expenses

HR plays a pivotal role in developing, reinforcing and enhancing the culture of an organisation. It is where company should focus energies on keeping employees happy and sufficiently challenged in their respective roles within the team. The influence of a company culture goes a long way in this practice. If the culture in the organization is poor, it inevitably leads to a high employee turnover rate, meaning company will have to face replacement costs regularly. By improving the retention strategy, we can reduce the risk, promote longevity and satisfaction amongst the team’s career paths.

Identification, sourcing, onboarding, training and development, rewards and recognition play an important role for continuity of any business. In order to ensure employees, remain focused, company needs to keep encouraging them to develop their knowledge, skills, abilities and increase their chances of career advancement.

Today’s ever-changing technologies call for upskilling on a regular basis, and training and development programs provide that opportunity. These efforts encourage innovation and a willingness to take risks to improve processes — with less need for supervision. Comprehensive training and personal development help strengthen organisation skill set. Investing in employees strengthens organisation and gives business a competitive edge.

Performance management, reward and recognition are vibrant part of HR. An effective performance management system enables managers to offer support to employees who need it and identify future talents. They enhance employee performance, boost employee productivity, reduce employee turnover, and improve company culture. It’s widely recognised that employee development contributed towards better employee engagement, increased productivity, reduced employee turnover and a more positive culture.

We need to strengthen employee life cycle and gear it to encompass every stage of an employee’s experience in the company. Essentially, designing an employee life cycle strategy which is rooted in the idea that the employee experience is just as valuable as their customer’s experience. Moreover, a better reputation increases the chances of more committed and driven workforce.

Considering inception stage of TPWODL and numerous challenges surrounded, it is important to keep employees motivated, support the organisation with right skill set. For achieving its goals set by the company, it is vital to strengthen employee morale & satisfaction level with right reward and recognition programs, robust performance management to evaluate the efforts & avoid any biasness in system. Employees are the real assets to company which can bring miracles happen and make the journey successful.

TPWODL has taken over the distribution business from erstwhile Wesco utility wef 1st Jan-21. It is a fact that when distribution companies were carved out from GRIDCO as per 2nd Transfer Scheme in 1998 and thereby all the personnel deployed in Distribution business were transferred from erstwhile GRIDCO.  Initially, the nos. of personnel on roll were around 5500 nos which were inadequate and unevenly distributed to meet the functional requirement. Subsequently, by way of separation due to retirement, resignation death etc, there has been drastically reduction of manpower. In view of the large scale energisation of new areas either though rural electrification or due to addition of new consumers, the Utility restructured and reorganized by creation of new Divisions, sub-division and Sections with reinforcement of allied activities such as MRT, Energy Audit , maintenance of distribution transformers and vigilance  activities.  Main objective was to improve the 100 % of consumer coverage, reduction in Distribution losses and to meet the Revenue collection target.

As per terms of the vesting order TPWODL is also mandated to deploy 4209 nos of manpower in different segment for fulfilment of other terms along with AT&C loss reduction. The employee strength at the time of taken over was as under

As on 1999-00		As on 31st Dec-20

Consumer Strength (nos)		2.50 Lakh				20.00 Lakh

Employee on pay roll(nos)		5500					2360

The consumer has increased by almost 90 times during the span of 20years and at the same time the employee strength has reduced by more than 50%.

Almost after 20 years with reduced employee strength commensurate with increase of consumer strength and network assets, position of employee per consumer is alarming to provide quality uninterrupted power supply to all the consumers. Since 2011, there has been no recruitment for the utility in spite of large nos of manpower have been separated from the system due to retirement/ death/ separation.

- Activities of the Discoms are increasing day by day due to implementation of new schemes by the Govt.

- The statistics shows there is continuous reduction of manpower in Utilities where as the assets like consumers, network, DTR, Power Transformer, Sq KM of lines etc are manifold day by day in comparison to 1999 as bench mark.

- No of employee per thousand consumers are in decreasing trend.

- In 1999, the average employee per thousand consumer was around 20 where as in 2020 it is 1.4 of the utility which shows the shortfall of manpower

- Further taking into account even the outsource manpower; the average employee per thousand consumer of the utility would be around 2.8 only.

- With the depleted manpower the utility is facing tremendous pressure in meeting the demand of the consumers.

When TPWODL taken over till that time ARR for FY 21-22 was already filed by erstwhile Wesco utility. So, Hon’ble Commission has given an opportunity to the new operating company to file a separate Annual Business plan for FY 21-22 within 45 days from the effective date. Accordingly, TPWODL has filed the application with Hon’ble Commission and the same was registered as case no.37 of 21. Hon’ble Commission has approved the ABP vide ordered dt.27th October 21. While approving the ABP hon’ble Commission has observed the following

Para 83 The Commission has gone into the details of the Employees cost submitted by the TPWODL in its annual Business Plan petition. We find that they have submitted a comprehensive plan by reorganizing the present organization structure keeping focus on the areas of improvement in the DISCOM.

Para 84. TPWODL has inherited on its rolls 2362 number of regular employees out of which 479 are executives as on 31.12.2020. TPWODL has in the meantime recruited 56 executive employees without approval of the Commission. TPWODL has proposed further addition of 1291 employees all in the executive cadre. TPWODL has further envisaged vacancies in non-executive cadre of 500 which are all to be recruited for O & M functions. Thus a total of 1791 employees are to be recruited - 850 in FY 2022, 550 in FY 2023 and 391 in FY 2024. The total requirement of manpower has been projected at 4209 out of which the total available manpower is 2418 and the balance numbers of 1791 are the vacancies.

Para 85. TPWODL has envisaged salaries and allowances of the existing 2418 employees at Rs.295.23 cr., deposit in PF and Pension Trust Rs.132.31 cr., arrears of 7th Pay Commission Rs.38.31 cr., new employees and deputation cost Rs.82.19 cr., insurance cost Rs.14.70 cr. and outsourcing for MBC and consumer services cost Rs.52.81 cr. In the meantime, the Commission has approved employee cost of Rs.409.49 cr. in the RST order for FY 2021-22. The Commission in the said order have approved Rs.24.00 cr. towards recruitment of additional employees for FY 2021-22.

Para 86. The OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 provide the mechanism for allowing the employee cost. Regulations 7.21 and 7.22 are relevant in this context which are reproduced below: “7.21 Wages and salaries during the control period shall be determined based on the base year values of Basic pay and Grade Pay escalated for annual salary increments and inflation based on Govt. of Odisha notification issued from time to time. 7.22 Basic Pay and grade pay are to be taken from last available annual audited accounts of the Licensee. However, if as per the Commission’s assessment the figures shown in the audited accounts cannot be relied upon, the Commission may take into account the actual payment outgo during the last six months of the year, as submitted by the licensee, to arrive upon the basic pay and grade pay for the ensuing year. Dearness Allowance, HRA and other allowances would be calculated as per rates notified by the Government of Odisha from time to time.”

Para 87. In view of the above Regulations, the wages and salaries shall be determined on the basis of Basic pay and Grade pay in the structured pay scale. Other allowances are also linked to the pay scales which are allowed as per the Government of Odisha rates. In the present context however, the wages and salaries proposed for the new induction will not be based on such pay scales but as per the industry norms to be decided by the TPWODL.

Para 88. In view of such a scenario wherein the salary, wages and allowances for the new induction is to be decided by the operating company the Commission allows such induction in order to provide operational flexibility to TPWODL to design the organizational structure in order to ensure efficiency in operation and staff deployment. The Commission in its vesting order at para 49(c) have provided such operational flexibility to the operating company.

Para 89. The Commission however, observes that the induction of 1291 new employees in executive cadre in one year will have a huge impact on the employees cost and consequently on tariff. The Commission is also aware that in the DISCOMs no new significant recruitments have been made during last 10 years and DISCOMs have appreciable shortage of required manpower. The ratio of the employees vrs consumers has also widened over the years and bringing in new employees will bridge this gap for efficient functioning of the DISCOMs. The Commission is not averse to allowing employee cost which is just and as per the present norms of the relevant industry. At the same time, the Commission is not inclined to fill all the required personnel/ vacancies in one year. Such large scale recruitment in a short period is bound to choke the career growth over the years besides causing tariff shock. Instead, it should be spread over a longer period.

Para 90. The Commission now allows 8% of the total proposed manpower to be recruited in the current year. This will include post facto approval for recruitment of 56 employees already made. Thus only 280 (.08X4209-56) more employees can be recruited now. Commission stipulates that the new recruitments be made as per the operational requirements. The proposed expense on HR operation may also be accordingly adjusted.

Para 91. The approval of the new recruitment as above will be assessed by the Commission during the true-up exercise and periodical reviews. The expenses under this head will be allowed only after prudence check.

While approving the ABP, Hon’ble Commission has recognized the total strength of 4209 Employees based on existing strength and calculated 8% on such number. Even though the basis of 8% is incorrect, at the same time, has ignored the retirement portion completely which would also be required to be replenished to ensure total strength requirement of, which is clearly an error.

It is clear that considering the annual number of superannuation, the same cannot be absorbed within the additional recruitment of 1719 (with 850 in Current Year).

Therefore, the licensee is again submitting before Hon’ble Commission to reconsider the proposed recruitment plan of 850 nos (700 executives and 150 nos non-executives) for the current year FY 21-22. As Hon’ble Commission has observed that based on prudence check additional cost incurred by the licensee towards recruitment in the current year shall be trued up, the licensee submits herewith that Hon’ble Commission may please consider the actual recruitment while truing up.

The details of number of employees to be retired during the current year and the ensuing year are submitted in the following table.

| Erstwhile WESCO Utility. | Executive |  | Non-Executive |  | Total |
| --- | --- | --- | --- | --- | --- |
|  | Technical | Non-Technical | Technical | Non-Technical |  |
| As on 01-04-20 | 402 | 83 | 1645 | 380 | 2510 |
| Recruitment during 20-21 | 0 | 0 | 0 | 0 | 0 |
| Retirement during 20-21 | 8 | 1 | 180 | 25 | 214 |
| As on 01-04-21 | 394 | 82 | 1465 | 355 | 2296 |
| Retirement during 21-22 | 8 | 1 | 163 | 17 | 189 |
| Retirement during 22-23 | 4 | 1 | 94 | 11 | 110 |
| As on 01-04-23 | 382 | 80 | 1208 | 327 | 1997 |

Therefore, considering the vacancy position the licensee has proposed the following recruitment proposal during the current year & ensuing year which may kindly considered and approved.

| CTC Employee. | Executive |  | Non-Executive |  | Total |
| --- | --- | --- | --- | --- | --- |
|  | Technical | Non-Technical | Technical | Non-Technical |  |
| Recruitment plan for FY 2021-22 | 785 | 65 | 0 | 0 | 850 |
| Recruitment plan for FY 2022-23 | 640 | 60 | 0 | 0 | 700 |

No of employees retiring during FY 2021-22 and FY 2022-23 and saving on account of same are as follows:

| FY | Category | Nos. of employees retiring | Saving on account of retirement (Rs lakh) |
| --- | --- | --- | --- |
| 2021-22 | Executive & Non Executive | 189 | 234.90 |
| 2022 -23 | Executive & Non Executive | 110 | 136.50 |

Expenses towards Terminal Benefit

As regards to terminal benefits the previous proposal was made considering actuarial valuation. However, Hon’ble Commission has already taken a stand and approving on the basis of cash outgo. Similar, direction has been given in the vesting order also. Therefore, in line with Hon’ble Commissions order & direction in the vesting order TPWODL has projected the terminal liabilities towards pension, gratuity, leave encashment etc on the basis of actual cash outgo and the projections provided for 2021-22 and 2022-23. The details are given in OERC Form: F-12. Therefore, the employee Terminal Benefit outgo requirement for the year 2021-22 & 2022-23 amounting to Rs. 171.01 Crore and Rs.156.32 Crores respectively may kindly be approved.

Further, as per normal practice & approval of Hon’ble Commission contractual obligation towards maintenance of existing Grid Substations and S/S under ODSSP, watch and ward, outsourced/ contractual obligation etc an amount of Rs.55.54 crs has been estimated for the ensuing year which may kindly be approved, as like of approval made for FY 2020-21 and FY 21-22.

The licensee proposed the Employee cost aggregating to Rs .629.06 Crs net of after capitalization for the FY 2022-23. The above cost has been projected considering balance 50% arrear of 7th Pay commission towards existing employees Rs.43.65 crs.

In view of the above it is humbly submitted before Hon’ble Commission to approve the proposed employee cost of Rs.629.06 crs net of capitalization for the ensuing year

# Administrative and General Expenses

ARR for FY 21-22 was already filed by erstwhile Wesco utility on 30th Nov-20 i.e, before taken over by TPWODL. So, Hon’ble Commission has given an opportunity to the new operating company to file a separate Annual Business plan for FY 21-22 within 45 days from the effective date. Accordingly, TPWODL has filed the application with Hon’ble Commission and the same was registered as case no.37 of 21. Hon’ble Commission has approved the ABP vide ordered dt.27th October 21. While approving the ABP hon’ble Commission has observed the following:

Para 99.The petitioner has proposed the total expenses of Rs. 129.51 crore for FY 2021-22 in this petition. TPWODL have reasoned that the increase in A&G cost is due to increase in number of employees resulting in higher A&G expenses, insurance, company related expenses relating to various statutory audit and compliances, housekeeping expenses, security etc. The major expenses as proposed by TPWODL is towards insurance (Rs.8.00 cr.), consultancy charges Rs.5.50 cr., hire vehicle charges Rs.8.00 cr., expenditure for customer care Rs.8.00 cr., spot billing, meter reading (including bill distribution, collection and recovery) Rs.45.22 cr., housekeeping Rs.5.00 cr. and security Rs.2.5 cr.

Para 100. TPWODL has mentioned that they do not have the insurance coverage of the assets and inventory to prevent it from burglary, commercial general liability, cash collection location cover etc. The company envisages migrating from the basic tally accounting system to the SAP ERP system, housekeeping and maintenance of offices to external parties and security of personal and location.

Para 101. The Commission approves the A&G expenses in the ARR under the provisions of the OERC (Terms and Conditions) for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014. The relevant extract of such Regulation is reproduced as below:-

“7.27 The A&G Expenses for each subsequent year will be determined by escalating the A&G Expenses for the previous year, at the escalation factor of 7 % to arrive at permissible A&G expenses for each year of the Control Period

7.28 The Commission may, in addition to the normal A&G expenses may allow additional expenses, actually incurred during the previous year, under this head for special measures to be undertaken by the distribution licensees towards reduction of AT&C losses and improving collection efficiency. Provided the commission will undertake a prudence check before allowing such expenditure. “

Para 102. The Commission in the last ARR for FY 2021-22 has approved total A&G of Rs.63.66 crore. The Commission observes that the expenditure in the A&G is a controllable expense and as per the OERC Tariff Determination Regulation additional expenses are allowed in this head for specific measures towards reduction of AT&C losses and improving collection efficiency. We find that the proposals mainly relate to improving metering management and services and customer services which are vital elements in reducing AT&C losses. The TPWODL is a new operating company and we believe that they have planned out their activities diligently for improving the overall distribution business. At this stage we agree to allow the additional A&G expenses of Rs.39.51 crore for FY 2021- 22 which is about sixty percent of the proposed additional expenses. However, the petitioner is directed to produce the required justifications of such additional expenses under the head A&G expenses incurred in the truing up petition for FY 2021-22. The expenses under this head will accordingly be allowed after prudence check.

Therefore, while estimating the current year FY 21-22 A&G, the licensee has considered the approved figure of Rs.103.17 crs (Rs.63.66 crs approved in ARR + Rs.39.51 crs approved in ABP order).

After, taken over of business TPWODL has engaged agency circle wise through transparent bidding process for meter reading, billing and collection activity which is the major expenditure under A&G head. Apart from above certain revenue improvement A&G expenses like engagement of arrear collection agents and their commission, expenses of Customer Care, vigilance/enforcement activity etc has also been taken up and related cost thereof included under A&G head. O&M Expenses towards improvement of reliability, advanced operational technology like SCADA, GIS, IT automation etc. safety related expenses are also forming part of A&G.

Hon’ble Commission’s in their earlier orders, is considering only 7% increase over the allowable A&G expenses of the previous year.  The 7% increase is taken on account of inflation on the normal A&G expenses. But, with the current scenario, cost of inflation is very high, hence Hon’ble Commission may kindly approve the A&G expenses for FY 22-23 considering past trend, inflation scenario and additional requirement of the license in prudence manner.

The A&G expenses for FY 2022-23 are projected at Rs 151.76 Crore which includes additional expenses of Rs.13.35 crs.

Under A&G expenses, following additional expenses has been considered while projecting the total A&G expenses for FY 2022-23. The reason and approximate cost under each head is provided in the following paragraphs:

# Energy Audit

Presently the following Energy audit activities on monthly basis is being carried out in TPWODL:

- BST consumption comparison w.r.t GRIDCO bill.

- BST Consumption vs. 33KV Feeder consumption comparison.

- EHT Consumer consumption comparison w.r.t BST consumption.

- 33KV Feeder loss calculation.

- Dedicated Industrial audit

- Group audit/one to one audit of high valued industrial consumers

- Apartment audit of residential/commercial apartments

The following activities are under progress/plan of action:

- Proper auditing of all 11KV Feeders after completion of feeder wise consumer tagging as well as replacement of defective breaker CT/PT & Meters and installation of PSS incomer meters.

- Auditing of all DTR’s

The status of Energy Audit in TPWODL as on September’2021 is as follows: -

| Voltage Level | Numbers | OK Metering | Audit Activity |
| --- | --- | --- | --- |
| BST Points (GRID end) | 170 | 170 | 170 |
| EHT Consumers | 39 | 39 | 39 |
| 33KV Feeder (GRID end) | 167 | 167 | 114 |
| 11KV Feeder | 1148 | 866 | 202 |
| DTRs | 68800 | 6003 | To be started |

| BST Points Consumption Comparison w.r.t GRIDCO Bill |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SL NO | Circle Name | No Of BST Metering Points | No of BST consumption checked and found ok | Abnormality found | Remarks |
| 1 | Rourkela Circle | 40 | 40 | 0 |  |
| 2 | Sambalpur Circle | 59 | 59 | 0 |  |
| 3 | Bargarh Circle | 15 | 15 | 0 |  |
| 4 | Bolangir Circle | 30 | 30 | 0 |  |
| 5 | Bhawanipatna Circle | 26 | 26 | 0 |  |
|  | TPWODL | 170 | 170 | 0 |  |

Consumption of EHT consumes vis-à-vis BST bill:

| Name of Circle | No of EHT Consumers | Loss level |  |
| --- | --- | --- | --- |
|  |  | < 0.5 % | > 1 % |
| Rourkela | 10 | 10 |  |
| Sambalpur | 17 | 17 |  |
| Bargarh | 2 | 2 |  |
| Bolangir | 6 | 6 |  |
| Kalahandi | 4 | 4 |  |
| TPWODL | 39 | 39 |  |

33KV ENERGY AUDIT

Abstract of 33KV Feeder Loss of TPWODL for September’2021 is depicted below for reference.

| Abstract of Feeder Loss of 33 KV Feeders emanating directly from GRIDs |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Circle Name | Total No of 33 KV Feeders | No of 33KV Feeders Audited | AUDIT DETAILS |  |  |  |  |
|  |  |  |  | Loss Level (<1% ) | Loss Level (1% to 3%) | Loss Level (3% to 4%) | Loss Level (> 4 %) | Remarks |
| 1 | Rourkela | 48 | 48 | 31 | 8 | 0 | 9 |  |
| 2 | Sambalpur | 46 | 36 | 18 | 11 | 4 | 3 |  |
| 3 | Bargarh | 18 | 0 | 0 | 0 | 0 | 0 |  |
| 4 | Bolangir | 35 | 30 | 7 | 10 | 5 | 8 |  |
| 5 | Bhawanipatna | 20 | 0 | 0 | 0 | 0 | 0 |  |
| TPWODL |  | 167 | 114 | 56 | 29 | 9 | 20 |  |

N.B: 1. Loss level indicated with >4 % is due to some problem in 11 KV feeder meter and the Utility is in the process of rectification of the same.

2. Bargarh Circle is taken as Model Circle and correction of Metering arrangement both 33KV & 11KV level is under progress.

3. Similarly in Kalahandi Circle feeder segregation is going on.

However, all 33KV Industrial feeders of potential belts like Rourkela Circle & Jharsuguda area are under Energy Audit. Apart from above, group audit meters have also been installed against group of industries and the energy loss is monitored to check pilferage if any.

Also, in industrial areas like Rourkela Sadar, Rajgangpur & Kalunga, where high valued large industries were present, audit metering units are being installed for one to one & group auditing purpose and monthly as well as daily audit being carried out in order to find out the loss so that there will be no scope for theft of energy. The readings of industries & audit Meter were taken through AMR module.

The 33KV industry audit report for September’21 of Rourkela Circle is attached herewith for reference.

| Energy Accounting on 33KV Consumers | 33KV Consumers Covered | Remarks |
| --- | --- | --- |
| %Age Loss < 1% | 71 | Ok |
| %Age Loss 1-2% | 8 | Ok |
| %Age Loss 2-3% | 14 | Ok |
| %age Loss 3-4% | 4 | The loss is completely line loss and it is due to Long Feeder (more than 40 Km) and undersized Conductor. |
| %age Loss >4% | 1 | Unit difference is very low |
| Grand Total | 98 |  |

Action Plan and Fund requirement:

1. We have targeted for auditing of minimum 78 nos of additional high valued industrial consumers by the end of Dec’2022.

2. We have targeted for installation of 270 nos of PSS incomer Meters by installing metering units at boundary points of 33/11 KV substations by the end of Dec’2022.

| BUDGET REQUIRED FOR 11 KV & 33KV HIGH VALUED INDUSTRY AUDIT WITH AMR |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl No. | Name of Item | Ratio/Capacity of Item | Quantity | Rate/Piece (Rs) | Total Cost (Rs) | Remarks |
| 1 | 33KV Metering Unit with box, GI Pipe & control cable | 50/5 Amp to 800/5 Amp | 78 | 190000 | 14820000 |  |
| 2 | HTTV Meter | -/5 Amp & -/1 Amp | 78 | 5000 | 390000 |  |
| 3 | AMR Modem | 4G/2G | 78 | 4500 | 351000 |  |
|  | Total In Rs. |  |  |  | 15561000 | 1.5561 Cr |

| BUDGET REQUIRED FOR 33/11KV PSS INCOMER METERING |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl No. | Name of Item | Ratio/Capacity of Item | Quantity | Rate/Piece (Rs) | Total Cost(Rs) | Remarks |
| 1 | 33KV Metering Unit with box,GI Pipe & control cable | 200/5 Amp | 30 | 130000 | 3900000 |  |
| 2 | 33KV Metering Unit with box,GI Pipe & control cable | 300/5 Amp | 40 | 130000 | 5200000 |  |
| 3 | 33KV Metering Unit with box,GI Pipe & control cable | 400/5 Amp | 130 | 130000 | 16900000 |  |
| 4 | HTTV Meter | -/5 Amp & -/1 Amp | 230 | 5000 | 1150000 |  |
| 5 | AMR Modem | 4G/2G | 320 | 4500 | 1440000 |  |
|  | TOTAL in Rs. |  |  |  | 28590000 | 2.859 Cr |

HT-LT COMPARISION ANALYSIS REPORT

Similarly we have installed 1133 no of LT check Meters in Large & Medium category of consumers both in 33KV & 11KV level  in addition to HT Meters for energy auditing purpose and every month by taking the dump/reading of both HT & LT Check Meters we are calculating the difference in Consumption between both the Meters. If the loss level is high then necessary testing of Meters or CT/PT will be carried out by the respective MRT unit to rectify the same.

The abstract of HT-LT Comparison sheet for September’2021 is enclosed herewith for reference.

| SL NO | Circle Name | No of Consumers Covered | HT-LT Audit data for above 110 KVA Consumers |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Loss Level (< 1%) | Loss Level (1%to3%) | Loss Level (≥ 3 %) | Remarks |
| 1 | Rourkela | 214 | 23 | 98 | 93 |  |
| 2 | Sambalpur | 219 | 16 | 88 | 115 |  |
| 3 | Bargarh | 15 | 6 | 9 |  |  |
| 4 | Bolangir | 140 | 23 | 46 | 71 |  |
| 5 | Kalahandi | 10 | 2 | 3 | 5 |  |
|  | TPWODL | 588 | 68 | 241 | 279 |  |

| Sl. No. | Circle Name | No of Consumers Covered | HT-LT Audit data below 110 KVA Consumers |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Loss Level (< 1%) | Loss Level (1%to3%) | Loss Level (≥ 3 %) | Remarks |
| 1 | Rourkela | 369 | 8 | 82 | 279 |  |
| 2 | Sambalpur | 84 | 11 | 15 | 58 |  |
| 3 | Bargarh | 0 |  |  |  |  |
| 4 | Bolangir | 82 | 3 | 10 | 69 |  |
| 5 | Kalahandi | 0 |  |  |  |  |
|  | TPWODL | 535 | 22 | 107 | 406 |  |

Action Plan:

We have planned to install 270 numbers of more LT check Meters w.r.t high consumption                       HT Meters by the end of December’2022.

| BUDGET REQUIRED FOR INSTALLATION OF ADDITIONAL LT CHECK METERS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl No. | Name of Item | Ratio/Capacity of Item | Quantity | Rate/Piece (Rs) | Total Cost (Rs) | Remarks |
| 1 | LTCT Meter with box,CT & Control cable |  | 270 | 20000 | 5400000 |  |
| 2 | AMR Modem | 4G/2G | 270 | 4500 | 1215000 |  |
|  | Total In Rs. |  |  |  | 6615000 | = 0.6615 Cr |

APARTMENT AUDIT ANALYSIS

In additions to above around 81 nos. of Commercial apartments are also under Energy Audit coverage in different areas of the utility including Sambalpur, Jharsuguda, Rourkela and Bolangir areas.

The Apartment audit report for September’21 is enclosed herewith.

| Name of Circle | Apartments under Audit | No of Consumers | Loss Level |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | 0 to 1% | 1% to 3% | > 3% |
| Rourkela | 23 | 559 | 15 | 8 |  |
| Sambalpur | 17 | 1446 | 10 | 6 | 1 |
| Jharsuguda | 31 | 1082 | 20 | 9 | 2 |
| Bolangir | 4 | 230 | 4 |  |  |
| Kalahandi | 0 |  |  |  |  |
| Bargarh | 6 | 183 | 1 | 2 | 3 |
| Total | 81 | 3500 | 50 | 25 | 6 |

11KV FEEDER AUDIT

Proper Metering of all 11KV Feeders is a big challenge for all Discoms because repeated failure of breaker CT/PT is the main cause due to which proper 11KV auditing cannot be carried out. As regards to 11KV feeder auditing, only 402 nos. of feeders are being audited on September’2021 out of 1148 nos of feeders due to lack of proper metering and CT,PT & breaker problem and proper consumer tagging. The list is given below:

| B. BUDGET REQUIRED FOR 100% 11KV FEEDER METERING WITH AMR |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl No. | Name of Item | Ratio/Capacity of Item | Quantity | Rate/Piece (Rs) | Total Cost (In Cr) |
| 1 | 11KV Oil Cooled PT(Single PT) | 11KV/110 V | 350 | 20000 | 0.70 |
| 2 | 11KV Oil Cooled CT | 50/5 Amp to 600/5 Amp | 100 | 18000 | 0.18 |
| 3 | 11 KV Oil Cooled PT(Combine PT) | 33KV/110 V | 50 | 35000 | 0.175 |
| 4 | HTTV Meter | -/5 Amp | 150 | 5000 | 0.075 |
| 5 | AMR Modem | 4G/2G | 1200 | 4500 | 0.54 |
|  | Total In Rs. |  |  |  | 1.67 |

DTR Energy Audit Status

Due to fund constraint out of 68800 no of DTR’s only 6003 no of DTR’s metered as on date and we have targeted for completion of DTR Metering by the end of Mar’2023.

Already 6003 nos of Meters were installed in different DTRs under respective divisions.

The division wise DTR Metering status is given below:

| DIVISION | No. of DTRs Metered |
| --- | --- |
| ROURKELA | 138 |
| ROURKELA SADAR | 174 |
| RAJGANGPUR | 688 |
| SUNDERGARH | 236 |
| ROURKELA TOTAL | 1236 |
| SAMBALPUR | 415 |
| SAMBALPUR EAST | 276 |
| JHARSUGUDA | 279 |
| BRAJRAJNAGAR | 130 |
| DEOGARH | 775 |
| SAMBALPUR TOTAL | 1875 |
| BARAGRH EAST | 154 |
| BARGARH WEST | 148 |
| BARAGRH TOTAL | 302 |
| BOLANGIR | 173 |
| SONEPUR | 145 |
| TITLAGARH | 180 |
| BOLANGIR TOTAL | 498 |
| KALAHANDI EAST | 1245 |
| KALAHANDI WEST | 723 |
| NUAPADA | 124 |
| KALAHANDI TOTAL | 2092 |
| WESCO TOTAL | 6003 |

Action Plan: TPWODL is planning to install smart meters and the budget requirement is given by concerned department.

AMR PROGRESS REPORT

In order to take Real Time Meter reading of 3-Phase HT/EHT & LT Consumers, AMR Modems had been installed in TPWODL from 2008 onwards and we have completed the Modem installation in case HT Consumers and as per the direction of OERC we are in the process of completion of Modem installation of consumers above 10 KW.In HT Consumers 96% Modems installed and in case 10 to 100 KW consumers 57 % Modems installed (excluding OLIC Consumers). Some HT & EHT consumer Meters are present inside OPTCL Grid where Modems are not installed and in some cases due to compatibility issue modem could not installed.

| Type of Metering | Consumer Count | Modem Installed |
| --- | --- | --- |
| EHT & HT (Above 110 KVA) | 1067 | 1020 |
| 3-Phase (Below 110 KVA) except LI & OLIC | 34714 | 19835 |
| Total | 35781 | 20855 |

PAT SCHEME

Perform Achieve Trade (PAT) is an innovative, market-based trading scheme was announced by the Indian Government in 2008 under its National Mission on Enhanced Energy Efficiency (NMEEE) in National Action Plan on Climate Change (NAPCC). It aims to improve energy efficiency in industries by trading in energy efficiency certificates in energy-intensive sectors. The 2010 amendment to the Energy Conservation Act (ECA) provides a legal mandate to PAT.

Participation in the scheme is mandatory for Designated Consumers (DCS) under the ECA. It is being administered by the BEE that sets mandatory, specific targets for energy consumption for larger, energy-intensive facilities.

PAT Cycle-II activity in TPWODL:

Under PAT cycle-II, BEE was given the target for Wesco utility now TPWODL to reduce the T&D loss to 23.8% within the FY 2018-19 and non-achievement attracts penalty as per Energy Conservation Act . The T&D loss target under PAT Cycle-II for FY 2018-19 was successfully achieved and after due verification by MEA through M&V audit concluded that total 1876.32 TOE (Tone of Oil equivalent) unit of energy being saved by reduction of T&D Loss to 21.14% (FY 2018-19) from 35.5% (FY 2014-15-baseline year). Accordingly, 16136 no of Energy Saving Certificates has been provided by BEE to Wesco utility now TPWODL.

After completion of PAT-II, now second phase PAT audit i.e PAT-VI has been mandated for which base year is FY 2019-20. Required data has already submitted to BEE as per required format and we are in the process of conducting the baseline audit.

Now, on 06th October’2021, BEE has notified that from 2021 onwards, every DC has to conduct “Annual Energy Audit” through a third-party BEE certified Auditor. Based on the same TPWODL has sought willingness from different consultants and “Power Tech consultancy”, Bhubaneswar has been selected to conduct the Annual Energy Audit for the financial year 2021-22 under TPWODL.

# Vigilance & Enforcement Activity

With an objective of reduction of AT&C losses, a number of measures at the Division and S/Division level has been initiated. Some of these efforts are proving to be fruitful; however, more needs to be done in meeting the targets as set by the Regulator. It is observed that, a constant vigil is needed so that the TPWODL customers & public at large do not use illegal means in getting access to the TPWODL services.

At present 29 squads has been engaged through different agencies in all the 17 divisions. Each vigilance squads are assigned with minimum 25 no’s of premises to be checked and minimum booking of theft load of 150 KW per month per team.

Scope of Work

Enforcement Team shall carry out inspection of meters during meter replacement, suspected disconnected meters retained under TD category, Misuse, detection of power theft in live meters based on information (records such as bills computer data etc.) and intelligence gathering through covert means of surveillance, source work and detection of direct theft. It also involves raids being conducted during night and early morning hours whenever planned by TPWODL.

- Identification of theft cases.

- Preparation of complete physical verification report after capturing all the evidence

- Seizure of material, preparation of seizure memo & handing over seized material to concern section in charge.

- Submission of PVR report to concern SDO on same day or next day morning.

- Team shall be responsible to maintain and share MIS of cases checked and booked in prescribed format provided by TPWODL on daily basis.

- Team shall do door to door checking of at least 25 premises in absence of any theft related information.

- Facilitate to Police in investigation like site identification, user and material evidence identification proceeding the material evidence at police stations.

- The involved team member needs to be present physically in order to proceed the witness for court compliances. Any expenses like (DA +TA for presenting witness) needs to borne by the vendor.

Team Detail:

1. Sambalpur - 8 teams

2. Rourkela - 5 Teams

3. Bolangir- 6 Teams

4. Kalahandi - 5 Teams

5. Bargarh -5 Teams

Each team consists of 1 Supervisor, 1 Technician, 1 Helper/Photographer and 1 Female Personal. The outsource team will be lead by TPWODL employee.

The following amount has been estimated under enforcement activity:

| Vendors deployed for Enforcement activities |  |  |
| --- | --- | --- |
| Name of the Vendor | FY21-22 | FY22-23 |
| M/S Amman Associate (Sambalpur & Bargarh) | 1.18 | 1.23 |
| M/S Purohit Enterprises (Kalahandi & Bolangir) | 1.34 | 1.39 |
| M/S Unix services (Rourkela) | 1.19 | 1.24 |
| Total Amount in Cr | 3.71 | 3.86 |

# IT Automation

In order to implement MBC application in the Utility the Licensee has proposed a yearly revenue expenditure of Rs 1.04   Crore under A&G category for the ensuing year which may kindly be approved. The major area of IT automation initiated/completed are as follows

Enabling Office 365 Email & Microsoft Team service

- Enabling Office 365 Email solution for facilitating intra & inter office electronic communication. By implementing this solution overall time has reduced, resulted faster communication and better coordination. This helped in reducing Consumer Complaints by serving the customer better & make them more delighted and also bringing in core business operation effectiveness.

- Microsoft Teams Utility helped in improving employee interaction & virtual meetings (Video & Voice) during CVOID pandemic situation.

Sambalpur Circle Office IT Infrastructure Setup

IT infrastructure has been setup at Sambalpur Circle Office equipped with LAN, Wi-Fi & other modern-day IT infrastructure. This helped employees to perform day-to-day operations faster using Frontend devices viz. Laptop, Desktop, Printer, Wifi, etc.

IT Helpdesk Facilitation for TPWODL Employees

IT Helpdesk (IT Sarthi) has been setup for TPWODL employees for raising their IT related requests, concerns. Multiple modes of access (Phone/Email/Call Logging Portal) has been provisioned for reaching out to IT Helpdesk Team for immediate resolution.

Call Centre Setup for Consumer Support

Addressing customer complaints and request quickly was prime requirement for TPWODL. After taking over from WESCO, there was a need to setup Call Centre facility immediately. TPWODL has commissioned one Call Centre on war footing basis at Sambalpur location to cater Consumer needs and provide them facility to connect with TPWODL officials for support and now an average of 300 numbers of calls are handled per day which has enhanced Customer Satisfaction.

Setup of Customer Care Centre

To enhance the customer experience and setup consumer grievance redressal system, TPWODL revamped 9 Customer Care Centers equipped with required IT infrastructure. This enabled physical visit of Customers & register their complaints, bill payments, request for new connection, getting adequate support to their queries.

Desktop & Laptop Procurement for Employees

For smooth handling of core business operations & digitalization of processes Laptops & Desktops were purchased and distributed to TPWODL officials for enabling mobility.

Digitization of Work Environment

HP Heavy duty Multi Functions printers are installed in different offices to support day to day business operations &  digitization of document for keeping official records & submitting the documents to different officials for business purpose.

Launched TPWODL Website

Implemented TPWODL website ( https://www.tpwesternodisha.com) to serve internal & external customers and centrally manage tender floating, Bill collection, New Connection, Consumers Complaints / Feedback, customer portal etc. Also, to published New/Events, Tariff & Regulatory changes, promotions, outage information, ongoing & completed projects, etc. for consumers benefits.

Enterprise Application Environment Setup

25 Servers are procured for deploying business application for automating manual jobs and implementing centralized logging / reporting like attendance. Implementation of few new application to be used business purpose different officials. For managing the end point devices which are used geographically in different locations in unmanaged way.  For implementing the security application to increase the security compliance as per the standard. Keeping backup or HA of business applications.

To improve process efficiency and support core business functions, IT Infrastructure, Software, Database Licenses & communication were required to deploy various IT applications e.g.

- SAP ERP Implementation

- MBC & CIS Implementation

- TPWODL Website

- Surksha Portal

- New Connection Application

- Mudra (Online, Offline Collection)

- Meter reading app (3 Phase Meters)

- Manak (Meter Change)

- Vishleshan (Tripping)

- Bill Inward Receipt Desk

- Web GIS (View Location wise Network diagrams)

- Surkasha Kawach (Tripping)

- Face Detection Attendance application, etc.

Following initiatives have been taken to achieve above:

- Acquired Infrastructure on Cloud (Microsoft Azure & TCL)

- Procured Servers & Network (Switchs, Firewall, Storage, SAN Switch, etc.) equipment

- Procured of Printers (Network / portable)

- Procured SAP Licenses

- Procured Software & Database Licenses

- Setup LAN/WAN within TPWODL locational offices

| Proposed Opex Expenditure towards IT Automation |  |  |
| --- | --- | --- |
| Activity | FY21-22 | FY22-23 |
| Ikontel- Cloud base charges | 0.10 | 0.13 |
| TCS-Office 365 charges | 0.32 | 0.36 |
| Oracle license- Software update | 0.22 | 0.25 |
| MBC Automation | 0.30 | 0.30 |
| Total Amount in Cr | 0.94 | 1.04 |

# Meter Reading , Billing & Collection (MBC)

Prior to September 2021, the main and primary functions of Revenue Cycle Management viz. meter reading, billing, payment collection were managed by the various meter reading and billing agencies in scattered manner. Moreover, the structured & proper defined processes for the activity and there scope of work was not prevalent in the system. Thus, in order to deal and over-come lacking and short-comings of the system, the TPWODL has taken steps for imbibing new levels efficiency and transparency in all the processes of Revenue Cycle Management.

With the vision of initiating the structured and proper course of reform process, the TPWODL has introduced the system of competitive bidding with proper checks and balances for the appointment of circle wise MBC agencies.  Thereby, after going through the complete process of competitive bidding in transparent manner 3 MBC agencies were appointed and started their MBC activity from 1st September, 2021 in phased manner to carry out performance-based tasks of Meter reading, Billing & Collection activities in their assigned circles. Besides, the primary activities of Meter reading, Billing & Collection, the incentives are attached with other supporting and loss reduction activities such as painting of walk in sequence, reporting of extra-connections, Theft/ Unauthorized Extension, Misuse cases, reporting of unethical activities etc.

Moreover, with the vision of accommodating the future requirements and dynamic needs of the organization the broader spectrum of performance parameters such as training & development of BA employees on new billing system namely Fluent Grid (FG) billing system are taken into consideration while deciding the scope of service level agreements with MBC agencies. The circle wise detail of appointment of MBC agency is enumerated in table below-

| Circle wise BA appointment |  |  |
| --- | --- | --- |
| S.No | Circle | MBC Agency Appointed on Competitive Bidding |
| 1 | Rourkela | Sai Computers |
| 2 | Samabalpur | Sai Computers |
| 3 | Bargarh | Infosoft Data Services |
| 4 | Kalahandi | Infosoft Data Services |
| 5 | Bolangir | Sterling Services |

- Coverage Area/ Extent of Applicability:

This includes complete operating area of TPWODL which includes-

| CIRCLE NAME | ROURKELA | SAMBALPUR | BARGARH | BOLANGIR | KALAHANDI | Total |
| --- | --- | --- | --- | --- | --- | --- |
| No. of Diviisions | 4 | 5 | 2 | 3 | 3 | 17 |
| No.of Sub-Divisions | 14 | 12 | 9 | 11 | 10 | 56 |
| No. of Sections | 46 | 57 | 31 | 36 | 32 | 202 |

- Scope of work :

The scope of work extents to whole operating area of TPWODL and includes-

- Meter reading for spot billing consumers

- Meter reading for non-spot billing consumers

- Special meter readings

- Bill Distribution

- Payment collections

- Painting of walk in sequence

- Training & development of BA employees

- Usage of new Billing ERP- Fluent Grid & its Mobile application for meter reading and billing activities

- Estimated cost involved in carrying out core functions of Revenue Cycle Management i.e. Meter Reading, Billing & Payment Collections for fY 2021-2022 on the basis of consumer data up to Oct, 2021 enumerated below:

- Estimated monthly cost of Meter Reading

| Table-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Estimated Monthly Meter Reading Cost involved |  |  |  |  |
| Circle Name | Total No. of Consumers | Rate | Total Amount Rs.) |  |
| Bargarh | 277942 | 8.95 | 2487580.9 |  |
| Bolangir | 498709 | 14 | 6981926 |  |
| Kalahandi | 465920 | 8.95 | 4169984 |  |
| Rourkela | 416019 | 15 | 6240285 |  |
| Samabalpur | 419641 | 15 | 6294615 |  |
| Total | 2078231 | 12.38 | 25728499.78 | 2.57 crores |

- Estimated monthly cost of Bill distribution-

| Table-2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Estimated Monthly Bill Distribution Cost involved |  |  |  |  |
| Circle Name | Total No. of Consumers | Rate | Total Amount (Rs.) |  |
| Bargarh | 29665 | 7.15 | 212104.75 |  |
| Bolangir | 25159 | 1.98 | 49814.82 |  |
| Kalahandi | 14682 | 7.15 | 104976.3 |  |
| Rourkela | 17497 | 5 | 87485 |  |
| Samabalpur | 21909 | 5 | 109545 |  |
| Total | 108912 | 5.25 | 571788 | 5.71 Lakhs |

- The Estimated monthly cost for annual cost for Special Meter Reading –

| Table-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Estimated Annual Special Meter Reading Cost involved |  |  |  |  |
| Circle Name | Total No. of Consumers | Rate | Total Amount Rs.) |  |
| Bargarh | 157800 | 7.85 | 1238730 |  |
| Bolangir | 286200 | 7.92 | 2266704 |  |
| Kalahandi | 262800 | 7.85 | 2062980 |  |
| Rourkela | 244200 | 3 | 732600 |  |
| Samabalpur | 245100 | 3 | 735300 |  |
| Total | 2078231 | 5.92 | 12303127.52 | 1.23 crores |

- The Estimated monthly cost for payment collection in all 5 circles shall app. Rs. 18.5 crores i.e. (2078231* 8.90).

- In addition to aforesaid incentives for loss reduction have been taken and app. estimated annual calculations are as under-

- Expected Reporting  of Extra connection in FY-2021-2022 is  60000@Rs.100 i.e. Rs. 60 lakhs

- Expected Reporting  of Extra connection in FY-2021-2022 is  50000@Rs.100 i.e. Rs. 50 lakhs

- The estimated cost for the painting Walk in Sequence for 2078231 consumers @ Rs. 10/- shall be Rs. 20,782,310/-

- Thus the estimated provision required of ARR for the approval on monthly basis shall be of Rs. 44,796,544/- i.e. 4.48 crores. (i+ii+iv).

- And the estimated provision required of ARR for the approval on yearly basis shall be of Rs. 44,085437.52/- i.e. 4.40 crores. (iii+v+vi).

Introduction of new Billing ERP –Fluent Grid for thorough streamlining of Meter Reading, Billing and Collection functions with in targeted timelines:

In order to capture the actual ground situation in form of accurate reading remarks and to overcome the other gaps & shortcomings of the existing Billing System called Crest,  the organization has adopted new billing ERP –Fluent Grid for radically enhancing the Billing and Collection efficiencies of the organization. The chronology of organization’s journey with new Billing ERP-Fluent Grid has started in the month of April, 2021 itself. The snapshot of our journey with Fluent Grid Billing System is enumerated below-

- On 1st April, 2021, the billing of complete HT/EHT connections in all five circles in new billing system i.e. Fluent Grid have taken place.

- Thereafter in May, 2021 the billing of complete 3 phase connections in all five circles have shifted to Fluent Grid billing system.

- In September, 2021 the organization carried out pilot of implementing Fluent Grid billing system for SBM consumers in Sambalpur Division.

- And by pacing up with timelines, the organization efficaciously rolled out Fluent Grid billing system for all SBM consumer in two circles namely Samabalpur Circle & Rourkela Circle.

- Finally, in November, 2021 the organization has successfully rolled out Fluent Grid billing system for all SBM consumers the remaining three circles namely- Bargarh Circle, Kalahandi Circle and Bolangir Circle.

To enhance the collection activity and providing ease to consumers various initiative are taken in TPWODL area

- Door to door collection

- Collection counters at all Section offices

- Collection counters in urban areas

- Collaboration with CSC and IndusInd bank, it will provide around 11330 point of collection in TPWODL area

- SHG is also involved in collection activities in rural areas.

- Online collection through Paytm, Bill desk, HDFC/ SBI through virtual account

# Initiatives for improvement of Reliability, SCADA/GIS etc

In order to improve the reliability and reduce the losses and to improve the overall performance, effective implementation of technologies is required. TPWODL is in the midst of technology transformation to provide quality customer services and to deliver highly reliable and improved quality supply in safe manner to its consumers by meeting various standards of operation. To bring the various latest technology, systematic investment is planned by TPWODL as given below in Operation Technology (OT)

Total OT Capital Expenditure FY 22-23

| Sr. No | Automation | GIS | Communication |
| --- | --- | --- | --- |
| 1 | 21.9 Cr | 21.45 Cr | 18.65 Cr |
| Total - 62 Cr |  |  |  |

Total OT Opex Expenditure FY 22-23

| Sr. No | Automation | GIS | Communication |
| --- | --- | --- | --- |
| 1 | 0.33 Cr | 0.96 | 2.34 |
| Total - 3.63 Cr |  |  |  |

1.0Automation:

- Implementation of ADMS at Centralized Control center- MCC/BCC

- Conventional PSS Automation

- Fire Alarm System

SCADA/ADMS System:

TPWODL is planning to implement the SCADA/ADMS project for which order already has been placed and 15 Cr of capex commitment is expected in FY21-22.  Implementation of ADMS will be done in a phased manner once SCADA is completed.

ODSSP PSS are already equipped with automation devices (Communicable Relays, MFTs and RTUs). To integrate the ODSSP PSS with 100% data validation we have installed and commissioned Microscada at PSCC. Once SCADA/ADMS is commissioned, data will be migrated from Microscada to new SCADA system with advanced features. We have targeted to complete 100 ODSSP PSS in FY21-22.

Conventional PSS Automation:

Currently there are total 315 Nos. of 33/11 substations in TPWODL areas out of which 142 no. of substations are developed/being developed under ODSSP scheme which will be integrated with SCADA in a phased manner. However conventional PSS shall be retrofitted or revamped to make SCADA compatible in FY 22-23.  In order to operate and monitor those substations through SCADA, detailed technical study of substation were carried out based on that we have identified 55 nos of high revenue PSS to automate and 118 nos of Rural PSS category to automate.

We have envisaged two types of approach to provide reliable, affordable and cost-effective solution for monitoring and control of all these sub stations from a centralized control centre.

Also 33/11KV Rural PSS will be developed based on cost effective innovative approach wherein existing electrical infrastructure will be utilized for model development of Grid substation automation system in rural area across TPWODL.

Detailed phase wise plan is given below

| S No | Phase | Stations/Major work Description | Total Number of Sub-Station Covered |
| --- | --- | --- | --- |
| 1 | Phase-1, FY 21-22 | - 100 no’s of ODSSP S/stn. integration | 100 |
| 2 | Phase -2, FY 22-23 | a) 42 no’s of ODSSP S/stn. integration b) 35 nos. of High Revenue PSS c) 50 nos of Rural PSS | 127 |
| 3 | Phase-3, FY 23-24 | - 20 no’s of High Revenue PSS - 68 no’s of Rural PSS | 88 |
|  | Total Nos. of Sub-Station Covered *In phase-4, contingency of work consider spill over from phase-2 or 3 in case of unavoidable circumstances |  | 315 |

Benefit to consumer:

- Data visibility

- Centralized System for Monitoring and control of the entire distribution network.

- Perform all critical system operations including routine and emergency operations with enhanced operational availability of distribution network and reliable power supply to customers.

- Predictive and Analytical tools for efficient management and decision making for the entire distribution network.

- Enhanced Operational safety.

- Faster operation / Reduction in down time

- Safety of citizen, equipment, BA associate, Animal.

- Analysis of fault in fastest time which will be a guiding factor for network modification, updation

- Integration with SLDC and other systems

Fire Alarm System:

One of the most important safety factor for any PSS Substation is protection against fire. An elaborate system of fire protection shall be provided to fight as well as reduce any occurrence of fire within the Substation area. Currently all 33/11KV PSS do not have adequate fire protection and alarm system, fire detection is most important in substations, due to its dangerous nature. Traditional approach to monitor the system manually on daily basis, but with the latest technology in place it is recommended to go for preventive approach where in real time status of the system will be available centrally for monitoring.

To provide a proper fire detection and alarm system, it is proposed to implement the new system with integration to SCADA to report the status immediately to central control room.

Capex Plan:

FY 22-23

| Sr. No | Item Details | Rs Cr |
| --- | --- | --- |
| 1 | Implementation of ADMS System | 4 |
| 2 | Automation of High Revenue PSS (30 Nos) | 4.9 |
| 3 | Automation of Rural PSS (50 Nos) | 6 |
| 4 | Fire Detection and Alarm system | 7 |
| Total |  | 21.9 Cr |

Automation Opex Plan:

At present automation team of engineers are posted at 3 circles (Sambalpur, Rourkela and Bargarh). To manage the routine daily site activities of PSS integration work, following opex required

| Sr. No | Item Details | Rs Lakhs |
| --- | --- | --- |
| 1 | Tool Kits (LAN Tester, Digital Meters, Converters) | 5 |
| 2 | Vehicle requirement for movement | 5 |
| 3 | Configuration software tools (Protocol analysers) | 22.50 |
| Total |  | 32.50 |

2.0 Communication Technology

Benefits:

- Communication Technology Guarantee the end user, the uninterrupted power supply by reducing the faults.

- Timely Fault rectification by knowing about fault at real time.

- Communications technology is crucial for the integration of renewables because data can help in optimising operational and capital expenditures

- Upgrade distribution infrastructure to improve power quality and cope with the integration of IP based devices in the grids and PSS,

- Increase billing efficiency via digital intervention (Smart Metering)

- Improve asset (Transformers etc.) health for predictive maintenance.

Objectives:

- Setting up MPLS backbone throughout Western Odisha comprising of approximately 625 site locations (IT Network & OT Network).

- Band Optimization by virtue of execution of Passive Network.

- CCTV Installation at high revenue PSS.

- MPLS Backbone is Robust and provides company a robust and dependable backbone.

Communication Backbone MPLS

MPLS extends company's local area network (or LAN) without using the public internet, and as a result provides company with its own private connection. MPLS networking efficiently delivers applications across multiple locations. Hence safety, security, reliability and speed of operation are greatly increased.

IT Network

This type of Network comprises of all office locations like Circle Offices, Division Offices, Sub Division Offices, Section Offices, MRT Offices, Stores, Customer Care, Collection Counters, GRF etc. In this type of network huge bandwidth is required based on number of users availing service in that particular office. There are approximately 317 No of locations under IT Network.

OT Network

This type of Network comprises of all Sub Stations where network should have low latency and low jitters as remote operations and monitoring of substations using the network will be done from central control centre located at Burla. There are approximately 308 No of locations under IT Network.

Passive Network:

Based on the network survey that was executed by M/S Printlink we can reduce the total MPLS Links from approximately 625 Locations to 322 Locations however this count might vary to a small extent based on issues faced during execution phase like geographic difficulties, non-availability of permission to lay UG/OH cables, access issues, critical road crossing, railway crossings, river, Nullah, Canals etc.

Close Circuit Camera:

We emphasize to install 1 No 360◦ High Resolution CCTV Camera with night vision and motion sensors in Each Substation for seamless monitoring of the Substations from a single point.                                                                                                                                                                      In first phase we envisage to cover 150 locations. This will be beneficial to ease the operation and maintenance of PSS and will provide additional benefits as follows:

- Keep a Check upon internal and external theft.

- Crime prevention

- Evidence collection

- Staff security

- Private and sensitive area surveillance

- Substantially reduce Turn-Around-Time (TAT).

NETWORK MONITORING AND FAULT RECTIFICATION TEAM:

This team will comprises of 4+1 set of network monitoring Engineers. Will be responsible for near 100 % up time for every node and will raise an alarm with Airtel if any service goes down. Also, the responsibility of the team will be to generate the down time register and the same will be helpful for us to ask ISP to improve their services.

As and when site or services go down, the team will reach the location and will fix the problem at first level, i.e. SFP cleaning, Patch chords cleaning etc.

The team will be provided a dedicated 24X7 vehicle.

Note:

- Only Equipment cost like LSPM and OTDR are being taken for consideration under CAPEX-Head. The Service costs for maintaining the Network will be covered in OPEX.

- Soft faults like patch chord changes and SFP changes, cleaning of patch chords by isopropyl Alcohol or loose connections will be addressed by Shift team at NMS.

- Severe faults like cable cut etc. will be addressed by on call BA team.

| Sr. No | Item Details | Rs Cr |
| --- | --- | --- |
| 1 | Passive Network Execution | 7.15 |
| 2 | Network Equipment for Substations A+B | 7 |
| 2.1 | In first Phase Nearly 150 locations shall be covered in FY-22-23 ( A ) | 3.5* |
| 2.2 | In first Phase Nearly 160 locations shall be covered in FY-23-24 ( B ) | 3.5* |
| 3 | CCTV Camera | 4.5 |
| Total |  | 18.65 |

Communication Opex Plan:

| ITEM |  | No of Circles | Annual Projected Cost | Annual Projected Cost with Overheads |
| --- | --- | --- | --- | --- |
| NMS MONITORING Team |  | 5 | 6000000 | 8400000 |
| Engineers Required Per Team Monthly | 5 |  |  |  |
| Cost Per Engineer Monthly | 20000 |  |  |  |
| Miscellaneous Cost (40 % extra) Monthly | 2400000 |  |  |  |
| BA Team Fault Rectification with 24X7 Vehicle Support pm | 250000 | 5 | 15000000 | 15000000 |
| Total |  |  |  | 23400000 |

3.0 GIS

To implement enterprise GIS in TPWODL area, four years plan is in place.

Capital Expenditure Plan – FY 21-22 [10.06 Cr]

    - Auto Cad Licenses for SLD digitization.

    - Setting up Basic EGIS Infrastructures including supply of Enterprise software licenses and development environment.

    - Installation & Commissioning of development environment with network & storage components. (90 % of line-item value)

    - Purchase of High-end systems, printer & plotter for QC and survey purpose.

    - Purchase of High-resolution image for digitization of pilot area (one division of Rourkela Circle) layers.

    - Pilot (one division of Rourkela Circle) Survey for Consumer indexing & base map creation.

    - Asset Sequence generation and painting for pilot area (one division of Rourkela Circle).

Operating Expenditure Plan – FY 21-22 [0.032 Cr]

    - Vehicle for Survey

    - Stationery & printing expenses

Capital Expenditure Plan – FY 22-23 [21.45 Cr]

    - Pay out of Installation & Commissioning rest amount (5 % of line-item value) of development environment

    - Purchase of High-end systems, printer & plotter for QC and survey purpose for other than pilot area.

    - Supply, Installation & Commissioning of Production environment with network & storage components.

    - Purchase of High-resolution image for digitization of rest Division of Rourkela circle and Bargarh Circle.

    - Consumer indexing & base map creation of rest Division of Rourkela circle and Bargarh Circle.

    - Asset Sequence generation and painting for rest Rourkela circle and Bargarh Circle.

    - Purchase of Analysis and Map publishing tool.

Operating Expenditure Plan – FY 22-23 [0.96 Cr]

    - Vehicle for Survey

    - Stationery & printing expenses

    - OEM ATS of Enterprise software license.

    - AMC of deployed solution.

    - License extension for Auto Cad.

Summary

| Sr No | FY | Capex (in Cr) | Opex (In Cr) |
| --- | --- | --- | --- |
| 1 | 21-22 | 10.06 | 0.032 |
| 2 | 22-23 | 21.45 | 0.96 |
| TOTAL |  | 31.51 | 0.992 |

Additional A&G Cost for FY 2022-23.

| S.No | Description | Amount (Rs Lakh) |
| --- | --- | --- |
| 1 | Media Campaign | 50.00 |
| 2 | Replacement and shifting of meters | 150.00 |
| 3 | GIS, SCADA | 363.00 |
| 4 | Housekeeping | 160.00 |
| 5 | Energy Audit & AMR | 507.66 |
| 6 | IT automation MBC activity | 104.00 |
|  | Total | 1334.66 |

Additional expenses for FY 2022-23 are projected at Rs 13.34 Crore taking into consideration of the above initiatives.

# Repair & Maintenance Expenses

In the vesting order Hon’ble Commission vide para 53(d) has directed that

“…with regards to R&M expenses, the Commission shall allow in the Aggregate Revenue Requirement, R&M expenses incurred on the existing assets transferred to TPWODL as well as assets created out of grants which are not reflected in the books of WESCO utility subject to prudence check by the Commission, as per existing practice.”

Accordingly, Assets transferred as on effective date i.e Dec-20 balance sheet of erstwhile Wesco utility is Rs.1964.79 crs. This includes Land cost of Rs.1.77 crs. As licensee condition the new operating Company TPWODL only retains the operational use of Land for the purposes of carrying out distribution business. As per terms of vesting order, land has been given on lease basis for a nominal consideration of Rs.1 per year. So, balance asset as on effective date is Rs.1963.02 crs. The assets added by TPWODL during Jan-21 to March-21 is Rs.0.28 crs. Therefore, opening GFA as on March-21 became Rs.1963.30 crs.

| - Assets under Govt. funded scheme (Grant)executed by OPTCL |  |  |  |
| --- | --- | --- | --- |
| Sl No | Name of Scheme | Amount in Cr | Status of Completion |
| 1 | ODSSP | 930.23 | 90% Completed |
| 2 | DDUGJY New | 257.00 | Completed |
| 3 | IPDS | 211.40 | Completed |
| 4 | DDUGJY 12TH PLAN (PGCIL) | 496.70 | Completed |
| 5 | DDUGJY 12TH PLAN (NTPC) | 870.48 | 97% Completed |
| Total of A |  | 2765.81 |  |

As regards to Grant Assets the scheme wise value is appended below:-

| - Assets under Govt. funded schemes (Grant) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. No | Scheme | Amount in Cr | Executed through | Status of Completion |
| 1 | BGJY | 107.69 | District Collector | Completed |
| 2 | BGJY DTR | 3.30 | DISCOM |  |
| 3 | BSVY | 21.92 | District Collector |  |
| 4 | CAPEX | 105.14 | DISCOM |  |
| 5 | DESI/IAP | 53.29 | DISCOM |  |
| 6 | ELEPHANT CORRIDOR | 20.54 | DISCOM |  |
| 7 | KBK | 1.91 | DISCOM |  |
| 8 | MP-MLA | 2.12 | DISCOM |  |
| 9 | PHAILIN | 0.45 | DISCOM |  |
| 10 | RLTAP | 76.75 | District Collector |  |
| 11 | SAMLESWARI TEMPLE | 4.88 | DISCOM |  |
| 12 | SCHOOL & ANGANWADI | 9.12 | DISCOM |  |
| 13 | WODC | 5.70 | DISCOM |  |
| 14 | DMF | 15.90 | DISCOM |  |
| TOTAL of B |  | 428.69 |  |  |
| Total of A+B |  | 3194.50 |  |  |

Considering the above value of Grant assets amounting to Rs. 3194.50 Crs the licensee is entitled for R&M @ 5.4% for FY 22-23 accordingly the amount comes to Rs. 172. 50 Cr.

The Repair & Maintenance (R&M) expenses for the ensuing year FY 2022-23 has been estimated on the basis of 5.4% of Opening Gross Fixed Assets (GFA). The opening GFA works out to be Rs 1963.50 crores, based on which the proposed R&M expenses is to the tune of Rs 106.03 crores. Therefore, the total proposed R&M expenses for FY22-23 is 278.53 Cr [172.50 Cr + 106.03] , which may kindly be approved.

# Provision for Bad and Doubtful Debts

The Licensee while estimating the ARR for FY 2022-23 has considered the revenue from sale of power on accrual basis in line with the Commission’s Order on ARR and Tariff Petitions. Considering the ground reality improvement of collection efficiency to the extent of desirable level i.e., 99% is not possible. However, the licensee is putting its best efforts for improvement of the same. Therefore, for the ensuing year the proposed collection efficiency would be 96% , which is also a challenging target. So, the AT&C loss may kindly calculate considering collection efficiency of 96%. As Hon’ble Commission is approving collection inefficiency only 1%, the license has proposed the same as provisions for bad and doubtful debts amounting to Rs 40.38 Cr  has been considered as part of ARR for FY 2022-23. The Petitioner humbly requests the Hon’ble Commission to consider the same.

# Depreciation

Depreciation has been provided only on assets available at the beginning of the year and no depreciation has been provided on assets created during the year. The method adopted for calculating depreciation is Straight Line Method (SLM) at pre-92 rates.

Hon’ble Commission while Approving ARR for FY 21-22 has adopted the following rate (Pre-92) as per table-68 vide para 455

| Type of Assets | Rate of Depreciation-Pre 92 |
| --- | --- |
| Land | 0% |
| Building | 1.80% |
| Plant & Machinery | 3.80% |
| Vehicles | 12.86% |
| Furnitures & Fixtures | 4.55% |
| Office Equipment | 9% |

The numerical details are given in OERC Form: F-19.

The depreciation for FY 2022-23 is arriving of Rs.90.23 Crore on the basis of above rates on the opening GFA. However, the depreciation on consumer contribution assets is amounting to Rs.40.83 Cr. As per vesting order para no. 44 a(iii) “No depreciation shall be allowed to be recovered on assets created out of Government grants/capital subsidy/capital contribution from consumers irrespective of whether the corresponding grant is transferred to TPWODL or not.”

Accordingly, depreciation on consumer contribution assets has been excluded so the net depreciation of Rs. 49.40 Cr has been proposed for FY2022-23 which may kindly be approved.

# Interest Expenses

The licensee would like to submit that the assumptions with respect to outstanding loans and dues have been considered in line with the Commission’s previous Orders.

2.9.1.	Interest on Loan for Capex works

Hon’ble Commission has approved Rs.333 crs towards capex for FY 21-22 vide order dt.23rd Sep-21. To execute the same the licensee will arrange fund with debt equity ratio of 70:30. Accordingly, the loan has been estimated as Rs.233 Crs to be arranged from banks/financial Institution. Similarly, for FY22-23 licensee has a capital investment plan of Rs. 582.18 Cr. The detail Capex plan is being filed with Hon’ble Commission separately. With the above proposed Capex the licensee also require loan from different banks/financial institution for an a amount of Rs. 407.53 Cr with the debt equity ratio of 70:30. The proposed rate on of interest has been considered as 8% p.a.  Therefore, the interest on loan for FY22-23 has been proposed as Rs. 29.52 Cr, may kindly be approved.

For the ensuing year 2022-23, the repayment of loan has been taken as 10% of Rs.233.20 Cr which is to be availed during FY21-22.

# Working capital Loan

TPWODL has been inherited with a term of loan of Rs. 336.49Cr as on effective date i.e., 01.01.2021, which has also been approved by Hon’ble Commission in their order dt.23rd Nov-21. The term loan includes Salary loan of Rs. 141.26 Cr ,the balance is towards repayment of power purchase cost. For business continuity, need of working capital towards payment of monthly O&M cost is inevitable.  Therefore, the licensee has proposed a working capital of Rs. 215 Cr apart from above ongoing term loan of Rs. 141.26 Cr. The rate of interest has been considered as 10.45% p.a. (7.45% +3% on base rate).   Accordingly, the proposed working capital interest of Rs. 32.61 Cr may kindly be approved.

Further, the licensee is submitting that if the available Fixed Deposit under Security Deposit head permitted to be utilized as security mechanism to avail working capital loan, then burden of interest can be substantially reduced and consumer will be benefitted. The  licensee request before Hon’ble Commission to approve the same.

# Interest on Security Deposit

Section 47(4) of the Electricity Act 2003 states that “The distribution Utility shall pay interest equivalent to the bank rate or more, as may be specified by the concerned State Commission, on the security referred to in sub-section (1) and refund such security on the request of the person who gave such security.”

The OERC Distribution (Conditions of Supply) Code 2019, Regulation (57) also mandates the payment of interest on consumer security deposit, the manner in which it is to be administered and penal provisions for delay in making such payments.

The licensee have calculated the interest on security deposit @ 4.25% on the closing balance of security deposit amount for FY 2021-22 based on the existing approval of Hon’ble Commission for FY 2021-22. The interest on security deposit considered in ARR for FY 2022-23 is to the tune of Rs.38.56 Crore.

# Interest on carrying cost

As per existing regulation of Hon’ble Commission vide para

8.3        The Commission may create regulatory assets in case of the Distribution Licensee incurring losses on account of uncontrollable factors:

Provided that the amortization schedule corresponding to the regulatory asset shall be prepared and put in effect along with creation of the regulatory asset:

Provided  that the carrying cost of the regulatory asset shall be determined by Commission from time to time taking account the State Bank Base Rate prevailing as on Ist January of the preceding year, for the period for which  regulatory  asset  is  proposed to be amortized.

The SBI base rate as on 15th Sep-21 is 7.45 % would be the prevailing rate for claiming/offering interest on  carrying cost. As per the estimation for current year the licensee would generate revenue surplus, which will be adjusted with the ensuing year GAP. Therefore, on the estimated surplus amount the licensee has offered carrying cost @ 7.45% on Rs.95 crs amounting to Rs.7.12 crs.

# Total Interest for Financial Year FY 2022-23

The total interest expenses estimated for FY 2022-23 is given in following Table:

Summary of Interest Expenses

|  |  | Rs. In crs. |
| --- | --- | --- |
| 1 | Interest on loan for Capex | 29.52 |
| 2 | Interest on loan for working capital | 32.61 |
| 3 | Interest on Security Deposit | 38.56 |
| 4 | Total Interest for ARR | 100.69 |

The total interest chargeable to revenue proposed by the Licensee for the year FY 2022-23 is Rs 100.69 crores.

# Capital Expenditure Programme

# CAPEX FOR CURRENT YEAR

As per commitment in the bid document and subsequent direction in the vesting order TPWODL submitted it’s CAPEX plan before Hon’ble Commission on 10th Feb-21 for an amount of Rs.462 crs. Hon’ble Commission has approved the capex plan of the licensee vide order dt.23rd Sep-21 in case no.7 of 21 for an amount of Rs.333 crs.

| Major Category | Proposed Capex FY22 in Cr | Approval for FY 22 in Cr |
| --- | --- | --- |
| Load Growth | 39.71 | 39.71 |
| Loss Reduction | 120.03 | 42.48 |
| Reliability | 48.91 | 48.91 |
| Statutory, Safety and Security | 98.48 | 98.48 |
| Technology & Infrastructure | 155.29 | 103.55 |
| Grand Total | 462.42 | 333.13 |

As per para 39 (b) of vesting order TPCL has capital investment plan for Rs.1663 crs in a span of 5 years in the following manner.

Rs. In crs

| FY 21-22 | FY 22-23 | FY 23-24 | FY 24-25 | FY 25-26 | TOTAL |
| --- | --- | --- | --- | --- | --- |
| 306 | 500 | 333 | 322 | 202 | 1663 |

To allow flexibility Hon’ble Commission vide para 39(c) has permitted the cumulative capital expenditure plan in the following manner:

| Up to 31st March-22 | Up to 31st March-23 | Up to 31st March-24 | Up to 31st March-25 | Up to 31st March-26 |
| --- | --- | --- | --- | --- |
| 306 | 806 | 1139 | 1461 | 1663 |

In compliance to above the licensee has already prepared its capex plan for FY 22-23 and is being submitted separately for kind approval of Hon’ble Commission. However, a summary of same is appended below for kind perusal of Hon’ble Commission

| Proposed Capex for FY 22-23 |  |  |
| --- | --- | --- |
| Sr.No | Particular | Amount in Cr |
| 1 | Statutory, Safety & Security | 53 |
| 2 | Loss Reduction | 78.86 |
| 3 | Network Reliability | 120.4 |
| 4 | Load Growth | 176 |
| 5 | Technology & Civil Infrastructure | 153.92 |
| Total |  | 582.18 |

Major category wise capex proposal for FY 22-23

| Capex proposal for FY22-23 |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No. | Major Category | Activity | Works to be covered | Amount in Cr |
| 1 | Statutory, Safety and Security | i ) Life enhancement of network and maintaining safe horizontal / vertical clearances | Increase of height for 11 kV and 33 kV sagging line. | 5.50 |
|  |  |  | Cradle guard at 33KV & 11KV- road crossing, populated area, school area. | 2.00 |
|  |  |  | Intermediate Pole for 33KV,11KV & LT Network near the forest area | 4.50 |
|  |  |  | Replacement of Open Conductor with Covered Conductor | 3.00 |
|  |  | ii) Provision of Testing Equipment & PPEs to workforce | Testing equipment | 2.00 |
|  |  |  | Safety Equipment (like Arc Suit, Neon Tester, Insulating Material and Others) for work force. | 3.00 |
|  |  | iii) Earthing, Fencing | Earthing of PSS | 0.50 |
|  |  |  | Earthing of DSS &Pole | 3.00 |
|  |  |  | Fencing of Distribution Substation | 12.00 |
|  |  | iv) Boundary Wall and infrastructure works at Grid sub-station | Boundary wall of Primary Substation | 12.00 |
|  |  |  | Gravel filling for Primary substation | 1.00 |
|  |  |  | Access road to switchyard and stores | 2.00 |
|  |  |  | control room and Building refurbishment | 2.00 |
|  |  |  | provision for water supply for PSS/Offices (Watering for Earth pit) | 0.50 |
|  | Sub Total- Statutory, Safety and Security |  |  | 53.00 |
| 2 | Loss Reduction | i) Energy Audit & Meter related activity | Replacement/ Segregation of Old 11 kv breaker/ Group Breaker with new (O/D CT-) (including civil &control cable) | 34.30 |
|  |  |  | Meter testing equipment for field staff | 1.00 |
|  |  |  | Different sizes of Control cable | 2.86 |
|  |  |  | Replacement of Old 33KV & 11 KV 1Ph & 3Ph PT/CT at PSS(O/D Type) | 4.00 |
|  |  |  | Replacement of Defective Relay | 2.50 |
|  |  |  | Replacement of Protection Panel along with associated equipment | 1.00 |
|  |  | ii) spot billing | spot billing devices (Bluetooth Printer +Mobile) | 3.20 |
|  |  | iii) Replacement of LT Bare conductor with AB cable | Replacement of LT Bare conductor with AB cable | 30.00 |
|  | Sub Total-Loss Reduction |  |  | 78.86 |
| 3 | Reliability | i) Replacement/Addition of network component in 33/11KV Primary Substation. | Refurbishment work in PSS (Structure Replacement / Yard Refurbishment) | 5.00 |
|  |  |  | New 11 Kv breaker | 5.00 |
|  |  |  | New 33 Kv breaker | 4.00 |
|  |  |  | Control cable | 4.00 |
|  |  |  | Replacement of 11 KV and 33 KV damaged CT and PT | 2.30 |
|  |  |  | Replacement of Defective Relay | 1.00 |
|  |  |  | Replacement of Protection Panel along with associated equipment | 3.00 |
|  |  |  | Replacement of station transformer 33/0.440 KV | 1.00 |
|  |  |  | Replacement of Battery & Battery Charger | 1.50 |
|  |  |  | Installation of capacitor bank | 1.00 |
|  |  |  | Transformer repair shop | 12.00 |
|  |  |  | New High mast light for area lighting | 1.00 |
|  |  | ii) Replacement/Addition of network component in 33KV & 11KV Line. | Refurbishment/Augmentation of old 11KV line | 30.00 |
|  |  |  | Refurbishment/Augmentation of old 33KV line | 8.00 |
|  |  |  | Installation of 11KV & 33 KV FPI | 4.00 |
|  |  |  | Installation of 11KV & 33 KV 400A/200A AB switches & Isolator | 5.00 |
|  |  |  | Installation of 33KV & 11 KV RMU | 4.00 |
|  |  |  | 33KV & 11kV Auto Recloser & Sectionaliser | 14.00 |
|  |  | iii) Replacement/Addition of network component in Distribution Substation. | Transformer foundation | 1.10 |
|  |  |  | Refurbishment of 250 & 315 KVA DSS along with LT Protection | 8.00 |
|  |  |  | Installation of New DD Fuse Unit/LA/Hanging Feeder Pillar at DSS | 4.00 |
|  |  |  | Mobile Transformer/DTR for Emergency restoration for Hospital/ Collector Office during Cyclone/ KalBaisakhi | 1.50 |
|  | Sub Total-Reliability |  |  | 120.40 |
| 4 | Load Growth | Network enhancement / Unforeseen emergency . | Construction of 33 KV New/Link Line | 35.00 |
|  |  |  | construction of new 11 kv agricultural feeder | 15.00 |
|  |  |  | Construction of 11KV New/ Link Line | 35.00 |
|  |  |  | Construction of new PSS along with line in urban area (Total Rs.75 Cr for 2 years) | 45.00 |
|  |  |  | Addition/Augmentation of PTR | 15.00 |
|  |  |  | Addition/Augmentation of DTR 63 KVA and above | 15.00 |
|  |  |  | Addition /Augmentation of 1 ph &3 Ph DTR of 16 KVA and 25 KVA in Rural/ Agriculture Area | 8.00 |
|  |  |  | Addition of New LT ABC Network | 6.00 |
|  |  |  | Addition of New 11KV/ 33 KV Bay | 2.00 |
|  | Sub Total- Load Growth |  |  | 176.00 |
| 5 | Technology & Infrastructure | i) Infrastructure to meet Customer needs. | Infrastructure for call center | 1.82 |
|  |  |  | IT Infrastructure for Commercial Back Office | 0.96 |
|  |  | ii) Technology Intervention-IT & Technology. | Data Centre at Sambalpur | 1.59 |
|  |  |  | Front end devices and end user licences | 16.31 |
|  |  |  | DC Hardware | 17.26 |
|  |  |  | DC Software and Licences (ERP,MBC,OS,DB etc.) | 8.00 |
|  |  |  | Locational Network | 16.21 |
|  |  |  | Optical Fibre Cabling | 2.24 |
|  |  | iii) Technology Intervention- GIS,SCADA & Others Implementation. | Implementation of GIS | 21.45 |
|  |  |  | Implementation of Automation/Scada | 23.88 |
|  |  |  | Communication Infrastructure | 18.65 |
|  |  | iv) Improvement of Civil Infrastructure | New wash room | 2.00 |
|  |  |  | Additional Material Storage area | 2.00 |
|  |  |  | New store building | 1.50 |
|  |  |  | New Building for Division/ Subdivision Section/Commercial Office. | 12.00 |
|  |  |  | Refurbishment of old building for office at various location | 4.00 |
|  |  | v) Security system in central store | Security system in central store | 1.05 |
|  |  | vi) Ready to Use assets for Offices | office furniture | 3.00 |
|  | Sub Total-Technology & Infrastructure |  |  | 153.92 |
|  | Grand Total |  |  | 582.18 |

# CONSUMER CONTRIBUTION DEPOSIT WORKS

During the current year & ensuing year the licensee is continuing & will undertake the various line augmentation, construction of new distribution s/s etc under consumer contribution scheme both private and Govt funded job. The estimated amount towards consumer contribution and govt deposit fund for FY 21-22 & FY 22-23 are as follows:-

Rs. In Crs

| Scheme details | FY-21-22 | FY 22-23 |
| --- | --- | --- |
| Deposit Works fund including Govt | 95.25 | 54.50 |
| Elephant Corridor | 105.56 | 80.00 |
| School Anganwadi | 15.00 | 10.00 |
| Mega Lift | 18.00 | 0.50 |
| System Improvements | 3.73 | 7.31 |
| Total | 237.56 | 152.31 |

| Assets under Govt. funded scheme (Grant)executed by OPTCL |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No |  | Name of Scheme |  | Amount in Cr |  |  | Status of Completion |  |
| 1 |  | ODSSP |  | 930.23 |  |  | 90% Completed |  |
| 2 |  | DDUGJY New |  | 257.00 |  |  | Completed |  |
| 3 |  | IPDS |  | 211.40 |  |  | Completed |  |
| 4 |  | DDUGJY 12TH PLAN (PGCIL) |  | 496.70 |  |  | Completed |  |
| 5 |  | DDUGJY 12TH PLAN (NTPC) |  | 870.48 |  |  | 97% Completed |  |
| Total |  |  |  | 2765.81 |  |  |  |  |
| Assets under Govt. funded schemes (Grant) |  |  |  |  |  |  |  |  |
| Sr. No |  | Scheme |  | Amount in Cr | Executed through |  | Status of Completion |  |
| 1 |  | BGJY |  | 107.69 | District Collector |  | Completed |  |
| 2 |  | BGJY DTR |  | 3.30 | DISCOM |  |  |  |
| 3 |  | BSVY |  | 21.92 | District Collector |  |  |  |
| 4 |  | CAPEX |  | 105.14 | DISCOM |  |  |  |
| 5 |  | DESI/IAP |  | 53.29 | DISCOM |  |  |  |
| 6 |  | ELEPHANT CORRIDOR |  | 20.54 | DISCOM |  |  |  |
| 7 |  | KBK |  | 1.91 | DISCOM |  |  |  |
| 8 |  | MP-MLA |  | 2.12 | DISCOM |  |  |  |
| 9 |  | PHAILIN |  | 0.45 | DISCOM |  |  |  |
| 10 |  | RLTAP |  | 76.75 | District Collector |  |  |  |
| 11 |  | SAMLESWARI TEMPLE |  | 4.88 | DISCOM |  |  |  |
| 12 |  | SCHOOL & ANGANWADI |  | 9.12 | DISCOM |  |  |  |
| 13 |  | WODC |  | 5.70 | DISCOM |  |  |  |
| 14 |  | DMF |  | 15.90 | DISCOM |  |  |  |
| TOTAL |  |  |  | 428.69 |  |  |  |  |

# Strengthening of Infrastructures in Elephant Corridor

The State Govt. has formulated a scheme named as Strengthening of Electrical Infrastructure inside Elephant Corridor in order to avoid elephant electrocution and to provide safe movement of elephants without any hazards from the existing electrical infrastructures in and around the defined Elephant movement corridors. State Govt. is releasing the funds in shape of grants to the DISCOMs for execution of works. The scope of works includes erecting of interposing poles, use of Spikes in Poles, Cooping, Fencing AB cabling of LT lines etc. The technical specification of materials is as per CAPEX. The qualities of execution are supervised by the Dist. Administration.

There were three phases of work under this scheme has been executed by the Wesco utility earlier with total cost of Rs.36.69 crs. The incomplete job of third phase around Rs.10.57 crs will be carried out along with 4th phase.

In 4th phase Govt of Odisha has proposed to spend around Rs.241 crs towards strengthening of Elephant Corridor work across the different areas of the utility. Accordingly, the work has been assigned through tendering process to various contractors  for 84 packages. During the current year the utility expects to spend around Rs.105 .57 crs (Rs.10.57 from 3rd phase & Rs.95 crs from the 4th phase) along with left out portion of 3rd phase. During the ensuing year the balance amount of Rs.80 crs expected to be utilized towards Elephant Corridor.

# Strengthening Project (ODSSP)

Under ODSSP scheme, WESCO Utility was allotted for 142 Nos, of 33/11 KV substations with an estimated cost of Rs.1145.92 crs. In order to reduce the lengthy 11 KV lines and associated loss therein, the new 33/11 KV substations has been created. The existing 11 KV lines are accordingly linked from the newly created 33/11 KV substations to the nearby 11 KV lines. Out of 142 nos of  33/11 KV substations, there are 15 nos of substations are still pending to be test charged/ Handed over. The Utility expects by end of FY 2021-22 almost all works would be completed.

# MEGALIFT POINT BY GOVT. ODISHA

As per the Govt Megalift irrigation scheme all the house hold would be facilitated with drinking water across the state. Accordingly, 10 clusters have been defined under licensee area. Under the scheme mostly separate bay extension work from the Existing 33/11 KV s/s or from ongoing ODSSP project 33/11 KV s/s is required to be made. There are 26 locations under the utility has been selected. For the current year Rs.18.00 cr and during ensuing year only one project amounting Rs.0.50 crs has been estimated under deposit head.

# SMART GRID PROJECT AT ROURKELA

Govt. of India initiated the development and deployment of Smart Grid in India in 2010. India Smart Grid task force (ISGTF) and India Smart Grid forum (ISGF) were constituted, thereafter under the aegis of ministry of power (MOP) to oversee the planning and implementation of Smart Grid activities. Accordingly, Smart Grid pilot project were sanctioned for various utilities/states by MOP in 2012 to implement the functionalities like advance metering infrastructure (AMI), power qualities management , Peak load management distributed generation , Micro grid and outage management. Along with these projects a 'Smart City' Project was also sanctioned for implementation by IIT-Kanpur and creation a 'Smart Grid knowledge center' was sanctioned for implementation by Power Grid.

A Smart Grid Vision and Road map for India was approved by ministry of power in August-2013 which also envisages the lunch of a National Smart Grid mission to plan and monitor implementation of the policies and programmes prescribed in the road map.  Ministry of Urban Development, GOI has selected 100 Smart cities in which Rourkela is one of the nominated Smart city. After that Rourkela Smart city was selected to implement Smart Grid project as proposed.

Due to different reasons the project is yet to be started. However, the licensee has already made proposal in its capex plan for FY 22-23 to cover strategic location of the licensee area to implement smart grid activity. Therefore, the reason and intention of Govt of Odisha for creation of infrastructure under smart grid project under western belt will be with latest technology.

# Revenue and Current year GAP

# 4.1Non Tariff Income

The Utility has proposed Rs.267.69  Crore as Non Tariff Income for the ensuing 	year FY 2022-23. The non tariff income is from meter rental, service connection charges, reconnection charges, ODP, DPS, wheeling charges, CSS etc. The details of Non-tariff income are as under

i)Rebate on Power purchase  		Rs.32.86 crs

(Licensee is eligible for 2%, 1% offered

to passed on and balance 1% shall retain by

the licensee)

ii)Meter rent 		Rs.21.50 crs

iii)Supervision charges 		Rs.20.00 crs

iv)Interest on FD		Rs.52 crs

v)Open access charges (CSS & wheeling)		Rs.129.33 crs

vi)Misc receipt		Rs.12 crs.

Total 		Rs.267.69

The licensee has not considered income from DPS with a hope that all of its customers shall made payment within due date and avail their rebate as otherwise eligible. However, on actual basis realization out of DPS if any may be trued up. However, the licensee is entitled to recover the finance cost from the DPS so collected. Hon’ble APTEL has also given verdict in this regard vide Appeal No.153 of 2009.

# Reasonable Return

The licensee submits that ROE @ 16% has been claimed amounting to Rs.48 crs on equity base of Rs.300 crs. Provision towards Tax on equity has also been made at the rate of 25.17 % gross (Tax 22% + Surcharge 10% +Education cess 4%) amounting to Rs.16.14 crs which may kindly be approved. The licensee & the stake holder also eligible for ROE on creation of capital assets through equity infusion (30% of Capex) and shall be claimed on actual basis through truing up.

# Current year FY 2021-22’s GAP

Further based on the actual sales, revenue and expenses for the first half of the current year 2021-22 and based on estimates for next half of current year, the revenue surplus for FY 2021-22 is Rs.95.63 Crore as against deficit of Rs.16.18 Crore approved by Hon’ble Commission.	In the ARR of Wesco utility Hon’ble Commission has approved surplus of Rs.74 .23 crs however, on approval of ABP of the licensee subsequently & recognition of A&G and R&M the figure moves to negative. Additional Employee cost for FY 21-22 on account of recruitment and approval of Hon’ble Commission shall be claimed through truing up in the ensuing year.

Statement of Current’s Year GAP

|  | Unit | OERC Approval | Estmd. | Diff |
| --- | --- | --- | --- | --- |
|  | MU |  |  |  |
| No of Units – sale | MU | 6914 | 6760 | 154 |
| RST per unit | Rs/Kwh | 5.36 | 5.50 | (0.14) |
| Sales | Rs Crore | 3705.76 | 4102.88 | (397.12) |
| Less-Bad Debts | Rs Crore | 27.42 | 38.74 | (11.32) |
| Net Sales | Rs Crore | 3678.34 | 4064.14 | -385.80 |
| Other Income | Rs Crore | 237.45 | 259.00 | (21.55) |
| Total Income | Rs Crore | 3915.79 | 4323.14 | (407.35) |
| Distribution Loss | % | 19.60% | 21.40% | 1.80% |
| No. of Units - Purchase | MU | 8600 | 8600 | 0 |
| BST per Unit | Rs/Kwh | 3.65 | 3.85 | -0.20 |
| Cost of Power | Rs Crore | 3140.48 | 3315.15 | (174.67) |
| Distribution Expenses | Rs Crore | 672.88 | 773.50 | (100.62) |
| Interest & Finance charges | Rs Crore | 34.27 | 59.85 | (25.58) |
| Depreciation | Rs Crore | 36.34 | 30.94 | 5.40 |
| Total Expenditure | Rs Crore | 3883.97 | 4179.45 | (295.48) |
| Contingency Reserve | Rs Crore | - | - | - |
| Reasonable Return | Rs Crore | 48.00 | 48.00 | - |
| Excess/(deficit) | Rs Crore | (16.18) | 95.69 | (111.87) |

NB:Tax on equity has been included under distribution expenses.

The licensee has submitted that Hon’ble Commission may kindly to acknowledge the above factor accordingly.

# Revenue at Existing Tariffs

The Licensee has estimated the revenue from sale of power considering the sales projected for FY 2022-23 and by applying the various components of existing tariffs. As detailed out in previous sections, the Utility has adopted the approach considered by the Commission and estimated the revenue from sale of power on accrual basis. The total revenue based on the existing tariffs applicable for the projected sales is estimated at Rs 4038.71 Crore.

The details of estimated revenue from different categories of consumers at existing tariffs are provided in FormT-7 & T- 8. The License humbly requests the Hon’ble Commission to estimate the revenue for estimated sales at existing tariff by duly considering the category-wise and slab wise in the format prescribed by the Hon’ble Commission with the applicable tariffs in each category.

# Summary of Annual Revenue Requirement and Revenue Gap

Based on estimated Revenue Requirement and Revenue at existing tariff, the revenue Surplus(-) for current FY 2021-22 is Rs.95.69 crs

| Revenue Gap with Estimated T&D(21.4%)-Current Year FY21-22 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including tax on ROE | 4218.19 |
| Reasonable return on ROE after tax | 48.00 |
| Sub Total | 4266.19 |
| Revenue from sale of power at existing tariffs | 3874.40 |
| Revenue from sale of additional power through TPA | 228.48 |
| Non-Tariff Income | 259.00 |
| Revenue GAP(+)/Surplus (-) | -95.69 |

However, with approved T&D of 19.60% the revenue surplus for the current year would increase up to Rs.165.78 crs.

| Revenue Gap with approved T&D (19.6%) Current Year FY21-22 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including tax on ROE* | 4148.10 |
| Reasonable return on ROE after tax | 48.00 |
| Sub Total | 4196.10 |
| Revenue from sale of power at existing tariffs | 3874.40 |
| Revenue from sale of additional power through TPA | 228.48 |
| Non Tariff Income | 259.00 |
| Revenue GAP(+)/Surplus(-) | -165.78 |

*Power purchase cost will be reduced by Rs.70.09 crs

Similarly considering the proposed distribution loss of 21% for FY 2022-23 the revenue Gap is Rs.   180.33   crs

| Revenue Gap with projected T&D (21%) FY22-23 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including Special Appropriation | 4534.42 |
| Reasonable return on ROE after tax | 48.00 |
| 0.0% | -95.69 |
| Sub Total | 4486.74 |
| Revenue from sale of power at existing tariffs | 4038.71 |
| Non Tariff Income | 267.69 |
| Revenue GAP(+)/Surplus(-) | 180.33 |

However, with approved T&D of 19.60% the revenue GAP for the ensuing year will be reduced to Rs.53.04 crs

| Revenue Gap with approved (19.6%) T&D FY22-23 |  |
| --- | --- |
| Parameters | Rs Cr |
| Expenditure including tax on ROE | 4477.22 |
| Reasonable return on ROE after tax | 48.00 |
| Revenue Surplus (-) FY 21-22 | -165.78 |
| Sub Total | 4359.44 |
| Revenue from sale of power at existing tariffs | 4038.71 |
| Non Tariff Income | 267.69 |
| Revenue GAP(+)/Surplus(-) | 53.04 |

*Power purchase cost will be reduced by Rs.57.20 crs

That, in the above background it is worth mentioning that as of now, at existing tariffs, the company through additional sale & proposed tariff rational measures along with efficiency gain will meet the short fall without any tariff hike. However, Govt support and subsidy if any shall be an additional help & will be passed on to the consumer.

# Initiatives by Utility & Other performance improvement measures

# Compliance to OERC Directions

Hon’ble Commission has given certain direction in the RST order dt.26.03.2021 and compliance to same areas under:-

- Direction at Para 374 - Introduction of kVAh Billing-

Compliance: - TPWODL has already started KVAh billing of all HT & EHT consumers from 4th Apr-21 onwards and also educated the consumers about KVAh billing system and its benefits.

- Direction at Para 479 - DISCOMs to take necessary steps in order to segregate their accounts for wheeling business and retail supply business in terms of the said OERC Regulation by 31st July-22. (The Commission in the last RST order directed to segregate their accounts for wheeling business and retail supply business in terms of Regulation 4.4 of OERC (Terms and Conditions for Determination of Wheeling Tariff & Retail Supply Tariff) Regulations, 2014. The Commission directs DISCOMs to take necessary steps in order to segregate their accounts for wheeling business and retail supply business in terms of the said OERC Regulation. The compliance on this account must be furnished by 31st July, 2022.

Compliance: -

Regarding segregation of books of accounts of the company it is to submit that TPWODL has taken over distribution activity from erstwhile Wesco Utility w.e.f. Hon’ble Commission has already given some set of principle regarding transferer of Assets and liability in the vesting order. A new balance sheet (carve out B/S) effective from 01-01-21 has to be issued by Hon’ble Commission, In such scenario segregation of accounts with present arrangement is not possible. Apart from the above to segregate wheeling from retail supply the cut-off point of metering arrangement is yet to be formulated. Therefore, the utility submits that till such time segregation may kindly be considered on the basis of allocation statement.

Hon’ble Commission has given certain direction in the Vesting order dt.28.12.2020 and compliance to same areas under: -

- Para No. 39 (d)- Seeking Hon’ble Commission approval on the detailed Capital Expenditure plan in line with regulation

Compliance: - TPWODL has submitted the Capital Expenditure plan for FY21-22 before Hon’ble Commission vide case no.07 of 2021 for an amount of Rs. 462.62 for approval against which Hon’ble Commission has approved an amount of Rs.333 Cr vide order dated 18th Sept-21.

- Para 53- Submission of ABP for FY21-22

Compliance: - TPWODL has submitted the details Annual Business plan for FY21-22 before Hon’ble Commission which was registered in case No. 37 of 2021 for an amount of Rs.988 crs under O&M expenses. Hon’ble Commission has already passed order on dated-27th Oct-21.

- Para 45(e)- Submission of detailed Management Structure & staff deployment plan Within 45 (Forty-Five) days of the Effective Date and the same shall be in line with the business plan submitted by TPCL as part of its bid.

Compliance: - As per terms Bid, TPCL has committed for deployment of 4209 Nos. manpower for TPWODL. TPWODL has already started the manpower deployment process through transfer from TPC-Mumbai/TPDDL & through transparent recruitment process

- Para 51 (b)- The Commission direct to WESCO utility to undertake a statutory audit to ensure that the audited balance sheet for WESCO utility as of 31.12.2020 be made available and be submitted to the Commission within a period of 6 (six) months from the Effective Date.

Compliance: - TPWODL has prepared audited accounts for FY 20-21 i.e. up to Apr20 to Dec-20 (9 Months) in consolidated manner as per OERC format. The same has been approved by Administrator Wesco utility & duly forwarded to Hon’ble Commission for further approval.

- Para 52 (d)ii -The Commission directs TPWODL shall file a petition to the Commission, claiming the Additional Serviceable Liabilities based on such financial statements required to be serviced. The Commission after prudence check will allow the additional serviceable liabilities, if any.

Compliance: - Upon approval of carve out balance sheet by Hon’ble Commission TPWODL shall submit the application claiming the additional serviceable liability.

- Para 81 - Commission directs that within 7 (seven) days of opening of Letter of Credit by TPWODL, the escrow arrangement shall be discontinued, and any lien/charge created on the bank account/Escrow account of TPWODL shall be vacated.

Compliance: - TPWODL has already submitted the Letter of Credit to GRIDCO & OPTCL towards two months average power purchase cost and transmission charges. In turn GRIDCO has also lifted the default Escrow mechanism vide its letter dated 24th Aug-21.

During performance Review meeting Hon’ble Commission has given certain direction & compliance to the same is as under: -

- The Commission directed TPWODL to file a status report on the current serviceable liabilities along with the status of fixed deposits and Consumer Security deposits by 20 July 2021.

Compliance: - The Audited Accounts upto Dec-20 has submitted to GRIDCO for verification on dated 14th July-21 & onwards submission to Hon’ble Commission. Upon compliance of subsequent queries raised by GRIDCO, the same has already been submitted with Hon’ble Commission. As regards to ASL, as on 31st March it was Rs. 196.51 Cr as per Vesting Order. On approval of carve out balance sheet ASL figure would be finalized. The fixed deposit of consumer security deposit fund as on 30th June-21 is Rs. 860 Cr & FD of deposit works fund is Rs.307 Crs.

- The Commission directed that the audited accounts up to 31.12.2020 signed by the Administrator of WESCO shall be submitted to the Commission by 31 July 2021.

Compliance: - As stated above, Audited Accounts upto Dec-20 has already been submitted to GRIDCO for verification on dated 14th July-21. Subsequently, GRIDCO has also submitted the same before Hon’bel Commission.

- The Commission directed GRIDCO, OPTCL and TPWODL for compilation of Government funded assets immediately and submit to the Commission a status report by 30th July-21.

Compliance: - The details of State Government Funded Assets has already been submitted with, GRIDCO vide letter No. TPWODL/Planning/771 on dated 13th Aug-21. Total Rs. 428.69 Cr excluding IPDS, ODSSP, DDUGJY scheme assets.

- The Commission directed TPWODL to monitor all the DTRs present in their network so that burning of DTR can be reduced.

Compliance: - DT failure rate has reduced by 25% upon implementation of various remedial measures like Load Balancing, Swapping of Overload DT, Thermos canning, Preventive & Corrective Maintenance of DT’s, Route Cause analysis of Failed DT’s., Monitoring of Oil level in DT.

- The Commission directed TPWODL to submit monthly report on installation of new meters and replacement of defective meters.

Compliance: - As on Sept-21, defective meters is 2.18 lakh & 0.88 lakh of unmetered cases is pending (Excluding LI & OLIC). TPWODL has planned to replace these meters by March-22.

# Various Payment Options

Digital Mode (online)

Hon’ble Commission is continuing to allow 2% digital rebate to LT Domestic and GP single phase customers since last year. Previous couple of year was 1%. Now, it is observed that consumers are moving towards online mode and availing the rebate. To improve the reach to the consumers, the licensee has engaged various service providers for easy payment option to the consumers for payment of Energy Bills through offline/online mode which would enhance the overall collection efficiency.  The purpose of such engagement of the service providers is to accelerate the revenue collection by providing the services at the door step of the consumers for any time payment of their Bills and to reduce the door to door collection by the Company.

Following service providers assigned with the responsibilities for collection of Electricity bills.

- Post Offices- Collection of cash through Post Offices.

- CSC e-Governance Services India Limited- Collection of Electricity Bills through CSCs / VLEs.

- ICICI Bank- Through Debit / Credit card and Net Banking Services.

- Atom Technology- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (28 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- Billdesk

- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (50 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- EBPP Services- Through Airtel  Money & Voda-phone m-paisa

- PayTM-Through paytm wallet or directly from the service provider using credit card and debit card.

- ICICI Bank :-Through Debit / Credit card and Net Banking Services

During year FY 18-19 the digital rebate was 1%. However, on introduction of 2% from FY 2019-20 onwards digital receipts have increased. A comparative statement for previous year and current year till Oct-21  is appended below for kind perusal of Hon’ble Commission.

Amount in Lakhs

From the above perusal can be made that during FY 20-21 full year 6.47 lakh money receipt has been generated through digital mode and amount of collection was Rs.95.75 crs. During the current year up to Oct-21 i.e for seven month the status is 4.10 Lakh money receipt and amount collected is Rs.72.40 crs. The licensee expects it will be double for the current year including march.

The utility is promoting online collection massive way and by end of the current year online collection of LT single phase consumers would be double. During ensuing year target has been made to promote online collection by many fold.

# Engagement of Retail vendors for collection through RCS mechanism (Revenue Collection System).

Revenue Collection System(RCS) is another online platform for revenue collection introduced in the FY 2017-18 and is now set up to replace the conventional mode of collection in full shape except the areas with limited mobile network coverage. The RCS mode of collection is gaining popularity among the consumers due to the transparency which enabled the consumers to get instant SMS of the payment in his registered mobile no. It is also valued by the revenue collecting vendor and staff due to easy operation through mobile application and relieved them to prepare tedious daily collection sheet at the end of the day.

The RCS system is online android based application software. The application should install in the mobile for collection of revenue and also a Bluetooth printer is required for printing of Money receipt generated by the application. All the data is stored in the cloud which can be accessible to the authorized person at any time from 7.00 A.M to 10 P.M. As soon as billing is complete for the consumer, the billing data is uploaded to the RCS server which shall be available a day after the billing of the consumer. The bill collector can see the current bill as well as arrear bill of the consumer in the application. The bill collector can receive the current bill amount in cash and also any arrear amount from the consumers. As soon as the transaction is complete the consumer gets the receipt printed out through the Bluetooth impact printer. In addition to this an auto SMS will be send to the registered mobile no of the consumer regarding the payment details. The payment will also reflect in the odishadiscoms site which the consumer also views by login to “http://www.odishadiscoms.com/applications/onlinepay/consumerlogin.aspx”by fetching its consumer number.

This RCS can be adopted by both internal staff and external agencies. The external agencies shall use prepaid mode collection system where they can topup their account by initial deposit to the WESCO account and able to collection up to the topup amount. The collected amount once deposited into the WESCO account the RCS account of the vendor will be recharged again and the process will continue.

The system can enable different executive starting from SDO to Head office level to monitor the revenue collection on real time basis to take timely action.

RCS collection Trends from Apr-21 to Oct-21:-

| RCS COLLECTION TRENDS FROM Apr’21-Oct’21 |  |  |
| --- | --- | --- |
| Month | Collection Amt (Rs in Crs) | No of Money Receipts |
| Apr’21 | 1.23 | 7728 |
| May’21 | 20.91 | 170455 |
| Jun’21 | 24.56 | 213000 |
| Jul’21 | 24.37 | 244847 |
| Aug’21 | 24.11 | 246977 |
| Sep’21 | 30.21 | 330412 |
| Oct,21 | 34.01 | 346693 |

| RCS users as on Oct’21 |  |
| --- | --- |
| Division | Users |
| SAMBALPUR | 52 |
| JHARSUGUDA | 89 |
| DEOGARH | 48 |
| SAMBALPUR(E) | 49 |
| BRAJARAJ NAGAR | 36 |
| BARGARH | 38 |
| BARGARH(W) | 58 |
| ROURKELA | 66 |
| SUNDERGARH | 61 |
| RAJGANGPUR | 57 |
| ROURKELA-SADAR | 36 |
| KEED | 8 |
| KWED | 25 |
| NUAPADA | 7 |
| BOLANGIR | 87 |
| TITLAGARH | 121 |
| SONEPUR | 85 |
| Total | 923 |

Due to the above advantages we are now able to achieve 80% of the total coverage through RCS mode. Presently up to Oct’21 we have deployed 923 RCS machine which will be increase to 1500 machine at the end of the FY 2021-22.

Advantages:-

- 100% check on money receipt manipulation and fraud of revenue collection.

- Monitoring of collection on Real time basis.

- Neither manual DC sheet is required nor is Data entry of all MR to system required.

- Instant SMS to the consumer on payment which makes the RCS consumer friendly.

- Cost of printing of Manual Money receipt is being saved.

# Tied up with various Banks -POS machine

HDFC bank had provided 100 POS (point of Sale) machine to facilitate swapping of Debit card/ Credit card for making payment of the electricity bills to Erstwhile Wesco utility. The same are being made available in division offices, customer care offices. This is another way of facilitating consumers and increase of revenue collection. Recently, they have added another 100 POS Machine across all the division of rkL & SBP circle.

To improve our collection efficiency and reach the interior regions of the Company’s distribution network, TPWODL has tied up with IndusInd bank to leverage the bank’s network with BharatPe where the bank’s correspondent (small merchants/ kirana stores/petrol pumps) would collect electricity bills and offer loans to the consumers with a nominal charge per transaction to the Company. Also, IndusInd bank has provided 1400 POS machines which will enable the Company’s agents to collect payments on the go digitally mode as well as through swapping of Debit Card/ Credit Card. The company believes that proper implementation and utilization of this tie-up would increase the collection efficiency in the rural areas where at present it is difficult to reach the end consumer.

Further, the company is in advanced discussion with SBI and HDFC for their Customer Management Services where the banks would provide cash/cheque pickup and drop services, ECS mandate payment services, E-collection vans which would lead to better collection. The banks would also provide detailed MIS report enabling the company in better segregation and management of consumer collection. The company expects to start the CMS services by 2022

BHARAT MONEY STORE

A tripartite agreement has been executed with IndusInd Bank & Bharat Financial Institution Ltd. (BFIL). BFIL is a wholly owned subsidiary of IndusInd Bank with main objective to carry out as a business facilitator or authorized agent / sub-agent to its customers. BFIL as a business correspondents renders certain services on its behalf as “BHARAT MONEY STORE (BMS)”. Under this mechanism BMS will open various out lets at the door step of consumer i.e, at kirana store in different villages across the licensee area where rural/village level consumers can avail the services of TPWODL particularly payment of electricity bill.

Why BMS has been selected

- Bharat Money Store is having 4690 outlets across the rural area of the licensee.

- TPWODL intends to reach at door step of each of its rural consumers dwelling in remote geographies of the licensed area.

- Upon execution of tripartite agreement IndusInd Bank and BFIL shall extend the services through Bharat Money Store who facilitate in bill payment

Procedure of energy bill payment

- To enable the payment, Bank has designed and developed the bill payment platform suitable for TPWODL in their existing App used by merchants.

- This Bill Payment platform will enable merchant to collect payment from consumers against the monthly bill raised by TPWODL.

- Consumer need to visit their nearest BMS merchant store for bill payment along with copy of the energy bill.

- Consumer need to provide the 12 digit consumer number or registered mobile number to fetch the bill details.

- Post confirmation, merchant initiate the payment process and provide confirmation message through SMS/WhatsApp or print acknowledgment wherever possible.

- BMS Merchant will accept the payment from the consumer only after deduction of money from his account

Commercial mechanism

- For the service provided through BFIL, TPWODL shall pay the consideration to Bank on monthly basis.

- The consideration shall be paid by TPWODL within 15 days from the receipt of invoice either in physical or electronic form.

- At present the consideration amount for each transaction is Rs.4/- plus applicable taxes.

# Engagement of GPLF/WSHG as micro franchisee

TPWODL is already engaging Women Self Help Group for collection of energy dues in different divisions. Presently 66 nos of SHG groups are engaged in TPWODL area for collection of revenue. However, steps have been taken to engage more WSHG participation in power sector for meter reading, billing and collection purpose. One NGO named Niyatee Foundation has been deployed as nodal agency to cooperate with the SHG in collection and billing activity. The WSHGs are encouraged to take up billing activity in addition to collection activity as per their agreement in a view that their earning will be better however the groups may take few months to make themselves comfortable with the newly developed Billing and Collection module. The recent rate hike by Commissioner-cum-Director, Mission Shakti from Rs 5/- to Rs 8/- for billing per consumer and from Rs 6/- to Rs 10/- per consumer per month for collection makes the WSHG more enthusiastic towards the activity. The selection process of WSHG is already going on and once the selection process will be over the groups will be imparted training and engaged for billing and collection activity. TPWODL has already planned to engage 350 SHGs across all 9 districts at end of this financial year.

The parameters of selection are as follows: -

- WSHG must have completed 2 years of existence.

- WSHG must have the willingness and ability to undertake electricity billing and collection of electricity charges.

- WSHG must have active bank account and shall have monthly savings by WSHG members.

- WSHG should have regular and systematic book keeping relating to Meeting Register and updated Pass Books.

Only one WSHG will be selected for electricity billing and collection of electricity charges in one Gram Panchayat (GP) or ward.

Security Deposit:-

Agreement with the selected WSHG shall be executed on furnishing of security deposit equivalent to three (3) days average collection of base year and security deposit equivalent to 50% of SBM or mobile phone used for collection shall be deposited.

Remuneration Structure:

- In terms of Government of Odisha, notification No. PT1-ENG-EL-RGGVY-0002-2019-8541/En., Bhubaneshwar dated 9th September 2021, the remuneration towards billing per consumer per month is fixed at Rs 8/- and per bill collection is Rs.10/-, subject to one money Receipt per consumer per month.

- FY 2020-21 will be considered as base year for fixing target.

- BLCT (BASE Line Collection Target) will be adopted for determining target of billing and collection efficiency, which will be 10% over and above the average collection made during base year.

- Target will be fixed on quarterly basis with additional 10% over and above the quarterly collection made during base year.

# Other initiatives for Revenue Improvement:

Customer care and call Centre

It is utmost important to resolved the consumer grievances as quickly as possible.  The tradition system of fuse call Centre is now replaced with more advance customer care center to address all the technical issues related to the supply of power in the consumer premises. Presently Call Centre made live on 1st Apr’21 with 10 logins

Features of Call Centre:

- Interactive Voice Response System (IVRS) based calls routing to agents

- Computer Telephony Integration with CRM

- Options of three languages i.e. Odia, English and Hindi

- Auto-forwarding of complaints to SDO & Section based on codes derived from consumer account

- 7 options to choose on main IVRS

- Reporting of theft and ethics related issues through voice recorded message

- Auto-answer by IVRS in case of outages (being explored)

- Option available on IVRS for mobile number and Email ID updating.

Functions of Call Centre

- Exclusive E- Care Centre – Initiated for responding Consumer queries, requests, complaints & grievances through Emails, Letters and Social media. Also, auto-response integrated through E-Mail and standard script designed for proper written response to consumer E-mail to improve experience.

- New initiative taken as NSC missed call service where call center team regularly follow up with the consumer who missed a call on our given no (7411779783).

- IVRS for Capturing Mobile Numbers and E Mail IDs – IVRS developed to capture mobile number & E-Mail IDs to improve consumer reachability and other service related communications.

- Initiative taken to collect all EHT/HT Consumers contact numbers and Email IDs to improve contact ability and other service related communication.

- KAM Contact Plan - As a part of KAM Contact plan, connected with all HT/EHT Consumers. Taken up resolution of issues/complaints with respective departments.

- E- Billing Drive for HT_EHT Consumers- Initiative taken to send E-Bill from KAMs email ID within 8 hours from the time of bill generation then E-Bill gets generated automatically from FG portal to consumer email ID with a copy mark to respective KAMs.

- Tele-Calling Process for Recovery - Tele-calling process initiated to maximize recovery of pending arrears of HT, EHT and LT_3 Phase Consumers.

- Initiated Call Back Request Process to reduce Inbound call Average Handling Time and Improve overall Consumer experience. Call Back Request taken for detail Bill clarification, system down time and call disconnected during an ongoing call.

- Consumers queries, complaints & attribute changes have been taken care immediately by appointed KAMs in coordination with respective departments.

- HT-EHT Client Visit Programmed – A program initiated by KAMs to visit HT-EHT clients to develop a trust relationship, to expand contract demand, communicate TPWODL value added services and AMC solution for 11KV and 33 KV maintenance, investment towards capex and other value-added services,

- Grievance Real Time Response - Initiated to address and response grievances of our consumers in real time basis on TPWODL Twitter page and CM Grievance.

- Mo-Sarkar Visitor Management System – Initiative taken to re-start Mo-Sarkar Visitor Management System, which aimed at reaching general public with the objective of receiving their feedback on the programmes of the Government.

- Arrear Recovery Plan – Initiative taken for deploying business associates in different circles for arrear recovery of HT-EHT, 3 Phase and Single-phase PD and TD status consumers.

- Disconnection notice generated automatically along with monthly bill of 3 Phase consumers having arrear more than 5k. Same followed-up regularly for arrear recovery & disconnection.

- Automated Complaint flow to Bidyut Abhijog Sanchalak(BAS/TO)-  CRM integration done for automatic Email and SMS trigger to TO desk for NPS / O&M complaint resolution. Also, TO desk complaint closure mechanism designed for proper close looping of the complaint.

- Repeat Caller Pop-Up in CRM – If any repeat caller calls to call center more than 2 times within 24 hours, pop up message will display in agent CRM screen “Repeat Caller-Handle with Care”. This will help agents to identify repeat caller they will handle the consumer with extra care. This will avoid further escalation and improve customer satisfaction.

Achievements of CS & KCG

- Till date 100% of E-Abhijoga (i.e. 58 out of 58), 88% of CM-Grievances, and 82% of Mo Sarkar Grievances has been resolved by the help of respective department.

- Till date we have received 890 Nos. of missed call where 223 Nos. of Consumer wants New Connection followed up taken by Call Centre team.

- TDS deduction has been tracked by all the KAMs for their respective Circles.

- All HT/EHT defaulters have been called by the respective KAMs to confirm payment of dues.

- Disconnection notice individually shared by respective divisions by the help of KAMs to all HT/EHT defaulters.

- CS & KCG team participated at PSCC on 31st August and SLD has been observed.

- 709 Nos of new Mobile number and 273 Nos of Mail ID has been registered for 3 Phase Consumers on FG Portal by the help of Call Centre Team.

- Online payment related complaints (Bill Desk Issue) reduced in the month of Aug’21 and Sep’21 comparison to Jul’21 through regular highlight of the root cause to Bill Desk Team.

- Auto acknowledgement of E-mail designed with standard script which prompt to sender to provide 12 digits consumer number, contact number, E-mail from registered email ID to quicker resolution of email complaints.

- Complaint registration without Out-Call integrated through CRM. Now it is easier to register complaints received from any source like E-Mail, KAM & CCC.

- Arranged meeting with all departmental heads & REC (Govt. Agency) for documentation of consumer service rating. Successfully completed documentation for evidence against CSI inputs from respective departments.

- Recovered Rs. 15.41 crores from arrear prior to 31st Mar 2020 (Bucket-B1) from HT-EHT and LT 3 phase consumers.

- Visited 388 HT-EHT Clients by KAMs of respective circles in the month of September and their concern has been addressed, feedback captured, load enhancement request taken.

- OTP was not generated in MO Bidyut due to Website issue. Informed the Consumers through call center to reapply for new connection post rectification of OTP issue.

- Mobile Numbers and Email IDs of Telephonic Operators for 5 circles has been updated successfully through call center CRM for timely close looping of NPS and O&M complaints.

- Ensuring HT /EHT e-billing trigger to all consumers by KAMs and sending bills personally to some high value consumers e.g.- Bhushan steel, Vedanta, SMC, TRL refractories ltd, Railways before auto trigger time.

- Integration of call interaction and complaint history in CRM which will enable agents to view consumer call and complaint history in a single screen this will help in quick resolution and reduce AHT.

- 2223 Nos. of NPS and O&M Complaints resolved and close looping done by regular follow up with respective TOs by call center team from 20th Sep’21 to 30th Sep’21.

- 388 HT-EHT clients met by KAMs in the month of Sep’21. Commercial & O&M related concerned / Feedback has been taken and shared with concerned department.

- Acquiring a thorough understanding of the network of the HT/EHT consumers, Feeder wise tagging, there conductor ageing, realizing if safety parameters are met or not.

- Making them understand various purposes of our company, our goals, our investment towards capex, other value-added services provided by TPWODL.

- Consumers are pleased with the KAMs visit, satisfied with changing environment and valuable steps.

- KAM are deputed to respective circles of TPWODL, they are the single point of contact for attending HT-EHT queries, request & complaints.

- Coordinating with concern department for quick resolutions of complaints.

Improvement Plan

- Development of WhatsApp Services to provide services to consumers at their fingertips digitally.

- Consumer Satisfaction Indicator to be initiated at call center where consumer satisfaction level can be measured towards Call Center, billing, Power Supply, Collection & Payment related services.

- Consumer Rating System to be introduced where consumer will be rated based on payment behavior, Legal, Enforcement.

- Grievance Redressal Mechanism to be integrated with FG CRM so that grievances will flow automatically to concerned circle heads and division heads as per SOP timeline for quick action & resolution.

- KASH - "KYA AAP SANTUST HAIN" (Happy Calling) project to be initiated to measure satisfaction level towards complaint resolution.

- Establishment of new & renovated Customer Care Centre's in TPWODL.

- 4 Vendors has been appointed for recovery of disconnected (TD/PD) & active customers. Target of Rs. 20 Cr has been set for recovery through these vendors.

- G&I Cell has been formed for recovery of Govt dues. Team shall coordinate centrally at Bhubaneswar with different Govt Administration Offices and locally at collector, Municipal Corporations etc.

- HT- EHT customer connect has been initiated through KAM. Contact plan has been developed and visit shall be conducted accordingly. Key objective of the customer connect are:

- To develop a trustworthy relationship with a high value consumer and to represent TPWODL goal which is customer satisfaction by meeting their expectations.

- Acquiring a thorough understanding of the network of the HT/EHT consumers, Feeder wise tagging, conductor ageing, adherence of safety parameters.

- Building relationships with the consumers by providing continuous solutions to meet their requirements for growing business.

- Proposing the consumers to enhance their contract demand.

- Proposing them AMC solution they can take from TPWODL regarding 11KV and 33 KV maintenance.

- Making them understand TPWODL vision, goals, investment towards capex, other value-added services.

Consumer Service-related activity

TPWODL is committed to provide the best-in-class services to its consumers. The key element in serving the customers is to keep new connection/load change process easy & simple. In order to achieve the objective, we have already introduced 100% workflow based ‘on-line’ New Connection and Load Change processes to provide our customer a fair, transparent and hassle-free experience to last in memory.

The new process is designed in a manner that all the request of new connection upto 5 kW are being registered and processed through MO-Bidyut platform in first phase. In second phase, all the new connection/ load change requests shall be registered and processed through Fluent Grid (FG) system.

Giving priority to the optimum customer satisfaction, enhance productivity, upkeeping the brand image and socio-environmental commitment, the following major initiatives has been introduced in the current year:

- Online Application Process for Release of New Service Connection:

Consumers can avail one stop solution to apply for new service connection both LT, HT & EHT category. TPWODL has introduced paper less application process through its online platform under Go-Green initiative. Consumers can apply just click in to: “https://www.tpwesternodisha.com/new_connection.html” for new connection.

- System Generated Estimate:

TPWODL has established Centralized Backend Team for handling of online applications. System generated estimates with detail breakup reflecting statutory requirements such as (Application Processing Charges, Security Deposit, Meter /Metering Unit / Metering Cubicles Cost, AMR Cost and Transformer Testing charges etc) has generated and served to customer online for payment. All estimates are issued within 7 days after receipt of completed applications from customers. This has reduced cycle time.

- Online Payment of Estimated Demand Charges:

Once estimate is generated then system will auto trigger SMS to customer through URL link. Customer can make payment directly in FG system and the request will auto advance to the next stage. Consumers can also make estimate payment through TPWODL portal: https://www.tpwesternodisha.com/paynow.html

- Online Power Supply Agreement: Customers can submit online Declaration Cum Undertaking (Power Supply Agreement Execution) for LT/HT connection through TPWODL Website. Based on the consumer’s Submission, System will execute Power Supply Agreement and create pdf file. PDF Documents will be auto emailed to consumer and to DISCOM for future reference and records.

Going further, Name Change, Address Change, Net Metering Application for Rooftop Solar Consumers and Category Change application shall be registered and processed through FG system only.

Safety related activity

Safety is the first and foremost value of Tata Power as it prioritizes it more than any other business objective. Tata Power deems the wellbeing of its employees as well as its stakeholders with immense importance with safety being one of the major pillars of one's wellbeing. Operating in the power sector for a company like Tata Power exposes it to many hazards which can result in human, environmental and financial losses. Keeping this in mind, Safety of its employees, business associates, workers and the community around it is of utmost importance to Tata Power and it has imbibed it in its working culture. TP Western Odisha Distribution Limited has inculcated this prioritization and culture of Safety from its parent company.

The inception of the Safety Journey took place with the launch of Safety Policy of TPWODL on 11th January 2021, on the basis of the policy, Safety Deployment roadmap of TPWODL has been framed identifying the actions to be taken during one year in three phases. The three   phases are being earmarked as Initial phase, Short term plan and long-term plan.

A safety orientation has also been conducted with the employee of erstwhile WESCO utility in order to orient them with the culture of safety at Tata Power initially. Safety Orientations were conducted across the five circles of TPWODL with a total participation of 3595 employees and business associates.

Safety oath is now regularly observed on daily basis before start of work by the field staff across the Discom to earmark the culture of safety. All employees and field staff working under business associates are provided with safety shoes, helmets & hand gloves. Daily tool box talk practice at site has been established to brief about the job to be carried out, hazards associated with the activities and its control measured to be implemented during execution of the job by the supervisor.

A web-portal for reporting Safety Observation has also been launched to proactively identify & rectification of the unsafe conditions at all location.

Monthly Safety meeting is going on at all division and circle level to address the safety related issues. Accordingly, safety governance structure released and shared with all employees. The MOM of the meeting monitored for continual improvement.

All incidents occurred at TPWODL area reported and daily incident flash report shared by corporate safety with all. The reported incidents reported are investigated by the team to find out the root cause of the incident. The lesson learned from the incident shared across TPWODL for horizontal implementation to avoid re-occurrence of similar type of incident.

Dedicated safety professional has been appointed at circle to monitor the safety plan every month. To monitor safety activities at grass root level knowledgeable line man of each sections are identified as safety Marshal of the section to enhance workplace safety. The safety marshals are trained to act as trainer. They are involved in all safety related activities. Some of the regular activities are highlighted below:

- Safety manual has also been developed in local language (Odia) and circulated among all safety marshal, section officers, SDO, Divisional managers& circle heads for reference.

- Safety policy & posters are displayed at site for the awareness of employees.

- Safety related information shared with team through What’s app group and immediate action initiated if any unsafe observed at site.

- Reward and recognition for safety is established at TPWODL and people are recognised and rewarded during town hall meeting in presence CEO and other senior officers of TPWODL

- To enhance the competency of employee various training programme has been planned for all level of employees and organised every month. The training include safety while working at height, permit to work, use of double lanyard full body safety harness, use of Neon tester, creation of safety zone, use of fire extinguisher etc.

- Theme based monthly safety drive started. Mass safety awareness drive organised for all field staff.

- Gyankosh web based training has been  launched and every month safety training on different topics like safety induction, office safety, working at height, lock Out Tag out system, fire safety , electrical safety etc was assigned to all employees to complete it within the target date.

- Safety motivational programme like road safety week, National safety week environment day etc are being organised across the discom. The safety week are being celebrated through a number of communications by senior leadership, activities, competitions, training sessions, knowledge sharing and sharing of procedures took place. Different type of Safety competition conducted during the safety campaign and winners are rewarded.

- To enhance safety awareness among employees’ various activities are organised from time to time through various forum like FM radio, local newspaper, digital mobile van. Public announcement etc.

- Public safety poster displayed at prominent location of TPWODL area.

- Drive initiated to fence the DTR to prevent entry of pet animals and public resulting fatal incidents.

- Safety awareness programme started at rural area through pallisabha by local people.

# Allocation of Wheeling and Retail supply cost

Hon’ble Commission has formulated regulation for bifurcation of Wheeling and Retail supply business vide notification dated 14th Nov-2014. According to the said regulation the Utility is required to file its ARR application as per the amended regulation. In line with the same as per clause 4.3 and 4.4 of the regulation for such period until the accounts are segregated, the Utility shall prepare an allocation statement to apportion cost and revenues to wheeling and Retail supply business and submit it along with ARR for approval of Hon’ble Commission.  In view of the same the utility is proposing the following allocation statement for kind approval of Hon’ble Commission.

* Allocation of power purchase cost towards wheeling has been made considering 8% Loss on input after effecting EHT sale.

# Truing up of FY 20-21

As per the existing regulation the licensee is mandated to file it’s truing up petition before 30th Nov of each year for the previous year. Accordingly, for FY 20-21 has been filed with Hon’ble Commission separately. An abstract is depicted below for kind reference.

# Tariff Proposals and Rationalization Measures

Hon’ble commission in each and every RST order is providing their observation w.r.t the proposal of licensee towards tariff rationalization measure. Some are being accepted and the ones which are denied are with reasons.

During the ensuing year the utility is proposing certain tariff rationalization measures in the following paragraph. Some are new and some are repeated in nature with justification is being appended.

# Levy of CSS on RE power

Presently CSS is not leviable on RE power and Transmission and wheeling charges has been limited to 20% as per Hon’ble Commission’s order dt.26th March-21. This licensee has repeatedly prayed for levy of CSS & wheeling charges on RE power and also most of the States have already abolished the exemption. Recently TPCODL & TPNODL has filed petition before Hon’ble Commission for with drawl of exemption of CSS vide case no. 81/2021 & 84/2021 respectively. TPWODL has already submitted its views supporting their petition. For kind perusal of Hon’ble commission, the scenario of drawl of RE power under TPWODL area in last 2 & Half year is appended below

Figures in MU

|  | FY 19-20 | FY 20-21 | FY 21-22 (till Sep-21) |
| --- | --- | --- | --- |
| Drawl of RE power by different industries | 185 | 244 | 1289 |

It is for kind information of Hon’ble Commission that most of the States across the Country has implemented levy of CSS, Transmission losses, Transmission charges, Wheeling losses, Wheeling Charges & additional surcharge. A state wise details is provided hereunder

| Status of concession for Renewable Power on Open Access |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| State | State Transmission Losses | State Transsmission charges | Wheeling Losses | Wheeling Charges | Additional Surcharge | Cross Subsidy Surcharge |
| Madhya Pradesh | No waiver | No waiver | No waiver | No waiver | No waiver | No waiver |
| Maharashtra | No waiver | No waiver | No waiver | No waiver | No waiver | No waiver |
| Gujarat | No waiver | No waiver | No waiver | No waiver | Sale Outside State-100% Waiver Sale Inside State- 50% Waiver | Sale Outside State-100% Waiver Sale Inside State- 50% Waiver |
| Andhra Pradesh | No waiver | No waiver | No waiver | No waiver | 100% waiver | No waiver |
| Assam | No waiver | 100% waiver | No waiver | 100% waiver | 100% waiver | 100% waiver |
| Bihar | No waiver | 100% waiver | No waiver | 100% waiver | 100% waiver | No waiver |
| Chhattisgarh | No waiver | 100% waiver | No waiver | 100% waiver | 100% waiver | 100% waiver for Solar, 50% waives on others |
| Karnataka | No waiver | 50% waiver | No waiver | 50% waiver | 50% waiver | 50% waiver |
| Odisha | No waiver | 80% waiver | No waiver | 80% waiver | 100% waiver | 100% waiver |
| Tamil Nādu | No waiver | 50% waiver | No waiver | 50% waiver | 100% waiver | 30% waiver |
| Telangana | No waiver | No waiver | No waiver | No waiver | No waiver | No waiver |
| Uttarakhand | No waiver | No waiver | No waiver | No waiver | No waiver | No waiver |
| Rajasthan | No waiver | No waiver | No waiver | No waiver | No waiver | No waiver |

Two DISCOM namely TPCODL & TPNODL has had filed petition before Hon’ble Commission vide case no.81 of 21 & 84 of 21 respectively,  for withdrawal of exemption of levy CSS on RE power, while adjudicating the matter on dt.23rd Nov-21, Hon’ble Commission has the opinion to submit the proposal in the ARR so that it will be heard through public and appropriate decision may be taken accordingly. In line with the same the licensee is submitting herewith for levy of CSS & wheeling charges on RE power which may kindly approved

# Incremental digital rebate from 2% to 3% for LT Domestic, LT GP single phase & Single phase irrigation consumers

Hon’ble Commission has pleased to extend additional rebate of 2% towards digital payment for LT single phase Domestic & GP category of consumers since FY 2020-21. This is yielding very good result. The cost of collection is increasing if done in otherwise mode. So, if the prompt payment digital mode rebate is increased to 3% from existing 2% then definitely single phase consumer collection coverage   will increase to substantial range. Therefore, the additional rebate of 2% in addition to normal rebate as applicable may be enhanced to 3% for LT single phase Domestic (including Kutirjyoti) & single phase GP category of consumers. This benefit may also be extended to LT single phase irrigation consumers.

# Discount to Domestic Rural Consumers

Hon’ble Commission has allowed special rebate for Rural LT domestic consumers @ 5 paise per unit in addition to existing prompt payment rebate who draw their power through correct meter and pay the bill in time. In line with the above the licensee is intending to increase the special rebate of @ 5 pasie per unit to @ 10 paise per unit for the LT Rural Consumers in addition to the existing prompt payment rebate & digital rebate who draw their power through correct meter and pay the bill in time. Hon’ble Commission may take a decision in this regard.

# Inter DISCOM Feed extension to Railway

Presently there are 16 nos of Railway Traction consumer under TPWODL area with   load of more than 200 MVA. They are the prime consumer of the licensee serving the western belt of the State as well as to the people of India at large. Railway Traction is the backbone of the industries for import/export of raw material/finished products from one state to other and also covers inter DISCOM licensee area. Presently With regulatory instructions and support of OPTCL benefit of feed extension is being allowed if the recorded MD on one traction Substation exceeds due to its feed extension over another traction sub-station of same DISCOM. However, when feed of one TSS of a DISCOM is extended over another TSS of other DISCOM then the benefit is not given. Railway is continuously pursuing since recent past that the major reason of fault is due to OPTCL network & there are the single transmission licensee across the state why they should be deprived off from such benefit when there would be a feed extension between inter DISCOM.

Considering above, TPWODL submits before Hon’ble Commission to provide necessary guidelines in this regard to extend such facility to Indian Railway who is a prime customer of all the DISCOMs.

# Creation of Category for Mega lift points under EHT

The licensee is having a consumer under mega lift with CD of 13500 Kva and availing power supply with 132kv level. As there is no such tariff category under EHT for such supply TPWODL is billing them with HT irrigation category where demand charges & energy charges are very nominal. Hon’ble Commission is requested to kindly create separate category under EHT with demand charges of Rs.250 per kVA and energy charges under graded slab method.

# Special tariff to steel industry

Hon’ble Commission in the RST order dt.26th March 21 has extended a special discount to steel industries (induction furnace units). Under this scheme industrial consumers (Steel Plant) having CD of 1 MW and above who are drawing power in 33 KV shall be allowed a rebate of 30 paise per unit (kVAh) for the units consumed in excess of 60% of load factor up to 70% of load factor and 40 paise per units (kVAh) for the units consumed above 70% load factor upto 80% load factor and 50 paise per units (kVAh) for energy drawn in excess of 80% load factor per month. This shall be in addition to all other rebate the consumer is otherwise eligible.

This was a welcome step of Hon’ble Commission to retain the industries of the state because due to cheaper price in adjacent states like Jharkhand and Chhattisgarh most of the industries (specifically steel industries) are shifting their units. As per the submission of industries association they are finding it difficult to competent with similar industries in the adjacent states due increase in production cost where electricity is contributing more. So, the benefit of discount extended by Hon’ble Commission along with introduction of kVAh tariff has nullified everything. They are also pleading that Odisha is having surplus energy, however in absence of adequate generation in neighboring states they are offering cheaper price. Therefore, unless a competitive price is being offered to them, they will be forced to closed down their units.

During current year there are 12 steel industries (stand-alone induction units) suddenly closed their units citing higher tariff in Odisha. To retain such industries, TPWODL has made special agreement with them which is valid till 31st March-22.

On analysis of steel industries tariff structure of neighboring states, it is observed that their tariff is quite competitive. For kind perusal of Hon’ble Commission we have depicted the summary of steel industry tariff in few of the states as below:-

Tariff offered by DVC (Damodar Valley Corporation) in Jharkhand for steel industry- Energy charge per KVAh is Rs.3.75 & Load factor incentive is allowed upto 15% of total energy charges whose LF exceeds 65%.  For any “X” % increase in the load factor over and above 65%, the rebate shall be allowed at the rate of “X” % on the total energy charges corresponding to energy consumption of the consumer subject to a maximum ceiling rebate of 15%.

Illustration: If a consumer’s load factor for a given billing month is 78.50% then the percentage rebate allowed to such consumer shall be (78.50%-65.00%) i.e., 13.50% on entire energy charges.

Tariff Offred by JBVNL (Jharkhand Bidyut Vitaran Nigam Ltd)- Load factor incentive is allowed upto 15% of total energy charges whose LF exceeds 45%. For any “X” % increase in the load factor over and above 45%, the rebate shall be allowed at the rate of “X” % on the total energy charges corresponding to energy consumption of the consumer subject to a maximum ceiling rebate of 15%.

Illustration: If a consumer’s load factor for a given billing month is 58.50% then the percentage rebate allowed to such consumer shall be (58.50%-45.00%) i.e., 13.50% on entire energy charges.

In addition to above there is a Voltage rebate @ 3% on Demand and Energy Charges at 33 KV level.

Tariff structure for steel industry in TSL (TATA steel Ltd) Jharkhand- Load factor incentive is allowed upto 15% of total energy charges whose LF exceeds 55%. For any “X” % increase in the load factor over and above 55%, the rebate shall be allowed at the rate of “X” % on the total energy charges corresponding to energy consumption of the consumer subject to a maximum ceiling rebate of 15%.

Illustration: If a consumer’s load factor for a given billing month is 68.50% then the percentage rebate allowed to such consumer shall be (68.50%-45.00%) i.e., 13.50% on entire energy charges.

No doubt our tariff was competitive with Chhattisgarh, however in a recent development Chhattisgarh State Electricity Regulatory Commission vide order dt.02-08-2021 has enhanced the caping of load factor rebate from 8% to 25%. As a result, the tariff at Chhattisgarh became cheaper for steel industries connected in 33KV voltage as compared to Odisha.

Para 30 “o” of order dt. 02-08-21 In the Tariff Order for FY 2020-21, the Commission had provided Load Factor rebate for LV-4 Steel category for Load Factor equal to or higher than 63%. The Commission had capped the Load Factor rebate at 8%, to be achieved at 70 % Load Factor. Based on the need to improve the Load Factor of utilisation of power supply of this important category from CSPDCL, the Commission has provided Load Factor rebate for Load Factor equal to or higher than 50% and increased the cap for Load Factor to 25%, which is to be achieved at 74 % Load Factor. Since, the objective of the rebate is to increase the utilisation of power supply from CSPDCL, this facility of Load Factor rebate shall not be applicable to those consumers in HV-4 category having captive generating facility with installed capacity above 1 MW. This will encourage higher consumption by this subsidising category, which would improve the revenue of CSPDCL.

A comparative tariff statement of neighboring states is appended below:

| State | Name of Licensee | Per Unit Cost in Rs |
| --- | --- | --- |
| Jharkhand | DVC | Rs.3.82/Unit |
|  | JBVNL | Rs.5.15/Unit |
|  | TSL | Rs.5.60/Unit |
| Chhattisgarh | Chhattisgarh State Power Distribution Company LTD. | Rs.6.49/Unit |
| Odisha | TPCODL, TPWODL, TPSODL, TPNODL | Rs.6.21/Unit |

Keeping in view of the above, TPWODL submits before Hon’ble Commission if a similar type of load factor discount tariff can be offered then our state will definitely retain such industries who are migrating to other states. Which will definitely improve the socio-economic condition of the state. In our view we may offer to such steel industries those who are connected in 33kv level with CD of 1MW and above and have no CGP with the following condition

- on achievement of 75% LF up to 80% LF a discount of 8% on entire Energy charges,

- on achievement of LF >80% to 90% LF, discount of 9% on entire energy charges.

- Those who will achieve LF more than 90% then discount of 10% on entire energy charges can be offered.

- Load reduction shall not be allowed during the tariff year

- Industries opting for open access in any month shall not be eligible for this benefit.

- This benefit is in addition to all other rebate the consumer is otherwise eligible

- LF shall be calculated as per existing regulation

# Special tariff for industries those who have closed their units if reopen/starts.

TPWODL has made an extensive study in its area of operation and found that there are no of industries have closed their units since long. This may be due to different reason, but resources are getting wasted because of non-operational. To start a business creating all the infrastructure is always a challenge however, having a set up an industry can start with minimum expenditure. Specifically, with the present market condition i.e, COVID-19 affected scenario, if a suitable tariff structure for the closed units can be made, we hope definitely some more industry can restart their unit. Further, when industries will run, will create employment opportunity, GST & Income Tax also contributes towards national GDP.

a) The proposal is for industries those who have closed their units in complete shape prior to Sep-21 & with load above 1MW and connectivity at 33 KV level.

b) Industries those who have arrear outstanding even after adjustment of SD has to clear it’s dues before availing the benefit.

c)The industry has to start with the load when it was closed. No load reduction is permissible before or after availing this benefit during FY 22-23.

d) The incentive will be for incremental unit consumption in a month over and above average monthly consumption of the immediate preceding financial year ( i.e 2021- 22).

Illustration, if the industry is closed and its power supply is disconnected prior , his average monthly unit consumption in the year 2021-22 may be zero. (i) In such case the industry can be offered a discount of  @50 p/u on the monthly consumption during 2022-23. (ii) If an industry has total units’ consumption during 2021-22, say 6 lakhs, the monthly average consumption would be 50000 units. So, if the industry is consuming beyond 50000 units in any month for the incremental units a discount of 50 p/u can be offered. When the industry consumes less than 50000 units in any month during 2022-23, no benefit can be extended in that month. (iii) Now say, an industry has 51,000 units in May, can get incentive on 1000 units in May. And if achieves 49999 units in June, the industry is not eligible for incentive in June.

e)As this a special scheme for revival of the closed units it will be for the year 2022-23 only.

f) On account of closure of units no one is benefited including Government of Odisha who will get electricity duty @8% on energy charges. So, this will offset the incentive so offered to a large extent.

g) This incentive will be over and above all other incentives as applicable in the tariff

h) Industries opting this benefit shall not be eligible for open access.

i)Industry availing benefits under other mechanism is not permitted under this scheme

# Special tariff for Existing industries having CGP if assured 80% LF of existing CD

It is a well-known fact that Odisha is a power surplus state. In the BSP order for FY 21-22 Hon’ble Commission has approved 34584 MU for GRIDCO available from different generators as per existing PPAs against state DISCOM’s requirement of 28092 MU including transmission loss of 3%. Keeping such scenario Hon’ble Commission has approved a special concessional tariff for CGP industries those who can guarantee to avail energy beyond 80% LF of CD. The intention of such scheme was to sale the surplus power of the state to the industries inside the state. As a result, industries can get cheaper/competitive power and may opt to close their CGP or may avoid open access power.  To avail the scheme the industry has to made a special tripartite agreement with DISCOM and GRIDCO. Now, with support of all the stake holders two industries are availing such power from TPWODL. MOP vide order dt.22nd Oct-21 has also barred the States to trade power through exchange which has been allocated from central sector through PPA. The intention of such direction is to use the power by the respective buyer for the State’s requirement. Therefore, keeping the operational difficulties TPWODL proposes a modified version of such scheme in following manner which may kindly be considered:

  - Certain share of surplus power of the State may kindly be assigned to all the DISCOM out of which intending DISCOM will made advance requisition to GRIDCO. DISCOM shall intimate GRIDCO before 7 days in advance to facilitate the additional power requirement.

  - The agreement shall be between the industry having CGP & concerned DISCOM.

  - Intending Industry opting the scheme has to ensure minimum offtake of 80% L.F.

  - Load reduction shall not be allowed during the financial year or those who have reduced their load has to restore before availing the scheme.

  - As the industries who are having CGP are not consuming or consuming very negligible quantum from DISCOM source, the power so consumed under this agreement may be treated as surplus power of GRIDCO and this quantum shall be over above the approved quantum in ARR including SMD.

  - Interested industry has to pay the highest BST as approved by Hon’ble Commission for DISCOM plus (+) transmission charges plus (+)30 paise per unit for DISCOM. For Example, the highest BSP among DISCOM is Rs.3.37 per unit, so the industry having CGP has to pay for the additional power beyond CD to the extent of Rs.4.05 per unit (Rs.3.37 p/u BSP + Rs.0.28 p/u Transmission+Rs.0.27 p/u DISCOM+Rs.0.13 p/u to GRIDCO additional).

  - Consumption upto 80% LF shall be billed as per existing RST and beyond shall be with special rate.

  - Industry shall draw up to 120% of CD during off peak hour as per existing practice.

  - No demand charges for the additional quantum beyond existing CD. The additional quantum may be limited to two (2) times of the existing CD to facilitate all the CGP industries across the state.

  - Industry availing open access power shall be adjusted after exhausting power under this special arrangement.

  - As this is a special agreement adequate Payment security mechanism shall be in place before power transaction as well as there will not be any rebate on additional power. However, DPS shall be applicable if payment is not made within due date.

# Special tariff for existing industries who have no CGP for drawl of additional power beyond CD of 10 MVA

There are certain industries who are having installed capacity beyond the existing CD with the DISCOM but do not have own CGP. In TPWODL area they are approaching the licensee to offer a special rate so that they can utilize their existing installed capacity in full, beyond CD or may add capacity in the existing premises beyond CD if permitted. In line with special tariff for industry having CGP, a special tariff for non CGP industries connected in 33 KV level or above may kindly be considered. The scheme may be as follows:

- The agreement shall be between the industry & concerned DISCOM.

- Under 33 KV level the permissible limit of drawl is 15000 KVA, but licensee has the discretion to allow beyond the limit of 15 MVA on special ground considering the adequacy of system availability. If system does not permit then the opting industry has to augment the system of supply to higher level to avail this benefit.

- Industry interested for this scheme has to ensure minimum offtake of 85% L.F. of existing CD

- Load reduction shall not be allowed during the financial year or those who have reduced their load has to restore before availing the scheme.

- The power so consumed under this agreement may be treated as surplus power of GRIDCO and this quantum shall be over above the approved quantum in ARR including SMD.

- Interested industry has to pay a flat rate for the additional energy so consumed beyond 85% of CD i.e the normal RST beyond 60% L.F. For Example, in case of HT it is Rs.4.85 per unit and incase of EHT it is Rs.4.80 per unit.

- Consumption upto 85% LF shall be billed as per existing RST

- No demand charges for the additional quantum beyond existing CD. The additional quantum may be limited to two (2) times of the existing CD to facilitate all the industries across the state.

- Open access shall not be permitted during this special arrangement.

- As this is a special agreement adequate Payment security mechanism shall be in place before power transaction as well as there will not be any rebate on additional power. However, DPS shall be applicable if payment is not made within due date.

# Special Tariff for upcoming new industries with guaranteed period of business continuity

To promote industrialization both central Govt. and Govt of Odisha have initiated many schemes towards ease of doing business. In line with Government’s view TPWODL intends to promote industrialization. Industries are cross subsidizing to the lower segment of consumers like Kutirjyoti/BPL and agriculture sector. Govt also promoting agriculture sector through various scheme & electricity to all. So, more load in agriculture and BPL sector needs to be compensated either through Govt subsidy or capacity addition in industrial sector. So, TPWODL proposes a special scheme for upcoming new industries in following manner:

- Scheme is applicable for industries intends to avail load of 1MW and above.

- To avail the scheme the upcoming new industry has to ensure business continuity at least for 5 years without load reduction.

- During 1st year of business discount of 50 paise per unit on entire unit consumed may be offered.

- In 2nd year of business, the discount shall be 40 paise per unit on entire monthly consumption.

- In 3rd year the discount shall be 30 paise per unit.

- During the initial three-year open access shall not be allowed.

- If the industry intends to opt out before the initial period of three years the benefits so availed shall be withdrawn along with recovery of other applicable Fixed Cost for the unexpired period of 5 year.

# Special tariff for Industries for temporary business requirement

As per existing regulation temporary supply is permitted to meet temporary needs on special occasions including marriage or other ceremonial functions, fairs, festivals, religious functions or seasonal business or for construction of residential houses, complexes, commercial complexes, industrial premises provided that such power supply does not exceed a period of six months. For these purposes the Energy Charges shall be 10% higher as compared to the regular connection.

In line with the above TPWODL submits before Hon’ble Commission to extend the above to industries if requires additional load beyond CD for short period of 1 to 6 month. In that event the industry has to bear 10% higher charges on both normal Demand and energy component. Such additional consumption will contribute towards revenue enhancement and will definitely help to protect risk of tariff enhancement. The above temporary arrangement shall be accommodated by the licensee well within its approved/permitted SMD, without additional burden to GRIDCO.

# Special tariff for drawl of RE power with premium rate

Other than Hydro, Hon’ble Commission has approved 2164 MU in the ARR of GRIDCO for FY 21-22 from wind & Solar source and very recently GRIDCO has tied up with SECI and others for sourcing of renewable power to the tune of 2188 MW. The details are below:-

| Sr. No. | Case No. | Quantum (MW) | Date of Order |
| --- | --- | --- | --- |
| 1 | 42 / 2020 | 300 | 15.12.2020 |
| 2 | 43 / 2020 | 200 | 05.01.2021 |
| 3 | 46 / 2020 | 100 +50* | 08.01.2021 |
| 4 | 66 / 2020 | 100 +50* | 12.01.2021 |
| 5 | 15 / 2021 | 8 | 20.07.2021 |
| 6 | 20 / 2021 | 500 | 22.06.2021 |
| 7 | 24 / 2021 | 70 | 22.06.2021 |
| 8 | 36 / 2021 | 270 | 29.10.2021 |
| 9 | 42 / 2021 | 40 | 16.09.2021 |
| 10 | 70 / 2021 | 500 | 18.10.2021 |

Total Quantum		2188 MW

*Wind power

So, for the coming year the RE quantum would increase to substantial quantum.

From the open access drawl history it is observed that //Industries are procuring RE power as CSS is exempted as well as to fulfil the RE obligation. The quantum of drawl as compared to past year has increased to many fold. Drawl of RE power in last three year by some of the industries is appended below:

Figures in MU

|  | FY 19-20 | FY 20-21 | FY 21-22 (till Sep-21) |
| --- | --- | --- | --- |
| Drawl of RE power by different industries | 185 | 244 | 1289 |

As Gridco is having surplus power if RE power can be assigned (through certification) for industries opting to draw with premium special rate then it will be a win-win situation for the industry as well as other stake holder. The premium price shall be added to the bill. The industry has to opt in advance for booking of quantum. TPWODL proposes a premium charges of 25 paise per unit over and above normal charges may be considered.

# Tariff for Cold Storage units through Govt Subsidy

Early of the calendar year 2021, the Odisha Cold Storage Association (OCSA) has filed a petition before Hon’ble Commission vide case no.3 of 21 for inclusion of cold storage in Allied Agricultural Activities category instead of presently covered under Allied Agro Industrial category. The intention of their submission that the tariff in case of Allied Agro Industrial category is higher as compared to Allied Agricultural Activities. Hon’ble Commission has disposed of the petition vide order dt.29-10-2021 with the following observation:

“….it is declared that this Commission will have no objection if any further subsidy/incentive is provided to the cold storages by the Government of Odisha.”

Present Tariff Structure

In case of LT supply

| Particulars | Allied Agriculture Activities | Allied Agro Industrial Activity | Difference |
| --- | --- | --- | --- |
| Energy Charges Rs.p/u | 1.60 | 4.70 | 3.10 |
| MMFC Charges per kw 1st KW or part (in Rs) Additional Kw or part (in Rs) | 20 10 | 80 50 | 60 40 |

In case of HT supply

| Particulars | Allied Agriculture Activities | Allied Agro Industrial Activity | Difference |
| --- | --- | --- | --- |
| Energy Charges Rs.p/u | 1.50 | 4.60 | 3.10 |
| Demand Charges per kw/kva (in Rs) | 30 | 50 | 20 |

The cold storage association also submits that initially there were 144 cold storages in the State of Odisha, out of which at present only about 30 cold storages are functional. Out of these 30 cold storages, there exist 23 numbers of new cold storages which have been established under State Potato Mission during the years 2015-18. Thus, it can be said that 23 new cold storage units and 7 old cold storage units are functional.

Therefore, for functioning of closed units and survival of existing units TPWODL proposes the differential tariff may please be passed on by Govt. of Odisha through DISCOMs for survival of the Cold Storage units across the State.

# SMART Prepaid meters for Govt Connection

Ministry of Power (MOP) vide notification dated 19th Aug-21 has notified the following timelines for the replacement of existing meters with smart meters with prepayment feature:

1. All consumers (other than agricultural consumers) in areas with communication network, shall be supplied electricity with Smart Meters working in prepayment mode, conforming to relevant IS, within the timelines specified below:

(i) All Union Territories, electrical divisions having more than 50% consumers in urban areas with AT&C losses more than 15% in financial year 2019-20, other electrical divisions with AT&C losses more than 25% in financial year 2019-20, all Government offices at Block level and above, and all industrial and commercial consumers, shall be metered with smart meters with prepayment mode by December, 2023:

Provided that the State Regulatory Commission may, by notification, extend the said period of implementation, giving reasons to do so, only twice but not more than six months at a time, for a class or classes of consumers or for such areas as may be specified in that notification;

(ii) All other areas shall be metered with smart meters with prepayment mode by March, 2025:

Provided that in areas which do not have communication network, installation of prepayment meters, conforming to relevant IS, may be allowed by the respective State Electricity Regulatory Commission: (iii) All consumer connections having current carrying capacity beyond that specified in relevant IS, may be provided with meters with smart meters having AMR facility.

2. All feeders and distribution transformers (DTs) shall be provided with meters having AMR facility or covered under AMI, as per the timelines specified below:

(i) All feeders shall be metered by December, 2022.

(ii) All DTs in electrical divisions having more than 50% consumers in urban areas with AT&C losses more than 15% in financial year 2019-20, and in all other electrical divisions with AT&C losses more than 25% in financial year 2019-20, shall be metered by December, 2023.

(iii) All DTs in areas other than those mentioned in (ii) above, shall be metered by March, 2025.

(iv) DTs and HVDS transformers having capacity less than 25 kVA may be excluded from the above timelines.

In line with the above Hon’ble Commission is requested to kindly allow separately for replacement of all the meters of the Govt connections available in all the block level and above with smart prepaid meters during the ensuing year.

# For Industries having CGP, benefit of leading PF may abolished.

Hon’ble Commission has pleased to introduce kVAh billing to all consumers other than LT consumer w.e.f. 4th April 2021. Accordingly, all the consumers under HT and EHT category are being billed on kVAh basis from 4th April, 2021. The licensee has also educated all such consumers the benefit of kVAh billing. Hon’ble Commission has also abolished power factor incentive & penalty w.e.f FY 2021-22 since kVAh reading captures both active and reactive power drawal.

While doing so Hon’ble Commission has directed that in case of leading power factor whose instances are relatively few when kVArh are injected into the system from consumer side, in that event the kWh drawal reading shall be taken and billed as per the kVAh tariff.

kVAh billing has an inherent mechanism to incentivize or penalize consumers according to their power factor. The Prime Objective of the kVAh based billing is to encourage the consumers to maintain near unity Power factor to achieve loss reduction, improve system stability, power quality and improve voltage profile. A leading power factor may be disruptive to the other local customers, so in general it is to be avoided.

But, in case of industries those who are having CGP are always remains in synchronize mode with the system and sometimes injecting VAR. Such unwarranted VAR is not required for the system security. Therefore, in case of industries having CGP the benefit of leading power factor may be ignored. That means the recorded kVAh (both lead & Lag) needs to be billed.

# Summation metering at OPTCL end & replacement of NON-DLMS meters

TPWODL is sourcing it’s entire power from GRIDCO through OPTCL network assets at 132 Kv level & above. Presently there are 170 interconnection points located across the licensee area, where OPTCL is having metering unit & on the basis of same both OPTCL & GRIDCO are raising their monthly bill. Location of Substation along with Metering points and meter no is appended below:

It is observed that in most of the locations the available meters are Apex 100 with non DLMS and some are Apex 100 type with DLMS specifications. Further, addition to that in some of the locations EHT consumers like Rourkela Steel Plant (RSP) is connected with multiple feeders where in one feeder is with non-DLMS meter and in other one it is DLMS type, so in every month for energy accounting DISCOM is facing difficulty in integrating all the required parameters for billing purposes.

Therefore, OPTCL may kindly be directed to replace the non-DLMS meters with DLMS type and fixing of summation meters where energy accounting measured through multiple meters. Further, as per CEA guidelines the meters requires periodical inspection/testing in such cases the presence of DISCOM personnel/authorized representative may be made mandatory.

# Demand charges to HT Medium category of consumers

Hon’ble Commission vide para 331 of RST order FY 20-21 has observed that “The demand charges for HT medium category of consumers are a separate category of consumers who have CD<110 KVA. They are small industrial consumers. Their viability cannot be compared with large industry consumer. Therefore, the Commission have been consciously keeping demand charges lower for this category than that of large industry category.”

The licensee has repeatedly submitted before Hon’ble Commission for uniform demand charges. However, Hon’ble Commission in the RST order dt. 26-03-21 vide para 376 has observed that their demand fluctuates throughout the year and they cannot be compared with large industry.

It is our humble submission that the licensee is not denying the judicious decision of Hon’ble Commission. However, it is our repeated submission that similarly placed General purpose category with load of >70 Kva & <110 Kva and Specified Public Purpose category are paying demand charges @ Rs.250 per Kva p.m. whereas this is a discrimination among consumers availing power supply under HT category and also providing scope to become Medium industry to avail such benefit. With such wide GAP between Demand charges, consumers under HT medium category just below 110Kva are always trying to avail demand benefit even though their actual connected load is more than 110Kva and above. To curb such type of disparity in demand charges the licensee again submits before Hon’ble Commission to fix demand charges for HT Medium category of consumers @ Rs.250 per Kva p.m. Previously Hon’ble Commission has also fixed demand charges @ Rs.250 per Kva p.m. for HT category of consumers equivalent with large industry during FY 2012-13. In addition to above, to avail HT supply with connected load or contract demand <110 Kva installation of transformer capacity may be limited to 100Kva only. Consumers, having transformer of more than 100Kva and billed under <110Kva should be brought into large category of consumers immediately. Necessary suitable direction may kindly be given in this regard.

# Charges for line extension to LT single phase connection up to 5 Kw

Hon’ble Commission in the RST order dt.26.03.2021  vide Annexure-B para (ix) has allowed to recover the following charges for LT Extension:-

LT Single Phase consumers of all categories having CD upto 5 KW with pole within 30

meters from the consumer premises

Upto 2 KW : Rs.1,500/-

Beyond 2 KW upto 5 KW : Rs.2,500/-

Provided that if the line extension is required beyond 30 meters, the licensee/supplier shall charge @ Rs.5,000/- for every span of line extension in addition to the above charges.

Now, it is seen that the actual cost is much higher in many cases. Even if for single pole or two poles cases the transportation, loading & unloading, erection cost is much higher.

TPWODL has made a detailed estimate item wise both for 3-Phase and Single phase & depicted below for kind reference of Hon’ble Commission

Therefore, the licensee is Humbly submitting to modify/amend the recovery cost for LT expansion from Rs.5000 per span to Rs.9300 for single phase and Rs.12500 for 3-phase per span of LT extension.

# Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.

TPWODL has taken over Wesco Utility w.e.f 01.01.2021 as per direction of OERC in vesting order dt.28.12.2020. The operating company also committed for arrear realization to the tune of ₹300 crs from the consumer’s outstanding (as on 31.03.2020).

In past Hon’ble Commission has approved an OTS scheme in FY 2011-12 vide order dt.20.07.2011 in case no.4,5 & 6 of 2010. The brief scheme was as under

| Sl No. | Type of Consumer | Quantum of Rebate |
| --- | --- | --- |
| 1 | Group ‘A’ consumers i.e. all LT category of consumers to whom DPS is not applicable | - 25% of the eligible amount if payment is made in three monthly installments within the scheme period i.e. 50% + 25% + 25%. - 30% of the eligible amount as on 01.4.2011 if the payment is made in two equal monthly instalments within the Scheme period i.e 50%+50%. - 40% of the eligible amount as on 01.4.2011 if the payment is made in full at a time within the Scheme period i.e 100%. |
| 2 | Group ‘B’ consumers i.e. all LT category of consumers to whom DPS is applicable. | - DPS in full + 15% of the eligible amount if payment is made in three 1monthly installments with the Scheme period i.e 50% + 25% + 25%. - DPS in full + 20% of the eligible amount if payment is made in two equal monthly installments with the Scheme period i.e 50% + 50%. - DPS in full + 25% of the eligible amount if full payment is made at a time within the Scheme period. |
| 3 | Group-C consumers i.e. all HT& EHT consumers. | - 40% of DPS of the eligible amount if payment is made in three monthly installments within the Scheme period i.e. 50% + 25% + 25%. - 50% of DPS of the eligible amount if payment is made in two equal monthly installments within the Scheme period. - Full waiver of DPS of the eligible amount if payment is made in full within scheme period in one instalment. |

To avail the benefit following were the pre conditions

i)Outstanding for this purpose was arrear as on 31st March-2011 & payment made from 01.04.2010 to 31.03.2011 shall be deducted & also the consumer has to clear the current bills for the period from 01.04.2010 to 31.03.2011

ii)Disputed bill revision made prior to 01.04.2009 & outstanding appeared after such revision is not eligible for such scheme

iii)The consumer has the option to avail the OTS scheme or go for bill revision but once OTS is opted no such revision was permitted.

iv) The scheme was also applicable to Govt Consumers, Urban/rural local bodies, co-operatives, LI points/Pani Panchayat etc.

v)Consumers who have moved to different court of law were also eligible but have to withdraw the cases from the court of law.

vi) Permanently Disconnected or temporarily disconnected consumers were also eligible.

TPWODL Proposal

In line with above principle if a similar amnesty arrear scheme would be adopted with or without modification the future path of arrear collection would be somehow easier.

i)All HT and EHT cases with dispute and moved to various forum shall be encouraged for out of court settlement with waival of DPS and the genuine principal dues shall be realized with or without installment facility. Consumers paying in one go may be given 5% discount.

ii)All HT & EHT with dispute but not moved court of law and paying current dues only. Similar approach may be taken as indicated in para (i)

iii)Consumers who have availed the benefit of OTS scheme during FY 2011-12 & FY 2012-13 are not eligible for the scheme.

iv) For LT category of consumers other than DPS (which will be fully waived) the percentage of waival of eligible amount may be enhanced by another 5 to 10%.

# Other Issues

# Rebate on Prompt Payment of BST bill

In the BSP Order for the financial year 2021-22, the Hon`ble Commission directed that the Utility is entitled to avail a rebate of 2% for prompt payment of BST bill on payment of current BST in full within two working days of presentation of BST Bills and 1% if paid within 30 days.  Further, the Hon’ble Commission has directed to pay the rebate @ 1% to all consumers except domestic, general purpose, irrigation , PWWS and small industry category, if payment is made within three working days of presentation of bill and 10 paise per unit for others if paid within due date as mentioned in the bill.

So, licensee is facing difficulty in clearing the BST bill within two working days of presentation of BST bill to avail prompt payment rebate of 2%.

Considering the above, it is prayed before the Hon’ble Commission

- to approve the rebate of 2% to the licensee for prompt payment towards BST bills including part payments within 3 (three) working days from the date of presentation of the BST bill and

- to approve the rebate of 1.5% if paid within 15 days ( i.e after 3 days eligibility for 2%) and

- to approve a rebate of 1% in case the BST bill is paid after 15 (fifteen) days proportionately to the extent of payment made within 30th days akin to Rebate Policy on Rebate is provided to GRIDCO by NTPC.

# Formats

The following filled in formats will form a part of the ARR and Tariff Application for FY 2022-23 as annexures.

# Commercial/Technical  Formats T1-T9

# Financial Formats F1-F27

# Details Performance Formats (P1-P17) in Vol- II

# Prayer

In the aforesaid facts and circumstances, the utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Aggregate Revenue Requirement for FY 2022-23.

- Bridge the Revenue Gap for the ensuing year FY 2022-23 out of surplus revenue generated / to be generated from current year along with efficiency gain and additional sale though proposed tariff rationalisation measures without burdening the consumer of the state assuming without increase in BST & Transmission charges.

Allow the following Tariff rationalisation measures as proposed

- Levy of CSS on RE power

- Incremental digital rebate from 2% to 3% for LT Domestic, LT GP single phase & Single-phase irrigation consumers

- Discount to Domestic Rural Consumers

- Inter DISCOM Feed extension to Railway

- Creation of Category for Mega lift points under EHT

- Special tariff to steel industry

- Special tariff for industries those who have closed their units if reopen/starts

- Special tariff for Existing industries having CGP if assured 80% LF of existing CD

- Special tariff for existing industries who have no CGP for drawl of additional power beyond CD of 10 MVA

- Special Tariff for upcoming new industries with guaranteed period of business continuity

- Special tariff for Industries for temporary business requirement

- Special tariff for drawl of RE power with premium rate

- Tariff for Cold Storage units through Govt Subsidy

- SMART Prepaid meters for Govt Connection

- For Industries having CGP benefit of leading PF may abolished.

- Summation metering at OPTCL end & replacement of NON-DLMS meters

- Demand charges to HT Medium category of consumers

- Charges for line extension to LT single phase connection up to 5 Kw

- Introduction of Amnesty arrear clearance scheme for LT non-industrial category of consumer.

- Rebate on Prompt Payment of BST bill

- Other proposals as proposed in this application

- Allow the Licensee to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit

By the Applicant

Through its Authorised representative.

Dated:

Place: