## P-1
Licencee TPWODL | [5 empty] | OERC | FORM P.1
Voltage Fluctuation
Period | First six months of the previous year |  | Last six months of the previous year |  | First six months of the current year |  | Corrective
| Percentage of time |  | Percentage of time |  | Percentage of time |  | measures proposed
Substation wise | when voltage was |  | when voltage was |  | when voltage was
At 33 kv side of transformer | below | above | below | above | below | above
(incoming point of 33 kv bus) | (9%) | (6%) | (9%) | (6%) | (9%) | (6%)
Nuapada, Padampur, Paikmal, Jharbandha, Melchamunda, Kurumpuri,, Badkuturu, Naktiguda, Narla, Biswanathpur, Rampur, Madanpur | 9 | 0 | 8.9 | 0 | 8.7 | 0 | 1) Commissioing of Additional PSS & GSS, new/Link line in line with ODSSP PSS. 2) Line upgradation 3)Introduction of 11KV cap bank 4) introduction of line and transfomer AVR.
OM
pragnya

## P-2
Licencee TPWODL | [11 empty] | OERC | FORM P-2
Electrical Accidents
Items | Period
| First six months of the previous year |  |  |  | Last six months of the previous year |  |  |  | First six months of the current year |  |  |  | Corrective measures
| No. of Accidents |  |  |  | No. of Accidents |  |  |  | No. of Accidents |  |  |  | proposed to avoid
| FATAL |  | NON FATAL |  | FATAL |  | NON FATAL |  | FATAL |  | NON FATAL |  | accidents
| HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL
| 7 | 3 | 1 | 0 | 7 | 7 | 10 | 0 | 34 | 48 | 23 | 0 | 1.Safety commitment to be signed by the field staff to comply safety rules and procedure. 2.Safety Zoning shall be done before start of work 3.Ladder shall be used for ascending and descending on pole, 4.Helpers will not be allowed to work on the net work. 5.Line man will use safety harness while working on height. 6. Daily Safety Briefing(Tool box talk) will be done before start of work by the supervisor. 7.All PPE & safety material shall be checked before start of work. 8.Public awareness throgh display of poster/hoarding/news paper/local TV channel/FM/ etc। 9 pro ଅକତି
(1) 33KV
(2)11KV
(3) 400/230V
(4)DC SUPPLY
OM
pragnya

## P-3
Licencee TPWODL | [8 empty] | OERC | FORM P.3
Release of Service Connection
(LT SUPPLY) |  |  |  |  | (LT SUPPLY)
Period --> | First six months of the previous year |  |  | Last six months of the previous year |  |  | First six months of the current year
| No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | Reason for delay
| 76249 | 76249 | 0 | 66789 | 66789 | 0 | 57450 | 57450 | 0
com

## P-4
Licencee TPWODL | [8 empty] | OERC | FORM P-4
STATUS OF HT CONNECTIONS
Period | First six months of the previous year |  |  | Last six months of the previous year |  |  | First six months of the current year
| No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | Reason for delay
| 49 | 39 | 0 |  |  |  | 96 | 96 | 0 | N/A
com

## P-5
| Licencee TPWODL | [5 empty] | OERC | FORM P-5
Abstract of outages due to trippings of HT Feeders
EXCLUDING THE INTERUPTIONS DUE TO EHT FAILURE/GRID DISTURBANCES
1 | 132/33kv S/S (S/S Wise) | First six months of the previous year |  | Last six months of the previous year |  | First six months of the current year |  | Steps proposed to
|  | No. of | Duration of | No. of | Duration of | No. of | Duration of | reduce feeder trippings
|  | trippings | trippings (min) | trippings | trippings (min) | trippings | trippings (min)
a | ALL 33 KV Incoming Feeders | 4808 | 460 | 3891 | 336 | 4327 | 413
b | ALL 11 KV outgoing Feeders | 30755 | 375436 | 26786 | 302682 | 20548 | 230137
c | Power Transformer - I
i) High voltage side
ii) Low voltage side
d | Power Transformer - II
i) High voltage side
ii) Low voltage side
Repeat for all the transformers
2 | Repeat for all the 33/11KV S/S
ALL ORISSA PICTURE
Average interruption/33kv feeders
= Total duration of trippings
at 33 kv/total no. 33 kv feeder
Average interruption/11 kv feeders
= Total duration of trippings at
11kv/Total no of 11kv feeders.
OM
pragnya

## P-6
| Licencee TPWODL |  |  |  | OERC | FORM P.6
Failure of Transformer (Nos.)
| Period | First six months of the previous year | Last six months of the previous year | First six months of the current year | Reason of Failure | Steps taken to reduce the failure rate
Items
1 | Power Transformers (HT) | 11 | 4 | 10 | Due to Stud Problem,Insulation Between stud and coil in HT side damaged,oil level below,Bushing Limb Damaged ,internal winding failure. | Installation of LA wherever not available.Attending and monitoring of Oil leakages and arresting the same.Periodic maintenance of Transformer and Protection system.Periodic audit of protection relays.Preventive maintenance of Transformer.Replacement of old age transformer.Earthing modification as applicabel.
2 | Distribution Transformers | 1999 | 1209 | 1757
OM
pragnya

## P-7
Licencee TPWODL | [11 empty] | OERC | FORM P.7
RELEASE OF CUSTOMER BILLS
Period | previous year | [5 empty] | First six months of the current year | [5 empty] | Action proposed to be taken for
| Total no of Consumer | No. of customer billed through Spot Billing | No. of customer billed through Other means | No. of customer bills served within billing period | No. of customer bills served after billing period | No. of Money receipst Generated | Total no of Consumer | No. of customer billed through Spot Billing | No. of customer billed through Other means | No. of customer bills served within billing period | No. of customer bills served after billing period | No. of Money receipst Generated | prompt release of customer bills
April | 1963698 | 1459266 | 92067 | 1551333 |  | 51287 | 2142094 | 1585853 | 103690 | 1689543 |  | 304732
May | 1971358 | 1457878 | 92215 | 1550093 |  | 275998 | 2150698 | 1607991 | 104195 | 1712186 |  | 148835
June | 1984599 | 1474390 | 93158 | 1567548 |  | 322250 | 2160031 | 1599989 | 104205 | 1704194 |  | 433377
July | 1998548 | 1479215 | 93765 | 1572980 |  | 361266 | 2166616 | 1618562 | 104637 | 1723199 |  | 428193
August | 2007775 | 1487495 | 95455 | 1582950 |  | 368737 | 2177033 | 1612752 | 105459 | 1718211 |  | 397451
September | 2017789 | 1498067 | 96036 | 1594103 |  | 456313 | 2186117 | 1631434 | 107887 | 1739321 |  | 288265
October | 2032719 | 1508907 | 96431 | 1605338 |  | 476268
November | 2054681 | 1528636 | 96290 | 1624926 |  | 582251
December | 2075066 | 1538397 | 98127 | 1636524 |  | 510527
January | 2096050 | 1567812 | 100290 | 1668102 |  | 519710
February | 2110391 | 1566605 | 101504 | 1668109 |  | 468156
March | 2136328 | 1597896 | 102919 | 1700815 |  | 856689
Avg | 2037416.8333 | 1513713.6667 | 96521.4167 | 1610235.0833 |  | 437454.3333 | 2163764.8333 | 1609430.1667 | 105012.1667 | 1714442.3333 |  | 333475.5

## P-10
INFORMATION FOR TIME OF DAY TARIFF
| (Period of 6 months) |  |  |  | OERC FORM P-10
Licencee: TPWODL
Name of Month | Monthly Maximum System Demand in MVA | Date and Time of Occurrence | Monthly Minimum System Demand in MVA | Date and Time of Occurrence | Monthly Average System Demand in MW
2021-04-09 | 2912 | 2021-04-05 | 1722 | 2021-04-01 | 1765
2021-05-10 | 2935 | 2021-05-20 | 1648 | 2021-05-13 | 1758
2021-06-10 | 2645 | 2021-06-09 | 1781 | 2021-06-22 | 1734
2021-07-11 | 2760 | 2021-07-22 | 1832 | 2021-07-08 | 1533
2021-08-11 | 2778 | 2021-08-25 | 1828 | 2021-08-29 | 1726
2021-09-11 | 3178 | 2021-09-05 | 1809 | 2021-09-13 | 1941

## P-12
| Licencee TPWODL |  | OERC | FORM P.12
Interruption
Major Disturbances Due to EHT Failure
|  | First six months of | Last six months of | First six months of
|  | the previous year | the previous year | the current year
Period
1 | No. of occurances | 5 | 9 | 14
2 | Total duration of interruption | 3.6 | 4.1 | 4.66
3 | Estimated unserved energy | 0.31 | 0.312 | 0.317
due to such interruptions
Example :-
Load prior to the disturbance x No.
of hours of interruption
4 | No. of occasions when Distco
system was completely isolated
From the Grid due to system
disturbance affecting power
supply
OM
Note on E10: TPWODL: This Data is From 25th-July-2021 To 30th-Sept-2021.Total interruption count Due to Outage availed from OPTCL end.
Note on E12: TPWODL: Total interruption count in Minutes Due to Outage availed from OPTCL end.

## P-13
TPWODL
METERING REPORT FOR THE PERIOD APR-21 TO SEP-21
CATEGORY OF CONSUMER | CONSUMERS AT THE START OF THE PERIOD | ADDITION OF NEW CONSUMERS DURING THE PERIOD | WITHDRAWAL OF CONSUMERS DURING THE PERIOD | CONSUMERS AT THE END OF THE PERIOD | METERS AT THE START OF THE PERIOD | METER INSTALLED BY WESCO | METER INSTALLED BY CONSUMERS | METER INSTALLED DURING THE PERIOD | METERS AT THE END OF THE PERIOD | UNMETERED CONSUMERS AT THE START OF THE PERIOD | UNMETERED CONSUMERS AT THE END OF THE PERIOD | DEFECTIVE METERS AT THE START OF THE PERIOD | REPAIRED/REPLACED | REPORTED DEFECTIVE | DEFECTIVE METERS AT THE END OF THE PERIOD | NO.OF METERS INSTALLED DURING THE PERIOD | Defective Meter (At start) | Def Meter Repaired | Meters Reported Defective | Def. Meters (at End) | Total Meters Installed | No. of Working Meters (at End) | % of Working Meter to Total Meter | Working meter % of Total Consumers | Total Meter as % of total Consumers | METER WITHDRAWN DURING THE PERIOD
Domestic | 1754899 | 52025 | 0 | 1806924 | 1713070 | 4543 | 24966 | 29509 | 1769722 | 41829 | 37202 | 171057 | 60955 | 47239 | 161545 | 90464 | 111466.3169 |  |  |  |  | 1608177 | 90.87% | 89% | 97.94%
Kutir Jyoti | 208984 | 0 | 15823 | 193161 | 195146 | 57 | 3428 | 3485 | 180498 | 13838 | 12663 | 48084 | 5726 | 3228 | 45701 | 9211 | 31533.7655 |  |  |  |  | 134797 | 74.68% | 69.78% | 93.44% | 33420
Others |  | 0 | 0 |  | 0 |  |  |  | 0
Total Domestic | 1963883 | 52025 | 15823 | 2000085 | 1908216 | 4600 | 28394 | 32994 | 1950220 | 55667 | 49865 | 219141 | 66681 | 50467 | 207246 | 99675 | 143000.0824 | 0 | 0 | 0 | 0 | 1742974 | 89.37% | 87.14% | 97.51% | 33420
Gen. Purpose<110 kva | 87765 | 4107 | 0 | 91872 | 87545 | 701 | 3131 | 3832 | 91661 | 220 | 211 | 4314 | 5277 | 1580 | 4117 | 9109 | 2840.7368 |  |  |  |  | 87544 | 95.51% | 95.29% | 99.77% | 0
Irrigation, Pumping & Agriculture | 66490 | 2836 | 0 | 69326 | 29306 | 2553 | 1231 | 3784 | 32320 | 37184 | 37006 | 2253 | 93 | 112 | 5153 | 3877 | 3555.5785 |  |  |  |  | 27167 | 84.06% | 39.19% | 46.62% | 0
Allied Agricultural Activities | 293 | 31 | 0 | 324 | 293 | 15 | 16 | 31 | 324 | 0 | 0 | 2 | 13 | 1 | 12 | 44 | [5 empty] | 312 | 96.3% | 96.3% | 100% | 0
Allied Agro-Industrial Activities | 78 | 26 | 0 | 104 | 74 | 26 | 4 | 30 | 101 | 4 | 3 | 11 | 5 | 12 | 4 | 35 | [5 empty] | 97 | 96.04% | 93.27% | 97.12% | 0
Public Light | 2523 | 126 | 0 | 2649 | 1577 | 197 | 4 | 201 | 1708 | 946 | 941 | 182 | 11 | 58 | 265 | 212 | 182.8504 |  |  |  |  | 1443 | 84.48% | 54.47% | 64.48% | 0
LT Ind.(S) Suply | 3793 | 26 | 0 | 3819 | 3793 | 19 | 31 | 50 | 3819 | 0 | 0 | 10 | 149 | 121 | 39 | 199 | 26.9101 |  |  |  |  | 3780 | 98.98% | 98.98% | 100% | 0
LT Ind.(M) Suply | 1382 | 20 | 0 | 1402 | 1382 | 44 | 19 | 63 | 1402 | 0 | 0 | 0 | 76 | 58 | 1 | 139 | 0.69 |  |  |  |  | 1401 | 99.93% | 99.93% | 100% | 0
Specified Public Purpose | 10567 | 276 | 0 | 10843 | 9779 | 56 | 308 | 364 | 10162 | 788 | 681 | 740 | 555 | 1074 | 720 | 919 | 496.8012 |  |  |  |  | 9442 | 92.91% | 87.08% | 93.72% | 0
Public Water Work & Sewerage Pumping | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
<= 110 kva | 4299 | 333 | 0 | 4632 | 4083 | 98 | 150 | 248 | 4421 | 216 | 211 | 374 | 122 | 335 | 225 | 370 | 155.2504 |  |  |  |  | 4196 | 94.91% | 90.59% | 95.44% | 0
=> 110 kva | 10 | 0 | 0 | 10 | 10 | 0 | 0 | 0 | 10 | 0 | 0 | 0 |  |  | 153 | 0 | 105.5703 |  |  |  |  | -143 | -1430% | -1430% | 100% | 0
Total Public Water Works | 4309 | 333 | 0 | 4642 | 4093 | 98 | 150 | 248 | 4431 | 216 | 211 | 374 | 122 | 335 | 378 | 370 | 260.8206 | 0 | 0 | 0 | 0 | 4053 | 91.47% | 87.31% | 95.45% | 0
General Purpose >= 110 kva |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Large Industry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 |  | -4 | 4 | -2.76 |  |  |  |  | 4 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total LT | 2141083 | 59806 | 15823 | 2185066 | 2046058 | 8309 | 33288 | 41597 | 2096148 | 95025 | 88918 | 227027 | 72986 | 53818 | 217931 | 114583 | 150361.71 | 0 | 0 | 0 | 0 | 1878217 | 89.6% | 85.96% | 95.93% | 33420
Bulk Supply Domestic | 26 | 0 | 0 | 26 | 26 | 1 | 1 | 2 | 26 | 0 |  | 0 | 6 | 1 | -5 | 8 | -3.45 |  |  |  |  | 31 | 119.2% | 119.2% | 100% | 0
Irrigation | 27 | 1 | 0 | 28 | 27 | 2 |  | 2 | 28 | 0 |  | 0 | 2 | 2 | 0 | 4 | 0 |  |  |  |  | 28 | 100% | 100% | 100% | 0
Allied Agricultural Activities | 7 | 0 | 0 | 7 | 7 | 0 |  | 0 | 7 | 0 |  | 0 | 2 | 1 | -1 | 2 | [5 empty] | 8 | 114.3% | 114.3% | 100% | 0
Allied Agro-Industrial Activities | 12 | 1 | 0 | 13 | 12 | 3 |  | 3 | 13 | 0 |  | 0 | 4 |  | 0 | 7 | [5 empty] | 13 | 100% | 100% | 100% | 0
Specified Public Purpose | 55 | 8 | 0 | 63 | 55 | 3 | 3 | 6 | 63 | 0 |  | 0 | 10 | 4 | -6 | 16 | -4.14 |  |  |  |  | 69 | 109.5% | 109.5% | 100% | 0
Gen. Purpose<110 kva | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 |  | 0 | 4 |  | -4 | 5 | -2.76 |  |  |  |  | 4 | #DIV/0! | #DIV/0! | #DIV/0! | 0
HT Industrial (M) Supply | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
General Purpose >= 110 Kva | 142 | 14 | 0 | 156 | 142 | 13 | 1 | 14 | 156 | 0 |  | 0 | 21 | 12 | -9 | 35 | -6.21 |  |  |  |  | 165 | 105.8% | 105.8% | 100% | 0
Public Water Work & Sewerage Pumping | 35 | 11 | 0 | 46 | 35 | 4 |  | 4 | 46 | 0 |  | 0 | 6 | 3 | -3 | 10 | -2.07 |  |  |  |  | 49 | 106.5% | 106.5% | 100% | 0
Large Industry | 651 | 19 | 0 | 670 | 651 | 30 | 8 | 38 | 670 | 0 |  | 0 | 94 | 65 | -29 | 132 | -20.01 |  |  |  |  | 699 | 104.3% | 104.3% | 100% | 0
Power Intensive Industry | 13 | 0 | 0 | 13 | 13 | 0 |  | 0 | 13 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 13 | 100% | 100% | 100% | 0
Mini Steel Plant | 4 | 0 | 0 | 4 | 4 | 0 |  | 0 | 4 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 100% | 100% | 100% | 0
Railway Traction | 1 | 0 | 0 | 1 | 1 | 1 |  | 1 | 1 | 0 |  | 0 |  |  | 0 | 1 | 0 |  |  |  |  | 1 | 100% | 100% | 100% | 0
Emergency Supply to CPP | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 | 0 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0
Colony Consumption | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 | 0 | 0 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total HT | 973 | 54 | 0 | 1027 | 973 | 58 | 13 | 71 | 1027 | 0 | 0 | 0 | 149 | 88 | -57 | 220 | -38.6401 | 0 | 0 | 0 | 0 | 1084 | 105.6% | 105.6% | 100% | 0
General Purpose | 1 | 0 | 0 | 1 | 1 |  |  | 0 | 1 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 1 | 100% | 100% | 100% | 0
Large Industry | 10 | 0 | 0 | 10 | 10 |  |  | 0 | 10 | 0 |  | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 10 | 100% | 100% | 100% | 0
Railway Traction | 15 | 1 | 0 | 16 | 15 |  |  | 0 | 16 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 16 | 100% | 100% | 100% | 0
Heavy Industry | 3 | 0 | 0 | 3 | 3 |  |  | 0 | 3 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 3 | 100% | 100% | 100% | 0
Power Intensive Industry | 5 | 0 | 0 | 5 | 5 |  |  | 0 | 5 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 5 | 100% | 100% | 100% | 0
Mini Steel Plant | 1 | 0 | 0 | 1 | 1 |  |  | 0 | 1 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 100% | 100% | 100% | 0
Energy Supply to CPP | 2 | 0 | 0 | 2 | 2 |  |  | 0 | 2 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 2 | 100% | 100% | 100% | 0
Colony Consumption | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Irrigation | 1 | 0 | 0 | 1 | 1 |  |  |  | 1 | 0 |  |  |  |  | 0 | 0 | [5 empty] | 1 |  |  |  | 0
Total EHT | 38 | 1 | 0 | 39 | 38 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 100% | 100% | 100% | 0
Grand Total | 2142094 | 59861 | 15823 | 2186132 | 2047069 | 8367 | 33301 | 41668 | 2097214 | 95025 | 88918 | 227027 | 73135 | 53906 | 217874 | 114803 | 150323.0699 | 0 | 0 | 0 | 0 | 1879340 | 89.61% | 85.97% | 95.93% | 33420

## P-14
Licencee : TPWODL |  |  |  | OERC FORM P-14
MEASURES FOR REDUCTION OF T&D LOSS
Sl.No. | Subject | Unit | Previous Year (20-21) | Current Year (21-22) | Ensuing Year (22-23)
1 | Renovation & Investment
a | Instalation of LT less transformers | Nos | 45 | 750 | 950
| Rate | Rs lacs | 2.5 | 2.5 | 2.5
| cost | Rs lacs | 112.5 | 1875 | 2375
| % Reduction in T&D loss for above | % | 0% | 0.4792% | 0.03865%
b | Re-conductoring
I | 33kv | Kms | 50 | 68.5 | 70
| Rate | Rs lacs | 12.5 | 15 | 15
| cost | Rs lacs | 625 | 1027.5 | 1050
| 33kv New | Kms |  |  | 120
| Rate | Rs lacs | 7.5 | 7.5 | 15
| cost | Rs lacs | 0 | 0 | 1800
| % Reduction in T&D loss for above | % | 0% | 0.2626% | 0.04637%
ii | 11kv | Kms | 250 | 312.5 | 340
| Rate | Rs lacs | 7 | 9 | 9
| cost | Rs lacs | 1750 | 2812.5 | 3060
| 11kv New | Kms |  |  | 175
| Rate | Rs lacs | 4.01 | 4.01 | 9
| cost | Rs lacs | 0 | 0 | 1575
| % Reduction in T&D loss for above | % | 0% | 0.7189% | 0.07542%
iii | LT AB Cable | Kms
| Rate | Rs lacs
| cost | Rs lacs
iii | LT New | Kms | 350 | 400 | 500
| Rate | Rs lacs | 5.25 | 6 | 6
| cost | Rs lacs | 1837.5 | 2400 | 3000
| % Reduction in T&D loss for above | % | 0% | 0.6134% | 0.04882%
c | Upgradation of transformers
I | 33/11kv | No.s | 4 | 9 | 10
| Rate | Rs lacs | 50.5 | 61 | 61
| cost | Rs lacs | 202 | 549 | 610
| % Reduction in T&D loss for above | % | 0% | 0.1403% | 0.009926%
ii | 33/.4kv | No.s | 0 | 3 | 3
| Rate | Rs lacs | 5 | 5 | 5
| cost | Rs lacs | 0 | 15 | 15
| % Reduction in T&D loss for above | % | 0% | 0.003834% | 0.0002441%
iii | 11/.4kv | No.s | 125 | 250 | 260
| Rate | Rs lacs | 2.75 | 3 | 3
| cost | Rs lacs | 343.75 | 750 | 780
| % Reduction in T&D loss for above | % | 0% | 0.1917% | 0.01269%
d | Installation of new transformers
i | 33/11kv | No.s | 3 | 6 | 6
| Rate | Rs lacs | 85 | 90 | 90
| cost | Rs lacs | 255 | 540 | 540
| % Reduction in T&D loss for above | % | 0% | 0.138% | 0.008787%
ii | 33/.4kv | No.s | 0 | 1 | 5
| Rate | Rs lacs | 4.5 | 4.5 | 5
| cost | Rs lacs | 0 | 4.5 | 25
| % Reduction in T&D loss for above | % | 0% | 0.00115% | 0.0004068%
iii | 11/.4kv | No.s | 200 | 350 | 450
| Rate | Rs lacs | 4.5 | 4.5 | 4.5
| cost | Rs lacs | 900 | 1575 | 2025
| % Reduction in T&D loss for above | % | 0% | 0.4026% | 0.03295%
TOTAL OF SL.1
| Cost |  | 6025.75 | 11548.5 | 16855
| % Reduction in T&D loss for Sl1 | % | 0% | 2.952% | 0.2743%
2 | Detection of un-authorised abstraction of electricity
a | No. of cases filed | Nos | 120 | 10587 | 12000
b | No of cases prosecuted | Nos
c | Any other - Metering cubicle | Nos | 15 | 40 | 50
| Cost | Rs lacs | 18.75 | 50 | 62.5
| - Meter Replacement(1-Ph.) | Nos | 60000 | 80000 | 200000
| Cost | Rs lacs | 750 | 1160 | 2900
| - Meter Replacement(3-Ph.) | Nos | 1000 | 5000 | 35000
| Cost | Rs lacs | 45 | 250 | 1750
| AB Cable | Kms | 250 | 300 | 670
| Cost | Rs lacs | 1000 | 1350 | 3015
TOTAL OF SL.2
| Cost |  | 1813.75 | 2810 | 7727.5
| Total Cost (SL 1 + SL 2) | Rs lacs | 7839.5 | 14358.5 | 24582.5
| % Reduction in T&D loss for Sl 2 | % | 0% | 0.7182% | 0.1257%
| % Reduction in T&D loss for Sl 1& 2 | % | 0% | 3.67% | 0.4%

## P-15
| Licencee TPWODL |  |  | OERC FORM P.15
CONSUMER COMPLAINT
SL.NO. | TYPE OF COMPLAINT
|  | Ist.Six months of previous year |  | 2nd.Six months of previous year |  | Ist.Six months of current year
|  | CONSUMER COMPLAINT |  | CONSUMER COMPLAINT |  | CONSUMER COMPLAINT
|  | Received | Resolved | Received | Resolved | Received | Resolved
1 | Interruption due to problem in LT supply
| (Fuse off call at aerial cutouts/Sealable cutouts,snapping of wires,falling of trees on overhead lines,fire due to short circuit of LT lines consequent to loose spans and touching of tree branches) | 17625 | 17625 | 15545 | 15545 | 10137 | 10135
2 | Problems in metering and meter reading
| (Delay in replacement of non-recording meters, replacement of burnt out meter, replacement of meters recording excess consumption due to creeping, breakage of seals provided to the meter, mistakes in totaling by the MR while issuing the bills, wrong noting of "door lock" by MR, wrong calculation by the MR while issuing the bills and use of wrong meter constant, wrong recording of reading by MR) | 16948 | 16881 | 14349 | 14349 | 11785 | 11574
3 | Errors in billing
| (Excessive billing, amount already paid by consumer shown as arrears, wrong application of tariff, posting of wrong initial reading, showing the short claims in the monthly bill without furnishing the details to the consumer, wrong postings, i.e. postings of receipts to wrong RR nos., issue of bills leaving many blank columns in the printed bill form, improper billing of non-recording period of meters) | 2526 | 2490 | 2367 | 2389 | 1889 | 1767
4 | Any other

## P-16
PERFORMANCE OF WESCO
ITEMS
BULK SUPPLY
DEMAND (MVA)
ENERGY INPUT (MU)
BST BILL OF GRIDCO (Cr.)
BST BILL PER UNIT
SALE TO CONSUMERS (MU)
EHT
HT
LT
TOTAL SALE (MU)
LOSS (%)
HT (15% LOSS)
LT
HT & LT
OVERALL (%)
BILLING EFFICIENCY (%)
LT
HT & LT
OVERALL (%)
BILLING TO CONSUMERS (Rs. Cr.)
EHT
HT
LT
TOTAL
BILLING TO GOVT. DEPTT. & PSU
COLLECTION RECEIVED (Rs. Cr.)
EHT
HT
LT
TOTAL
COLL. FROM GOVT. DEPTT. & PSU
COLLECTION PER UNIT
COLLECTION EFFICIENCY (%)
EHT
HT
LT
HT & LT
OVERALL (%)
COLLECTION EFFICIENCY EXCL. GOVT. &PSU DUES (%)
A. T. & C. LOSS (%)
LT
HT & LT
OVERALL (%)
TPWODL |  | OERC Format-P16
CONSUMER STATUS | As on 31st Mar-21 | As on 30th Sep-21
No. of Circles | 5 | 5
No. of Divisions | 17 | 17
No. of Subdivisions | 58 | 58
No. of Sections | 202 | 202
No of Energy Police Stations | 10 | 10
No of Special Courts | 0 | 0
No. of Consumers
EHT | 38 | 39
HT | 973 | 1027
LT | 2141083 | 2185051
Total | 2142094 | 2186117
Network System | As on 31st Mar-21 | As on 30th Sep-21
Length of 33 KV lines(km.) | 4917.991 | 5036.781
Length of 11 KV lines(km.) | 46766.0838 | 47857.028
Length of L.T. lines(km.) | 55285.7442 | 56317.8752
Length of conductor stolen (km.) | 1.3 | 0
Cost involved (Cr.) | 0.014 | 0
No. of 33 KV Group Breakers Installed | 219 | 254
No. of 33 KV Feeder Breakers Installed | 308 | 301
No. of 33 KV Feeder Breakers Required | 184 | 176
No. of 11 KV Group Breakers Installed | 384 | 394
No. of 11 KV Feeder Breakers Installed | 775 | 807
No. of 11 KV Feeder Breakers Required | 168 | 179
Feeder Metering
No. of 33 KV feeders(excluding GRIDCO interface) | 174 | 181
No. of 33 KV feeder metering | 174 | 181
No. of 11 KV feeders | 1179 | 1148
No. of 11 KV feeder metering | 1009 | 1074
No. of 33/11 kv transformers | 638 | 649
No. of 33/11 kv transformer metering position | 273 | 275
No. of distribution transformers(11/0.4 & 33/0.4 kv) | 67247 | 68800
No. of distribution transformer metering position | 7475 | 7475
DTR Capacity in MVA | 3168.977 | 3265.44
Energy Audit Carried Out-33 KV | 174 | 111
Energy Audit Carried Out-11 KV | 467 | 402
Energy Audit Carried out- No of DTRs covered | 230 | 193
Consumer Metering Position | As on 31st Mar-21 | As on 30th Sep-21
Total number of meters | 2047068 | 2097199
No. of working meters | 1820041 | 1879267
Percentage of working meters ( % ) | 88.91% | 89.61%
New meters installed ( 3 ph ) (During The Period) | 3567 | 5366
New meters installed ( 1 ph ) (During The Period) | 177726 | 36325
No of 3 Phase Consumers (LT) | 102664 | 106821
No of Conumers with TOD benefit (LT) | 16006 | 19650
No of Consumers above 10 KW load (LT) | 14369 | 15002
No of Consumer AMR metering | 16937 | 11212
Total No of consumers as on period | 2142094 | 2186117
No of consumers added during the period | 202845 | 52824
No of meters purchased during the period | 0 | 47520
No of meters used for installation for new consumer and replacements for old consumers (During The Period) | 346661 | 114826
Cost involved in purchase of meters during FY (Rs. Lacs) | 0 | 631.38
Cost of meter rent Collected during FY (Rs. Lacs) | 737.6631 | 259.2895
Anti Theft Measures | As on 31st Mar-21 | As on 30th Sep-21
No of cases Finalised under Section 126 & 135 | 12362 | 7650
Ammount Finaliseded (Rs. Lacs) | 1470.2428 | 1222.5075
Ammount Assessed during filing of case (Rs. Lacs) | 1470.2428 | 1222.5075
No of new connections given | 200746 | 51553
No. of connection Regularised | 2099 | 1271
Amount Billed (Rs. Lacs) | 430.1082 | 419.7975
Amount Collected (Rs. Lacs) | 217.349 | 177.3038
No. of FIR lodged | 43 | 33
No. of illegal consumers prosecuted/Initiated in Court | 2 | 4
Number of disconnections made | 44151 | 16306
Revenue realised (Rs. LACS.) | 2658.778 | 1219.8815
Franchisee Activity | As on 31st Mar-21 | As on 30th Sep-21
No of Micro-Franchisees (Collection Agent) | 67 | 69
No of Consumers Covered | 101578 | 112176
No of Macro-Franchisees (Collection Agent) | 54 | 54
No of Consumers Covered | 1414777 | 1457058
No of Input Based-Franchisees | 0 | 0
No of Consumers Covered | 0 | 0
Total no of consumers covered under Franchisee | 1516355 | 1569234
QUALITY OF SUPPLY | As on 31st Mar-21 | As on 30th Sep-21
Failure of Power Transformers | 15 | 11
No. of Dist. Transformers burnt | 3208 | 1865
Cost involved (Lacs.) | 862.6985 | 501.5376
No of Interruptions in 33 KV Feeders | 8167 | 35480
No of Interruptions in 11 KV Feeders | 62809 | 156433
No. of Grievances received | 12613 | 1451
Disposed through CHP including Bijuli Adalat | 12116 | 1441
Total No. of GRF Orders received for compliance | 1867 | 485
No. of GRF Orders Complied | 1259 | 1397
SYSTEM IMPROVEMENT WORKS DURING REVIEW PERIOD | As on 31st Mar-21 | As on 30th Sep-21
Installation of New Transformers | 759 | 1483
Upgradation of Transformers | 0 | 0
Installation of Pillar Box | 0 | 0
Length of AB Cable Laid (km) | 1199.822 | 394.15
Conversion of Single Phase to Three Phase Lines | 0 | 0
No. of Hooks Detected | 2249 | 2055
No. of Hooks repeated out of hooks detected | 0 | 0
Ammount Estimated under deposit work (Rs. Lacs) | 12046.22 | 10206.23
Ammount Finaliseded for 6 % calculation (Rs. Lacs) | 807.042 | 592.6
OTHERS | As on 31st Mar-21 | As on 30th Sep-21
No. of defective meters | 227027 | 217932
Replacement of defective meters | 165368 | 73135
No. of EHT meters tested | 20 | 8
No. of HT meters tested | 694 | 532

## P-17
Licensee-TPWODL | [7 empty] | OERC Form P-17
Consumers Data (Division wise and month wise)
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division ROURKELA
| APRIL | 3 | 3 | 39 | 39 | 70347 | 70347 | 0 | 70389 | 70389
| MAY | 3 | 3 | 41 | 41 | 72944 | 72944 | 0 | 72988 | 72988
| JUNE | 3 | 3 | 41 | 41 | 72661 | 72661 | 0 | 72705 | 72705
| JULY | 3 | 3 | 40 | 40 | 72776 | 72776 | 0 | 72819 | 72819
| AUGUST | 3 | 3 | 40 | 40 | 72878 | 72878 | 0 | 72921 | 72921
| SEPTEMBER | 3 | 3 | 41 | 41 | 73123 | 73123 | 0 | 73167 | 73167
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division ROURKELA-SADAR
| APRIL | 1 | 1 | 73 | 73 | 110237 | 59625 | 24970 | 110311 | 84669
| MAY | 1 | 1 | 73 | 73 | 110574 | 59902 | 25702 | 110648 | 85678
| JUNE | 1 | 1 | 73 | 73 | 110694 | 59981 | 25011 | 110768 | 85066
| JULY | 1 | 1 | 74 | 74 | 110884 | 60162 | 25711 | 110959 | 85948
| AUGUST | 1 | 1 | 74 | 74 | 111033 | 60317 | 25005 | 111108 | 85397
| SEPTEMBER | 1 | 1 | 74 | 74 | 111223 | 60603 | 25615 | 111298 | 86293
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division RAJGANGPUR
| APRIL | 5 | 5 | 168 | 168 | 130218 | 68948 | 31119 | 130391 | 100240
| MAY | 5 | 5 | 170 | 170 | 130668 | 69223 | 30326 | 130843 | 99724
| JUNE | 5 | 5 | 171 | 171 | 130830 | 69304 | 31200 | 131006 | 100680
| JULY | 5 | 5 | 172 | 172 | 131042 | 69444 | 30398 | 131219 | 100019
| AUGUST | 5 | 5 | 172 | 172 | 130969 | 69284 | 31287 | 131146 | 100748
| SEPTEMBER | 5 | 5 | 172 | 172 | 131457 | 69570 | 30600 | 131634 | 100347
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SUNDERGARH
| APRIL | 1 | 1 | 25 | 25 | 116687 | 19319 | 49842 | 116713 | 69187
| MAY | 1 | 1 | 25 | 25 | 117077 | 19465 | 47770 | 117103 | 67261
| JUNE | 1 | 1 | 25 | 25 | 117192 | 19463 | 49959 | 117218 | 69448
| JULY | 1 | 1 | 26 | 26 | 117265 | 19512 | 47794 | 117292 | 67333
| AUGUST | 1 | 1 | 27 | 27 | 117541 | 19677 | 50070 | 117569 | 69775
| SEPTEMBER | 1 | 1 | 28 | 28 | 117531 | 19750 | 47711 | 117560 | 67490
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SAMBALPUR
| APRIL | 1 | 1 | 78 | 78 | 62473 | 62473 | 0 | 62552 | 62552
| MAY | 1 | 1 | 80 | 80 | 62950 | 62950 | 0 | 63031 | 63031
| JUNE | 1 | 1 | 80 | 80 | 63002 | 63002 | 0 | 63083 | 63083
| JULY | 1 | 1 | 80 | 80 | 62928 | 62928 | 0 | 63009 | 63009
| AUGUST | 1 | 1 | 80 | 80 | 63222 | 63222 | 0 | 63213 | 63213
| SEPTEMBER | 1 | 1 | 81 | 81 | 63400 | 63400 | 0 | 63482 | 63482
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SAMBALPUR-EAST
| APRIL | 6 | 6 | 85 | 85 | 116711 | 42338 | 39157 | 116802 | 81586
| MAY | 6 | 6 | 87 | 87 | 117177 | 42541 | 35479 | 117270 | 78113
| JUNE | 6 | 6 | 87 | 87 | 117284 | 42600 | 39205 | 117377 | 81898
| JULY | 6 | 6 | 87 | 87 | 117400 | 42696 | 35499 | 117493 | 78288
| AUGUST | 6 | 6 | 86 | 86 | 117581 | 42819 | 39263 | 117673 | 82174
| SEPTEMBER | 6 | 6 | 88 | 88 | 117879 | 42992 | 35624 | 117973 | 78710
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division JHARSUGUDA
| APRIL | 8 | 8 | 62 | 62 | 129453 | 129348 | 105 | 129523 | 129523
| MAY | 8 | 8 | 65 | 65 | 136719 | 136614 | 0 | 136792 | 136687
| JUNE | 8 | 8 | 65 | 65 | 130033 | 129928 | 105 | 130106 | 130106
| JULY | 8 | 8 | 66 | 66 | 130116 | 130011 | 0 | 130190 | 130085
| AUGUST | 8 | 8 | 66 | 66 | 130394 | 130289 | 105 | 130468 | 130468
| SEPTEMBER | 8 | 8 | 66 | 66 | 130635 | 130530 | 0 | 130709 | 130604
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BRAJRAJ NAGAR
| APRIL | 2 | 2 | 21 | 21 | 52182 | 41220 | 6066 | 52205 | 47309
| MAY | 2 | 2 | 21 | 21 | 52461 | 41484 | 4911 | 52484 | 46418
| JUNE | 2 | 2 | 21 | 21 | 52531 | 41545 | 6075 | 52554 | 47643
| JULY | 2 | 2 | 21 | 21 | 52681 | 41682 | 4924 | 52704 | 46629
| AUGUST | 2 | 2 | 21 | 21 | 52863 | 41859 | 6080 | 52886 | 47962
| SEPTEMBER | 2 | 2 | 21 | 21 | 52991 | 41978 | 4933 | 53014 | 46934
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division DEOGARH
| APRIL |  |  | 10 | 10 | 76072 | 41976 | 17522 | 76082 | 59508
| MAY |  |  | 11 | 11 | 76206 | 42098 | 16586 | 76217 | 58695
| JUNE |  |  | 11 | 11 | 76301 | 42153 | 17562 | 76312 | 59726
| JULY |  |  | 11 | 11 | 76371 | 42207 | 16602 | 76382 | 58820
| AUGUST |  |  | 11 | 11 | 76462 | 42287 | 17573 | 76473 | 59871
| SEPTEMBER |  |  | 12 | 12 | 76566 | 42363 | 16630 | 76578 | 59005
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BARGARH
| APRIL | 1 | 1 | 115 | 115 | 122861 | 122859 | 0 | 122977 | 122973
| MAY | 1 | 1 | 117 | 117 | 123243 | 123241 | 0 | 123361 | 123361
| JUNE | 1 | 1 | 117 | 117 | 123536 | 123534 | 0 | 123654 | 123652
| JULY | 2 | 2 | 118 | 118 | 124090 | 124090 | 0 | 124210 | 124210
| AUGUST | 2 | 2 | 118 | 118 | 126273 | 126271 | 0 | 126393 | 126391
| SEPTEMBER | 2 | 2 | 118 | 118 | 126580 | 126580 | 0 | 126700 | 126700
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BARGARH-WEST
| APRIL |  |  | 40 | 40 | 174404 | 38081 | 63334 | 174444 | 101455
| MAY |  |  | 40 | 40 | 175006 | 38176 | 73496 | 175046 | 111712
| JUNE |  |  | 40 | 40 | 176621 | 38212 | 64913 | 176661 | 103165
| JULY |  |  | 40 | 40 | 176929 | 38301 | 73715 | 176969 | 112056
| AUGUST |  |  | 40 | 40 | 178017 | 38644 | 65658 | 178057 | 104342
| SEPTEMBER |  |  | 40 | 40 | 179765 | 39538 | 74569 | 179805 | 114147
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BOLANGIR
| APRIL | 1 | 1 | 50 | 50 | 142630 | 142630 | 0 | 142681 | 142681
| MAY | 1 | 1 | 51 | 51 | 142381 | 142375 | 0 | 142433 | 142427
| JUNE | 1 | 1 | 51 | 51 | 142679 | 142679 | 0 | 142731 | 142731
| JULY | 1 | 1 | 51 | 51 | 143049 | 143043 | 0 | 143101 | 143095
| AUGUST | 1 | 1 | 52 | 52 | 144251 | 144251 | 0 | 144304 | 144304
| SEPTEMBER | 1 | 1 | 52 | 52 | 146416 | 146411 | 0 | 146469 | 146464
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SONEPUR
| APRIL | 1 | 1 | 54 | 54 | 145244 | 30244 | 60737 | 145299 | 91036
| MAY | 1 | 1 | 59 | 59 | 145571 | 30461 | 54373 | 145631 | 84894
| JUNE | 1 | 1 | 59 | 59 | 145736 | 30505 | 60858 | 145796 | 91423
| JULY | 1 | 1 | 59 | 59 | 145876 | 30612 | 54406 | 145936 | 85078
| AUGUST | 1 | 1 | 60 | 60 | 146024 | 30713 | 60905 | 146085 | 91679
| SEPTEMBER | 1 | 1 | 60 | 60 | 146302 | 30934 | 54463 | 146363 | 85458
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division TITILAGARH
| APRIL | 4 | 4 | 50 | 50 | 224568 | 224568 | 0 | 224622 | 224622
| MAY | 4 | 4 | 50 | 50 | 225093 | 225092 | 0 | 225147 | 225146
| JUNE | 4 | 4 | 50 | 50 | 227989 | 227989 | 0 | 228043 | 228043
| JULY | 4 | 4 | 50 | 50 | 228713 | 228712 | 0 | 228767 | 228766
| AUGUST | 4 | 4 | 50 | 50 | 230344 | 230344 | 0 | 230398 | 230398
| SEPTEMBER | 4 | 4 | 51 | 51 | 230774 | 230773 | 0 | 230829 | 230828
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division KEED
| APRIL | 3 | 3 | 54 | 54 | 161257 | 108191 | 25313 | 161314 | 133561
| MAY | 3 | 3 | 55 | 55 | 163882 | 110004 | 28565 | 163940 | 138627
| JUNE | 3 | 3 | 55 | 55 | 164159 | 110034 | 25560 | 164217 | 135652
| JULY | 3 | 3 | 55 | 55 | 165400 | 110828 | 29012 | 165458 | 139898
| AUGUST | 3 | 3 | 55 | 55 | 165790 | 110977 | 25801 | 165848 | 136836
| SEPTEMBER | 3 | 3 | 55 | 55 | 166015 | 111194 | 29020 | 166073 | 140272
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division KWED
| APRIL | 1 | 1 | 24 | 24 | 165168 | 19102 | 62960 | 165193 | 82087
| MAY | 1 | 1 | 24 | 24 | 165864 | 19222 | 83682 | 165889 | 102929
| JUNE | 1 | 1 | 25 | 25 | 167239 | 19246 | 64311 | 167264 | 83582
| JULY | 1 | 1 | 24 | 24 | 168929 | 19297 | 85321 | 168954 | 104643
| AUGUST | 1 | 1 | 24 | 24 | 170117 | 19319 | 65477 | 170142 | 84821
| SEPTEMBER | 1 | 1 | 24 | 24 | 170320 | 19460 | 85383 | 170345 | 104868
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division NUAPADA
| APRIL |  |  | 25 | 25 | 131741 | 19928 | 57380 | 131766 | 77333
| MAY |  |  | 27 | 27 | 138707 | 26382 | 54945 | 138734 | 81354
| JUNE |  |  | 27 | 27 | 140509 | 26913 | 58651 | 140536 | 85591
| JULY |  |  | 27 | 27 | 141128 | 27040 | 55437 | 141155 | 82504
| AUGUST |  |  | 27 | 27 | 142321 | 27318 | 59566 | 142348 | 86911
| SEPTEMBER |  |  | 28 | 28 | 144090 | 27416 | 57108 | 144118 | 84552
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
TPWODL As a Whole
| APRIL | 38 | 38 | 973 | 973 | 2132253 | 1241197 | 438505 | 2133264 | 1680713
| MAY | 38 | 38 | 996 | 996 | 2156523 | 1262174 | 455835 | 2157557 | 1719043
| JUNE | 38 | 38 | 998 | 998 | 2158996 | 1259749 | 443410 | 2160032 | 1704195
| JULY | 39 | 39 | 1001 | 1001 | 2165577 | 1263341 | 458819 | 2166617 | 1723200
| AUGUST | 39 | 39 | 1003 | 1003 | 2176080 | 1270469 | 446790 | 2177122 | 1718301
| SEPTEMBER | 39 | 39 | 1011 | 1011 | 2185067 | 1276615 | 461656 | 2186117 | 1739321