## P-1
Licencee WESCO UTILITY | [5 empty] | OERC | FORM P.1
Voltage Fluctuation
Period | First six months of the previous year |  | Last six months of the previous year |  | First six months of the current year |  | Corrective
| Percentage of time |  | Percentage of time |  | Percentage of time |  | measures proposed
Substation wise | when voltage was |  | when voltage was |  | when voltage was
At 33 kv side of transformer | below | above | below | above | below | above
(incoming point of 33 kv bus) | (9%) | (6%) | (9%) | (6%) | (9%) | (6%)
Nuapada, Padampur, Paikmal, Jharbandha, Melchamunda, Kurumpuri,, Badkuturu, Naktiguda, Narla, Biswanathpur, Rampur, Madanpur | 8.8 | 0 | 9.2 | 0 | 9 | 0
OM
pragnya

## P-2
Licencee WESCO UTILITY | [11 empty] | OERC | FORM P-2
Electrical Accidents
Items | Period
| First six months of the previous year |  |  |  | Last six months of the previous year |  |  |  | First six months of the current year |  |  |  | Corrective measures
| No. of Accidents |  |  |  | No. of Accidents |  |  |  | No. of Accidents |  |  |  | proposed to avoid
| FATAL |  | NON FATAL |  | FATAL |  | NON FATAL |  | FATAL |  | NON FATAL |  | accidents
| HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL
| 9 | 1 | 2 | 2 | 11 | 6 | 4 | 6 | 7 | 3 | 1 | 0
(1) 33KV
(2)11KV
(3) 400/230V
(4)DC SUPPLY
OM
pragnya

## P-3
Licencee WESCO UTILITY | [8 empty] | OERC | FORM P.3
Release of Service Connection
(LT SUPPLY) |  |  |  |  | (LT SUPPLY)
Period --> | First six months of the previous year |  |  | Last six months of the previous year |  |  | First six months of the current year
| No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | Reason for delay
| 117730 | 117730 | 0 | 123497 | 123497 | 0 | 76249 | 76249 | 0
com

## P-4
Licencee WESCO UTILITY | [8 empty] | OERC | FORM P-4
STATUS OF HT CONNECTIONS
Period | First six months of the previous year |  |  | Last six months of the previous year |  |  | First six months of the current year
| No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | Reason for delay
| 52 | 52 | 0 | 48 | 48 | 0 | 49 | 39 | 0
com

## P-5
| Licencee WESCO UTILITY | [5 empty] | OERC | FORM P-5
Abstract of outages due to trippings of HT Feeders
EXCLUDING THE INTERUPTIONS DUE TO EHT FAILURE/GRID DISTURBANCES
1 | 132/33kv S/S (S/S Wise) | First six months of the previous year |  | Last six months of the previous year |  | First six months of the current year |  | Steps proposed to
|  | No. of | Duration of | No. of | Duration of | No. of | Duration of | reduce feeder trippings
|  | trippings | trippings (min) | trippings | trippings (min) | trippings | trippings (min)
a | ALL 33 KV Incoming Feeders | 4907 | 516 | 3655 | 312 | 4808 | 460
b | ALL 11 KV outgoing Feeders | 31245 | 415255 | 24157 | 378520 | 30755 | 375436
c | Power Transformer - I
i) High voltage side
ii) Low voltage side
d | Power Transformer - II
i) High voltage side
ii) Low voltage side
Repeat for all the transformers
2 | Repeat for all the 33/11KV S/S
| ALL ORISSA PICTURE |  | 11.5 |  | 13.62 |  | 10.5698
Average interruption/33kv feeders
= Total duration of trippings
at 33 kv/total no. 33 kv feeder
Average interruption/11 kv feeders
= Total duration of trippings at
11kv/Total no of 11kv feeders.
OM
pragnya

## P-6
| Licencee WESCO UTILITY |  |  |  | OERC | FORM P.6
Failure of Transformer (Nos.)
| Period | First six months of the previous year | Last six months of the previous year | First six months of the current year | Reason of Failure | Steps taken to reduce the failure rate
Items
1 | Power Transformers (HT) | 10 | 8 | 11
2 | Distribution Transformers | 1517 | 1639 | 1999
OM
pragnya

## P-7
Licencee WESCO UTILITY | [11 empty] | OERC | FORM P.7
RELEASE OF CUSTOMER BILLS
Period | previous year | [5 empty] | First six months of the current year | [5 empty] | Action proposed to be taken for
| Total no of Consumer | No. of customer billed through Spot Billing | No. of customer billed through Other means | No. of customer bills served within billing period | No. of customer bills served after billing period | No. of Money receipst Generated | Total no of Consumer | No. of customer billed through Spot Billing | No. of customer billed through Other means | No. of customer bills served within billing period | No. of customer bills served after billing period | No. of Money receipst Generated | prompt release of customer bills
April | 1769260 | 1198637 | 83605 | 1282242 |  | 234093 | 1971358 | 1457878 | 92215 | 1550093 |  | 51287
May | 1798578 | 1218901 | 84659 | 1303560 |  | 330011 | 1984599 | 1474390 | 93158 | 1567548 |  | 275998
June | 1819661 | 1236544 | 85137 | 1321681 |  | 309276 | 1998548 | 1479215 | 93765 | 1572980 |  | 322250
July | 1835379 | 1235391 | 86047 | 1321438 |  | 339092 | 2007775 | 1487495 | 95455 | 1582950 |  | 361266
August | 1844230 | 1250824 | 86890 | 1337714 |  | 303574 | 2017789 | 1498067 | 96036 | 1594103 |  | 368737
September | 1856574 | 1251958 | 87536 | 1339494 |  | 314805 | 2032719 | 1508907 | 96431 | 1605338 |  | 456313
October | 1870678 | 1285594 | 87977 | 1373571 |  | 357637
November | 1890578 | 1367602 | 89067 | 1456669 |  | 397674
December | 1915047 | 1399940 | 89410 | 1489350 |  | 452076
January | 1934888 | 1441245 | 90525 | 1531770 |  | 455467
February | 1953140 | 1446359 | 91495 | 1537854 |  | 410310
March | 1963698 | 1459266 | 92067 | 1551333 |  | 412972
Avg | 1870975.9167 | 1316021.75 | 87867.9167 | 1403889.6667 |  | 359748.9167 | 2002131.3333 | 1484325.3333 | 94510 | 1578835.3333 |  | 305975.1667

## P-10
INFORMATION FOR TIME OF DAY TARIFF
| (Period of 6 months) |  |  |  | OERC FORM P-10
Licencee: WESCO UTILITY
Name of Month | Monthly Maximum System Demand in MVA | Date and Time of Occurrence | Monthly Minimum System Demand in MVA | Date and Time of Occurrence | Monthly Average System Demand in MW
2020-04-09 | 1021.291 | 20.04.2020 19:15 | DATA NOT PROVIDED BY OPTCL |  | 1199.4825
2020-05-10 | 970.241 | 03.05.2020 15:30 |  |  | 1025.1798
2020-06-10 | 1138.573 | 06.06.2020 16:30 |  |  | 1108.6133
2020-07-11 | 1253.847 | 18.07.2020 19:45 |  |  | 1140.4433
2020-08-11 | 1076.488 | 18.08.2020 18:30 |  |  | 1541.4946
2020-09-11 | 1422.64 | 26.09.2020 19:30 |  |  | 1231.8964

## P-12
| Licencee WESCO UTILITY |  | OERC | FORM P.12
Interruption
Major Disturbances Due to EHT Failure
|  | First six months of | Last six months of | First six months of
|  | the previous year | the previous year | the current year
Period
1 | No. of occurances | 3 | 5 | 5
2 | Total duration of interruption | 3 | 4.1 | 3.6
3 | Estimated unserved energy | 0.28 | 0.34 | 0.31
due to such interruptions
Example :-
Load prior to the disturbance x No.
of hours of interruption
4 | No. of occasions when Distco
system was completely isolated
From the Grid due to system
disturbance affecting power
supply
OM

## P-13
WESCO UTILITY
METERING REPORT FOR THE PERIOD APR-20 TO SEP-20
CATEGORY OF CONSUMER | CONSUMERS AT THE START OF THE PERIOD | ADDITION OF NEW CONSUMERS DURING THE PERIOD | WITHDRAWAL OF CONSUMERS DURING THE PERIOD | CONSUMERS AT THE END OF THE PERIOD | METERS AT THE START OF THE PERIOD | METER INSTALLED BY WESCO | METER INSTALLED BY CONSUMERS | METER INSTALLED DURING THE PERIOD | METERS AT THE END OF THE PERIOD | UNMETERED CONSUMERS AT THE START OF THE PERIOD | UNMETERED CONSUMERS AT THE END OF THE PERIOD | DEFECTIVE METERS AT THE START OF THE PERIOD | REPAIRED/REPLACED | REPORTED DEFECTIVE | DEFECTIVE METERS AT THE END OF THE PERIOD | NO.OF METERS INSTALLED DURING THE PERIOD | Defective Meter (At start) | Def Meter Repaired | Meters Reported Defective | Def. Meters (at End) | Total Meters Installed | No. of Working Meters (at End) | % of Working Meter to Total Meter | Working meter % of Total Consumers | Total Meter as % of total Consumers | METER WITHDRAWN DURING THE PERIOD
Domestic | 1548721 | 86775 | 0 | 1635496 | 1467596 | 47576 | 64315 | 111891 | 1579487 | 82122 | 56009 | 210651 | 60086 | 47239 | 197804 | 171977 | 136485.0868 |  |  |  |  | 1381683 | 87.48% | 84.48% | 96.58%
Kutir Jyoti | 253257 | 0 | 24168 | 229089 | 221566 | 5745 | 10469 | 16214 | 204360 | 31691 | 24729 | 57849 | 5945 | 3228 | 55132 | 22159 | 38041.1711 |  |  |  |  | 149228 | 73.02% | 65.14% | 89.21% | 33420
Others
Total Domestic | 1801978 | 86775 | 24168 | 1864585 | 1689162 | 53321 | 74784 | 128105 | 1783847 | 113813 | 80738 | 268500 | 66031 | 50467 | 252936 | 194136 | 174526.2579 | 0 | 0 | 0 | 0 | 1530911 | 85.82% | 82.1% | 95.67% | 33420
Gen. Purpose<110 kva | 81882 | 2290 | 0 | 84172 | 81240 | 1600 | 997 | 2597 | 83837 | 641 | 335 | 5225 | 1698 | 1580 | 5107 | 4295 | 3523.8384 |  |  |  |  | 78730 | 93.91% | 93.53% | 99.6% | 0
Irrigation, Pumping & Agriculture | 57594 | 3320 | 0 | 60914 | 26859 | 91 | 437 | 524 | 27383 | 30735 | 33531 | 2270 | 95 | 112 | 2287 | 619 | 1578.0338 |  |  |  |  | 25096 | 91.65% | 41.2% | 44.95% | 0
Allied Agricultural Activities | 239 | 20 | 0 | 259 | 234 | 4 | 15 | 21 | 255 | 5 | 4 | 8 | 5 | 1 | 4 | 26 | [5 empty] | 251 | 98.43% | 96.91% | 98.46% | 0
Allied Agro-Industrial Activities | 72 | 2 | 0 | 74 | 72 | 0 | 2 | 2 | 74 | 0 | 0 | 2 | 0 | 12 | 14 | 2 | [5 empty] | 60 | 81.08% | 81.08% | 100% | 0
Public Light | 2153 | 69 | 0 | 2222 | 1430 | 25 | 55 | 80 | 1510 | 723 | 712 | 160 | 26 | 58 | 192 | 106 | 132.4803 |  |  |  |  | 1318 | 87.28% | 59.32% | 67.96% | 0
LT Ind.(S) Suply | 3774 | 3 | 0 | 3777 | 3764 | 0 | 13 | 13 | 3777 | 0 | 0 | 5 | 120 | 121 | 6 | 133 | 4.14 |  |  |  |  | 3771 | 99.84% | 99.84% | 100% | 0
LT Ind.(M) Suply | 1354 | 4 | 0 | 1358 | 1346 | 0 | 11 | 11 | 1357 | 0 | 1 | 0 | 58 | 58 | 0 | 69 | 0 |  |  |  |  | 1357 | 100% | 99.93% | 99.93% | 0
Specified Public Purpose | 9801 | 487 | 0 | 10288 | 8657 | 279 | 428 | 707 | 9364 | 1140 | 924 | 39 | 285 | 1074 | 828 | 992 | 571.3214 |  |  |  |  | 8536 | 91.16% | 82.97% | 91.02% | 0
Public Water Work & Sewerage Pumping | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
<= 110 kva | 3892 | 198 | 0 | 4090 | 3636 | 79 | 144 | 223 | 3859 | 256 | 231 | 207 | 81 | 335 | 461 | 304 | 318.0908 |  |  |  |  | 3398 | 88.05% | 83.08% | 94.35% | 0
=> 110 kva | 10 | 0 | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | 0% | 0% | 0
Total Public Water Works | 3902 | 198 | 0 | 4100 | 3636 | 79 | 144 | 223 | 3859 | 256 | 241 | 207 | 81 | 335 | 461 | 304 | 318.0908 | 0 | 0 | 0 | 0 | 3398 | 88.05% | 82.88% | 94.12% | 0
General Purpose >= 110 kva |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Large Industry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total LT | 1962749 | 93168 | 24168 | 2031749 | 1816400 | 55399 | 76886 | 132283 | 1915263 | 147313 | 116486 | 276416 | 68399 | 53818 | 261835 | 200682 | 180654.1626 | 0 | 0 | 0 | 0 | 1653428 | 86.33% | 81.38% | 94.27% | 33420
Bulk Supply Domestic | 29 | 0 | 1 | 28 | 29 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 |  |  |  |  | 28 | 100% | 100% | 100% | 1
Irrigation | 24 | 3 | 0 | 27 | 24 | 3 |  | 3 | 27 | 0 | 0 | 0 | 2 | 2 | 0 | 5 | 0 |  |  |  |  | 27 | 100% | 100% | 100% | 0
Allied Agricultural Activities | 5 | 1 | 0 | 6 | 5 | 1 |  | 1 | 6 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | [5 empty] | 6 | 100% | 100% | 100% | 0
Allied Agro-Industrial Activities | 12 | 1 | 0 | 13 | 12 | 1 |  | 1 | 13 | 0 | 0 | 0 | 0 |  | 0 | 1 | [5 empty] | 13 | 100% | 100% | 100% | 0
Specified Public Purpose | 55 | 1 | 0 | 56 | 55 | 1 |  | 1 | 56 | 0 | 0 | 0 | 4 | 4 | 0 | 5 | 0 |  |  |  |  | 56 | 100% | 100% | 100% | 0
Gen. Purpose<110 kva | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
HT Industrial (M) Supply | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
General Purpose >= 110 Kva | 132 | 13 | 0 | 145 | 132 | 13 |  | 13 | 145 | 0 | 0 | 0 | 12 | 12 | 0 | 25 | 0 |  |  |  |  | 145 | 100% | 100% | 100% | 0
Public Water Work & Sewerage Pumping | 20 | 3 | 0 | 23 | 20 | 3 |  | 3 | 23 | 0 | 0 | 0 | 3 | 3 | 0 | 6 | 0 |  |  |  |  | 23 | 100% | 100% | 100% | 0
Large Industry | 635 | 0 | 4 | 631 | 635 | 0 |  | 0 | 631 | 0 | 0 | 0 | 65 | 65 | 0 | 65 | 0 |  |  |  |  | 631 | 100% | 100% | 100% | 4
Power Intensive Industry | 15 | 0 | 1 | 14 | 15 |  |  | 0 | 14 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 14 | 100% | 100% | 100% | 1
Mini Steel Plant | 3 | 1 | 0 | 4 | 3 | 1 |  | 1 | 4 | 0 | 0 | 0 |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 100% | 100% | 100% | 0
Railway Traction | 1 | 0 | 0 | 1 | 1 |  |  | 0 | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 1 | 100% | 100% | 100% | 0
Emergency Supply to CPP | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Colony Consumption | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total HT | 931 | 23 | 6 | 948 | 931 | 23 | 0 | 23 | 948 | 0 | 0 | 0 | 88 | 88 | 0 | 111 | 0 | 0 | 0 | 0 | 0 | 948 | 100% | 100% | 100% | 6
General Purpose | 2 | 0 | 0 | 2 | 2 |  |  | 0 | 2 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 2 | 100% | 100% | 100% | 0
Large Industry | 10 | 0 | 0 | 10 | 10 |  |  | 0 | 10 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 10 | 100% | 100% | 100% | 0
Railway Traction | 11 | 1 | 0 | 12 | 11 |  | 1 | 1 | 12 | 0 | 0 | 0 |  |  | 0 | 1 | 0 |  |  |  |  | 12 | 100% | 100% | 100% | 0
Heavy Industry | 2 | 1 | 0 | 3 | 2 |  | 1 | 1 | 3 | 0 | 0 | 0 |  |  | 0 | 1 | 0 |  |  |  |  | 3 | 100% | 100% | 100% | 0
Power Intensive Industry | 4 | 0 | 0 | 4 | 4 |  |  | 0 | 4 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 4 | 100% | 100% | 100% | 0
Mini Steel Plant | 1 | 0 | 0 | 1 | 1 |  |  | 0 | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 100% | 100% | 100% | 0
Energy Supply to CPP | 2 | 0 | 0 | 2 | 2 |  |  | 0 | 2 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 2 | 100% | 100% | 100% | 0
Colony Consumption | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Irrigation | 1 | 0 | 0 | 1 | 1 |  | 1 |  | 1 | [5 empty] | 0 | 0 | [5 empty] | 1 |  |  |  | 0
Total EHT | 33 | 2 | 0 | 35 | 33 | 0 | 3 | 2 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 35 | 100% | 100% | 100% | 0
Grand Total | 1963713 | 93193 | 24174 | 2032732 | 1817364 | 55422 | 76889 | 132308 | 1916246 | 147313 | 116486 | 276416 | 68487 | 53906 | 261835 | 200795 | 180654.1626 | 0 | 0 | 0 | 0 | 1654411 | 86.34% | 81.39% | 94.27% | 33426

## P-14
Licencee : WESCO UTILITY |  |  |  |  | OERC FORM P-14
MEASURES FOR REDUCTION OF T&D LOSS
Sl.No. | Subject | Unit | Previous Year (19-20) | Current Year (20-21) | Ensuing Year (21-22)
1 | Renovation & Investment
a | Instalation of LT less transformers | Nos | 125 | 45 | 60
| Rate | Rs lacs | 2.5 | 2.5 | 2.5
| cost | Rs lacs | 312.5 | 112.5 | 150
| % Reduction in T&D loss for above | % | 0.01995% | -0.03304% | 0.01218%
b | Re-conductoring
I | 33kv | Kms | 40 | 50 | 15
| Rate | Rs lacs | 12.5 | 12.5 | 13
| cost | Rs lacs | 500 | 625 | 195
| 33kv New | Kms
| Rate | Rs lacs | 7.5 | 7.5 | 7.5
| cost | Rs lacs | 0 | 0 | 0
| % Reduction in T&D loss for above | % | 0.03191% | -0.1835% | 0.01583%
ii | 11kv | Kms | 800 | 500 | 300
| Rate | Rs lacs | 7 | 7 | 7.5
| cost | Rs lacs | 5600 | 3500 | 2250
| 11kv New | Kms
| Rate | Rs lacs | 4.01 | 4.01 | 4.01
| cost | Rs lacs | 0 | 0 | 0
| % Reduction in T&D loss for above | % | 0.3574% | -1.028% | 0.1827%
iii | LT AB Cable | Kms
| Rate | Rs lacs
| cost | Rs lacs
iii | LT New | Kms | 2250 | 350 | 400
| Rate | Rs lacs | 5.25 | 5.25 | 5.75
| cost | Rs lacs | 11812.5 | 1837.5 | 2300
| % Reduction in T&D loss for above | % | 0.754% | -0.5396% | 0.1867%
c | Upgradation of transformers
I | 33/11kv | No.s | 8 | 4 | 4
| Rate | Rs lacs | 10 | 50.5 | 60
| cost | Rs lacs | 80 | 202 | 240
| % Reduction in T&D loss for above | % | 0.005106% | -0.05932% | 0.01948%
ii | 33/.4kv | No.s | 0 | 0 | 0
| Rate | Rs lacs
| cost | Rs lacs
| % Reduction in T&D loss for above | %
iii | 11/.4kv | No.s | 800 | 125 | 150
| Rate | Rs lacs | 2.75 | 2.75 | 3
| cost | Rs lacs | 2200 | 343.75 | 450
| % Reduction in T&D loss for above | % | 0.1404% | -0.1009% | 0.03653%
d | Installation of new transformers
i | 33/11kv | No.s | 11 | 3 | 4
| Rate | Rs lacs | 275 | 275 | 285
| cost | Rs lacs | 3025 | 825 | 1140
| % Reduction in T&D loss for above | % | 0.1931% | -0.2423% | 0.09255%
ii | 33/.4kv | No.s | 0 | 0 | 0
| Rate | Rs lacs | 4.5 | 4.5 | 4.5
| cost | Rs lacs | 0 | 0 | 0
| % Reduction in T&D loss for above | % | 0% | 0% | 0%
iii | 11/.4kv | No.s | 1875 | 200 | 350
| Rate | Rs lacs | 4.5 | 4.5 | 4.75
| cost | Rs lacs | 8437.5 | 2500 | 3000
| % Reduction in T&D loss for above | % | 0.5386% | -0.7341% | 0.2436%
TOTAL OF SL.1
| Cost |  | 31967.5 | 9945.75 | 9725
| % Reduction in T&D loss for above | % | 2.04% | -2.921% | 0.7895%
2 | Detection of un-authorised abstraction of electricity
a | No. of cases filed | Nos | 110 | 120 | 100
b | No of cases prosecuted | Nos
c | Any other - Metering cubicle | Nos | 80 | 15 | 12
| Cost | Rs lacs | 100 | 18.75 | 15
| - Meter Replacement(1-Ph.) | Nos | 150000 | 100000 | 80000
| Cost | Rs lacs | 1875 | 1250 | 1160
| - Meter Replacement(3-Ph.) | Nos | 5000 | 1000 | 1500
| Cost | Rs lacs | 225 | 45 | 67.5 | 7200 | 2313.75 | 2592.5
| AB Cable | Kms | 1250 | 250 | 300
| Cost | Rs lacs | 5000 | 1000 | 1350
| Total Cost | Rs lacs | 39167.5 | 12259.5 | 12317.5
| % Reduction in T&D loss for Sl 2 | % | 0.4596% | -0.6794% | 0.2105%
| % Reduction in T&D loss for Sl 1& 2 | % | 2.5% | -3.6% | 1%

## P-15
| Licencee WESCO UTILITY |  |  | OERC FORM P.15
CONSUMER COMPLAINT
SL.NO. | TYPE OF COMPLAINT
|  | Ist.Six months of previous year |  | 2nd.Six months of previous year |  | Ist.Six months of current year
|  | CONSUMER COMPLAINT |  | CONSUMER COMPLAINT |  | CONSUMER COMPLAINT
|  | Received | Resolved | Received | Resolved | Received | Resolved
1 | Interruption due to problem in LT supply
| (Fuse off call at aerial cutouts/Sealable cutouts,snapping of wires,falling of trees on overhead lines,fire due to short circuit of LT lines consequent to loose spans and touching of tree branches) | 17913 | 17913 | 17836 | 17836 | 17625 | 17625
2 | Problems in metering and meter reading
| (Delay in replacement of non-recording meters, replacement of burnt out meter, replacement of meters recording excess consumption due to creeping, breakage of seals provided to the meter, mistakes in totaling by the MR while issuing the bills, wrong noting of "door lock" by MR, wrong calculation by the MR while issuing the bills and use of wrong meter constant, wrong recording of reading by MR) | 17015 | 16997 | 17603 | 17319 | 16948 | 16881
3 | Errors in billing
| (Excessive billing, amount already paid by consumer shown as arrears, wrong application of tariff, posting of wrong initial reading, showing the short claims in the monthly bill without furnishing the details to the consumer, wrong postings, i.e. postings of receipts to wrong RR nos., issue of bills leaving many blank columns in the printed bill form, improper billing of non-recording period of meters) | 2628 | 2628 | 2634 | 2634 | 2526 | 2526
4 | Any other

## P-16
PERFORMANCE OF WESCO
ITEMS
BULK SUPPLY
DEMAND (MVA)
ENERGY INPUT (MU)
BST BILL OF GRIDCO (Cr.)
BST BILL PER UNIT
SALE TO CONSUMERS (MU)
EHT
HT
LT
TOTAL SALE (MU)
LOSS (%)
HT (15% LOSS)
LT
HT & LT
OVERALL (%)
BILLING EFFICIENCY (%)
LT
HT & LT
OVERALL (%)
BILLING TO CONSUMERS (Rs. Cr.)
EHT
HT
LT
TOTAL
BILLING TO GOVT. DEPTT. & PSU
COLLECTION RECEIVED (Rs. Cr.)
EHT
HT
LT
TOTAL
COLL. FROM GOVT. DEPTT. & PSU
COLLECTION PER UNIT
COLLECTION EFFICIENCY (%)
EHT
HT
LT
HT & LT
OVERALL (%)
COLLECTION EFFICIENCY EXCL. GOVT. &PSU DUES (%)
A. T. & C. LOSS (%)
LT
HT & LT
OVERALL (%)
WESCO UTILITY |  | OERC Form P-16
CONSUMER STATUS | As on 31st Mar-20 | As on 30th Sep-20
No. of Circles | 5 | 5
No. of Divisions | 17 | 17
No. of Subdivisions | 58 | 58
No. of Sections | 202 | 202
No of Energy Police Stations | 10 | 10
No of Special Courts | 0 | 0
No. of Consumers
EHT | 33 | 35
HT | 931 | 948
LT | 1962749 | 2031749
Total | 1963713 | 2032732
Network System | As on 31st Mar-20 | As on 30th Sep-20
Length of 33 KV lines(km.) | 4595.06 | 4722.919 | 127.859
Length of 11 KV lines(km.) | 43070.5613 | 44296.6674 | 1226.1061
Length of L.T. lines(km.) | 53818.7934 | 53836.6689 | 17.8755
Length of conductor stolen (km.) | 1.4 | 1.3
Cost involved (Cr.) | 0.021 | 0.014
No. of 33 KV Group Breakers Installed | 168 | 209
No. of 33 KV Feeder Breakers Installed | 269 | 295
No. of 33 KV Feeder Breakers Required | 200 | 191
No. of 11 KV Group Breakers Installed | 339 | 366
No. of 11 KV Feeder Breakers Installed | 674 | 738
No. of 11 KV Feeder Breakers Required | 206 | 210
Feeder Metering
No. of 33 KV feeders(excluding GRIDCO interface) | 148 | 154
No. of 33 KV feeder metering | 148 | 154
No. of 11 KV feeders | 970 | 1000
No. of 11 KV feeder metering | 930 | 985
No. of 33/11 kv transformers | 592 | 608
No. of 33/11 kv transformer metering position | 241 | 255
No. of distribution transformers(11/0.4 & 33/0.4 kv) | 62516 | 64500
No. of distribution transformer metering position | 5993 | 6012
DTR Capacity in MVA | 2947.998 | 3040.52
Energy Audit Carried Out-33 KV | 118 | 141
Energy Audit Carried Out-11 KV | 462 | 629
Energy Audit Carried out- No of DTRs covered | 699 | 647
Consumer Metering Position | As on 31st Mar-20 | As on 30th Sep-20
Total number of meters | 1816400 | 1901659
No. of working meters | 1539984 | 1639824
Percentage of working meters ( % ) | 84.78% | 86.23%
New meters installed ( 3 ph ) (During The Period) | 3824 | 1494
New meters installed ( 1 ph ) (During The Period) | 183924 | 67404
No of 3 Phase Consumers (LT) | 91088 | 95433
No of Conumers with TOD benefit (LT) | 12909 | 14773
No of Consumers above 10 KW load (LT) | 13213 | 13704
No of Consumer AMR metering | 6574 | 10388
Total No of consumers as on period | 1963713 | 1981337
No of consumers added during the period | 241187 | 76210
No of meters purchased during the period | 152000 | 0
No of meters used for installation for new consumer and replacements for old consumers (During The Period) | 432216 | 116859
Cost involved in purchase of meters during FY (Rs. Lacs) | 1432.5 | 0
Cost of meter rent Collected during FY (Rs. Lacs) | 620.793 | 255.7978
Anti Theft Measures | As on 31st Mar-20 | As on 30th Sep-20
No of cases Finalised under Section 126 & 135 | 18919 | 5444
Ammount Finaliseded (Rs. Lacs) | 2070.4694 | 635.5955
Ammount Assessed during filing of case (Rs. Lacs) | 2070.4694 | 635.5955
No of new connections given | 232879 | 70396
No. of connection Regularised | 8308 | 916
Amount Billed (Rs. Lacs) | 747.5587 | 215.7966
Amount Collected (Rs. Lacs) | 247.5185 | 64.7739
No. of FIR lodged | 13 | 1
No. of illegal consumers prosecuted/Initiated in Court | 1 | 0
Number of disconnections made | 33356 | 8773
Revenue realised (Rs. LACS.) | 3323.7267 | 397.948
Franchisee Activity | As on 31st Mar-20 | As on 30th Sep-20
No of Micro-Franchisees (Collection Agent) | 62 | 55
No of Consumers Covered | 45314 | 78672
No of Macro-Franchisees (Collection Agent) | 50 | 48
No of Consumers Covered | 1240374 | 1247401
No of Input Based-Franchisees | 0 | 0
No of Consumers Covered | 0 | 0
Total no of consumers covered under Franchisee | 1285688 | 1326073
QUALITY OF SUPPLY | As on 31st Mar-20 | As on 30th Sep-20
Failure of Power Transformers | 18 | 11
No. of Dist. Transformers burnt | 3156 | 1999
Cost involved (Lacs.) | 848.7146 | 537.5731
No of Interruptions in 33 KV Feeders | 8562 | 4808
No of Interruptions in 11 KV Feeders | 55402 | 30755
No. of Grievances received | 8508 | 4713
Disposed through CHP including Bijuli Adalat | 7752 | 4576
Total No. of GRF Orders received for compliance | 1313 | 324
No. of GRF Orders Complied | 1062 | 629
SYSTEM IMPROVEMENT WORKS DURING REVIEW PERIOD | As on 31st Mar-20 | As on 30th Sep-20
Installation of New Transformers | 3760.2 | 759
Upgradation of Transformers | 1 | 0
Installation of Pillar Box | 0 | 0
Length of AB Cable Laid (km) | 4794.575 | 821.8
Conversion of Single Phase to Three Phase Lines | 0 | 0
No. of Hooks Detected | 9721 | 997
No. of Hooks repeated out of hooks detected | 0 | 0
Ammount Estimated under deposit work (Rs. Lacs) | 13744.51 | 7078.03
Ammount Finaliseded for 6 % calculation (Rs. Lacs) | 924.77 | 466.73
OTHERS | As on 31st Mar-20 | As on 30th Sep-20
No. of defective meters | 276416 | 261835
Replacement of defective meters | 244468 | 68399
No. of EHT meters tested | 22 | 6
No. of HT meters tested | 951 | 211

## P-17
Licensee-WESCO UTILITY | [7 empty] | OERC Form P-17
Consumers Data (Division wise and month wise)
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division ROURKELA
| APRIL | 2 | 2 | 38 | 38 | 71048 | 71048 | 0 | 71088 | 71088 | 1971373
| MAY | 2 | 2 | 38 | 38 | 71066 | 71066 | 0 | 71106 | 71106 | 1984614
| JUNE | 2 | 2 | 39 | 39 | 71301 | 71301 | 0 | 71342 | 71342 | 1998563
| JULY | 2 | 2 | 39 | 39 | 71476 | 71476 | 0 | 71517 | 71517 | 2007790
| AUGUST | 2 | 2 | 39 | 39 | 71694 | 71694 | 0 | 71735 | 71735 | 2017804
| SEPTEMBER | 2 | 2 | 39 | 39 | 71882 | 71882 | 0 | 71923 | 71923 | 2032734
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division ROURKELA-SADAR
| APRIL | 1 | 1 | 79 | 79 | 110259 | 57862 | 52397 | 110339 | 110339
| MAY | 1 | 1 | 79 | 79 | 110229 | 57907 | 52322 | 110309 | 110309
| JUNE | 1 | 1 | 79 | 79 | 110350 | 58042 | 52308 | 110430 | 110430
| JULY | 1 | 1 | 80 | 80 | 110286 | 58250 | 52036 | 110367 | 110367
| AUGUST | 1 | 1 | 81 | 81 | 110464 | 59879 | 50585 | 110546 | 110546
| SEPTEMBER | 1 | 1 | 82 | 82 | 110603 | 59985 | 50618 | 110686 | 110686
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division RAJGANGPUR
| APRIL | 5 | 5 | 163 | 163 | 120831 | 41636 | 79195 | 120999 | 120999
| MAY | 5 | 5 | 163 | 163 | 121629 | 41684 | 79945 | 121797 | 121797
| JUNE | 5 | 5 | 162 | 162 | 121380 | 46051 | 75329 | 121547 | 121547
| JULY | 5 | 5 | 164 | 164 | 121927 | 49475 | 72452 | 122096 | 122096
| AUGUST | 6 | 6 | 164 | 164 | 122021 | 49687 | 72334 | 122191 | 122191
| SEPTEMBER | 6 | 6 | 165 | 165 | 122278 | 49771 | 72507 | 122449 | 122449
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SUNDERGARH
| APRIL | 1 | 1 | 21 | 21 | 112743 | 18335 | 94408 | 112765 | 112765
| MAY | 1 | 1 | 21 | 21 | 113357 | 18377 | 94980 | 113379 | 113379
| JUNE | 1 | 1 | 21 | 21 | 113679 | 18460 | 95219 | 113701 | 113701
| JULY | 1 | 1 | 22 | 22 | 113829 | 18541 | 95288 | 113852 | 113852
| AUGUST | 1 | 1 | 24 | 24 | 114233 | 18687 | 95546 | 114258 | 114258
| SEPTEMBER | 1 | 1 | 24 | 24 | 115139 | 18703 | 96436 | 115164 | 115164
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SAMBALPUR
| APRIL | 1 | 1 | 71 | 71 | 60134 | 60134 | 0 | 60206 | 60206
| MAY | 1 | 1 | 71 | 71 | 60353 | 60353 | 0 | 60425 | 60425
| JUNE | 1 | 1 | 73 | 73 | 60534 | 60534 | 0 | 60608 | 60608
| JULY | 1 | 1 | 73 | 73 | 60801 | 60801 | 0 | 60875 | 60875
| AUGUST | 1 | 1 | 74 | 74 | 60979 | 60979 | 0 | 61054 | 61054
| SEPTEMBER | 1 | 1 | 74 | 74 | 61189 | 61189 | 0 | 61264 | 61264
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SAMBALPUR-EAST
| APRIL | 6 | 6 | 84 | 84 | 109658 | 40130 | 69528 | 109748 | 109748
| MAY | 6 | 6 | 85 | 85 | 110320 | 40291 | 70029 | 110411 | 110411
| JUNE | 6 | 6 | 85 | 85 | 111678 | 40526 | 71152 | 111769 | 111769
| JULY | 6 | 6 | 84 | 84 | 112162 | 40849 | 71313 | 112252 | 112252
| AUGUST | 6 | 6 | 84 | 84 | 112477 | 41045 | 71432 | 112567 | 112567
| SEPTEMBER | 6 | 6 | 84 | 84 | 113641 | 41465 | 72176 | 113731 | 113731
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division JHARSUGUDA
| APRIL | 7 | 7 | 57 | 57 | 124363 | 124256 | 107 | 124427 | 124427
| MAY | 7 | 7 | 57 | 57 | 125450 | 125343 | 107 | 125514 | 125514
| JUNE | 7 | 7 | 58 | 58 | 125805 | 125698 | 107 | 125870 | 125870
| JULY | 7 | 7 | 58 | 58 | 126816 | 126018 | 798 | 126881 | 126881
| AUGUST | 7 | 7 | 59 | 59 | 126990 | 126883 | 107 | 127056 | 127056
| SEPTEMBER | 7 | 7 | 60 | 60 | 127137 | 127030 | 107 | 127204 | 127204
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BRAJRAJ NAGAR
| APRIL | 1 | 1 | 23 | 23 | 51016 | 33507 | 17509 | 51040 | 51040
| MAY | 1 | 1 | 21 | 21 | 51132 | 33618 | 17514 | 51154 | 51154
| JUNE | 1 | 1 | 21 | 21 | 51074 | 33542 | 17532 | 51096 | 51096
| JULY | 1 | 1 | 21 | 21 | 50703 | 33599 | 17104 | 50725 | 50725
| AUGUST | 1 | 1 | 21 | 21 | 51114 | 33507 | 17607 | 51136 | 51136
| SEPTEMBER | 1 | 1 | 21 | 21 | 51375 | 33759 | 17616 | 51397 | 51397
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division DEOGARH
| APRIL |  |  | 8 | 8 | 70538 | 43433 | 27105 | 70546 | 70546
| MAY |  |  | 8 | 8 | 71431 | 43907 | 27524 | 71439 | 71439
| JUNE |  |  | 8 | 8 | 71715 | 43946 | 27769 | 71723 | 71723
| JULY |  |  | 10 | 10 | 67266 | 33026 | 34240 | 67276 | 67276
| AUGUST |  |  | 10 | 10 | 72503 | 33088 | 39415 | 72513 | 72513
| SEPTEMBER |  |  | 10 | 10 | 73946 | 34022 | 39924 | 73956 | 73956
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BARGARH
| APRIL | 1 | 1 | 113 | 113 | 117222 | 117222 | 0 | 117336 | 117336
| MAY | 1 | 1 | 114 | 114 | 117405 | 117405 | 0 | 117520 | 117520
| JUNE | 1 | 1 | 116 | 116 | 117537 | 117537 | 0 | 117654 | 117654
| JULY | 1 | 1 | 116 | 116 | 119343 | 119343 | 0 | 119460 | 119460
| AUGUST | 1 | 1 | 116 | 116 | 119511 | 119511 | 0 | 119628 | 119628
| SEPTEMBER | 1 | 1 | 115 | 115 | 119783 | 119783 | 0 | 119899 | 119899
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BARGARH-WEST
| APRIL |  |  | 39 | 39 | 158851 | 33993 | 124858 | 158890 | 158890
| MAY |  |  | 39 | 39 | 160643 | 34086 | 126557 | 160682 | 160682
| JUNE |  |  | 39 | 39 | 163151 | 34800 | 128351 | 163190 | 163190
| JULY |  |  | 39 | 39 | 166391 | 35337 | 131054 | 166430 | 166430
| AUGUST |  |  | 39 | 39 | 167198 | 35511 | 131687 | 167237 | 167237
| SEPTEMBER |  |  | 39 | 39 | 167658 | 35656 | 132002 | 167697 | 167697
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BOLANGIR
| APRIL |  |  | 52 | 52 | 135791 | 123328 | 12463 | 135843 | 135843
| MAY |  |  | 51 | 51 | 136319 | 123690 | 12629 | 136370 | 136370
| JUNE |  |  | 51 | 51 | 136589 | 123953 | 12636 | 136640 | 136640
| JULY |  |  | 50 | 50 | 137687 | 124869 | 12818 | 137737 | 137737
| AUGUST |  |  | 49 | 49 | 137820 | 132903 | 4917 | 137869 | 137869
| SEPTEMBER | 1 | 1 | 50 | 50 | 139014 | 139008 | 6 | 139065 | 139065
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SONEPUR
| APRIL | 1 | 1 | 51 | 51 | 134547 | 27592 | 106955 | 134599 | 134599
| MAY | 1 | 1 | 52 | 52 | 134747 | 27767 | 106980 | 134800 | 134800
| JUNE | 1 | 1 | 52 | 52 | 134937 | 27907 | 107030 | 134990 | 134990
| JULY | 1 | 1 | 52 | 52 | 135296 | 28180 | 107116 | 135349 | 135349
| AUGUST | 1 | 1 | 52 | 52 | 132745 | 28257 | 104488 | 132798 | 132798
| SEPTEMBER | 1 | 1 | 51 | 51 | 136368 | 28431 | 107937 | 136420 | 136420
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division TITILAGARH
| APRIL | 4 | 4 | 45 | 45 | 197492 | 197492 | 0 | 197541 | 197541
| MAY | 4 | 4 | 46 | 46 | 197596 | 197596 | 0 | 197646 | 197646
| JUNE | 4 | 4 | 46 | 46 | 197687 | 197687 | 0 | 197737 | 197737
| JULY | 4 | 4 | 46 | 46 | 198153 | 198153 | 0 | 198203 | 198203
| AUGUST | 4 | 4 | 46 | 46 | 198289 | 198289 | 0 | 198339 | 198339
| SEPTEMBER | 4 | 4 | 47 | 47 | 199638 | 199638 | 0 | 199689 | 199689
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division KEED
| APRIL | 2 | 2 | 47 | 47 | 143257 | 101135 | 42122 | 143306 | 143306
| MAY | 2 | 2 | 48 | 48 | 144237 | 101879 | 42358 | 144287 | 144287
| JUNE | 2 | 2 | 48 | 48 | 145422 | 102145 | 43277 | 145472 | 145472
| JULY | 2 | 2 | 48 | 48 | 147721 | 103569 | 44152 | 147771 | 147771
| AUGUST | 2 | 2 | 49 | 49 | 149007 | 103851 | 45156 | 149058 | 149058
| SEPTEMBER | 2 | 2 | 50 | 50 | 149452 | 104098 | 45354 | 149504 | 149504
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division KWED
| APRIL | 1 | 1 | 23 | 23 | 138683 | 18099 | 120584 | 138707 | 138707
| MAY | 1 | 1 | 23 | 23 | 140531 | 18258 | 122273 | 140555 | 140555
| JUNE | 1 | 1 | 23 | 23 | 145406 | 18346 | 127060 | 145430 | 145430
| JULY | 1 | 1 | 23 | 23 | 145683 | 18310 | 127373 | 145707 | 145707
| AUGUST | 1 | 1 | 23 | 23 | 147322 | 18323 | 128999 | 147346 | 147346
| SEPTEMBER | 1 | 1 | 23 | 23 | 148662 | 18373 | 130289 | 148686 | 148686
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division NUAPADA
| APRIL |  |  | 13 | 13 | 113980 | 22868 | 91112 | 113993 | 113993
| MAY |  |  | 13 | 13 | 117207 | 23377 | 93830 | 117220 | 117220
| JUNE |  |  | 13 | 13 | 119351 | 23528 | 95823 | 119364 | 119364
| JULY |  |  | 13 | 13 | 121279 | 23947 | 97332 | 121292 | 121292
| AUGUST |  |  | 14 | 14 | 122459 | 24062 | 98397 | 122473 | 122473
| SEPTEMBER |  |  | 14 | 14 | 123986 | 24100 | 99886 | 124000 | 124000
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
WESCO As a Whole
| APRIL | 33 | 33 | 927 | 927 | 1970413 | 1132070 | 838343 | 1971373 | 1971373
| MAY | 33 | 33 | 929 | 929 | 1983652 | 1136604 | 847048 | 1984614 | 1984614
| JUNE | 33 | 33 | 934 | 934 | 1997596 | 1144003 | 853593 | 1998563 | 1998563
| JULY | 33 | 33 | 938 | 938 | 2006819 | 1143743 | 863076 | 2007790 | 2007790
| AUGUST | 34 | 34 | 944 | 944 | 2016826 | 1156156 | 860670 | 2017804 | 2017804
| SEPTEMBER | 35 | 35 | 948 | 948 | 2031751 | 1166893 | 864858 | 2032734 | 2032734