BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2021-22, under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

Wesco Utility (WESCO)

HQ Office Burla, Sambalpur, Odisha-768017

---------WESCO Utility

The Humble applicant above named respectfully sheweth:

Authorised  Officer, WESCO Utility

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2021-22 , under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

Wesco Utility (WESCO)

HQ Office Burla, Sambalpur, Odisha-768017

---------WESCO Utility

Affidavit verifying the application for the Aggregate Revenue Requirement and Tariff Application

I, Tapas Pattnaik, Son of Late Umesh Ch. Pattnaik, aged about  58 years, residing at, Burla, Sambalpur, do hereby solemnly affirm and state as follows:-

I am the Authorised Officer of Administrator for Wesco Utility (WESCO), HQ. Office-Burla, Sambalpur, Odisha-768017.

The statements made above along with the annexures annexed to this application are true to the best of my knowledge and the statements made are based on information and records and I believe them to be true.

Place

Date 								          DEPONENT

Authorised Officer, WESCO Utility

Table of Contents

1.	Executive Summary	5

2.	Revenue Requirement for FY 2021-22	10

2.1.	Data Sources	11

2.2.	Sales Forecast	12

2.3.	Power Purchase Expenses	19

2.4.	Employees Expenses	19

2.5.	Administrative and General Expenses	24

2.5.1.	Intra State ABT & Energy Audit	25

2.5.2.	IT Automation	62

2.5.3.	Cess as per the Building and other construction Workers (RE&CS)Act, 1996	62

2.6.	Repair & Maintenance Expenses	63

2.7.	Provision for Bad and Doubtful Debts	63

2.8.	Depreciation	64

2.9.	Interest Expenses	64

2.9.2.	World Bank Loan	65

2.9.3.	Capex Loan from Govt. of Odisha	65

2.9.4.	Interest on Security Deposit	66

2.9.5.	Total Interest for Financial Year FY 2021-22	66

3.	Capital Expenditure Programme	67

3.1.1.	SYSTEM IMPROVEMENT WORKS	67

3.1.2.	Capital Expenditure Programme (CAPEX)	68

3.1.3.	Revised Long Term Action Plan (RLTAP) Works:	69

3.1.4.	Strengthening of Infrastructures in Elephant Corridor	69

3.1.5.	Strengthening Project (ODSSP)	70

3.1.6.	DDUGJY scheme 12th plan (RGGVY Phase – II).	76

3.1.7.	NEW Dindayal Upadhyaya	78

3.1.8.	Integrated Power Development scheme (IPDS) –	79

3.1.9.	SAUBHAGYA Scheme	83

3.1.10.	MEGALIFT POINT BY GOVT. ODISHA	84

3.1.11.	SMART GRID PROJECT AT ROURKELA	84

3.1.12.	OFFICE BUILDING and OTHER OFFICE EQIPMENTS	89

4.	Revenue and Current year GAP	89

4.1.	Non Tariff Income	89

4.2.	Provision for Contingency Reserve	89

4.3.	Reasonable Return	90

4.4.	Current year FY 2020-21’s GAP	90

4.5.	Revenue at Existing Tariffs	91

4.6.	Summary of Annual Revenue Requirement and Revenue Gap	92

5.	Initiatives by Utility & Other performance improvement measures	93

5.1.	Compliance to OERC Directions	93

5.2.	Various Payment Options	95

5.3.	Development of Franchisee/collection agents in Utility Area	101

5.4.	Engagement of GPLF/WSHG as micro franchisee	103

5.5.	Other initiatives for Revenue Improvement:	105

6.	Allocation of Wheeling and Retail supply cost	106

7.	Tariff Proposals and Rationalization Measures	107

7.1	Recovery of meter cost instead of meter rent or abolish recovery of meter rent	107

7.2	Creation of Accidental Corpus Fund	108

7.3	Demand charges to HT Medium category of consumers	108

7.4	Continuance of Additional Rebate of 2% to LT single phase Domestic & single phase GP category of Consumers	109

7.5	Introduction of KVAH Billing or applicability of power factor penalty	109

7.6	Levy of Demand charges on Installed Capacity instead of Contract Demand as per agreement.	112

7.7	Applicability of Power Factor Penalty.	112

7.8	Demand Charges and Monthly Minimum Fixed Charges	113

7.9	Charges for line extension to LT single phase connection up to 5 Kw	114

7.10	Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.	114

8.	Other Issues	115

8.1	Rebate on Prompt Payment	115

8.2	Negative Cash Flow	116

9.	Formats	118

9.1	Commercial/Technical  Formats T1-T9	118

9.2	Financial Formats F1-F27	118

9.3	Details Performance Formats (P1-P17) in Vol- II	118

10.	Prayer	118

# Executive Summary

Wesco Utility, Burla,( WESCO), is the holder of the Odisha Distribution and Retail Supply License, 1999 ( No 4/99) and has been carrying out the business of distribution and retail supply of electricity in the nine districts of Odisha, namely, Sambalpur, Sundargarh, Bolangir, Bargarh, Deogarh, Nuapara, Kalahandi, Sonepur and Jharsuguda. This submission is made by the Utility before the Honorable Commission for the determination of Aggregate Annual Revenue Requirement and Retail Supply Tariffs for the Financial Year 2021-22.

That, Hon’ble Commission in their Order dated 04.03.2015 in Case No. 55/2013 have revoked the Licences of NESCO, WESCO and SOUTHCO (Distribution Companies) under Section 19 of the Electricity Act, 2003.

Consequent upon such revocation and considering the situation at hand due to such revocation of Licences of NESCO, WESCO & SOUTHCO and also keeping in view, the salient objectives and purpose of the Electricity Act, 2003 Hon’ble Commission in exercising powers conferred on it under Section 20 (d) of the Electricity Act, 2003 vests the management and control of NESCO, WESCO and SOUTHCO utilities along with their assets, interests and rights with Chairman-Cum-Managing Director, GRIDCO (CMD, GRIDCO) in order to ensure the maintenance of continued supply of electricity in the Northern, Western and Southern Zone (area of supply of NESCO, WESCO and SOUTHCO) in the interest of consumers and the public interest at large. This is an interim arrangement under Section 20 (d) of the Electricity Act, 2003.

Hon’ble Commission further directs that the management and control of the utilities of NESCO, WESCO and SOUTHCO with all the assets, interests and rights shall vest with Chairman-Cum-Managing Director, GRIDCO with immediate effect and he shall manage the electricity supply activities in the revoked licensed area of NESCO, WESCO and SOUTHCO respectively till further orders of the Hon’ble Commission.

Subsequent to above direction of Hon’ble Commission the Administrator of the Utility has appointed an authorised officer to look after the day to day operation of the utility without affecting the consumer service of the western part of the state.

Filing of ARR Application

On segregation of Wheeling Business from Retail supply as per Gazette Notification dtd.14th Nov 2014, where in the regulation regarding Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff has been notified. As per the said regulation along with OERC (Conduct of Business) Regulation 2004 and in conformity with Section 62 of Electricity Act 2003 the licensee is required to file its Aggregate Revenue Requirement with State commission on or before 30th Nov-2020 for the year FY 2021-22.

The utility has adopted provisional figures for FY 2019-20 and actual till Sep-20 for current year while preparing the present ARR for FY 2021-22, however certain modifications has been adopted considering latest development and performance parameters on actual basis which may kindly be taken into record.  The reasons for change/modifications are enumerated in the appropriate head in the ARR application.

Accordingly, the utility in accordance with the license conditions, have calculated the total expected revenue from sale of electricity charges in accordance with the provisions of the OERC (Terms and Conditions for determination of wheeling tariff and Retail Supply Tariff) Regulations 2014 and hereby submitting in the foregoing paragraphs as per the following structure.

- A statement with full details of its expected annual revenue and costs for the ensuing year FY 21-22 for its Licensed Business along with technical, commercial, performance and financial parameters in the formats prescribed by the Hon’ble Commission.

- Compliance to the directives issued by the Hon’ble Commission

- Statement of allocation of wheeling and retail supply cost as per provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014

- Proposal for tariff rationalisation measures.

  - That, the utility has made certain assumptions while projecting its operations for the FY 2021-22. These projections are based upon the best estimates of the operations and prospective plans of the utility at the time of the ARR filing. The actual ARR and the revenue figures would be different from the above estimates due to several external factors such as power purchase cost and change in consumer mix/ consumption etc.

  - Based on estimated Revenue Requirement and Revenue at existing tariff, the revenue gap for FY 2021-22 works out to Rs.256.90 Crore.

Table 1A : Revenue Gap

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 3839.68 |
| Reasonable return | 7.78 |
| Sub Total | 3847.46 |
| Revenue from sale of power at existing tariffs | 3398.31 |
| Non Tariff Income | 192.25 |
| TOTAL REVENUE GAP | 256.90 |

The revenue gap for the year 2021-22, considering the BSP rate of FY 2020-21 is arrived at Rs.256.90 crores.

Revenue GAP if Railway would avail power supply from other source

During previous year the Utility was having 12 Nos of traction load with Contract Demand of 129500 KVA.  However, presently in current year due to load enhancement of existing traction points the load becomes 162500. In addition to same one more traction load has been added which would enhance the railway load to the extent of 171000 Kva during the ensuing year. Therefore, considering 1st Six months consumption of 206.144 MU the current year’s consumption has been estimated as 452.000 MU. During the 1st half of the current year on account of COVID-19 rail movement was affected very badly, for which consumption was affected for first six month. Now, rail movement has started picking up and the utility is expecting normalcy would reach very soon. Therefore, considering past and current years trend with additional load of railway the Utility has projected 488.000 MU towards traction consumption ( HT – 51.000 MU & EHT – 437.000 MU) for the ensuing year with the above additional load.

If railway would be completely availing power supply from other source other than the Distribution Company then the revenue gap would be Rs 394.25 crore. Hence the GAP would increase by another Rs.137.35 crs.

Table 1B : Revenue Gap without Railway

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 3669.85 |
| Reasonable return | 7.78 |
| Sub Total | 3677.63 |
| Revenue from sale of power at existing tariffs | 3091.13 |
| Non Tariff Income | 192.25 |
| TOTAL REVENUE GAP | 394.25 |

Therefore the revenue gap for the year 2021-22, with BSP rate of FY 2020-21 without railway would be Rs.394.25 crores.

That, in the above background it is worth mentioning that as of now, at existing tariffs, the Utility is unable to meet its current costs,   and unless there is decrease in input costs in FY 21-22 or any grant/ subsidy is provided, it is very difficult in the part of the Utility to accomplish its obligations as a distribution Utility. It is also pertinent to mentioned here that Hon’ble Commission has pleased to increase the BST of the utility by 18.2260 paise per unit w.e.f 1st Oct-2020. The increased BST of the utility put additional burden of around Rs.75 crs for the current year and more than Rs.150 crs for the ensuing year. Therefore it is humbly submitted to extend suitable consideration for the utility in the ensuing year towards some reduction in BST price. Accordingly, the utility prays that such exigencies may kindly be considered while processing this Petition.

  - Prayer

In the aforesaid facts and circumstances, the utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Aggregate Revenue Requirement for FY 2021-22.

- Bridge the Revenue Gap for the FY 2021-22 through increase in Retail Supply Tariff or reduction in Bulk Supply Tariff (BST) wherever possible.

Allow the following Tariff rationalisation measures as proposed

- Recovery of Meter Cost instead of Meter Rent or abolish of the same

- Creation of accidental corpus fund

- Demand Charges to HT medium category of consumers

- Continuance of additional rebate of 2% to LT single phase Domestic and single phase GP category of consumers only if payment made through digital mode/online over and above normal rebate.

- Introduction of KVAH Billing or applicability of power factor penalty

- Levy of demand charges on installed capacity instead of contract demand as per agreement or 85% of the CD or MD whichever is higher.

- 2% Rebate be allowed on payment of current monthly BST bills (excluding all arrears) within 3 days time instead of 2 working days and also to allow rebate on part payment of BST bills.

- Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer considering receivable audit report.

- Charges for line extension to LT single phase connection up to 5 Kw

- Addressing of negative cash flow of the utility by giving special relief towards reduction of BST.

- to direct GRIDCO to relax escrow for A&G expenses towards revenue improvement and R&M exp along with Employee cost on monthly basis

- Other Tariff rationalization measures as proposed in this application

- Allow the Utility to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit

# Revenue Requirement for FY 2021-22

This section outlines the assumptions for estimation of revenue requirement for FY 2021-22.

The Distribution loss and AT&C loss trajectory on the basis of actual projected is considered in the following manner

|  | FY 16-17 | FY 17-18 | FY 18-19 | FY 19-20 | FY 20-21 | FY 20-21 | FY 20-21 | FY 21-22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Actual | Actual | Actual | Actual | Proposed | Approved | Rev Estm | Proposed |
| Distribution Loss | 31.22% | 25.81% | 21.32% | 18.73% | 21.25% | 19.60% | 25.51% | 21.27% |
| Collection Efficiency | 88% | 88% | 87% | 88% | 96% | 99% | 95% | 96% |
| AT&C Loss | 39.38% | 34.80% | 31.64% | 28.56% | 24.40% | 20.40% | 26.22% | 24.42% |
| % Reduction | -2% | 4.58% | 3.16% | 3.08% | 4.16% | 8.16% | 2.34% | 1.80% |

The performance of the year FY 19-20 was very good of the utility on account of industrial consumption for which we could able to achieve the T&D loss of 18.73% which was below the Hon’ble Commissions approved figure of 19.60%. However, on account of COVID-19, the whole country remain almost closed from 23rd March 20 to end of May-20, subsequently in phased manner the operation has been permitted and industries are still struggling to operate in normal mode. MSME sector also almost paralysed. In the previous year the EHT consumption was 1580 MU against approved figure of 1300 MU and the HT consumption was 1930 MU against approved figure of 1756 MU, for which the performance was in appreciable level. With the COVID situation the utility is trying hard to put maximum effort in LT sector as we do not have control over industrial sector. Hence, the current year T&D loss of 25.51% may kindly be taken as bench mark on which we will put our effort to reduce the same by 4.24%.

Now, in line with the above the expected performance in the ensuing year (FY 2021-22) has been depicted  below with actual of previous year (FY 19-20), revised estimate for current year (2020-21) as per below table.

Distribution and AT & C Loss FY 2019-20 to FY 2021-22

|  | FY 2019-20 | FY 2020-21 | FY 2021-22 (Estt) |
| --- | --- | --- | --- |
| Energy Sales in MU | 6115 | 5980 | 6495 |
| Energy Purchased in MU | 7524 | 7700 | 8250 |
| Overall Distribution loss% | 18.73 | 25.51 | 21.27 |
| Collection Efficiency% | 87.91 | 95 | 96 |
| AT& C loss % | 28.56 | 26.22 | 24.42 |

Hon’ble Commission has approved input of 8000 MU for the current year against proposal of 8000 MU by the utility. The utility was quite hope full the drawal of the current year would be within the approved limit. However, due to COVID-19 entire position of the drawal pattern has been badly affected mostly in industrial sector. During 1st six month of the current year the drawal of EHT industries is in down trend and some how now picking up since last two months. Similarly, the drawal of HT industries for 1st two month of the current year was badly affected and starts picking up thereafter. Accordingly the utility expects the total drawal under EHT category would be around 1300 MU which is less than 150 MU with respect to approved MU of 1450 MU. As regards to HT industries even though the drawal for Apr and May 20 was severely affected and started picking up thereafter the drawl against approved limit of 1800 MU would be around 1750 MU during the current year. Therefore with fall of industrial, commercial, MSME and public institution category the input for the current year would be only 7700 MU against approved limit of 8000MU.  Considering the actual drawl till September 2020, and in spite of the fact that large numbers of consumers under the DDUGJY & SAUBHAGYA scheme by March 2021, the Utility has estimated distribution loss of 21.27 % for FY 2021-22 which reflects a reduction of 1% over the revised estimate of current year. With such situation WESCO utility has proposed to reduce the distribution losses by 1 % and AT & C loss by 1.8% during FY 2021-22.

# Data Sources

The Utility is duty bound in complying with the information requirements of the Hon’ble Commission for the purpose of making this application for aggregate revenue requirement and tariff for the year 2021-22. The schedule of formats submitted along with this proposal is shown in the Table of Contents. The Provisional Accounts up to March 2020 have been prepared as per financial formats prescribed by the Hon’ble Commission. The Utility has relied upon the Provisional Accounts up to March 2020 and actual data up to Sep-20 for compilation of data and preparation of this ARR.

The Utility would like to submit that the input cost is the most important cost element for distribution business. For authentication of input cost, the BSP bills on the basis of scheduled energy received from the Bulk Supplier, GRIDCO, and Transmission Charges on the basis of actual energy received from OPTCL, SLDC charges received from SLDC. The utility expect no deviation from the schedule hence no provision for deviation has been considered in the ensuing year.

Thus, the Utility submits that the data given are authentic and reliable for formulation of Aggregate Revenue Requirement and Tariff Application for the year 2021-22.

# Sales Forecast

During the ensuing year domestic & kutir jyoti load would reach its ever highest due to electrification of all the house hold under SAUBHAGYA scheme. Even though Scheme has already closed there are consumers to be brought to billing fold.

The SAUBHAGYA Scheme has covered all the NINE Districts under the DISCOM jurisdiction such as Bargarh, Bolangir, Deogarh, Jharsuguda, Kalahandi, Nuapada, Sambalpur, Sonepur & Sundergarh. The Scheme covers 30 ULBs & 11204 CC villages in entire WESCO Utility as per the SAUBHAGYA Dashboard.

- District wise bifurcation of CC ULBs & CC Villages under WESCO Utility is depicted below.

| SL NO | DISTRICT | CC ULB | CC VILLAGE | CC TOTAL |
| --- | --- | --- | --- | --- |
| 1 | BOLANGIR | 4 | 1788 | 1792 |
| 2 | BARGARH | 3 | 1211 | 1214 |
| 3 | DEOGARH | 1 | 878 | 879 |
| 4 | JHARSUGUDA | 3 | 353 | 356 |
| 5 | KALAHANDI | 3 | 2255 | 2258 |
| 6 | NUAPADA | 2 | 668 | 670 |
| 7 | SAMBALPUR | 5 | 1316 | 1321 |
| 8 | SONEPUR | 3 | 963 | 966 |
| 9 | SUNDERGARH | 6 | 1772 | 1778 |
| WESCO TOTAL |  | 30 | 11204 | 11234 |

Even though almost all are brought into the billing fold balance around 50000 consumers would be brought to billing fold by 31st March 2021 for which sales projection has been factored in the ensuing year.

For projecting the consumption of different categories, the Utility has analyses and relied on the past trends of consumption pattern for first six months of FY 2020-21 along with past years, the impact of electrification of new villages under the DDUGJY & SAUBHAGYA, actual addition/reduction of loads and other important aspect of COVID-19. Expected consumer growth under irrigation category particularly mega lift point has been envisaged during ensuing year as per Deep bore well scheme of Govt. of Odisha. The irrigation load under HT during FY 17-18 was 4045 KVA which has increased to 46562 KVA during FY 19-20 and now by Sep-20 due to addition of mega lift points it is 78882 and it would be around 87645 KVA by end March-21. In absence of separate category for Irrigation under EHT a mega lift consumer with supply voltage in EHT having load of 13500 Kva has been added under HT category tariff. The mega lift point has been energized under Kalahandi west Electrical Division. The HT tariff is Rs.30 per Kva p.m. for Demand charges and energy charges is Rs.1.40 per unit. The utility submits before Hon’ble Commission for a separate tariff under EHT for mega lift points with Demand charges of Rs.250 per kva and the energy charges as deemed fit by Hon’ble Commission.

Similarly, under LT category it was 115912 KW during FY 17-18, which has increased to 197637 KW as on Mar-20 and now in Sep-20 it is 204689 KW.

The category-wise consumption projected for FY 2021-22 has been provided in following sections.

LT Category

The utility has made all-out effort to bring the entire consumers into billing fold, for which its billing performance has increased in LT sector in last 3 years. The growth in the domestic category has been estimated at 17.56% during FY 2021-22 as against the estimated growth of around 16.31% during FY 2020-21. The Utility would like to submit that all the house hold who have electrified under SAUBHAGYA & DDUGJY  are all being added to billing fold for which the growth of 16.31% has been considered in current year. Another 50000 domestic consumers and around 50000 under kutir jyoti will be in the billing fold by March-21. The impact of same has been considered while estimating the sales for kutir jyoti and domestic category for FY 2021-22. The other reason of higher growth in Domestic sector is on account of replacement of defective meters and electro-mechanical meters in the consumer premises. As result actual billing would be improved and the licensee would able to reduce the T&D loss.

The growth in the sales of other categories in the LT sector has been estimated in the range of 5% during 2021-22 considering the past trends except Irrigation and allied agro industrial category of consumers where growth of 9.21 % & 78.57 has been taken up. The irrigation growth is due to addition loads as well as metering and in respect of agro industrial category previous year the consumption was 4.912 MU however during the current year for first six month it is only 1.425 MU and we do expect it would be around 2.800 MU for the current year. The sudden shortfall in this category is due to COVID impact and the licensee expects normalcy may occur in the ensuing year and estimate 5 MU accordingly. The growth of 78.57% is because of same i.e from 2.8 MU to 5 MU. Actually, there is no extraordinary growth but we are expecting as like of FY 19-20 the consumption for the ensuing year would be normal.

The LT sales during last three years have increased in higher proportion as compared to previous years due to massive village electrification schemes. The summary of sales projections for LT category is given in following:

| Sales(MU) | FY 2019-20 | FY 2020-21 | FY 2021-22 |
| --- | --- | --- | --- |
| Domestic* | 1693.852 | 1970.050 | 2316.000 |
| General Purpose<100 kw | 352.395 | 360.000 | 375.000 |
| Specified public purpose | 42.380 | 44.500 | 46.000 |
| Irrigation | 345.519 | 380.000 | 415.000 |
| Allied Agro Activities | 2.548 | 2.750 | 2.800 |
| Allied Agro Industrial | 4.912 | 2.800 | 5.000 |
| LT Industrial | 83.676 | 87.700 | 90.200 |
| Public water works | 42.505 | 44.200 | 46.200 |
| Public Lighting | 36.943 | 38.000 | 38.800 |
| Total | 2604.730 | 2930.000 | 3335.000 |

*includes sale under kutirjyoti consumers to the tune of 100.000 MU during ensuing year.

HT Category

While projecting the sales in HT Category, the Utility analyses the consumption pattern of each HT consumer with contract demand of more than 1 MVA. The average sale under HT category consumers has been estimated for the ensuing year and is based on the trend of the FY 2019-20 and actual load for the 1st six month of current year ending Sept’20.

| Sales (MU) | FY 2019-20 | 1st Six Mth Of FY 20-21* | FY 2020-21 | FY 2021-22 |
| --- | --- | --- | --- | --- |
| Large Industry | 923.839 | 419.666 | 863.700 | 855.800 |
| Power intensive | 619.252 | 232.442 | 500.000 | 525.000 |
| Mini Steel | 132.512 | 62.228 | 125.000 | 129.000 |
| Rly Traction | 52.048 | 14.765 | 35.000 | 51.000 |
| Others | 202.247 | 174.821 | 226.300 | 239.200 |
| Total | 1929.898 | 841.694 | 1756.000 | 1800.000 |

*Consumption with COVID situation, railway is worst affected.

HT industries those who were regularly drawing power under open access in the past have reduced their drawal under open access due to higher price in IEX during the previous year and preferred wesco power, hence the utilities HT drawal had increased during FY 19-20. Now due to COVID the 1st two month of current year has been severely affected for which the consumption in the 1st six month reached a moderate of 841.694 MU. Now situation has improved in some sector and the licensee expect some growth in industrial consumption. At the same time some industries are still struggling and we are and have planned for load reduction. Around, 10 MVA load reduction proposal is under process, so the utility does not estimate incremental under large industrial category during ensuing year. So, overall consumption during the current year would be less than the approved limit of 1800 MU. Considering the normal trend in the ensuing year with minor additional load growth as well as possibility of some new industries the utility has estimated 1800 MU for FY 2020-21. The overall growth has been taken a 2.86%.

The drawl under HT category includes drawal of M/S Linde India ltd who is availing power supply through tripartite agreement between RSP, Linde & WESCO from MSDS VI of RSP which is inside premises of RSP. This is the only industry contribute around 17% of the entire HT consumption out of 926 consumers.  The CD of the consumer is 43 MVA & the Licensee has projected 310 MU to be sold under POI category for the above consumer during ensuing year considering actual monthly drawal in the current year. Monthly Billing for the consumers is being generated by bifurcating M/s Linde & M/s RSP’s total consumption, which is being done through monthly meter data. No provision of open access has been made in favour of the consumer as because the industry is not availing power supply directly from the Licensee & also not owned premises.

In addition to same one more tripartite agreement has been executed between RSP, WESCO and SE Railway for power supply for their railway sliding inside the premises of RSP. The draft tripartite agreement has already been approved by Hon’ble commission and railway is to execute formal agreement with WESCO utility. The consumer would be billed under EHT category.

EHT Category

The Utility has projected 1360 MU of sales in the ensuing year analyzing the consumption pattern of each EHT consumer. Presently, there are 32 EHT consumers including railway who is having 11 nos of connections. During the previous year there were 34 nos of consumers which contributed some higher sales. Now, 3 connections under GP with load of 21110 Kva has been terminated their agreement. Out of the other 20 nos, 13 no of industries are having their own CGP. The drawal made in EHT category mainly towards consumption of Railway, MCL, Ultratech Cement, Bhusan Steel & Power (partially), RSP (partially) and GKW only. Ordinance Factory Badamal has now set up it’s own solar plant of 10MW for which it’s drawal is very less. Others are drawing very less quantum as compared to their CD. Further, two industries are availing emergency supply where there is no applicability of demand charges also.

M/s Vedanta who is having CGP of (3X600MU) & IPP of (1X600 MU) have contract demand of 100 MVA with the Licensee. During Apr-20 to Sep-20 the industry has consumed 30.850 MU with load factor of 8% only. The same has been consumed from the licensee due to some coal issue and certain problem with other CGP from where it avails power under open access without paying CSS. In view of the same while projecting ensuing year’s consumption only 60 MU has been estimated for M/s Vedanta SEZ unit. Similarly, the smelter 1 who’s load is 66 MVA has drawn only 6.556 MU during current year with load factor of only 1%. The utility has projected only 7 MU during ensuing year for this consumer considering it’s past trend.

Further, the following EHT consumers are drawing power under short term open access for which the utility has taken conservative approach while projecting sale under EHT category.

Industry				CD in KVA		Quantum of Open access

During  1st six month

M/S	RSP				170000		93.795 MU from others

M/S Ultratech Cement		15000			4.467 MU

M/S Shyam Metalicks & Power	8000			7.917 MU

M/S Vedanta (SEZ)			100000		  23.012 MU from others

322.115 MU from group CGP

M/S Shree Ganesh Metalics		3000			1.349 MU from other

M/S SMC Power Generation Ltd	2500			25.543 MU

M/S Hindalco Ltd (Smelter)		40000			3.492 MU from CGP

M/S G M Ordnance Factory		4500			2.917 MU

N.B. Drawal of power from own or group CGP, levy of CSS is exempted. So utility is otherwise not benefited.

The summary of the category-wise sales in MUs has been shown in table below.

| Sales (MU) | FY 2019-20 | 1st Six Mth Of FY 20-21* | FY 2020-21 | FY 2021-22 |
| --- | --- | --- | --- | --- |
| LT | 2604.730 | 1390.791 | 2930.000 | 3335.000 |
| HT | 1929.898 | 841.694 | 1750.000 | 1800.000 |
| EHT | 1579.879 | 553.556 | 1300.000 | 1360.000 |
| Total | 6114.508 | 2786.041 | 5980.000 | 6495.000 |

*During 1st six month of the current year consumption under Commercial sector, Industrial sector under HT & EHT, Railways, public institutions has been severly affected.

Hon’ble Commission has approved 1450MU under EHT category, however due to COVID-19 the major contributor like RSP, Bhusan Steel and power, Railways, Ultratech Cement 1st six months drawal has been affected and only 554 MU has been consumed. Now it is seen that drawal has improved to some extent & trend of drawal in the next six month of the current year may witness’ some growth. Considering the above current yr’s consumption has been re estimated as1300 MU, which is less than 150 MU over approved figure.

In addition to above it is to submit that due to addition of new traction load during the current year and enhancement of existing load sale under Railway traction has been estimated as 452.000 MU (HT 35 MU and EHT 417 MU) for the current year and 488.000 MU (HT 51 and EHT 437 MU) for ensuing year. Railway now has filed petition before Hon’ble ATE against challenging Hon’ble Commissions decision in case no.55 of 2016 regarding grant of deemed distribution license. The judgment for interim relief to railways at Hon’ble ATE is reserved. However, the utility has projected estimated sales considering Railway as normal consumer of the licensee.

# Power Purchase Expenses

The power purchase expenses have been derived from the sales estimates and the distribution loss level. For the year FY 2021-22, energy input of 8250 MU has been estimated based on the estimated sale of 6495 MU and Distribution Loss of 21.27%.

Power purchase cost for the current year for the first six month with BSP of 304 paise per unit and from Oct-20 onwards 322.60 paise per unit has been considered and amount arrived is Rs.2599.14 Crs (for re-estimated input of 7700 MU) along with transmission charges of 25 paise per unit and SLDC charges of Rs.10.16 Lakh p.m. During the ensuing year FY 2021-22 power purchase cost has been estimated at Rs. 2867.60 Crores with BSP @ 322.60 paise p.u. and transmission charges @ 25 paise p.u. SLDC charges @ Rs 10.16 lakhs per month.

SMD Projection

Considering the past record and additional load towards inclusion of BPL and APL consumer under SAUBHAGYA, RGGVY and BGJY, the Utility proposes 1400MVA as SMD for FY 2021-22 as against the average SMD of 1147.180 MVA during 1st half year of FY-2020-21.The maximum SMD occurred in September’ 20 as 1422.640 MVA

The Utility submits that SMD (MVA) projections for a year are estimated based on load mix, consumption patterns and other economic policies, and restricting the SMD of the utility up-to a particular level without considering the proposal as above and imposing penalty thereof for drawl beyond the approved level, shall put the Utility with higher financial burden.

# Employees Expenses

The utility was formed after unbundling of GRIDCO as per 2nd Transfer Scheme, 1998 and thereby all the personnel deployed in Distribution business were transferred from erstwhile GRIDCO.  Initially, the nos. of personnel on roll was around 5500 nos which were inadequate and unevenly distributed to meet the functional requirement. Subsequently, by way of separation due to retirement, resignation death etc, there has been drastically reduction of manpower. In view of the large scale energisation of new areas either though rural electrification or due to addition of new consumers, the Utility restructured and reorganized by creation of new Divisions, sub-division and Sections with reinforcement of allied activities such as MRT , Energy Audit , maintenance of distribution transformers and vigilance  activities.  Main objective was to improve the 100 % of consumer coverage, reduction in Distribution losses and to meet the Revenue collection target.

As on 1999-00		As on 31st March-20

Consumer Strength (nos)		2.50 Lakh				19.63 Lakh

Employee on pay roll(nos)		5500					2510

The consumer has increased by almost 90 times during the span of 20years and at the same time the employee strength has reduced by more than 50%.

Now with the reduced manpower strength most of the major activities like billing, collection, grid maintenance, vigilance, watch & ward etc has been outsourced. Almost after 20 years with reduced employee strength commensurate with increase of consumer strength and network assets, position of employee per consumer is alarming to provide quality uninterrupted power supply to all the consumers. Since 2011, there has been no recruitment for the utility in spite of large nos of manpower have been separated from the system due to retirement/ death/ separation.

- Activities of the Discoms are increasing day by day due to implementation of new schemes by the Govt.

- The statistics shows there is continuous reduction of manpower in Utilities where as the assets like consumers, network, DTR, Power Transformer, Sq KM of lines etc are manifold day by day in comparison to 1999 as bench mark.

- No of employee per thousand consumers are in decreasing trend.

- In 1999, the average employee per thousand consumer was around 20 where as in 2020 it is 1.4 of the utility which shows the shortfall of manpower

- Further taking into account even the outsource manpower; the average employee per thousand consumer of the utility would be around 2.8 only.

- With the depleted manpower the utility is facing tremendous pressure in meeting the demand of the consumers.

- Non Recruitment will also cause gaps in the operational cadre

Hon’ble Commission had approved Rs. 358.80 crores for the year 2019-20, which includes 40% of 7th pay arrear to the regular employees amounting to Rs.30.66 crs and Rs.34.62 crs towards outsourcing and contractual obligations. But, now with increase of Gratuity limit of retired employees from 7.50 Lakh to 15 Lakh, payment of all the arrear of retired employees, 40% of arrear dues of employees along with outsourcing contractual obligation the provisional actual figure is Rs.525 crs.  Similarly, Hon’ble Commission for FY 2020-21 has approved only Rs.361.02 crs which includes arrear salary (10%) to employees amounting to Rs.7.66 crs and towards outsourcing contractual obligation amounting to Rs.19.70 crs against our proposal of Rs.432.27 crs. The reason of such low approval may due to consideration of only Rs.115.98 crs in basic salary by Hon’ble Commission against our proposal of Rs.143.93 crs, which made overall impact on total figure considering effect of other allowances like DA, HRA and medical.  Due to lower approval GRIDCO is limiting escrow relaxation to the extent of approved figure and the utility is facing difficulty in honouring the same. Now, taking into consideration the actual payment made during 1st six months of FY 2020-21, the Utility estimated the actual amount would be of Rs. 503 Cr net of expenses capitalised for the current year considering terminal dues as per actuary.

The details of number of employees to be retired and recruited during the current year and the ensuing year are submitted in the following table.

| WESCO Utility. | Executive |  | Non-Executive |  | Total |
| --- | --- | --- | --- | --- | --- |
|  | Technical | Non-Technical | Technical | Non-Technical |  |
| As on 01-04-20 | 402 | 83 | 1645 | 380 | 2510 |
| Recruitment during 20-21 | 0 | 0 | 0 | 0 | 0 |
| Retirement during 20-21 | 6 | 3 | 148 | 27 | 184 |
| As on 01-04-21 | 396 | 80 | 1497 | 353 | 2326 |
| Recruitment during 21-22 (Proposed) | 89 | 2 | 600 | 190 | 881 |
| Retirement during 21-22 | 7 | 0 | 130 | 16 | 153 |
| As on 01-04-22 | 478 | 82 | 1967 | 527 | 3054 |

| If recruitment would not happen employee strength as on 01-04-2022 would be | 389 | 80 | 1367 | 337 | 2173 |
| --- | --- | --- | --- | --- | --- |

No of employees retiring during FY 2020-21 and FY 2021-22 and saving on account of same are as follows:

| FY | Category | Nos. of employees retiring | Saving on account of retirement (Rs lakh) |
| --- | --- | --- | --- |
| 2020-21 | Executive & Non Executive | 184 | 228.90 |
| 2021 -22 | Executive & Non Executive | 153 | 190.00 |

Expenses towards Terminal Benefit

As regards to terminal benefits i.e. the contribution to the Pension Fund and Gratuity Fund and Leave Encashment has been proposed for the year 2021-22 based on the actuarial valuation done by M/s Bhudev Chaterjee as on 31.03.2020 and the projections provided for 2020-21 and 2021-22. The details are given in OERC Form: F-12. The requisite contribution required by the Utility to fund the employees trust has been calculated on the basis of Actual investments as on 01.04.2020, estimated Investments as on 01.04.2021, income from the investments during the year 2020-21 and the payments to retired/retiring employees during the current year and ensuing year 2021-22 has been considered. The computation of the employee Terminal Benefit Trusts requirement for the year 2020-21 & 2021-22 amounting to Rs. 167.54 Crore and Rs.132.54 Crores respectively is worked out based on actuarial report, in the following table.

| A | Terminal Liability for FY 2021-22 | Rs. Crore |
| --- | --- | --- |
| 1 | Employee Trust Valuation as on 31.03.22 | 1457.73 |
| 2 | Employee Trust Valuation as on 31.03.21 | 1457.53 |
| 3 | Interest on investment during 2021-22 @ 8 % | 19.84 |
| 4 | Estimated payment during 2021-22 | 151.95 |
| 5 | Terminal benefit trust funding required for 2021-22 (1-2-3+4) | 132.31 |
| B | Expected Corpus Availability FY 20-21 |  |
| 1 | Employee Trust Valuation as on 31.03.21 | 1457.53 |
| 2 | Employee Trust Valuation as on 31.03.20 | 1422.31 |
| 3 | Interest on investment during 2020-21 @ 8 % | 19.84 |
| 4 | Estimated payment during 2020-21 | 152.16 |
| 5 | Terminal benefit trust funding required for 2020-21 (1-2-3+4) | 167.54 |

The actual employee cost for FY 2019-20 is Rs.525.22 Crs including provision of Rs.209.44 crs towards terminal liability for the year as per actuarial report.

Even without considering actuarial report the present pension amount on cash outgo basis is Rs.9 crs per month and for retiring of 184 employees in the current year the gratuity with Rs.15 Lakh per employee would be Rs.27.60 crs, so total outgo towards terminal dues for pension & gratuity would be Rs.135.60 crs other than leave encashment.  The proposal of licensee for ensuing year towards terminal dues of Rs.132.31 crs after earning of interest on investment is reasonable. If only cash outgo would be considered then the same would be around Rs.152 crs as indicated above.

The Utility proposed the Employee cost aggregating to Rs .523.85 Crs net of after capitalization for the FY 2021-22. The above cost has been projected considering balance 50% arrear of 7th Pay commission towards existing employees Rs.38.32 crs. 50% of the same has already been disbursed as per approval of Hon’ble Commission in RST order FY 19-20 & FY 20-21.

Further, as no recruitment has been permitted till date by Hon’ble commission the contractual obligation for maintenance of existing Grid Substations and S/S under ODSSP, watch and ward, outsourced/ contractual obligation for vigilance activity amounting to Rs.50.81 crs has been estimated for the ensuing year which may kindly be approved, as like of approval made for FY 2019-20 and FY 20-21.

In view of the above it is humbly submitted before Hon’ble Commission to approve the proposed employee cost of Rs.523.85 crs net of capitalization for the ensuing year. In addition to above due to inadequate fund in Pension and Gratuity trust the terminal dues of the employees could be at stake for which adequate funding is required. The same has been seriously viewed by Hon’ble Commission in its last RST orders. Hon’ble Commission is directing to recoup the same from enhanced collection. As our entire effort from enhanced collection is being utilized towards payment of BST dues, if some amount of CSS and penalty collected would be allowed by Hon’ble Commission then the terminal trust fund could be strengthened. In addition to same accrual/surplus out of 6% supervision charges service connection charges and interest on deposit work fund may kindly be allowed for this purpose.

# Administrative and General Expenses

The A&G expenses for FY 2020-21 are estimated at Rs.60.59 Crore based on actual expenses till September 2020 as against the approved A&G expenses of Rs 52.80 Crore. Hon’ble Commission has approved A&G expenses. But, the licensee is not able to avail the same as because GRIDCO is only relaxing escrow to the extent of employee cost. Previously, the licensee was managing A&G expenses out of the other non escrow miscellaneous income like CSS, meter rent, DPS collected, overdrawal penalty etc. Now CSS amount is also being deposited into escrow account as per direction of GRIDCO which is the substantial amount. Certain revenue improvement A&G expenses like engagement of collection agents and their commission, expenses of Customer Care & extension counters, vigilance activity, disconnection squad expenses etc could not be met from the balance other miscellaneous expenses. In view of the same it is our humble submission that GRIDCO may be directed to relax escrow as like of employee expenses for A&G and R&M expenses on monthly basis.

In addition to normal A&G expenses, following additional expenses for aforesaid initiatives has been considered while projecting the total A&G expenses for FY 2021-22. The collection of arrears and current bills is assumed to be used to meet cash deficits during the year 2020-21, to the extent of collected amounts. The Utility proposes to recover the operational expenses as stated in following heads of  ARR for the FY 2021-22 and the required capital expenditure to be made initially shall be capitalised.

The Administration and General expenses for the ensuing year have been forecasted based on estimated expenses during FY 2020-21 in line with Hon’ble Commission’s earlier Orders, the increase in A&G expenses for the ensuing year has been projected by considering 7% increase over the estimated A&G expenses for FY 2020-21 along with additional expenses Rs.18.30 cr as detailed in the following paras.  The 7% increase is taken on account of inflation on the normal A&G expenses.

The A&G expenses for FY 2021-22 are projected at Rs 83.38 Crore which includes additional expenses of Rs.18.56 crs.

# Intra State ABT & Energy Audit

Hon’ble Commission time & again emphasizing on reduction of AT&C loss of the DISCOMS in a regular manner as it is very high. Presently energy Audit is being done through internal team under various 33KV & 11KV feeders. The outcomes are also yielding very good results. Intensive Audit could not be made due to lack of fund & proper metering for which technology could not be adopted.

Hon’ble Commission has given the following opinion regarding Energy Audit in Retail Supply Tariff Order for 2020-21:

Para 382

In spite of severe financial constraints to the extent that the Utility is unable to make timely payment of bulk power purchase bills and employee salaries, to improve customer services, initiatives proposed by the Utility under the above head during the ensuing year as under:-

a. Installation of (Remote Visual Display Unit) RVDU

b. Creation of infrastructure to carryout Enterprise wide Energy Audit exercise has been factored in the Capex programme..

Para 384

The Commission is of the opinion that intervention of IT should be strengthened which is an important aspect to increase efficiency and speed with quality. Commission in the successive tariff orders is allocating amounts towards improvement IT infrastructure. Attaching much emphasis on this area, Commission allows Rs.4.00 crore each to all DISCOMs for undertaking various automation programmes, IT initiatives and to implement the SAP based MBC application for FY 2020-21.

Para 385

The Commission is of the opinion that Energy Audit is a techno commercial activity required to be implemented by DISCOMs so that the financial condition shall be viable. It is observed that the loss reduction performance of the all the DISCOMs is poor. During the review of performance of the DISCOMs it is seen that none of the licensees have taken energy auditing seriously and lack metering of the feeders, DTRs and consumers as a major pre-requisite to the Energy audit exercise. The overall AT&C losses are stated to be still hovering around 37%. The performance of DISCOMs on Energy Audit front needs closer involvement of the Management/Staff’s for making the functioning of company viable. As directed in the last RST order, the Commission directs that the achievement in energy audit shall be a part of performance indicators of all officers and employees and recorded in personal reports for extension of service related benefits. HR wing of the DISCOMs are to act accordingly. The Commission may monitor progress.

Para 386

In order to have an appropriate energy accounting procedure and plug the leakages, Commission has been directing DISCOMs to conduct energy audit in the past orders. In spite of repeated directions to conduct energy audit, the progress of all the four DISCOMs on this account is not up to the mark. It is more severe in SOUTHCO and WESCO. The Commission allowed Rs.5.00 crore to each DISCOMs towards AT&C loss reduction activities including Energy Audit under the head additional A&G expenses in the last RST order for FY 2019-20. This amount should have been utilized to undertake metering of the feeders and DTRs. The Commission in view of such a lackadaisical approach to conduct energy audit expresses displeasure on the management. The financial viability and quality of supply as mandated under the Act and Tariff Policy of Government of India are frustrated due to inaction of the licensees to implement the orders.

Para 387

The Commission in the performance review have directed DISCOMs to carry out the Energy Audit in complete shape of at least 5 feeders. This exercise should be further escalated and replicated to other feeders. The Commission further directs that the DISCOMs should complete pole scheduling, consumer indexing, distribution network mapping linking with indexed consumer and also ensure that reliable & correct meters are installed at all points of consumption for the purpose of Energy Audit to identify revenue leakage. Commission shall also review progress aggressively and pass suitable directions from time to time if orders are not complied.

Accordingly the Utility has already selected 5 loss making feeders under Sambalpur Division for energy audit purposes. The performances of the same are provided in subsequent paras.

Hon’ble Commission has also made perusal of the performance of energy audit and observing the performance had also given following directions.

Para 389

The above table reveals that no progress has been made towards Energy audit. The Commission hereby directs again to DISCOMs to submit plan of action for the following energy audit activities during the year 2020-21:

1.Metering of all the 33 KV feeders, 11 KV feeders and Distribution transformers.

2. Energy Audit of balance 33 KV and 11 KV feeders, for which energy audit has not been carried out.

3. Energy audit of all the DTRs and consumers.

4. Consumer and pole indexing.

5. Energy audit of all consumers starting from 33 KV feeders to the end user

consumer.

Para 390

The licensee must provide specific timelines division and feeder wise plan for each of the above activity. It must be noted that while devising the plan, the thrust must be given to complete the audit of Industrial feeders and loss making urban feeders first, gradually focusing on other feeders and DTRs. In view of the importance of energy audit activity Commission allows Rs.5 crore each to all the DISCOM Utilities towards AT & C loss reduction activities including Energy Audit under the head additional A&G expenses for FY 2020-21.  Besides, the commission has also allowed allocation under the head Additional A&G towards Inspection Fee towards SI works and Compensation for Electrical Accidents.

In compliance to the above the utility has completed/duty bound to complete the assignment in following manner:-

- Metering  of  all  the  33  KV  feeders,  11  KV  feeders  by the end of December’2020 and  Metering of Distribution transformers by the end of March’2022.

- Completion of single phase Meter replacement work by the end of March’2021.

- Completion of AMR installation work up to 10 KW by the end of March’2021.

Under IPDS & DDUGJY Scheme adequate single phase Meters are being allocated to M/s WESCO Utility by OPTCL for replacement of defective & Electro-mechanical meters through the agency M/s Linkwell Telesystems Pvt Ltd.

Similarly M/s Genus Infrastructure has been awarded as the agency by OPTCL to replace and install 3-Phase Meters, Modems and boundary Meters under WESCO Utility.

Now  all the 33KV Feeders are being metered and almost all 11 KV Feeders are Metered and balance would be completed by the Dec’20.But due to repeated failure of CT/PT and breakers, some 11KV Feeder meters are not recorded actual consumption even though Meter  is ok.

Accordingly we are in the process of adopting new technologies in order to carry out the energy audit work. Also Meter. Modem and Boundary Meter installation work is going on in full phase under all the 17 divisions of WESCO Utility.  The present scenario of Energy Audit in WESCO utility is as follows:-

| Voltage Level | Numbers | Metered | Audit Activity |
| --- | --- | --- | --- |
| 33KV Feeder | 154 | 154 | 154 |
| 11KV Feeder | 1000 | 838 | 640 |
| DTRs | 63233 | 6003 | 639 |

33KV ENERGY AUDIT

The 33kv loss is being calculated by taking the consumption of 33KV feeder meters installed at 132/33 KV Grid Substations and equating them with the consumption of 33KV Industries directly tapped from that feeder before entering in to 33/11 KV Substation (if any) adding with the summation of consumption of corresponding 11KV Feeders emanating from the respective 33KV Feeders which was connected to 33/11KV s/s. Due to absence of Incomer meter of Power Transformers, the 33KV loss is being calculated taking the consumption of 11KV Feeder Meters of respective 33/11KV Substations.

The loss figure arrived is consisting of 33kv line loss along with Power Transformer       loss. On account of metering defects like Voltage & current missing and improper phase association, in corresponding 11kv feeders, some of 33KV feeders are being audited by taking the average consumption of 11KV Feeders.

The 33KV feeder loss report for September 20 is as under.

| ABSTRACT OF 33KV FEEDER LOSS FOR THE MONTH OF SEPTEMBER'2020 |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NAME OF 132/33KV GSS | SL NO | NAME OF 33 KV FEEDER |  | TOTAL INPUT UNITS (IN MU) |  | TOTAL UNIT CONSUMED (33KV + 11KV) (IN MU) |  |  | UNIT DIFFERENCE IN MU |  |  | % LOSS |
| 132/33KV Rourkela GSS | 1 | TOWN -1(Bisra) |  | 2.8178 |  | 2.8054 |  |  | 0.0124 |  |  | 0.44 |
|  | 2 | TOWN-II |  | 5.9926 |  | 5.8992 |  |  | 0.0934 |  |  | 1.56 |
|  | 3 | INDUSTRIAL ESTATE |  | 2.0624 |  | 2.0164 |  |  | 0.0460 |  |  | 2.23 |
|  | 4 | PILOT PROJECT |  |  |  |  |  |  |  |  |  |  |
|  | 5 | PHD |  | 4.5130 |  | 4.3884 |  |  | 0.1246 |  |  | 2.76 |
|  | 6 | OLD IDC(Balughat) |  |  |  |  |  |  |  |  |  |  |
|  | 7 | BONDHAMUNDA |  | 0.8587 |  | 0.8021 |  |  | 0.0566 |  |  | 6.59 |
|  | 8 | LATHIKATA |  | 3.3644 |  | 3.7571 |  |  | 0.0979 |  |  | 1% |
|  | 9 | BONAI INDUSTRIAL |  | 11.0184 |  | 10.5278 |  |  |  |  |  |  |
|  | 10 | KALUNGA(OLD) |  |  |  |  |  |  | IDEL |  |  |  |
| 132/33KV BONAI GSS | 11 | BONAI |  | 3.3372 |  | 2.9079 |  |  | 0.3962 |  |  | 6.7% |
|  | 12 | RAJAMUNDA |  | 2.5752 |  | 2.6083 |  |  |  |  |  |  |
| 220/33KV BARKOT GSS | 13 | MAHULDIHA |  | 0.3794 |  | 0.3510 |  |  | 0.0284 |  |  | 7.5% |
| 132/33KV Kalunga GSS | 14 | MAHAVEER |  | 4.2248 |  | 4.2127 |  |  | 0.0241 |  |  | 0.57% |
|  |  |  |  | 0 |  | 0.012 |  |  |  |  |  |  |
|  | 15 | IDC INDUSTRIAL |  | 4.1670 |  | 4.0010 |  |  | 0.1660 |  |  | 4.0% |
|  | 16 | KALUNGA |  | 5.8753 |  | 5.7966 |  |  | 0.0787 |  |  | 1.3% |
|  | 17 | IDC KALUNGA |  | 7.6725 |  | 7.6152 |  |  | 0.0573 |  |  | 0.7% |
|  | 18 | RELIABLE |  | 8.0299 |  | 8.0299 |  |  | 0.0000 |  |  | 0.00 |
| 132/33KV Chhend GSS | 19 | CHHEND |  | 4.3000 |  | 4.1225 |  |  | 0.1775 |  |  | 4.13 |
|  | 20 | BASANTI |  | 2.6952 |  | 2.5971 |  |  | 0.0981 |  |  | 3.64 |
|  | 21 | KOELNAGAR |  | 2.9604 |  | 2.8171 |  |  | 0.1433 |  |  | 4.84 |
|  | 22 | BIRAMITRAPUR |  | 4.1940 |  | 6.7271 |  |  | 1.1742 |  |  | 6.41 |
|  | 23 | KUARNMUNDA IND |  | 6.4840 |  | 3.4655 |  |  |  |  |  |  |
|  | 24 | PURUNAPANI |  | 7.6518 |  | 6.9630 |  |  |  |  |  |  |
|  | 25 | NIT |  | 5.2080 |  | 4.8859 |  |  | 0.3221 |  |  | 6.18 |
|  | 26 | CHHEND-VEDVYAS |  | 4.2627 |  | 4.1259 |  |  | 0.1369 |  |  | 3.21 |
| 132/33KV Rajgangpur GSS | 27 | RAJGANGPUR-TOWN | 3.2744 |  | 3.0612 |  |  | 0.2133 |  |  | 6.51 |  |
|  | 28 | RKL-I | 5.2632 |  | 4.0631 |  |  | 1.2359 |  |  | 6.7% |  |
|  | 29 | RKL-II | 13.1357 |  | 13.0998 |  |  |  |  |  |  |  |
|  | 30 | KUTRA | 8.4252 |  | 8.3278 |  |  | 1.4267 |  |  | 7.72 |  |
|  | 31 | BARGAON-RGP | 6.0415 |  | 5.8516 |  |  |  |  |  |  |  |
| 132/33KV Sundargarh GSS | 32 | SUNDARGARH-BADGAON | 4.0020 |  | 2.8626 |  |  |  |  |  |  |  |
|  | 33 | SANKARA | 2.9736 |  | 2.7723 |  |  | 0.2013 |  |  | 6.77 |  |
|  | 34 | SUBDEGA | 2.4048 |  | 2.2412 |  |  | 0.1636 |  |  | 6.80 |  |
|  | 35 | SARGIPALI (KFM) | 0.2983 |  | 0.2887 |  |  | 0.0096 |  |  | 3.23 |  |
|  | 36 | COLLEGE | 1.9266 |  | 1.7952 |  |  | 0.1314 |  |  | 6.82 |  |
|  | 37 | SUNDARGARH SADAR | 0.6881 |  | 0.6721 |  |  | 0.0161 |  |  | 2.33 |  |
|  | 38 | MAJHAPADA | 0.7003 |  | 0.6627 |  |  | 0.0376 |  |  | 5.37 |  |
| 132/33KV Brajrajnagar | 39 | SARGIPALI | 4.0779 |  | 3.7945 |  |  | 0.2834 |  |  | 6.95 |  |
|  | 40 | ABC | 0.0425 |  | 0.0425 |  |  | 0.0000 |  |  | 0.00 |  |
|  | 41 | NTPC-II | 0.1675 |  | 0.1675 |  |  | 0.0000 |  |  | 0.00 |  |
|  | 42 | OCPL | 0.0683 |  | 0.0677 |  |  | 0.0006 |  |  | 0.94 |  |
| 220/33KV Joda GSS | 43 | TENSA | 3.2314 |  | 3.1948 |  |  | 0.0366 |  |  | 1.13 |  |
| 132/33KV Ganesh Nagar GSS | 44 | AINTHAPALI | 11.3998 |  | 10.6578 |  |  | 0.7419 |  |  | 6.51 |  |
|  | 45 | CHERUAPADA | 6.7633 |  | 6.3657 |  |  | 0.3975 |  |  | 5.88 |  |
|  | 46 | PUTIBANDHA | 11.3521 |  | 10.6196 |  |  | 0.7325 |  |  | 6.45 |  |
|  | 47 | SASAN | 6.3343 |  | 6.1735 |  |  | 0.1608 |  |  | 2.54 |  |
| 220/132/33KV Katapali GSS | 48 | BURLA-1 | 7.2265 |  | 6.9052 |  |  | 0.3213 |  |  | 4.45 |  |
|  | 49 | MEDICAL | 1.4770 |  | 1.4310 |  |  | 0.0460 |  |  | 3.11 |  |
| 132/33KV Chiplima GSS | 50 | DHAMA | 3.0370 |  | 2.9980 |  |  | 0.0390 |  |  | 1.28 |  |
|  | 51 | GOSALA | 5.8852 |  | 5.4921 |  |  | 0.3931 |  |  | 6.68 |  |
| 132/33KV LAPANGA GSS | 52 | RENGALI | 2.5066 |  | 2.4810 |  |  | 0.0256 |  |  | 1.02 |  |
|  | 53 | LAPANGA | 1.4504 |  | 1.3600 |  |  | 0.0904 |  |  | 6.23 |  |
|  | 54 | KATARBAGA | 1.4594 |  | 1.4452 |  |  | 0.0142 |  |  | 0.97 |  |
| 132/33KV RAIRRAKHOL GSS | 55 | RAIRRAKHOL | 1.7546 |  | 1.6427 |  | 0.1118 |  |  |  | 6.37 |  |
|  | 56 | NAKTIDEUL | 1.0852 |  | 1.0098 |  | 0.0754 |  |  |  | 6.95 |  |
| 132/33KV AMBAKATA GSS,DEOGARH | 57 | DEOGARH | 3.9322 |  | 3.7940 |  | 0.1382 |  |  |  | 3.51 |  |
|  | 58 | BHAKATBADAKUDUR | 0.8574 |  | 0.8073 |  | 0.0501 |  |  |  | 5.84 |  |
|  | 59 | BARKOT | 0.4392 |  | 0.4195 |  | 0.0197 |  |  |  | 4.49 |  |
| 132/33KV RENGALI GSS | 60 | BUDHAPAL | 0.3975 |  | 0.3852 |  | 0.0123 |  |  |  | 3.09 |  |
| 132/33 KV SARASMAL | 61 | JHARSUGUDA | 6.6275 |  | 6.4829 |  | 0.1446 |  |  |  | 2.18 |  |
|  | 62 | SARBAHAL | 2.2417 |  | 2.2228 |  | 0.0189 |  |  |  | 0.84 |  |
| 220/132/33KV GSS Budhipadar | 63 | INDUSTRIAL 1 | 1.9368 |  | 1.9080 |  | 0.0288 |  |  |  | 1.49 |  |
|  | 64 | INDUSTRIAL-2 | 0.5385 |  | 0.5381 |  | 0.0004 |  |  |  | 0.07 |  |
| 132/33KV GSS Remja | 65 | TRL-2 | 5.4252 |  | 5.3173 |  | 0.1079 |  |  |  | 1.99 |  |
|  | 66 | TRL-1 | 2.7542 |  | 2.7541 |  | 0.0001 |  |  |  | 0.00 |  |
|  | 67 | OPGC | 1.5552 |  | 1.5465 |  | 0.0087 |  |  |  | 0.56 |  |
|  | 68 | BRAJRAJNAGAR | 3.7404 |  | 3.6875 |  | 0.0529 |  |  |  | 1.41 |  |
| 132/33KV GSS KUCHINDA | 69 | KUCHINDA | 4.1754 |  | 3.9726 |  | 0.2028 |  |  |  | 4.86 |  |
|  | 70 | LAIKERA | 1.7396 |  | 1.6215 |  | 0.1181 |  |  |  | 6.79 |  |
|  | 71 | BAMRA | 1.6263 |  | 1.5922 |  | 0.0341 |  |  |  | 2.10 |  |
|  | 72 | GARPOSH | 0.3348 |  | 0.3326 |  | 0.0022 |  |  |  | 0.66 |  |
| 132/33KV GSS SARASMAL | 73 | KOLABIRA | 3.5412 |  | 3.3447 |  | 0.1966 |  |  |  | 5.55 |  |
| 220/132/33KV GSS Budhipadar | 74 | BAGDIHI | 2.7436 |  | 2.7252 |  | 0.0184 |  |  |  | 0.67 |  |
| 132/33KV GSS Bolangir | 75 | BOLANGIR | 3.4090 |  | 3.2020 |  | 0.2070 |  |  |  | 6.07 |  |
|  | 76 | DUMERBAHAL | 2.1856 |  | 2.0874 |  | 0.0982 |  |  |  | 4.49 |  |
|  | 77 | BOUDH | 3.2700 |  | 3.0760 |  | 0.1940 |  |  |  | 5.93 |  |
|  | 78 | DUNGRUPALI | 2.6035 |  | 2.4957 |  | 0.1079 |  |  |  | 4.14 |  |
|  | 79 | Barpali | 5.7060 |  | 5.4260 |  | 0.2800 |  |  |  | 4.91 |  |
|  | 80 | TITLAGARH | 3.2154 |  | 3.1021 |  | 0.1133 |  |  |  | 3.52 |  |
|  | 81 | PATNAGARH | 6.3204 |  | 6.0196 |  | 0.3008 |  |  |  | 4.76 |  |
| 132/33KV GSS KHARIAR | 82 | MURIBAHAL | 1.6308 |  | 1.5485 |  | 0.0823 |  |  | 5.05 |  |  |
|  | 83 | SINDHIKELA | 1.8452 |  | 1.7542 |  | 0.0910 |  |  | 4.93 |  |  |
| 132/33KV GSS Kesinga | 84 | BELGAON | 3.9752 |  | 3.7513 |  | 0.2240 |  |  | 5.63 |  |  |
|  | 85 | TITLAGARH | 3.7668 |  | 3.7440 |  | 0.0228 |  |  | 0.61 |  |  |
| 132/33KV GSS PATNAGARH | 86 | PATNAGARH | 2.1456 |  | 2.0960 |  | 0.0496 |  |  | 2.31 |  |  |
|  | 87 | BELPARA | 4.9232 |  | 4.6145 |  | 0.3087 |  |  | 6.27 |  |  |
|  | 88 | GHUMER | 1.0010 |  | 0.9452 |  | 0.0558 |  |  | 5.57 |  |  |
| 132/33KV GSS Sonepur | 89 | BINKA | 4.6536 |  | 4.3253 |  | 0.3284 |  |  | 7.06 |  |  |
|  | 90 | BIRMAHARAJPUR | 4.3045 |  | 4.1000 |  | 0.2045 |  |  | 4.75 |  |  |
|  | 91 | DUMERBAHAL | 5.0665 |  | 4.7065 |  | 0.3600 |  |  | 7.11 |  |  |
|  | 92 | SONEPUR | 2.3677 |  | 2.2205 |  | 0.1472 |  |  | 6.22 |  |  |
| 132/33KV GSS BARPALI | 93 | PANDKITAL | 2.7658 |  | 2.5736 |  | 0.1922 |  |  | 6.95 |  |  |
| 132/33KV GSS JUNAGARH | 94 | DHARAMGARH | 3.2314 |  | 3.0420 |  | 0.1894 |  |  | 5.86 |  |  |
|  | 95 | JUNAGARH | 4.7590 |  | 4.5521 |  | 0.2068 |  |  | 4.35 |  |  |
|  | 96 | CHARBAHAL | 5.1201 |  | 4.8526 |  | 0.2675 |  |  | 5.22 |  |  |
| 132/33KV GSS BHANGABARI | 97 | BHAWANIPATNA-1 | 6.4521 |  | 6.1150 |  | 0.3371 |  |  | 5.23 |  |  |
|  | 98 | BHAWANIPATNA-2 |  |  |  |  |  |  |  |  |  |  |
|  | 99 | BHANGABARI |  |  |  |  |  |  |  |  |  |  |
| 132/33KV GSS Kesinga | 100 | BHAWANIPATNA-II | 1.8452 |  | 1.7427 |  | 0.1025 |  |  | 5.55 |  |  |
|  | 101 | BHAWANIPATNA-I + BUS COUPLER |  |  |  |  |  |  |  |  |  |  |
|  | 102 | KESINGA | 4.5215 |  | 4.3152 |  | 0.2063 |  |  | 4.56 |  |  |
|  | 103 | NARLA | 4.9854 |  | 4.6921 |  | 0.2933 |  |  | 5.88 |  |  |
| 132/33KV GSS KHARIAR | 104 | KHARIAR-I | 16.1251 |  | 15.3214 |  | 0.80 |  |  | 4.98 |  |  |
|  | 105 | KHARIAR-II |  |  |  |  |  |  |  |  |  |  |
|  | 106 | NUAPADA |  |  |  |  |  |  |  |  |  |  |
|  | 107 | BODEN |  |  |  |  |  |  |  |  |  |  |
| 132/33KV GSS NUAPADA | 108 | BISORA | 6.9521 |  | 6.5521 |  | 0.4000 |  |  | 5.75 |  |  |
|  | 109 | KHARIAR ROAD+BUS COUPLER KHARIAR ROAD |  |  |  |  |  |  |  |  |  |  |
| 132/33KV GSS SOUTHCO | 110 | MUKHIGUDA | 0.7985 |  | 0.7522 |  | 0.0464 |  |  | 5.81 |  |  |
| 132/33KV GSS PRADHANPALI | 111 | 4-PLOE FEEDER | 7.8452 |  | 7.4521 |  | 0.3931 |  |  | 5.01 |  |  |
|  | 112 | BARGARH TOWN | 7.9854 |  | 7.4921 |  | 0.4933 |  |  | 6.18 |  |  |
|  | 113 | TURUNGA | 6.7541 |  | 6.4015 |  | 0.3526 |  |  | 5.22 |  |  |
|  | 114 | DUNGURI | 4.1211 |  | 3.8917 |  | 0.2294 |  |  | 5.57 |  |  |
|  | 115 | SOHELA | 5.9875 |  | 5.6548 |  | 0.3327 |  |  | 5.56 |  |  |
| 132/33KV GSS KANTAPALI | 116 | ATTABIRA | 10.4125 |  | 9.7523 |  | 0.6602 |  |  | 6.34 |  |  |
|  | 117 | KANTAPALI-II | 14.5215 |  | 13.7414 |  | 0.7800 |  |  | 5.37 |  |  |
| 132/33KV GSS BARPALI | 118 | Barpali | 18.8745 |  | 17.6724 |  | 1.2021 |  |  | 6.37 |  |  |
|  | 119 | BIJEPUR |  |  |  |  |  |  |  |  |  |  |
|  | 120 | MELCHAMUNDA |  |  |  |  |  |  |  |  |  |  |
| 132/33KV GSS PADAMPUR | 121 | PADAMPUR | 12.5689 |  | 11.8353 |  | 0.7336 |  |  | 5.84 |  |  |
|  | 122 | PAIKMAL |  |  |  |  |  |  |  |  |  |  |
|  | 123 | GAISILET |  |  |  |  |  |  |  |  |  |  |

The Utility is in the process of rectification of the same. However, all 33kv Industrial feeders of potential belt like Rourkela Circle are under Energy Audit. Apart from above, group audit meters have also been installed against group of industries and the energy loss is monitored to check pilferage if any.

Also in industrial areas like Rourkela Sadar, Rajgangpur & Kalunga where high valued large industries were present, audit metering units are being installed for one to one & group auditing purpose and monthly as well as daily audit being carried out in order to find out the loss so that there is no scope for theft of energy. The readings of industries & audit Meter were taken through AMR module.

The 33KV industry audit report for September’20 of Rourkela Circle is appended below.

| SL NO | Name of Consumer | Billing Meter No. | MF | Billing Meter Consumption | Total Consumtion | Audit Meter No. | MF | Audit meter consumption | Unit Lost |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Jai Balajee Jyoti Steels | WSC22368 | 12000 | 8949600 | 8949600 | WSC33010 | 24000 | 8996640 | 47040 |
| 2 | B R Sponge & Power | WSC22387 | 1200 | 426518 | 851115 | WSC17261 | 24000 | 858480 | 7365 |
|  | Vikram Steel | WSC15594 | 900 | 350676 |  |  |  |  |  |
|  | Manasa Devi | WES52697 | 120 | 73921 |  |  |  |  |  |
|  | Bhaskar Steel | WSC33013 | 6000 | 0 |  |  |  |  |  |
| 3 | Reliable Sponge | WES50525/ WSC15050 | 1800/200 | 347094 | 1174829 | WES52109 | 48000 | 1221452 | 46623 |
|  | Vishal Metalliks | WSC22397 | 900 | 267390 |  |  |  |  |  |
|  | Sri Hari Sponge | WSC22401 | 900 | 218891 |  |  |  |  |  |
|  | Shiva Metalliks | WSC22405 | 900 | 190548 |  |  |  |  |  |
|  | Maha Kali Ispat | WES50600/ WCT02099 | 900/2 | 123606 |  |  |  |  |  |
|  | Ores Ispat | WSC22404/ WCT01975 | 900/1 | 0 |  |  |  |  |  |
|  | Surendra Mining | ORU14869 | 9000 | 27300 |  |  |  |  |  |
| 4 | M/S Rungta Mines. | WES50554 | 4500 | 351450 | 351450 | WDT01295 | 6000 | 354240 | 2790 |
| 5 | Suraj Product Ltd. | WSC15511 | 3000 | 2740920 | 7944434 | WES48808 | 24000 | 8061120 | 116686 |
|  |  |  |  | 7020 |  |  |  |  |  |
|  | Shristi Ispat (Scan Steel - I) | WSC29426 | 12000 | 4971480 |  |  |  |  |  |
|  | T R Chemical Ltd. | WSC39124 | 900 | 239054 |  |  |  |  |  |
| 6 | Scan Steel (Gangajal) | WSC15436 | 12000 | 5082360 | 7074105 | WDT01352 | 24000 | 7381980 | 307875 |
|  |  |  |  | 16920 |  |  |  |  |  |
|  | Scan Steel (Bai- Bai) | WSC39126 | 4500 | 2008665 |  |  |  |  |  |
|  | Bargaon I/C | WSC29485 | 12000 | 0 |  |  |  |  |  |
|  |  |  |  | 0 |  |  |  | 0 |  |
| 7 | Satguru Metalliks | WES50596 | 9000 | 229500 | 229500 | WSC33012 | 6000 | 230160 | 660 |
| 8 | M R Ferro Pvt Ltd. | WES48848 | 900 | 148068 | 8033302 | WSC39223 | 48000 | 8425200 | 391898 |
|  | Agrasen Rice Mill | WSC15614 | 300 | 122940 |  | WSC35854 | 6000 | 0 |  |
|  | Radha Raman Alloys | WSC29521 | 6000 | 16902 |  |  |  |  |  |
|  | Uni Profile | WSC35853 | 900 | 0 |  |  |  |  |  |
|  | GD QUERY,TISCO | WSC15432 | 600 | 28512 |  |  |  |  |  |
|  | TISCO Colony | WSC17975 | 48000 | 334900 |  |  |  |  |  |
|  | SITA SHIVA AUDIT POINT | WSC29563 | 24000 | 7381980 |  |  |  |  |  |
|  | Scan Gangajal Audit | WDT01352 | 24000 | 0 |  |  |  |  |  |
|  |  |  |  | 0 |  |  |  |  |  |
| 9 | Sita Cement | WES48849 | 3000 | 177300 | 1179120 | WSC29563 | 24000 | 1183920 | 4800 |
|  | Shiva Cement | WES48827 | 6000 | 1001820 |  |  |  |  |  |
| 10 | Reliable Sponge | OREB7018 | 2.667 | 7988038 | 7988038 | WES48582 | 48000 | 8029920 | 41882 |
| 11 | Hindustan Aqua-3/0127 | WES48803 | 1200 | 47952 | 5418760 | WSC39103 | 24000 | 5456640 | 37880 |
|  | Cast Profile - 3/0053 | WSC29386 | 1800 | 201960 |  |  |  |  |  |
|  | Aurn Steel-3/ | WES50440 | 4500 | 1383750 |  |  |  |  |  |
|  | Kedia Carbon | WSC29528/ WSC17556 | 300 | 51518 |  |  |  |  |  |
|  | Shri Salasar Casting | WDT01344 | 6000 | 2711640 |  |  |  |  |  |
|  | SD Food | WSC39237/ WDT00021 | 300/1 | 0 |  |  |  |  |  |
|  | Futuristic Ceramics | WCT02100 | 1 | 899 |  |  |  |  |  |
|  | Rourkela Sponge Udyog | WSC29559 | 6000 | 442026 |  |  |  |  |  |
|  | Arvind Steel | WSC39107 | 900 | 47808 |  |  |  |  |  |
|  | Sarada Mineral | WSC32980 | 900 | 65367 |  |  |  |  |  |
|  | Shivam Aggregate | WSC33004 | 900 | 114228 |  |  |  |  |  |
|  | Vishal Ferro | WES50437 | 9000 | 0 |  |  |  |  |  |
|  | OPG Ispat | WSC35906 | 4500 | 0 |  |  |  |  |  |
|  | Joi Iron & Steel | WSC15611 | 1800 | 351612 |  |  |  |  |  |
| 12 | Kedia Carbon | WSC17556 | 80 | 51518.4 | 3785098 | WSC15613 | 24000 | 3792960 | 7862 |
|  | Shri Salasar Casting | WDT01344/ ORU14868 | 6000 | 2711640 |  |  |  |  |  |
|  | SD Food | Wdt00021 | 300/1 | 0 |  |  |  |  |  |
|  | Futuristic Ceramic | WCT02100 | 1 | 899 |  |  |  |  |  |
|  | Rourkela Sponge Udyog | WSC29559 | 1800 | 442026 |  |  |  |  |  |
|  | Arvind Steel | WSC39107 | 900 | 47808 |  |  |  |  |  |
|  | SARDA MINERALS | WSC32980 | 900 | 65367 |  |  |  |  |  |
|  | SHIVAM AGGREGATE | WSC33004/ WSC17542 | 900 | 114228 |  |  |  |  |  |
|  | Vishal Ferro | WES50437 | 9000 | 0 |  |  |  |  |  |
|  | OPG Ispat | WSC35906/ WES51272 | 4500 | 0 |  |  |  |  |  |
|  | Joi Iron & Steel | WSC15611 | 1800 | 351612 |  |  |  |  |  |
| 13 | Rourkela Sponge Udyog | WSC29559 | 1800 | 442026 | 1021041 | WES50461 | 24000 | 1030152 | 9111 |
|  | Arvind Steel | WSC39107 | 900 | 47808 |  |  |  |  |  |
|  | SARDA MINERALS | WSC32980 | 900 | 65367 |  |  |  |  |  |
|  | SHIVAM AGGREGATE | WSC33004 | 900 | 114228 |  |  |  |  |  |
|  | Vishal Ferro | WES50437 | 9000 | 0 |  |  |  |  |  |
|  | OPG Ispat | WSC35906 | 4500 | 0 |  |  |  |  |  |
|  | Joi Iron & Steel | WSC15611 | 1800 | 351612 |  |  |  |  |  |
| 14 | Vishal Ferro Alloys | WSC35845 | 9000 | 0 | 0 | WSC33023 | 12000 | 0 | 0 |
| 15 | Utkal Metallic | WES48840/ WSC16267 | 900/200 | 245376 | 1128405 | WES51275 | 48000 | 1140000 | 11595 |
|  | IFGL - 3/0043 | WSC29564 | 1800 | 481500 |  |  |  |  |  |
|  | Sponge Udyog - 3/0121 | WSC22373 | 900 | 398709 |  |  |  |  |  |
|  | Subh Ispat | WES51992 | 6000 | 2820 |  |  |  |  |  |
| 16 | Eastern Alloy | WSC39172 | 6000 | 767160 | 1827006 | WSC35843 | 48000 | 1829520 | 2514 |
|  | Shree Ganesh Rolling Mill | WSC39099 | 3000 | 378000 |  |  |  |  |  |
|  | Ashoka Ispat | WDT01261 | 3000 | 6000 |  |  |  |  |  |
|  | Shivam Steel Corp | WSC39109 | 1800 | 239274 |  |  |  |  |  |
|  | Ambica Iron & Steel | WSC35850 | 1800 | 436572 |  |  |  |  |  |
| 17 | Swastik Ingot | WSC35796 | 6000 | 0 | 0 | WSC39096 | 6000 | 0 | L/D |
|  | Sunayana Metals | WSC35802 | 1800 | 0 |  |  |  |  |  |
| 18 | Top Tech Steels | OREB9338 | 1 | 1801575 | 2007540 | WSC32996 | 12000 | 2009160 | 1620 |
|  | Sarvesh refractory | WSC15443 | 900 | 205965 |  |  |  |  |  |
| 19 | I/C from Purnapani Feeder to Kuarnmunda s/s | WSC07735 | 60000 | 0 | 3953440 | WSC07171 | 120000 | 4194000 | 240560 |
|  | Sarvesh refractory | WSC15443 | 900 | 205965 |  |  |  |  |  |
|  | Top Tech | WDT01266 | 4500 | 1801575 |  |  |  |  |  |
|  | Utkal Moulder | WSC22493 | 400 | 55000 |  |  |  |  |  |
|  | (PLDQ) Audit Point | WSC12859 | 60000 | 1890900 |  |  |  |  |  |
| 20 | Khederia Ispat | WSC35867 | 3000 | 1618065 | 1768395 | WSC39108 | 6000 | 1770125 | 1730 |
|  | Maa Shakumbari | WES48554 | 600 | 150330 |  |  |  |  |  |
| 21 | Chun Chun Ispat Pvt. Ltd. | WES51276 | 3000 | 1424730 | 1424730 | WSC35799 | 6000 | 1426600 | 1870 |
| 22 | Sanghamitra Alloys | WSC39105 | 3000 | 0 | 3729716 | WSC29565 | 24000 | 3785211 | 55495 |
|  | PAWANJAY | WES52089 | 6000 | 1046580 |  |  |  |  |  |
|  | ROURKELA MINERAL | WDT00037 | 6.6 | 95318 |  |  |  |  |  |
|  | Maa Girija Ispat | WES48832 | 6000 | 2187630 |  |  |  |  |  |
|  | Govindam Project | WSC22384 | 1200 | 400188 |  |  |  |  |  |
| 23 | Koushal Ferro | WSC15577 | 6000 | 231000 | 231000 | WSC34487 | 30000 | 232600 | 1600 |
| 24 | KGN Cement | WES48522 | 300 | 36426 | 391988 | WSC07147 | 12000 | 393960 | 1972 |
|  | Agrasen Sponge | WSC39227 | 1800 | 355562 |  |  |  |  |  |
| 25 | D D Iron & Steel Pvt. Ltd. | WSC39125 | 6000 | 1509600 | 1521543 | 2985847 | 40 | 1540084 | 18541 |
|  | T R Ispat Pvt. Ltd. | WSC35849 | 900 | 11943 |  |  |  |  |  |
| 26 | Bee Pee Reroller | WSC15438 | 3000 | 310440 | 2455438 | WES48667 | 48000 | 2464800 | 9362 |
|  | Maa Foundary | WES48646 | 1200 | 222852 |  |  |  |  |  |
|  | Shree Akhandalmani Air Product | WSC39098 | 300 | 74256 |  |  |  |  |  |
|  | Refulgent Ispat | WDT01274 | 4500 | 1657210 |  |  |  |  |  |
|  | Bajrang Steels-3/0078 | WSC15387 | 6000 | 190680 |  |  |  |  |  |

Whenever there is any energy mismatch found between audit meter consumption & billing meter consumption then necessary steps were taken immediately to find out the root cause of loss by doing dump analysis and testing the metering cubicles & audit meters also.

The dumps of some high valued consumers are taken on daily basis by means of AMR modems and the dumps were analyzed by Energy Audit cell & AMR Cell jointly. Whenever any tamper found like potential missing, CT open, CT Short etc then immediate action taken by the respective MRT wings to rectify the problem and additional/differential unit loosed during faulty period was billed accordingly as per audit meter consumption comparison.

Total 53 no of cases were detected in WESCO utility from April’20 to September’20 from audit & dump analysis report from which approximately 28.93 Lakh additional units claimed.

HT-LT COMPARISION ANALYSIS REPORT

Similarly we have installed around 765 nos of LT check Meters in Large & Medium industry(33KV & 11KV) consumer premises in addition to HT Meter for energy auditing purpose and every month by taking the dump/reading of both HT & LT Check Meters we are calculating the difference in Consumption between both the Meters. If the loss level is high then necessary testing of Meters or CT/PT will be carried out by the respective MRT to rectify the same.

The HT-LT Comparison sheet of some high valued large consumers under Rourkela, Sambalpur, Jharsuguda & Bolangir area is enclosed herewith for reference.

AUDIT OF RESIDENTIAL APARTMENTS

In additions to above around 91 nos. of Commercial apartments are also under Energy Audit coverage in different areas of the utility including Sambalpur, Jharsuguda, Rourkela and Bolangir areas. Outsource vigilance squads as well as MRT squads are engaged for vigilance activities in areas with high loss. Top priority is being given to areas where DTR/11kv feeders are having higher loss. The high loss pockets are taken first for loss reduction activities and checked by our dedicated Vigilance squad taking one area on weekly basis and detection, rectification is taken up. Besides the SDO’s/EE’s are conducting drives in mass checking programs to check pilferage.

Findings of audit made for the month of September’20is appended below for kind perusal of Hon’ble Commission.

| SL.NO. | NAME OF THE APARTMENT | NUMBER OF CONSUMERS | AUDIT METER CONSUMPTION (in Kwh) | CONSUMER BILLING UNITS (in Kwh) | Loss in Units (in Kwh) | % LOSS |
| --- | --- | --- | --- | --- | --- | --- |
| JHARSUGUDA |  |  |  |  |  |  |
| 1 | ASHREE BUILDERS (JED-3) | 69 | 34164 | 33215 | 949 | 2.78% |
| 2 | KONARK INFRATECH | 59 | 21080 | 19907 | 1173 | 5.56% |
| 3 | VASANT VIHAR | 39 | 14641 | 13984 | 657 | 4.49% |
| 4 | AMRUT GANGA | 27 | 12144 | 11835 | 309 | 2.54% |
| 5 | ASHREE BUILDERS | 21 | 3552 | 3441 | 111 | 3.13% |
| 6 | AMEN BUILDERS | 52 | 15176 | 15073 | 103 | 0.68% |
| 7 | CHAWLA HEIGHTS | 36 | 13216 | 13104 | 112 | 0.85% |
| 8 | RAMKRISHNA PROM & BLDRS. (ARYA RESIDENCY) | 59 | 19592 | 19438 | 154 | 0.79% |
| 9 | NARAYANI-A | 33 | 10958 | 10750.7 | 207.3 | 1.89% |
| 10 | NARAYANI-B & C | 32 | 14984 | 14796.5 | 187.5 | 1.25% |
| 11 | SIDDHIVINAYAK PROMOTERS | 80 | 18352 | 18184 | 168 | 0.92% |
| 12 | NEO GENESIS | 86 | 47056 | 45894 | 1162 | 2.47% |
| 13 | BALAJI VILLA | 38 | 22406 | 21941 | 465 | 2.08% |
| 14 | KRISHNA TOWER | 25 | 7650 | 7515 | 135 | 1.76% |
| 15 | KOSHAL GARDEN | 50 | 14928 | 13933 | 995 | 6.67% |
| 16 | OM SHANTI | 60 | 25432 | 25247 | 185 | 0.73% |
| 17 | CITY HOMES | 46 | 13040 | 12348.1 | 692 | 5.31% |
| 18 | RAMKRISHNA PROM & BLDRS. | 110 | 79936 | 78629.1 | 1306.9 | 1.63% |
| 19 | RAMKRISHNA PROM & BLDRS.-1 | 16 | 6908 | 6890 | 18 | 0.26% |
| 20 | RELIANCE | 3 | 17080 | 17031 | 49 | 0.29% |
| 21 | CITY LIFE | 16 | 18832 | 18769.4 | 62.6 | 0.33% |
| 22 | ASHOK SAHU COMPLEX | 8 | 7325 | 6812 | 513 | 7.00% |
| 23 | JHARSUGUDA PROPERTIES | 20 | 1792 | 1768.1 | 23.9 | 1.33% |
| 24 | KN COMPLEX | 5 | 9472 | 9188 | 284 | 3.00% |
| 25 | SVT BUILDERS | 18 | 5388 | 5364 | 24 | 0.45% |
| 26 | V MART | 3 | 9064 | 9037.6 | 26.4 | 0.29% |
| 27 | VASANT VIHAR (1-PH COMMERCIAL) | 6 | 1045.25 | 1036 | 9.25 | 0.88% |
| 28 | SK VASTU BUILDERS | 10 | 12920 | 12032 | 888 | 6.87% |
| 29 | GAGAN BUILDERS | 6 | 1556 | 1533 | 23 | 1.48% |
| 30 | RICHMOND APARTMENT | 3 | 7032 | 7010 | 22 | 0.31% |
| ROURKELA |  |  |  |  |  |  |
| 31 | KHOSAL GARDENS | 20 | 17036 | 16696 | 340 | 2.00% |
| 32 | Vedic City | 19 | 4992 | 4628 | 364 | 7.29% |
| 33 | CC/7-Apartments | 9 | 3098 | 3008 | 90 | 2.91% |
| 34 | A4/11-Elite Developers | 9 | 4467 | 4395 | 72 | 1.61% |
| 35 | MILLION HEIGHTS | 15 | 7598 | 7535 | 63 | 0.83% |
| 36 | ALIM AKHTAR | 70 | 0 | 0 | 0 | 0.00% |
| 37 | U/13-GAY LORD INFRA PVT LTD | 9 | 4200 | 4094 | 106 | 2.52% |
| 38 | SURYA TOWER | 20 | 5716 | 5683 | 33 | 0.58% |
| 39 | M/S SKY HEIGHT DEVELOPERS | 13 | 4604 | 4572 | 32 | 0.70% |
| 40 | C4/13 CIVIL TOWNSHIP | 8 | 5250 | 4894 | 356 | 6.78% |
| 41 | Y3/8,CIVIL TOWNSHIP | 9 | 5980 | 5780 | 200 | 3.34% |
| 42 | SAROJ PATTANAIK J/1 | 1 | 0 | 0 | 0 | 0.00% |
| 43 | LL/18 CIVIL TOWNSHIP | 12 | 1560 | 1470 | 90 | 5.77% |
| 44 | V3/12 CIVIL TOWNSHIP | 13 | 3160 | 3081 | 79 | 2.50% |
| 45 | SAHEJ LAGOON | 31 | 16448 | 16256 | 192 | 1.17% |
| 46 | SAI RECIDENCY | 42 | 21810 | 21648 | 162 | 0.74% |
| 47 | GRAVITY TOWER | 23 | 19254 | 18793 | 461 | 2.39% |
| 48 | K.C SINGH | 22 | 4198 | 4043 | 154.8 | 3.69% |
| 49 | BRAHMANI DEVELOPER | 70 | 17880 | 17634.5 | 245.5 | 1.37% |
| 50 | SUNNY CHABRA | 23 | 5340 | 5074 | 266 | 4.98% |
| 51 | RADHA KRISHNA | 61 | 14688 | 14614.7 | 73.3 | 0.50% |
| 52 | SMART TOWER | 16 | 4856 | 4783 | 73 | 1.50% |
| SED & SEED SAMBALPUR |  |  |  |  |  |  |
| 53 | SWARNA | 42 | 11873 | 11216 | 657 | 5.53% |
| 54 | KALYANI | 32 | 13155.03 | 13020 | 135 | 1.03% |
| 55 | SAMALESWARI | 29 | 26480 | 25433 | 1047 | 3.95% |
| 56 | BALAJI | 18 | 11809 | 11709 | 100 | 0.85% |
| 57 | SIDHI VINAYAK | 34 | 18230.1 | 17763 | 467 | 2.56% |
| 58 | CITY LIFE | 6 | 17692 | 17167 | 525 | 2.97% |
| 59 | RELIANCE | 5 | 35448 | 34596 | 852 | 2.40% |
| 60 | BRIJDHAM | 76 | 43692 | 42385 | 1307 | 2.99% |
| 61 | MAA TARINI | 41 | 16264 | 16180 | 84 | 0.52% |
| 62 | SHIBA | 46 | 21592 | 21410 | 182 | 0.84% |
| 63 | GREEN PARK | 95 | 36944 | 36307 | 637 | 1.72% |
| 64 | SHYAMVATIKA | 80 | 59504 | 58945 | 559 | 0.94% |
| 65 | GANAPATI | 55 | 27966 | 27213 | 753 | 2.69% |
| 66 | MOURYA | 49 | 22470 | 22014 | 456 | 2.03% |
| 67 | SAMALESWARI BAREIPALI | 91 | 32638.5 | 31999 | 640 | 1.96% |
| 68 | PRIDE BUILDER 1 | 45 | 25480 | 25033.6 | 446 | 1.75% |
| 69 | PRIDE BUILDER 2 | 47 | 19494 | 19493.2 | 1 | 0.00% |
| 70 | BALAJI BAREIPALI | 41 | 29866 | 29343 | 523 | 1.75% |
| 71 | PODDAR HEIGHTS | 14 | 4853 | 4845 | 8 | 0.16% |
| 72 | GREATER SAMBALPUR | 40 | 24848 | 24369 | 479 | 1.93% |
|  |  | 67 | 28736 | 28565 | 171 | 0.60% |
|  |  | 60 | 22620 | 22399.7 | 220 | 0.97% |
|  |  | 81 | 36744 | 36410.1 | 334 | 0.91% |
| 73 | KOSHAL PRESTIGE | 28 | 16421 | 16224.8 | 196 | 1.19% |
| 74 | SHYAM ARACADE | 22 | 9982 | 9966 | 16 | 0.16% |
| 75 | BALAJI GREEN SIMPLEX, (C & D Block )AINTHAPALI | 43 | 22688 | 22102 | 586 | 2.58% |
| 76 | BALAJI GREEN DUPLEX (A ,B & DUPLEX) AINTHAPALI | 76 | 45348 | 45323 | 25 | 0.06% |
| 77 | NEW BALAJI HOME | 31 | 7580 | 7544 | 36 | 0.47% |
| 78 | BHAGYASHREE (GANESH SOCITE) | 18 | 1464 | 1410 | 54 | 3.69% |
| 79 | SUN CITY APPARTMENT | 48 | 9600 | 9499 | 101 | 1.05% |
| 80 | GHANASHYAM COMPLEX | 17 | 9301 | 9203 | 98 | 1.05% |
| 81 | SAHEJ COMPLEX APARTMENT | 26 | 13822 | 13713 | 109 | 0.79% |
| BOLANGIR |  |  |  |  |  |  |
| 82 | BALAJI APARTMENT (SED) | 27 | 64944 | 64920.6 | 23 | 0.04% |
| 83 | AURVIND ENCLAVE | 22 | 4936 | 4864 | 72 | 1.46% |
| 84 | ROYAL GARDEN(Transformer-1) | 31 | 25652 | 24589 | 1063 | 4.14% |
| 85 | ROYAL GARDEN(Transformer-2) | 43 | 18785 | 18241 | 544 | 2.90% |
| 86 | SAI TOWER | 22 | 11452 | 11021 | 431 | 3.76% |
| 87 | ALISHAN LIFE STYLE-1 | 43 | 6542 | 6032 | 510 | 7.80% |
| 88 | ALISHAN LIFE STYLE-2 | 26 | 9541 | 9012 | 529 | 5.54% |
| 89 | GOKUL DHAM | 24 | 7852 | 7415 | 437 | 5.57% |
| 90 | RK PROPERTIES | 24 | 33658 | 32015 | 1643 | 4.88% |
| 91 | ROYAL RESIDENCY | 48 | 44785 | 42432 | 2353 | 5.25% |

11KV ENERGY AUDIT

As regards to 11kv feeders auditing, only 640 nos. of feeders are being audited on September’2020 out of 1000 nos of feeders due to lack of proper metering and CT,PT & breaker problem. The list is given below:

| DIVISION | NO.OF 11KV FEEDERS | NO OF 11KV FEEDERS METERED | NO OF 11KV FEEDERS RECORDING CORRECT CONSUMPTION | No. of feeders under Audit |
| --- | --- | --- | --- | --- |
| ROURKELA | 32 | 32 | 24 | 24 |
| ROURKELA SADAR | 46 | 44 | 35 | 35 |
| RAJGANGPUR | 52 | 52 | 42 | 42 |
| SUNDARGARH | 50 | 49 | 29 | 29 |
| ROURKELA TOTAL | 180 | 177 | 130 | 130 |
| SAMBALPUR | 45 | 45 | 23 | 23 |
| SAMBALPUR EAST | 62 | 60 | 32 | 32 |
| JHARSUGUDA | 91 | 91 | 53 | 53 |
| DEOGARH | 19 | 19 | 18 | 18 |
| BRAJRAJNAGAR | 33 | 33 | 21 | 21 |
| SAMBALPUR TOTAL | 250 | 248 | 147 | 147 |
| BARGARH EAST | 70 | 70 | 49 | 49 |
| BARGARH WEST | 77 | 77 | 46 | 46 |
| BARGARH TOTAL | 147 | 147 | 95 | 95 |
| BOLANGIR | 64 | 62 | 45 | 45 |
| SONEPUR | 84 | 82 | 52 | 52 |
| TITLAGARH | 99 | 96 | 50 | 50 |
| BOLANGIR TOTAL | 247 | 240 | 147 | 147 |
| KALAHANDI EAST | 72 | 72 | 45 | 45 |
| KALAHANDI WEST | 61 | 61 | 46 | 46 |
| NUAPADA | 43 | 43 | 30 | 30 |
| KALAHANDI TOTAL | 176 | 176 | 121 | 121 |
| WESCO TOTAL | 1000 | 985 | 640 | 640 |

In this case 11kv Energy input is compared with billed units of tagged consumers comprising of 1phase monthly & Bi-monthly, 3phase and 11kv large category consumers. Each 11kv feeder has been assigned with a unique 4 digit code and consumers under that 11kv are being tagged. Abnormal losses found in rest feeders are being scrutinized at Divisional level for proper consumer tagging, bifurcation of feeders (due to any ongoing scheme), additions of new feeders and substitution of proper billing units. Further, the 11kv high loss indicating feeders are checked on priority, for detection of possible theft of Energy for reduction in commercial loss. Similarly, 11kv input meters are also being checked by MRT team, (reading being taken both in CMRI and AMR) for proper PT and CT connections to the meter and subsequent multiplying factor. The loss so arrived is inclusive of 11kv lines loss, Transformer loss of DTRs, LT lines loss and commercial loss due to theft, suppress reading and other billing anomalies.

DTR Energy Audit Status

Now in WESCO Utility we are giving much more emphasis on DTR auditing because if we can control the loss level of DTRs then automatically the overall AT&C loss become lower.

As per the direction of honorable Commissioner of OERC, we have taken 05 nos of potential feeders under Sambalpur circle as “Model Pilot Feeders” and already started doing energy auditing by making proper consumer tagging of respective DTRs.Similarly in other divisions some DTRs of Pilot Feeder are under audit.

The month wise comparison statement of DTR energy audit report of 05 nos of Pilot Feeders under Sambalpur Circle as on Sept’20 is enclosed herewith. The loss level of 175 nos of DTR’s under Sambalpur Division was reduced comparatively as on Sept’20 as compared to June’17.

The percentage loss reduction in 05 pilot feeders is 35%.

| Abstract of Loss Comparison of 05 Pilot Feeders under Sambalpur Division |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No | Name Of The Feeder | No. Of DTR | No. of DTR Metered | No. of Consumer | No. of Consumer metered | No of Consumer Tagged | No of Defective Meter as on June'20 | Meter Changed on June'20 | T & D LOSS |  |  |  | % Loss Reduction w.r.t June'17 |  |
|  |  |  |  |  |  |  |  |  | As on JUNE 2017 | As on JUNE 2018 | As on JUNE 2019 | As on SEPT 2020 |  |  |
| 1 | MUNDOGHAT | 62 | 62 | 1227 | 1227 | 1227 | 149 | 0 | 47% | 30% | 27.91% | 25.16% |  | 22% |
| 2 | KHETRAJPUR | 37 | 37 | 2301 | 2301 | 2301 | 117 | 10 | 55% | 31% | 28.44% | 26.57% |  | 28% |
| 3 | DURGAPALI | 28 | 28 | 1158 | 1158 | 1158 | 78 | 0 | 62% | 38% | 29.37% | 27.90% |  | 35% |
| 4 | SAMLESWARI | 24 | 24 | 1525 | 1525 | 1525 | 128 | 2 | 73% | 37% | 29.07% | 29.02% |  | 44% |
| 5 | BALIBANDHA | 24 | 24 | 2419 | 2419 | 2419 | 296 | 6 | 76% | 42% | 33.00% | 29.60% |  | 47% |
|  | TOTAL | 175 | 175 | 8630 | 8630 | 8630 | 768 | 18 | 62.79% | 35.60% | 29.56% | 27.65% |  | 35% |

Already 6003 nos of Meters were installed in different DTRs under respective divisions out of which only 639 nos are under Energy Audit.

The DTR wise loss analysis report of some selected DTR’s under Sambalpur division are tabulated below.

| DTR LOSS ANALYSIS OF KHETRAJPUR FEEDER (LAAF) METER NO.WDT01331,M.F = 2000 |  |  |  |  |  | SEPTEMBER'2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No. | DTR Location | DTR CD | Capacity in KVA | Monthly Consumption | No. of Consumers | Sum of Billing Units | Diff. in Units | %Loss |
| 1 | PODDAR COLONY-II | BB | 250 | 76575 | 104 | 68158 | 8417 | 11% |
| 2 | PODDAR COLONY-I | AZ | 200 | 37244 | 112 | 54546 | 7244 | 12% |
|  |  |  |  | 24546 |  |  |  |  |
| 3 | SHYAM ARCADE | BH | 150 | 4950 | 19 | 4315 | 635 | 13% |
| 4 | KENDRIYA VIDYALAYA-I | AL | 100 | 20025 | 48 | 16756 | 3269 | 16% |
| 5 | HOSPITAL GALI-II | BD | 500 | 43358 | 188 | 95662 | 20180 | 17% |
|  |  |  |  | 72484 |  |  |  |  |
| 6 | URVASI VIHAR | AB | 63 | 16174 | 44 | 13390 | 2784 | 17% |
| 7 | KRISHNA NAGAR-I | BI | 100 | 36474 | 66 | 30002 | 6472 | 18% |
| 8 | SHYAM VATTIKA | BG | 630 | 52500 | 80 | 41758 | 10742 | 20% |
| 9 | PODDAR COLONY-III | AR | 100 | 16519 | 19 | 13263 | 3256 | 20% |
| 10 | THAKURPADA-II | AI | 315 | 42992 | 222 | 53793 | 14162 | 21% |
|  |  |  |  | 20213 |  |  |  |  |
|  |  |  |  | 4750 |  |  |  |  |
| 11 | HOSPITAL GALI-I | BC | 250 | 77758 | 286 | 61430 | 16328 | 21% |
| 12 | BEHERAMUNDA-I | AE | 100 | 25995 | 79 | 20389 | 5606 | 22% |
| 13 | KRISHNA NAGAR-II | BJ | 250 | 46020 | 136 | 49516 | 14408 | 23% |
|  |  |  |  | 17904 |  |  |  |  |
| 14 | STATIONPADA-II | AW | 250 | 83665 | 165 | 64439 | 19226 | 23% |
| 15 | MUNGAPADA-I | AS | 500 | 15755 | 128 | 90281 | 27858 | 24% |
|  |  |  |  | 102384 |  |  |  |  |
| 16 | STATIONPADA-I | AV | 100 | 49850 | 70 | 37589 | 12261 | 25% |
| 17 | MUNGAPADA-II | AT | 250 | 66541 | 104 | 49464 | 17077 | 26% |
| 18 | KULTAPADA-II | AD | 100 | 25859 | 49 | 18817 | 7042 | 27% |
| 19 | BEHERAMUNDA-II | AF | 100 | 39170 | 70 | 28018 | 11152 | 28% |
| 20 | THAKURPADA-I | AH | 100 | 10651 | 34 | 7443 | 3208 | 30% |
| 21 | MILLI PADA | AX | 100 | 71178 | 41 | 49715 | 21463 | 30% |
| 22 | KULTAPADA-I (OLD) | AC | 100 | 52245 | 91 | 36769 | 15476 | 30% |
| 23 | ANAND MARG | AY | 100 | 18822 | 14 | 12905 | 5917 | 31% |
| 24 | DAL MILL | AQ | 500 | 74442 | 119 | 79640 | 37049 | 32% |
|  |  |  |  | 42247 |  |  |  |  |

| DTR LOSS ANALYSIS OF DURGAPALI FEEDER (LAAI) Meter No:ORBS4816,M.F = 3000 |  |  |  |  |  | SEPTEMBER'2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 KV FEEDER : BURLA , METER NO.: ORBS4816 |  |  |  | 555720 | 528136 | 27584 | 28 | 4.96 |
| Sl No. | DTR Location | DTR | Capacity in KVA | Monthly Consumption | No. of Consumers | Sum of Billing Units | Diff. in Units | %Loss |
| 1 | KANIJORI-II | AM | 100 | 14214 | 54 | 12789 | 1425 | 10% |
| 2 | DURGAPALI-II | AJ | 100 | 25180 | 80 | 19442 | 5738 | 23% |
| 3 | DURGAPALI-I | AI | 100 | 54384 | 91 | 41540 | 12844 | 24% |
| 4 | CHANDANNAGAR-II | BA | 100 | 25277 | 83 | 19248 | 6029 | 24% |
| 5 | CHANDANNAGAR-III | BB | 100 | 23255 | 65 | 17365 | 5890 | 25% |
| 6 | KANIJORI-III | AL | 100 | 47619 | 92 | 35174 | 12445 | 26% |
| 7 | KUSUMPADA | AK | 100 | 21133 | 31 | 15410 | 5723 | 27% |
| 8 | BHANGAMUNDA | AD | 250 | 47520 | 177 | 34167 | 13353 | 28% |
| 9 | TALIPADA,DURGAPALI | AT | 63 | 19550 | 51 | 13968 | 5582 | 29% |
| 10 | MANDALIA | AX | 100 | 16558 | 36 | 11600 | 4958 | 30% |
| 11 | CHANDANNAGAR-I | AZ | 25 | 6826 | 10 | 4797 | 2029 | 30% |
| 12 | KHADIAPADA | AH | 63 | 17801 | 56 | 12540 | 5261 | 30% |
| 13 | LAXMI DUNGURI | AB | 200 | 30281 | 159 | 30507 | 16741 | 35% |
|  |  |  |  | 16967 |  |  |  |  |
| 14 | KANIJORI-I | AN | 100 | 28464 | 63 | 18344 | 10120 | 36% |
| 15 | GURUNANAK RICE MILL | AC | 200 | 39121 | 95 | 24521 | 14600 | 37% |

| DTR LOSS ANALYSIS OF BALIBANDHA FEEDER (LCAB) Meter No. WES48550,M.F = 4000 |  |  |  |  |  | SEPTEMBER'2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No. | DTR Location | DTR CD | Capacity in KVA | Monthly Consumption | No. of Consumers | Sum of Billing Units | Diff. in Units | %Loss |
| 1 | Hat Pada | AS | 500 | 42774 | 210 | 81283 | 11591 | 12% |
|  |  |  |  | 34073 |  |  |  |  |
|  |  |  |  | 16027 |  |  |  |  |
| 2 | L.L Girls High School | AH | 250 | 86760 | 144 | 71180 | 15580 | 18% |
| 3 | Jharuapada Ring Road | AQ | 500 | 0 | 96 | 38872 | 9591 | 20% |
|  |  |  |  | 36987 |  |  |  |  |
|  |  |  |  | 11476 |  |  |  |  |
| 4 | Housing Board | AA | 250 | 23240 | 56 | 18276 | 4964 | 21% |
| 5 | Tiwari Garage (4116-3316) | AC | 500 | 36755 | 310 | 81032 | 21730 | 21% |
|  |  |  |  | 66007 |  |  |  |  |
| 6 | Nanda Pada | AR | 500 | 20756 | 155 | 78390 | 23848 | 23% |
|  |  |  |  | 34929 |  |  |  |  |
|  |  |  |  | 46553 |  |  |  |  |
| 7 | Ramsagar Bandha -II (Chitragupta) | AK | 500 | 58600 | 207 | 86578 | 28070 | 24% |
|  |  |  |  | 56048 |  |  |  |  |
| 8 | Labour Colony | AD | 200 | 42315 | 74 | 31322 | 10993 | 26% |
| 9 | Balibandha | AM | 500 | 91932 | 321 | 136202 | 48474 | 26% |
|  |  |  |  | 92744 |  |  |  |  |
| 10 | Pattnaik Para | AJ | 250 | 46105 | 112 | 33618 | 12487 | 27% |
| 11 | Sahu Colony | AL | 100 | 41003 | 78 | 29768 | 11235 | 27% |
| 12 | Jharuapada | AP | 500 | 57748 | 145 | 42100 | 15648 | 27% |
| 13 | Tabala Pada | AE | 315 | 85215 | 197 | 61536 | 23679 | 28% |
| 14 | Fraser Club | AG | 100 | 17012 | 27 | 10981 | 6031 | 35% |
| 15 | Ramsagar Bandha -I (Boating Club) | AI | 500 | 70506 | 156 | 58142 | 32122 | 36% |
|  |  |  |  | 19758 |  |  |  |  |
| 16 | Gita Mandir | AO | 315 | 81948 | 148 | 50017 | 31931 | 39% |
| 17 | Tabala Pada | AV | 100 | 18587 | 25 | 8828 | 9759 | 53% |

| DTR LOSS ANALYSIS OF SAMLESWARI FEEDER (LCAC) METER NO.: ORBS4868,M.F = 6000 |  |  |  |  |  |  | SEPTEMBER'2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No. | DTR Location | DTR CODE | DTR CD | Capacity in KVA | Monthly Consumption | No. of Consumers | Sum of Billing Units | Diff. in Units | %Loss |
| 1 | Housing Board -I | LCACAAW | AA | 100 | 27326 | 77 | 21828 | 5498 | 20% |
| 2 | Housing Board -III | LCACACW | AC | 250 | 51676 | 147 | 41555 | 10121 | 20% |
| 3 | Kamli Bazar | LCACBAW | BA | 630 | 54872 | 362 | 73198 | 19187 | 21% |
|  |  |  |  |  | 37513 |  |  |  |  |
| 4 | Pride Builders | LCACBRW | BR | 315 | 32215 | 52 | 25477 | 6738 | 21% |
| 5 | Housing Board -II | LCACABW | AB | 100 | 23870 | 71 | 18683 | 5187 | 22% |
| 6 | Farm Road -I | LCACAGW | AG | 630 | 95951 | 440 | 155768 | 46719 | 23% |
|  |  |  |  |  | 106536 |  |  |  |  |
| 7 | Farm Road -II | LCACAHW | AH | 200 | 35987 | 77 | 27496 | 8491 | 24% |
| 8 | Samaleswari Mandir 1 | LCACAWW | AW | 500 | 53260 | 108 | 40491 | 12769 | 24% |
| 9 | Cheruapara Nalia khandi | LCACADW | AD | 100 | 32431 | 60 | 24066 | 8365 | 26% |
| 10 | Samaleswari Mandir (Ring Road) 1 | LCACAYW | AY | 315 | 66962 | 100 | 44366 | 22596 | 34% |
| 11 | Samaleswari Mandir (Ring Road) 2 | LCACAZW | AZ | 250 | 35280 | 25 | 18519 | 16761 | 48% |

| DTR LOSS ANALYSIS OF MUNDOGHAT FEEDER (QAAD) METER NO.: WSC07695,M.F = 4000 |  |  |  |  |  |  | SEPTEMBER'2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No. | DTR Location | DTR CODE | DTR CODE | Capacity in KVA | Monthly Consumption | No. of Consumers | Sum of Billing Units | Diff. in Units | %Loss |
| 1 | Dungripada-3 | QAADBSW | BS | 16 | 1884 | 16 | 1657 | 227 | 12% |
| 2 | Kundamal | QAADADW | AD | 63 | 7784 | 17 | 6750 | 1034 | 13% |
| 3 | Old Jhankarpali Village | QAADAVW | AV | 63 | 9005 | 49 | 7250 | 1755 | 19% |
| 4 | Potapali | QAADAZW | AZ | 100 | 7947 | 58 | 6336 | 1611 | 20% |
| 5 | Tetelpada | QAADBXW | BX | 16 | 3214 | 9 | 2549 | 665 | 21% |
| 6 | Sahajbahal-1 | QAADCEW | CE | 16 | 880 | 7 | 693 | 187 | 21% |
| 7 | Jharapali | QAADBVW | BV | 63 | 11690 | 49 | 9108 | 2582 | 22% |
| 8 | Tihikipali Village | QAADCHW | CH | 63 | 9580 | 63 | 7516 | 2064 | 22% |
| 9 | Chourpur Harijanpada | QAADBNW | BN | 16 | 3910 | 20 | 3055 | 855 | 22% |
| 10 | Chourpur | QAADBGW | BG | 100 | 16973 | 84 | 13238 | 3735 | 22% |
| 11 | Senapali Village | QAADCDW | CD | 100 | 27459 | 130 | 21018 | 6441 | 23% |
| 12 | Mundoghat-1 | QAADBBW | BB | 25 | 6715 | 7 | 5163 | 1552 | 23% |
| 13 | Mundoghat-2 | QAADBCW | BC | 63 | 8760 | 61 | 6782 | 1978 | 23% |
| 14 | Dairy Firm | QAADABW | AB | 100 | 30159 | 60 | 23210 | 6949 | 23% |
| 15 | JD Office | QAADAAW | AA | 100 | 5311 | 45 | 31513 | 10094 | 24% |
|  |  |  |  |  | 36296 |  |  |  |  |
| 16 | Kundamal | QAADACW | AC | 10 | 3940 | 23 | 2990 | 950 | 24% |
| 17 | Chourpur-1 | QAADBKW | BK | 100 | 32992 | 91 | 25144 | 7848 | 24% |
| 18 | Dungripada-1 | QAADBQW | BQ | 16 | 2477 | 17 | 1855 | 622 | 25% |
| 19 | Barampura Village | QAADCAW | CA | 100 | 24218 | 106 | 18236 | 5982 | 25% |
| 20 | Raghunathpali Village | QAADATW | AT | 63 | 7822 | 27 | 5770 | 2052 | 26% |
| 21 | Papdera Khadiapada | QAADAFW | AF | 25 | 1235 | 13 | 886 | 349 | 28% |
| 22 | Pardeshipada | QAADAXW | AX | 100 | 19517 | 29 | 14015 | 5502 | 28% |
| 23 | Barahkani | QAADBDW | BD | 63 | 11335 | 35 | 8168 | 3167 | 28% |
| 24 | Bagbira | QAADCKW | CK | 63 | 5920 | 28 | 4205 | 1715 | 29% |
| 25 | Badsinghari Village | QAADAOW | AO | 100 | 18397 | 51 | 13005 | 5392 | 29% |
| 26 | Buildingpada | QAADALW | AL | 10 | 445 | 5 | 311 | 134 | 30% |
| 27 | Barahkani | QAADBEW | BE | 10 | 860 | 9 | 596 | 264 | 31% |
| 28 | Mistripada-2 | QAADBZW | BZ | 16 | 1240 | 6 | 827 | 413 | 33% |
| 29 | Dungripada-2 | QAADBRW | BR | 16 | 1843 | 12 | 1239 | 604 | 33% |
| 30 | Papdera Colony | QAADAGW | AG | 25 | 2674 | 16 | 1790 | 884 | 33% |
| 31 | New Jhankarpali | QAADBFW | BF | 63 | 6711 | 46 | 4423 | 2288 | 34% |
| 32 | Indira Colony | QAADAQW | AQ | 16 | 216 | 7 | 138 | 78 | 36% |
| 33 | Jampali | QAADBOW | BO | 63 | 6600 | 9 | 4100 | 2500 | 38% |

The division wise status of DTR Metering & Auditing status is given below:

| DIVISION | No. of DTRs Metered | No. of DTRs under Audit |
| --- | --- | --- |
| ROURKELA | 138 | 27 |
| ROURKELA SADAR | 174 | 40 |
| RAJGANGPUR | 688 | 36 |
| SUNDERGARH | 236 | 42 |
| ROURKELA TOTAL | 1236 | 145 |
| SAMBALPUR | 415 | 176 |
| SAMBALPUR EAST | 276 | 9 |
| JHARSUGUDA | 279 | 28 |
| BRAJRAJNAGAR | 130 | 2 |
| DEOGARH | 775 | 19 |
| SAMBALPUR TOTAL | 1875 | 234 |
| BARAGRH EAST | 154 | 17 |
| BARGARH WEST | 148 | 11 |
| BARAGRH TOTAL | 302 | 28 |
| BOLANGIR | 173 | 34 |
| SONEPUR | 145 | 10 |
| TITLAGARH | 180 | 61 |
| BOLANGIR TOTAL | 498 | 105 |
| KALAHANDI EAST | 1245 | 44 |
| KALAHANDI WEST | 723 | 67 |
| NUAPADA | 124 | 16 |
| KALAHANDI TOTAL | 2092 | 127 |
| WESCO TOTAL | 6003 | 639 |

VIGILANCE ACTIVITIES

WESCO Utility had engaged 17 number of external vigilance squads under all the 17 divisions to detect the pilferage of electricity .The vigilance squads are engaged through 02 agencies i.e. M/s Aman Associate services and M/s Unix Services.

M/s Aman Associate provided 13 no of squads and M/s Unix Services provided 04 no of squads.

Each squad contains 06 persons consisting of 02 Degree/Diploma Engineers, 02 ITI Personnel’s & 02 security guards.

The progress of Vigilance squad from April’20 to October’20 is given below:

| DIVISION | No of Squads engaged from April’20 to July’20 | No of Squads engaged from 1st Agu’20 onwards |  | No of Theft Cases registered | Penalty Amount Accessed in Lacs | Penalty Amount Realized in Lacs |
| --- | --- | --- | --- | --- | --- | --- |
| RED, Rourkela | 2 | 1 |  | 217 | 14.52 | 13.62 |
| RSED, ROURKELA | 2 | 1 |  | 188 | 19.83 | 8.38 |
| RED, Rajgangpur | 1 | 1 |  | 210 | 28.35 | 12.22 |
| SED,Sundargarh | 1 | 1 |  | 457 | 97.67 | 19.70 |
| SED, Sambalpur | 2 | 1 |  | 192 | 49.08 | 17.12 |
| SEED, Sambalpur | 2 | 1 |  | 121 | 22.76 | 11.76 |
| JED ,Jharsuguda | 2 | 1 |  | 339 | 64.83 | 31.79 |
| BNED Brajrajnagar | 1 | 1 |  | 256 | 43.39 | 11.78 |
| Deogarh | 1 | 1 |  | 358 | 26.49 | 2.05 |
| BED, Bargarh | 2 | 1 |  | 261 | 70.56 | 21.63 |
| BWED,BARGARH | 1 | 1 |  | 153 | 23.62 | 12.41 |
| BED, Bolangir | 2 | 1 |  | 195 | 28.89 | 15.68 |
| Sonepur | 1 | 1 |  | 192 | 50.84 | 8.98 |
| T.E.D, Titlagarh | 1 | 1 |  | 185 | 14.13 | 4.88 |
| KEED,Kalahandi | 2 | 1 |  | 285 | 25.71 | 11.93 |
| KEED,Kalahandi | 1 | 1 |  | 206 | 16.89 | 9.30 |
| Nuapada | 1 | 1 |  | 263 | 33.61 | 13.62 |
| WESCO TOTAL | 25 | 17 |  | 4078 | 631.17 | 226.85 |

PROGRESS OF INSTALLATION OF AMR

In order to take Real Time Meter reading of 3-Phase HT/EHT & LT Consumers, AMR Modems had been installed in WESCO Utility from 2008 onwards and we have almost completed the Modem installation in case HT Consumers and as per the direction of OERC we are in the process of completion of Modem installation of consumers above 10 KW.In HT Consumers 93% Modems installed and in case 10 to 100 KW consumers 89 % Modems installed (excluding OLIC Consumers). Some HT & EHT consumer Meters are present inside OPTCL Grid where Modems are not installed and in some cases due to compatibility issue modem could not installed.

| DIVISION WISE AMR MODEM INSTALLATION STATUS AS ON SEPT'2020 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIVISION NAME | TOTAL NUMBER OF CONSUMERS |  |  |  | AMR INSTALLED TILL SEPT'2020 |  |  |  |
|  | EHT | HT | LT(3-PH) | TOTAL CONSUMER | EHT | HT | LT(3-PH) | TOTAL AMR INSTALLED |
| RED,ROURKELA | 2 | 40 | 820 | 859 | 1 | 37 | 207 | 246 |
| RSED,ROURKELASADAR | 1 | 84 | 1,252 | 1,332 | 0 | 74 | 313 | 388 |
| RED,RAJGANGPUR | 6 | 167 | 1,409 | 1,579 | 3 | 163 | 854 | 1022 |
| SED,SUNDERGARH | 1 | 24 | 643 | 665 | 0 | 21 | 199 | 220 |
| ROURKELA CIRCLE | 10 | 315 | 4,124 | 4,435 | 4 | 295 | 1573 | 1876 |
| SED,SAMBALPUR | 1 | 83 | 1,057 | 1,130 | 1 | 71 | 1752 | 1824 |
| SEED,SAMBALPUR | 6 | 84 | 890 | 980 | 1 | 81 | 1241 | 1323 |
| JED,JHARSUGUDA | 7 | 61 | 994 | 1,058 | 1 | 57 | 542 | 599 |
| BNED,BRAJRAJNAGAR | 1 | 21 | 318 | 342 | 0 | 15 | 145 | 160 |
| DED,DEOGARH | 0 | 10 | 395 | 403 | 0 | 7 | 124 | 131 |
| SAMBALPUR CIRCLE | 15 | 259 | 3,654 | 3,913 | 3 | 231 | 3804 | 4037 |
| BED,BARGARH | 1 | 115 | 970 | 1,084 | 1 | 113 | 890 | 1004 |
| BWED,BARGARH | 0 | 39 | 634 | 673 | 0 | 38 | 421 | 459 |
| BARGARH CIRCLE | 1 | 154 | 1,604 | 1,757 | 1 | 151 | 1311 | 1463 |
| BED,BOLANGIR | 1 | 50 | 865 | 917 | 0 | 48 | 790 | 838 |
| SED,SONEPUR | 1 | 51 | 520 | 572 | 0 | 46 | 495 | 541 |
| TED,TITLAGARH | 4 | 47 | 957 | 1,006 | 1 | 43 | 822 | 866 |
| BOLANGIR CIRCLE | 6 | 148 | 2,342 | 2,495 | 1 | 137 | 2107 | 2245 |
| KEED,KALAHANDI | 2 | 50 | 768 | 820 | 0 | 50 | 714 | 764 |
| KWED,KALAHANDI | 1 | 23 | 480 | 503 | 0 | 21 | 401 | 422 |
| NED,NUAPADA | 0 | 14 | 537 | 550 | 0 | 13 | 478 | 491 |
| KALAHANDI CIRCLE | 3 | 87 | 1,785 | 1,873 | 0 | 84 | 1593 | 1677 |
| Grand Total | 35 | 963 | 13,509 | 14,473 | 9 | 898 | 10388 | 11298 |
| NB: Out of 13509 nos of LT Consumers (>= 10KW <=99KW), 1890 nos are LI,OLIC Consumers. Remaining 11619 nos of consumers are SI,MI,CO,MCO,MDO etc. category of consumers |  |  |  |  |  |  |  |  |

PAT SCHEME

The Perform Achieve Trade (PAT) is an innovative, market-based trading scheme announced by the Indian Government in 2008 under its National Mission on Enhanced Energy Efficiency (NMEEE) in National Action Plan on Climate Change (NAPCC). It aims to improve energy efficiency in industries by trading in energy efficiency certificates in energy-intensive sectors. The 2010 amendment to the Energy Conservation Act (ECA) provides a legal mandate to PAT.

Participation in the scheme is mandatory for Designated Consumers (DCS) under the ECA. It is being administered by the BEE that sets mandatory, specific targets for energy consumption for larger, energy-intensive facilities.

The PAT Scheme is being implemented in three phases- the first phase runs from 2012-2015 covering 478 facilities from eight energy-intensive sectors, namely aluminum, cement, chor-alkali, fertilizer, iron and steel, pulp and paper, textiles and thermal power plants. This accounts for roughly 60% of India’s total primary energy consumption. It targets energy consumption reductions of 6.6 million tons of oil equivalent in the 478 covered facilities.

The approach is as follows:

- Specification of specific energy consumption (SEC) norm for each designated consumer in the baseline year and in the target year.

- Verification of the SEC of each designated consumer in the baseline year and in the target year by an accredited verification agency.

- Issuance of Energy Savings Certificates (ESCerts) to those designated consumers who exceed their target SEC reduction.

- Trading of ESCerts with designated consumers who are unable to meet their target SEC reduction after three years.

- Checking of compliance, and reconciliation of ESCerts at the end of the 3-year period. In case of non-compliance, a financial penalty is due.

The period of PAT Cycle-I is from (2012-13 to 2014-15)

PAT Cycle –II (2016-17 to 2018-19):

PAT scheme was expanded to new sectors and new DCs from the existing sectors. For PAT Cycle –II three new sectors viz. Railways, Refineries and Electricity Distribution Companies (DISCOMs) were included. PAT Cycle-II has been notified on 31st March, 2016 and aims to achieve an overall energy consumption reduction of 8.869 MTOE. Under PAT Cycle-II, energy reduction targets have been assigned and notified to 621 DCs (448 existing, 89 additional DCs from existing sectors and 84 DCs from new sectors viz. Railways, Electricity DISCOMs and Refineries) in 11 sectors (eight existing sectors and three new sectors).

PAT Cycle-II activity in WESCO Utility

As per OERC Tariff Order 2018-19, Hon’ble Commission has felt the necessity of energy audit/PAT-II and accordingly has allowed Rs.4 Cr, Rs. 10 Cr, Rs. 5 Cr and Rs. 4 crore respectively to CESU, NESCO, WESCO and SOUTHCO Utilities respectively in this Tariff order to carry out energy audit and consumer indexing which includes energy audit by a third party accredited agency.

Under PAT cycle-II, BEE has given the target for WESCO to reduce the T&D loss to 23.8% within the FY 2018-19 and if we achieve the target then ES Certificate will be given to us and if we failed to submit the MEA within stipulated time period, as per Energy Conservation Act penalty may be imposed to us.

The scope of work for detailed energy audit shall be as per the following:

- Study the distribution network and complete power flow in the system network of WESCO Utility.

- Analysis and verification of both historic and baseline data regarding category-wise number of

Consumers and their energy consumption.

- Study of monthly energy bills and the energy consumption pattern.

- Verification of energy purchased and energy billed, billing efficiency, collection efficiency,   T&D loss and AT&C loss.

- Analyze the energy use.

- Study and analysis of the loss level.

- Verification of data source and the calculation methodology adopted by the utility.

- Conduct sample survey.

- Study the loss reduction measures undertaken by WESCO Utility.

- Study the Demand Side Management measures undertaken by WESCO Utility.

- Identify and prioritize the areas of concern.

- Identify areas that need immediate attention.

- Identify areas that need more detailed study/measurement.

- Identification and consolidation of energy conservation measure.

- Analyze technical feasibility, economic viability and prioritization of the energy conservation options for implementation as low, medium and long term measures, evaluating the existing Energy Management policy, Energy Management systems.

- Providing recommendation to reduce AT & C Losses, furnishing details of energy saving measures, investment to be made and cost benefit analysis of each recommended energy savings measures.

- Identification of cost effective energy saving opportunities in short, medium & long term.

- Development of an action plan for time bound implementation activities.

- Based on the above study the draft detailed energy audit report shall be provided for review of WESCO Utility. After receipt of necessary observation, the draft report shall be modified and final report shall be submitted to WESCO Utility.

- The Detailed Energy Audit and report preparation shall be carried out in accordance with provision of “The Bureau of Energy Efficiency (Manner and Intervals of Time for conduct of Energy Audit) Regulations, 2010” and its amendment from time to time.

- Any other statutory requirement as per BEE guides line to be taken up to complete the Energy audit activities.

Accordingly the following activities were carried out:

1. The Mandatory Energy Audit (MEA) was conducted by M/s Energy Consultancy Services, Bhubaneswar and final report was submitted to BEE & SDA on 28.03.2019.

2. The Measurement & Verification audit was conducted by M/s. Federation of Indian Chambers of Commerce and Industry (FICCI) and the final report was submitted to BEE & SDA on 25.09.2019.

3. The T&D loss target for WESCO Utility under PAT Cycle-II as on FY 2018-19 was 23.8% which was successfully achieved by us i.e for the FY 2018-19, the T&D Loss of WESCO Utility was 21.14%.

4. After verification of MEA audit through M&V audit is was found that total 1876.32 TOE (Tonne of Oil equivalent) unit of energy being saved by reduction of T&D Loss to 21.14%(FY 2018-19) from 35.5% (FY 2014-15-baseline year).Accordingly 16136 no of Energy Saving Certificates are yet to be provided by BEE to WESCO Utility.

4. We have already registered on PAT Net portal and uploaded form -2 and other relevant documents as required by Bureau of Energy Efficiency.

5. After completion of PAT-II from 2016-2019,now for second phase PAT audit i.e PAT-VI,the FY 2019-20 was considered as base line year and as per requirement of BEE we have already submitted the base line data as per required format to BEE and we are in the process of conducting the baseline audit.

URJA MITRA

Urja Mitra is an initiative of Ministry of Power, Govt. of India which provides outage Management and notification platform for dissipating the power outage information to power distribution consumers under Utility through SMS/email.

Under the guidance of Ministry of Power, Govt of India, REC Transmission Projects Company Limited (RECTPCL), a subsidiary of REC Ltd. has developed Urja Mitra Web Portal (www.urjamitra.com) & mobile application.

The key features of the scheme are:

- Dissemination of Power Outage information with respect to Date/Time of the outage to consumers through vernacular SMS/Email/Push notifications on their mobile phones.

- Real time Power outage information of all areas of the country on Urja Mitra Mobile app and Citizen Dashboard of Web Portal.

- Facilitates filed staff/AEs/JEs to broadcast Power Outage information through app.

- Power outage information display on Discom’s Web portal and call center for better Govt.-Consumer connection and effect outage management system.

- Facility to extend/restore/cancel/reschedule any power outage.

- Integration with Meter Data Acquisition Systems (MDAS) to give real time tripping information to concern field staff.

WESCO Utility had already registered approx.708936 no of consumers in Urja Mitra portal and the collections of Mobile numbers of remaining consumers are under process.

The division wise consumer Mobile number registered is given below:

| SL NO | NAME OF DIVISION | TOTAL MOBILE NO UPLOADED |
| --- | --- | --- |
| 1 | SAMBALPUR ( 411 ) | 44988 |
| 2 | JHARSUGUDA ( 413 ) | 54708 |
| 3 | DEOGARH ( 414 ) | 50806 |
| 4 | SAMBALPUR EAST ( 416 ) | 42385 |
| 5 | BRAJRAJ NAGAR ( 417 ) | 22924 |
| 6 | BARGARH ( 512 ) | 65730 |
| 7 | BARGARH WEST ( 515 ) | 59569 |
| 8 | ROURKELA ( 811 ) | 54030 |
| 9 | SUNDERGARH ( 812 ) | 65535 |
| 10 | RAJGANGPUR ( 813 ) | 65535 |
| 11 | ROURKELA SADAR ( 814 ) | 56650 |
| 12 | KALAHANDI EAST ( 903 ) | 27147 |
| 13 | KALAHANDI WEST ( 904 ) | 34609 |
| 14 | NUAPADA ( 906 ) | 18110 |
| 15 | BOLANGIR ( 911 ) | 65535 |
| 16 | TITILAGARH ( 912 ) | 47495 |
| 17 | SONEPUR ( 915 ) | 29481 |
| WESCO TOTAL |  | 816742 |

Standard of Performance Audit (SOP Audit)

- As per OERC regulation 2004, all the Distribution Licensees are furnishing the level of Performance achieved by them to the Hon’ble OERC commission in periodic manner. The commission is making publication of such information furnished by the Distribution Licensees under section59 (2) of the Electricity Act’2003.

- As per the notification no. OERC/Engg.-14/2005 (Vol.XIII)/1113 on dated 13/08/2018, OERC has decided that 3rd Party auditing of such information shall be conducted through independent firms/agencies.

- As per the direction of OERC,M/s WESCO Utility had conducted the SOP Audit of 04 Divisions i.e. Jharsuguda,Sambalpur,Bolangir & Rourkela for the FY 2017-18 through an accredited audit firm i.e. M/S Power Research & Development Consultants Pvt Ltd,Bhubaneswar.

- Similarly for the FY 2018-19,Work Order was issued to M/s Ashoka Kumar Nanda,OERC Empanelled 3rd party Energy Auditor for 02 divisions i.e Rajgangpur & Kalahandi East.

- The Scope of work includes the following:

- Record verification:100% of (i) Restoration of Power Supply, (ii)  Normal Fuse off, (iii) line breakdown, (iv) Distribution transformer failures and (v) period of schedule outage, (vi) Quality of power supply i.e. Voltage variation, Harmonics and complaint about meters (v) Application for New Connections/ additional load,(vi) Transfer of ownership and conversion of services (vii) Complaints about consumer bills.

The auditor shall also verify the monthly reports as well as annual report.

- Field Verification: 2% of above items

- Verification of Calculation of Overall Standard of Performance with SAIDI/SAIFI & MAIFI, sample checking / verification are to be done for the allotted Divisions.

- Record verification : 100% work (calculation) on Percentage of normal Fuse off, Line breakdown, Distribution Transformer failure, Period of Scheduled Outages, Reliability Indices i.e. (a) SAIFI (b) SAIDI (C) MAIFI and Electrical Accidents. The auditor shall also verify the quarterly and annual reports

- Feeder Interruption Report: Verification /audit of 33KV/11KV interruption report for the divisions.

Record verification: 100% of interruption report

Field verification: 2% of above items

- Due to pandemic situation of Covid-19, the SOP audit for FY 2018-19 delayed considerably and finally the auditor visited both the divisions on November’20 for physical verification and final report yet to be submitted.

- Similarly we are in the process of conducting the SOP audit for the FY 2019-20.

IPDS/DDUGJY PHASE-I METERING SCHEME

  - The “Integrated Power Development Scheme” (IPDS) & Deendayal Upadhyaya Gram Jyoti Yojana (DDUGJY) was launched by Ministry of Power, Government of India with the objectives of: 1. strengthening of sub-transmission and distribution network in the urban & Rural areas; 2. Metering of distribution transformers /feeders / consumers in the urban & Rural areas.

  - Accordingly under IPDS/DDUGJY Scheme it was being sanctioned to replace 660000 numbers of 1-Ph Meter defective Meters under WESCO Utility in First Phase and in 2nd Phase additional 25000 numbers of Meter was sanctioned and the work order was given to M/s Linkwell Telesystems by PMU Cell, OPTCL and the target date for completion of work is December’2020.

  - Similarly for 3-Ph Meter replacement, DTR & Boundary Meter installation & AMR Modem installation work order was given to M/s GENUS Infrastructure and the target date for completion of work is also December’2020.

  - Later on Out of 685000 Meters, 100000 Meter was handed over to WESCO Utility by M/s Linkwell Telesystems for replacement against without Meter cases and 52350 numbers of Meters was handed over to different agencies for installation of Meters during SAUBHAGYA work.

  - The division wise progress of Meter installation by M/s Linkwell Telesystems as on November’2020 is as follows:

| 1-PH DEFECTIVE METER INSTALLATION PROGRESS OF M/S LINKWELL TELESYSTEMS IN WESCO UTILITY AS ON NOVEMBER'2020 |  |  |  |
| --- | --- | --- | --- |
| SL.NO | DIVISION | SCOPE OF WORK | METER INSTALLED |
| 1 | ROURKELA(RED) | 532650 | 11734 |
| 2 | ROURKELA SADAR(RSED) |  | 18402 |
| 3 | RAJGANGPUR(RGP) |  | 21101 |
| 4 | SUNDERGARH (SNG) |  | 21697 |
| 5 | SAMBALPUR |  | 6162 |
| 6 | SAMBALPUR EAST |  | 26210 |
| 7 | DEOGARH |  | 19937 |
| 8 | JHARSUGUDA(JED) |  | 28807 |
| 9 | BRAJARAJNAGAR(BNED) |  | 10437 |
| 10 | BARGARH |  | 30162 |
| 11 | BARGARH WEST |  | 49791 |
| 12 | BOLANGIR |  | 34882 |
| 13 | SONEPUR |  | 36372 |
| 14 | TITLAGARH |  | 40337 |
| 15 | KALAHANDI WEST |  | 20179 |
| 16 | KALAHANDI EAST |  | 27126 |
| 17 | NUAPADA |  | 26649 |
|  | TOTAL | 532650 | 429985 |

| 1-PH WITHOUT METER INSTALLATION PROGRESS OF WESCO UTILITY AS ON NOVEMBER'2020 |  |  |  |
| --- | --- | --- | --- |
| SL.NO | NAME OF DIVISION | DIVISION WISE SCOPE OF WORK | METER INSTALLED |
| 1 | ROURKELA(RED) | 4928 | 3878 |
| 2 | ROURKELA SADAR(RSED) | 7711 | 6168 |
| 3 | RAJGANGPUR(RGP) | 7200 | 7200 |
| 4 | SUNDERGARH (SNG) | 7441 | 5257 |
| 5 | SAMBALPUR | 501 | 501 |
| 6 | SAMBALPUR EAST | 5175 | 4866 |
| 7 | DEOGARH | 772 | 783 |
| 8 | JHARSUGUDA(JED) | 4386 | 3371 |
| 9 | BRAJARAJNAGAR(BNED) | 2471 | 1536 |
| 10 | BARGARH | 9696 | 6277 |
| 11 | BARGARH WEST | 10000 | 10000 |
| 12 | BOLANGIR | 7000 | 4578 |
| 13 | SONEPUR | 3500 | 1866 |
| 14 | TITLAGARH | 8000 | 4508 |
| 15 | KALAHANDI WEST | 6500 | 4693 |
| 16 | KALAHANDI EAST | 12000 | 9190 |
| 17 | NUAPADA | 2719 | 2030 |
|  | TOTAL | 100000 | 76702 |

| M/S GENUS INFRASTRUCTURE PROGRESS REPORT IN WESCO UTILITY AS ON NOVEMBER'2020 |  |  |  |  |
| --- | --- | --- | --- | --- |
| NAME OF DIVISION | AMR MODEM (SCOPE = 20000) | WC METER (SCOPE = 4705) | DTR METER (SCOPE = 1216) | BOUNDARY METER (SCOPE = 160) |
| BARGARH | 815 | 511 | 0 | 0 |
| BARGARH WEST | 275 | 256 | 0 | 0 |
| BOLANGIR | 521 | 395 | 131 | 26 |
| SONEPUR | 275 | 294 | 0 | 7 |
| TITLAGARH | 498 | 474 | 0 | 23 |
| KALAHANDI EAST | 378 | 415 | 290 | 7 |
| KALAHANDI WEST | 375 | 435 | 161 | 0 |
| NUAPADA | 323 | 285 | 49 | 0 |
| RAJGANGPUR | 645 | 45 | 0 | 39 |
| ROURKELA | 210 | 110 | 0 | 21 |
| ROURKELA SADAR | 175 | 31 | 0 | 0 |
| SUNDERGARH | 23 | 195 | 151 | 0 |
| BRAJRAJNAGAR | 33 | 115 | 0 | 0 |
| DEOGARH | 58 | 75 | 0 | 31 |
| JHARSUGUDA | 295 | 324 | 165 | 6 |
| SAMBALPUR | 2178 | 384 | 211 | 0 |
| SAMBALPUR(E) | 415 | 190 | 0 | 0 |
| TOTAL | 7492 | 4534 | 1158 | 160 |
| M/S GENUS INFRASTRUCTURE PROGRESS REPORT IN WESCO UTILITY AS ON NOVEMBER'2020 |  |  |  |  |
| NAME OF DIVISION | AMR MODEM (SCOPE = 20000) | WC METER (SCOPE = 4705) | DTR METER (SCOPE = 1216) | BOUNDARY METER (SCOPE = 160) |
| BARGARH | 815 | 511 | 0 | 0 |
| BARGARH WEST | 275 | 256 | 0 | 0 |
| BOLANGIR | 521 | 395 | 131 | 26 |
| SONEPUR | 275 | 294 | 0 | 7 |
| TITLAGARH | 498 | 474 | 0 | 23 |
| KALAHANDI EAST | 378 | 415 | 290 | 7 |
| KALAHANDI WEST | 375 | 435 | 161 | 0 |
| NUAPADA | 323 | 285 | 49 | 0 |
| RAJGANGPUR | 645 | 45 | 0 | 39 |
| ROURKELA | 210 | 110 | 0 | 21 |
| ROURKELA SADAR | 175 | 31 | 0 | 0 |
| SUNDERGARH | 23 | 195 | 151 | 0 |
| BRAJRAJNAGAR | 33 | 115 | 0 | 0 |
| DEOGARH | 58 | 75 | 0 | 31 |
| JHARSUGUDA | 295 | 324 | 165 | 6 |
| SAMBALPUR | 2178 | 384 | 211 | 0 |
| SAMBALPUR(E) | 415 | 190 | 0 | 0 |
| TOTAL | 7492 | 4534 | 1158 | 160 |

In view of the above to strengthen the AMR, Energy audit and DSM activity an amount of Rs.3.55 crs during the ensuing year of FY 2021-22 has been estimated which may kindly be approved.

# IT Automation

In order to implement MBC application in the Utility the Licensee has proposed a yearly revenue expenditure of Rs 5   Crore under A&G category for the ensuing year which may kindly be approved.

# Cess as per the Building and other construction Workers (RE&CS)Act, 1996

The Building and other construction Workers (RE&CS)Act, 1996 and Building and other construction Workers Welfare Cess Act, 1996 and Rules made there under to regulate the employment and conditions of service of building and other construction workers and to provide for their safety, health and welfare measure and for other matter connected therewith or incidental thereto. In compliance with the same, the Discoms have deposited amounts on a provisional basis. Accordingly, as per the provisions of the Act, the Utility is required to deposit 1% cess on the construction carried out during the year. Accordingly the Utility proposes Rs 1.57 Crore of cess during ensuing year 2021-22.

Additional A&G Cost for FY 2021-22.

| S.No | Description | Amount (Rs Lakh) |
| --- | --- | --- |
| 1 | Automated meter reading activities | 55.40 |
| 2 | Media Campaign | 60.00 |
| 2 | Replacement & shifting of meters | 511.50 |
| 3 | Energy Audit-Recurring cost | 300.00 |
| 4 | Cess on building construction and electrical installation | 156.76 |
| 5 | Prepaid metering running expenses | 67.96 |
| 6 | IT automation for MBC activity | 500.00 |
| 7 | Spot billing additional coverage | 204.00 |
|  | Total | 1855.61 |

Additional expenses for FY 2021-22 are projected at Rs 18.56 Crore taking into consideration of the above initiatives.

# Repair & Maintenance Expenses

The Repair & Maintenance (R&M) expenses for the ensuing year FY 2021-22 has been estimated on the basis of 5.4% of Gross Fixed Assets (GFA) including the RGGVY , BGJY assets and future assets to be created under SAUBHAGYA Scheme at the beginning of the year. The opening GFA works out to be Rs 2028.35 crores, based on which the proposed R&M expenses is to the tune of Rs 109.53 crores along with R&M on RGGVY assets.

# Provision for Bad and Doubtful Debts

The Utility respectfully submits that considering the past accumulated losses and huge liabilities; it would not be feasible for the Petitioner to raise finance to bridge the revenue gap, which would arise due to non-recognition of collection efficiency in determination of tariff.

The Utility while estimating the ARR for FY 2021-22 has considered the revenue from sale of power on accrual basis in line with the Commission’s Order on ARR and Tariff Petitions for FY 2005-06 to FY 2019-20. However, as it is not feasible for Petitioner to raise finance against huge accumulated loss to bridge the gap of collection inefficiency, the Petitioner has considered the non-collectable amount based on the collection efficiency as bad and doubtful debts while estimating the ARR for FY 2021-22. Considering the proposed collection inefficiency of 4% for FY 2021-22, 2/3rd of the same as provisions for bad and doubtful debts amounting to Rs 90.62 crs has been considered as part of ARR for FY 2021-22. The Petitioner humbly requests the Hon’ble Commission to consider the same to enable the Petitioner to recover it’s entire costs after duly considering the performance levels. Further, as per direction of Hon’ble commission in previous tariff orders as well as last RST order receivable audit of outstanding amount from march-2005 to March-2015 has already been completed and report has also been submitted with Hon’ble Commission. As per their report the outstanding amount for which audit was conducted is Rs.807.24 crs out of which they have certified that Rs.541.71 crs would be non receivable due to various reason. In view of the above it is humbly submitted that an appropriate amount may please be passed on from the above in the ensuing year in addition to aforesaid amount of Rs.90.62 crs provided by the utility.

# Depreciation

Depreciation has been provided only on assets available at the beginning of the year and no depreciation has been provided on assets created during the year. The method adopted for calculating depreciation is Straight Line Method (SLM) at pre-92 rates.

The numerical details are given in OERC Form: F-19.

The depreciation for FY 2021-22 is projected at Rs.72.89 Crore.

# Interest Expenses

The Utility would like to submit that the assumptions with respect to outstanding loans and dues have been considered in line with the Commission’s previous Orders.

2.9.1.	GRIDCO Loan and BST Outstanding

The Hon’ble Commission passed an order on 20.07.2006 and 01.12.2008 in Case No.115 of 2014 which interalia provides the following;

- The Discoms shall repay the outstanding loans including interest along with the securitised BST dues as on 31.03.2005 in ten years 120 monthly equal installments starting from FY 2006-07.

- In case of default of monthly dues by the DISTCOs they shall liable to pay the Delayed Payment Surcharge (DPS) @1.25% per month.

The BST outstanding and the loan liability will carry 0% rate of Interest. At the same time the interest on the Bonds issued by GRIDCO against the power outstanding due to Gencos would be passed through in the BST.

The Hon’ble Commission included the opening BST outstanding as on 1.4.1999 and the Delayed Payment Surcharged upto the date of full payment of BST to be securitized. Therefore the Utility was additionally burden by an amount of Rs. 63.85 Crore ( Rs.5.13 Crore opening balance and Rs.58.72 crore DPS).

It was submitted that the Hon’ble Commission has already established a procedure for securitization. The said order specifies the opening balance sheet and terms and conditions for repayment of the liabilities of GRIDCO. The terms and conditions of repayment of GRIDCO Loan & BST outstanding is as under;

    - GRIDCO loan liability would be repaid in 10 equal annual installments after a moratorium of 5 years from 01.04.2006. This carries interest rate of 0%.

    - BST outstanding would be converted into Zero coupon preference shares of 20 years maturity, with a moratorium period of 7years and to be redeemed into 52 equated quarterly installments from 8th year onwards.

The Utility submits before the Hon’ble commission to allow the Utility to pay the amount of the securitized amount based on ability to pay basis considering the above proposal.

Further the Commission in its Order dated 29.03.2012 and 30.03.2012 resolved the dispute on the Power Bond and there is no outstanding payable to GRIDCO towards New Loan with regards to NTPC Power Bond.

# World Bank Loan

In line with the Commission’s previous Orders, the Utility has calculated the interest on World Bank Loan @ 13% as per the subsidiary loan & project implementation agreement with Government of Odisha, considering 30% of loan as grant and balance 70% as loan. The moratorium period and repayment period for the World Bank Loan has been considered based on the terms of the World Bank (communicated by World Bank to GoO vide its letter dated June 13, 2000). In line with these terms, the repayment period has been considered as 10 years with 20 equal semi-annual installments commencing from FY 2021-22.

For the ensuing year 2021-22, the interest liability is estimated at Rs.11.82 Crore and the repayment liability is estimated at Rs.9.10 Crore.

# Capex Loan from Govt. of Odisha

Capex project has already been closed however capitalization has not been finished due to some reconciliation activity. During the ensuing year an amount of Rs.2.32 crs towards interest has been estimated towards Govt. of Odisha Capex plan loan. As per the scheme an amount of Rs.161.96 crs was disbursed till Mar-20 and another Rs.8.39 lakhs during the current year has been estimated to be disbursed through GRIDCO. The rate of interest is considered @ 4% p.a for the ensuing year on the above loan as per claim of GRIDCO.  Out of the total loan of Rs.161.96 crs, Rs.104.13 crs are with 0% interest and balance amount carries interest @ 4% p.a.

# Interest on Security Deposit

Section 47(4) of the Electricity Act 2003 states that “The distribution Utility shall pay interest equivalent to the bank rate or more, as may be specified by the concerned State Commission, on the security referred to in sub-section (1) and refund such security on the request of the person who gave such security.”

The OERC Distribution (Conditions of Supply) Code 2019, Regulation (57) also mandates the payment of interest on consumer security deposit, the manner in which it is to be administered and penal provisions for delay in making such payments.

The Utility have calculated the interest on security deposit @ 5.4% on the closing balance of security deposit amount for FY 2020-21 based on the existing approval of Hon’ble Commission for FY 2020-21. The interest on security deposit considered in ARR for FY 2021-22 is to the tune of Rs.44.21 Crore.

# Total Interest for Financial Year FY 2021-22

The total interest expenses estimated for FY 2021-22 is given in following Table:

Summary of Interest Expenses

|  |  | Rs. In crs. |
| --- | --- | --- |
| 1 | World Bank Loan | 11.82 |
| 2 | GoO-APDRP Loan | 0.66 |
| 4 | Interest on Security Deposit | 44.21 |
| 5 | Govt. of Odisha Capex Loan | 2.32 |
| 6 | Other Short term loan, SOD interest &Finance charge | 25.19 |
| 7 | Total Interest for ARR | 84.20 |

The total interest chargeable to revenue proposed by the Utility for the year FY 2021-22 is Rs .84.20 crores.

# Capital Expenditure Programme

# SYSTEM IMPROVEMENT WORKS

During the current year & ensuing year the utility is continuing & will undertake the following system improvement works out of own accrual and some extent from deposit works. The System Improvement works includes:

- Reconfiguration of existing Distribution system:

- Reconfiguration of existing 11 KV & 33 KV network:

With increase in load demand, the system would need strengthening and augmentation to ensure improvement in voltage profile and for reduction of losses to a reasonable level.

- Replacement of existing bare LT conductor with XLPE AB Cable.

XLPE (Cross Link Poly Ethylene) Cable are being replaced & proposed to be installed in the major LT network. Due to bare in nature and easily accessible for hooking, consumers are availing powers through direct hooking mostly in rural areas, resulting a big loss to the DISCOM. In view of the same the utility is regularly carrying out such work on priority basis. It is proposed to replace the LT overhead lines with 3phase XLPE cables during the ensuing year anticipating a good load growth in rural areas due to RGGVY and SAUBHAGYA schemes.

- Up gradation of Primary and Distribution Transformers:

Under RGGVY Scheme, a good no. of single and three phase Distribution Transformers are being added in the DISCOMs network.  As actual demand has increased substantially more than the accessed one due to such electrification programme. To cope with demand, it is required to have more single and three phase transformers, and needs up gradation of existing primary sub stations to meet the demand out of RGGVY, BGJY & future SAUBHAGYA Scheme.

- Consumer Metering:

100 % metering of consumers & replacement of old electro-mechanical meters & defective meters with new electronic static meter is being continuing and also would continue during the ensuing year with priority. High precision Single phase Meters are proposed even to arrest the theft of power of those consumers who are availing power by cutting the source neutral.

- Energy Audit:

Energy accounting & auditing is a regular activity to quantify technical & commercial loss. The loss level at 33 & 11 KV- levels is more technical nature while loss at LT level is more in commercial.  Hence, energy accounting at DT level is being carried out in the current year and also would continue during ensuing year to quantify losses at different DTRs, based on which commercial loss reduction measures are being taken up.

In addition to above system improvement work the following Capital Expenditure Schemes will continue till end of ensuing year FY 2021-22;

- CAPEX Programme

- Revised Long Term Action Plan (RLTAP)  in KBK Districts

- Strengthening of Infrastructure in Elephant Corridor

- Odisha Distribution System Strengthening Project (ODSSP)

- Other deposit work and SI work

- DDUGJY 12th Plan (RGGVY 12th Plan)

- DDUGJY scheme

- System strengthening works for  SAUBHAGYA

- Megalift Points by Govt of Odisha under deposit scheme

- Smart Grid Project at Rourkela

- Office Building and other office equipments

# Capital Expenditure Programme (CAPEX)

The CAPEX scheme is now almost saturation stage, some left out works will be completed by the current year itself. As per the scheme State Govt. launched the CAPEX programme in the year 2010 for system improvement, reduction of AT&C loss and quality power supply to consumers. The scope includes renovation/modernization of existing and new 33/11KV S/S, re-conductoring of 33KV & 11KV lines, implementation of HVDS system and AB conductoring, installation of theft proof energy meters etc. Hon’ble Commission has approved DPR for the utility amounting to Rs.185.50 crs. Subsequently, it was amended to Rs.187.50 crs. Again during 19th June 2017 the monitoring committee while reviewing the project has reduced the scope to Rs.171.11 crs for the licensee due to fund constraints. The scheme is being implemented through Turnkey Contractors. Till March-2020, the utility has disbursed Rs.161.96 crs and balance of retention and pending bills would be disbursed by end of March-2021.

# Revised Long Term Action Plan (RLTAP) Works:

A special programme is implemented by the Government of Odisha with a view to improve power supply position in the backward areas of KBK Districts out of the special assistance for KBK Districts. The scope of works includes construction of new 33/11KV S/S, Up-gradation of existing 33KV & 11KV Line, construction of new 33KV & 11KV Line etc. Under this programme the work is being executed by District administration. The budget provision for Bolangir, Kalahandi, Nuapada & Sonepur District was Rs.22.50 crs, Rs.22.33 crs, Rs.20.62 crs & Rs.25.26 crs respectively totaling to Rs.90.71 crs. Under Bolangir Districts 2 locations are pending for completion amounting i.e Luthur bandh Rs.2.34 crs & Gudvella Rs.5.06 crs similarly for Sonepur districts for one locations balance amount is Rs.4.60 crs. So, during current year an amount of Rs.12.00 crs has been estimated to be expended.

# Strengthening of Infrastructures in Elephant Corridor

The State Govt. has formulated a scheme named as Strengthening of Electrical Infrastructure inside Elephant Corridor in order to avoid elephant electrocution and to provide safe movement of elephants without any hazards from the existing electrical infrastructures in and around the defined Elephant movement corridors. State Govt. is releasing the funds in shape of grants to the DISCOMs for execution of works. The scope of works includes erecting of interposing poles, use of Spikes in Poles, Cooping, Fencing AB cabling of LT lines etc. The technical specification of materials is as per CAPEX. The qualities of execution are supervised by the Dist. Administration.

There were three phases of work under this scheme has been executed by the utility earlier with total cost of Rs.36.69 crs. For the third phase of work around Rs.10.57 crs are still to complete which will be carried out during the current year.

In addition to above now in 4th phase Govt of Odisha has proposed to spend around Rs.241 crs towards strengthening of Elephant Corridor work across the different areas of the utility. Accordingly, the utility had launched tender for 84 packages, evaluation of bids are under progress. During the current year the utility expects to spend around Rs.15 crs from the 4th phase along with left out portion of 3rd phase. During the ensuing year the balance amount of Rs.226 crs expected to be utilized towards Elephant Corridor.

# Strengthening Project (ODSSP)

A three years project for construction of 550Nos. of 33/11KV Substations in different areas of the State with the project value of Rs.2600Cr has been designed.

Under ODSSP scheme, WESCO Utility has been allotted 142 Nos, of 33/11 KV substations with an estimated cost of Rs.1145.92 crs. In order to reduce the lengthy 11 KV lines and associated loss therein, the new 33/11 KV substations would be helpful. The existing 11 KV lines are therefore planned to be linked from the proposed 33/11 KV substations to the nearby 11 KV lines. District wise, 33/11 KV substations are mentioned below, presently there are 29 33/11 KV substations are already test charged/ Handed over. The Utility expects by end of FY 2020-21 almost all works would be completed.

List of 33/11kV Sub-stations under construction in  WESCO area by OPTCL in ODSSP Scheme & it’s status as on  31-10-2020

| Sl. No | District | Constituency | Proposed Substations | Phase No/ Pkg No | Status | Expected Date of Hand over |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | BOLANGIR | Loisingha | Salebhata | PH-I/ PKG-4 | Handed over |  |
| 2 | BOLANGIR | Titilagarh | Pipalpadar |  | Handed over |  |
| 3 | BOLANGIR | Patnagarh | Dhumabhta |  | Handed over |  |
| 4 | BOLANGIR | Kantabanjhi | Dabri |  | Handed over |  |
| 5 | KALAHANDI | Dharmagarh | Behera |  | Handed over |  |
| 6 | KALAHANDI | Dharmagarh | Kalampur |  | Handed over |  |
| 7 | KALAHANDI | Narla | Rupara Road |  | Handed over |  |
| 8 | KALAHANDI | Junagarh | Mahichala |  | Handed over |  |
| 9 | NUAPADA | Khariar | Bargaon |  | Handed over |  |
| 10 | BARGARH | Attabira | Tangarpali |  | Handed over |  |
| 11 | BARGARH | Bargarh | Khedapali |  | Handed over |  |
| 12 | BARGARH | Bhatli | Ghenss |  | Handed over |  |
| 13 | BARGARH | Bijepur | Laumunda (Arda) |  | Handed over |  |
| 14 | BARGARH | Padampur | Dava |  | Handed over |  |
| 15 | SONEPUR | Sonepur | Bisalpali | PH-I/ PKG-5 | Handed over |  |
| 16 | SONEPUR | Birmaharajpur | SUBLAYA |  | Handed over |  |
| 17 | DEOGARH | Deogarh | Bhakta Bad Kudar |  | Handed over |  |
| 18 | JHARSUGUDA | Brajrajnagar | Dhulunda |  | Handed over |  |
| 19 | JHARSUGUDA | Jharsuguda | Purna |  | Handed over |  |
| 20 | SAMBALPUR | Rairakhol | Jujumura |  | Handed over |  |
| 21 | SAMBALPUR | Rairakhol | Kisinda |  | Handed over |  |
| 22 | SAMBALPUR | Kuchinda | Garposh |  | Handed over |  |
| 23 | SAMBALPUR | Rengali | Lapanga |  | Handed over |  |
| 24 | SUNDARGARH | Bonai | Tuniapali |  | Handed over |  |
| 25 | SUNDARGARH | Talasara | Karamdihi |  | Handed over |  |
| 26 | SUNDARGARH | Birmitrapur | RAIBAGA |  | Handed over |  |
| 27 | SUNDARGARH | Rajgangpur | Alanda |  | Handed over |  |
| 28 | SUNDARGARH | Sundargarh | Majhapara |  | Handed over |  |
| 29 | BOLANGIR | Bolangir | Power House | PH-I/ PKG-7 | Handed over |  |
| 30 | BOLANGIR | Bolangir | Balangir Jail |  | Handed over |  |
| 31 | KALAHANDI | Bhawanipatna | College |  | Handed over |  |
| 32 | BARGARH | Bargarh | Tora |  | Handed over |  |
| 33 | JHARSUGUDA | Brajrajnagar | Brajrajnagar |  | Handed over |  |
| 34 | JHARSUGUDA | Jharsuguda | Jhadeswar Mandir(Sarbhal) |  | Handed over |  |
| 35 | SAMBALPUR | Rairakhol | Padiabahal |  | Handed over |  |
| 36 | SAMBALPUR | Sambalpur | Badabazar |  | Handed over |  |
| 37 | SUNDARGARH | Rourkela | Bandamunda |  | Handed over |  |
| 38 | SUNDARGARH | Rourkela | Gopabandhupalli |  | Handed over |  |
| 39 | SUNDARGARH | Raghunathpali | Jalda |  | Handed over |  |
| 40 | SAMBALPUR | Sambalpur | Burla University | PH-I (B ) | Charged and loaded | 31.03.2021 |
| 41 | SUNDARGARH | Rourkela | Civil Township, Rourkela |  | Charged and loaded | 31.01.2021 |
| 42 | BOLANGIR | Loisingha | Bhadra | PH-II(R )/PKG-4 | Handed Over |  |
| 43 | BOLANGIR | Titilagarh | BUDHABHAL |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 44 | BOLANGIR | Titilagarh | KARAMTALA |  | Handed over |  |
| 45 | BOLANGIR | Patnagarh | JURIA (Luhasingha) |  | Handed over |  |
| 46 | BOLANGIR | Kantabanjhi | BAGBAHAL (Belpada) |  | Handed over |  |
| 47 | BOLANGIR | Kantabanjhi | GUDIGHAT |  | Handed over |  |
| 48 | BOLANGIR | Kantabanjhi | Pandripani |  | Handed over |  |
| 49 | KALAHANDI | Dharmagarh | LADUGAON |  | Handed over |  |
| 50 | KALAHANDI | Bhawanipatna | Atanguda |  | Handed over |  |
| 51 | KALAHANDI | Narla | JURA DUBRA |  | Handed over |  |
| 52 | KALAHANDI | Narla | TULAPADA/ RAISINGPUR |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 53 | KALAHANDI | Junagarh | DASPUR |  | Handed over |  |
| 54 | NUAPADA | Khariar | LESUNPALLI (Rokal) |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 15.03.2021 |
| 55 | NUAPADA | Khariar | CHALNA |  | Handed over |  |
| 56 | SONEPUR | Sonepur | Hedkitikira (Babupali) |  | Handed over |  |
| 57 | SONEPUR | Birmaharajpur | RAXA CHOWK, BHAGALPUR |  | Handed over |  |
| 58 | BARGARH | Attabira | Gandturum (Mahulpali) |  | Handed over |  |
| 59 | BARGARH | Bhatli | KANDAPALA |  | Handed over |  |
| 60 | BARGARH | Bhatli | UDEYPALI |  | Handed over |  |
| 61 | BARGARH | Bhatli | Dasmail |  | Handed over |  |
| 62 | BARGARH | Bijepur | BALITIKRA |  | Handed over |  |
| 63 | BARGARH | Bijepur | Sarandapali |  | Handed over |  |
| 64 | BARGARH | Bijepur | KUNDAKHAI |  | Handed over |  |
| 65 | BARGARH | Padampur | LAKHAMARA |  | Handed over |  |
| 66 | DEOGARH | Deogarh | REAMAL |  | Handed over |  |
| 67 | JHARSUGUDA | Brajrajnagar | LAKHANPUR |  | Test charged, Yet to be handed over | 31.01.2021 |
| 68 | SAMBALPUR | Rairakhol | KADALIGARH |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 69 | SAMBALPUR | Rairakhol | Katarbaga |  | Handed over |  |
| 70 | SAMBALPUR | Kuchinda | FASIMAL |  | Handed over |  |
| 71 | SAMBALPUR | Kuchinda | KUSUMI |  | Handed over |  |
| 72 | SUNDARGARH | Bonai | Malda (Oraghat) / Burda |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 73 | SUNDARGARH | Talasara | BALISANKARA |  | Handed over |  |
| 74 | SUNDARGARH | Biramitapur | JAREIKELA |  | Handed over |  |
| 75 | SUNDARGARH | Rourkela | Hamirpur (Municipality) |  | Handed over |  |
| 76 | SUNDARGARH | Raghunathpali | DALPOSH |  | Handed over |  |
| 77 | SUNDARGARH | Rajgangpur | Balanda (In place of BIRKERA) |  | Handed over |  |
| 78 | SUNDARGARH | Sundargarh | BILEIMUNDA |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 25.03.2021 |
| 79 | SUNDARGARH | Sundargarh | Tumbapali |  | Handed over |  |
| 80 | BOLANGIR | Bolangir | Madiapali | PH-II (R )/ PKG-5 | Handed over |  |
| 81 | JHARSUGUDA | Brajrajnagar | Gandhi Chowk |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.01.2021 |
| 82 | JHARSUGUDA | Jharsuguda | Durlaga |  | Handed over |  |
| 83 | SAMBALPUR | Sambalpur | Kainsar |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.01.2021 |
| 84 | SAMBALPUR | Sambalpur | Remad |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 85 | SUNDARGARH | Rourkela | Kalingavihar |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.01.2021 |
| 86 | BOLANGIR | Loisingha | Bharsuja | PH-III/ PKG-4 | Handed over |  |
| 87 | BOLANGIR | Loisingha | Kasabahal |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.12.2020 |
| 88 | BOLANGIR | Patnagarh | Kanut |  | Handed over |  |
| 89 | BOLANGIR | Bolangir | Jarasingha |  | Handed over |  |
| 90 | KALAHANDI | Dharmagarh | Kasibahal |  | Handed over |  |
| 91 | KALAHANDI | Dharmagarh | Temra |  | Handed over |  |
| 92 | KALAHANDI | Bhawanipatna | Karlapara |  | Handed over |  |
| 93 | KALAHANDI | Junagarh | Chichiguda |  | Handed over |  |
| 94 | KALAHANDI | Kesinga | Nunmath |  | Handed over |  |
| 95 | NUAPADA | Khariar | Mahulpada-Timanpur |  | Handed over |  |
| 96 | NUAPADA | Khariar | Khariar (Badi) |  | Handed over |  |
| 97 | SONEPUR | Sonepur | Dubula |  | Handed over |  |
| 98 | SONEPUR | Sonepur | Deulapadar |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 99 | SONEPUR | Birmaharajpur | Ainlachhat |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 100 | SONEPUR | Birmaharajpur | Mursudi |  | Handed over |  |
| 101 | SONEPUR | Birmaharajpur | Seledi |  | Handed over |  |
| 102 | BARGARH | Attabira | Dhatukpali |  | Handed over |  |
| 103 | BARGARH | Attabira | Patrapali |  | Handed over |  |
| 104 | BARGARH | Bhatli | Raisobha |  | Handed over |  |
| 105 | BARGARH | Bhatli | Ambabhona |  | Handed over |  |
| 106 | BARGARH | Bijepur | Charmunda |  | Handed over | 31.03.2021 |
| 107 | BARGARH | Padampur | Jhitiki |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 108 | BARGARH | Padampur | Dahita |  | Handed over |  |
| 109 | BARGARH | Padampur | Mandosil |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 110 | BARGARH | Padampur | Dungripali |  | Handed over |  |
| 111 | DEOGARH | Deogarh | Parposi |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 112 | JHARSUGUDA | Brajrajnagar | Pandri |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 113 | JHARSUGUDA | Jharsuguda | Arda |  | Handed over |  |
| 114 | JHARSUGUDA | Jharsuguda | Jhariabahal |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 115 | JHARSUGUDA | Jharsuguda | Sodamal |  | Handed over |  |
| 116 | JHARSUGUDA | Jharsuguda | Kirmira |  | Handed over |  |
| 117 | SAMBALPUR | Rairakhol | Batagaon |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 118 | SAMBALPUR | Rairakhol | Hero |  | Handed over |  |
| 119 | SAMBALPUR | Kuchinda | Jhariabahal (In place of Ardabhal) |  | Handed over |  |
| 120 | SAMBALPUR | Kuchinda | Bhojpur |  | Handed over |  |
| 121 | SAMBALPUR | Kuchinda | Guchura |  | Handed over |  |
| 122 | SAMBALPUR | Kuchinda | Khandakata |  | Handed over |  |
| 123 | SAMBALPUR | Kuchinda | Lahasa |  | Handed over |  |
| 124 | SAMBALPUR | Kuchinda | Rangiatikra |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 31.03.2021 |
| 125 | SAMBALPUR | Rengali | Parmanpur |  | Handed over |  |
| 126 | SAMBALPUR | Rengali | Gunderpur |  | Handed over |  |
| 127 | SUNDARGARH | Bonai | Barsuan |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 15.03.2021 |
| 128 | SUNDARGARH | Bonai | K.Balang |  | Test Charged | 31.03.2021 |
| 129 | SUNDARGARH | Bonai | Singhapada (in place of Jarda) |  | Handed over |  |
| 130 | SUNDARGARH | Talasara | Bondega |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 15.03.2021 |
| 131 | SUNDARGARH | Talasara | Jarangloi |  | Handed over |  |
| 132 | SUNDARGARH | Talasara | Sahajbahal |  | Handed over |  |
| 133 | SUNDARGARH | Rajgangpur | Biringtoli |  | Handed over |  |
| 134 | SUNDARGARH | Rajgangpur | Jharbeda (Jampali) |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 15.03.2021 |
| 135 | SUNDARGARH | Sundargarh | Darlipali |  | Handed over |  |
| 136 | SUNDARGARH | Sundargarh | Hemgir |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 15.03.2021 |
| 137 | SUNDARGARH | Sundargarh | Mangaspur |  | Test Charged | 31.03.2021 |
| 138 | SUNDARGARH | Sundargarh | Kundukela |  | Boundary wall & CRB work completed. AIS Panel received, Power Trasformer received, Control and Power cable laying completed, Switchyard work in progress, 33kV line in progress, 11kV line in progress. | 25.03.2021 |
| 139 | JHARSUGUDA | Jharsuguda | Buromal | PH-III/ PKG-5 | -----------do------------ | 15.04.2021 |
| 140 | SAMBALPUR | Rengali | Chipilima |  | -----------do------------ | 31.03.2021 |
| 141 | SAMBALPUR | Rengali | Maneswar |  | -----------do------------ | 31.03.2021 |
| 142 | BOLANGIR | Patnagarh | Jhulenbar |  | -----------do------------ | 30.03.2021 |

Financial Progress

| Year | Total Project Cost | FY 14-15 | FY 15-16 | FY 16-17 | FY 17-18 | FY 18-19 | FY 19-20 | FY 20-21(Till Oct-20) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Amount Spent (Rs.Crs) | 1145.92 | 36.13 | 216.39 | 313.02 | 291.93 | 56.32 | 206.74 | 14.84 |

The Utility expects an expenditure of Rs.25.79  crs during current year only.

# DDUGJY scheme 12th plan (RGGVY Phase – II).

With an objective of saturating rural electrification programme and to provide access electricity to all households, Ministry of Power, Govt. of India extended the RGGVY scheme in the 12th five year plan period as Phase-II RGGVY. However, Govt of India has merged the RGGVY-II Scheme under the Dindayal Upadhyaya. All the left out un-electrified & partially electrified villages, habitations of population 100 & above and the villages of RGGVY 11th Plan which was not completed by 31st Dec. 2014 is being covered under Phase-II programme.

Infrastructure scope remains as in the Phase-I programme i.e. creation of Rural Electricity Distribution Backbone (REDB) covering new/augmentation of 33/11 KV S/s & new/augmentation of associated 33 KV line etc. and Village Electrification Infrastructure (VEI) covering 11 KV feeder lines, spur lines, distribution S/s, LT extension & BPL connection etc.

Projects have already been sanctioned by REC & MOP and any further revision of scope/quantity/cost would be borne by the State Govt. The Central PSUs viz. NTPC & PGCIL have been entrusted with the implementation of schemes.

The total initial approved cost of this scheme was Rs. 1083 crs, which was subsequently revised to 1384.77 crs for the 9 revenue districts covered under WESCO. During the current year amount scheduled to be expended around Rs.301.66 crs as almost all works has been completed.

| Original Sanctioned Cost (In Rs. Cr.) | Revised Sanctioned cost in Rs. crs |  | Expenditure made till Sep-19 (Rs.crs) | Balance to be spend during current year (Rs. Crs) | *Agency |
| --- | --- | --- | --- | --- | --- |
| 1083 | 1384.77 | 1083.11 |  | 301.66 | NTPC & PGCIL |

*Sundargarh & Sonepur Districts are awarded to M/S PGCIL and other 7 districts of the utility have been assigned to M/S NTPC Ltd.

The scheme is being operated under the supervision of OPTCL, having Rural Electrification Corporation as Nodal agency. From Distribution Utility point of view, the significant advantage of this scheme is ‘Creation of Asset’ by sharing very nominal funding. The scheme is almost closed and during current year an amount of Rs.14.96 crs would be spend.

# NEW Dindayal Upadhyaya

Apart from the above DDUGJY 12th plan which was known as RGGVY-II, a separate DDUGJY scheme has been launched where in emphasis has been given to strengthen the distribution system more particularly in Rural areas where both Agricultural and Non agricultural load is available in common feeder. The aim of the scheme for separation of such load through separate feeder for effective demand supply management. The scheme is for following scope:-

i)Separation of agriculture and non-agriculture feeders facilitating judicious rostering of supply to agricultural & non- agricultural consumers in the rural areas;

(ii) Strengthening and augmentation of sub-transmission & distribution (ST&D) infrastructure in rural areas, including metering at distribution transformers, feeders and consumers end;

(iii) Rural electrification, as per CCEA approval dated 01.08.2013 for completion of the targets laid down under RGGVY for 12th and 13th Plans by subsuming RGGVY in DDUGJY and carrying forward the approved outlay for RGGVY to DDUGJY;

Financial Layout of the scheme is as under

| Sanctioned Cost with metering (In Rs. Cr.) | LoA Cost without metering (In Rs. Cr.) | LoA Cost metering (In Rs. Cr.) | Agency |
| --- | --- | --- | --- |
| 434.76 | 324.28 | 99.84 | DDUGJY (New)-M/s L&T Ltd., Chennai |
|  |  |  | 1Ph metering-M/s Linkwell , Hyderabad. |
|  |  |  | 3Ph metering- M/s Genus Power ,Jaipur |

The electrification has already started & the physical progress is given under.

| SL NO | ACTIVITY | UOM | SCOPE | Completed |
| --- | --- | --- | --- | --- |
| 1 | UE VILLAGE | NOS. | 93 | 93 |
| 2 | PE VILLAGE | NOS. | 45 | 45 |
| 3 | SAGY VILLAGE | NOS. | 23 | 23 |
| 4 | FEEDER SEPARATION PROGRAMME (FSP) | NOS. | 6 | 1 |
| 5 | 33KV NEW LINE | CKM | 136.36 | 102.31 |
| 6 | 33KV AUG LINE | CKM | 393.77 | 278.82 |
| 7 | 11KV NEW LINE | CKM | 562.16 | 532.276 |
| 8 | 11KV AUG LINE | CKM | 600.255 | 328.52 |
| 9 | LT NEW LINE | KM | 251 | 230.9 |
| 10 | DTRs | NOS | 527 | 403 |
| 11 | 33/11KV NEW PSS | NOS | 7 | 4 |
| 12 | PTR UPGRADATION | NOS | 43 | 25 |

The utility has estimated an amount of Rs.71.90 crs for 2020-21 and Rs.42.40/- crs for the ensuing year.

(Rs. in crore)

| Total Scheme Estimation as per LAO- Rs.424.12 crs | Expenses till FY 19-20 | 2020-21 | 2021-22 |
| --- | --- | --- | --- |
|  | 309.82 | 71.90 | 42.40 |

# Integrated Power Development scheme (IPDS) –

With an objective to ensure quality power supply in the urban areas, Govt. of India has introduced a scheme in the year 2014-15 namely Integrated Power Development scheme (IPDS) which is going on in the area of the Distribution Utility. The scope of this scheme includes strengthening of sub-transmission & distribution system, provisioning of solar panels, metering of distribution transformers/ feeders/ consumers in the urban areas and IT enablement of distribution sector. The total approved estimated cost of this scheme was Rs. 224.45 crs. which was scheduled to be expended year wise in phased manner. The features of the scheme component wise were as follows:

a) Strengthening of sub-transmission and distribution network

- Creation of new sub-stations including Gas Insulated Sub-station along with associated 66 KV / 33 KV/ 22 KV/ 11 KV lines

- Augmentation of existing sub-stations capacity by installation of higher capacity/additional power transformer along with associated equipment/ switchgear etc.

- Erection of HT lines for reorientation/ re-alignment including augmentation of existing lines .

- Installation of new distribution transformers and augmentation of existing distribution transformers along with associated LT lines.

- Installation of capacitors where ever required

- Renovation and Modernization of existing sub-stations and lines

- Laying of under-ground cables in densely populated areas and areas of tourism and religious importance

- High voltage distribution system (HVDS)

- Aerial Bunched Cable for theft prone areas

- IT Applications (a) ERP (b) Additional hardware in towns, GPS based GIS survey of assets, and integration with DC/DR and Customer Care Center, Incremental up-gradation at DC/DR excluding  revenue expenditure

b) Metering

The installation of meters at sub-stations, feeders, distribution transformers and consumers is important to ensure seamless accounting and auditing of energy at all levels in the distribution system. Accordingly, metering of all feeders and distribution transformers including metering at all input points to the utility shall be ensured under this scheme.

The metering component under the scheme shall cover the following:

- Installation of suitable static meters for feeders, distribution transformers and all categories of consumers for un-metered connections, replacement of faulty meters & electro-mechanical meters. (ii) Installation of Pillar Box for relocation of meters outside the premises of consumers including associated cables, service cables and accessories

- Installation of prepaid / smart meters in Govt. establishment

- AMI, Smart meters in the towns where SCADA being established under R-APDRP.

- Boundary meters for ring fencing of Non-RAPDRP Towns with population more than 5000  (vi) AMR for feeders, Distribution transformer and high load consumers

c) “IT enablement of distribution sector and distribution network strengthening under R-APDRP” component as per ongoing RAPDRP scheme in accordance with CCEA approval dated 21.06.2013 for continuation of scheme in 12th and 13th Plan and applicable guidelines

d) Completion of optical fiber missing links under the establishment of National Optical Fiber Network (NOFN)

e) Establishment of National Power Data Hub at CEA

f) Training & Capacity Building g) Provisioning of solar panels on Govt. buildings including Net-metering.

Funding Mechanism

| Agency | Nature of support | Quantum of support (Percentage of project cost) |
| --- | --- | --- |
|  |  | Other than Special Category States |
| Govt. of India | Grant | 60% |
| Govt of Odisha | Grant | 40% |
| Additional Grant from GOI on achievement of prescribed milestones | Grant | 15% |
| Maximum Grant by GOI (including additional grant on achievement of prescribed milestones) | Grant | 75% |

The grant support from budget of Ministry of Power shall be as follows:

| Instalment No. | Condition for release | Release of Grant component of GOI(in percent) |
| --- | --- | --- |
| 1 | (i) Approval of Projects by Monitoring Committee (ii)Bipartite/Tripartite agreement amongst Utilities, State Govt. & PFC (on behalf of MoP) | 10 |
| 2 | Placement of letter of Award (LoA) by the Utility | 20 |
| 3 | Utilization of 90% of 1st & 2nd instalment and 100% release of Utility contribution | 60 |
| 4 | After completion of works | 10 |
| Total calculation of 60% percent(GOI share) |  | 100 |

LOA Status:

| Sanctioned Cost with metering (In Rs. Cr.) | LoA Cost without metering (In Rs. Cr.) | LoA Cost metering (In Rs. Cr.) | Agency |
| --- | --- | --- | --- |
| 259.46 | 224.45 | 33.16 | DDUGJY (New)-M/s L&T Ltd., Chennai |
|  |  |  | 1Ph metering-M/s Linkwell , Hyderabad. |
|  |  |  | 3Ph metering- M/s Genus Power ,Jaipur |

Physical Progress:

| sl no | Milestone Name | Unit | Sanction Quantity | Awarded Quantity | Erection Completed (Qty) |
| --- | --- | --- | --- | --- | --- |
| 1 | New Sub-station | MVA | 20 | 20 | 10 |
| 2 | Nos of New Sub-station | No | 2 | 2 | 1 |
| 3 | 33/11 KV Additional Xr | MVA | 25 | 25 | 25 |
| 4 | Nos of 33/11 KV Additional Xr | No | 2 | 2 | 2 |
| 5 | 33/11 KV Xr Capacity Enhancement | MVA | 53 | 53 | 53 |
| 6 | Nos of 33/11 KV Xr Capacity Enhancement | No | 9 | 9 | 9 |
| 7 | R&M of 33/11 KV S/S | No | 30 | 30 | 30 |
| 8 | 33 KV New Feeders | Km | 56 | 56 | 44.2 |
| 9 | 33 KV Feeder Reconductoring | Km | 78.6 | 78.6 | 69.6 |
| 10 | 33 KV Bay Extension at EHV | No | 2 | 2 | 2 |
| 11 | 11 KV New Feeders | Km | 139 | 139 | 116 |
| 12 | 11 KV Feeder Reconductoring | Km | 385.2 | 385.2 | 365.1 |
| 13 | Aerial Bunched Cable | Km | 828 | 828 | 802 |
| 14 | UG Cables | Km | 0 | 0 | 0 |
| 15 | 11 KV Bay Extension | No | 6 | 6 | 6 |
| 16 | Installation of New DT | MVA | 84 | 84 | 84 |
| 17 | Nos of Installation of New DT | No | 179 | 179 | 179 |
| 18 | Capacity Enhancement of DT | MVA | 102 | 102 | 95 |
| 19 | Nos Capacity Enhancement of DT | No | 209 | 209 | 203 |
| 26 | Boundary Meter | No | 70 | 53 | 4 |
| 27 | Feeder Meters | No | 0 | 0 | 0 |
| 28 | DT Meters | No | 1216 | 1509 | 455 |
| 29 | Consumer Meter | No | 61514 | 68540 | 61281 |
| 30 | Solar Panels | KWp | 40 | 40 | 40 |
| 32 | Others | Rs.Lac | 2 | 19 | 19 |
| 33 | Nos of Towns | No | 30 | 30 | 23 |

Amount estimated to be expended till previous year and to be spent for current year is appended below:-

(Rs. in crore)

| Total Scheme Estimation- 224.45 | Till 2019-20 | 2020-21 |
| --- | --- | --- |
|  | 205.05 | 19.40 |

The scheme is being operated under the supervision of OPTCL, having Power Finance Corporation as Nodal agency. From Distribution Utility point of view, the significant advantage of this scheme is ‘Creation of Asset’ by sharing very nominal funding.

# SAUBHAGYA Scheme

- The Scheme is covering all the NINE Districts under the DISCOM jurisdiction such as Bargarh, Bolangir, Deogarh, Jharsuguda, Kalahandi, Nuapada, Sambalpur, Sonepur & Sundergarh. Morden techniques for HHs data acquisition like Mobile App has been used to some extent by the utility

- The Scheme covers 30 ULBs & 11204 CC villages in entire WESCO Utility as per the SAUBHAGYA Dashboard.

- District wise bifurcation of CC ULBs & CC Villages under WESCO Utility is depicted below.

| SL NO | DISTRICT | CC ULB | CC VILLAGE | CC TOTAL |
| --- | --- | --- | --- | --- |
| 1 | BOLANGIR | 4 | 1788 | 1792 |
| 2 | BARGARH | 3 | 1211 | 1214 |
| 3 | DEOGARH | 1 | 878 | 879 |
| 4 | JHARSUGUDA | 3 | 353 | 356 |
| 5 | KALAHANDI | 3 | 2255 | 2258 |
| 6 | NUAPADA | 2 | 668 | 670 |
| 7 | SAMBALPUR | 5 | 1316 | 1321 |
| 8 | SONEPUR | 3 | 963 | 966 |
| 9 | SUNDERGARH | 6 | 1772 | 1778 |
| WESCO TOTAL |  | 30 | 11204 | 11234 |

The utility has already received Rs.168.29 crs (From Central Rs.100.97 crs and state sector Rs.67.32 crs) out of which an amount of Rs.165.26 crs has already been disbursed to various executing agencies. The license, expects the entire amount so received along with the differential amount i.e Rs.28.31 crs (Rs.196.60 crs minus Rs.168.29 crs) would be spend during current year only.

# MEGALIFT POINT BY GOVT. ODISHA

As per the Govt Megalift irrigation scheme all the house hold would be facilitated with drinking water across the state. Accordingly, 10 clusters have been defined under wesco utility. Under the scheme mostly separate bay extension work from the Existing 33/11 KV s/s or from ongoing ODSSP project 33/11 KV s/s is required to be made. There are 26 locations under the utility has been selected. For the current year Rs.8.06 cr and during ensuing year Rs.2.43 crs has been estimated under deposit head.

# SMART GRID PROJECT AT ROURKELA

Govt. of India initiated the development and deployment of Smart Grid in India in 2010. India Smart Grid task force (ISGTF) and India Smart Grid forum (ISGF) were constituted, thereafter under the aegis of ministry of power (MOP) to oversee the planning and implementation of Smart Grid activities. Accordingly, Smart Grid pilot project were sanctioned for various utilities/states by MOP in 2012 to implement the functionalities like advance metering infrastructure (AMI), power qualities management , Peak load management distributed generation , Micro grid and outage management. Along with these projects a 'Smart City' Project was also sanctioned for implementation by IIT-Kanpur and creation a 'Smart Grid knowledge center' was sanctioned for implementation by Power Grid.

A Smart Grid Vision and Road map for India was approved by ministry of power in August-2013 which also envisages the lunch of a National Smart Grid mission to plan and monitor implementation of the policies and programmes prescribed in the road map.  Ministry of Urban Development, GOI has selected 100 Smart cities in which Rourkela is one of the nominated Smart city. After that Rourkela Smart city was selected to implement Smart Grid project as proposed.

Reason of selection of Rourkela

Rourkela is one of the Odisha’s five major cities and largest urban centers located in Chota Nagpur Plateau and an important industrialized city of the region. The region has enrich and long history of indigenous settlement (Tribes like Oraons, Mundas, Kharias , Bhuiyans and Bhumijs). It is also one of the two proposed smart cities from the State of Odisha selected by the GoI, and it is the Steel city of Odisha. It has an area of 53.29 Km2 and its location provides a railway gate away for access to Eastern Part of India to Southern Part of India and Western Part of India. The population of Rourkela is over 3.09 lakhs and power consumers are over 90801 nos. Consumers in Rourkela get electricity from Wesco Utility, one of the distribution Utilities catering to Western part of Odisha.

Rourkela is divided into mainly 2 urban centers- Rourkela Municipal Corporation (RMC) with an area of 53.3 Km2 and the Rourkela Steel Township (RST) with an area of approximately 54 Km2. The current proposal is for development of Smart Grid in RMC area.

Smart Grid can be defined as an electricity network that uses information and communication technology to gather information and act intelligently in automated fashion to improve the efficiency, reliability, economics, and sustainability of generation , transmission and distribution of electricity.

The implementation of smart grid would act as an enable to transform the existing distribution grid to become more efficient, self-healing, reliable, safer and less constrained, thus benefiting all stakeholders.

Aim and object of Smart Grid

Objective of Smart Grid is to use advancements of information and communication technology to make the power grid more efficient, reliable and resilient while minimizing costly investments in new centralized generation capacity. Smart Grid can provide consumers near real-time information on their energy use, support pricing that reflects changes in supply and demand, and enable Smart appliances and devices to help consumers exercise choice in terms of usage of energy. Utilities can be better managed the grid in term of increased visibility of network, improved billing and realization efficiency, increased availability of grid and access of power to rural areas.

Present Position

OPTCL had engaged PFCCL as consultant to assist in implementation of Smart Grid in Rourkela in December 2016, which prepared the DPR (Rs. 197.11 Cr) & submitted to NSGM for approval in February 2017. NSGM Technical Committee approved the DPR amounting Rs 97 crore excluding GST in April 2018 and NSGM Empowered committee sanctioned in July 2018. PFCCL carried out study through a third Party Independent Evaluation Agency (TPIEA) in March-April, 2019 to establish Baseline KPIs. AT&C losses in FY 2018-19 was found to be 24.4%. DRC in its meeting on 30.07.2018 recommended to select the SGIA in BOOT model and SGIA to fund the balance 70% of the project cost after 30% grant of NSGM. It also recommended the Percentage sharing of incremental revenue as the bidding parameters. NSGM released an amount of 2.1 cr (10%) of its sanctioned Grant to OPTCL on 30.03.2019.Tender was floated on 02.05.2019. However, no bidders participated in this tender. PFCCL in a presentation on 30.10.2019 suggested a revised Funding Model based on the bidders feedback during the tendering. In this model, successful bidder (SGIA) gets revenue by means of “Meter Rent per Meter per Month”, as against the previously proposed” Incremental Revenue Sharing”. The composition of revised funding will be 30% of CAPEX (excluding GST) as grant from NSGM 20% of CAPEX as Owners (Utility) fund share , 50% of CAPEX by SGIA. The GST incidence shall be shared among Owners and SGIA in 2:5 ratio.

The Distribution Reforms Committee (DRC), Govt. of Odisha in its meeting held on 02.06.2020 approved the following mode of project implementation:

- SCADA component of the project to be removed.

- Project to be executed for initial 87.000 consumers plus additional no. of consumers over a period of 10 years considering 3% CAGR.

- Bidding Parameter to be Meter Rent per consumer per Month to be quoted by Bidders.

| Sl. No | Activity | Timeline |
| --- | --- | --- |
| 1 | Issuance of LOA by OPTCL to PFCCL | Dec,2016 |
| 2 | Appointment Sub Consultant by PFCCL for preparation of DPR | Feb,2017 |
| 3 | Submission of DPR to NSGM after obtaining approval of OPTCL | Feb,2018 |
| 4 | Approval of DPR by NSGM Technical Committee | Apr,2018 |
| 5 | Approval of DPR by NSGM Empowered Committee | Jul,2018 |
| 6 | Submission of Draft RfP document to OPTCL for selection of SGIA | Aug,2018 |
| 7 | Appointment of Third Party Independent Evaluation Agency (TPIEA) by PFCCL for establishing Baseline KPIs | Nov,2018 |
| 8 | Execution of Tripartite Agreement between NSGM, Govt. of Odisha and OPTCL | Feb,2019 |
| 9 | Release of 10% Grant by NSGM to OPTCL | Mar, 2019 |
| 10 | Completion of TPIEA Study | Apr,2019 |
| 11 | Issuance of RfP approved by OPTCL | May 2,2019 |
| 12 | Pre-Bid Meeting | Jun 4,2019 |
| 13 | Last Date of submission of Bids | Sep 5,2019 |
| 14 | Issuance of RfP approved by OPTCL /WESCO | 21.10.2020 |
| 15 | Pre-Bid Meeting | 05.11.2020 |
| 16 | Last Date of submission of Bids | 01.12.2020 |

Financial Implication:

The financial implication as approved by the Distribution Reform Committee (DRC) on March 2020, and the proposal for modification of the DPR items for approval of Empowered Committee of NSGM by Dir SLDC (IT) on dt 11-03-2020.

On implementation of Rourkela SG project, the State will have Smart a test bed for planning the Grid initiatives all over the state on realistic terms in the Distribution sector. The DRC may kindly deliberate the above and consider the following recommendations for implementation:

1)	Grant for Utility portion of fund: Go0 may kindly grant the following for the Rourkela SG Project

a)	20% of SG Project Capex plus 2/7th of total capex taxes on Capex which

comes to Rs. 15.09 crores.

b)	Project Management Consultancy Charges payable to PFCCL of Rs. 10.25

Crores inclusive of taxes.

c)	Preliminary expenses of the Project Rs. 56 lakhs + taxes approx, already incurred by PFCCL which are to be reimbursed by Utility on receiving the invoices from PFCCL

2)	Model for Project implementation: Option 2 the form of (OPEX Model Payments to GIA in Meter Rentals which is the bidding parameter) may be approved as the model to implement the SG project. (SGIA shall bear 50% of capex expenditure plus 5/7th of total Capex taxes

The financial analysis of option 2 is summarized as under:

- The total project Cost excluding the SCADA is Rs. 137.94 Cr. (including taxes).This cost would be met with NSGM Grant of Rs. 20.28 Cr, Utility fund of Rs.25.34 Cr and balance 92.32 Cr by SGIA.

- Implementation of Smart Grid envisages incremental revenue of Rs 274 Crore over 10 year period due to reduction of AT&C loss.

- Implementation of SG may result in cumulative net cash accruals of Rs. 150 Crores to the Utility over 10 years after servicing of all payments like meter rent and payment of PMC charges to PFCCL

- Positive Cash Flows commence from Second Year of Project Commencement.

In view of the above background the utility humbly submitted before Hon’ble Commission for pass through of  meter rental on account smart grid project and allow the capital cost of Rs.25.34 crs to be spend under SI head,

Apart from above there is an issue payment mechanism to the bidder for smart grid project would be a hindrance. At present, wesco is bound by an Escrow agreement, a tripartite agreement between Gridco, Wesco and Union Bank of India where the Bank is acting as the Escrow Agent. Gridco has the first charge on the revenue collected until all the liabilities to Gridco are being paid. As per the agreement, the entire revenue collected(including meter rent ) is deposited in the Escrow Account and is utilized for the payment of BST bill, transmission Charges bill,  SLDC Bill & Electricity Duty payment. Any other drawal from the Escrow Account, apart from above,  has to be with due permission of Gridco. Accordingly, the drawal of amount for Employee cost, R& M exp incurred by Wesco are as per the approval given by Gridco

Under the above circumstance, Wesco is not in a position to give any commitment of payment through LC / Escrow arrangement for the payment of meter rent to Lead Bidder (the implementing agency) as envisaged in the RFP. It is therefore, proposed that the payment of meter rent bills should be linked to the approval by Gridco for drawal of meter rent amount from the Escrow Account. Wesco can promptly pass the bill after submission by the Lead Bidder (say within 7days) and arrange for sending the request to Gridco for relaxation of the amount due to be paid to the Lead Bidder. Therefore, Hon’ble Commission may kindly be direct Gridco in this regard.

# OFFICE BUILDING and OTHER OFFICE EQIPMENTS

Since privatization (1999) the Head office of the utility is running in a old OSEB building which is very small having operational area of only 3000 Sq ft. During subsequent period due to increase of operation of the utility functions like HR, Finance, Purchase, MRT etc are dislocated and being placed in different old building (OSEB period) available in nearby locations. The present status of the old building is not at all suitable for a HQ office of a distribution utility to serve more than 20 Lakh of consumer base as on date.  Therefore, the licensee has estimated an amount of Rs.10 crs to be incurred for construction new office building in the ensuing year which may kindly be approved. Land for the same is already available. The building cost would be met through own accruals and enhanced collection. In addition to same Rs.75 lakh has been estimated towards office equipments and purchase of vehicles which may kindly be approved.

# Revenue and Current year GAP

# 4.1.	Non Tariff Income

The Utility has proposed Rs.192.25  Crore as Non Tariff Income for the ensuing 	year FY 2021-22. The non tariff income is from meter rental, service connection charges, reconnection charges, ODP, DPS, wheeling charges, CSS etc. The Utility submits the Hon’ble Commission to exclude the income from meter rent as the same is intended to be used towards replacement of the meters. The utility has also submitted that the term meter rent may kindly be termed as recovery of meter cost. Because, the licensee has not provided the meter to the consumer on lease basis. A separate submission has also been made in tariff rationalization measures in this regard which may kindly be approved.

# 4.2.	Provision for Contingency Reserve

The Utility submits that the Distribution system is more prone to natural 	calamities like cyclone, flood etc, which have become an annual feature given the 	Phailin, Hud Hud, DAYE, Titili, FANI, AMPHAN in quick succession,  for which contingency provisions should be made.

The Utility seeks reference to , the National Tariff Policy, vide Clause 8.2.1 Para 	‘6’ which states that, the contingency reserve should be drawn upon the prior 	approval of the State Commission only in the event of contingency conditions 	specified through the Regulations by the State Commission. Accordingly, taking into consideration that, the State of Odisha is prone to natural calamities at regular intervals having witnessed in the last 100 years, 49 floods, 39 droughts and 11 cyclones, and taking into consideration the massive damage to the electrical infrastructure, it is prayed that Contingency Reserve be allowed for the Utility along with the guidelines/practice directions for use of such Contingency Reserve Fund.

The Power Distribution network has suffered the most damage in the recent cyclone Phailin, Hud Hud, DAYE, Titili, FANI, AMPHAN and subsequent flood further justifies the requirement of contingency reserve for the Distribution Utilities.

The Utility has considered the Contingency @ 0.375% of Gross Fixed Assets at beginning of the year while estimating the ARR for the ensuing year FY 2021-22. The Utility respectfully submits to allow Rs. 7.61 Crore towards provision for contingency for FY 2021-22.

# Reasonable Return

The Utility submits that due to the negative returns (Gaps) in the ARR and carry forward of huge Regulatory Assets in previous years, the Utility could not avail the ROE over the years, which otherwise would have been invested in the Company for improvement of the infrastructure. As it is followed by various Commissions, the Utility submits that the ROE to be allowed on the amount of the equity and the accrued ROE for the previous year. This would increase the availability of more funds for the consumer services.

Therefore, the Utility has assumed reasonable return amounting to Rs. 7.78 Crore as calculated @ 16% on equity capital including the accrued ROE as per the earlier Orders of the Hon’ble Commission.

# Current year FY 2020-21’s GAP

Further based on the actual sales, revenue and expenses for the first half of the current year 2020-21 and based on estimates for next half of current year, the uncovered gap for FY 2020-21 is Rs.164.97 Crore as against the surplus of Rs.19.75 Crore approved by Hon’ble Commission.	The current year position has been badly affected due to COVID-19.

Statement of Current’s Year GAP

|  | Unit | OERC Approval | Estmd. | Diff |
| --- | --- | --- | --- | --- |
|  | MU |  |  |  |
| No of Units - sale | MU | 6432 | 5980 | 452 |
| RST per unit | Rs/Kwh | 4.96 | 5.34 | (0.38) |
| Sales | Rs Crore | 3187.81 | 3185.15 | 2.66 |
| Less-Bad Debts | Rs Crore | 23.39 | 106.17 | (82.78) |
| Net Sales | Rs Crore | 3164.42 | 3078.98 | 85.44 |
| Other Income | Rs Crore | 191.39 | 170.22 | 21.17 |
| Total Income | Rs Crore | 3355.81 | 3249.19 | 106.62 |
| Distribution Loss | % | 19.60% | 22.34% | 2.74% |
| No. of Units - Purchase | MU | 8000 | 7700 | 300 |
| BST per Unit | Rs/Kwh | 3.38 | 3.38 | 0.01 |
| Cost of Power | Rs Crore | 2707.62 | 2599.14 | 108.48 |
| Distribution Expenses | Rs Crore | 506.06 | 656.13 | (150.07) |
| Interest & Finance charges | Rs Crore | 53.20 | 80.61 | (27.41) |
| Depreciation | Rs Crore | 61.40 | 63.84 | (2.44) |
| Total Expenditure | Rs Crore | 3328.28 | 3399.72 | (71.44) |
| Contingency Reserve | Rs Crore | - | 6.66 | (6.66) |
| Reasonable Return | Rs Crore | 7.78 | 7.78 | - |
| Excess/(deficit) | Rs Crore | 19.75 | (164.97) | 184.72 |

The utility has submitted that Hon’ble Commission may kindly to acknowledge the above factor accordingly.

# Revenue at Existing Tariffs

The Utility has estimated the revenue from sale of power considering the sales projected for FY 2021-22 and by applying the various components of existing tariffs. As detailed out in previous sections, the Utility has adopted the approach considered by the Commission and estimated the revenue from sale of power on accrual basis. The total revenue based on the existing tariffs applicable for the projected sales is estimated at Rs 3398.30 Crore.

The details of estimated revenue from different categories of consumers at existing tariffs are provided in FormT-7 & T- 8. The License humbly requests the Hon’ble Commission to estimate the revenue for estimated sales at existing tariff by duly considering the category-wise and slab wise in the format prescribed by the Hon’ble Commission with the applicable tariffs in each category.  With the implementation of the RGGVY, BGJY & SAUBHAGYA Schemes the sales mix shall be further skewed to the LT subsidized category.

# Summary of Annual Revenue Requirement and Revenue Gap

The summary of Annual Revenue Requirement, Revenue at Existing Tariffs and Revenue Gap for the ensuing year 2021-22 is provided below.

Table 1A : Revenue Gap

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 3839.68 |
| Reasonable return | 7.78 |
| Sub Total | 3847.46 |
| Revenue from sale of power at existing tariffs | 3398.31 |
| Non Tariff Income | 192.25 |
| TOTAL REVENUE GAP | 256.90 |

The revenue gap for the year 2021-22, considering the BSP rate at FY 2020-21 is arrived at Rs.256.90 crores.

Revenue GAP if Railway would avail power supply from other source

During previous year the Utility was having 12 Nos of traction load with Contract Demand of 129500 KVA.  However, presently in current year due to load enhancement of existing traction points the load becomes 162500. In addition to same one more traction load has been added which would enhance the railway load to the extent of 171000 Kva during the ensuing year. Therefore, considering 1st Six months consumption of 206.144 MU the current year’s consumption has been estimated as 452.000 MU. During the 1st half of the current year on account of COVID-19 rail movement was affected very badly, for which consumption was affected for first six month. Now, rail movement has started picking up and the utility is expecting normalcy would reach very soon. Therefore, considering past and current years trend with additional load of railway the Utility has projected 488.000 MU towards traction consumption ( HT – 51.000 MU & EHT – 437.000 MU) for the ensuing year with the above additional load.

If railway would be completely availing power supply from other source other than the Distribution Company then the revenue gap would be Rs 394.25 crore. Hence the GAP would increase by another Rs.137.35 crs.

Table 1B : Revenue Gap without Railway

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 3669.85 |
| Reasonable return | 7.78 |
| Sub Total | 3677.63 |
| Revenue from sale of power at existing tariffs | 3091.13 |
| Non Tariff Income | 192.25 |
| TOTAL REVENUE GAP | 394.25 |

Therefore the revenue gap for the year 2021-22, with BSP rate of FY 2020-21 without railway would be Rs.394.25 crores.

That, in the above background it is worth mentioning that as of now, at existing tariffs, the Utility is unable to meet its current costs,   and unless there is decrease in input costs in FY 21-22 or any assistance is provided, it is very difficult in the part of the Utility to accomplish its obligations as a distribution Utility. Accordingly, the utility prays that such exigencies be considered while processing this Petition.

# Initiatives by Utility & Other performance improvement measures

# Compliance to OERC Directions

Hon’ble Commission has given certain direction in the RST order dt.22.04.2020 and compliance to same areas under:-

- Direction at Para 382 to 390:-Energy Audit.

Compliance:- The utility is continuing the energy audit activity regularly along with the 5 model feeders. The details of which has already provided in previous para 2.5.1

Direction at Para 391:-

“.....Commission in line with previous RST order directs Licensees to earmark Rs.50 lakh towards training programme for FY 2020-21. The copy of training calendar for the year 2019-20 shall be submitted to the Commission by 31st May, 2020.....”

Compliance:- Due to COVID-19 from 23rd March-20 across the globe physical movement has been suspended/restricted by Govt as result the training programme for employees has been affected. However, a 2 full day virtual workshop was arranged for all the dealing employees including Distribution Executive Engineer, Circle SEEC through Tanvi Consultancy services Pvt. Ltd on 1st and 2nd October 2020 regarding implementation of ORV Act.

- Direction at Para 408:-Security Deposit position as per ledger balance should match with physical balance.

“In view of the large gap as per audited accounts and physical availability, we direct the DISCOMs to have a comprehensive audit of the SD and get the figures reconciled. Commission therefore directs the DISCOMs to maintain the security deposit intact so as to meet this liability. Commission further directs the DISCOMs to recoup the deficit of the security deposit through enhanced collection and submit a plan of action by 30.06.2020 for such a programme.”

Compliance:-As per provisional accounts for the year ending FY 2019-20, the consumer’s security deposit is Rs.77091 Lakh. The actual Security deposit kept with the bank is adequate enough. There is no shortfall in SD as regards to WESCO is concerned. The actual balance is in the shape of FD pledged in favour of LC for payment of BST bill (Rs.226.35 crs), lien against salary loan (Rs.162.30 crs) and balance are lien free FD.

- Direction at Para 435:- The Commission directs both GRIDCO and DISCOM Utilities to file a reply before the Commission regarding action plan taken for liquidation of the arrears as stated above by 31.05.2020.

Compliance:-It is to submit that up to previous year payment of BST bill was almost delayed by 4 month, now the utility is making regular payment of BST and transmission bills along with monthly salary and other expenses. Due to increase in revenue collection and CSS amount the utility has cleared the BST bill till Sep-20 and Oct-20 BST bill served by GRIDCO on 6th Nov-20 which is due to be paid within 30 days to avail 1% rebate, so the same would be cleared within due date.

- Direction at Para 445:- The Commission in the last RST order directed to segregate their accounts for wheeling business and retail supply business in terms of Regulation 4.4 of OERC 144 (Terms and Conditions for Determination of Wheeling Tariff & Retail Supply Tariff) Regulations, 2014. The Commission asked for compliance in this regard by the Licensee shall be submitted by 31st July 2018 however no compliance was submitted by any of the DISCOMs. The Commission therefore again directs DISCOMs to take necessary steps in order to segregate their accounts for wheeling business and retail supply business in terms of the said OERC Regulation. The compliance on this account must be furnished by 31st July 2020

Compliance: Regarding segregation of books of accounts of the utility it is to submit that soon after revocation of license of the holding company of M/S Wesco Ltd on 4th March-2015 the assets are yet to be transferred to the utility, In such scenario segregation of accounts with present arrangement is not possible. Apart from the above to segregate wheeling from retail supply the cut-off point of metering arrangement is yet to be formulated. Therefore the utility submits that till such time segregation may kindly be considered on the basis of allocation statement.

# Various Payment Options

Digital Mode (online)

In addition to providing rebate for digital payment to LT category of consumers, to improve the reach to the consumers, the utility has engaged various service providers for easy payment option to the consumers for payment of Energy Bills through offline/online mode which would enhance the overall collection efficiency.  The purpose of such engagement of the service providers is to accelerate the revenue collection by providing the services at the door step of the consumers for any time payment of their Bills and to reduce the door to door collection by the Company.

Following service providers assigned with the responsibilities for collection of Electricity bills.

- Post Offices- Collection of cash through Post Offices.

- CSC e-Governance Services India Limited- Collection of Electricity Bills through CSCs / VLEs.

- ITZ Cash Card- Prepaid cash card issued by ITZ Cash card and through their various outlets.

- ICICI Bank- Through Debit / Credit card and Net Banking Services.

- Atom Technology- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (28 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- Billdesk

- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (50 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- EBPP Services- Through Airtel  Money & Voda-phone m-paisa

- PayTM-Through paytm wallet or directly from the service provider using credit card and debit card.

- HDFC Bank :-Through Debit / Credit card and Net Banking Services

As regards to extending 2% rebate to LT domestic category of consumers the licensee is providing the same to the applicable category of consumers those who are paying digitally. In addition to above the consumers who are paying round the year digitally and availing prompt payment rebate they also being provided additional rebate at the end of the year i.e for the month of march equal to the rebate of march. During year FY 18-19 the digital rebate was 1%. However, on introduction of 2% from FY 2019-20 digital receipts have increased. A comparative statement for previous year and current year till Sep-20  is appended below for kind perusal of Hon’ble Commission.

| DIGITAL COLLECTION FOR 2019-20 |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | No of Consumers Paid |  |  |  |  |  |  |  |  |  |  |
| DIVISION | ATOM | EBPP BILLDESK | PG BILLDESK | CSC | EZETAP | HDFC | ICICI | ITZ | PAYTM | POSTAL | TOTAL |
| ROURKELA | 1073 | 32771 | 4816 | 590 | 11049 | 4503 | 1372 | 326 | 20256 | 4 | 76760 |
| RKL SADAR | 1139 | 29249 | 4589 | 1286 | 8705 | 4716 | 1508 | 499 | 18112 | 3 | 69806 |
| RAJGANGPUR | 389 | 14821 | 1812 | 1544 | 705 | 1559 | 356 | 56 | 8770 | 0 | 30012 |
| SUNDARGARH | 331 | 10159 | 1399 | 1288 | 1438 | 1075 | 306 | 9 | 6129 | 0 | 22134 |
| SAMBALPUR | 854 | 23794 | 4482 | 114 | 14157 | 3987 | 1226 | 17 | 16996 | 1 | 65628 |
| SBP EAST | 335 | 11044 | 1600 | 626 | 1552 | 1560 | 260 | 24 | 6357 | 2 | 23360 |
| JHARSUGUDA | 447 | 16530 | 1996 | 574 | 222 | 2244 | 840 | 0 | 9446 | 0 | 32299 |
| BR NAGAR | 358 | 7562 | 718 | 670 | 217 | 368 | 144 | 0 | 3734 | 0 | 13771 |
| DEOGARH | 69 | 2257 | 325 | 417 | 301 | 249 | 67 | 4 | 1089 | 5 | 4783 |
| BARGARH | 326 | 13993 | 1921 | 566 | 355 | 1539 | 397 | 302 | 7313 | 1 | 26713 |
| BARGARH WEST | 108 | 5771 | 583 | 356 | 143 | 237 | 176 | 10 | 2535 | 0 | 9919 |
| BOLANGIR | 188 | 8438 | 1142 | 345 | 154 | 898 | 248 | 53 | 4357 | 36 | 15859 |
| SONEPUR | 130 | 3656 | 582 | 238 | 332 | 409 | 62 | 48 | 2043 | 6 | 7506 |
| TITLAGARH | 59 | 4116 | 442 | 277 | 43 | 392 | 61 | 1 | 2406 | 1 | 7798 |
| KEED | 84 | 3098 | 681 | 121 | 78 | 601 | 108 | 5 | 1962 | 0 | 6738 |
| KWED | 55 | 1521 | 340 | 205 | 2 | 102 | 40 | 17 | 993 | 0 | 3275 |
| NUAPADA | 107 | 4868 | 503 | 650 | 200 | 449 | 83 | 22 | 2958 | 2 | 9842 |
| Grand Total | 6052 | 193648 | 27931 | 9867 | 39653 | 24888 | 7254 | 1393 | 115456 | 61 | 426203 |
|  | Collection Amount (Rupees in Lakhs) |  |  |  |  |  |  |  |  |  |  |
| DIVISION | ATOM | EBPP BILLDESK | PG BILLDESK | CSC | EZETAP | HDFC | ICICI | ITZ | PAYTM | POSTAL | TOTAL |
| ROURKELA | 30.90 | 287.03 | 114.98 | 2.83 | 175.11 | 136.37 | 33.56 | 3.91 | 245.17 | 0.03 | 1029.89 |
| RKL SADAR | 21.85 | 264.61 | 117.28 | 8.87 | 148.07 | 150.19 | 31.62 | 6.56 | 226.50 | 0.02 | 975.57 |
| RAJGANGPUR | 20.65 | 147.71 | 78.21 | 7.18 | 18.65 | 69.03 | 16.13 | 0.44 | 134.12 | 0.00 | 492.11 |
| SUNDARGARH | 6.99 | 95.13 | 34.60 | 7.96 | 31.47 | 28.78 | 8.98 | 0.07 | 74.71 | 0.00 | 288.68 |
| SAMBALPUR | 23.37 | 248.14 | 104.40 | 0.80 | 224.12 | 178.31 | 25.45 | 0.21 | 246.40 | 0.00 | 1051.21 |
| SBP EAST | 5.54 | 115.04 | 51.25 | 3.66 | 38.01 | 71.04 | 6.87 | 0.46 | 94.16 | 0.07 | 386.10 |
| JHARSUGUDA | 15.31 | 174.46 | 70.12 | 3.18 | 9.43 | 79.14 | 21.67 | 0.00 | 143.00 | 0.00 | 516.32 |
| BR NAGAR | 5.06 | 62.11 | 30.44 | 3.36 | 9.34 | 10.53 | 2.50 | 0.00 | 47.71 | 0.00 | 171.05 |
| DEOGARH | 0.83 | 16.56 | 11.23 | 1.74 | 4.43 | 4.10 | 1.51 | 0.05 | 14.33 | 0.03 | 54.83 |
| BARGARH | 13.85 | 136.11 | 54.48 | 2.86 | 9.01 | 80.26 | 11.74 | 5.10 | 114.01 | 0.01 | 427.43 |
| BARGARH WEST | 1.52 | 48.01 | 16.95 | 2.00 | 5.76 | 5.29 | 3.44 | 0.09 | 26.00 | 0.00 | 109.06 |
| BOLANGIR | 8.39 | 77.63 | 43.47 | 1.88 | 6.91 | 54.97 | 9.95 | 0.37 | 53.55 | 1.60 | 258.70 |
| SONEPUR | 4.27 | 35.37 | 15.24 | 2.39 | 9.85 | 8.45 | 1.53 | 2.08 | 34.48 | 0.07 | 113.72 |
| TITLAGARH | 2.45 | 31.08 | 18.46 | 1.01 | 1.90 | 27.56 | 1.11 | 0.01 | 36.67 | 0.01 | 120.24 |
| KEED | 4.61 | 39.78 | 38.58 | 0.77 | 5.35 | 40.93 | 2.25 | 0.17 | 33.69 | 0.00 | 166.14 |
| KWED | 3.78 | 11.82 | 13.89 | 1.13 | 0.03 | 1.29 | 1.16 | 0.30 | 15.57 | 0.00 | 48.97 |
| NUAPADA | 6.23 | 43.22 | 27.77 | 3.21 | 6.44 | 19.94 | 2.60 | 0.73 | 42.12 | 0.09 | 152.35 |
| Grand Total | 175.61 | 1833.80 | 841.37 | 54.81 | 703.87 | 966.20 | 182.06 | 20.54 | 1582.19 | 1.92 | 6362.37 |

| DIGITAL COLLECTION FOR APR-20 TO SEP-20 |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | No of Consumers Paid |  |  |  |  |  |  |  |  |  |  |
| DIVISION | ATOM | EBPP BILLDESK | PG BILLDESK | CSC | EZETAP | HDFC | ICICI | ITZ | PAYTM | POSTAL | TOTAL |
| ROURKELA | 469 | 23145 | 3588 | 187 | 8146 | 2565 | 888 | 0 | 9577 | 0 | 48565 |
| RKL SADAR | 661 | 23108 | 3939 | 435 | 11369 | 2733 | 914 | 0 | 9484 | 0 | 52643 |
| RAJGANGPUR | 217 | 11703 | 1392 | 892 | 1174 | 958 | 278 | 0 | 4608 | 0 | 21222 |
| SUNDARGARH | 176 | 8979 | 1096 | 481 | 2297 | 629 | 204 | 0 | 3258 | 0 | 17120 |
| SAMBALPUR | 429 | 20961 | 3907 | 127 | 9161 | 2828 | 874 | 0 | 9793 | 0 | 48080 |
| SBP EAST | 201 | 10147 | 1559 | 286 | 2801 | 1138 | 190 | 0 | 3747 | 0 | 20069 |
| JHARSUGUDA | 261 | 14507 | 1818 | 269 | 856 | 1660 | 523 | 0 | 5657 | 0 | 25551 |
| BR NAGAR | 309 | 6271 | 684 | 402 | 273 | 310 | 116 | 0 | 2020 | 0 | 10385 |
| DEOGARH | 31 | 2685 | 267 | 223 | 377 | 158 | 56 | 0 | 794 | 0 | 4591 |
| BARGARH | 157 | 10805 | 1552 | 336 | 312 | 929 | 254 | 0 | 3978 | 0 | 18323 |
| BARGARH WEST | 57 | 3920 | 447 | 168 | 157 | 124 | 93 | 0 | 1276 | 0 | 6242 |
| BOLANGIR | 132 | 6716 | 899 | 154 | 92 | 592 | 134 | 0 | 2344 | 0 | 11063 |
| SONEPUR | 68 | 2744 | 344 | 155 | 672 | 266 | 58 | 0 | 922 | 0 | 5229 |
| TITLAGARH | 53 | 3800 | 330 | 150 | 78 | 327 | 43 | 0 | 1331 | 0 | 6112 |
| KEED | 60 | 2865 | 625 | 54 | 191 | 425 | 75 | 0 | 1195 | 0 | 5490 |
| KWED | 49 | 1701 | 284 | 78 | 0 | 71 | 33 | 0 | 606 | 0 | 2822 |
| NUAPADA | 68 | 3743 | 425 | 150 | 415 | 266 | 53 | 0 | 1471 | 0 | 6591 |
| Grand Total | 3398 | 157800 | 23156 | 4547 | 38371 | 15979 | 4786 | 0 | 62061 | 0 | 310098 |
|  |  | Collection Amount (Rupees in Lakhs) |  |  |  |  |  |  |  |  |  |
| DIVISION | ATOM | EBPP BILLDESK | PG BILLDESK | CSC | EZETAP | HDFC | ICICI | ITZ | PAYTM | POSTAL | TOTAL |
| ROURKELA | 11.81 | 252.09 | 74.95 | 1.06 | 147.58 | 63.15 | 22.21 | 0.00 | 135.32 | 0.00 | 708.17 |
| RKL SADAR | 14.20 | 264.27 | 99.53 | 3.42 | 200.82 | 80.68 | 22.85 | 0.00 | 138.25 | 0.00 | 824.02 |
| RAJGANGPUR | 9.70 | 127.65 | 53.18 | 4.65 | 34.90 | 33.52 | 12.93 | 0.00 | 80.66 | 0.00 | 357.19 |
| SUNDARGARH | 6.29 | 98.92 | 26.85 | 2.53 | 45.03 | 12.99 | 4.69 | 0.00 | 41.35 | 0.00 | 238.66 |
| SAMBALPUR | 12.75 | 278.88 | 93.70 | 1.49 | 196.71 | 97.04 | 18.25 | 0.00 | 158.71 | 0.00 | 857.52 |
| SBP EAST | 4.05 | 126.16 | 39.96 | 1.90 | 60.97 | 36.65 | 4.17 | 0.00 | 63.87 | 0.00 | 337.74 |
| JHARSUGUDA | 10.43 | 164.52 | 55.05 | 1.25 | 26.09 | 57.34 | 14.64 | 0.00 | 89.95 | 0.00 | 419.27 |
| BR NAGAR | 4.44 | 66.87 | 22.72 | 1.41 | 8.02 | 8.65 | 2.62 | 0.00 | 33.05 | 0.00 | 147.79 |
| DEOGARH | 0.46 | 19.73 | 6.68 | 1.05 | 4.92 | 3.61 | 1.21 | 0.00 | 10.23 | 0.00 | 47.89 |
| BARGARH | 3.11 | 126.79 | 40.31 | 2.34 | 7.87 | 34.41 | 8.53 | 0.00 | 70.05 | 0.00 | 293.41 |
| BARGARH WEST | 1.65 | 37.95 | 10.44 | 0.96 | 5.24 | 2.44 | 2.97 | 0.00 | 17.45 | 0.00 | 79.09 |
| BOLANGIR | 5.45 | 71.58 | 29.46 | 0.80 | 4.04 | 26.81 | 5.50 | 0.00 | 35.20 | 0.00 | 178.84 |
| SONEPUR | 2.99 | 32.88 | 9.97 | 1.65 | 14.43 | 8.47 | 1.18 | 0.00 | 20.39 | 0.00 | 91.95 |
| TITLAGARH | 4.17 | 30.85 | 10.50 | 0.56 | 2.58 | 13.47 | 0.91 | 0.00 | 18.91 | 0.00 | 81.94 |
| KEED | 3.03 | 38.66 | 52.36 | 0.23 | 10.79 | 15.97 | 1.97 | 0.00 | 34.83 | 0.00 | 157.83 |
| KWED | 1.71 | 17.18 | 9.70 | 0.38 | 0.00 | 3.55 | 0.48 | 0.00 | 14.57 | 0.00 | 47.57 |
| NUAPADA | 6.82 | 41.16 | 25.08 | 1.59 | 18.21 | 12.63 | 1.29 | 0.00 | 33.48 | 0.00 | 140.27 |
| Grand Total | 103.04 | 1796.17 | 660.45 | 27.25 | 788.19 | 511.38 | 126.41 | 0.00 | 996.27 | 0.00 | 5009.15 |

From the above perusal can be made that during FY 19-20 full year 4.26 lakh money receipt has been generated through digital mode and amount of collection was Rs.63.62 crs. During the current year up to Sep-20 i.e for six month the status is 3.10 Lakh money receipt and amount collected is Rs.50.09 crs. The utility expects it will be double for the current year including march.

The utility is promoting online collection massive way and by end of the current year online collection of LT single phase consumers would be double. During ensuing year target has been made to promote online collection by many fold.

Engagement of Retail vendors for collection through RCS mechanism (Revenue Collection System).

Revenue Collection System(RCS) is another online platform for revenue collection introduced in the FY 2017-18 and is now set up to replace the conventional mode of collection in full shape except the areas with limited mobile network coverage. The RCS mode of collection is gaining popularity among the consumers due to the transparency which enabled the consumers to get instant SMS of the payment in his registered mobile no. It is also valued by the revenue collecting vendor and staff due to easy operation through mobile application and relieved them to prepare tedious daily collection sheet at the end of the day.

The RCS system is online android based application software. The application should install in the mobile for collection of revenue and also a Bluetooth printer is required for printing of Money receipt generated by the application. All the data is stored in the cloud which can be accessible to the authorized person at any time from 7.00 A.M to 10 P.M. As soon as billing is complete for the consumer, the billing data is uploaded to the RCS server which shall be available a day after the billing of the consumer. The bill collector can see the current bill as well as arrear bill of the consumer in the application. The bill collector can receive the current bill amount in cash and also any arrear amount from the consumers. As soon as the transaction is complete the consumer gets the receipt printed out through the Bluetooth impact printer. In addition to this an auto SMS will be send to the registered mobile no of the consumer regarding the payment details. The payment will also reflect in the odishadiscoms site which the consumer also views by login to “http://www.odishadiscoms.com/applications/onlinepay/consumerlogin.aspx”by fetching its consumer number.

This RCS can be adopted by both internal staff and external agencies. The external agencies shall use prepaid mode collection system where they can topup their account by initial deposit to the WESCO account and able to collection up to the topup amount. The collected amount once deposited into the WESCO account the RCS account of the vendor will be recharged again and the process will continue.

The system can enable different executive starting from SDO to Head office level to monitor the revenue collection on real time basis to take timely action.

RCS collection Trends from Apr’20 to 26th Nov’20:-

| RCS COLLECTION TRENDS FROM Apr’20-Nov’20 |  |  |
| --- | --- | --- |
| Month | Collection Amt (Rs in Crs) | No of Money Receipts |
| Apr’20 | 1.23 | 7728 |
| May’20 | 20.91 | 170455 |
| Jun’20 | 24.56 | 213000 |
| Jul’20 | 24.37 | 244847 |
| Aug’20 | 24.11 | 246977 |
| Sep’20 | 30.21 | 330412 |
| Oct,20 | 34.01 | 346693 |
| Nov’20 till 26th | 38.49 | 352162 |

| RCS users as on Oct’20 |  |
| --- | --- |
| Division | Users |
| SAMBALPUR | 73 |
| JHARSUGUDA | 113 |
| DEOGARH | 46 |
| SAMBALPUR(E) | 74 |
| BRAJARAJ NAGAR | 25 |
| BARGARH | 86 |
| BARGARH(W) | 86 |
| ROURKELA | 65 |
| SUNDERGARH | 66 |
| RAJGANGPUR | 71 |
| ROURKELA-SADAR | 82 |
| KEED | 64 |
| KWED | 72 |
| NUAPADA | 44 |
| BOLANGIR | 102 |
| TITLAGARH | 158 |
| SONEPUR | 70 |
| Total | 1296 |

Due to the above advantages we are now able to achieve 80% of the total coverage through RCS mode. Presently up to Oct’20 we have deployed 1296 RCS machine which will be increase to 1500 machine at the end of the FY 2020-21. In the next few months we hope that this will certainly increase to 90% of the coverage through RCS mode.

Advantages:-

- 100% check on money receipt manipulation and fraud of revenue collection.

- Monitoring of collection on Real time basis.

- Neither manual DC sheet is required nor is Data entry of all MR to system required.

- Instant SMS to the consumer on payment which makes the RCS consumer friendly.

- Cost of printing of Manual Money receipt is being saved.

Limitation:-

- The system requires good mobile network with hi-speed network connection. It becomes obsolete where there is no coverage.

- Through RCS mode it is not possible to receive advance payment so it becomes difficult for collection when there is delay in uploading of bill to the consumers.

- Miscellaneous payment like RC, SD etc is not received by RCS.

- Regular Maintenance cost of RCS printer impact the cost of collection.

# Development of Franchisee/collection agents in Utility Area

It was since early 2000’s the utility has sensed the outsourcing of Billing, collection and other revenue related activities as a substitute to regular in source engagement  to cater the essential requirement of manpower. Over the year the growth of consumers is manifold due to massive expansion of village electrification programs launched by both central & state government under schemes like RGGVY, BGJY, Ujjwal yogna and the ongoing SAUBHAGYA scheme. In comparison to the growth of consumers, the engagement of regular employees quite insufficient to fulfill the basic requirement of consumers.

The Electricity Act, 2003 opens the door for the Franchisee operation which was first test by the utility in the FY 2004-05. In the early stage of Franchisee Operation only Input based Distribution Franchisee were appointed. But due massive growth of consumers by introduction of BPL consumers and those regulated under the polices of government, the Distribution Franchisees found no way to subdued the losses due to increase domestic consumption and fails to work in a cost effective manner. Gradually the lack of interest from the large firms for Input based model, Utility decided to outsourced the billing and collection activity separately to small local firms.

The decision for shifting from large organized Business houses to small Local firms for collection activities in the late FY 2015 was taken with an expectation that the local firms are more familiar with the geographical as well as socio economics conditions and who can work efficiently in a cost effective manner. Further there was better availability of small firms which inflict competition among themselves for better performance. Initially the collection agents are allowed for collection of both 3 phase and single phase consumers. Though it contributed 20% growth of revenue collection on year to year basis during the initial years, but the consumer coverage which is a major factor for a sustainable revenue growth was not satisfactory.  So to thrust upon consumer coverage especially for Single phase consumer, the 3 phase collection was withdrawn from the purview of collection agent from October-16 onwards.

Procedure for engagement of collection agents:-

During the last decade of operation the Utility is witnessing a massive growth in its line & sub-stations. Both 33/11 KV substations and  HT & LT lines are multiply many times under different ambitious program of government like ODSSP, IAP, RLTAP etc. Though Utility has forced to deployed outsourcing agents for maintenance of these 33/11KV sub-stations, yet the service & maintenance of theses HT & LT lines and distribution transformer the Utility is depends upon its regular staff. All the time of the existing staff becomes devoted on these works for quality power supply finds no time for revenue collection. The existing manpower is also decreasing day by day due to superannuation.  In absence of regular recruitment, the utility is being forced to engage collection agents in some of the areas like KBK district where the consumers are more scatter and difficult to maintain the consumer coverage. Later few sections of other divisions also come under collection agents due to same reason.

The local firms whom actually get an opportunity as collection agents are not so big or professional in nature which makes the open tender infeasible for selection of collection agents. As WESCO is also exploring the model, it is not simple to set any parameter for selection of vendor for the tendering process. Hence the selection of collection agents was made through a committee at Head Office chaired by Authorized Officer. Only those sections having shortage of Manpower are considered for engagement of collection agents. It is the Executive Engineer of the concerned division proposes for engagement of collection agents after convinced that the existing manpower is not sufficient for optimum results. Executive Engineer collects the willingness letter from the interested persons or firms and submitted their recommendation to Superintending Engineer. Superintending Engineer forwarded the proposal with due recommendation. If more than one party are interested for a area then the firm selection of firm lies on the committee on the basis of their past experience and technical & financial capabilities.

Commission structure:-

The commission for individual vendor is 3% on single phase collection excluding ED and for the agancies those who are operating in the entire section or sub-division are being paid 3.5% on amount collected from single phase consumers excluding ED for Urban Sections and in case of Rural section the commission for the collection agencies is 5% on amount collected from single phase consumers excluding ED. All the sections are categorized into Urban and rural sections. Due to COVID situation base line has not been fixed as it was very difficult to enter to villages and basti. As of now some or more the resistance from consumer in rural belt has been persist. The commission structure has been effective from 1st Apr-20.

# Engagement of GPLF/WSHG as micro franchisee

Another initiative by the Utility is to engage WSHGs for Meter reading, Billing and Collection activities (MBC) as micro franchisee. In pursuance to the order of GOO, Utility has decided to explore the opportunities with WSHGs through Gram Panchyat Level Federation (GPLF) in the remote villages.

As per our existing practice the billing agency and collection agency are engaged separately with two different contracts in a location. So that the deployed person engaged by the billing agency and collection agency may be different persons for whom one cannot get full day’s work in a month. Hence to avoid such situation now it is planning to entrust the billing & collection activity to one agency, so that the same employee will work for full month by disbursement of bill and then collection of energy dues from the consumer. This will increase the earning of the meter reader cum bill collector and also consumer coverage of the utility will be increased.

WESCO has already engaged Women Self Help Group for collection of energy charges in different divisions.. However steps have been taken for more WSHG participation in power sector. One NGO named Niyatee Foundation was deployed in SED, Sonepur and BWED, Bargarh to cooperate with the SHG in collection and billing activity. The agency has failed to do so even though started with ambition.

The recent guidelines by Commissioner-cum-Director, Mission Shakti framed a selection committee chaired by CDPO at Block level committee and DSWO at District level committee for selection of WSHG.

The parameters of selection are as follows:-

- WSHG must have completed 2 years of existence.

- WSHG must have the willingness and ability to undertake electricity billing and collection of electricity charges.

- WSHG must have active bank account and shall have monthly savings by WSHG members.

- WSHG should have regular and systematic book keeping relating to Meeting Register and updated Pass Books.

Only one WSHG will be selected for electricity billing and collection of electricity charges in one Gram Panchyat (GP) or ward.

Security Deposit:-

Agreement with the selected WSHG shall be executed on furnishing of security deposit equivalent to three (3) days average collection of base year and security deposit equivalent to 50% of SBM or mobile phone used for collection shall be deposited.

Remuneration:-

- WSHG will get remuneration of Rs 5/- per consumer per month towards billing and Rs 6/- per consumer per month towards collection, subject to one Money receipt.

- Incremental incentive towards improvement of collection for a month compared to corresponding month of previous year.

- In case collection amount is between 100-120% of the collection amount of the corresponding month of the previous year, the incentive will be 10% on the incremental amount.

- In case collection amount is above 120% of the collection amount of the corresponding month of the previous year, the incentive will be 15% on the incremental amount over 120% i.e in addition to incentive upto 120% as at ‘i’ above.

- For new/regularization of consumers, they shall receive Rs 100/- per consumer.

Presently only 55 nos of SHG groups are engaged in WESCO area in 55 GP and consumer assigned 78672 nos for collection of revenue only

# Other initiatives for Revenue Improvement:

VIGILANCE ACTIVITIES

Being realize by the utility that Vigilance activities is the only method to check the undue growth of input and T&D loss, it is decided to engage vigilance squads through outsource agencies since 2015. At present 17 squads are engaged by different agencies in all the 17 divisions. Each vigilance squads are assigned with minimum 20nos of premises to be checked.  Though a good numbers of cases are captured by the vigilance teams but due to poor assessment and collection by our staff make the effort gloomy.  For proper monitoring of vigilance activities and penal action, a web based vigilance module is also designed where the status of checking is updated on daily basis by the MRT wing. The information related to the action taken part of the module like assessment and collection are filled up by the officers in charge of distribution units.

Disconnection squad

The success of any discoms lies on the proper execution of disconnection drive. Any method of collection discussed above can only be successful when the disconnection will be done for the defaulting consumers which are the greyest area. Due to lack of sufficient manpower once again the utility decided to outsource this activity as “facilitating team for disconnection drive”. However this concept did not work for long because of the team engaged was a mere facilitating agency for disconnection team and responsibility of disconnection lies on our staff. Due this the responsibility could not be fixed upon him. However the utility is planning to reintroduce the system by fixing proper responsibility as disconnection drive is an essential element to boost collection.

Customer care and collection counter

It is utmost important to resolved the consumer grievances as quickly as possible.  The tradition system of fuse call centre is now replaced with more advance customer care center to address all the technical issues related to the supply of power in the consumer premises. Presently there are 9 nos of customer care centers operated through agencies namely M/S Fluent Grid   (8 nos)   & M/s Orissa Enterprises (1 no). Similarly they have also extended extension counter in various places of wesco. Total 35 nos of extension counter is in operation running through M/S Fluent Grid   (32nos)   & M/s Orissa Enterprises (3 nos).

POS machine

Recently HDFC bank has also provided 100 POS (point of Sale) machine to facilitate swapping of Debit card/ Credit card for making payment of the electricity bills. The same are being made available in division offices, customer care offices. This is another way of facilitating consumers and increase of revenue collection. The utility is planning to add another 500 POS Machine across all the division during the ensuing year

# Allocation of Wheeling and Retail supply cost

Hon’ble Commission has formulated regulation for bifurcation of Wheeling and Retail supply business vide notification dated 14th Nov-2014. According to the said regulation the Utility is required to file its ARR application as per the amended regulation. In line with the same as per clause 4.3 and 4.4 of the regulation for such period until the accounts are segregated, the Utility shall prepare an allocation statement to apportion cost and revenues to wheeling and Retail supply business and submit it along with ARR for approval of Hon’ble Commission.  In view of the same the utility is proposing the following allocation statement for kind approval of Hon’ble Commission.

Statement of allocation of Wheeling and Retail supply Cost.		Rs. lakh

| Sl No. | Cost/Income Component | ARR for FY 2021-22 | Assumption Ratio for consideration in Wheeling Business | Assumption Ratio for consideration in Retail Supply Business | Wheeling cost for FY 2022-22 | Retail supply Cost for FY 21-22 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Cost of Power | 266025.59 | 0% | 100% | 17781.71 | 248243.88 |
| 2 | Transmission Charges | 20612.50 | 0% | 100% | 1378.00 | 19234.50 |
| 3 | SLDC Charges | 121.94 | 0% | 100% | 121.94 | 0.00 |
|  | Total power purchase cost * | 286760.03 |  |  | 19281.66 | 267478.38 |
|  | O&M |  |  |  |  |  |
| 4 | Employee Cost | 52385.53 | 60% | 40% | 31431.32 | 20954.21 |
| 5 | Repair & Maintenance Cost | 10953.10 | 90% | 10% | 9857.79 | 1095.31 |
| 6 | Administrative & General Expenses | 8338.26 | 40% | 60% | 3335.30 | 5002.95 |
| 7 | Bad & Doubtful Debt including Rebate | 9062.16 | 0% | 100% | 0.00 | 9062.16 |
| 8 | Depreciation | 7288.63 | 90% | 10% | 6559.77 | 728.86 |
|  | Interest on Loans |  |  |  |  |  |
| 9 | for Capital loan | 1479.80 | 90% | 10% | 1331.82 | 147.98 |
| 10 | for Working capital | 2519.37 | 10% | 90% | 251.94 | 2267.44 |
| 11 | Interest on Security Deposits | 4420.67 | 0% | 100% | 0.00 | 4420.67 |
| 12 | Return on Equity | 778.00 | 90% | 10% | 700.20 | 77.80 |
|  | Special Appropriation |  |  |  |  |  |
| 13 | Amortization of Regulator Assets |  | 25% | 75% |  |  |
| 14 | True Up of Current year GAP 1/3rd |  | 25% | 75% |  |  |
| 15 | Other, if any-Contingency Reserve | 760.63 | 90% | 10% | 684.57 | 76.06 |
|  | Grand Total | 384746.18 |  |  | 73434.36 | 311311.82 |
|  | Miscellaneous Receipt |  |  |  |  |  |
| 16 | Non-Tariff Income - Wheeling |  | as per actual assumption | as per actual assumption |  |  |
| 17 | Non-Tariff Income - Retail Business | 19224.87 | as per actual assumption | as per actual assumption |  |  |

* Allocation of power purchase cost towards wheeling has been made considering 8% Loss on input after effecting EHT sale.

# Tariff Proposals and Rationalization Measures

Hon’ble commission in each and every RST order is providing their observation w.r.t the proposal of licensee towards tariff rationalization measure. Some are being accepted and the ones which are denied are with reasons.

During the ensuing year the utility is proposing certain tariff rationalization measures in the following paragraph. Some are new and some are repeated in nature with justification is being appended.

# Recovery of meter cost instead of meter rent or abolish recovery of meter rent

Hon’ble Commission has approved recovery of Monthly Meter Rent from various categories of consumers in different rates on the basis of types of meter. Recovery of the same is permitted for a period of 60 month i.e till the cost of the meter is recovered. Statutory levy required to be collected in addition to meter rent. Statutory levy indicates collection of GST. Now, consumers are being billed on monthly basis along with meter rent, statutory dues i.e GST also due on the basis of monthly/bi monthly billing. All the licensees are struggling in collection from the LT category of consumers. Unless amount is being collected fully, deposit of same would affect the financé of the utility. In addition to same consumers would require to be burdened additionally towards GST component. It is pertinent to mention here that, metering is inevitable equipment for measurement of electrical energy. Hon’ble Commission also permitted recovery of meter cost. Hence, it is humbly submitted that the utilities may be permitted to recover meter cost on the approved rate for a period of 60 month.

Alternately, meters are part of the Network assets. The licensee are not installing on consumer premises on lease basis. Therefore, it is submitted before Hon’ble Commission may kindly looked into it and abolish recovery of meter rent from the consumers. The ARR of the licensee may kindly be factored accordingly.

# Creation of Accidental Corpus Fund

Presently all the consumers of the state are consuming electrical energy after various electrification program both by center and state govt. Increase of consumer base happens only due to increase in network asset, as a result maintenance of such huge network asset with existing employee strength becomes a great task. Almost in all the days fatal/ non-fatal accidents are happening due to various reasons. Sometimes lives of human as well as animal are being lost for electrical accidents. In many cases, the family members of the deceased person are suffering. To protect such unforeseen happening Govt. of Odisha dept of energy also suggest for creation of Accidental reserve fund, out of which compensation may be extended to the families of deceased person. It has been discussed on 26th Oct-19 under chairmanship of Commissioner Cum Secretary department of energy under 5 T program. It has been directed that DISCOM should appeal before OERC in tariff for recovery of Re 1 on monthly basis. In view of the above it is humbly submitted before Hon’ble Commission to approve the same in the RST order.

# Demand charges to HT Medium category of consumers

Hon’ble Commission vide para 331 of RST order has observed that “The demand charges for HT medium category of consumers are a separate category of consumers who have CD<110 KVA. They are small industrial consumers. Their viability cannot be compared with large industry consumer. Therefore, the Commission have been consciously keeping demand charges lower for this category than that of large industry category..”

It is our humble submission that the utility is not denying the judicious decision of Hon’ble Commission. However, it is our repeated submission that similarly placed General purpose category with load of >70 Kva & <110 Kva and Specified Public Purpose category are paying demand charges @ Rs.250 per Kva p.m. whereas  This is discrimination among consumers availing power supply under HT category and also providing scope to become Medium industry to avail such benefit. With such wide GAP between Demand charges, consumers under HT medium category just below 110Kva are always trying to avail demand benefit even though their actual connected load is more than 110Kva and above. To curb such type of disparity in demand charges the licensee again submits before Hon’ble Commission to fix demand charges for HT Medium category of consumers @ Rs.250 per Kva p.m. Previously Hon’ble Commission has also fixed demand charges @ Rs.250 per Kva p.m. for HT category of consumers equivalent with large industry during FY 2012-13. In addition to above, to avail HT supply with connected load or contract demand <110 Kva installation of transformer capacity may be limited to 100Kva only. Consumers, having transformer of more than 100Kva and billed under <110Kva should be brought into large category of consumers immediately. Necessary suitable direction may kindly be given in this regard.

# Continuance of Additional Rebate of 2% to LT single phase Domestic & single phase GP category of Consumers

Hon’ble Commission has pleased to extend additional rebate of 2% towards digital payment for LT single phase category of consumers for the year FY 2020-21. This is yielding very good result, during current year till Sep-20 it is 3.10 Lakh nos of MR with Rs.50 cr of transaction has been made. During the current year including march it will cross more than 7 lakh. Therefore the additional rebate of 2% in addition to normal rebate as applicable may be continued for LT single phase Domestic (including Kutirjyoti) & single phase GP category of consumers who shall make payment through digital mode only for the ensuing year.

# Introduction of KVAH Billing or applicability of power factor penalty

Hon’ble Commssion in the RST order vide para 280 has observed that “DISCOM Utilities request the Commission that KVAH billing should be introduced or alternatively power factor penalty should be imposed on some LT and HT categories of consumers. This matter has been discussed by the Commission in the past several Tariff order. KVAH billing should not be utilized as a revenue generation model rather for correct recording of energy. In appropriate time when infrastructures are fully ready for all the consumers this can be introduced”.

The utilities are submitting this issue repeatedly before Hon’ble Commission, previously Hon’ble commission has also suggested for preparedness of the licensees. To substantiate our preparedness we had submitted the relevant data before Hon’ble Commission.

This has been verified that all the 3-phase meters, especially those installed for consumers having Contract Demand 20KW and above in the DISCOMs are enabled with all the energy parameters and storing dump record of 35 days.  All such meters show instantaneous Power Factor and  monthly average Power Factor can be computed as ratio of  active power and apparent power drawn by consumers like in case of existing large and Medium Industries Consumers presently being billed. Hence DISCOMs are fully equipped to implement KVAH billing in respect of all those consumers in place of existing  KWH Billing.

Benefits of KVAH Billing

It is further submitted that, by adopting KVAH billing in place of KWh Billing the recent pattern of Power Factor penalty imposed on the consumers will be abolished. The objective of introduction of KVAh billing is to ensure reduction in losses which occurs due to low power factor. The DISCOMs, therefore expect the consumers to have unity power factor. The objective of KVAh based billing is for encouraging the consumers to maintain their power factor near to unity Power factor.

In the present tariff structure, the power factor penalty is limited to only large consumers having contract demand of more than 110 KVA while medium and other three phase consumers are exempted. DISCOMs request for introduction of KVAh based tariff for energy drawal for all the three phase industrial consumers availing power supply in LT and HT and for which presently no Power Factor Penalty is imposed in the tariff and all the three-phase meters are capable of reading KVAh component of energy.

Since all three phase meters provided by the DISCOMs at the consumer premises are capable of reading KVAh Component directly and the billing system of DISCOMs also ready to accept such changes in the energy billing component, there will be no operational issues after implementation of KVAH Billing.

OERC Regulation 1 ( bb) specifies the definition of Meter as

“ Meter : means an equipment used for measuring electrical quantities  like  energy in KWH or KVAH Maximum demand in KW or KVA , reactive energy in KVAR hours etc including accessories like CT & PT where used in conjunction with such meter and any enclosure used for housing or fixing such meter or its accessories and any device testing purpose”

This supports for billing a consumer on the energy consumed on KVAH basis.

Therefore, the KVAh billing system is a win-win situation for DISCOMs as well as  Consumers .

With the above submissions, the Hon’ble Commission is requested to allow KVAh billing from ensuing FY 2019-20.

OR

Applicability of Power Factor Penalty to LT & HT Category of Consumers above 20 KW :

Hon’ble Commission in its RST order for FY 2019-20 orders for continuance of the power factor penalty as a % of Monthly demand Charge of monthly Demand Charge and Energy Charges on the following HT &  EHT consumers :

Large Industries

Public Water Works ( 110 KVA and Above)

Railway Traction

Power Intensive Industries

Heavy Industries

General Purpose Supply

Specific Public Purpose ( 110 KVA and above)

Mini Steel Plant.

Emergency Power Supply to CGP.

If the above proposals of DISCOMs are not considered by the Hon’ble Commission for implementation due to any reason DISCOMs pray for applicability of Power Factor Penalty for the following category of Consumers in order to bring more efficiency in Power System Operation till the KVAH billing is made applicable.

HT Category

Specified Public Purpose

General Purpose < 110 KVA

HT Industries ( M) Supply

LT Category

LT industries Medium Supply

Public Water Works and Swerage Pumping > 22 KVA

# Levy of Demand charges on Installed Capacity instead of Contract Demand as per agreement.

It is seen that most of the neighboring states are charging demand charges on the basis of the installed capacity of the consumer and also it is very high as compared to Odisha. Presently, due to increase of LT consumer base as well as increase of BST cost (which is the composite of demand and energy) the licensee is not in a position to liquidate the fixed cost like Employee cost, R&M, A&G , interest after payment of BST and transmission charges. Therefore, with increased BST cost unless demand charges are increased then the licensee could not able to operate in sustainable mode to provide uninterrupted power supply to the consumers. For your kind perusal the tariff structure in few neighboring states are appended below

States Demand Charges 					Energy Charges

1) ChhatisgarhRs.350/-per KVA per month 		Rs. 4.20 per KVAh

2) AndhrapardeshRs.350/-per KVA per month	 	Rs. 3.75 per KVAh

3) Jharkhand Rs.350/-per KVA per month	 		Rs. 4.60 per KVAh

4) MadhyapradeshRs.310/-per KVA per month 		Rs. 5.90 per KWH

(Precondition of minimum off take of 1500 unit Per KVA per annum)

In case of Chhatisgarh demand charges are on the basis of installed capacity.

In view of the above the utility humbly submits before Hon’ble Commission to kindly allow some enhancement in demand charges. The present demand charges of Rs.250/- per Kva per month on the basis of 80% of CD or MD whichever is higher. Alternately, the demand charges may kindly be permitted to levy on 85% of CD or demand charges whichever is higher.

# Applicability of Power Factor Penalty.

Hon’ble Commission in its RST order for FY 2019-20 orders for continuance of the power factor penalty as a percentage (%) of Monthly demand Charge of monthly Demand Charge and Energy Charges on the following HT &  EHT consumers :

- Large Industries

- Public Water Works ( 110 KVA and Above)

- Railway Traction

- Power Intensive Industries

- Heavy Industries

- General Purpose Supply

- Specific Public Purpose ( 110 KVA and above)

- Mini Steel Plant.

- Emergency Power Supply to CGP.

Till such time KVAH billing approach is adopted the Utility proposes for applicability of Power Factor Penalty for the following category of Consumers in order to bring more efficiency in Power System Operation.

LT Category

- LT industries Medium Supply

- Public Water Works and Swerage Pumping > 22 KVA

HT Category

- Specified Public Purpose

- General Purpose < 110 KVA

- HT Industries ( M) Supply.

# Demand Charges and Monthly Minimum Fixed Charges

The Utility submits that 90% of the Distribution costs are fixed cost in nature. The distribution cost of the License which is a fixed cost has increased many folds during the recent years, the said cost normally required to be recovered from the Demand Charges. The fixed cost of the power procurement by way of payment towards capacity charges has also increased during last few years. The revenue recovery on account of the demand charges and monthly minimum fixed charges is approximately Rs.427.41 crore for the ensuing year at the existing tariff whereas the fixed distribution cost is around Rs.803.62 crore (Employee cost, R&M, A&G and Interest cost) which is almost double of the amount of recovery.

In view of the above, the Utility proposes to recover the full fixed distribution costs by suitably revising the Demand charges and monthly minimum fixed charges as proposed in earlier section , as applicable to the respectively category during the ensuing year.

# Charges for line extension to LT single phase connection up to 5 Kw

Hon’ble Commission in the RST order dt.22.04.2020  vide Annexure-B para (vii) has allowed to recover the following charges for LT Extension:-

LT Single Phase consumers of all categories having CD upto 5 KW with pole within 30

meters from the consumer premises

Upto 2 KW : Rs.1,500/-

Beyond 2 KW upto 5 KW : Rs.2,500/-

Provided that if the line extension is required beyond 30 meters, the licensee/supplier shall charge @ Rs.5,000/- for every span of line extension in addition to the above charges.

Now, it is seen that the actual cost is much higher in many cases. In case of urban areas it is somehow possible, but in case of rural area it is not at all feasible. Even if for single pole or two poles cases the transportation, loading & unloading, erection cost is much higher. Therefore, it is humbly submitted that in case of Rural areas it may be fixed as Rs.12,500/- per span.

# Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.

Presently, the utility is having outstanding of more than Rs.3000 crores under LT non industrial category as on 30th Sep-2020. Out of the same around Rs.600 crs are under disconnected category. Most of the consumers, after accumulation of huge outstanding are trying to get another connection and putting the other one under Permanently Disconnected Consumers (PDC). The utility is also suffering from huge financial loss on account of low collection efficiency and coverage in Domestic and Commercial category of consumers. Hon’ble Commission has also directed to conduct receivable audit of the outstanding amount as on 31.03.2015 of the utilities through Charted Accountant and Cost accountants. Now they have submitted their report. Considering the same, it is submitted before Hon’ble commission to approve an arrear collection scheme for LT non industrial category of consumers in line with OTS scheme earlier approved for FY 2011-12. Depending upon the outstanding and paying ability of the consumer’s 6 to 12 monthly installments may be fixed to clear the outstanding and avail benefit of withdrawal of DPS and certain percentage of waival on outstanding amount. As a result cash flow of the Utility will improve and able to clear it’s outstanding dues to GRIDCO as well as Employees terminal liabilities along with arrear salary due to 7th pay revision. The utility has submitted in last year ARR regarding the same. However, Hon’ble Commission has denied the same citing effectiveness of the scheme. However, considering present accumulated outstanding and reports of the receivable auditors Hon’ble Commission may relook into the matter.

# Other Issues

# Rebate on Prompt Payment

In the BSP Order for the  financial year 2020-21, the Hon`ble Commission directed that the Utility is entitled to avail a rebate of 2% for prompt payment of BST bill on payment of current BST in full within two working days of presentation of BST Bills and 1% is paid within 30 days.  Further, the Hon’ble Commission had directed to pay the rebate to all consumers except domestic, general purpose, irrigation and small industry category, if payment is made within three days of presentation of bill and fifteen days in case of others.

Considering the above, it is prayed before the Hon’ble Commission to approve the rebate of 2% to the Utility for prompt payment towards BST bills including part payments within 3 (three) working days from the date of presentation of the BST bill and in case the BST bill is paid after 3 (three) days the rebate should be proportionately allowed to the extent of payment made within 30th day @1% akin to Rebate Policy on Rebate is provided to GRIDCO by NTPC.

In addition to above rebate may kindly be also permitted in case of part payment so that cash flow of the Bulk Supplier will improve and at the same time the utility would be tempted to remit the amount collected to GRIDCO to avail such benefit.

DISCOMS are paying interest towards LC and SOD charges for payment of BST and transmission charges, but Hon’ble commission is not approving the same. One way DISCOMs are not getting rebate and in other way interest on working capital requirement is being disallowed which is not justified.

# Negative Cash Flow

The Utility is also facing financial crisis in the current year & unless substantial relief is being extended the cash flow position will not improve for the ensuing year. The cash flow position for FY 20-21 and FY 21-22 with existing tariff is as under:-

| Cash Flow Statement |  |  |
| --- | --- | --- |
|  |  | Rs. In Lakh |
|  | 20-21 | 21-22 |
| SOURCE |  |  |
| Opening with SD (OB-SD Rs.66674 & Deposit Work FD Rs.24454.00 lakh) | 130406.27 | 112516.93 |
| Revenue collection | 318759.76 | 344693.55 |
| Security Deposit from Consumers | 4924.48 | 5000.00 |
| Consumer contribution including ODSSP,DESI, DDUGJY,IPDS | 20814.85 | 33751.38 |
| Govt. Orissa-Capex Loan with interest | 8.39 | 0.00 |
| Short term loan | 3266.77 | 0.00 |
| Total | 478180.53 | 495961.86 |
| APPLICATION |  |  |
| Payment against purchase of Power | 259913.90 | 286760.03 |
| Employee cost | 50411.36 | 48819.34 |
| Adminstrative & General Exp | 6059.02 | 8338.26 |
| Repair & Maintenance | 9224.00 | 10953.10 |
| Repayment of Loan Principal | 0.00 | 909.59 |
| Repayment of Loan Int. | 1479.63 | 1248.17 |
| Interest on security deposit & Bank charges | 6581.80 | 6940.04 |
| Refund of Security Deposit | 1151.29 | 3000.00 |
| Installments of Securitisation | 3683.00 | 3683.00 |
| Repayment of 7th Pay arrear | 0.00 | 3831.50 |
| Capital Expendiuture | 26609.60 | 38962.54 |
| Loans & Advances | 550.00 | 800.00 |
| Total | 365663.60 | 414245.57 |
| Closing Balance with Security Deposit | 112516.93 | 81716.29 |
| Less :-Amount of Security Deposit & Depositwork FD included above | 114172.48 | 116172.48 |
| Closing Balance without Security Deposit | (1655.55) | (34456.19) |

| Revenue Cash Flow Statement |  |  |  | Rs in lakh |
| --- | --- | --- | --- | --- |
| Sl No. |  | Actual of Pr. Year | Est. for Current Year | Ensuing Year |
|  | Opening Balance(OB Security Deposit FD-Rs.66389 lakh & Deposit Works Rs.22169 Lakh) | 2296.00 | 9093.79 | 189.92 |
| A. | Cash Inflows |  |  |  |
| 1 | Revenue from Sale of power* | 318708.00 | 302588.99 | 326237.68 |
| 2 | Rebate on BST& Transmission bills | 2468.00 | 381.51 | 2867.18 |
| 3 | SOD for payment of BST Bills & Transmission charges (Net) | -4516.00 | 8500 | 17000 |
| 4 | Other receipts | 18070.00 | 16170.77 | 18455.88 |
| 5 | Total Inflow | 334730.00 | 327641.27 | 364560.74 |
| B. | Cash Outflows |  |  |  |
| 1 | BSP | 254937.00 | 240838.41 | 265983.70 |
| 2 | Trasmission Charges | 18406.00 | 18953.54 | 20612.50 |
| 3 | SLDC Charges | 120.00 | 121.94 | 121.94 |
| 4 | Power purchase from other source | 1455.00 | 0.00 | 41.89 |
| 5 | Total Cost | 274918.00 | 259913.90 | 286760.03 |
|  | Others |  |  |  |
| 1 | Basic Pay | 20563.39 |  |  |
| 2 | Grade Pay |  | 23828.79 | 24353.76 |
| 3 | DA | 3433.65 | 3561.74 | 5561.41 |
| 4 | HRA | 1792.95 | 1885.63 | 1925.10 |
| 5 | MA | 469.50 | 1047.57 | 1069.50 |
| 6 | Other Allowance | 286.07 | 295.00 | 301.18 |
| 7 | Arrear- 7th Pay impact (50% of arrear on Employee & 100% arrear of pensioner) |  | 766.00 | 3831.50 |
| 8 | Gratuity | 8688.06 | 16753.73 | 13231.06 |
| 9 | Leave Encashment |  |  |  |
| 10 | Pension |  |  |  |
| 11 | Others, specify | 5032.05 | 5148.34 | 5341.06 |
| 12 | Total Employee Cost | 40265.68 | 53286.79 | 55614.57 |
| 13 | R&M | 1258.78 | 9224.00 | 10953.10 |
| 14 | A&G | 5506.88 | 6059.02 | 8338.26 |
| 15 | Interest on Loan | 5982.87 | 8061.43 | 8419.84 |
| 16 | Total outflow | 327932.21 | 336545.14 | 370085.79 |
| 17 | Closing Balance(Security Deposit FD Rs.78987 lakh & Deposit workk FD 27524) | 9093.79 | 189.92 | -5335.14 |
|  | *Revenue from sale of power includes int on SD. |  |  |  |

# Formats

The following filled in formats will form a part of the ARR and Tariff Application for FY 2021-22 as annexures.

# Commercial/Technical  Formats T1-T9

# Financial Formats F1-F27

# Details Performance Formats (P1-P17) in Vol- II

# Prayer

In the aforesaid facts and circumstances, the utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Aggregate Revenue Requirement for FY 2021-22.

- Bridge the Revenue Gap for the FY 2021-22 through increase in Retail Supply Tariff or reduction in Bulk Supply Tariff (BST) wherever possible.

Allow the following Tariff rationalisation measures as proposed

- Recovery of Meter Cost instead of Meter Rent or abolish of the same

- Creation of accidental corpus fund

- Demand Charges to HT medium category of consumers

- Continuance of additional rebate of 2% to LT single phase Domestic and single phase GP category of consumers only if payment made through digital mode/online over and above normal rebate.

- Introduction of KVAH Billing or applicability of power factor penalty

- Levy of demand charges on installed capacity instead of contract demand as per agreement or 85% of the CD or MD whichever is higher.

- 2% Rebate be allowed on payment of current monthly BST bills (excluding all arrears) within 3 days time instead of 2 working days and also to allow rebate on part payment of BST bills.

- Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer considering receivable audit report.

- Charges for line extension to LT single phase connection up to 5 Kw

- Addressing of negative cash flow of the utility by giving special relief towards reduction of BST.

- to direct GRIDCO to relax escrow for A&G expenses towards revenue improvement and R&M exp along with Employee cost on monthly basis

- Other Tariff rationalization measures as proposed in this application

- Allow the Utility to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit

By the Applicant

Through its Authorised Officer.

Dated:

Place: