## Sheet1
ESTIMATE SUMMARY OF BASUDEVPUR PROJECT WORK
SL. No. | Description of works | Unit | Qnty | Amount
1 | Construction of 400/220 KV Grid Sub-Station at Basudevpur |  | 1 | 3330195276
2 | Construction of 400 KV D/C LILO LINE from 400 KV D/C LILO LINE from 400KV Kaniha-Bisra D/C line (CKT-I & II) to proposed 400/220KV Grid Sub-Station at Basudevpur | KMs | 91.5 (RKM). | 7320904863.0545
3 | Construction of 220KV LILO in both Circuit from 220kV TTPS-Joda D/C line to to proposed 400/220KV Grid Sub-Station at Basudevpur | KMs | 29.8RKM | 818140962.3396
4 | Construction of 220 KV D/C line from Turumunga Grid Sub-station to to proposed 400/220KV Grid Sub-Station at Basudevpur with 2Nos. 220KV Bays extension at Turumunga GSS | KMs | (49.968 RKM) | 751594521
5 | Constructin of 220KV D/C line on 400KV towers with twin moose conductor from proposed 220/132KV GIS, Barbil to proposed 400/220KV S/s at Basudevpur along with construction of 220/132kV GIS S/s at Barbil | KMs | (26.263 RKM). | 1868132941
6 | Construction of 132KV LILO line from one circuit of 132KV Turumunga-Dhenkikote D/C line to 132/33KV Grid Sub-Station, Palaspanga with 2Nos. 132KV Bays extension at Palaspanga Grid Sub-Station | KMs | (26.839 RKM) | 538951480
7 | Upgradation of 132/33kV GSS Palaspanga to 220/132/33kV GIS S/s and construction of 220KV D/C line from 400/220KV , Basudevpur GSS to proposed 220/132KV GIS at Palaspanga with 02Nos. Of 220kV feeder bay extension at Basudevpur GSS | KMs | (25RKM) | 1792903987
8 | TOTAL ESTIMATED COST OF THE PROJECT |  |  | 16420824030.3941
9 | OR SAY |  |  | 16420824030 | 1647