## CBA
COST BENEFIT ANALYSIS
A. BENEFITS DUE TO ADDITIONAL SALE OF ENERGY ON ACCOUNT OF CONSTRUCTION OF 220/132/33KV GSS PANIKOILI
1 | Transformation Capacity considered for revenue calculation with N-1 contigency (400 MVA = 2x200 MVA Auto transformer) | 400
2 | Power factor (PF) | 0.9
3 | Diversity factor (DF=1.3 due to industrial GSS) | 1.3
4 | Load factor (LF=0.7 due to industrial GSS) | 0.7
5 | Additional Avg. power available for sale on account of construction of 220/132/33kV GSS at Panikoili | 193.8462 | 750 | 0.9: power factor 1.3: Diversity factor
6 | Additional energy available for sale in LU | 16980.9231 |  | Due to industrial GSS 0.7 LF is considered
7 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | 16471.4954 |  | TL of 3% is approved for FY 25-26
8 | Anticipated revenue at a cost of Rs.0.24/ Unit in Lakhs | 3953.1589
B. BENEFITS OF THE SCHEME DUE TO REDUCTION IN LOSSES
1 | Total losses before implementation of the scheme in MW | 1182.8896
2 | Total losses after implementation of the scheme in MW | 1180.9808 |  | Loss reduction from Load flow study
3 | Total reduction in losses in MW | 1.9088
4 | Load factor | 0.7
5 | Loss load factor (0.8 LF2 + 0.2 LF) | 0.532
6 | The energy available for sale per year in LU | 88.9581
7 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | 86.2894
8 | Anticipated revenue due to reduction in losses in lakhs @ Rs. 0.24/Unit | 20.7095
C. CALCULATION OF REVENUE RETURN
1 | Anticipated revenue due to reduction in losses [Rs. Lakhs] | 20.7095
2 | Anticipated revenue due to sale of additional energy [Rs. Lakhs] | 3953.1589
3 | Total anticipated annual revenue [Rs. Cr.] | 39.7387
4 | Estimated Cost [Rs. Cr.] | 232.43
5 | Average Annual Rate of Return in % | 17.0971
6 | Internal Rate of Return in % | 21.9%

## IRR Panikoili
Calculation of NPV and IRR : For 220/132/33KV Sub-Station at Panikoili
CoC (%) = | 70% | x | 8.03 | + | 30% | x | 15.5 | = | 6.58 |  | RoI on Loan P.a |  |  | = | 7.75 |  | IRR = | 21.9% | [16 empty] | Rs in Crores
Particulars | Constuction Period |  | Benefits Period | [34 empty] | Total
Financial Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37
Cash Inflow (CI)
Equity | 30 | 39.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.73
Loan(Principal) | 70 | 92.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162.7
Loan (Interest) | 5.62 | 13.06 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 18.68
Revenue | 0 | 0 | 9.9347 | 19.8693 | 29.804 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 1331.2459
Salvage Value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.111 | 25.111
Total (CI) - (A) | 105.62 | 145.49 | 9.9347 | 19.8693 | 29.804 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 39.7387 | 64.8497 | 1607.4669
Cash Outflow (CO)
CWIP | 100 | 132.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232.43
IDC | 5.62 | 13.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.68
Loan Repayment | 0 | 0 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 181.38
Interest on Loan | 0 | 0 | 13.96 | 12.74 | 11.53 | 10.32 | 9.1 | 7.89 | 6.68 | 5.46 | 4.25 | 3.03 | 1.82 | 0.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.39
R&M exp. @ 3 % PC | 0 | 0 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 263.55
Total (CO) - (B) | 105.62 | 145.49 | 36.605 | 35.385 | 34.175 | 32.965 | 31.745 | 30.535 | 29.325 | 28.105 | 26.895 | 25.675 | 24.465 | 23.255 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 7.53 | 783.43
Net Cash Inflow (A-B) | 0 | 0 | -26.6703 | -15.5157 | -4.371 | 6.7737 | 7.9937 | 9.2037 | 10.4137 | 11.6337 | 12.8437 | 14.0637 | 15.2737 | 16.4837 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 32.2087 | 57.3197 | 824.0369
DF @ CoC | 1 | 0.938 | 0.88 | 0.826 | 0.775 | 0.727 | 0.682 | 0.64 | 0.601 | 0.564 | 0.529 | 0.496 | 0.465 | 0.437 | 0.41 | 0.384 | 0.361 | 0.338 | 0.318 | 0.298 | 0.28 | 0.262 | 0.246 | 0.231 | 0.217 | 0.203 | 0.191 | 0.179 | 0.168 | 0.158 | 0.148 | 0.139 | 0.13 | 0.122 | 0.115 | 0.107 | 0.101
Net Present value(NPV) | 0 | 0 | -23.47 | -12.82 | -3.39 | 4.92 | 5.45 | 5.89 | 6.26 | 6.56 | 6.79 | 6.98 | 7.1 | 7.2 | 13.21 | 12.37 | 11.63 | 10.89 | 10.24 | 9.6 | 9.02 | 8.44 | 7.92 | 7.44 | 6.99 | 6.54 | 6.15 | 5.77 | 5.41 | 5.09 | 4.77 | 4.48 | 4.19 | 3.93 | 3.7 | 3.45 | 5.79 | 184.49
**
CoC - Cost of Capital
IDC- Interest During Construction
CWIP- Capital Work in Progress
DF- Discounting Factor
IRR- Internal Rate of Return
ARR- Average Annual Rate of Return
Opening Balance |  |  | 181.38 | 166.265 | 151.15 | 136.035 | 120.92 | 105.805 | 90.69 | 75.575 | 60.46 | 45.345 | 30.23 | 15.115
Repayment |  |  | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115 | 15.115
Closing Balance |  |  | 166.265 | 151.15 | 136.035 | 120.92 | 105.805 | 90.69 | 75.575 | 60.46 | 45.345 | 30.23 | 15.115 | -1.7764e-14
Agerage Loan |  |  | 173.8225 | 158.7075 | 143.5925 | 128.4775 | 113.3625 | 98.2475 | 83.1325 | 68.0175 | 52.9025 | 37.7875 | 22.6725 | 7.5575
Interest |  |  | 13.9579 | 12.7442 | 11.5305 | 10.3167 | 9.103 | 7.8893 | 6.6755 | 5.4618 | 4.2481 | 3.0343 | 1.8206 | 0.60687
|  |  | 0.0020533 | -0.0042122 | -0.00047775 | 0.0032568 | -0.0030087 | 0.00072575 | 0.0044603 | -0.0018052 | 0.0019293 | -0.0043362 | -0.00060175 | 0.0031328

## Data sheet
| Expenditure in Cr: | 232.43
| Year: | 2026-27 | 2027-28
| % of Expenditure: | 43.02% | 56.98%
| Year wise expenditure: | 100 | 132.43
Loan | 70% | 70 | 92.7
Equity | 30% | 30 | 39.73
Total | 100% | 100 | 132.43