- The proposed project for conversion of 220/132/33 kV Grid Substations at Cuttack, Therubali, and Bhanjanagar into Substation Automation System (SAS)–enabled substations is a strategic investment aimed at enhancing the reliability, safety, and digital operability of the State transmission network. The project forms part of the Odisha Transmission System Strengthening Programme (OTSSP-Phase II), duly approved by the Government of Odisha with equity support to OPTCL.

- This initiative is not a direct revenue-generating scheme in the conventional sense but a system-improvement and modernization project that yields measurable economic and operational benefits over its lifecycle. The benefits are expected to accrue in the form of reduced outage durations, improved system availability, enhanced operational efficiency, lower O&M expenditure, deferred equipment replacement, and better energy accounting through automation and real-time monitoring.

- The Internal Rate of Return (IRR) and Cost–Benefit Analysis (CBA) for this project can only be realistically assessed after comprehensive implementation and commissioning of the SAS across all three substations. Since the expected advantages depend upon full operational integration with the State Transmission Asset Management System (STAMS) and complete functional migration from conventional to automated operation, any interim evaluation would not reflect the true financial outcome.

- Once the SAS is fully operational, a post-implementation performance review will be carried out to quantify the realized savings and operational improvements. This will include analysis of parameters such as reduction in outage hours, improvement in SAIDI (System Average Interruption Duration Index) / SAIFI (System Average Interruption Frequency Index) indices, O&M cost savings, and overall enhancement in transmission system availability. Based on these field-verified results, the actual IRR, NPV, and Cost–Benefit Analysis will be computed to determine the long-term financial viability of the investment.

- In essence, the cost–benefit realization is contingent upon the comprehensive execution and systemwide stabilization of the SAS architecture. The project is, however, expected to yield positive economic returns and substantial operational gains, establishing a strong foundation for digital transformation of OPTCL’s transmission infrastructure and aligning with the State’s Vision 2047 for a resilient and intelligent power network.