Since the proposed work of retrofitting 37 nos. of RTUs forms a part of the system upgradation under SCADA modernization. The intangible benefits from this project are substantial and can be realized as follows:

Improved System Reliability:

Dual reporting RTUs will ensure uninterrupted real-time data communication to both MCC and BCC, thereby enhancing redundancy and operational reliability of the SLDC network.

Higher System Availability:

Replacement of old, single-reporting RTUs will minimize data interruptions and improve network uptime across substations, contributing to better grid observability and control.

Facilitation of SCADA Phase-III Implementation:

Retrofitting enables seamless integration with the upgraded SCADA platform without the need for major reconfiguration or shutdown, ensuring business continuity.

Operational Efficiency:

Retrofitting avoids complete panel replacement and requires no shutdown, thereby reducing outage time and improving maintenance flexibility.

Reduction in Maintenance Burden:

Obsolete RTUs will be replaced with modular, easily maintainable units, reducing downtime and dependency on unavailable spares.

Hence, the project contributes significantly toward operational reliability, communication redundancy, and readiness for future SCADA automation, making it a technically and strategically essential system upgradation project for OPTCL.